## File List
Number of Files= |  | 9
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 20170007.hyd | 20170007.sac | 12 | 26 | 20170007.hyd & 20170007.sac
2 | 20170016.hyd | 20170016.sac | 28 | 39 | 20170016.hyd & 20170016.sac
3 | 20170031.hyd | 20170031.sac | 41 | 44 | 20170031.hyd & 20170031.sac
4 | 20170042.hyd | 20170042.sac | 46 | 61 | 20170042.hyd & 20170042.sac
5 | 20170047.hyd | 20170047.sac | 63 | 79 | 20170047.hyd & 20170047.sac
6 | 20170050.hyd | 20170050.sac | 81 | 96 | 20170050.hyd & 20170050.sac
7 | 20170054.hyd | 20170054.sac | 98 | 112 | 20170054.hyd & 20170054.sac
8 | 20170062.hyd | 20170062.sac | 114 | 125 | 20170062.hyd & 20170062.sac
9 | 20170067.hyd | 20170067.sac | 127 | 142 | 20170067.hyd & 20170067.sac

## (Sal0 - Sal_bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.072173 |  | X | CALC Y
m= | -7.6534e-06 | 1.9404e-05 |  | Std Dev of Resid |  | 0.00085378 |  | 308.723 | -0.0010905
b= | 0.0012722 | 0.0064662 |  | Resid Sum of Squares |  | 1.4579e-06 |  | 360.046 | -0.0014833
# of Values Extracted = |  |  | 123
# of Values Used in Fit = |  |  | 4
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 251.305 | 33.9643 | 0.00020435 | -0.0058441 | -0.0006511 | 0.005193 |  | 313.263 | -0.0020275
1 | NO | 249.358 | 33.9638 | 0.00020882 | -0.0058823 | -0.0006362 | 0.0052461 |  | 360.046 | -0.0015125
1 | NO | 200.206 | 33.9552 | 0.00047562 | 132.955 | -0.00026002 | -132.9553 |  | 348.054 | -0.0012493
1 | NO | 177.358 | 33.9466 | 0.0003 | 132.947 | -8.5155e-05 | -132.9471 |  | 308.723 | -0.00030136
1 | NO | 152.819 | 33.9254 | 0.00095194 | 132.925 | 0.00010265 | -132.9249
1 | NO | 126.389 | 33.8165 | 0.00043245 | 132.816 | 0.00030493 | -132.8157 |  | average | -0.0012727
1 | NO | 101.236 | 33.6949 | 0.00070559 | 132.695 | 0.00049743 | -132.6945
1 | NO | 75.4774 | 33.6427 | 0.0002522 | 132.643 | 0.00069457 | -132.6423
1 | NO | 51.0132 | 33.6004 | 0.00036552 | 132.6 | 0.00088181 | -132.5991
1 | NO | 40.7593 | 33.3666 | 0.0022127 | 132.367 | 0.00096029 | -132.366
1 | NO | 30.7626 | 32.9355 | 0.0021667 | 131.935 | 0.0010368 | -131.934
1 | NO | 20.8824 | 31.8834 | 0.0049209 | 130.883 | 0.0011124 | -130.8819
1 | NO | 10.6538 | 31.4955 | 0.010638 | 130.496 | 0.0011907 | -130.4948
1 | NO | 5.0686 | 31.2383 | 0.004387 | 130.238 | 0.0012334 | -130.2368
1 | NO | 1.1201 | 31.2382 | 0.00025549 | 130.238 | 0.0012637 | -130.2367
2 | NO | 167.131 | 33.8984 | 0.00022579 | -0.0040779 | -6.8836e-06 | 0.004071
2 | NO | 151.4 | 33.8975 | 0.0005651 | -0.0065308 | 0.00011351 | 0.0066443
2 | NO | 125.684 | 33.8935 | 0.00024448 | -0.0042763 | 0.00031033 | 0.0045866
2 | NO | 99.4555 | 33.8724 | 0.00075369 | 132.872 | 0.00051106 | -132.8715
2 | NO | 75.1924 | 33.4944 | 0.0024242 | 132.494 | 0.00069676 | -132.4933
2 | NO | 49.8684 | 32.9892 | 0.005262 | 131.989 | 0.00089057 | -131.9881
2 | NO | 39.7722 | 32.1686 | 0.010205 | 131.169 | 0.00096784 | -131.168
2 | NO | 29.9442 | 31.4974 | 0.0015186 | 130.497 | 0.0010431 | -130.496
2 | NO | 19.9092 | 31.2391 | 0.000631 | 130.239 | 0.0011199 | -130.2379
2 | NO | 9.8167 | 31.1882 | 0.0031822 | 130.188 | 0.0011971 | -130.1868
2 | NO | 5.3501 | 31.165 | 0.00078701 | 130.165 | 0.0012313 | -130.1638
2 | NO | 1.5353 | 31.1492 | 0.0013901 | 130.149 | 0.0012605 | -130.1477
3 | NO | 320.931 | 32.4328 | 0.00027589 | -0.0049553 | -0.001184 | 0.0037713
3 | NO | 300.494 | 32.4294 | 0.0013217 | -0.0067291 | -0.0010276 | 0.0057016
3 | NO | 275.586 | 32.3841 | 0.001646 | -0.0099869 | -0.00083693 | 0.00915
3 | NO | 250.892 | 32.2681 | 0.0086576 | -0.068722 | -0.00064794 | 0.068074
4 | YES | 313.263 | 30.9623 | 0.00021613 | -0.0020275 | -0.0011253 | 0.00090222
4 | NO | 299.948 | 30.9545 | 0.00033363 | -0.0048485 | -0.0010234 | 0.0038251
4 | NO | 249.867 | 30.9188 | 0.00026637 | -0.0088825 | -0.00064009 | 0.0082424
4 | NO | 199.595 | 30.8401 | 0.00024529 | -0.0098572 | -0.00025534 | 0.0096018
4 | NO | 175.149 | 30.7786 | 0.0006246 | 129.779 | -6.8248e-05 | -129.7791
4 | NO | 150.233 | 30.6991 | 0.00029607 | 129.699 | 0.00012244 | -129.6989
4 | NO | 124.937 | 30.5771 | 0.00047622 | 129.577 | 0.00031604 | -129.5767
4 | NO | 100.367 | 30.3749 | 0.00069097 | 129.375 | 0.00050409 | -129.3745
4 | NO | 75.6662 | 29.9081 | 0.001168 | 128.908 | 0.00069313 | -128.9073
4 | NO | 51.3037 | 29.6595 | 0.00073424 | 128.66 | 0.00087959 | -128.6591
4 | NO | 40.0573 | 29.3683 | 0.00064338 | 128.368 | 0.00096566 | -128.367
4 | NO | 30.0367 | 29.0882 | 0.001619 | 128.088 | 0.0010423 | -128.087
4 | NO | 20.2806 | 28.9191 | 0.00096224 | 127.919 | 0.001117 | -127.9179
4 | NO | 10.043 | 27.514 | 0.0073368 | 126.514 | 0.0011954 | -126.5128
4 | NO | 5.2431 | 23.0733 | 0.072463 | 122.073 | 0.0012321 | -122.0718
4 | NO | 0.59661 | 13.969 | 0.30375 | 112.969 | 0.0012677 | -112.9677
5 | YES | 360.046 | 31.0443 | 0.00049497 | -0.0015125 | -0.0014833 | 2.9197e-05
5 | NO | 350.021 | 31.0365 | 0.0001952 | -0.0064411 | -0.0014066 | 0.0050345
5 | NO | 300.203 | 30.9965 | 0.00022342 | -0.0090847 | -0.0010253 | 0.0080594
5 | NO | 250.357 | 30.9443 | 0.00045397 | -0.00951 | -0.00064384 | 0.0088662
5 | NO | 200.442 | 30.8023 | 0.00058397 | -0.011059 | -0.00026182 | 0.010797
5 | NO | 175.404 | 30.7101 | 0.00072562 | 129.71 | -7.02e-05 | -129.7101
5 | NO | 150.693 | 30.575 | 0.00031772 | 129.575 | 0.00011892 | -129.5749
5 | NO | 126.334 | 30.4071 | 0.00029723 | 129.407 | 0.00030535 | -129.4067
5 | NO | 100.533 | 30.1437 | 0.0016551 | 129.144 | 0.00050282 | -129.1435
5 | NO | 75.5565 | 29.6765 | 0.00046132 | 128.677 | 0.00069397 | -128.6763
5 | NO | 50.3572 | 29.4564 | 0.0012488 | 128.456 | 0.00088683 | -128.4551
5 | NO | 40.1247 | 29.418 | 0.00049941 | 128.418 | 0.00096514 | -128.417
5 | NO | 30.2577 | 29.3554 | 0.00035286 | 128.355 | 0.0010407 | -128.354
5 | NO | 20.1519 | 28.9627 | 0.0085455 | 127.963 | 0.001118 | -127.9619
5 | NO | 10.3971 | 26.6759 | 0.033157 | 125.676 | 0.0011927 | -125.6748
5 | NO | 5.6045 | 24.8733 | 0.050839 | 123.873 | 0.0012293 | -123.8718
5 | NO | 0.53069 | 21.1288 | 0.055403 | 120.129 | 0.0012682 | -120.1277
6 | YES | 348.054 | 30.9958 | 0.00041949 | -0.0012493 | -0.0013916 | -0.00014224
6 | NO | 299.516 | 30.9251 | 0.00023233 | -0.0083695 | -0.0010201 | 0.0073494
6 | NO | 240.928 | 30.8426 | 0.00056967 | -0.008997 | -0.00057168 | 0.0084253
6 | NO | 200.121 | 30.7977 | 0.00021824 | 129.798 | -0.00025937 | -129.7983
6 | NO | 174.505 | 30.7566 | 0.00083697 | 129.757 | -6.332e-05 | -129.7571
6 | NO | 149.774 | 30.6079 | 0.00059852 | 129.608 | 0.00012596 | -129.6079
6 | NO | 123.82 | 30.4888 | 0.00046036 | 129.489 | 0.00032459 | -129.4887
6 | NO | 99.6628 | 30.3243 | 0.0004764 | 129.324 | 0.00050948 | -129.3235
6 | NO | 73.9979 | 29.9745 | 0.0013955 | 128.974 | 0.0007059 | -128.9733
6 | NO | 49.9459 | 29.6959 | 0.00022353 | 128.696 | 0.00088998 | -128.6951
6 | NO | 39.9806 | 29.6229 | 0.00024449 | 128.623 | 0.00096624 | -128.622
6 | NO | 29.888 | 29.4802 | 0.00092009 | 128.48 | 0.0010435 | -128.479
6 | NO | 21.2046 | 29.141 | 0.0029253 | 128.141 | 0.0011099 | -128.1399
6 | NO | 9.791 | 26.3229 | 0.023931 | 125.323 | 0.0011973 | -125.3218
6 | NO | 4.7542 | 25.2813 | 0.00099106 | 124.281 | 0.0012358 | -124.2798
6 | NO | 1.0132 | 24.9065 | 0.010117 | 123.907 | 0.0012645 | -123.9057
7 | NO | 273.308 | 30.9133 | 0.00061899 | 0.00053406 | -0.0008195 | -0.0013536
7 | NO | 250.094 | 30.9032 | 0.00028233 | -0.0040646 | -0.00064183 | 0.0034227
7 | NO | 200.419 | 30.7201 | 0.00026248 | 129.72 | -0.00026165 | -129.7203
7 | NO | 175.199 | 30.6553 | 0.00023217 | 129.655 | -6.8631e-05 | -129.6551
7 | NO | 150.112 | 30.5156 | 0.00028947 | 129.516 | 0.00012337 | -129.5159
7 | NO | 125.319 | 30.379 | 0.002055 | 129.379 | 0.00031312 | -129.3787
7 | NO | 99.9849 | 30.2051 | 0.00080236 | 129.205 | 0.00050701 | -129.2045
7 | NO | 75.0052 | 30.0312 | 0.00032726 | 129.031 | 0.00069819 | -129.0303
7 | NO | 50.3037 | 29.7162 | 0.00035838 | 128.716 | 0.00088724 | -128.7151
7 | NO | 39.928 | 29.6077 | 0.00036966 | 128.608 | 0.00096665 | -128.607
7 | NO | 29.9331 | 29.3603 | 0.00057247 | 128.36 | 0.0010431 | -128.359
7 | NO | 19.7849 | 29.0166 | 0.0016479 | 128.017 | 0.0011208 | -128.0159
7 | NO | 10.2047 | 28.1808 | 0.0045605 | 127.181 | 0.0011941 | -127.1798
7 | NO | 5.1674 | 27.1379 | 0.05908 | 126.138 | 0.0012327 | -126.1368
7 | NO | 1.0375 | 25.7992 | 0.060618 | 124.799 | 0.0012643 | -124.7977
8 | NO | 161.186 | 30.6871 | 0.0016094 | 0.042007 | 3.8616e-05 | -0.041969
8 | NO | 150.306 | 30.4863 | 0.0011991 | -0.15311 | 0.00012188 | 0.15324
8 | NO | 124.593 | 30.3324 | 0.00036513 | -0.2984 | 0.00031868 | 0.29872
8 | NO | 100.14 | 30.2157 | 0.00041599 | -0.39473 | 0.00050582 | 0.39524
8 | NO | 75.379 | 29.9918 | 0.00061153 | 128.992 | 0.00069533 | -128.9913
8 | NO | 50.4901 | 29.5816 | 0.00278 | 128.582 | 0.00088581 | -128.5811
8 | NO | 40.596 | 29.3941 | 0.0033169 | 128.394 | 0.00096154 | -128.393
8 | NO | 30.7488 | 29.248 | 0.00080846 | 128.248 | 0.0010369 | -128.247
8 | NO | 20.8216 | 28.8109 | 0.0021554 | 127.811 | 0.0011129 | -127.8099
8 | NO | 11.0869 | 28.2738 | 0.0031589 | 127.274 | 0.0011874 | -127.2728
8 | NO | 6.0207 | 26.8514 | 0.025006 | 125.851 | 0.0012262 | -125.8498
8 | NO | 0.74644 | 25.4951 | 0.0047638 | 124.495 | 0.0012665 | -124.4937
9 | YES | 308.723 | 30.6024 | 0.00023772 | -0.00030136 | -0.0010905 | -0.00078918
9 | NO | 299.933 | 30.5971 | 0.00046141 | -0.0051899 | -0.0010233 | 0.0041666
9 | NO | 248.951 | 30.5887 | 0.00019479 | -0.0039082 | -0.00063308 | 0.0032751
9 | NO | 200.002 | 30.5471 | 0.0003173 | 129.547 | -0.00025846 | -129.5473
9 | NO | 174.841 | 30.4968 | 0.0005007 | 129.497 | -6.5891e-05 | -129.4971
9 | NO | 149.998 | 30.4545 | 0.00021585 | 129.455 | 0.00012424 | -129.4549
9 | NO | 124.844 | 30.3395 | 0.002291 | 129.34 | 0.00031675 | -129.3397
9 | NO | 99.959 | 30.1752 | 0.00054507 | 129.175 | 0.00050721 | -129.1745
9 | NO | 74.6629 | 29.9522 | 0.00032393 | 128.952 | 0.00070081 | -128.9513
9 | NO | 49.8713 | 29.4544 | 0.0010013 | 128.454 | 0.00089055 | -128.4531
9 | NO | 40.0469 | 29.3258 | 0.00034758 | 128.326 | 0.00096574 | -128.325
9 | NO | 30.1547 | 29.2435 | 0.00058234 | 128.243 | 0.0010414 | -128.242
9 | NO | 20.0764 | 29.1248 | 0.00063453 | 128.125 | 0.0011186 | -128.1239
9 | NO | 9.9023 | 28.556 | 0.0065451 | 127.556 | 0.0011964 | -127.5548
9 | NO | 4.9957 | 27.4788 | 0.00124 | 126.479 | 0.001234 | -126.4778
9 | NO | 0.56922 | 26.333 | 0.030221 | 125.333 | 0.0012679 | -125.3317
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0049014 |  | X | CALC Y
m= | 1.6014e-06 | 1.6135e-05 |  | Std Dev of Resid |  | 0.00070994 |  | 308.723 | 0.001257
b= | 0.00076259 | 0.0053768 |  | Resid Sum of Squares |  | 1.008e-06 |  | 360.046 | 0.0013392
# of Values Extracted = |  |  | 123
# of Values Used in Fit = |  |  | 4
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 251.305 | 33.9691 | 0.00035594 | -0.00096512 | 0.001165 | 0.0021301 |  | 313.263 | 0.00052834
1 | NO | 249.358 | 33.9689 | 0.00039726 | -0.0007515 | 0.0011619 | 0.0019134 |  | 360.046 | 0.0014248
1 | NO | 200.206 | 33.9605 | 0.0013222 | 132.96 | 0.0010832 | -132.9589 |  | 348.054 | 0.0012932
1 | NO | 177.358 | 33.9519 | 0.00040344 | 132.952 | 0.0010466 | -132.951 |  | 308.723 | 0.0019341
1 | NO | 152.819 | 33.9305 | 0.0018698 | 132.931 | 0.0010073 | -132.93
1 | NO | 126.389 | 33.8217 | 0.00052944 | 132.822 | 0.00096499 | -132.821 |  | average | 0.0012951
1 | NO | 101.236 | 33.7001 | 0.0011206 | 132.7 | 0.00092471 | -132.6991
1 | NO | 75.4774 | 33.6477 | 0.00033538 | 132.648 | 0.00088346 | -132.6471
1 | NO | 51.0132 | 33.6042 | 0.00072387 | 132.604 | 0.00084428 | -132.6032
1 | NO | 40.7593 | 33.3711 | 0.003034 | 132.371 | 0.00082786 | -132.3702
1 | NO | 30.7626 | 32.9441 | 0.003176 | 131.944 | 0.00081185 | -131.9432
1 | NO | 20.8824 | 31.889 | 0.0036896 | 130.889 | 0.00079603 | -130.8882
1 | NO | 10.6538 | 31.5032 | 0.0099195 | 130.503 | 0.00077965 | -130.5022
1 | NO | 5.0686 | 31.2436 | 0.0098632 | 130.244 | 0.0007707 | -130.2432
1 | NO | 1.1201 | 31.2421 | 0.00042477 | 130.242 | 0.00076438 | -130.2412
2 | NO | 167.131 | 33.9021 | 0.0003499 | -0.00037384 | 0.0010302 | 0.0014041
2 | NO | 151.4 | 33.9015 | 0.00058051 | -0.0024605 | 0.001005 | 0.0034655
2 | NO | 125.684 | 33.8979 | 0.00038083 | 0.00010681 | 0.00096386 | 0.00085705
2 | NO | 99.4555 | 33.8768 | 0.00049753 | 132.877 | 0.00092186 | -132.8761
2 | NO | 75.1924 | 33.4972 | 0.00114 | 132.497 | 0.000883 | -132.4961
2 | NO | 49.8684 | 33.0075 | 0.003705 | 132.007 | 0.00084245 | -132.0062
2 | NO | 39.7722 | 32.2266 | 0.013925 | 131.227 | 0.00082628 | -131.2262
2 | NO | 29.9442 | 31.5014 | 0.0030672 | 130.501 | 0.00081054 | -130.5002
2 | NO | 19.9092 | 31.2421 | 0.0011662 | 130.242 | 0.00079447 | -130.2412
2 | NO | 9.8167 | 31.1916 | 0.0035361 | 130.192 | 0.00077831 | -130.1912
2 | NO | 5.3501 | 31.168 | 0.00045748 | 130.168 | 0.00077116 | -130.1672
2 | NO | 1.5353 | 31.1518 | 0.0013286 | 130.152 | 0.00076505 | -130.1512
3 | NO | 320.931 | 32.4356 | 0.00046471 | -0.0022392 | 0.0012765 | 0.0035158
3 | NO | 300.494 | 32.431 | 0.0015095 | -0.0051231 | 0.0012438 | 0.0063669
3 | NO | 275.586 | 32.3862 | 0.0010796 | -0.0078583 | 0.0012039 | 0.0090622
3 | NO | 250.892 | 32.2679 | 0.0059055 | -0.068928 | 0.0011644 | 0.070092
4 | YES | 313.263 | 30.9648 | 0.0003434 | 0.00052834 | 0.0012642 | 0.00073591
4 | NO | 299.948 | 30.957 | 0.00035461 | -0.0023384 | 0.0012429 | 0.0035813
4 | NO | 249.867 | 30.9216 | 0.00029901 | -0.0060635 | 0.0011627 | 0.0072262
4 | NO | 199.595 | 30.8429 | 0.00027615 | -0.0071201 | 0.0010822 | 0.0082023
4 | NO | 175.149 | 30.7807 | 0.00040441 | 129.781 | 0.0010431 | -129.78
4 | NO | 150.233 | 30.7015 | 0.00028853 | 129.702 | 0.0010032 | -129.701
4 | NO | 124.937 | 30.5796 | 0.00087565 | 129.58 | 0.00096266 | -129.579
4 | NO | 100.367 | 30.3766 | 0.00047964 | 129.377 | 0.00092332 | -129.3761
4 | NO | 75.6662 | 29.9097 | 0.00084117 | 128.91 | 0.00088376 | -128.9091
4 | NO | 51.3037 | 29.6612 | 0.00050322 | 128.661 | 0.00084475 | -128.6602
4 | NO | 40.0573 | 29.3709 | 0.00091955 | 128.371 | 0.00082674 | -128.3702
4 | NO | 30.0367 | 29.0901 | 0.00074004 | 128.09 | 0.00081069 | -128.0892
4 | NO | 20.2806 | 28.9216 | 0.00087671 | 127.922 | 0.00079507 | -127.9212
4 | NO | 10.043 | 27.5121 | 0.0092702 | 126.512 | 0.00077867 | -126.5112
4 | NO | 5.2431 | 23.0187 | 0.051303 | 122.019 | 0.00077098 | -122.0182
4 | NO | 0.59661 | 14.0961 | 0.18011 | 113.096 | 0.00076354 | -113.0952
5 | YES | 360.046 | 31.0472 | 0.00037004 | 0.0014248 | 0.0013392 | -8.5623e-05
5 | NO | 350.021 | 31.0397 | 0.0002594 | -0.0032215 | 0.0013231 | 0.0045446
5 | NO | 300.203 | 30.9995 | 0.00036768 | -0.0061207 | 0.0012433 | 0.007364
5 | NO | 250.357 | 30.9462 | 0.0071094 | -0.0075588 | 0.0011635 | 0.0087223
5 | NO | 200.442 | 30.8042 | 0.00087882 | -0.009243 | 0.0010836 | 0.010327
5 | NO | 175.404 | 30.7124 | 0.00044127 | 129.712 | 0.0010435 | -129.711
5 | NO | 150.693 | 30.5772 | 0.00031223 | 129.577 | 0.0010039 | -129.576
5 | NO | 126.334 | 30.4093 | 0.00038692 | 129.409 | 0.0009649 | -129.408
5 | NO | 100.533 | 30.1445 | 0.0010048 | 129.144 | 0.00092358 | -129.1431
5 | NO | 75.5565 | 29.6786 | 0.00038612 | 128.679 | 0.00088358 | -128.6781
5 | NO | 50.3572 | 29.4584 | 0.00089402 | 128.458 | 0.00084323 | -128.4572
5 | NO | 40.1247 | 29.4199 | 0.00036512 | 128.42 | 0.00082684 | -128.4192
5 | NO | 30.2577 | 29.3572 | 0.00041967 | 128.357 | 0.00081104 | -128.3562
5 | NO | 20.1519 | 28.9583 | 0.005089 | 127.958 | 0.00079486 | -127.9572
5 | NO | 10.3971 | 26.6898 | 0.026832 | 125.69 | 0.00077924 | -125.6892
5 | NO | 5.6045 | 24.8547 | 0.046026 | 123.855 | 0.00077156 | -123.8542
5 | NO | 0.53069 | 21.0504 | 0.063763 | 120.05 | 0.00076344 | -120.0492
6 | YES | 348.054 | 30.9983 | 0.00042943 | 0.0012932 | 0.00132 | 2.6783e-05
6 | NO | 299.516 | 30.9278 | 0.0002855 | -0.0056801 | 0.0012422 | 0.0069223
6 | NO | 240.928 | 30.8458 | 0.0022764 | -0.0058327 | 0.0011484 | 0.0069811
6 | NO | 200.121 | 30.8 | 0.00029111 | 129.8 | 0.0010831 | -129.7989
6 | NO | 174.505 | 30.7572 | 0.00041296 | 129.757 | 0.001042 | -129.756
6 | NO | 149.774 | 30.6105 | 0.0032508 | 129.611 | 0.0010024 | -129.61
6 | NO | 123.82 | 30.4899 | 0.0018749 | 129.49 | 0.00096087 | -129.489
6 | NO | 99.6628 | 30.3257 | 0.0020169 | 129.326 | 0.00092219 | -129.3251
6 | NO | 73.9979 | 29.9966 | 0.032282 | 128.997 | 0.00088109 | -128.9961
6 | NO | 49.9459 | 29.697 | 0.00062039 | 128.697 | 0.00084257 | -128.6962
6 | NO | 39.9806 | 29.6246 | 0.00040721 | 128.625 | 0.00082661 | -128.6242
6 | NO | 29.888 | 29.4804 | 0.00057659 | 128.48 | 0.00081045 | -128.4792
6 | NO | 21.2046 | 29.1424 | 0.0023858 | 128.142 | 0.00079654 | -128.1412
6 | NO | 9.791 | 26.261 | 0.06336 | 125.261 | 0.00077827 | -125.2602
6 | NO | 4.7542 | 25.2846 | 0.0023541 | 124.285 | 0.0007702 | -124.2842
6 | NO | 1.0132 | 24.916 | 0.0092476 | 123.916 | 0.00076421 | -123.9152
7 | NO | 273.308 | 30.9145 | 0.00073111 | 0.0017204 | 0.0012003 | -0.00052017
7 | NO | 250.094 | 30.906 | 0.00033049 | -0.0013237 | 0.0011631 | 0.0024868
7 | NO | 200.419 | 30.7225 | 0.00039765 | 129.723 | 0.0010835 | -129.7219
7 | NO | 175.199 | 30.6578 | 0.00028403 | 129.658 | 0.0010432 | -129.657
7 | NO | 150.112 | 30.5183 | 0.00033822 | 129.518 | 0.001003 | -129.517
7 | NO | 125.319 | 30.38 | 0.0020937 | 129.38 | 0.00096327 | -129.379
7 | NO | 99.9849 | 30.2064 | 0.00036972 | 129.206 | 0.0009227 | -129.2051
7 | NO | 75.0052 | 30.0335 | 0.00046146 | 129.034 | 0.0008827 | -129.0331
7 | NO | 50.3037 | 29.7162 | 0.0013936 | 128.716 | 0.00084314 | -128.7152
7 | NO | 39.928 | 29.61 | 0.00031901 | 128.61 | 0.00082653 | -128.6092
7 | NO | 29.9331 | 29.3699 | 0.0040971 | 128.37 | 0.00081052 | -128.3692
7 | NO | 19.7849 | 29.0345 | 0.0048862 | 128.034 | 0.00079427 | -128.0332
7 | NO | 10.2047 | 28.246 | 0.041633 | 127.246 | 0.00077893 | -127.2452
7 | NO | 5.1674 | 26.9988 | 0.064734 | 125.999 | 0.00077086 | -125.9982
7 | NO | 1.0375 | 25.7909 | 0.056054 | 124.791 | 0.00076425 | -124.7902
8 | NO | 161.186 | 30.682 | 0.0023773 | 0.036871 | 0.0010207 | -0.03585
8 | NO | 150.306 | 30.4859 | 0.0011641 | -0.15351 | 0.0010033 | 0.15451
8 | NO | 124.593 | 30.3347 | 0.00088339 | -0.29608 | 0.00096211 | 0.29704
8 | NO | 100.14 | 30.2176 | 0.0003341 | -0.3928 | 0.00092295 | 0.39372
8 | NO | 75.379 | 29.9931 | 0.00058547 | 128.993 | 0.0008833 | -128.9921
8 | NO | 50.4901 | 29.5829 | 0.0021338 | 128.583 | 0.00084344 | -128.5822
8 | NO | 40.596 | 29.3937 | 0.0038859 | 128.394 | 0.0008276 | -128.3932
8 | NO | 30.7488 | 29.2472 | 0.0011352 | 128.247 | 0.00081183 | -128.2462
8 | NO | 20.8216 | 28.8128 | 0.00099547 | 127.813 | 0.00079593 | -127.8122
8 | NO | 11.0869 | 28.2713 | 0.0043343 | 127.271 | 0.00078034 | -127.2702
8 | NO | 6.0207 | 26.8095 | 0.026994 | 125.809 | 0.00077223 | -125.8082
8 | NO | 0.74644 | 25.4987 | 0.0032697 | 124.499 | 0.00076378 | -124.4982
9 | YES | 308.723 | 30.6046 | 0.00028798 | 0.0019341 | 0.001257 | -0.00067707
9 | NO | 299.933 | 30.5991 | 0.00026212 | -0.0031719 | 0.0012429 | 0.0044148
9 | NO | 248.951 | 30.591 | 0.00027357 | -0.001564 | 0.0011613 | 0.0027253
9 | NO | 200.002 | 30.549 | 0.00029622 | 129.549 | 0.0010829 | -129.5479
9 | NO | 174.841 | 30.4994 | 0.00053761 | 129.499 | 0.0010426 | -129.498
9 | NO | 149.998 | 30.4566 | 0.00027982 | 129.457 | 0.0010028 | -129.456
9 | NO | 124.844 | 30.3428 | 0.001142 | 129.343 | 0.00096251 | -129.342
9 | NO | 99.959 | 30.1766 | 0.00044943 | 129.177 | 0.00092266 | -129.1761
9 | NO | 74.6629 | 29.9538 | 0.00031239 | 128.954 | 0.00088215 | -128.9531
9 | NO | 49.8713 | 29.4573 | 0.00043672 | 128.457 | 0.00084245 | -128.4562
9 | NO | 40.0469 | 29.3271 | 0.00033036 | 128.327 | 0.00082672 | -128.3262
9 | NO | 30.1547 | 29.244 | 0.00087103 | 128.244 | 0.00081088 | -128.2432
9 | NO | 20.0764 | 29.1265 | 0.0013423 | 128.127 | 0.00079474 | -128.1262
9 | NO | 9.9023 | 28.5259 | 0.0086634 | 127.526 | 0.00077845 | -127.5252
9 | NO | 4.9957 | 27.4773 | 0.0022779 | 126.477 | 0.00077059 | -126.4762
9 | NO | 0.56922 | 26.297 | 0.047002 | 125.297 | 0.0007635 | -125.2962
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_bot | Sal0 |  | Sal0 - Sal_bot
Comp 2 | Sal_bot | Sal1 |  | Sal1 - Sal_bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_bot | Sal0 | Sal0 | (S-P) | Sal_bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
20170007.hyd | 20170007.sac | 106 | 251.412 | 251.305 | 0.53529 | -0.10724 | 33.9701 | 33.9643 | 0.00020435 | -0.0058441 | 33.9701 | 33.9691 | 0.00035594 | -0.00096512
20170007.hyd | 20170007.sac | 121 | 249.312 | 249.358 | 0.094907 | 0.046097 | 33.9697 | 33.9638 | 0.00020882 | -0.0058823 | 33.9697 | 33.9689 | 0.00039726 | -0.0007515
20170007.hyd | 20170007.sac | 121 | 200.033 | 200.206 | 0.49006 | 0.17275 | -99 | 33.9552 | 0.00047562 | 132.955 | -99 | 33.9605 | 0.0013222 | 132.96
20170007.hyd | 20170007.sac | 94 | 177.407 | 177.358 | 0.3905 | -0.049179 | -99 | 33.9466 | 0.0003 | 132.947 | -99 | 33.9519 | 0.00040344 | 132.952
20170007.hyd | 20170007.sac | 121 | 152.943 | 152.819 | 0.35391 | -0.12358 | -99 | 33.9254 | 0.00095194 | 132.925 | -99 | 33.9305 | 0.0018698 | 132.931
20170007.hyd | 20170007.sac | 121 | 126.37 | 126.389 | 0.38084 | 0.018593 | -99 | 33.8165 | 0.00043245 | 132.816 | -99 | 33.8217 | 0.00052944 | 132.822
20170007.hyd | 20170007.sac | 121 | 101.189 | 101.236 | 0.25808 | 0.046799 | -99 | 33.6949 | 0.00070559 | 132.695 | -99 | 33.7001 | 0.0011206 | 132.7
20170007.hyd | 20170007.sac | 121 | 75.498 | 75.4774 | 0.08842 | -0.020561 | -99 | 33.6427 | 0.0002522 | 132.643 | -99 | 33.6477 | 0.00033538 | 132.648
20170007.hyd | 20170007.sac | 86 | 50.929 | 51.0132 | 0.54477 | 0.084187 | -99 | 33.6004 | 0.00036552 | 132.6 | -99 | 33.6042 | 0.00072387 | 132.604
20170007.hyd | 20170007.sac | 121 | 40.651 | 40.7593 | 0.22101 | 0.10828 | -99 | 33.3666 | 0.0022127 | 132.367 | -99 | 33.3711 | 0.003034 | 132.371
20170007.hyd | 20170007.sac | 121 | 30.841 | 30.7626 | 0.1449 | -0.078379 | -99 | 32.9355 | 0.0021667 | 131.935 | -99 | 32.9441 | 0.003176 | 131.944
20170007.hyd | 20170007.sac | 121 | 20.787 | 20.8824 | 0.30728 | 0.09543 | -99 | 31.8834 | 0.0049209 | 130.883 | -99 | 31.889 | 0.0036896 | 130.889
20170007.hyd | 20170007.sac | 80 | 10.662 | 10.6538 | 0.42514 | -0.0082493 | -99 | 31.4955 | 0.010638 | 130.496 | -99 | 31.5032 | 0.0099195 | 130.503
20170007.hyd | 20170007.sac | 121 | 4.955 | 5.0686 | 0.35338 | 0.11358 | -99 | 31.2383 | 0.004387 | 130.238 | -99 | 31.2436 | 0.0098632 | 130.244
20170007.hyd | 20170007.sac | 121 | 1.205 | 1.1201 | 0.25211 | -0.084901 | -99 | 31.2382 | 0.00025549 | 130.238 | -99 | 31.2421 | 0.00042477 | 130.242
20170016.hyd | 20170016.sac | 121 | 167.004 | 167.131 | 0.12179 | 0.12726 | 33.9025 | 33.8984 | 0.00022579 | -0.0040779 | 33.9025 | 33.9021 | 0.0003499 | -0.00037384
20170016.hyd | 20170016.sac | 121 | 151.331 | 151.4 | 0.13324 | 0.068527 | 33.904 | 33.8975 | 0.0005651 | -0.0065308 | 33.904 | 33.9015 | 0.00058051 | -0.0024605
20170016.hyd | 20170016.sac | 121 | 125.691 | 125.684 | 0.16887 | -0.0073624 | 33.8978 | 33.8935 | 0.00024448 | -0.0042763 | 33.8978 | 33.8979 | 0.00038083 | 0.00010681
20170016.hyd | 20170016.sac | 121 | 99.454 | 99.4555 | 0.089256 | 0.0014572 | -99 | 33.8724 | 0.00075369 | 132.872 | -99 | 33.8768 | 0.00049753 | 132.877
20170016.hyd | 20170016.sac | 121 | 75.12 | 75.1924 | 0.16088 | 0.072403 | -99 | 33.4944 | 0.0024242 | 132.494 | -99 | 33.4972 | 0.00114 | 132.497
20170016.hyd | 20170016.sac | 121 | 49.863 | 49.8684 | 0.12629 | 0.0054207 | -99 | 32.9892 | 0.005262 | 131.989 | -99 | 33.0075 | 0.003705 | 132.007
20170016.hyd | 20170016.sac | 121 | 39.8 | 39.7722 | 0.11149 | -0.027767 | -99 | 32.1686 | 0.010205 | 131.169 | -99 | 32.2266 | 0.013925 | 131.227
20170016.hyd | 20170016.sac | 121 | 29.924 | 29.9442 | 0.084767 | 0.020239 | -99 | 31.4974 | 0.0015186 | 130.497 | -99 | 31.5014 | 0.0030672 | 130.501
20170016.hyd | 20170016.sac | 121 | 19.892 | 19.9092 | 0.12727 | 0.017197 | -99 | 31.2391 | 0.000631 | 130.239 | -99 | 31.2421 | 0.0011662 | 130.242
20170016.hyd | 20170016.sac | 121 | 9.846 | 9.8167 | 0.14553 | -0.029264 | -99 | 31.1882 | 0.0031822 | 130.188 | -99 | 31.1916 | 0.0035361 | 130.192
20170016.hyd | 20170016.sac | 121 | 5.393 | 5.3501 | 0.10175 | -0.042951 | -99 | 31.165 | 0.00078701 | 130.165 | -99 | 31.168 | 0.00045748 | 130.168
20170016.hyd | 20170016.sac | 121 | 1.561 | 1.5353 | 0.14001 | -0.025752 | -99 | 31.1492 | 0.0013901 | 130.149 | -99 | 31.1518 | 0.0013286 | 130.152
20170031.hyd | 20170031.sac | 121 | 320.921 | 320.931 | 0.031565 | 0.010223 | 32.4378 | 32.4328 | 0.00027589 | -0.0049553 | 32.4378 | 32.4356 | 0.00046471 | -0.0022392
20170031.hyd | 20170031.sac | 121 | 300.494 | 300.494 | 0.030139 | -0.00045776 | 32.4361 | 32.4294 | 0.0013217 | -0.0067291 | 32.4361 | 32.431 | 0.0015095 | -0.0051231
20170031.hyd | 20170031.sac | 121 | 275.58 | 275.586 | 0.03479 | 0.0060425 | 32.3941 | 32.3841 | 0.001646 | -0.0099869 | 32.3941 | 32.3862 | 0.0010796 | -0.0078583
20170031.hyd | 20170031.sac | 121 | 250.867 | 250.892 | 0.04618 | 0.024994 | 32.3368 | 32.2681 | 0.0086576 | -0.068722 | 32.3368 | 32.2679 | 0.0059055 | -0.068928
20170042.hyd | 20170042.sac | 121 | 313.26 | 313.263 | 0.038129 | 0.0028076 | 30.9643 | 30.9623 | 0.00021613 | -0.0020275 | 30.9643 | 30.9648 | 0.0003434 | 0.00052834
20170042.hyd | 20170042.sac | 121 | 299.939 | 299.948 | 0.064344 | 0.0089111 | 30.9593 | 30.9545 | 0.00033363 | -0.0048485 | 30.9593 | 30.957 | 0.00035461 | -0.0023384
20170042.hyd | 20170042.sac | 121 | 249.858 | 249.867 | 0.033366 | 0.0089417 | 30.9277 | 30.9188 | 0.00026637 | -0.0088825 | 30.9277 | 30.9216 | 0.00029901 | -0.0060635
20170042.hyd | 20170042.sac | 121 | 199.61 | 199.595 | 0.051727 | -0.014618 | 30.85 | 30.8401 | 0.00024529 | -0.0098572 | 30.85 | 30.8429 | 0.00027615 | -0.0071201
20170042.hyd | 20170042.sac | 121 | 175.142 | 175.149 | 0.038995 | 0.0071716 | -99 | 30.7786 | 0.0006246 | 129.779 | -99 | 30.7807 | 0.00040441 | 129.781
20170042.hyd | 20170042.sac | 121 | 150.199 | 150.233 | 0.092652 | 0.033554 | -99 | 30.6991 | 0.00029607 | 129.699 | -99 | 30.7015 | 0.00028853 | 129.702
20170042.hyd | 20170042.sac | 121 | 124.933 | 124.937 | 0.053191 | 0.0040054 | -99 | 30.5771 | 0.00047622 | 129.577 | -99 | 30.5796 | 0.00087565 | 129.58
20170042.hyd | 20170042.sac | 121 | 100.375 | 100.367 | 0.07895 | -0.0077057 | -99 | 30.3749 | 0.00069097 | 129.375 | -99 | 30.3766 | 0.00047964 | 129.377
20170042.hyd | 20170042.sac | 121 | 75.654 | 75.6662 | 0.053571 | 0.012245 | -99 | 29.9081 | 0.001168 | 128.908 | -99 | 29.9097 | 0.00084117 | 128.91
20170042.hyd | 20170042.sac | 121 | 51.277 | 51.3037 | 0.056015 | 0.026695 | -99 | 29.6595 | 0.00073424 | 128.66 | -99 | 29.6612 | 0.00050322 | 128.661
20170042.hyd | 20170042.sac | 121 | 40.028 | 40.0573 | 0.042679 | 0.029308 | -99 | 29.3683 | 0.00064338 | 128.368 | -99 | 29.3709 | 0.00091955 | 128.371
20170042.hyd | 20170042.sac | 121 | 30.015 | 30.0367 | 0.043379 | 0.021687 | -99 | 29.0882 | 0.001619 | 128.088 | -99 | 29.0901 | 0.00074004 | 128.09
20170042.hyd | 20170042.sac | 121 | 20.294 | 20.2806 | 0.039367 | -0.01339 | -99 | 28.9191 | 0.00096224 | 127.919 | -99 | 28.9216 | 0.00087671 | 127.922
20170042.hyd | 20170042.sac | 121 | 10.048 | 10.043 | 0.047743 | -0.0050001 | -99 | 27.514 | 0.0073368 | 126.514 | -99 | 27.5121 | 0.0092702 | 126.512
20170042.hyd | 20170042.sac | 121 | 5.234 | 5.2431 | 0.040321 | 0.0091238 | -99 | 23.0733 | 0.072463 | 122.073 | -99 | 23.0187 | 0.051303 | 122.019
20170042.hyd | 20170042.sac | 121 | 0.578 | 0.59661 | 0.072855 | 0.018612 | -99 | 13.969 | 0.30375 | 112.969 | -99 | 14.0961 | 0.18011 | 113.096
20170047.hyd | 20170047.sac | 121 | 360.035 | 360.046 | 0.043105 | 0.010986 | 31.0458 | 31.0443 | 0.00049497 | -0.0015125 | 31.0458 | 31.0472 | 0.00037004 | 0.0014248
20170047.hyd | 20170047.sac | 121 | 350.004 | 350.021 | 0.066354 | 0.017487 | 31.0429 | 31.0365 | 0.0001952 | -0.0064411 | 31.0429 | 31.0397 | 0.0002594 | -0.0032215
20170047.hyd | 20170047.sac | 121 | 300.244 | 300.203 | 0.068158 | -0.040894 | 31.0056 | 30.9965 | 0.00022342 | -0.0090847 | 31.0056 | 30.9995 | 0.00036768 | -0.0061207
20170047.hyd | 20170047.sac | 121 | 250.355 | 250.357 | 0.024913 | 0.0018005 | 30.9538 | 30.9443 | 0.00045397 | -0.00951 | 30.9538 | 30.9462 | 0.0071094 | -0.0075588
20170047.hyd | 20170047.sac | 121 | 200.452 | 200.442 | 0.048648 | -0.009903 | 30.8134 | 30.8023 | 0.00058397 | -0.011059 | 30.8134 | 30.8042 | 0.00087882 | -0.009243
20170047.hyd | 20170047.sac | 121 | 175.402 | 175.404 | 0.036721 | 0.0017853 | -99 | 30.7101 | 0.00072562 | 129.71 | -99 | 30.7124 | 0.00044127 | 129.712
20170047.hyd | 20170047.sac | 121 | 150.666 | 150.693 | 0.047933 | 0.026703 | -99 | 30.575 | 0.00031772 | 129.575 | -99 | 30.5772 | 0.00031223 | 129.577
20170047.hyd | 20170047.sac | 121 | 126.309 | 126.334 | 0.066836 | 0.025063 | -99 | 30.4071 | 0.00029723 | 129.407 | -99 | 30.4093 | 0.00038692 | 129.409
20170047.hyd | 20170047.sac | 121 | 100.506 | 100.533 | 0.10816 | 0.026596 | -99 | 30.1437 | 0.0016551 | 129.144 | -99 | 30.1445 | 0.0010048 | 129.144
20170047.hyd | 20170047.sac | 121 | 75.493 | 75.5565 | 0.17798 | 0.063522 | -99 | 29.6765 | 0.00046132 | 128.677 | -99 | 29.6786 | 0.00038612 | 128.679
20170047.hyd | 20170047.sac | 121 | 50.353 | 50.3572 | 0.18622 | 0.004158 | -99 | 29.4564 | 0.0012488 | 128.456 | -99 | 29.4584 | 0.00089402 | 128.458
20170047.hyd | 20170047.sac | 121 | 40.04 | 40.1247 | 0.14605 | 0.084736 | -99 | 29.418 | 0.00049941 | 128.418 | -99 | 29.4199 | 0.00036512 | 128.42
20170047.hyd | 20170047.sac | 121 | 30.241 | 30.2577 | 0.032485 | 0.01672 | -99 | 29.3554 | 0.00035286 | 128.355 | -99 | 29.3572 | 0.00041967 | 128.357
20170047.hyd | 20170047.sac | 121 | 20.164 | 20.1519 | 0.032995 | -0.012073 | -99 | 28.9627 | 0.0085455 | 127.963 | -99 | 28.9583 | 0.005089 | 127.958
20170047.hyd | 20170047.sac | 121 | 10.37 | 10.3971 | 0.071654 | 0.027124 | -99 | 26.6759 | 0.033157 | 125.676 | -99 | 26.6898 | 0.026832 | 125.69
20170047.hyd | 20170047.sac | 121 | 5.586 | 5.6045 | 0.09531 | 0.018537 | -99 | 24.8733 | 0.050839 | 123.873 | -99 | 24.8547 | 0.046026 | 123.855
20170047.hyd | 20170047.sac | 121 | 0.539 | 0.53069 | 0.058852 | -0.0083058 | -99 | 21.1288 | 0.055403 | 120.129 | -99 | 21.0504 | 0.063763 | 120.05
20170050.hyd | 20170050.sac | 121 | 348.035 | 348.054 | 0.068612 | 0.019379 | 30.997 | 30.9958 | 0.00041949 | -0.0012493 | 30.997 | 30.9983 | 0.00042943 | 0.0012932
20170050.hyd | 20170050.sac | 121 | 299.476 | 299.516 | 0.049529 | 0.039795 | 30.9335 | 30.9251 | 0.00023233 | -0.0083695 | 30.9335 | 30.9278 | 0.0002855 | -0.0056801
20170050.hyd | 20170050.sac | 121 | 240.921 | 240.928 | 0.032516 | 0.0066376 | 30.8516 | 30.8426 | 0.00056967 | -0.008997 | 30.8516 | 30.8458 | 0.0022764 | -0.0058327
20170050.hyd | 20170050.sac | 121 | 200.123 | 200.121 | 0.039496 | -0.0024414 | -99 | 30.7977 | 0.00021824 | 129.798 | -99 | 30.8 | 0.00029111 | 129.8
20170050.hyd | 20170050.sac | 121 | 174.493 | 174.505 | 0.02903 | 0.012039 | -99 | 30.7566 | 0.00083697 | 129.757 | -99 | 30.7572 | 0.00041296 | 129.757
20170050.hyd | 20170050.sac | 121 | 149.767 | 149.774 | 0.052886 | 0.0074615 | -99 | 30.6079 | 0.00059852 | 129.608 | -99 | 30.6105 | 0.0032508 | 129.611
20170050.hyd | 20170050.sac | 121 | 123.806 | 123.82 | 0.054525 | 0.014397 | -99 | 30.4888 | 0.00046036 | 129.489 | -99 | 30.4899 | 0.0018749 | 129.49
20170050.hyd | 20170050.sac | 121 | 99.621 | 99.6628 | 0.056544 | 0.041748 | -99 | 30.3243 | 0.0004764 | 129.324 | -99 | 30.3257 | 0.0020169 | 129.326
20170050.hyd | 20170050.sac | 121 | 73.943 | 73.9979 | 0.070039 | 0.054871 | -99 | 29.9745 | 0.0013955 | 128.974 | -99 | 29.9966 | 0.032282 | 128.997
20170050.hyd | 20170050.sac | 121 | 49.939 | 49.9459 | 0.039788 | 0.0069199 | -99 | 29.6959 | 0.00022353 | 128.696 | -99 | 29.697 | 0.00062039 | 128.697
20170050.hyd | 20170050.sac | 121 | 40.021 | 39.9806 | 0.11626 | -0.040447 | -99 | 29.6229 | 0.00024449 | 128.623 | -99 | 29.6246 | 0.00040721 | 128.625
20170050.hyd | 20170050.sac | 121 | 29.888 | 29.888 | 0.027108 | -4.9591e-05 | -99 | 29.4802 | 0.00092009 | 128.48 | -99 | 29.4804 | 0.00057659 | 128.48
20170050.hyd | 20170050.sac | 121 | 21.196 | 21.2046 | 0.028363 | 0.0085621 | -99 | 29.141 | 0.0029253 | 128.141 | -99 | 29.1424 | 0.0023858 | 128.142
20170050.hyd | 20170050.sac | 121 | 9.788 | 9.791 | 0.035078 | 0.0029755 | -99 | 26.3229 | 0.023931 | 125.323 | -99 | 26.261 | 0.06336 | 125.261
20170050.hyd | 20170050.sac | 121 | 4.753 | 4.7542 | 0.032654 | 0.0011654 | -99 | 25.2813 | 0.00099106 | 124.281 | -99 | 25.2846 | 0.0023541 | 124.285
20170050.hyd | 20170050.sac | 121 | 1.031 | 1.0132 | 0.043842 | -0.017752 | -99 | 24.9065 | 0.010117 | 123.907 | -99 | 24.916 | 0.0092476 | 123.916
20170054.hyd | 20170054.sac | 121 | 273.292 | 273.308 | 0.031757 | 0.0159 | 30.9128 | 30.9133 | 0.00061899 | 0.00053406 | 30.9128 | 30.9145 | 0.00073111 | 0.0017204
20170054.hyd | 20170054.sac | 121 | 250.078 | 250.094 | 0.034785 | 0.016022 | 30.9073 | 30.9032 | 0.00028233 | -0.0040646 | 30.9073 | 30.906 | 0.00033049 | -0.0013237
20170054.hyd | 20170054.sac | 121 | 200.408 | 200.419 | 0.030416 | 0.011078 | -99 | 30.7201 | 0.00026248 | 129.72 | -99 | 30.7225 | 0.00039765 | 129.723
20170054.hyd | 20170054.sac | 121 | 175.208 | 175.199 | 0.047403 | -0.0089417 | -99 | 30.6553 | 0.00023217 | 129.655 | -99 | 30.6578 | 0.00028403 | 129.658
20170054.hyd | 20170054.sac | 121 | 150.119 | 150.112 | 0.080146 | -0.0068512 | -99 | 30.5156 | 0.00028947 | 129.516 | -99 | 30.5183 | 0.00033822 | 129.518
20170054.hyd | 20170054.sac | 121 | 125.321 | 125.319 | 0.041985 | -0.0018921 | -99 | 30.379 | 0.002055 | 129.379 | -99 | 30.38 | 0.0020937 | 129.38
20170054.hyd | 20170054.sac | 121 | 99.997 | 99.9849 | 0.065614 | -0.012146 | -99 | 30.2051 | 0.00080236 | 129.205 | -99 | 30.2064 | 0.00036972 | 129.206
20170054.hyd | 20170054.sac | 121 | 74.997 | 75.0052 | 0.038355 | 0.0081787 | -99 | 30.0312 | 0.00032726 | 129.031 | -99 | 30.0335 | 0.00046146 | 129.034
20170054.hyd | 20170054.sac | 121 | 50.282 | 50.3037 | 0.056686 | 0.021694 | -99 | 29.7162 | 0.00035838 | 128.716 | -99 | 29.7162 | 0.0013936 | 128.716
20170054.hyd | 20170054.sac | 121 | 39.93 | 39.928 | 0.038257 | -0.0020332 | -99 | 29.6077 | 0.00036966 | 128.608 | -99 | 29.61 | 0.00031901 | 128.61
20170054.hyd | 20170054.sac | 121 | 29.929 | 29.9331 | 0.046544 | 0.0041389 | -99 | 29.3603 | 0.00057247 | 128.36 | -99 | 29.3699 | 0.0040971 | 128.37
20170054.hyd | 20170054.sac | 121 | 19.804 | 19.7849 | 0.093179 | -0.019058 | -99 | 29.0166 | 0.0016479 | 128.017 | -99 | 29.0345 | 0.0048862 | 128.034
20170054.hyd | 20170054.sac | 121 | 10.2 | 10.2047 | 0.05059 | 0.0046616 | -99 | 28.1808 | 0.0045605 | 127.181 | -99 | 28.246 | 0.041633 | 127.246
20170054.hyd | 20170054.sac | 121 | 5.164 | 5.1674 | 0.032983 | 0.0033884 | -99 | 27.1379 | 0.05908 | 126.138 | -99 | 26.9988 | 0.064734 | 125.999
20170054.hyd | 20170054.sac | 121 | 1.036 | 1.0375 | 0.031469 | 0.0015124 | -99 | 25.7992 | 0.060618 | 124.799 | -99 | 25.7909 | 0.056054 | 124.791
20170062.hyd | 20170062.sac | 121 | 161.194 | 161.186 | 0.026725 | -0.0075226 | 30.6451 | 30.6871 | 0.0016094 | 0.042007 | 30.6451 | 30.682 | 0.0023773 | 0.036871
20170062.hyd | 20170062.sac | 121 | 150.305 | 150.306 | 0.025871 | 0.0014496 | 30.6394 | 30.4863 | 0.0011991 | -0.15311 | 30.6394 | 30.4859 | 0.0011641 | -0.15351
20170062.hyd | 20170062.sac | 121 | 124.581 | 124.593 | 0.039503 | 0.012459 | 30.6308 | 30.3324 | 0.00036513 | -0.2984 | 30.6308 | 30.3347 | 0.00088339 | -0.29608
20170062.hyd | 20170062.sac | 121 | 100.135 | 100.14 | 0.043795 | 0.0050583 | 30.6104 | 30.2157 | 0.00041599 | -0.39473 | 30.6104 | 30.2176 | 0.0003341 | -0.3928
20170062.hyd | 20170062.sac | 121 | 75.374 | 75.379 | 0.040532 | 0.0049896 | -99 | 29.9918 | 0.00061153 | 128.992 | -99 | 29.9931 | 0.00058547 | 128.993
20170062.hyd | 20170062.sac | 121 | 50.486 | 50.4901 | 0.025703 | 0.0041084 | -99 | 29.5816 | 0.00278 | 128.582 | -99 | 29.5829 | 0.0021338 | 128.583
20170062.hyd | 20170062.sac | 121 | 40.59 | 40.596 | 0.029732 | 0.0059586 | -99 | 29.3941 | 0.0033169 | 128.394 | -99 | 29.3937 | 0.0038859 | 128.394
20170062.hyd | 20170062.sac | 121 | 30.749 | 30.7488 | 0.026817 | -0.0001812 | -99 | 29.248 | 0.00080846 | 128.248 | -99 | 29.2472 | 0.0011352 | 128.247
20170062.hyd | 20170062.sac | 121 | 20.816 | 20.8216 | 0.026569 | 0.0056457 | -99 | 28.8109 | 0.0021554 | 127.811 | -99 | 28.8128 | 0.00099547 | 127.813
20170062.hyd | 20170062.sac | 121 | 11.089 | 11.0869 | 0.033227 | -0.0021067 | -99 | 28.2738 | 0.0031589 | 127.274 | -99 | 28.2713 | 0.0043343 | 127.271
20170062.hyd | 20170062.sac | 121 | 6.021 | 6.0207 | 0.02691 | -0.00033855 | -99 | 26.8514 | 0.025006 | 125.851 | -99 | 26.8095 | 0.026994 | 125.809
20170062.hyd | 20170062.sac | 121 | 0.743 | 0.74644 | 0.029289 | 0.0034381 | -99 | 25.4951 | 0.0047638 | 124.495 | -99 | 25.4987 | 0.0032697 | 124.499
20170067.hyd | 20170067.sac | 121 | 308.717 | 308.723 | 0.028796 | 0.006134 | 30.6027 | 30.6024 | 0.00023772 | -0.00030136 | 30.6027 | 30.6046 | 0.00028798 | 0.0019341
20170067.hyd | 20170067.sac | 121 | 299.934 | 299.933 | 0.025206 | -0.00079346 | 30.6023 | 30.5971 | 0.00046141 | -0.0051899 | 30.6023 | 30.5991 | 0.00026212 | -0.0031719
20170067.hyd | 20170067.sac | 121 | 248.949 | 248.951 | 0.020436 | 0.0022736 | 30.5926 | 30.5887 | 0.00019479 | -0.0039082 | 30.5926 | 30.591 | 0.00027357 | -0.001564
20170067.hyd | 20170067.sac | 121 | 200.002 | 200.002 | 0.025588 | 0.00028992 | -99 | 30.5471 | 0.0003173 | 129.547 | -99 | 30.549 | 0.00029622 | 129.549
20170067.hyd | 20170067.sac | 121 | 174.841 | 174.841 | 0.028526 | 0.00018311 | -99 | 30.4968 | 0.0005007 | 129.497 | -99 | 30.4994 | 0.00053761 | 129.499
20170067.hyd | 20170067.sac | 121 | 149.998 | 149.998 | 0.02929 | 0.00024414 | -99 | 30.4545 | 0.00021585 | 129.455 | -99 | 30.4566 | 0.00027982 | 129.457
20170067.hyd | 20170067.sac | 121 | 124.845 | 124.844 | 0.029906 | -0.00067902 | -99 | 30.3395 | 0.002291 | 129.34 | -99 | 30.3428 | 0.001142 | 129.343
20170067.hyd | 20170067.sac | 121 | 99.958 | 99.959 | 0.024311 | 0.0010223 | -99 | 30.1752 | 0.00054507 | 129.175 | -99 | 30.1766 | 0.00044943 | 129.177
20170067.hyd | 20170067.sac | 121 | 74.662 | 74.6629 | 0.025712 | 0.00092316 | -99 | 29.9522 | 0.00032393 | 128.952 | -99 | 29.9538 | 0.00031239 | 128.954
20170067.hyd | 20170067.sac | 121 | 49.875 | 49.8713 | 0.026799 | -0.0036964 | -99 | 29.4544 | 0.0010013 | 128.454 | -99 | 29.4573 | 0.00043672 | 128.457
20170067.hyd | 20170067.sac | 121 | 40.049 | 40.0469 | 0.022911 | -0.0021401 | -99 | 29.3258 | 0.00034758 | 128.326 | -99 | 29.3271 | 0.00033036 | 128.327
20170067.hyd | 20170067.sac | 121 | 30.154 | 30.1547 | 0.023756 | 0.00070381 | -99 | 29.2435 | 0.00058234 | 128.243 | -99 | 29.244 | 0.00087103 | 128.244
20170067.hyd | 20170067.sac | 121 | 20.077 | 20.0764 | 0.025578 | -0.00058556 | -99 | 29.1248 | 0.00063453 | 128.125 | -99 | 29.1265 | 0.0013423 | 128.127
20170067.hyd | 20170067.sac | 121 | 9.904 | 9.9023 | 0.020946 | -0.0016775 | -99 | 28.556 | 0.0065451 | 127.556 | -99 | 28.5259 | 0.0086634 | 127.526
20170067.hyd | 20170067.sac | 121 | 4.995 | 4.9957 | 0.023429 | 0.00068617 | -99 | 27.4788 | 0.00124 | 126.479 | -99 | 27.4773 | 0.0022779 | 126.477
20170067.hyd | 20170067.sac | 117 | 0.563 | 0.56922 | 0.020137 | 0.0062222 | -99 | 26.333 | 0.030221 | 125.333 | -99 | 26.297 | 0.047002 | 125.297
Create Fit Sheet