Linda White								April 9, 2001

7036 Bickstan Place

Brentwood Bay, B.C.

V8M 1G6

Mary O’brien

Marine Environment and Habitat Science

9860 West Saanich Road

Sidney, B.C.

V8L 4B2

Summary Report 	Nutrient analysis of AG99 Arctic sediment trap supernatants and Cruise 9907 frozen seawater for nitrate + nitrite, silicate and phosphate.

Diluted supernatants and thawed nutrient samples were analysed on Technicon’s three channel autoanalyzer for nitrate (NO3 + NO2), silicate (Si (OH) 4 and phosphate (PO4), March 8, 2001.

Raw filename is 080301.aaz, calculated data is 080301.anz.

Medium check standards were analysed after each set of samples and a full standard envelope analysed at the beginning and end of the day.

The supernatants were diluted with 3.2% NaCl.

# Supernatants and Rinses

A 10 ml aliquot of supernatant was removed from each original bottle of supernatant and rinse solution.  The original bottle is stored in the refrigerator in room # 1427.

A 200µl subsample was diluted to 10mls with 3.2% NaCl (50X dilution) with the exception of #11 supernatant where a 50µl subsample was taken, (200X dilution).

The blank solution was diluted 50X also.

# Quality Assurance Data

# Standards analysed as sample

Relative standard deviation	Nitrate+Nitrite		Silicate		Phosphate

Mean				16.1µM/L 		40.0µM/L	1.61µM/L

Sd				0.05			0.12		0.004

Relstdev %			0.7%			0.5%		1.17%

Calibrated values		16.03µM/L		39.94µM/L	1.60µM/L

# Filename: AG99Supern.xls