File List for Arctic Data 2000       Cruise Number: 2000-20

(2000-21, 2000-22 and 2000-23 follow the same pattern except where noted below)

Note that cast numbers with a ‘9’ in the 5th place are SBE-19 casts. Those with ‘0’ in the 5th place are Guildline casts. The two CTDs were lowered together.

[osapcommon.ctd.2000]

2020proc.doc – processing notes

2020file.doc – this document

[osapcommon.ctd.2000.2000-20]

[osapcommon.ctd.2000.2000-20.guildline]

2020botg.xls -  comparison of Guildline data and bottles

2020cal.ccf – calibration file for Guildline data

2022rcal.ccf – recalibration file for Guildline data

[osapcommon.ctd.2000.2000-20.guildline.original]

*.hdr - original files from sea

*.acq - 		“

2020chem.xls – chemistry spreadsheets with the bottle data

[osapcommon.ctd.2000.2000-20.guildline.ios]

*.avg - data after metre-averaging using BINAVE

*.cal - calibrated data

*.cor – edited, bin-averaged and recalibrated files

*.ctd - final files

*.cvu – output files from VIEWEDIT

*.del - after DELETE

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.log and *.lo* - log files created by CTDEDIT.

*.raw - converted files

delete.log – log file for routine DELETE

[osapcommon.ctd.2000.2000-20.SB]

*.cnv – converted files

*.con – configuration file for SeaBird data

[osapcommon.ctd.2000.2000-20.SB.derive]

*.cnv – converted files after running FILTER, ALIGNCTD and DERIVE

[osapcommon.ctd.2000.2000-20.SB.hydro]

*.bot – rosette files after conversion to IOS HEADERS

*.hyd  - bottle files created from chemistry spreadsheets

*.ros – rosette files created by DATCNV, no other processing done

*.sam – bot files with sample numbers added

*.csv – input to COMPARE (bottles vs. SeaBird salinity)

*.xls – results of COMPARE (bottles vs SeaBIrd salinity)

[osapcommon.ctd.2000.2000-20.SB.ios]

*.del – after DELETE

*.ios –  files converted to IOS HEADERS

delete.log – log from routine DELETE

(Note for 2000-22 this folder contains some files with extensions ED1 and LOG. These were for comparison with suspicious Guildline casts.)

[osapcommon.ctd.2000.2000-20.SB.raw]

These are the raw files with names that are not in IOS standard format.

[osapcommon.ctd.2000.SEABIRD]

This folder contains the information from the SEABIRD CTD provided at the beginning of the project.