2000-10

This data set was reprocessed in August 2001 to filter and recalibrate the fluorometer channel. The RAC and CTD files were recreated. In doing this the original 3 CCF files were replaced with one new one, 2010rcal.ccf, which corrects the two salinity channels and removes the offset from the fluorometer channel.

I wasn’t sure whether you would want recalibrated CHE files or recreated RAC files from which CHE files could be reproduced. So both are available. The CHE files that are in DATA_LIB were recalibrated using 2010FL.ccf, which only removes the offset in the fluorometer channel.