## File List
Number of Files= |  | 4
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 20260028.hyd | 20260028.sac | 12 | 29 | 20260028.hyd & 20260028.sac
2 | 20260029.hyd | 20260029.sac | 31 | 50 | 20260029.hyd & 20260029.sac
3 | 20260045.hyd | 20260045.sac | 52 | 65 | 20260045.hyd & 20260045.sac
4 | 20260046.hyd | 20260046.sac | 67 | 82 | 20260046.hyd & 20260046.sac

## (Sal0 - Sal_bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.063939 |  | X | CALC Y
m= | 3.6111e-06 | 3.2567e-06 |  | Std Dev of Resid |  | 0.002013 |  | 125.339 | -0.00043913
b= | -0.00089174 | 0.0010769 |  | Resid Sum of Squares |  | 7.294e-05 |  | 606.111 | 0.001297
# of Values Extracted = |  |  | 68
# of Values Used in Fit = |  |  | 20
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 535.455 | 29.0916 | 0.00021008 | 128.092 | 0.0010419 | -128.091 |  | 250.284 | -0.00074005
1 | NO | 499.794 | 29.09 | 0.00019791 | -0.013245 | 0.00091309 | 0.014158 |  | 174.878 | 0.0017242
1 | NO | 450.203 | 29.0852 | 0.00019991 | 128.085 | 0.00073401 | -128.0843 |  | 606.111 | 0.0010624
1 | NO | 400.194 | 29.0775 | 0.0001705 | -0.018093 | 0.00055342 | 0.018647 |  | 600.046 | 0.0016232
1 | NO | 349.837 | 29.0619 | 0.00018008 | 128.062 | 0.00037157 | -128.0616 |  | 499.963 | 0.0013123
1 | NO | 300.205 | 29.0398 | 0.00021097 | 128.04 | 0.00019234 | -128.0398 |  | 449.593 | 0.00173
1 | YES | 250.284 | 28.9445 | 0.00019251 | -0.00074005 | 1.2069e-05 | 0.00075212 |  | 400.334 | 0.0013371
1 | NO | 224.87 | 28.9127 | 0.00018037 | 127.913 | -7.9705e-05 | -127.9131 |  | 349.886 | 0.00021172
1 | NO | 200.294 | 28.8971 | 0.00019472 | 127.897 | -0.00016845 | -127.8972 |  | 300.005 | 0.00080299
1 | YES | 174.878 | 28.9389 | 0.00026216 | 0.0017242 | -0.00026023 | -0.0019845 |  | 225.576 | 0.0015087
1 | NO | 150.202 | 28.8361 | 0.00055532 | 127.836 | -0.00034934 | -127.8363 |  | 200.289 | 0.0011616
1 | NO | 124.586 | 28.814 | 0.004293 | 127.814 | -0.00044184 | -127.8144 |  | 174.911 | 0.0009098
1 | NO | 99.9461 | 28.7839 | 0.00023942 | 127.784 | -0.00053082 | -127.7845 |  | 150.48 | 0.0042172
1 | NO | 74.837 | 28.6015 | 0.00021996 | 127.602 | -0.0006215 | -127.6026 |  | 125.339 | -0.00078774
1 | NO | 49.9828 | 28.5305 | 0.00021133 | 127.53 | -0.00071125 | -127.5307 |  | 250.186 | -0.0022869
1 | NO | 30.2774 | 28.7446 | 0.0007565 | 127.745 | -0.00078241 | -127.7458 |  | 224.201 | -0.0033646
1 | NO | 10.5906 | 27.9412 | 0.0006181 | 126.941 | -0.0008535 | -126.9419 |  | 200.152 | -0.004837
1 | NO | 0.55593 | 17.6075 | 0.11878 | 116.608 | -0.00088974 | -116.6089 |  | 300.199 | -0.00011444
2 | YES | 606.111 | 29.0946 | 0.0002059 | 0.0010624 | 0.001297 | 0.00023462 |  | 275.411 | -0.00060844
2 | YES | 600.046 | 29.0945 | 0.00018884 | 0.0016232 | 0.0012751 | -0.00034804 |  | 250.036 | -0.0010014
2 | YES | 499.963 | 29.0908 | 0.00017738 | 0.0013123 | 0.0009137 | -0.00039856
2 | YES | 449.593 | 29.0893 | 0.00017337 | 0.00173 | 0.0007318 | -0.00099817 |  | average | 0.00019302
2 | YES | 400.334 | 29.0847 | 0.00017518 | 0.0013371 | 0.00055392 | -0.00078313
2 | YES | 349.886 | 29.0826 | 0.00020606 | 0.00021172 | 0.00037175 | 0.00016003
2 | YES | 300.005 | 29.0679 | 0.00019176 | 0.00080299 | 0.00019162 | -0.00061138
2 | NO | 249.763 | 28.9918 | 0.00021868 | -0.0069447 | 1.0188e-05 | 0.0069548
2 | YES | 225.576 | 28.962 | 0.00032768 | 0.0015087 | -7.7155e-05 | -0.0015859
2 | YES | 200.289 | 28.9626 | 0.00025375 | 0.0011616 | -0.00016847 | -0.0013301
2 | YES | 174.911 | 28.9012 | 0.00020317 | 0.0009098 | -0.00026011 | -0.0011699
2 | YES | 150.48 | 28.8358 | 0.00032194 | 0.0042172 | -0.00034834 | -0.0045655
2 | YES | 125.339 | 28.7664 | 0.0001881 | -0.00078774 | -0.00043913 | 0.00034861
2 | NO | 99.988 | 28.7016 | 0.00019831 | -0.0075283 | -0.00053067 | 0.0069976
2 | NO | 74.8168 | 28.6049 | 0.00021119 | 0.0012016 | -0.00062157 | -0.0018232
2 | NO | 50.4818 | 28.5333 | 0.00043299 | -0.0019627 | -0.00070945 | 0.0012532
2 | NO | 30.3239 | 28.4755 | 0.0015986 | 0.0050602 | -0.00078224 | -0.0058424
2 | NO | 20.0714 | 28.4448 | 0.00021128 | -0.00047684 | -0.00081926 | -0.00034243
2 | NO | 10.3171 | 27.683 | 0.004456 | -0.24854 | -0.00085449 | 0.24768
2 | NO | 0.43374 | 16.2315 | 0.51461 | -1.8856 | -0.00089018 | 1.8847
3 | NO | 266.961 | 30.1285 | 0.00019009 | 129.128 | 7.2292e-05 | -129.1279
3 | YES | 250.186 | 30.1253 | 0.0002714 | -0.0022869 | 1.1715e-05 | 0.0022986
3 | YES | 224.201 | 30.1188 | 0.00022862 | -0.0033646 | -8.212e-05 | 0.0032824
3 | YES | 200.152 | 30.1009 | 0.00019857 | -0.004837 | -0.00016896 | 0.0046681
3 | NO | 174.954 | 30.0822 | 0.00023616 | 129.082 | -0.00025996 | -129.0823
3 | NO | 150.429 | 30.0729 | 0.00016347 | 129.073 | -0.00034852 | -129.0733
3 | NO | 125.257 | 30.0893 | 0.00019019 | 129.089 | -0.00043942 | -129.0894
3 | NO | 100.016 | 30.0701 | 0.00019725 | 129.07 | -0.00053057 | -129.0705
3 | NO | 75.2708 | 29.9963 | 0.00025234 | 128.996 | -0.00061993 | -128.9966
3 | NO | 50.0791 | 29.5943 | 0.00054842 | 128.594 | -0.0007109 | -128.5947
3 | NO | 30.0679 | 28.9277 | 0.00035736 | 127.928 | -0.00078316 | -127.9288
3 | NO | 20.52 | 28.6492 | 0.00023089 | 127.649 | -0.00081764 | -127.6498
3 | NO | 9.8099 | 27.9055 | 0.0014998 | 126.906 | -0.00085632 | -126.9069
3 | NO | 0.62514 | 19.5423 | 0.09773 | 118.542 | -0.00088949 | -118.5429
4 | NO | 330.545 | 30.1347 | 0.012061 | 129.135 | 0.0003019 | -129.1347
4 | YES | 300.199 | 30.1426 | 0.00023336 | -0.00011444 | 0.00019232 | 0.00030676
4 | YES | 275.411 | 30.1402 | 0.00026749 | -0.00060844 | 0.00010281 | 0.00071125
4 | YES | 250.036 | 30.1334 | 0.00053551 | -0.0010014 | 1.1174e-05 | 0.0010125
4 | NO | 225.355 | 30.1194 | 0.00020927 | 129.119 | -7.7953e-05 | -129.1191
4 | NO | 200.298 | 30.1076 | 0.00020965 | 129.108 | -0.00016844 | -129.1082
4 | NO | 174.923 | 30.0879 | 0.00033415 | 129.088 | -0.00026007 | -129.0883
4 | NO | 149.875 | 30.0795 | 0.00044325 | 129.079 | -0.00035052 | -129.0794
4 | NO | 124.982 | 30.0663 | 0.00023177 | 129.066 | -0.00044041 | -129.0664
4 | NO | 100.325 | 30.0796 | 0.00034788 | 129.08 | -0.00052945 | -129.0805
4 | NO | 74.5097 | 30.0001 | 0.0012927 | 129 | -0.00062268 | -129.0006
4 | NO | 50.3954 | 29.655 | 0.000876 | 128.655 | -0.00070976 | -128.6557
4 | NO | 29.6649 | 29.0448 | 0.0052694 | 128.045 | -0.00078462 | -128.0458
4 | NO | 20.2842 | 28.9252 | 0.0030722 | 127.925 | -0.00081849 | -127.9258
4 | NO | 10.3992 | 28.4132 | 0.086011 | 127.413 | -0.00085419 | -127.4139
4 | NO | 0.68876 | 20.4784 | 0.1223 | 119.478 | -0.00088926 | -119.4789
NO
NO
NO
NO
NO
NO
YES
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.10921 |  | X | CALC Y
m= | 4.0304e-06 | 2.713e-06 |  | Std Dev of Resid |  | 0.001677 |  | 125.339 | -0.00076199
b= | -0.0012672 | 0.00089711 |  | Resid Sum of Squares |  | 5.062e-05 |  | 606.111 | 0.0011757
# of Values Extracted = |  |  | 68
# of Values Used in Fit = |  |  | 20
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 535.455 | 29.0917 | 0.00021522 | 128.092 | 0.00089092 | -128.0911 |  | 250.284 | -0.0011883
1 | NO | 499.794 | 29.09 | 0.0002044 | -0.013189 | 0.0007472 | 0.013936 |  | 174.878 | 0.0011921
1 | NO | 450.203 | 29.0852 | 0.000205 | 128.085 | 0.00054733 | -128.0845 |  | 606.111 | 0.00096321
1 | NO | 400.194 | 29.0774 | 0.00022177 | -0.018215 | 0.00034577 | 0.018561 |  | 600.046 | 0.0014229
1 | NO | 349.837 | 29.0616 | 0.00020696 | 128.062 | 0.00014282 | -128.0619 |  | 499.963 | 0.00097466
1 | NO | 300.205 | 29.0395 | 0.00017318 | 128.04 | -5.7219e-05 | -128.0401 |  | 449.593 | 0.0013676
1 | YES | 250.284 | 28.944 | 0.0002138 | -0.0011883 | -0.00025842 | 0.00092986 |  | 400.334 | 0.00092316
1 | NO | 224.87 | 28.9122 | 0.00020546 | 127.912 | -0.00036085 | -127.9124 |  | 349.886 | -0.00024796
1 | NO | 200.294 | 28.8967 | 0.00022377 | 127.897 | -0.0004599 | -127.8975 |  | 300.005 | 0.00035477
1 | YES | 174.878 | 28.9384 | 0.0002604 | 0.0011921 | -0.00056233 | -0.0017544 |  | 225.576 | 0.0011978
1 | NO | 150.202 | 28.8353 | 0.00038978 | 127.835 | -0.00066179 | -127.8357 |  | 200.289 | -0.00010109
1 | NO | 124.586 | 28.804 | 0.0024216 | 127.804 | -0.00076503 | -127.8048 |  | 174.911 | 0.00032234
1 | NO | 99.9461 | 28.7832 | 0.00018124 | 127.783 | -0.00086434 | -127.7839 |  | 150.48 | 0.0034332
1 | NO | 74.837 | 28.6008 | 0.00019551 | 127.601 | -0.00096553 | -127.602 |  | 125.339 | -0.0014477
1 | NO | 49.9828 | 28.5296 | 0.00023241 | 127.53 | -0.0010657 | -127.5311 |  | 250.186 | -0.001503
1 | NO | 30.2774 | 28.7454 | 0.00091202 | 127.745 | -0.0011451 | -127.7461 |  | 224.201 | -0.0028172
1 | NO | 10.5906 | 27.9372 | 0.0028173 | 126.937 | -0.0012245 | -126.9382 |  | 200.152 | -0.0043869
1 | NO | 0.55593 | 17.7267 | 0.097111 | 116.727 | -0.0012649 | -116.7283 |  | 300.199 | 0.00015831
2 | YES | 606.111 | 29.0945 | 0.00020257 | 0.00096321 | 0.0011757 | 0.00021248 |  | 275.411 | -0.0002327
2 | YES | 600.046 | 29.0943 | 0.00019197 | 0.0014229 | 0.0011512 | -0.00027163 |  | 250.036 | -0.0015144
2 | YES | 499.963 | 29.0905 | 0.00020165 | 0.00097466 | 0.00074788 | -0.00022678
2 | YES | 449.593 | 29.089 | 0.00021521 | 0.0013676 | 0.00054487 | -0.0008227 |  | average | -5.6457e-05
2 | YES | 400.334 | 29.0843 | 0.0002016 | 0.00092316 | 0.00034634 | -0.00057682
2 | YES | 349.886 | 29.0822 | 0.00020812 | -0.00024796 | 0.00014301 | 0.00039097
2 | YES | 300.005 | 29.0675 | 0.0002039 | 0.00035477 | -5.8025e-05 | -0.00041279
2 | NO | 249.763 | 28.9912 | 0.00022045 | -0.0074501 | -0.00026052 | 0.0071896
2 | YES | 225.576 | 28.9617 | 0.00029931 | 0.0011978 | -0.000358 | -0.0015558
2 | YES | 200.289 | 28.9613 | 0.00050571 | -0.00010109 | -0.00045992 | -0.00035883
2 | YES | 174.911 | 28.9006 | 0.00032381 | 0.00032234 | -0.0005622 | -0.00088454
2 | YES | 150.48 | 28.835 | 0.00040649 | 0.0034332 | -0.00066067 | -0.0040939
2 | YES | 125.339 | 28.7658 | 0.00019594 | -0.0014477 | -0.00076199 | 0.00068569
2 | NO | 99.988 | 28.7009 | 0.00029582 | -0.0081558 | -0.00086417 | 0.0072917
2 | NO | 74.8168 | 28.6041 | 0.00021316 | 0.00039864 | -0.00096562 | -0.0013643
2 | NO | 50.4818 | 28.5325 | 0.00022078 | -0.0028076 | -0.0010637 | 0.0017439
2 | NO | 30.3239 | 28.4713 | 0.00093288 | 0.00091362 | -0.0011449 | -0.0020586
2 | NO | 20.0714 | 28.4436 | 0.00028972 | -0.0016689 | -0.0011863 | 0.00048267
2 | NO | 10.3171 | 27.6695 | 0.0026301 | -0.26201 | -0.0012256 | 0.26079
2 | NO | 0.43374 | 16.1741 | 0.39469 | -1.943 | -0.0012654 | 1.9418
3 | NO | 266.961 | 30.1287 | 0.00025019 | 129.129 | -0.0001912 | -129.1292
3 | YES | 250.186 | 30.1261 | 0.00038058 | -0.001503 | -0.00025881 | 0.0012442
3 | YES | 224.201 | 30.1194 | 0.00024368 | -0.0028172 | -0.00036354 | 0.0024536
3 | YES | 200.152 | 30.1013 | 0.00025914 | -0.0043869 | -0.00046047 | 0.0039264
3 | NO | 174.954 | 30.0827 | 0.00023853 | 129.083 | -0.00056203 | -129.0836
3 | NO | 150.429 | 30.0733 | 0.00021956 | 129.073 | -0.00066087 | -129.0737
3 | NO | 125.257 | 30.0896 | 0.00023245 | 129.09 | -0.00076232 | -129.0908
3 | NO | 100.016 | 30.0702 | 0.00026426 | 129.07 | -0.00086405 | -129.0709
3 | NO | 75.2708 | 29.9959 | 0.00031011 | 128.996 | -0.00096379 | -128.997
3 | NO | 50.0791 | 29.5916 | 0.00087567 | 128.592 | -0.0010653 | -128.5931
3 | NO | 30.0679 | 28.9261 | 0.00040603 | 127.926 | -0.001146 | -127.9271
3 | NO | 20.52 | 28.6477 | 0.00074892 | 127.648 | -0.0011845 | -127.6492
3 | NO | 9.8099 | 27.8948 | 0.0036296 | 126.895 | -0.0012276 | -126.8962
3 | NO | 0.62514 | 19.5595 | 0.087501 | 118.56 | -0.0012646 | -118.5613
4 | NO | 330.545 | 30.1372 | 0.014741 | 129.137 | 6.5062e-05 | -129.1369
4 | YES | 300.199 | 30.1429 | 0.00026325 | 0.00015831 | -5.7243e-05 | -0.00021555
4 | YES | 275.411 | 30.1406 | 0.00030861 | -0.0002327 | -0.00015715 | 7.5549e-05
4 | YES | 250.036 | 30.1329 | 0.00025654 | -0.0015144 | -0.00025942 | 0.001255
4 | NO | 225.355 | 30.1196 | 0.00022221 | 129.12 | -0.00035889 | -129.1204
4 | NO | 200.298 | 30.1077 | 0.00026923 | 129.108 | -0.00045988 | -129.1085
4 | NO | 174.923 | 30.0878 | 0.00023331 | 129.088 | -0.00056215 | -129.0886
4 | NO | 149.875 | 30.0793 | 0.00023815 | 129.079 | -0.0006631 | -129.0797
4 | NO | 124.982 | 30.0662 | 0.00040867 | 129.066 | -0.00076343 | -129.0668
4 | NO | 100.325 | 30.0808 | 0.0011687 | 129.081 | -0.00086281 | -129.0819
4 | NO | 74.5097 | 29.9993 | 0.0018255 | 128.999 | -0.00096685 | -129
4 | NO | 50.3954 | 29.6579 | 0.00067912 | 128.658 | -0.001064 | -128.6591
4 | NO | 29.6649 | 29.0875 | 0.030625 | 128.087 | -0.0011476 | -128.0881
4 | NO | 20.2842 | 28.9172 | 0.0048347 | 127.917 | -0.0011854 | -127.9182
4 | NO | 10.3992 | 28.4455 | 0.031545 | 127.446 | -0.0012252 | -127.4472
4 | NO | 0.68876 | 20.4413 | 0.09211 | 119.441 | -0.0012644 | -119.4423
NO
NO
NO
NO
NO
NO
YES
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_bot | Sal0 |  | Sal0 - Sal_bot
Comp 2 | Sal_bot | Sal1 |  | Sal1 - Sal_bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_bot | Sal0 | Sal0 | (S-P) | Sal_bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
20260028.hyd | 20260028.sac | 121 | 535.454 | 535.455 | 0.023682 | 0.00079346 | -99 | 29.0916 | 0.00021008 | 128.092 | -99 | 29.0917 | 0.00021522 | 128.092
20260028.hyd | 20260028.sac | 121 | 499.793 | 499.794 | 0.024276 | 0.00091553 | 29.1032 | 29.09 | 0.00019791 | -0.013245 | 29.1032 | 29.09 | 0.0002044 | -0.013189
20260028.hyd | 20260028.sac | 121 | 450.202 | 450.203 | 0.023773 | 0.00088501 | -99 | 29.0852 | 0.00019991 | 128.085 | -99 | 29.0852 | 0.000205 | 128.085
20260028.hyd | 20260028.sac | 121 | 400.193 | 400.194 | 0.022789 | 0.00082398 | 29.0956 | 29.0775 | 0.0001705 | -0.018093 | 29.0956 | 29.0774 | 0.00022177 | -0.018215
20260028.hyd | 20260028.sac | 121 | 349.837 | 349.837 | 0.024027 | 0.00012207 | -99 | 29.0619 | 0.00018008 | 128.062 | -99 | 29.0616 | 0.00020696 | 128.062
20260028.hyd | 20260028.sac | 121 | 300.203 | 300.205 | 0.022877 | 0.0015564 | -99 | 29.0398 | 0.00021097 | 128.04 | -99 | 29.0395 | 0.00017318 | 128.04
20260028.hyd | 20260028.sac | 121 | 250.283 | 250.284 | 0.026577 | 0.00054932 | 28.9452 | 28.9445 | 0.00019251 | -0.00074005 | 28.9452 | 28.944 | 0.0002138 | -0.0011883
20260028.hyd | 20260028.sac | 121 | 224.868 | 224.87 | 0.025564 | 0.0015106 | -99 | 28.9127 | 0.00018037 | 127.913 | -99 | 28.9122 | 0.00020546 | 127.912
20260028.hyd | 20260028.sac | 121 | 200.293 | 200.294 | 0.024551 | 0.00085449 | -99 | 28.8971 | 0.00019472 | 127.897 | -99 | 28.8967 | 0.00022377 | 127.897
20260028.hyd | 20260028.sac | 121 | 174.878 | 174.878 | 0.02958 | 0.00032043 | 28.9372 | 28.9389 | 0.00026216 | 0.0017242 | 28.9372 | 28.9384 | 0.0002604 | 0.0011921
20260028.hyd | 20260028.sac | 121 | 150.203 | 150.202 | 0.021006 | -0.00074768 | -99 | 28.8361 | 0.00055532 | 127.836 | -99 | 28.8353 | 0.00038978 | 127.835
20260028.hyd | 20260028.sac | 121 | 124.586 | 124.586 | 0.02766 | -0.00033569 | -99 | 28.814 | 0.004293 | 127.814 | -99 | 28.804 | 0.0024216 | 127.804
20260028.hyd | 20260028.sac | 121 | 99.946 | 99.9461 | 0.024635 | 0.00011444 | -99 | 28.7839 | 0.00023942 | 127.784 | -99 | 28.7832 | 0.00018124 | 127.783
20260028.hyd | 20260028.sac | 121 | 74.838 | 74.837 | 0.028295 | -0.00099182 | -99 | 28.6015 | 0.00021996 | 127.602 | -99 | 28.6008 | 0.00019551 | 127.601
20260028.hyd | 20260028.sac | 121 | 49.983 | 49.9828 | 0.027796 | -0.00016785 | -99 | 28.5305 | 0.00021133 | 127.53 | -99 | 28.5296 | 0.00023241 | 127.53
20260028.hyd | 20260028.sac | 121 | 30.277 | 30.2774 | 0.022188 | 0.00042152 | -99 | 28.7446 | 0.0007565 | 127.745 | -99 | 28.7454 | 0.00091202 | 127.745
20260028.hyd | 20260028.sac | 121 | 10.59 | 10.5906 | 0.025974 | 0.00061989 | -99 | 27.9412 | 0.0006181 | 126.941 | -99 | 27.9372 | 0.0028173 | 126.937
20260028.hyd | 20260028.sac | 121 | 0.555 | 0.55593 | 0.024134 | 0.0009256 | -99 | 17.6075 | 0.11878 | 116.608 | -99 | 17.7267 | 0.097111 | 116.727
20260029.hyd | 20260029.sac | 121 | 606.109 | 606.111 | 0.030133 | 0.0015869 | 29.0935 | 29.0946 | 0.0002059 | 0.0010624 | 29.0935 | 29.0945 | 0.00020257 | 0.00096321
20260029.hyd | 20260029.sac | 121 | 600.045 | 600.046 | 0.024837 | 0.0013428 | 29.0929 | 29.0945 | 0.00018884 | 0.0016232 | 29.0929 | 29.0943 | 0.00019197 | 0.0014229
20260029.hyd | 20260029.sac | 121 | 499.96 | 499.963 | 0.024877 | 0.0031738 | 29.0895 | 29.0908 | 0.00017738 | 0.0013123 | 29.0895 | 29.0905 | 0.00020165 | 0.00097466
20260029.hyd | 20260029.sac | 121 | 449.589 | 449.593 | 0.026108 | 0.0041809 | 29.0876 | 29.0893 | 0.00017337 | 0.00173 | 29.0876 | 29.089 | 0.00021521 | 0.0013676
20260029.hyd | 20260029.sac | 121 | 400.333 | 400.334 | 0.023415 | 0.0013123 | 29.0834 | 29.0847 | 0.00017518 | 0.0013371 | 29.0834 | 29.0843 | 0.0002016 | 0.00092316
20260029.hyd | 20260029.sac | 121 | 349.884 | 349.886 | 0.028237 | 0.0018005 | 29.0824 | 29.0826 | 0.00020606 | 0.00021172 | 29.0824 | 29.0822 | 0.00020812 | -0.00024796
20260029.hyd | 20260029.sac | 121 | 300.003 | 300.005 | 0.025846 | 0.0024414 | 29.0671 | 29.0679 | 0.00019176 | 0.00080299 | 29.0671 | 29.0675 | 0.0002039 | 0.00035477
20260029.hyd | 20260029.sac | 121 | 249.761 | 249.763 | 0.025731 | 0.0022888 | 28.9987 | 28.9918 | 0.00021868 | -0.0069447 | 28.9987 | 28.9912 | 0.00022045 | -0.0074501
20260029.hyd | 20260029.sac | 121 | 225.573 | 225.576 | 0.028504 | 0.0030518 | 28.9605 | 28.962 | 0.00032768 | 0.0015087 | 28.9605 | 28.9617 | 0.00029931 | 0.0011978
20260029.hyd | 20260029.sac | 121 | 200.288 | 200.289 | 0.027194 | 0.0013428 | 28.9614 | 28.9626 | 0.00025375 | 0.0011616 | 28.9614 | 28.9613 | 0.00050571 | -0.00010109
20260029.hyd | 20260029.sac | 121 | 174.91 | 174.911 | 0.020308 | 0.00076294 | 28.9003 | 28.9012 | 0.00020317 | 0.0009098 | 28.9003 | 28.9006 | 0.00032381 | 0.00032234
20260029.hyd | 20260029.sac | 121 | 150.478 | 150.48 | 0.023363 | 0.0019989 | 28.8316 | 28.8358 | 0.00032194 | 0.0042172 | 28.8316 | 28.835 | 0.00040649 | 0.0034332
20260029.hyd | 20260029.sac | 121 | 125.335 | 125.339 | 0.02361 | 0.0038452 | 28.7672 | 28.7664 | 0.0001881 | -0.00078774 | 28.7672 | 28.7658 | 0.00019594 | -0.0014477
20260029.hyd | 20260029.sac | 121 | 99.983 | 99.988 | 0.022823 | 0.0049667 | 28.7091 | 28.7016 | 0.00019831 | -0.0075283 | 28.7091 | 28.7009 | 0.00029582 | -0.0081558
20260029.hyd | 20260029.sac | 121 | 74.815 | 74.8168 | 0.023652 | 0.0018311 | 28.6037 | 28.6049 | 0.00021119 | 0.0012016 | 28.6037 | 28.6041 | 0.00021316 | 0.00039864
20260029.hyd | 20260029.sac | 121 | 50.481 | 50.4818 | 0.021825 | 0.00077057 | 28.5353 | 28.5333 | 0.00043299 | -0.0019627 | 28.5353 | 28.5325 | 0.00022078 | -0.0028076
20260029.hyd | 20260029.sac | 121 | 30.323 | 30.3239 | 0.025828 | 0.00086021 | 28.4704 | 28.4755 | 0.0015986 | 0.0050602 | 28.4704 | 28.4713 | 0.00093288 | 0.00091362
20260029.hyd | 20260029.sac | 121 | 20.072 | 20.0714 | 0.02395 | -0.0005703 | 28.4453 | 28.4448 | 0.00021128 | -0.00047684 | 28.4453 | 28.4436 | 0.00028972 | -0.0016689
20260029.hyd | 20260029.sac | 121 | 10.317 | 10.3171 | 0.023137 | 0.0001154 | 27.9315 | 27.683 | 0.004456 | -0.24854 | 27.9315 | 27.6695 | 0.0026301 | -0.26201
20260029.hyd | 20260029.sac | 121 | 0.432 | 0.43374 | 0.025573 | 0.0017355 | 18.1171 | 16.2315 | 0.51461 | -1.8856 | 18.1171 | 16.1741 | 0.39469 | -1.943
20260045.hyd | 20260045.sac | 121 | 266.958 | 266.961 | 0.025944 | 0.0032654 | -99 | 30.1285 | 0.00019009 | 129.128 | -99 | 30.1287 | 0.00025019 | 129.129
20260045.hyd | 20260045.sac | 121 | 250.186 | 250.186 | 0.022949 | -0.0004425 | 30.1276 | 30.1253 | 0.0002714 | -0.0022869 | 30.1276 | 30.1261 | 0.00038058 | -0.001503
20260045.hyd | 20260045.sac | 121 | 224.197 | 224.201 | 0.031785 | 0.00383 | 30.1222 | 30.1188 | 0.00022862 | -0.0033646 | 30.1222 | 30.1194 | 0.00024368 | -0.0028172
20260045.hyd | 20260045.sac | 121 | 200.148 | 200.152 | 0.020838 | 0.0043945 | 30.1057 | 30.1009 | 0.00019857 | -0.004837 | 30.1057 | 30.1013 | 0.00025914 | -0.0043869
20260045.hyd | 20260045.sac | 121 | 174.953 | 174.954 | 0.026368 | 0.00057983 | -99 | 30.0822 | 0.00023616 | 129.082 | -99 | 30.0827 | 0.00023853 | 129.083
20260045.hyd | 20260045.sac | 121 | 150.425 | 150.429 | 0.027622 | 0.0041046 | -99 | 30.0729 | 0.00016347 | 129.073 | -99 | 30.0733 | 0.00021956 | 129.073
20260045.hyd | 20260045.sac | 121 | 125.254 | 125.257 | 0.022915 | 0.0027237 | -99 | 30.0893 | 0.00019019 | 129.089 | -99 | 30.0896 | 0.00023245 | 129.09
20260045.hyd | 20260045.sac | 121 | 100.012 | 100.016 | 0.02297 | 0.0036469 | -99 | 30.0701 | 0.00019725 | 129.07 | -99 | 30.0702 | 0.00026426 | 129.07
20260045.hyd | 20260045.sac | 121 | 75.269 | 75.2708 | 0.025822 | 0.0018158 | -99 | 29.9963 | 0.00025234 | 128.996 | -99 | 29.9959 | 0.00031011 | 128.996
20260045.hyd | 20260045.sac | 121 | 50.074 | 50.0791 | 0.027471 | 0.0051384 | -99 | 29.5943 | 0.00054842 | 128.594 | -99 | 29.5916 | 0.00087567 | 128.592
20260045.hyd | 20260045.sac | 121 | 30.068 | 30.0679 | 0.028115 | -0.00013351 | -99 | 28.9277 | 0.00035736 | 127.928 | -99 | 28.9261 | 0.00040603 | 127.926
20260045.hyd | 20260045.sac | 121 | 20.52 | 20.52 | 0.023753 | -4.9591e-05 | -99 | 28.6492 | 0.00023089 | 127.649 | -99 | 28.6477 | 0.00074892 | 127.648
20260045.hyd | 20260045.sac | 121 | 9.809 | 9.8099 | 0.027503 | 0.00090122 | -99 | 27.9055 | 0.0014998 | 126.906 | -99 | 27.8948 | 0.0036296 | 126.895
20260045.hyd | 20260045.sac | 121 | 0.627 | 0.62514 | 0.026989 | -0.0018595 | -99 | 19.5423 | 0.09773 | 118.542 | -99 | 19.5595 | 0.087501 | 118.56
20260046.hyd | 20260046.sac | 121 | 330.547 | 330.545 | 0.025506 | -0.0015259 | -99 | 30.1347 | 0.012061 | 129.135 | -99 | 30.1372 | 0.014741 | 129.137
20260046.hyd | 20260046.sac | 121 | 300.2 | 300.199 | 0.022948 | -0.00073242 | 30.1427 | 30.1426 | 0.00023336 | -0.00011444 | 30.1427 | 30.1429 | 0.00026325 | 0.00015831
20260046.hyd | 20260046.sac | 121 | 275.412 | 275.411 | 0.02216 | -0.0012817 | 30.1408 | 30.1402 | 0.00026749 | -0.00060844 | 30.1408 | 30.1406 | 0.00030861 | -0.0002327
20260046.hyd | 20260046.sac | 121 | 250.035 | 250.036 | 0.024074 | 0.00093079 | 30.1344 | 30.1334 | 0.00053551 | -0.0010014 | 30.1344 | 30.1329 | 0.00025654 | -0.0015144
20260046.hyd | 20260046.sac | 121 | 225.355 | 225.355 | 0.021359 | -9.1553e-05 | -99 | 30.1194 | 0.00020927 | 129.119 | -99 | 30.1196 | 0.00022221 | 129.12
20260046.hyd | 20260046.sac | 121 | 200.297 | 200.298 | 0.027695 | 0.00050354 | -99 | 30.1076 | 0.00020965 | 129.108 | -99 | 30.1077 | 0.00026923 | 129.108
20260046.hyd | 20260046.sac | 121 | 174.922 | 174.923 | 0.024781 | 0.0010071 | -99 | 30.0879 | 0.00033415 | 129.088 | -99 | 30.0878 | 0.00023331 | 129.088
20260046.hyd | 20260046.sac | 121 | 149.873 | 149.875 | 0.026114 | 0.0016937 | -99 | 30.0795 | 0.00044325 | 129.079 | -99 | 30.0793 | 0.00023815 | 129.079
20260046.hyd | 20260046.sac | 121 | 124.98 | 124.982 | 0.024473 | 0.0019607 | -99 | 30.0663 | 0.00023177 | 129.066 | -99 | 30.0662 | 0.00040867 | 129.066
20260046.hyd | 20260046.sac | 121 | 100.324 | 100.325 | 0.023124 | 0.0010147 | -99 | 30.0796 | 0.00034788 | 129.08 | -99 | 30.0808 | 0.0011687 | 129.081
20260046.hyd | 20260046.sac | 121 | 74.508 | 74.5097 | 0.022384 | 0.0016861 | -99 | 30.0001 | 0.0012927 | 129 | -99 | 29.9993 | 0.0018255 | 128.999
20260046.hyd | 20260046.sac | 121 | 50.396 | 50.3954 | 0.027909 | -0.00055313 | -99 | 29.655 | 0.000876 | 128.655 | -99 | 29.6579 | 0.00067912 | 128.658
20260046.hyd | 20260046.sac | 121 | 29.665 | 29.6649 | 0.021748 | -5.1498e-05 | -99 | 29.0448 | 0.0052694 | 128.045 | -99 | 29.0875 | 0.030625 | 128.087
20260046.hyd | 20260046.sac | 121 | 20.283 | 20.2842 | 0.023945 | 0.001173 | -99 | 28.9252 | 0.0030722 | 127.925 | -99 | 28.9172 | 0.0048347 | 127.917
20260046.hyd | 20260046.sac | 121 | 10.398 | 10.3992 | 0.025189 | 0.001174 | -99 | 28.4132 | 0.086011 | 127.413 | -99 | 28.4455 | 0.031545 | 127.446
20260046.hyd | 20260046.sac | 121 | 0.685 | 0.68876 | 0.020575 | 0.0037603 | -99 | 20.4784 | 0.1223 | 119.478 | -99 | 20.4413 | 0.09211 | 119.441
Create Fit Sheet