## Data
Cruise 2000-27 Strait of Georgia - Diane Masson
Nutrient samples analyzed December 12 - 14, 2000 by Janet Barwell-Clarke and Wendy Richardson
Samples were collected in glass (for PO4) and plastic (for silicate and nitrate) test tubes.
Samples were quick frozen at sea in aluminum blocks and stored in the nutrient freezer for 3 1/2 months.
Silicate and nitrate samples were thawed overnight in the dark, phosphate samples were thawed for 1/2 hr before analysis.
Analysis followed IOS methods using stock standards prepared in September and calibrated against Sagami standards.
Sp for 18 pairs of samples where Sp = SQRT(sum of the differences squared/2 x number of pairs) is as follows:
Nitrate
Silicate
Phosphate
Several samples were either overfilled or not completely frozen when placed in bags and some sample loss occurred (salt crystals had formed
around the caps). These have been noted in the comments column and the values have been highlighted in red.
Cruise 2000-27
Station | cast | Sample_Number | Nitrate | Silicate | Phosphate | Comments
n/a | n/a | n/a | uM | uM | uM
59 | 2 | 3 | 27.489 | 42.3807 | 2.4633
59 | 2 | 4 | 27.4084 | 42.657 | 2.419
59 | 2 | 5 | 25.7402 | 41.1789 | 2.3178
59 | 2 | 7 | 21.5429 | 38.2274 | 2.0757
59 | 2 | 8 | 20.2557 | 36.2011 | 1.976
59 | 2 | 9 | 20.2862 | 36.4766 | 1.9598
59 | 2 | 10 | 20.0244 | 35.8319 | 1.9698
59 | 2 | 11 | 19.9819 | 35.7394 | 1.9589
59 | 2 | 12 | 20.0126 | 35.3709 | 1.9401
59 | 2 | 13 | 19.9336 | 35.8303 | 1.9318
59 | 2 | 14 | 19.5931 | 35.0936 | 1.9126 |  | 59 | 2 | 14b | 19.745 | 35.2779 | 1.9235
59 | 2 | 15 | 18.6337 | 33.7142 | 1.9509 |  | 59 | 2 | 15b | 19.8793 | 35.5528 | 1.9357
102B | 7 | 16 | 31.4354 | 47.4838 | 2.7172
102B | 7 | 17 | 34.8167 | 54.2556 | 2.7115
102B | 7 | 18 | 33.133 | 51.5616 | 2.7263 | salt in cap plastic
102B | 7 | 19 | 32.5679 | 48.9637 | 2.736 | salt in cap plastic
102B | 7 | 20 | 31.2226 | 45.7213 | 2.592 | salt in cap plastic
102B | 7 | 21 | 30.8073 | 44.8877 | 2.553 | salt in cap plastic
102B | 7 | 22 | 29.4647 | 43.5923 | 2.501 | salt in cap plastic
102B | 7 | 23 | 28.6427 | 42.3901 | 2.4179
102B | 7 | 24 | 27.8215 | 41.0964 | 2.345 | salt in cap plastic
102B | 7 | 25 | 28.5552 | 42.1114 | 2.3652
102B | 7 | 26 | 27.845 | 41.3719 | 2.4216
102B | 7 | 27 | 26.8031 | 41.0018 | 2.3538
102B | 7 | 28 | 22.2286 | 36.1151 | 2.0726
102B | 7 | 29 | 15.2777 | 28.03 | 1.5478 | salt in cap plastic
102B | 7 | 30 | 10.0544 | 22.3552 | 1.1893
75 | 10 | 31 | 34.5188 | 53.0627 | 2.7488
75 | 10 | 32 | 34.7357 | 56.965 | 2.7431
75 | 10 | 33 | 34.3193 | 52.7824 | 2.7349
75 | 10 | 34 | 33.9776 | 50.9253 | 2.7113 | salt in cap plastic
75 | 10 | 35 | 33.3753 | 48.977 | 2.603
75 | 10 | 36 | 32.5129 | 47.1229 | 2.5639
75 | 10 | 37 | 30.0546 | 43.0505 | 2.4033
75 | 10 | 38 | 28.2315 | 43.4195 | 2.4054
75 | 10 | 39 | 25.9311 | 40.1848 | 2.2726
75 | 10 | 40 | 24.2264 | 38.7074 | 2.1652
75 | 10 | 41 | 22.5248 | 36.678 | 2.089
75 | 10 | 42 | 20.0186 | 34.0061 | 1.8863
75 | 10 | 43 | 19.5722 | 33.3614 | 1.8278
72 | 15 | 44 | 34.4676 | 52.0119 | 2.7212 | Salt in cap pl and glass
72 | 15 | 45 | 34.6197 | 52.1365 | 2.6376
72 | 15 | 46 | 34.4007 | 51.9821 | 2.6932
72 | 15 | 47 | 34.4784 | 52.1998 | 2.7057
72 | 15 | 48 | 33.8545 | 51.2075 | 2.6955
72 | 15 | 49 | 31.7242 | 46.4966 | 2.617
72 | 15 | 50 | 29.457 | 44.0186 | 2.4312
72 | 15 | 51 | 25.8822 | 39.502 | 2.3494 | Salt in cap pl and glass
72 | 15 | 52 | 26.1524 | 41.5682 | 2.2623
72 | 15 | 53 | 25.3275 | 41.1311 | 2.2109
72 | 15 | 54 | 24.7958 | 40.415 | 2.18
72 | 15 | 55 | 21.5691 | 34.8753 | 2.1414 | Salt in cap pl and glass
69 | 18 | 56 | 23.9096 | 38.6984 | 2.2053 | Salt in cap plastic
69 | 18 | 57 | 35.6993 | 54.7642 | 2.7719
69 | 18 | 58 | 34.7175 | 53.5459 | 2.7691 | Salt in cap plastic
69 | 18 | 59 | 34.1856 | 53.538 | 2.7996
69 | 18 | 60 | 30.3596 | 44.0501 | 2.5552 | Salt in cap plastic
69 | 18 | 61 | 27.5465 | 40.7968 | 2.3788 | Salt in cap plastic
69 | 18 | 62 | 27.3156 | 42.8301 | 2.3343
69 | 18 | 63 | 26.1874 | 40.6908 | 2.321 | Salt in cap plastic
69 | 18 | 64 | 27.0037 | 42.2597 | 2.339
69 | 18 | 65 | 27.0347 | 42.4382 | 2.3205 | Salt in cap plastic
69 | 18 | 66 | 26.4304 | 41.7823 | 2.3332 | Salt in cap plastic
69 | 18 | 67 | 25.1914 | 40.5709 | 2.205
ADCP | 22 | 68 | 32.8531 | 49.0471 | 2.6546
ADCP | 22 | 69 | 22.537 | 32.9534 | 2.6002
ADCP | 22 | 70 | 32.1679 | 48.29 | 2.5896
ADCP | 22 | 72 | 28.8473 | 44.762 | 2.4312
ADCP | 22 | 73 | 28.5801 | 44.7551 | 2.9817
ADCP | 22 | 74 | 27.9783 | 44.1 | 2.3865
ADCP | 22 | 75 | 27.7116 | 43.5378 | 3.2323
ADCP | 22 | 76 | 25.401 | 40.388 | 2.3051 | Salt in cap plastic
ADCP | 22 | 77 | 24.2808 | 40.4735 | 2.5079
62 | 26 | 78 | 29.7391 | 46.3611 | 2.5363
62 | 26 | 79 | 27.0083 | 41.6274 | 2.4973 | Salt in cap plastic
62 | 26 | 80 | 28.1956 | 44.3994 | 2.4633
62 | 26 | 81 | 25.6906 | 40.873 | 2.3539
62 | 26 | 82 | 24.0074 | 39.0161 | 2.3796 | Salt in cap plastic
62 | 26 | 83 | 21.7297 | 35.9603 | 2.2881 | Salt in cap plastic
62 | 26 | 84 | 21.501 | 36.5081 | 2.0412 | Salt in cap plastic
62 | 26 | 85 | 22.3147 | 37.8875 | 2.1567 | Salt in cap plastic
62 | 26 | 86 | 20.4117 | 35.203 | 2.117 | Salt in cap plastic
62 | 26 | 87 | 20.7415 | 35.6582 | 2.1351 | Salt in cap plastic
62 | 26 | 88 | 19.9183 | 35.006 | 2.0928 | Salt in cap plastic
56 | 34 | 89 | 25.0257 | 41.333 | 2.2628 | Salt in cap plastic
56 | 34 | 90 | 24.8051 | 41.0681 | 2.268
56 | 34 | 91 | 24.6959 | 40.7107 | 2.2628 | Salt in cap plastic
56 | 34 | 92 | 22.2879 | 37.5809 | 2.2105 | Salt in cap plastic
56 | 34 | 93 | 23.5878 | 39.9026 | 2.1843
56 | 34 | 94 | 21.5145 | 36.9569 | 2.1109
56 | 34 | 95 | 21.1463 | 37.1533 | 2.0295
56 | 34 | 96 | 20.0373 | 36.3331 | 1.9583
56 | 34 | 97 | 19.5582 | 35.4204 | 1.8818 | Salt in cap plastic
56 | 34 | 98 | 18.894 | 34.2304 | 1.8739 | Salt in cap plastic
56 | 34 | 99 | 19.0819 | 34.6109 | 1.8237
56 | 34 | 100 | 17.8606 | 34.1678 | 1.7632
56 | 34 | 101 | 16.3653 | 32.8686 | 1.6456
56 | 34 | 102 | 7.9828 | 23.0006 | 1.0236
46 | 43 | 103 | 25.9215 | 46.6234 | 2.4756
46 | 43 | 104 | 26.3384 | 47.671 | 2.4807
46 | 43 | 105 | 25.2124 | 45.2876 | 2.3473
46 | 43 | 106 | 24.1626 | 42.2561 | 2.2727
46 | 43 | 107 | 25.422 | 44.3204 | 2.2727
46 | 43 | 108 | 24.4464 | 42.956 | 2.2289
46 | 43 | 109 | 21.683 | 39.461 | 2.0582
46 | 43 | 110 | 25.5705 | 47.0938 | 2.3421
46 | 43 | 111 | 24.4869 | 46.8425 | 2.2958
46 | 43 | 112 | 22.2012 | 44.8245 | 2.1179
46 | 43 | 113 | 10.7915 | 28.2705 | 1.2487 | salt in cap plastic
46 | 43 | 114 | 0.42895 | 13.6539 | 0.35086
46 | 43 | 115 | 0.31854 | 12.9275 | 0.31534
42 | 45 | 116 | 22.2584 | 42.0859 | 2.6965
42 | 45 | 117 | 28.403 | 56.031 | 2.6173
42 | 45 | 118 | 28.4857 | 55.404 | 2.6428
42 | 45 | 119 | 28.2738 | 56.268 | 2.6452
42 | 45 | 120 | 27.9153 | 53.3113 | 2.5992 | salt in cap plastic
42 | 45 | 121 | 26.9703 | 52.4046 | 2.4737
42 | 45 | 122 | 28.191 | 51.0338 | 2.466
42 | 45 | 123 | 23.9162 | 42.6967 | 2.2419
42 | 45 | 124 | 22.8322 | 40.8611 | 2.2212 | salt in cap plastic
42 | 45 | 125 | 25.4015 | 45.4283 | 2.2858
42 | 45 | 126 | 26.1432 | 48.0538 | 2.2883
42 | 45 | 127 | 22.7957 | 43.2425 | 2.1228
42 | 45 | 128 | 18.5447 | 37.1406 | 1.9511
42 | 45 | 129 | 5.6878 | 23.6688 | 0.88158
42 | 45 | 130 | 0 | 9.4393 | 0.19402
42 | 45 | 131 | 0.82556 | 13.3876 | 0.26307
39 | 49 | 132 | 28.3101 | 52.4934 | 2.6308
39 | 49 | 133 | 28.4582 | 52.8612 | 2.6109
39 | 49 | 134 | 28.379 | 51.1787 | 2.553
39 | 49 | 135 | 28.3379 | 52.571 | 2.5683
39 | 49 | 136 | 28.1461 | 53.4039 | 2.5887 | salt in cap plastic
39 | 49 | 137 | 28.3688 | 53.1186 | 2.599
39 | 49 | 138 | 28.4781 | 52.2759 | 2.5637
39 | 49 | 139 | 28.2869 | 51.5272 | 2.5536
39 | 49 | 140 | 27.9465 | 49.9445 | 2.5181
39 | 49 | 141 | 26.8957 | 45.8615 | 2.3414
39 | 49 | 142 | 26.2585 | 48.8237 | 2.4724
39 | 49 | 143 | 26.2955 | 50.9523 | 2.4211
39 | 49 | 144 | 24.5763 | 48.1685 | 2.2871
39 | 49 | 145 | 17.7054 | 37.8182 | 1.9656 | salt in cap plastic
39 | 49 | 146 | 4.795 | 17.5188 | 0.80589
39 | 49 | 147 | 0.66363 | 11.213 | 0.31134
39 | 49 | 148 | 0 | 9.8451 | 0.23124
27 | 52 | 149 | 28.6575 | 54.2671 | 2.6572
27 | 52 | 150 | 27.9886 | 53.8953 | 2.4412
27 | 52 | 151 | 28.9797 | 56.5994 | 2.684
27 | 52 | 152 | 28.1592 | 52.4993 | 2.5662
27 | 52 | 153 | 27.6778 | 50.8238 | 2.5274
27 | 52 | 154 | 27.8766 | 51.1031 | 2.5142
27 | 52 | 155 | 28.2646 | 49.6139 | 2.3623
27 | 52 | 156 | 28.161 | 48.9624 | 2.4903
27 | 52 | 157 | 28.7392 | 49.5204 | 2.5333
27 | 52 | 158 | 28.9768 | 50.3583 | 2.543
27 | 52 | 159 | 28.9871 | 51.4764 | 2.6084
27 | 52 | 160 | 27.2899 | 50.1718 | 2.5268
27 | 52 | 161 | 26.35 | 48.1229 | 2.4298
27 | 52 | 162 | 10.9525 | 27.9438 | 1.2637
27 | 52 | 163 | 0.15534 | 5.8136 | 0.19278
27 | 52 | 164 | 0.041698 | 1.8221 | 0.1814 | salt in cap plastic
2 | 56 | 165 | 28.0799 | 62.4971 | 2.7946
2 | 56 | 166 | 29.3622 | 61.923 | 2.8101
2 | 56 | 167 | 29.0176 | 59.7595 | 2.691
2 | 56 | 168 | 29.0508 | 58.3481 | 2.7142
2 | 56 | 169 | 28.6325 | 55.9139 | 2.6249
2 | 56 | 170 | 28.8165 | 53.5784 | 2.6174
2 | 56 | 171 | 28.6999 | 51.155 | 2.7022
2 | 56 | 172 | 29.9683 | 51.4285 | 2.6742
2 | 56 | 173 | 28.6546 | 53.4662 | 2.5612
2 | 56 | 174 | 27.3059 | 51.6036 | 2.5459
2 | 56 | 175 | 26.8186 | 52.804 | 2.489
2 | 56 | 176 | 23.9398 | 48.5361 | 2.2544
2 | 56 | 177 | 13.6164 | 33.7651 | 1.5816
2 | 56 | 178 | 6.6007 | 24.6693 | 1.0005
2 | 56 | 179 | 2.1738 | 18.4399 | 0.53314
3 | 59 | 180 | 27.6568 | 63.5447 | 2.905 |  | 3 | 59 | 180 | 28.8873 | 66.5233 | 2.8994
3 | 59 | 181 | 29.0331 | 66.7095 | 2.9226 |  | 3 | 59 | 181 | 28.2792 | 65.5922 | 2.5861
3 | 59 | 182 | 28.5762 | 61.4055 | 2.8174 |  | 3 | 59 | 182 | 27.6711 | 57.9671 | 2.785
3 | 59 | 183 | 28.5682 | 57.5027 | 2.7167 |  | 3 | 59 | 183 | 28.9005 | 57.9671 | 2.6878
3 | 59 | 184 | 28.8218 | 56.8527 | 2.566 |  | 3 | 59 | 184 | 28.2177 | 55.3675 | 2.528
3 | 59 | 185 | 28.1033 | 53.1409 | 2.6668 |  | 3 | 59 | 185 | 27.8349 | 52.9554 | 2.5533
3 | 59 | 186 | 27.9084 | 51.6573 | 2.4894 |  | 3 | 59 | 186 | 28.0144 | 50.9157 | 2.4701
3 | 59 | 187 | 28.7228 | 50.0817 | 2.575 |  | 3 | 59 | 187 | 28.7933 | 50.0817 | 2.5756
3 | 59 | 188 | 28.1915 | 50.1744 | 2.6629 |  | 3 | 59 | 188 | 28.2982 | 49.7111 | 2.5932
3 | 59 | 189 | 26.7256 | 51.1938 | 2.4538 |  | 3 | 59 | 189 | 26.191 | 49.8964 | 2.5333
3 | 59 | 190 | 25.1469 | 48.5995 | 2.3824 |  | 3 | 59 | 190 | 25.5831 | 49.5258 | 2.4524
3 | 59 | 191 | 25.9248 | 50.267 | 2.3476 |  | 3 | 59 | 191 | 25.7255 | 49.8964 | 2.3187
3 | 59 | 192 | 22.6992 | 46.3775 | 2.1485 |  | 3 | 59 | 192 | 22.7151 | 45.8222 | 2.1734
3 | 59 | 193 | 13.5402 | 33.077 | 1.5611 |  | 3 | 59 | 193 | 13.9732 | 33.9989 | 1.4903
3 | 59 | 194 | 7.7424 | 26.3552 | 1.0656 |  | 3 | 59 | 194 | 7.656 | 25.8953 | 1.0032
3 | 59 | 195 | 5.7051 | 23.7807 | 0.82243 |  | 3 | 59 | 195 | 6.2136 | 24.608 | 0.9298
6 | 61 | 196 | 28.8403 | 60.0159 | 2.7698
6 | 61 | 197 | 28.6637 | 57.5076 | 2.7251
6 | 61 | 198 | 28.487 | 54.6286 | 2.652
6 | 61 | 199 | 28.6469 | 52.7721 | 2.6332
6 | 61 | 200 | 29.1815 | 52.0298 | 2.5444
6 | 61 | 201 | 30.466 | 55.3748 | 2.7637
6 | 61 | 202 | 28.3779 | 53.5167 | 2.6186
6 | 61 | 203 | 27.8626 | 53.3314 | 2.4574
6 | 61 | 204 | 26.7083 | 51.938 | 2.418
6 | 61 | 205 | 23.7101 | 47.0181 | 2.0341
6 | 61 | 206 | 16.9041 | 38.0366 | 1.7191
6 | 61 | 207 | 11.216 | 31.7583 | 1.3012
6 | 61 | 208 | 4.8775 | 26.0478 | 0.80253
9 | 64 | 209 | 29.3256 | 81.6694 | 3.2402
9 | 64 | 210 | 28.7746 | 72.8551 | 3.0679
9 | 64 | 211 | 28.8494 | 59.5696 | 2.7805
9 | 64 | 212 | 30.3947 | 54.9108 | 2.8006
9 | 64 | 213 | 29.4767 | 53.7111 | 2.7142 | Salt in cap plastic
9 | 64 | 214 | 27.3447 | 52.7917 | 2.5202
9 | 64 | 215 | 26.6838 | 52.3391 | 2.4432
9 | 64 | 216 | 24.3281 | 48.6179 | 2.2289
9 | 64 | 217 | 18.6787 | 41.4481 | 1.8684
9 | 64 | 218 | 12.5594 | 33.0768 | 1.3415
9 | 64 | 219 | 6.0362 | 27.2263 | 0.90473
9 | 64 | 220 | 3.7543 | 25.8404 | 0.71532
12 | 67 | 221 | 28.2789 | 63.9917 | 2.8855
12 | 67 | 222 | 29.0162 | 63.3344 | 2.844
12 | 67 | 223 | 29.1564 | 61.7428 | 2.8127
12 | 67 | 224 | 28.8117 | 59.1252 | 2.766 | Salt in cap plastic
12 | 67 | 225 | 28.2063 | 58.2827 | 2.7294
12 | 67 | 226 | 27.8621 | 54.9228 | 2.6568 | Salt in cap plastic
12 | 67 | 227 | 28.8966 | 55.6664 | 2.6948
12 | 67 | 228 | 29.2228 | 53.707 | 2.6864
12 | 67 | 229 | 29.9589 | 54.9163 | 2.6961
12 | 67 | 230 | 27.5294 | 53.237 | 2.5718
12 | 67 | 231 | 24.991 | 49.7904 | 2.3664 | Salt in cap plastic
12 | 67 | 232 | 23.05 | 47.0913 | 2.2406 | Salt in cap plastic
12 | 67 | 233 | 19.7372 | 41.7946 | 2.022 | Salt in cap plastic
12 | 67 | 234 | 17.6531 | 39.937 | 1.7803
12 | 67 | 235 | 4.9132 | 26.0484 | 0.81802 | Salt in cap plastic
12 | 67 | 236 | 3.6193 | 25.4921 | 0.74062
14 | 69 | 237 | 27.7905 | 60.9374 | 2.6659
14 | 69 | 238 | 29.0496 | 64.1291 | 2.809
14 | 69 | 239 | 29.0137 | 63.9584 | 2.7195
14 | 69 | 240 | 28.682 | 61.265 | 2.7934
14 | 69 | 241 | 28.2027 | 60.0669 | 2.6424
14 | 69 | 242 | 28.5736 | 60.0826 | 2.7088
14 | 69 | 243 | 28.2423 | 56.645 | 2.7546
14 | 69 | 244 | 29.2407 | 55.3543 | 2.7009
14 | 69 | 245 | 29.8691 | 56.5821 | 2.7263
14 | 69 | 246 | 27.3602 | 54.2652 | 2.5007
14 | 69 | 247 | 25.9955 | 52.695 | 2.3431
14 | 69 | 248 | 25 | 51.125 | 2.3974
14 | 69 | 249 | 23.9676 | 49.8347 | 2.2912
14 | 69 | 250 | 20.2353 | 44.9135 | 1.9516
14 | 69 | 251 | 9.8894 | 32.2913 | 1.2397
14 | 69 | 252 | 9.222 | 31.4669 | 1.1369
16 | 71 | 253 | 28.6557 | 63.841 | 2.7916
16 | 71 | 254 | 28.2725 | 62.4344 | 2.814 | Salt in cap plastic
16 | 71 | 255 | 26.5426 | 58.8791 | 2.816 | Salt in cap plastic
16 | 71 | 256 | 29.2277 | 56.7288 | 2.7126
16 | 71 | 257 | 28.0965 | 56.3531 | 2.5674
16 | 71 | 258 | 26.4801 | 54.1119 | 2.5745
16 | 71 | 259 | 25.0145 | 51.5932 | 2.5039 | Salt in cap plastic
16 | 71 | 260 | 22.9149 | 47.216 | 2.4227 | Salt in cap plastic
16 | 71 | 261 | 22.4969 | 48.1444 | 2.2495
16 | 71 | 262 | 22.1911 | 47.3053 | 2.2149
16 | 71 | 263 | 20.9155 | 46.0016 | 2.0509
n/a | n/a | n/a | uM | uM | uM

## Duplicates
Duplicate samples analyzed
Stn | Sample | NO3 | NO3 | SIL | SIL | PO4 | PO4
|  |  | dups |  | dups |  | dups
|  |  | diff sq |  | diff sq |  | diff sq
59 | 15a | 18.6337 | 1.5516 | 33.7142 | 3.3803 | 1.9509 | 0.00023214
59 | 15b | 19.8793 |  | 35.5528 |  | 1.9357
59 | 14a | 19.5931 | 0.023074 | 35.0936 | 0.034 | 1.9126 | 0.00011944
59 | 14b | 19.745 |  | 35.2779 |  | 1.9235
3 | 195 | 5.7051 | 0.25851 | 23.7807 | 0.68443 | 0.82243 | 0.011529
3 | 194 | 7.7424 | 0.0074748 | 26.3552 | 0.2115 | 1.0656 | 0.0038845
3 | 193 | 13.5402 | 0.18745 | 33.077 | 0.84988 | 1.5611 | 0.0050209
3 | 192 | 22.6992 | 0.00025027 | 46.3775 | 0.30832 | 2.1485 | 0.00062116
3 | 191 | 25.9248 | 0.03974 | 50.267 | 0.13737 | 2.3476 | 0.00083608
3 | 190 | 25.1469 | 0.19029 | 48.5995 | 0.85801 | 2.3824 | 0.0048979
3 | 189 | 26.7256 | 0.28583 | 51.1938 | 1.6832 | 2.4538 | 0.0063174
3 | 188 | 28.1915 | 0.011387 | 50.1744 | 0.21462 | 2.6629 | 0.0048658
3 | 187 | 28.7228 | 0.0049731 | 50.0817 | 0 | 2.575 | 3.6361e-07
3 | 186 | 27.9084 | 0.011244 | 51.6573 | 0.54987 | 2.4894 | 0.000374
3 | 185 | 28.1033 | 0.072049 | 53.1409 | 0.034407 | 2.6668 | 0.012867
3 | 184 | 28.8218 | 0.36499 | 56.8527 | 2.206 | 2.566 | 0.001442
3 | 183 | 28.5682 | 0.11044 | 57.5027 | 0.21564 | 2.7167 | 0.00083602
3 | 182 | 28.5762 | 0.81921 | 61.4055 | 11.8225 | 2.8174 | 0.0010505
3 | 181 | 29.0331 | 0.56826 | 66.7095 | 1.2484 | 2.9226 | 0.11319
3 | 180 | 27.6568 | 1.5141 | 63.5447 | 8.8718 | 2.905 | 3.0725e-05
3 | 195 | 6.2136 |  | 24.608 |  | 0.9298
3 | 194 | 7.656 |  | 25.8953 |  | 1.0032
3 | 193 | 13.9732 |  | 33.9989 |  | 1.4903
3 | 192 | 22.7151 |  | 45.8222 |  | 2.1734
3 | 191 | 25.7255 |  | 49.8964 |  | 2.3187
3 | 190 | 25.5831 |  | 49.5258 |  | 2.4524
3 | 189 | 26.191 |  | 49.8964 |  | 2.5333
3 | 188 | 28.2982 |  | 49.7111 |  | 2.5932
3 | 187 | 28.7933 |  | 50.0817 |  | 2.5756
3 | 186 | 28.0144 |  | 50.9157 |  | 2.4701
3 | 185 | 27.8349 |  | 52.9554 |  | 2.5533
3 | 184 | 28.2177 |  | 55.3675 |  | 2.528
3 | 183 | 28.9005 |  | 57.9671 |  | 2.6878
3 | 182 | 27.6711 |  | 57.9671 |  | 2.785
3 | 181 | 28.2792 |  | 65.5922 |  | 2.5861
3 | 180 | 28.8873 |  | 66.5233 |  | 2.8994
|  | count | 18 |  | 18 |  | 18
|  | sum | 6.0209 |  | 33.3104 |  | 0.16811
|  | Sp | 0.40896 |  | 0.96192 |  | 0.068336
|  | min | 5.7051 |  | 23.7807 |  | 0.82243
|  | max | 29.0331 |  | 66.7095 |  | 2.9226