## File List
Number of Files= |  | 8
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 20270002.hyd | 20270002.sac | 12 | 24 | 20270002.hyd & 20270002.sac
2 | 20270007.hyd | 20270007.sac | 26 | 40 | 20270007.hyd & 20270007.sac
3 | 20270018.hyd | 20270018.sac | 42 | 52 | 20270018.hyd & 20270018.sac
4 | 20270034.hyd | 20270034.sac | 54 | 67 | 20270034.hyd & 20270034.sac
5 | 20270049.hyd | 20270049.sac | 69 | 85 | 20270049.hyd & 20270049.sac
6 | 20270052.hyd | 20270052.sac | 87 | 102 | 20270052.hyd & 20270052.sac
7 | 20270067.hyd | 20270067.sac | 104 | 119 | 20270067.hyd & 20270067.sac
8 | 20270069.hyd | 20270069.sac | 121 | 136 | 20270069.hyd & 20270069.sac

## (Sal0 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.00017136 |  | X | CALC Y
m= | 5.1979e-07 | 9.926e-06 |  | Std Dev of Resid |  | 0.0025478 |  | 149.173 | 4.9175e-05
b= | -2.8364e-05 | 0.0027746 |  | Resid Sum of Squares |  | 0.00010386 |  | 369.809 | 0.00016386
# of Values Extracted = |  |  | 118
# of Values Used in Fit = |  |  | 18
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 225.958 | 32.518 | 0.0036256 | -0.0048714 | 8.9087e-05 | 0.0049605 |  | 241.754 | 0.00035858
1 | NO | 203.985 | 32.4224 | 0.014999 | -0.052937 | 7.7665e-05 | 0.053014 |  | 231.641 | -0.00025177
1 | NO | 169.794 | 31.7812 | 0.044544 | -0.075659 | 5.9893e-05 | 0.075719 |  | 167.147 | 0.00032425
1 | NO | 164.652 | 31.7098 | 0.019283 | 130.71 | 5.7221e-05 | -130.7099 |  | 149.173 | -0.00068283
1 | NO | 132.43 | 30.7744 | 0.015909 | 129.774 | 4.0472e-05 | -129.774 |  | 369.809 | 0.0027103
1 | NO | 98.3591 | 30.1857 | 0.0072564 | 129.186 | 2.2762e-05 | -129.186 |  | 349.58 | -0.0068912
1 | NO | 74.2914 | 30.2282 | 0.021784 | 129.228 | 1.0252e-05 | -129.228 |  | 300.281 | -0.0035782
1 | NO | 50.1367 | 30.1411 | 0.0030307 | 129.141 | -2.3031e-06 | -129.141 |  | 250.369 | -0.0011101
1 | NO | 39.6482 | 30.0902 | 0.0069144 | 129.09 | -7.7549e-06 | -129.09 |  | 339.429 | 0.0027657
1 | NO | 30.1141 | 30.0814 | 0.0030392 | 129.081 | -1.2711e-05 | -129.081 |  | 301.579 | 0.00069427
1 | NO | 19.9874 | 30.0698 | 0.0019096 | 129.07 | -1.7974e-05 | -129.07 |  | 252.958 | 0.0027752
1 | NO | 9.7826 | 30.0396 | 0.0022811 | 129.04 | -2.3279e-05 | -129.04 |  | 200.598 | 0.0018921
1 | NO | 0.45524 | 30.0174 | 0.00049248 | 129.017 | -2.8127e-05 | -129.017 |  | 347.286 | 0.0013599
2 | YES | 241.754 | 33.941 | 0.0002971 | 0.00035858 | 9.7297e-05 | -0.00026128 |  | 301.17 | 0.0016708
2 | YES | 231.641 | 33.9403 | 0.00031337 | -0.00025177 | 9.2041e-05 | 0.00034381 |  | 250.836 | -0.00082588
2 | NO | 200.717 | 33.9152 | 0.00040087 | -0.0017204 | 7.5967e-05 | 0.0017964 |  | 308.386 | 0.0021858
2 | NO | 174.416 | 33.8276 | 0.00067132 | -0.0039444 | 6.2296e-05 | 0.0040067 |  | 299.919 | 0.00074577
2 | NO | 148.709 | 33.8249 | 0.00033848 | -0.0010872 | 4.8934e-05 | 0.0011361 |  | 250.297 | -0.0021
2 | NO | 123.255 | 33.773 | 0.0008351 | 0.00072479 | 3.5703e-05 | -0.00068909
2 | NO | 100.494 | 33.6986 | 0.01017 | 0.0037231 | 2.3872e-05 | -0.0036993
2 | NO | 74.7366 | 33.4459 | 0.0012706 | -0.0065041 | 1.0484e-05 | 0.0065145 |  | average | 0.00011349
2 | NO | 52.2034 | 33.2989 | 0.0032769 | 0.010677 | -1.2289e-06 | -0.010679
2 | NO | 40.3862 | 33.0054 | 0.0071341 | 0.017136 | -7.3713e-06 | -0.017143
2 | NO | 30.5141 | 32.7835 | 0.0024501 | 0.0037689 | -1.2503e-05 | -0.0037814
2 | NO | 20.6863 | 32.4963 | 0.026552 | 131.496 | -1.7611e-05 | -131.496
2 | NO | 9.9879 | 31.8024 | 0.0022297 | 130.802 | -2.3172e-05 | -130.802
2 | NO | 5.264 | 31.5326 | 0.0092931 | 130.533 | -2.5627e-05 | -130.533
2 | NO | 0.97271 | 31.4065 | 0.00093818 | 130.406 | -2.7858e-05 | -130.406
3 | YES | 167.147 | 33.8811 | 0.00020593 | 0.00032425 | 5.8517e-05 | -0.00026573
3 | YES | 149.173 | 33.8816 | 0.00025861 | -0.00068283 | 4.9175e-05 | 0.00073201
3 | NO | 125.171 | 33.7465 | 0.014926 | 132.746 | 3.6699e-05 | -132.746
3 | NO | 100.33 | 33.451 | 0.0067243 | 132.451 | 2.3787e-05 | -132.451
3 | NO | 0 | 0 | 0 | 99 | -2.8364e-05 | -99
3 | NO | 0 | 0 | 0 | 99 | -2.8364e-05 | -99
3 | NO | 0 | 0 | 0 | 99 | -2.8364e-05 | -99
3 | NO | 0 | 0 | 0 | 99 | -2.8364e-05 | -99
3 | NO | 0 | 0 | 0 | 99 | -2.8364e-05 | -99
3 | NO | 0 | 0 | 0 | 99 | -2.8364e-05 | -99
3 | NO | 0 | 0 | 0 | 99 | -2.8364e-05 | -99
4 | NO | 211.983 | 31.5429 | 0.01009 | 0.0085602 | 8.1823e-05 | -0.0084784
4 | NO | 211.939 | 31.5417 | 0.010759 | 0.051134 | 8.18e-05 | -0.051052
4 | NO | 175.23 | 31.3868 | 0.006171 | 130.387 | 6.2719e-05 | -130.3869
4 | NO | 147.446 | 31.108 | 0.0070429 | 130.108 | 4.8277e-05 | -130.108
4 | NO | 125.479 | 30.9911 | 0.0080114 | 129.991 | 3.6859e-05 | -129.991
4 | NO | 101.258 | 30.5051 | 0.0055293 | 129.505 | 2.4269e-05 | -129.505
4 | NO | 76.8852 | 30.2746 | 0.0095611 | 129.275 | 1.16e-05 | -129.275
4 | NO | 49.0326 | 30.0033 | 0.010655 | 129.003 | -2.877e-06 | -129.003
4 | NO | 40.3967 | 29.6806 | 0.01672 | 128.681 | -7.3658e-06 | -128.681
4 | NO | 29.6052 | 29.6158 | 0.023728 | 128.616 | -1.2975e-05 | -128.616
4 | NO | 19.9066 | 29.4832 | 0.0052927 | 128.483 | -1.8016e-05 | -128.483
4 | NO | 10.5106 | 29.0659 | 0.013317 | 128.066 | -2.29e-05 | -128.066
4 | NO | 5.2166 | 28.4726 | 0.038892 | 127.473 | -2.5652e-05 | -127.473
4 | NO | 0.79115 | 26.6081 | 0.12044 | 125.608 | -2.7952e-05 | -125.608
5 | YES | 369.809 | 31.2009 | 0.00033329 | 0.0027103 | 0.00016386 | -0.0025465
5 | YES | 349.58 | 31.1143 | 0.00022303 | -0.0068912 | 0.00015334 | 0.0070446
5 | YES | 300.281 | 31.0814 | 0.0013049 | -0.0035782 | 0.00012772 | 0.0037059
5 | YES | 250.369 | 31.0209 | 0.00058959 | -0.0011101 | 0.00010178 | 0.0012119
5 | NO | 200.361 | 30.9913 | 0.00070529 | 129.991 | 7.5782e-05 | -129.9909
5 | NO | 176.187 | 30.944 | 0.0001943 | 129.944 | 6.3216e-05 | -129.9439
5 | NO | 150.039 | 30.8649 | 0.0002248 | 129.865 | 4.9625e-05 | -129.865
5 | NO | 124.843 | 30.7303 | 0.0003373 | 129.73 | 3.6528e-05 | -129.73
5 | NO | 100.447 | 30.4358 | 0.0050718 | 129.436 | 2.3848e-05 | -129.436
5 | NO | 75.2443 | 29.9803 | 0.0087658 | 128.98 | 1.0748e-05 | -128.98
5 | NO | 50.3552 | 29.3869 | 0.00058926 | 128.387 | -2.1895e-06 | -128.387
5 | NO | 40.1437 | 29.2539 | 0.002836 | 128.254 | -7.4973e-06 | -128.254
5 | NO | 30.263 | 29.0064 | 0.00038282 | 128.006 | -1.2633e-05 | -128.006
5 | NO | 20.6037 | 28.5165 | 0.00092681 | 127.516 | -1.7654e-05 | -127.516
5 | NO | 10.3173 | 26.1827 | 0.0025466 | 125.183 | -2.3001e-05 | -125.183
5 | NO | 5.5985 | 24.8017 | 0.027539 | 123.802 | -2.5454e-05 | -123.802
5 | NO | 0.5891 | 24.5627 | 0.00020538 | 123.563 | -2.8057e-05 | -123.563
6 | YES | 339.429 | 31.1539 | 0.0002915 | 0.0027657 | 0.00014807 | -0.0026176
6 | YES | 301.579 | 31.0693 | 0.0014662 | 0.00069427 | 0.00012839 | -0.00056588
6 | YES | 252.958 | 30.9882 | 0.00023956 | 0.0027752 | 0.00010312 | -0.0026721
6 | YES | 200.598 | 30.9248 | 0.00025144 | 0.0018921 | 7.5905e-05 | -0.0018162
6 | NO | 175.461 | 30.9173 | 0.000429 | 129.917 | 6.2839e-05 | -129.9169
6 | NO | 150.038 | 30.7943 | 0.00055629 | 129.794 | 4.9624e-05 | -129.794
6 | NO | 124.863 | 30.6129 | 0.00046469 | 129.613 | 3.6539e-05 | -129.613
6 | NO | 100.281 | 30.4503 | 0.0022033 | 129.45 | 2.3761e-05 | -129.45
6 | NO | 74.9895 | 30.1582 | 0.00047091 | 129.158 | 1.0615e-05 | -129.158
6 | NO | 50.5302 | 30.045 | 0.0040224 | 129.045 | -2.0986e-06 | -129.045
6 | NO | 40.2435 | 29.7914 | 0.00083579 | 128.791 | -7.4455e-06 | -128.791
6 | NO | 30.7239 | 29.4637 | 0.0046263 | 128.464 | -1.2394e-05 | -128.464
6 | NO | 20.3156 | 29.291 | 0.00046069 | 128.291 | -1.7804e-05 | -128.291
6 | NO | 10.1853 | 27.7976 | 0.012758 | 126.798 | -2.3069e-05 | -126.798
6 | NO | 5.2896 | 25.6625 | 0.060028 | 124.662 | -2.5614e-05 | -124.662
6 | NO | 1.0569 | 21.6531 | 0.15118 | 120.653 | -2.7814e-05 | -120.653
7 | YES | 347.286 | 30.7992 | 0.00021101 | 0.0013599 | 0.00015215 | -0.0012078
7 | YES | 301.17 | 30.7928 | 0.00018827 | 0.0016708 | 0.00012818 | -0.0015427
7 | YES | 250.836 | 30.7526 | 0.00032517 | -0.00082588 | 0.00010202 | 0.0009279
7 | NO | 200.39 | 30.7056 | 0.00022341 | 129.706 | 7.5797e-05 | -129.7059
7 | NO | 174.624 | 30.688 | 0.00032667 | 129.688 | 6.2404e-05 | -129.6879
7 | NO | 149.936 | 30.6564 | 0.00025582 | 129.656 | 4.9571e-05 | -129.656
7 | NO | 124.895 | 30.5777 | 0.000214 | 129.578 | 3.6555e-05 | -129.578
7 | NO | 100.404 | 30.3713 | 0.0015562 | 129.371 | 2.3825e-05 | -129.371
7 | NO | 75.4655 | 30.1738 | 0.002697 | 129.174 | 1.0863e-05 | -129.174
7 | NO | 50.3568 | 29.5489 | 0.0014497 | 128.549 | -2.1887e-06 | -128.549
7 | NO | 40.0136 | 29.2908 | 0.002677 | 128.291 | -7.565e-06 | -128.291
7 | NO | 30.6729 | 29.182 | 0.0046639 | 128.182 | -1.242e-05 | -128.182
7 | NO | 20.1438 | 28.7543 | 0.0018185 | 127.754 | -1.7893e-05 | -127.754
7 | NO | 10.0725 | 28.3354 | 0.001141 | 127.335 | -2.3128e-05 | -127.335
7 | NO | 4.7263 | 26.5806 | 0.0084865 | 125.581 | -2.5907e-05 | -125.581
7 | NO | 1.0151 | 26.4943 | 0.0032331 | 125.494 | -2.7836e-05 | -125.494
8 | YES | 308.386 | 30.7519 | 0.00028967 | 0.0021858 | 0.00013193 | -0.0020539
8 | YES | 299.919 | 30.7506 | 0.00022646 | 0.00074577 | 0.00012753 | -0.00061824
8 | YES | 250.297 | 30.7369 | 0.00060619 | -0.0021 | 0.00010174 | 0.0022017
8 | NO | 199.525 | 30.6801 | 0.00086751 | 129.68 | 7.5347e-05 | -129.6799
8 | NO | 175.149 | 30.6545 | 0.00040971 | 129.654 | 6.2677e-05 | -129.6539
8 | NO | 150.474 | 30.5759 | 0.00051163 | 129.576 | 4.9851e-05 | -129.576
8 | NO | 125.212 | 30.5063 | 0.00022883 | 129.506 | 3.672e-05 | -129.506
8 | NO | 100.292 | 30.4732 | 0.00091588 | 129.473 | 2.3767e-05 | -129.473
8 | NO | 75.5243 | 30.1321 | 0.00096674 | 129.132 | 1.0893e-05 | -129.132
8 | NO | 49.8942 | 29.7713 | 0.00088351 | 128.771 | -2.4292e-06 | -128.771
8 | NO | 39.8696 | 29.4986 | 0.0014761 | 128.499 | -7.6398e-06 | -128.499
8 | NO | 30.5057 | 29.3796 | 0.0015735 | 128.38 | -1.2507e-05 | -128.38
8 | NO | 20.0955 | 29.212 | 0.0038056 | 128.212 | -1.7918e-05 | -128.212
8 | NO | 10.3358 | 28.517 | 0.012158 | 127.517 | -2.2991e-05 | -127.517
8 | NO | 4.9187 | 27.1295 | 0.0055094 | 126.129 | -2.5807e-05 | -126.129
8 | NO | 0.84824 | 27.1029 | 0.00075846 | 126.103 | -2.7923e-05 | -126.103
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 1.275e-07 |  | X | CALC Y
m= | -1.5163e-08 | 1.0616e-05 |  | Std Dev of Resid |  | 0.002725 |  | 149.173 | -2.1011e-05
b= | -1.8749e-05 | 0.0029675 |  | Resid Sum of Squares |  | 0.00011881 |  | 369.809 | -2.4356e-05
# of Values Extracted = |  |  | 118
# of Values Used in Fit = |  |  | 18
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 225.958 | 32.5194 | 0.0038445 | -0.0035057 | -2.2175e-05 | 0.0034835 |  | 241.754 | 0.00016403
1 | NO | 203.985 | 32.4215 | 0.012139 | -0.053829 | -2.1842e-05 | 0.053807 |  | 231.641 | 0
1 | NO | 169.794 | 31.7726 | 0.038528 | -0.084288 | -2.1324e-05 | 0.084266 |  | 167.147 | 0.00032425
1 | NO | 164.652 | 31.7104 | 0.015653 | 130.71 | -2.1246e-05 | -130.71 |  | 149.173 | -0.00044632
1 | NO | 132.43 | 30.7694 | 0.015394 | 129.769 | -2.0757e-05 | -129.769 |  | 369.809 | 0.003273
1 | NO | 98.3591 | 30.1862 | 0.0054106 | 129.186 | -2.024e-05 | -129.186 |  | 349.58 | -0.0068016
1 | NO | 74.2914 | 30.2216 | 0.014129 | 129.222 | -1.9875e-05 | -129.222 |  | 300.281 | -0.0050201
1 | NO | 50.1367 | 30.1427 | 0.0020294 | 129.143 | -1.9509e-05 | -129.143 |  | 250.369 | -0.0011482
1 | NO | 39.6482 | 30.0895 | 0.005247 | 129.09 | -1.935e-05 | -129.09 |  | 339.429 | 0.0027008
1 | NO | 30.1141 | 30.0799 | 0.0020479 | 129.08 | -1.9206e-05 | -129.08 |  | 301.579 | 0.00061226
1 | NO | 19.9874 | 30.0689 | 0.00258 | 129.069 | -1.9052e-05 | -129.069 |  | 252.958 | 0.0028305
1 | NO | 9.7826 | 30.0409 | 0.0039707 | 129.041 | -1.8897e-05 | -129.041 |  | 200.598 | 0.0019169
1 | NO | 0.45524 | 30.0169 | 0.00027778 | 129.017 | -1.8756e-05 | -129.017 |  | 347.286 | 0.001297
2 | YES | 241.754 | 33.9408 | 0.00025495 | 0.00016403 | -2.2415e-05 | -0.00018645 |  | 301.17 | 0.0015221
2 | YES | 231.641 | 33.9406 | 0.00032719 | 0 | -2.2261e-05 | -2.2261e-05 |  | 250.836 | -0.0011044
2 | NO | 200.717 | 33.9156 | 0.00036139 | -0.0013504 | -2.1792e-05 | 0.0013286 |  | 308.386 | 0.0017853
2 | NO | 174.416 | 33.8279 | 0.00064352 | -0.003582 | -2.1394e-05 | 0.0035606 |  | 299.919 | 0.00034904
2 | NO | 148.709 | 33.8254 | 0.00031543 | -0.00060272 | -2.1004e-05 | 0.00058172 |  | 250.297 | -0.0026665
2 | NO | 123.255 | 33.7729 | 0.00099244 | 0.00060272 | -2.0618e-05 | -0.00062334
2 | NO | 100.494 | 33.6958 | 0.0072552 | 0.00086594 | -2.0273e-05 | -0.00088621 |  | average | -2.2887e-05
2 | NO | 74.7366 | 33.4465 | 0.00084081 | -0.0058708 | -1.9882e-05 | 0.0058509
2 | NO | 52.2034 | 33.2971 | 0.0036867 | 0.0088654 | -1.954e-05 | -0.0088849
2 | NO | 40.3862 | 33.0055 | 0.0070334 | 0.017235 | -1.9361e-05 | -0.017254
2 | NO | 30.5141 | 32.7889 | 0.0019728 | 0.0091705 | -1.9212e-05 | -0.0091897
2 | NO | 20.6863 | 32.4879 | 0.02406 | 131.488 | -1.9063e-05 | -131.488
2 | NO | 9.9879 | 31.8033 | 0.0014902 | 130.803 | -1.89e-05 | -130.803
2 | NO | 5.264 | 31.529 | 0.0090794 | 130.529 | -1.8829e-05 | -130.529
2 | NO | 0.97271 | 31.406 | 0.0016876 | 130.406 | -1.8764e-05 | -130.406
3 | YES | 167.147 | 33.8811 | 0.00025709 | 0.00032425 | -2.1283e-05 | -0.00034553
3 | YES | 149.173 | 33.8819 | 0.00029151 | -0.00044632 | -2.1011e-05 | 0.00042531
3 | NO | 125.171 | 33.7417 | 0.0021473 | 132.742 | -2.0647e-05 | -132.742
3 | NO | 100.33 | 33.4497 | 0.0060075 | 132.45 | -2.027e-05 | -132.45
3 | NO | 0 | 0 | 0 | 99 | -1.8749e-05 | -99
3 | NO | 0 | 0 | 0 | 99 | -1.8749e-05 | -99
3 | NO | 0 | 0 | 0 | 99 | -1.8749e-05 | -99
3 | NO | 0 | 0 | 0 | 99 | -1.8749e-05 | -99
3 | NO | 0 | 0 | 0 | 99 | -1.8749e-05 | -99
3 | NO | 0 | 0 | 0 | 99 | -1.8749e-05 | -99
3 | NO | 0 | 0 | 0 | 99 | -1.8749e-05 | -99
4 | NO | 211.983 | 31.5407 | 0.0093659 | 0.0064163 | -2.1963e-05 | -0.0064383
4 | NO | 211.939 | 31.5396 | 0.010069 | 0.049013 | -2.1963e-05 | -0.049035
4 | NO | 175.23 | 31.3888 | 0.0060695 | 130.389 | -2.1406e-05 | -130.389
4 | NO | 147.446 | 31.1078 | 0.0091926 | 130.108 | -2.0985e-05 | -130.108
4 | NO | 125.479 | 30.9929 | 0.0069348 | 129.993 | -2.0652e-05 | -129.993
4 | NO | 101.258 | 30.5042 | 0.0050554 | 129.504 | -2.0284e-05 | -129.504
4 | NO | 76.8852 | 30.269 | 0.0061853 | 129.269 | -1.9915e-05 | -129.269
4 | NO | 49.0326 | 30.0026 | 0.0086843 | 129.003 | -1.9492e-05 | -129.003
4 | NO | 40.3967 | 29.679 | 0.010063 | 128.679 | -1.9361e-05 | -128.679
4 | NO | 29.6052 | 29.6179 | 0.017499 | 128.618 | -1.9198e-05 | -128.618
4 | NO | 19.9066 | 29.483 | 0.0049805 | 128.483 | -1.9051e-05 | -128.483
4 | NO | 10.5106 | 29.0705 | 0.013106 | 128.07 | -1.8908e-05 | -128.07
4 | NO | 5.2166 | 28.4492 | 0.038231 | 127.449 | -1.8828e-05 | -127.449
4 | NO | 0.79115 | 26.6666 | 0.087707 | 125.667 | -1.8761e-05 | -125.667
5 | YES | 369.809 | 31.2015 | 0.00035094 | 0.003273 | -2.4356e-05 | -0.0032974
5 | YES | 349.58 | 31.1144 | 0.00021403 | -0.0068016 | -2.405e-05 | 0.0067776
5 | YES | 300.281 | 31.08 | 0.0013468 | -0.0050201 | -2.3302e-05 | 0.0049968
5 | YES | 250.369 | 31.0209 | 0.00028032 | -0.0011482 | -2.2545e-05 | 0.0011257
5 | NO | 200.361 | 30.9921 | 0.00068061 | 129.992 | -2.1787e-05 | -129.992
5 | NO | 176.187 | 30.9435 | 0.00019994 | 129.944 | -2.142e-05 | -129.944
5 | NO | 150.039 | 30.8645 | 0.00023651 | 129.865 | -2.1024e-05 | -129.865
5 | NO | 124.843 | 30.73 | 0.00033162 | 129.73 | -2.0642e-05 | -129.73
5 | NO | 100.447 | 30.4497 | 0.0046198 | 129.45 | -2.0272e-05 | -129.45
5 | NO | 75.2443 | 29.9903 | 0.0046671 | 128.99 | -1.989e-05 | -128.99
5 | NO | 50.3552 | 29.3866 | 0.00059673 | 128.387 | -1.9512e-05 | -128.387
5 | NO | 40.1437 | 29.2543 | 0.0020538 | 128.254 | -1.9358e-05 | -128.254
5 | NO | 30.263 | 29.0057 | 0.00027667 | 128.006 | -1.9208e-05 | -128.006
5 | NO | 20.6037 | 28.5162 | 0.0013239 | 127.516 | -1.9061e-05 | -127.516
5 | NO | 10.3173 | 26.1808 | 0.0010621 | 125.181 | -1.8905e-05 | -125.181
5 | NO | 5.5985 | 24.7883 | 0.02495 | 123.788 | -1.8834e-05 | -123.788
5 | NO | 0.5891 | 24.5624 | 0.00032911 | 123.562 | -1.8758e-05 | -123.562
6 | YES | 339.429 | 31.1538 | 0.00039793 | 0.0027008 | -2.3896e-05 | -0.0027247
6 | YES | 301.579 | 31.0692 | 0.00098153 | 0.00061226 | -2.3322e-05 | -0.00063558
6 | YES | 252.958 | 30.9882 | 0.00026739 | 0.0028305 | -2.2585e-05 | -0.0028531
6 | YES | 200.598 | 30.9248 | 0.00024046 | 0.0019169 | -2.1791e-05 | -0.0019387
6 | NO | 175.461 | 30.917 | 0.00031626 | 129.917 | -2.1409e-05 | -129.917
6 | NO | 150.038 | 30.7944 | 0.00054957 | 129.794 | -2.1024e-05 | -129.794
6 | NO | 124.863 | 30.6123 | 0.0005731 | 129.612 | -2.0642e-05 | -129.612
6 | NO | 100.281 | 30.4473 | 0.0026692 | 129.447 | -2.0269e-05 | -129.447
6 | NO | 74.9895 | 30.1576 | 0.00060951 | 129.158 | -1.9886e-05 | -129.158
6 | NO | 50.5302 | 30.0409 | 0.0016012 | 129.041 | -1.9515e-05 | -129.041
6 | NO | 40.2435 | 29.7892 | 0.001001 | 128.789 | -1.9359e-05 | -128.789
6 | NO | 30.7239 | 29.4631 | 0.0038291 | 128.463 | -1.9215e-05 | -128.463
6 | NO | 20.3156 | 29.2904 | 0.00041011 | 128.29 | -1.9057e-05 | -128.29
6 | NO | 10.1853 | 27.7945 | 0.012188 | 126.794 | -1.8903e-05 | -126.794
6 | NO | 5.2896 | 25.6249 | 0.02376 | 124.625 | -1.8829e-05 | -124.625
6 | NO | 1.0569 | 21.7845 | 0.21267 | 120.785 | -1.8765e-05 | -120.785
7 | YES | 347.286 | 30.7991 | 0.00023661 | 0.001297 | -2.4015e-05 | -0.001321
7 | YES | 301.17 | 30.7926 | 0.00023316 | 0.0015221 | -2.3316e-05 | -0.0015454
7 | YES | 250.836 | 30.7523 | 0.00031328 | -0.0011044 | -2.2552e-05 | 0.0010818
7 | NO | 200.39 | 30.7054 | 0.00023009 | 129.705 | -2.1787e-05 | -129.705
7 | NO | 174.624 | 30.6874 | 0.00032291 | 129.687 | -2.1397e-05 | -129.687
7 | NO | 149.936 | 30.6559 | 0.00027247 | 129.656 | -2.1022e-05 | -129.656
7 | NO | 124.895 | 30.5772 | 0.00022423 | 129.577 | -2.0643e-05 | -129.577
7 | NO | 100.404 | 30.3698 | 0.0012288 | 129.37 | -2.0271e-05 | -129.37
7 | NO | 75.4655 | 30.1716 | 0.0020209 | 129.172 | -1.9893e-05 | -129.172
7 | NO | 50.3568 | 29.5473 | 0.0019201 | 128.547 | -1.9512e-05 | -128.547
7 | NO | 40.0136 | 29.2864 | 0.0046051 | 128.286 | -1.9356e-05 | -128.286
7 | NO | 30.6729 | 29.1816 | 0.0029103 | 128.182 | -1.9214e-05 | -128.182
7 | NO | 20.1438 | 28.7526 | 0.0014231 | 127.753 | -1.9054e-05 | -127.753
7 | NO | 10.0725 | 28.3351 | 0.0018839 | 127.335 | -1.8902e-05 | -127.335
7 | NO | 4.7263 | 26.5845 | 0.004279 | 125.585 | -1.8821e-05 | -125.585
7 | NO | 1.0151 | 26.4919 | 0.0022315 | 125.492 | -1.8764e-05 | -125.492
8 | YES | 308.386 | 30.7515 | 0.00022569 | 0.0017853 | -2.3425e-05 | -0.0018087
8 | YES | 299.919 | 30.7502 | 0.00022619 | 0.00034904 | -2.3297e-05 | -0.00037234
8 | YES | 250.297 | 30.7363 | 0.00055174 | -0.0026665 | -2.2544e-05 | 0.0026439
8 | NO | 199.525 | 30.6788 | 0.0011535 | 129.679 | -2.1774e-05 | -129.679
8 | NO | 175.149 | 30.6541 | 0.00026784 | 129.654 | -2.1405e-05 | -129.654
8 | NO | 150.474 | 30.5753 | 0.00040335 | 129.575 | -2.1031e-05 | -129.575
8 | NO | 125.212 | 30.5057 | 0.00029167 | 129.506 | -2.0648e-05 | -129.506
8 | NO | 100.292 | 30.4718 | 0.00089683 | 129.472 | -2.027e-05 | -129.472
8 | NO | 75.5243 | 30.132 | 0.00090551 | 129.132 | -1.9894e-05 | -129.132
8 | NO | 49.8942 | 29.7711 | 0.00087867 | 128.771 | -1.9505e-05 | -128.771
8 | NO | 39.8696 | 29.4962 | 0.001095 | 128.496 | -1.9353e-05 | -128.496
8 | NO | 30.5057 | 29.3791 | 0.0010937 | 128.379 | -1.9211e-05 | -128.379
8 | NO | 20.0955 | 29.2097 | 0.0031313 | 128.21 | -1.9054e-05 | -128.21
8 | NO | 10.3358 | 28.5142 | 0.016013 | 127.514 | -1.8906e-05 | -127.514
8 | NO | 4.9187 | 27.1285 | 0.0040636 | 126.129 | -1.8823e-05 | -126.129
8 | NO | 0.84824 | 27.1028 | 0.00047378 | 126.103 | -1.8762e-05 | -126.103
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Comp 2 | Sal_Bot | Sal1 |  | Sal1 - Sal_Bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P) | Sal_bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
20270002.hyd | 20270002.sac | 113 | 225.923 | 225.958 | 0.28882 | 0.035477 | 32.5229 | 32.518 | 0.0036256 | -0.0048714 | 32.5229 | 32.5194 | 0.0038445 | -0.0035057
20270002.hyd | 20270002.sac | 121 | 203.985 | 203.985 | 0.0759 | 7.6294e-05 | 32.4753 | 32.4224 | 0.014999 | -0.052937 | 32.4753 | 32.4215 | 0.012139 | -0.053829
20270002.hyd | 20270002.sac | 121 | 169.794 | 169.794 | 0.050863 | 0.00042725 | 31.8569 | 31.7812 | 0.044544 | -0.075659 | 31.8569 | 31.7726 | 0.038528 | -0.084288
20270002.hyd | 20270002.sac | 121 | 164.652 | 164.652 | 0.15271 | -0.0004425 | -99 | 31.7098 | 0.019283 | 130.71 | -99 | 31.7104 | 0.015653 | 130.71
20270002.hyd | 20270002.sac | 121 | 132.43 | 132.43 | 0.18127 | 0.00036621 | -99 | 30.7744 | 0.015909 | 129.774 | -99 | 30.7694 | 0.015394 | 129.769
20270002.hyd | 20270002.sac | 121 | 98.359 | 98.3591 | 0.037989 | 0.00012207 | -99 | 30.1857 | 0.0072564 | 129.186 | -99 | 30.1862 | 0.0054106 | 129.186
20270002.hyd | 20270002.sac | 121 | 74.291 | 74.2914 | 0.039647 | 0.00035858 | -99 | 30.2282 | 0.021784 | 129.228 | -99 | 30.2216 | 0.014129 | 129.222
20270002.hyd | 20270002.sac | 121 | 50.137 | 50.1367 | 0.027958 | -0.00030518 | -99 | 30.1411 | 0.0030307 | 129.141 | -99 | 30.1427 | 0.0020294 | 129.143
20270002.hyd | 20270002.sac | 121 | 39.648 | 39.6482 | 0.030789 | 0.00021362 | -99 | 30.0902 | 0.0069144 | 129.09 | -99 | 30.0895 | 0.005247 | 129.09
20270002.hyd | 20270002.sac | 121 | 30.114 | 30.1141 | 0.03146 | 0.00012398 | -99 | 30.0814 | 0.0030392 | 129.081 | -99 | 30.0799 | 0.0020479 | 129.08
20270002.hyd | 20270002.sac | 121 | 19.987 | 19.9874 | 0.05985 | 0.00040627 | -99 | 30.0698 | 0.0019096 | 129.07 | -99 | 30.0689 | 0.00258 | 129.069
20270002.hyd | 20270002.sac | 121 | 9.783 | 9.7826 | 0.032855 | -0.00038815 | -99 | 30.0396 | 0.0022811 | 129.04 | -99 | 30.0409 | 0.0039707 | 129.041
20270002.hyd | 20270002.sac | 121 | 0.455 | 0.45524 | 0.048783 | 0.00023964 | -99 | 30.0174 | 0.00049248 | 129.017 | -99 | 30.0169 | 0.00027778 | 129.017
20270007.hyd | 20270007.sac | 121 | 241.754 | 241.754 | 0.17381 | 0.00027466 | 33.9406 | 33.941 | 0.0002971 | 0.00035858 | 33.9406 | 33.9408 | 0.00025495 | 0.00016403
20270007.hyd | 20270007.sac | 121 | 231.641 | 231.641 | 0.14117 | 0.00028992 | 33.9406 | 33.9403 | 0.00031337 | -0.00025177 | 33.9406 | 33.9406 | 0.00032719 | 0
20270007.hyd | 20270007.sac | 121 | 200.717 | 200.717 | 0.45266 | 0.00035095 | 33.9169 | 33.9152 | 0.00040087 | -0.0017204 | 33.9169 | 33.9156 | 0.00036139 | -0.0013504
20270007.hyd | 20270007.sac | 121 | 174.416 | 174.416 | 0.49916 | -0.00033569 | 33.8315 | 33.8276 | 0.00067132 | -0.0039444 | 33.8315 | 33.8279 | 0.00064352 | -0.003582
20270007.hyd | 20270007.sac | 121 | 148.709 | 148.709 | 0.25059 | -0.0002594 | 33.826 | 33.8249 | 0.00033848 | -0.0010872 | 33.826 | 33.8254 | 0.00031543 | -0.00060272
20270007.hyd | 20270007.sac | 121 | 123.255 | 123.255 | 0.42692 | -0.00015259 | 33.7723 | 33.773 | 0.0008351 | 0.00072479 | 33.7723 | 33.7729 | 0.00099244 | 0.00060272
20270007.hyd | 20270007.sac | 121 | 100.494 | 100.494 | 0.15702 | -0.00048065 | 33.6949 | 33.6986 | 0.01017 | 0.0037231 | 33.6949 | 33.6958 | 0.0072552 | 0.00086594
20270007.hyd | 20270007.sac | 121 | 74.737 | 74.7366 | 0.50695 | -0.00043487 | 33.4524 | 33.4459 | 0.0012706 | -0.0065041 | 33.4524 | 33.4465 | 0.00084081 | -0.0058708
20270007.hyd | 20270007.sac | 121 | 52.203 | 52.2034 | 0.33964 | 0.00038147 | 33.2882 | 33.2989 | 0.0032769 | 0.010677 | 33.2882 | 33.2971 | 0.0036867 | 0.0088654
20270007.hyd | 20270007.sac | 67 | 40.517 | 40.3862 | 0.561 | -0.13079 | 32.9883 | 33.0054 | 0.0071341 | 0.017136 | 32.9883 | 33.0055 | 0.0070334 | 0.017235
20270007.hyd | 20270007.sac | 121 | 30.514 | 30.5141 | 0.11705 | 6.6757e-05 | 32.7797 | 32.7835 | 0.0024501 | 0.0037689 | 32.7797 | 32.7889 | 0.0019728 | 0.0091705
20270007.hyd | 20270007.sac | 121 | 20.686 | 20.6863 | 0.47295 | 0.00030518 | -99 | 32.4963 | 0.026552 | 131.496 | -99 | 32.4879 | 0.02406 | 131.488
20270007.hyd | 20270007.sac | 121 | 9.988 | 9.9879 | 0.12623 | -6.5804e-05 | -99 | 31.8024 | 0.0022297 | 130.802 | -99 | 31.8033 | 0.0014902 | 130.803
20270007.hyd | 20270007.sac | 121 | 5.264 | 5.264 | 0.10227 | 2.4796e-05 | -99 | 31.5326 | 0.0092931 | 130.533 | -99 | 31.529 | 0.0090794 | 130.529
20270007.hyd | 20270007.sac | 121 | 0.973 | 0.97271 | 0.29562 | -0.00028926 | -99 | 31.4065 | 0.00093818 | 130.406 | -99 | 31.406 | 0.0016876 | 130.406
20270018.hyd | 20270018.sac | 112 | 167.063 | 167.147 | 0.5762 | 0.083847 | 33.8808 | 33.8811 | 0.00020593 | 0.00032425 | 33.8808 | 33.8811 | 0.00025709 | 0.00032425
20270018.hyd | 20270018.sac | 121 | 149.173 | 149.173 | 0.17622 | -0.00019836 | 33.8823 | 33.8816 | 0.00025861 | -0.00068283 | 33.8823 | 33.8819 | 0.00029151 | -0.00044632
20270018.hyd | 20270018.sac | 121 | 125.171 | 125.171 | 0.29494 | 0.00025177 | -99 | 33.7465 | 0.014926 | 132.746 | -99 | 33.7417 | 0.0021473 | 132.742
20270018.hyd | 20270018.sac | 121 | 100.33 | 100.33 | 0.24529 | -0.00035095 | -99 | 33.451 | 0.0067243 | 132.451 | -99 | 33.4497 | 0.0060075 | 132.45
20270018.hyd | 20270018.sac | 0 | 75.119 | 0 | 0 | -75.119 | -99 | 0 | 0 | 99 | -99 | 0 | 0 | 99
20270018.hyd | 20270018.sac | 0 | 50.314 | 0 | 0 | -50.314 | -99 | 0 | 0 | 99 | -99 | 0 | 0 | 99
20270018.hyd | 20270018.sac | 0 | 40.948 | 0 | 0 | -40.948 | -99 | 0 | 0 | 99 | -99 | 0 | 0 | 99
20270018.hyd | 20270018.sac | 0 | 30.627 | 0 | 0 | -30.627 | -99 | 0 | 0 | 99 | -99 | 0 | 0 | 99
20270018.hyd | 20270018.sac | 0 | 20.173 | 0 | 0 | -20.173 | -99 | 0 | 0 | 99 | -99 | 0 | 0 | 99
20270018.hyd | 20270018.sac | 0 | 10.224 | 0 | 0 | -10.224 | -99 | 0 | 0 | 99 | -99 | 0 | 0 | 99
20270018.hyd | 20270018.sac | 0 | 0.524 | 0 | 0 | -0.524 | -99 | 0 | 0 | 99 | -99 | 0 | 0 | 99
20270034.hyd | 20270034.sac | 227 | 212.339 | 211.983 | 0.39871 | -0.35614 | 31.5343 | 31.5429 | 0.01009 | 0.0085602 | 31.5343 | 31.5407 | 0.0093659 | 0.0064163
20270034.hyd | 20270034.sac | 242 | 211.538 | 211.939 | 0.42307 | 0.40053 | 31.4906 | 31.5417 | 0.010759 | 0.051134 | 31.4906 | 31.5396 | 0.010069 | 0.049013
20270034.hyd | 20270034.sac | 121 | 175.23 | 175.23 | 0.06606 | -0.00048828 | -99 | 31.3868 | 0.006171 | 130.387 | -99 | 31.3888 | 0.0060695 | 130.389
20270034.hyd | 20270034.sac | 121 | 147.446 | 147.446 | 0.13204 | 0.00015259 | -99 | 31.108 | 0.0070429 | 130.108 | -99 | 31.1078 | 0.0091926 | 130.108
20270034.hyd | 20270034.sac | 121 | 125.479 | 125.479 | 0.11392 | 6.1035e-05 | -99 | 30.9911 | 0.0080114 | 129.991 | -99 | 30.9929 | 0.0069348 | 129.993
20270034.hyd | 20270034.sac | 121 | 101.258 | 101.258 | 0.035674 | 8.3923e-05 | -99 | 30.5051 | 0.0055293 | 129.505 | -99 | 30.5042 | 0.0050554 | 129.504
20270034.hyd | 20270034.sac | 121 | 76.885 | 76.8852 | 0.070267 | 0.00016785 | -99 | 30.2746 | 0.0095611 | 129.275 | -99 | 30.269 | 0.0061853 | 129.269
20270034.hyd | 20270034.sac | 121 | 49.033 | 49.0326 | 0.035222 | -0.00037384 | -99 | 30.0033 | 0.010655 | 129.003 | -99 | 30.0026 | 0.0086843 | 129.003
20270034.hyd | 20270034.sac | 121 | 40.397 | 40.3967 | 0.054951 | -0.00033188 | -99 | 29.6806 | 0.01672 | 128.681 | -99 | 29.679 | 0.010063 | 128.679
20270034.hyd | 20270034.sac | 121 | 29.605 | 29.6052 | 0.027917 | 0.00024033 | -99 | 29.6158 | 0.023728 | 128.616 | -99 | 29.6179 | 0.017499 | 128.618
20270034.hyd | 20270034.sac | 121 | 19.907 | 19.9066 | 0.032075 | -0.00039673 | -99 | 29.4832 | 0.0052927 | 128.483 | -99 | 29.483 | 0.0049805 | 128.483
20270034.hyd | 20270034.sac | 121 | 10.511 | 10.5106 | 0.029919 | -0.00039578 | -99 | 29.0659 | 0.013317 | 128.066 | -99 | 29.0705 | 0.013106 | 128.07
20270034.hyd | 20270034.sac | 121 | 5.217 | 5.2166 | 0.02469 | -0.00042963 | -99 | 28.4726 | 0.038892 | 127.473 | -99 | 28.4492 | 0.038231 | 127.449
20270034.hyd | 20270034.sac | 121 | 0.791 | 0.79115 | 0.024032 | 0.00014877 | -99 | 26.6081 | 0.12044 | 125.608 | -99 | 26.6666 | 0.087707 | 125.667
20270049.hyd | 20270049.sac | 121 | 369.809 | 369.809 | 0.051193 | -0.00045776 | 31.1982 | 31.2009 | 0.00033329 | 0.0027103 | 31.1982 | 31.2015 | 0.00035094 | 0.003273
20270049.hyd | 20270049.sac | 121 | 349.58 | 349.58 | 0.034115 | -0.00021362 | 31.1212 | 31.1143 | 0.00022303 | -0.0068912 | 31.1212 | 31.1144 | 0.00021403 | -0.0068016
20270049.hyd | 20270049.sac | 121 | 300.281 | 300.281 | 0.031892 | -0.00033569 | 31.085 | 31.0814 | 0.0013049 | -0.0035782 | 31.085 | 31.08 | 0.0013468 | -0.0050201
20270049.hyd | 20270049.sac | 121 | 250.369 | 250.369 | 0.024232 | -0.00039673 | 31.022 | 31.0209 | 0.00058959 | -0.0011101 | 31.022 | 31.0209 | 0.00028032 | -0.0011482
20270049.hyd | 20270049.sac | 121 | 200.361 | 200.361 | 0.035123 | -0.00030518 | -99 | 30.9913 | 0.00070529 | 129.991 | -99 | 30.9921 | 0.00068061 | 129.992
20270049.hyd | 20270049.sac | 121 | 176.187 | 176.187 | 0.029292 | 0.00015259 | -99 | 30.944 | 0.0001943 | 129.944 | -99 | 30.9435 | 0.00019994 | 129.944
20270049.hyd | 20270049.sac | 121 | 150.039 | 150.039 | 0.047093 | 0.00013733 | -99 | 30.8649 | 0.0002248 | 129.865 | -99 | 30.8645 | 0.00023651 | 129.865
20270049.hyd | 20270049.sac | 121 | 124.843 | 124.843 | 0.040708 | -5.3406e-05 | -99 | 30.7303 | 0.0003373 | 129.73 | -99 | 30.73 | 0.00033162 | 129.73
20270049.hyd | 20270049.sac | 121 | 100.447 | 100.447 | 0.037754 | -0.00048828 | -99 | 30.4358 | 0.0050718 | 129.436 | -99 | 30.4497 | 0.0046198 | 129.45
20270049.hyd | 20270049.sac | 121 | 75.244 | 75.2443 | 0.036709 | 0.00029755 | -99 | 29.9803 | 0.0087658 | 128.98 | -99 | 29.9903 | 0.0046671 | 128.99
20270049.hyd | 20270049.sac | 121 | 50.355 | 50.3552 | 0.039049 | 0.00021744 | -99 | 29.3869 | 0.00058926 | 128.387 | -99 | 29.3866 | 0.00059673 | 128.387
20270049.hyd | 20270049.sac | 121 | 40.144 | 40.1437 | 0.025552 | -0.00033951 | -99 | 29.2539 | 0.002836 | 128.254 | -99 | 29.2543 | 0.0020538 | 128.254
20270049.hyd | 20270049.sac | 121 | 30.263 | 30.263 | 0.036977 | 7.6294e-06 | -99 | 29.0064 | 0.00038282 | 128.006 | -99 | 29.0057 | 0.00027667 | 128.006
20270049.hyd | 20270049.sac | 121 | 20.604 | 20.6037 | 0.030591 | -0.00032997 | -99 | 28.5165 | 0.00092681 | 127.516 | -99 | 28.5162 | 0.0013239 | 127.516
20270049.hyd | 20270049.sac | 121 | 10.317 | 10.3173 | 0.037476 | 0.00028038 | -99 | 26.1827 | 0.0025466 | 125.183 | -99 | 26.1808 | 0.0010621 | 125.181
20270049.hyd | 20270049.sac | 121 | 5.599 | 5.5985 | 0.032318 | -0.00047922 | -99 | 24.8017 | 0.027539 | 123.802 | -99 | 24.7883 | 0.02495 | 123.788
20270049.hyd | 20270049.sac | 121 | 0.589 | 0.5891 | 0.034434 | 9.9182e-05 | -99 | 24.5627 | 0.00020538 | 123.563 | -99 | 24.5624 | 0.00032911 | 123.562
20270052.hyd | 20270052.sac | 121 | 339.429 | 339.429 | 0.057482 | -0.00015259 | 31.1511 | 31.1539 | 0.0002915 | 0.0027657 | 31.1511 | 31.1538 | 0.00039793 | 0.0027008
20270052.hyd | 20270052.sac | 121 | 301.579 | 301.579 | 0.060544 | 0.00015259 | 31.0686 | 31.0693 | 0.0014662 | 0.00069427 | 31.0686 | 31.0692 | 0.00098153 | 0.00061226
20270052.hyd | 20270052.sac | 121 | 252.958 | 252.958 | 0.10794 | 6.1035e-05 | 30.9854 | 30.9882 | 0.00023956 | 0.0027752 | 30.9854 | 30.9882 | 0.00026739 | 0.0028305
20270052.hyd | 20270052.sac | 121 | 200.598 | 200.598 | 0.11205 | 0.00039673 | 30.9229 | 30.9248 | 0.00025144 | 0.0018921 | 30.9229 | 30.9248 | 0.00024046 | 0.0019169
20270052.hyd | 20270052.sac | 121 | 175.461 | 175.461 | 0.076915 | 0.00024414 | -99 | 30.9173 | 0.000429 | 129.917 | -99 | 30.917 | 0.00031626 | 129.917
20270052.hyd | 20270052.sac | 121 | 150.038 | 150.038 | 0.051568 | 0.00047302 | -99 | 30.7943 | 0.00055629 | 129.794 | -99 | 30.7944 | 0.00054957 | 129.794
20270052.hyd | 20270052.sac | 121 | 124.863 | 124.863 | 0.076561 | 0.00036621 | -99 | 30.6129 | 0.00046469 | 129.613 | -99 | 30.6123 | 0.0005731 | 129.612
20270052.hyd | 20270052.sac | 121 | 100.281 | 100.281 | 0.053125 | -0.00049591 | -99 | 30.4503 | 0.0022033 | 129.45 | -99 | 30.4473 | 0.0026692 | 129.447
20270052.hyd | 20270052.sac | 121 | 74.99 | 74.9895 | 0.070717 | -0.00048065 | -99 | 30.1582 | 0.00047091 | 129.158 | -99 | 30.1576 | 0.00060951 | 129.158
20270052.hyd | 20270052.sac | 121 | 50.53 | 50.5302 | 0.045745 | 0.0001564 | -99 | 30.045 | 0.0040224 | 129.045 | -99 | 30.0409 | 0.0016012 | 129.041
20270052.hyd | 20270052.sac | 121 | 40.243 | 40.2435 | 0.041242 | 0.00047684 | -99 | 29.7914 | 0.00083579 | 128.791 | -99 | 29.7892 | 0.001001 | 128.789
20270052.hyd | 20270052.sac | 121 | 30.724 | 30.7239 | 0.087224 | -0.00013351 | -99 | 29.4637 | 0.0046263 | 128.464 | -99 | 29.4631 | 0.0038291 | 128.463
20270052.hyd | 20270052.sac | 121 | 20.316 | 20.3156 | 0.03864 | -0.00042152 | -99 | 29.291 | 0.00046069 | 128.291 | -99 | 29.2904 | 0.00041011 | 128.29
20270052.hyd | 20270052.sac | 121 | 10.185 | 10.1853 | 0.037648 | 0.00031376 | -99 | 27.7976 | 0.012758 | 126.798 | -99 | 27.7945 | 0.012188 | 126.794
20270052.hyd | 20270052.sac | 121 | 5.29 | 5.2896 | 0.064516 | -0.00042963 | -99 | 25.6625 | 0.060028 | 124.662 | -99 | 25.6249 | 0.02376 | 124.625
20270052.hyd | 20270052.sac | 121 | 1.057 | 1.0569 | 0.030103 | -0.00014055 | -99 | 21.6531 | 0.15118 | 120.653 | -99 | 21.7845 | 0.21267 | 120.785
20270067.hyd | 20270067.sac | 121 | 347.286 | 347.286 | 0.064633 | 0.00033569 | 30.7978 | 30.7992 | 0.00021101 | 0.0013599 | 30.7978 | 30.7991 | 0.00023661 | 0.001297
20270067.hyd | 20270067.sac | 121 | 301.17 | 301.17 | 0.03758 | 0.00039673 | 30.7911 | 30.7928 | 0.00018827 | 0.0016708 | 30.7911 | 30.7926 | 0.00023316 | 0.0015221
20270067.hyd | 20270067.sac | 121 | 250.836 | 250.836 | 0.044958 | 0.0002594 | 30.7534 | 30.7526 | 0.00032517 | -0.00082588 | 30.7534 | 30.7523 | 0.00031328 | -0.0011044
20270067.hyd | 20270067.sac | 121 | 200.39 | 200.39 | 0.045346 | -0.00041199 | -99 | 30.7056 | 0.00022341 | 129.706 | -99 | 30.7054 | 0.00023009 | 129.705
20270067.hyd | 20270067.sac | 121 | 174.624 | 174.624 | 0.053648 | 0.00035095 | -99 | 30.688 | 0.00032667 | 129.688 | -99 | 30.6874 | 0.00032291 | 129.687
20270067.hyd | 20270067.sac | 121 | 149.936 | 149.936 | 0.066281 | -0.00012207 | -99 | 30.6564 | 0.00025582 | 129.656 | -99 | 30.6559 | 0.00027247 | 129.656
20270067.hyd | 20270067.sac | 121 | 124.895 | 124.895 | 0.063168 | 0.00030518 | -99 | 30.5777 | 0.000214 | 129.578 | -99 | 30.5772 | 0.00022423 | 129.577
20270067.hyd | 20270067.sac | 121 | 100.404 | 100.404 | 0.050669 | 9.9182e-05 | -99 | 30.3713 | 0.0015562 | 129.371 | -99 | 30.3698 | 0.0012288 | 129.37
20270067.hyd | 20270067.sac | 121 | 75.466 | 75.4655 | 0.06701 | -0.00046539 | -99 | 30.1738 | 0.002697 | 129.174 | -99 | 30.1716 | 0.0020209 | 129.172
20270067.hyd | 20270067.sac | 121 | 50.357 | 50.3568 | 0.037123 | -0.00019836 | -99 | 29.5489 | 0.0014497 | 128.549 | -99 | 29.5473 | 0.0019201 | 128.547
20270067.hyd | 20270067.sac | 121 | 40.014 | 40.0136 | 0.029833 | -0.00043106 | -99 | 29.2908 | 0.002677 | 128.291 | -99 | 29.2864 | 0.0046051 | 128.286
20270067.hyd | 20270067.sac | 121 | 30.673 | 30.6729 | 0.049936 | -5.9128e-05 | -99 | 29.182 | 0.0046639 | 128.182 | -99 | 29.1816 | 0.0029103 | 128.182
20270067.hyd | 20270067.sac | 121 | 20.144 | 20.1438 | 0.056992 | -0.00020599 | -99 | 28.7543 | 0.0018185 | 127.754 | -99 | 28.7526 | 0.0014231 | 127.753
20270067.hyd | 20270067.sac | 121 | 10.072 | 10.0725 | 0.030499 | 0.00047111 | -99 | 28.3354 | 0.001141 | 127.335 | -99 | 28.3351 | 0.0018839 | 127.335
20270067.hyd | 20270067.sac | 121 | 4.726 | 4.7263 | 0.040981 | 0.00028944 | -99 | 26.5806 | 0.0084865 | 125.581 | -99 | 26.5845 | 0.004279 | 125.585
20270067.hyd | 20270067.sac | 121 | 1.015 | 1.0151 | 0.047807 | 0.00010741 | -99 | 26.4943 | 0.0032331 | 125.494 | -99 | 26.4919 | 0.0022315 | 125.492
20270069.hyd | 20270069.sac | 121 | 308.386 | 308.386 | 0.044788 | 0.00030518 | 30.7497 | 30.7519 | 0.00028967 | 0.0021858 | 30.7497 | 30.7515 | 0.00022569 | 0.0017853
20270069.hyd | 20270069.sac | 121 | 299.919 | 299.919 | 0.041334 | -0.00027466 | 30.7499 | 30.7506 | 0.00022646 | 0.00074577 | 30.7499 | 30.7502 | 0.00022619 | 0.00034904
20270069.hyd | 20270069.sac | 121 | 250.297 | 250.297 | 0.035191 | 0.00030518 | 30.739 | 30.7369 | 0.00060619 | -0.0021 | 30.739 | 30.7363 | 0.00055174 | -0.0026665
20270069.hyd | 20270069.sac | 121 | 199.525 | 199.525 | 0.027469 | 0.00032043 | -99 | 30.6801 | 0.00086751 | 129.68 | -99 | 30.6788 | 0.0011535 | 129.679
20270069.hyd | 20270069.sac | 121 | 175.149 | 175.149 | 0.034151 | 0.00024414 | -99 | 30.6545 | 0.00040971 | 129.654 | -99 | 30.6541 | 0.00026784 | 129.654
20270069.hyd | 20270069.sac | 121 | 150.474 | 150.474 | 0.03056 | -0.00016785 | -99 | 30.5759 | 0.00051163 | 129.576 | -99 | 30.5753 | 0.00040335 | 129.575
20270069.hyd | 20270069.sac | 121 | 125.212 | 125.212 | 0.037731 | -0.00038147 | -99 | 30.5063 | 0.00022883 | 129.506 | -99 | 30.5057 | 0.00029167 | 129.506
20270069.hyd | 20270069.sac | 121 | 100.292 | 100.292 | 0.037343 | 0.00023651 | -99 | 30.4732 | 0.00091588 | 129.473 | -99 | 30.4718 | 0.00089683 | 129.472
20270069.hyd | 20270069.sac | 121 | 75.524 | 75.5243 | 0.034826 | 0.00032806 | -99 | 30.1321 | 0.00096674 | 129.132 | -99 | 30.132 | 0.00090551 | 129.132
20270069.hyd | 20270069.sac | 121 | 49.894 | 49.8942 | 0.033376 | 0.00016403 | -99 | 29.7713 | 0.00088351 | 128.771 | -99 | 29.7711 | 0.00087867 | 128.771
20270069.hyd | 20270069.sac | 121 | 39.87 | 39.8696 | 0.034061 | -0.0003624 | -99 | 29.4986 | 0.0014761 | 128.499 | -99 | 29.4962 | 0.001095 | 128.496
20270069.hyd | 20270069.sac | 121 | 30.506 | 30.5057 | 0.029296 | -0.00034714 | -99 | 29.3796 | 0.0015735 | 128.38 | -99 | 29.3791 | 0.0010937 | 128.379
20270069.hyd | 20270069.sac | 121 | 20.095 | 20.0955 | 0.029867 | 0.00048828 | -99 | 29.212 | 0.0038056 | 128.212 | -99 | 29.2097 | 0.0031313 | 128.21
20270069.hyd | 20270069.sac | 121 | 10.336 | 10.3358 | 0.029236 | -0.00018215 | -99 | 28.517 | 0.012158 | 127.517 | -99 | 28.5142 | 0.016013 | 127.514
20270069.hyd | 20270069.sac | 121 | 4.919 | 4.9187 | 0.024038 | -0.00028086 | -99 | 27.1295 | 0.0055094 | 126.129 | -99 | 27.1285 | 0.0040636 | 126.129
20270069.hyd | 20270069.sac | 121 | 0.848 | 0.84824 | 0.027481 | 0.00023967 | -99 | 27.1029 | 0.00075846 | 126.103 | -99 | 27.1028 | 0.00047378 | 126.103
Create Fit Sheet