## File List
Number of Files= |  | 8
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 20270002.hyd | 20270002.sam | 12 | 24 | 20270002.hyd & 20270002.sam
2 | 20270007.hyd | 20270007.sam | 26 | 40 | 20270007.hyd & 20270007.sam
3 | 20270018.hyd | 20270018.sam | 42 | 52 | 20270018.hyd & 20270018.sam
4 | 20270034.hyd | 20270034.sam | 54 | 67 | 20270034.hyd & 20270034.sam
5 | 20270049.hyd | 20270049.sam | 69 | 85 | 20270049.hyd & 20270049.sam
6 | 20270052.hyd | 20270052.sam | 87 | 102 | 20270052.hyd & 20270052.sam
7 | 20270067.hyd | 20270067.sam | 104 | 119 | 20270067.hyd & 20270067.sam
8 | 20270069.hyd | 20270069.sam | 121 | 136 | 20270069.hyd & 20270069.sam

## (Sal0 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.00017136 |  | X | CALC Y
m= | 5.1979e-07 | 9.926e-06 |  | Std Dev of Resid |  | 0.0025478 |  | 149.173 | 0.0042492
b= | 0.0041716 | 0.0027746 |  | Resid Sum of Squares |  | 0.00010386 |  | 369.809 | 0.0043638
# of Values Extracted = |  |  | 118
# of Values Used in Fit = |  |  | 18
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 225.958 | 32.5222 | 0.0036256 | -0.00067139 | 0.0042891 | 0.0049605 |  | 241.754 | 0.0045586
1 | NO | 203.985 | 32.4266 | 0.014999 | -0.048737 | 0.0042776 | 0.053014 |  | 231.641 | 0.0039482
1 | NO | 169.794 | 31.7854 | 0.044544 | -0.071459 | 0.0042599 | 0.075719 |  | 167.147 | 0.0045242
1 | NO | 164.652 | 31.714 | 0.019283 | 130.714 | 0.0042572 | -130.7097 |  | 149.173 | 0.0035172
1 | NO | 132.43 | 30.7786 | 0.015909 | 129.779 | 0.0042405 | -129.7748 |  | 369.809 | 0.0069103
1 | NO | 98.3591 | 30.1899 | 0.0072564 | 129.19 | 0.0042227 | -129.1858 |  | 349.58 | -0.0026913
1 | NO | 74.2914 | 30.2324 | 0.021784 | 129.232 | 0.0042102 | -129.2278 |  | 300.281 | 0.0006218
1 | NO | 50.1367 | 30.1453 | 0.0030307 | 129.145 | 0.0041977 | -129.1408 |  | 250.369 | 0.0030899
1 | NO | 39.6482 | 30.0944 | 0.0069144 | 129.094 | 0.0041922 | -129.0898 |  | 339.429 | 0.0069656
1 | NO | 30.1141 | 30.0856 | 0.0030392 | 129.086 | 0.0041873 | -129.0818 |  | 301.579 | 0.0048943
1 | NO | 19.9874 | 30.074 | 0.0019096 | 129.074 | 0.004182 | -129.0698 |  | 252.958 | 0.0069752
1 | NO | 9.7826 | 30.0438 | 0.0022811 | 129.044 | 0.0041767 | -129.0398 |  | 200.598 | 0.0060921
1 | NO | 0.45524 | 30.0216 | 0.00049248 | 129.022 | 0.0041719 | -129.0178 |  | 347.286 | 0.0055599
2 | YES | 241.754 | 33.9452 | 0.0002971 | 0.0045586 | 0.0042973 | -0.00026128 |  | 301.17 | 0.0058708
2 | YES | 231.641 | 33.9445 | 0.00031337 | 0.0039482 | 0.004292 | 0.00034381 |  | 250.836 | 0.0033741
2 | NO | 200.717 | 33.9194 | 0.00040087 | 0.0024796 | 0.0042759 | 0.0017964 |  | 308.386 | 0.0063858
2 | NO | 174.416 | 33.8318 | 0.00067132 | 0.00025559 | 0.0042623 | 0.0040067 |  | 299.919 | 0.0049458
2 | NO | 148.709 | 33.8291 | 0.00033848 | 0.0031128 | 0.0042489 | 0.0011361 |  | 250.297 | 0.0021
2 | NO | 123.255 | 33.7772 | 0.0008351 | 0.0049248 | 0.0042357 | -0.00068909
2 | NO | 100.494 | 33.7028 | 0.01017 | 0.0079231 | 0.0042239 | -0.0036993 |  | average | 0.0043135
2 | NO | 74.7366 | 33.4501 | 0.0012706 | -0.0023041 | 0.0042105 | 0.0065145
2 | NO | 52.2034 | 33.3031 | 0.0032769 | 0.014877 | 0.0041988 | -0.010679
2 | NO | 40.3862 | 33.0096 | 0.0071341 | 0.021336 | 0.0041926 | -0.017143
2 | NO | 30.5141 | 32.7877 | 0.0024501 | 0.0079689 | 0.0041875 | -0.0037814
2 | NO | 20.6863 | 32.5005 | 0.026552 | 131.501 | 0.0041824 | -131.4968
2 | NO | 9.9879 | 31.8066 | 0.0022297 | 130.807 | 0.0041768 | -130.8028
2 | NO | 5.264 | 31.5368 | 0.0092931 | 130.537 | 0.0041744 | -130.5328
2 | NO | 0.97271 | 31.4107 | 0.00093809 | 130.411 | 0.0041721 | -130.4068
3 | YES | 167.147 | 33.8853 | 0.00020592 | 0.0045242 | 0.0042585 | -0.00026573
3 | YES | 149.173 | 33.8858 | 0.00025861 | 0.0035172 | 0.0042492 | 0.00073201
3 | NO | 125.171 | 33.7507 | 0.014926 | 132.751 | 0.0042367 | -132.7468
3 | NO | 100.33 | 33.4552 | 0.0067243 | 132.455 | 0.0042238 | -132.4508
3 | NO | 0 | 0 | 0 | 99 | 0.0041716 | -98.9958
3 | NO | 0 | 0 | 0 | 99 | 0.0041716 | -98.9958
3 | NO | 0 | 0 | 0 | 99 | 0.0041716 | -98.9958
3 | NO | 0 | 0 | 0 | 99 | 0.0041716 | -98.9958
3 | NO | 0 | 0 | 0 | 99 | 0.0041716 | -98.9958
3 | NO | 0 | 0 | 0 | 99 | 0.0041716 | -98.9958
3 | NO | 0 | 0 | 0 | 99 | 0.0041716 | -98.9958
4 | NO | 211.983 | 31.5471 | 0.01009 | 0.01276 | 0.0042818 | -0.0084784
4 | NO | 211.939 | 31.5459 | 0.010759 | 0.055334 | 0.0042818 | -0.051052
4 | NO | 175.23 | 31.391 | 0.006171 | 130.391 | 0.0042627 | -130.3867
4 | NO | 147.446 | 31.1122 | 0.0070429 | 130.112 | 0.0042483 | -130.1078
4 | NO | 125.479 | 30.9953 | 0.0080114 | 129.995 | 0.0042368 | -129.9908
4 | NO | 101.258 | 30.5093 | 0.0055293 | 129.509 | 0.0042242 | -129.5048
4 | NO | 76.8852 | 30.2788 | 0.0095612 | 129.279 | 0.0042116 | -129.2748
4 | NO | 49.0326 | 30.0075 | 0.010655 | 129.007 | 0.0041971 | -129.0028
4 | NO | 40.3967 | 29.6848 | 0.01672 | 128.685 | 0.0041926 | -128.6808
4 | NO | 29.6052 | 29.62 | 0.023728 | 128.62 | 0.004187 | -128.6158
4 | NO | 19.9066 | 29.4874 | 0.0052927 | 128.487 | 0.004182 | -128.4828
4 | NO | 10.5106 | 29.0701 | 0.013317 | 128.07 | 0.0041771 | -128.0658
4 | NO | 5.2166 | 28.4768 | 0.038892 | 127.477 | 0.0041743 | -127.4728
4 | NO | 0.79115 | 26.6123 | 0.12044 | 125.612 | 0.004172 | -125.6078
5 | YES | 369.809 | 31.2051 | 0.00033329 | 0.0069103 | 0.0043638 | -0.0025465
5 | YES | 349.58 | 31.1185 | 0.00022303 | -0.0026913 | 0.0043533 | 0.0070446
5 | YES | 300.281 | 31.0856 | 0.0013049 | 0.0006218 | 0.0043277 | 0.0037059
5 | YES | 250.369 | 31.0251 | 0.00058959 | 0.0030899 | 0.0043018 | 0.0012119
5 | NO | 200.361 | 30.9955 | 0.00070529 | 129.995 | 0.0042758 | -129.9907
5 | NO | 176.187 | 30.9482 | 0.0001943 | 129.948 | 0.0042632 | -129.9437
5 | NO | 150.039 | 30.8691 | 0.0002248 | 129.869 | 0.0042496 | -129.8648
5 | NO | 124.843 | 30.7345 | 0.0003373 | 129.735 | 0.0042365 | -129.7308
5 | NO | 100.447 | 30.44 | 0.0050718 | 129.44 | 0.0042238 | -129.4358
5 | NO | 75.2443 | 29.9845 | 0.0087658 | 128.984 | 0.0042107 | -128.9798
5 | NO | 50.3552 | 29.3911 | 0.00058926 | 128.391 | 0.0041978 | -128.3868
5 | NO | 40.1437 | 29.2581 | 0.002836 | 128.258 | 0.0041925 | -128.2538
5 | NO | 30.263 | 29.0106 | 0.00038282 | 128.011 | 0.0041873 | -128.0068
5 | NO | 20.6037 | 28.5207 | 0.00092681 | 127.521 | 0.0041823 | -127.5168
5 | NO | 10.3173 | 26.1869 | 0.0025466 | 125.187 | 0.004177 | -125.1828
5 | NO | 5.5985 | 24.8059 | 0.027539 | 123.806 | 0.0041745 | -123.8018
5 | NO | 0.5891 | 24.5669 | 0.00020538 | 123.567 | 0.0041719 | -123.5628
6 | YES | 339.429 | 31.1581 | 0.0002914 | 0.0069656 | 0.004348 | -0.0026176
6 | YES | 301.579 | 31.0735 | 0.0014662 | 0.0048943 | 0.0043284 | -0.00056589
6 | YES | 252.958 | 30.9924 | 0.00023956 | 0.0069752 | 0.0043031 | -0.0026721
6 | YES | 200.598 | 30.929 | 0.00025144 | 0.0060921 | 0.0042759 | -0.0018162
6 | NO | 175.461 | 30.9215 | 0.000429 | 129.922 | 0.0042628 | -129.9177
6 | NO | 150.038 | 30.7985 | 0.00055629 | 129.799 | 0.0042496 | -129.7948
6 | NO | 124.863 | 30.6171 | 0.00046469 | 129.617 | 0.0042365 | -129.6128
6 | NO | 100.281 | 30.4545 | 0.0022033 | 129.455 | 0.0042237 | -129.4508
6 | NO | 74.9895 | 30.1624 | 0.00047091 | 129.162 | 0.0042106 | -129.1578
6 | NO | 50.5302 | 30.0492 | 0.0040224 | 129.049 | 0.0041979 | -129.0448
6 | NO | 40.2435 | 29.7956 | 0.00083579 | 128.796 | 0.0041925 | -128.7918
6 | NO | 30.7239 | 29.4679 | 0.0046264 | 128.468 | 0.0041876 | -128.4638
6 | NO | 20.3156 | 29.2952 | 0.00046069 | 128.295 | 0.0041822 | -128.2908
6 | NO | 10.1853 | 27.8018 | 0.012758 | 126.802 | 0.0041769 | -126.7978
6 | NO | 5.2896 | 25.6667 | 0.060028 | 124.667 | 0.0041744 | -124.6628
6 | NO | 1.0569 | 21.6573 | 0.15118 | 120.657 | 0.0041722 | -120.6528
7 | YES | 347.286 | 30.8034 | 0.00021101 | 0.0055599 | 0.0043521 | -0.0012078
7 | YES | 301.17 | 30.797 | 0.00018827 | 0.0058708 | 0.0043282 | -0.0015427
7 | YES | 250.836 | 30.7568 | 0.00032517 | 0.0033741 | 0.004302 | 0.0009279
7 | NO | 200.39 | 30.7098 | 0.00022341 | 129.71 | 0.0042758 | -129.7057
7 | NO | 174.624 | 30.6922 | 0.00032667 | 129.692 | 0.0042624 | -129.6877
7 | NO | 149.936 | 30.6606 | 0.00025576 | 129.661 | 0.0042496 | -129.6568
7 | NO | 124.895 | 30.5819 | 0.000214 | 129.582 | 0.0042365 | -129.5778
7 | NO | 100.404 | 30.3755 | 0.0015562 | 129.376 | 0.0042238 | -129.3718
7 | NO | 75.4655 | 30.178 | 0.002697 | 129.178 | 0.0042108 | -129.1738
7 | NO | 50.3568 | 29.5531 | 0.0014497 | 128.553 | 0.0041978 | -128.5488
7 | NO | 40.0136 | 29.295 | 0.002677 | 128.295 | 0.0041924 | -128.2908
7 | NO | 30.6729 | 29.1862 | 0.0046639 | 128.186 | 0.0041876 | -128.1818
7 | NO | 20.1438 | 28.7585 | 0.0018185 | 127.759 | 0.0041821 | -127.7548
7 | NO | 10.0725 | 28.3396 | 0.001141 | 127.34 | 0.0041769 | -127.3358
7 | NO | 4.7263 | 26.5848 | 0.0084866 | 125.585 | 0.0041741 | -125.5808
7 | NO | 1.0151 | 26.4985 | 0.0032331 | 125.499 | 0.0041721 | -125.4948
8 | YES | 308.386 | 30.7561 | 0.00028967 | 0.0063858 | 0.0043319 | -0.0020539
8 | YES | 299.919 | 30.7548 | 0.00022646 | 0.0049458 | 0.0043275 | -0.00061825
8 | YES | 250.297 | 30.7411 | 0.00060619 | 0.0021 | 0.0043017 | 0.0022017
8 | NO | 199.525 | 30.6843 | 0.00086751 | 129.684 | 0.0042753 | -129.6797
8 | NO | 175.149 | 30.6587 | 0.0004097 | 129.659 | 0.0042627 | -129.6547
8 | NO | 150.474 | 30.5801 | 0.00051163 | 129.58 | 0.0042498 | -129.5758
8 | NO | 125.212 | 30.5105 | 0.00022883 | 129.51 | 0.0042367 | -129.5058
8 | NO | 100.292 | 30.4774 | 0.00091588 | 129.477 | 0.0042237 | -129.4728
8 | NO | 75.5243 | 30.1363 | 0.00096674 | 129.136 | 0.0042109 | -129.1318
8 | NO | 49.8942 | 29.7755 | 0.00088351 | 128.776 | 0.0041976 | -128.7718
8 | NO | 39.8696 | 29.5028 | 0.0014761 | 128.503 | 0.0041923 | -128.4988
8 | NO | 30.5057 | 29.3838 | 0.0015735 | 128.384 | 0.0041875 | -128.3798
8 | NO | 20.0955 | 29.2162 | 0.0038056 | 128.216 | 0.0041821 | -128.2118
8 | NO | 10.3358 | 28.5212 | 0.012158 | 127.521 | 0.004177 | -127.5168
8 | NO | 4.9187 | 27.1337 | 0.0055094 | 126.134 | 0.0041742 | -126.1298
8 | NO | 0.84824 | 27.1071 | 0.00075846 | 126.107 | 0.0041721 | -126.1028
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 2.1516e-07 |  | X | CALC Y
m= | -1.97e-08 | 1.0618e-05 |  | Std Dev of Resid |  | 0.0027254 |  | 149.173 | -0.0050206
b= | -0.0050176 | 0.0029679 |  | Resid Sum of Squares |  | 0.00011884 |  | 369.809 | -0.0050249
# of Values Extracted = |  |  | 118
# of Values Used in Fit = |  |  | 18
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 225.958 | 32.5144 | 0.0038447 | -0.0085068 | -0.0050221 | 0.0034847 |  | 241.754 | -0.004837
1 | NO | 203.985 | 32.4165 | 0.012139 | -0.05883 | -0.0050216 | 0.053809 |  | 231.641 | -0.0050011
1 | NO | 169.794 | 31.7676 | 0.038528 | -0.089287 | -0.005021 | 0.084266 |  | 167.147 | -0.004673
1 | NO | 164.652 | 31.7054 | 0.015653 | 130.705 | -0.0050209 | -130.71 |  | 149.173 | -0.0054474
1 | NO | 132.43 | 30.7644 | 0.015394 | 129.764 | -0.0050202 | -129.769 |  | 369.809 | -0.0017262
1 | NO | 98.3591 | 30.1812 | 0.0054104 | 129.181 | -0.0050196 | -129.186 |  | 349.58 | -0.011803
1 | NO | 74.2914 | 30.2166 | 0.014129 | 129.217 | -0.0050191 | -129.222 |  | 300.281 | -0.010021
1 | NO | 50.1367 | 30.1377 | 0.0020293 | 129.138 | -0.0050186 | -129.143 |  | 250.369 | -0.0061493
1 | NO | 39.6482 | 30.0845 | 0.0052469 | 129.085 | -0.0050184 | -129.09 |  | 339.429 | -0.0022984
1 | NO | 30.1141 | 30.0749 | 0.0020479 | 129.075 | -0.0050182 | -129.08 |  | 301.579 | -0.0043869
1 | NO | 19.9874 | 30.0639 | 0.00258 | 129.064 | -0.005018 | -129.069 |  | 252.958 | -0.0021687
1 | NO | 9.7826 | 30.0359 | 0.0039707 | 129.036 | -0.0050178 | -129.041 |  | 200.598 | -0.0030823
1 | NO | 0.45524 | 30.0119 | 0.00027777 | 129.012 | -0.0050176 | -129.017 |  | 347.286 | -0.0037041
2 | YES | 241.754 | 33.9358 | 0.00025502 | -0.004837 | -0.0050224 | -0.00018535 |  | 301.17 | -0.003479
2 | YES | 231.641 | 33.9356 | 0.00032727 | -0.0050011 | -0.0050222 | -2.1121e-05 |  | 250.836 | -0.0061035
2 | NO | 200.717 | 33.9106 | 0.00036158 | -0.0063477 | -0.0050216 | 0.0013261 |  | 308.386 | -0.0032158
2 | NO | 174.416 | 33.8229 | 0.00064351 | -0.0085793 | -0.0050211 | 0.0035582 |  | 299.919 | -0.004652
2 | NO | 148.709 | 33.8204 | 0.0003151 | -0.0056 | -0.0050206 | 0.00057942 |  | 250.297 | -0.0076656
2 | NO | 123.255 | 33.7679 | 0.00099231 | -0.0043983 | -0.0050201 | -0.00062171
2 | NO | 100.494 | 33.6908 | 0.0072552 | -0.0041351 | -0.0050196 | -0.00088448 |  | average | -0.005023
2 | NO | 74.7366 | 33.4415 | 0.00084083 | -0.010872 | -0.0050191 | 0.0058528
2 | NO | 52.2034 | 33.2921 | 0.0036866 | 0.0038643 | -0.0050187 | -0.0088829
2 | NO | 40.3862 | 33.0005 | 0.0070337 | 0.012234 | -0.0050184 | -0.017252
2 | NO | 30.5141 | 32.7839 | 0.0019729 | 0.0041733 | -0.0050182 | -0.0091915
2 | NO | 20.6863 | 32.4829 | 0.02406 | 131.483 | -0.005018 | -131.488
2 | NO | 9.9879 | 31.7983 | 0.0014902 | 130.798 | -0.0050178 | -130.803
2 | NO | 5.264 | 31.524 | 0.0090794 | 130.524 | -0.0050177 | -130.529
2 | NO | 0.97271 | 31.401 | 0.0016874 | 130.401 | -0.0050176 | -130.406
3 | YES | 167.147 | 33.8761 | 0.00025665 | -0.004673 | -0.0050209 | -0.00034792
3 | YES | 149.173 | 33.8769 | 0.00029207 | -0.0054474 | -0.0050206 | 0.00042682
3 | NO | 125.171 | 33.7367 | 0.0021471 | 132.737 | -0.0050201 | -132.742
3 | NO | 100.33 | 33.4447 | 0.0060076 | 132.445 | -0.0050196 | -132.45
3 | NO | 0 | 0 | 0 | 99 | -0.0050176 | -99.005
3 | NO | 0 | 0 | 0 | 99 | -0.0050176 | -99.005
3 | NO | 0 | 0 | 0 | 99 | -0.0050176 | -99.005
3 | NO | 0 | 0 | 0 | 99 | -0.0050176 | -99.005
3 | NO | 0 | 0 | 0 | 99 | -0.0050176 | -99.005
3 | NO | 0 | 0 | 0 | 99 | -0.0050176 | -99.005
3 | NO | 0 | 0 | 0 | 99 | -0.0050176 | -99.005
4 | NO | 211.983 | 31.5357 | 0.0093659 | 0.0014153 | -0.0050218 | -0.0064371
4 | NO | 211.939 | 31.5346 | 0.010069 | 0.044014 | -0.0050218 | -0.049036
4 | NO | 175.23 | 31.3838 | 0.0060695 | 130.384 | -0.0050211 | -130.389
4 | NO | 147.446 | 31.1028 | 0.0091927 | 130.103 | -0.0050205 | -130.108
4 | NO | 125.479 | 30.9879 | 0.0069348 | 129.988 | -0.0050201 | -129.993
4 | NO | 101.258 | 30.4992 | 0.0050554 | 129.499 | -0.0050196 | -129.504
4 | NO | 76.8852 | 30.264 | 0.0061854 | 129.264 | -0.0050191 | -129.269
4 | NO | 49.0326 | 29.9976 | 0.0086842 | 128.998 | -0.0050186 | -129.003
4 | NO | 40.3967 | 29.674 | 0.010063 | 128.674 | -0.0050184 | -128.679
4 | NO | 29.6052 | 29.6129 | 0.017499 | 128.613 | -0.0050182 | -128.618
4 | NO | 19.9066 | 29.478 | 0.0049806 | 128.478 | -0.005018 | -128.483
4 | NO | 10.5106 | 29.0655 | 0.013106 | 128.065 | -0.0050178 | -128.07
4 | NO | 5.2166 | 28.4442 | 0.038231 | 127.444 | -0.0050177 | -127.449
4 | NO | 0.79115 | 26.6616 | 0.087707 | 125.662 | -0.0050176 | -125.667
5 | YES | 369.809 | 31.1965 | 0.00035086 | -0.0017262 | -0.0050249 | -0.0032988
5 | YES | 349.58 | 31.1094 | 0.0002141 | -0.011803 | -0.0050245 | 0.0067782
5 | YES | 300.281 | 31.075 | 0.0013467 | -0.010021 | -0.0050235 | 0.0049977
5 | YES | 250.369 | 31.0159 | 0.00028017 | -0.0061493 | -0.0050226 | 0.0011267
5 | NO | 200.361 | 30.9871 | 0.00068065 | 129.987 | -0.0050216 | -129.992
5 | NO | 176.187 | 30.9385 | 0.00020007 | 129.939 | -0.0050211 | -129.944
5 | NO | 150.039 | 30.8595 | 0.00023647 | 129.86 | -0.0050206 | -129.865
5 | NO | 124.843 | 30.725 | 0.00033168 | 129.725 | -0.0050201 | -129.73
5 | NO | 100.447 | 30.4447 | 0.0046198 | 129.445 | -0.0050196 | -129.45
5 | NO | 75.2443 | 29.9853 | 0.0046671 | 128.985 | -0.0050191 | -128.99
5 | NO | 50.3552 | 29.3816 | 0.00059658 | 128.382 | -0.0050186 | -128.387
5 | NO | 40.1437 | 29.2493 | 0.0020537 | 128.249 | -0.0050184 | -128.254
5 | NO | 30.263 | 29.0007 | 0.00027659 | 128.001 | -0.0050182 | -128.006
5 | NO | 20.6037 | 28.5112 | 0.001324 | 127.511 | -0.005018 | -127.516
5 | NO | 10.3173 | 26.1758 | 0.0010621 | 125.176 | -0.0050178 | -125.181
5 | NO | 5.5985 | 24.7833 | 0.02495 | 123.783 | -0.0050177 | -123.788
5 | NO | 0.5891 | 24.5574 | 0.0003293 | 123.557 | -0.0050176 | -123.562
6 | YES | 339.429 | 31.1488 | 0.00039788 | -0.0022984 | -0.0050243 | -0.002726
6 | YES | 301.579 | 31.0642 | 0.00098156 | -0.0043869 | -0.0050236 | -0.00063667
6 | YES | 252.958 | 30.9832 | 0.00026722 | -0.0021687 | -0.0050226 | -0.002854
6 | YES | 200.598 | 30.9198 | 0.00024072 | -0.0030823 | -0.0050216 | -0.0019393
6 | NO | 175.461 | 30.912 | 0.00031608 | 129.912 | -0.0050211 | -129.917
6 | NO | 150.038 | 30.7894 | 0.00054949 | 129.789 | -0.0050206 | -129.794
6 | NO | 124.863 | 30.6073 | 0.00057304 | 129.607 | -0.0050201 | -129.612
6 | NO | 100.281 | 30.4423 | 0.0026691 | 129.442 | -0.0050196 | -129.447
6 | NO | 74.9895 | 30.1526 | 0.00060938 | 129.153 | -0.0050191 | -129.158
6 | NO | 50.5302 | 30.0359 | 0.0016013 | 129.036 | -0.0050186 | -129.041
6 | NO | 40.2435 | 29.7842 | 0.0010009 | 128.784 | -0.0050184 | -128.789
6 | NO | 30.7239 | 29.4581 | 0.0038291 | 128.458 | -0.0050182 | -128.463
6 | NO | 20.3156 | 29.2854 | 0.00041016 | 128.285 | -0.005018 | -128.29
6 | NO | 10.1853 | 27.7895 | 0.012188 | 126.789 | -0.0050178 | -126.794
6 | NO | 5.2896 | 25.6199 | 0.02376 | 124.62 | -0.0050177 | -124.625
6 | NO | 1.0569 | 21.7795 | 0.21267 | 120.779 | -0.0050176 | -120.784
7 | YES | 347.286 | 30.7941 | 0.00023662 | -0.0037041 | -0.0050245 | -0.0013204
7 | YES | 301.17 | 30.7876 | 0.00023314 | -0.003479 | -0.0050236 | -0.0015446
7 | YES | 250.836 | 30.7473 | 0.00031333 | -0.0061035 | -0.0050226 | 0.001081
7 | NO | 200.39 | 30.7004 | 0.00023015 | 129.7 | -0.0050216 | -129.705
7 | NO | 174.624 | 30.6824 | 0.00032291 | 129.682 | -0.0050211 | -129.687
7 | NO | 149.936 | 30.6509 | 0.00027257 | 129.651 | -0.0050206 | -129.656
7 | NO | 124.895 | 30.5722 | 0.00022429 | 129.572 | -0.0050201 | -129.577
7 | NO | 100.404 | 30.3648 | 0.0012288 | 129.365 | -0.0050196 | -129.37
7 | NO | 75.4655 | 30.1666 | 0.002021 | 129.167 | -0.0050191 | -129.172
7 | NO | 50.3568 | 29.5423 | 0.0019199 | 128.542 | -0.0050186 | -128.547
7 | NO | 40.0136 | 29.2814 | 0.004605 | 128.281 | -0.0050184 | -128.286
7 | NO | 30.6729 | 29.1766 | 0.0029102 | 128.177 | -0.0050182 | -128.182
7 | NO | 20.1438 | 28.7476 | 0.0014231 | 127.748 | -0.005018 | -127.753
7 | NO | 10.0725 | 28.3301 | 0.001884 | 127.33 | -0.0050178 | -127.335
7 | NO | 4.7263 | 26.5795 | 0.0042789 | 125.58 | -0.0050177 | -125.585
7 | NO | 1.0151 | 26.4869 | 0.0022315 | 125.487 | -0.0050176 | -125.492
8 | YES | 308.386 | 30.7465 | 0.00022553 | -0.0032158 | -0.0050237 | -0.0018079
8 | YES | 299.919 | 30.7452 | 0.00022625 | -0.004652 | -0.0050235 | -0.00037152
8 | YES | 250.297 | 30.7313 | 0.00055175 | -0.0076656 | -0.0050226 | 0.0026431
8 | NO | 199.525 | 30.6738 | 0.0011536 | 129.674 | -0.0050216 | -129.679
8 | NO | 175.149 | 30.6491 | 0.00026795 | 129.649 | -0.0050211 | -129.654
8 | NO | 150.474 | 30.5703 | 0.00040335 | 129.57 | -0.0050206 | -129.575
8 | NO | 125.212 | 30.5007 | 0.00029169 | 129.501 | -0.0050201 | -129.506
8 | NO | 100.292 | 30.4668 | 0.00089686 | 129.467 | -0.0050196 | -129.472
8 | NO | 75.5243 | 30.127 | 0.00090547 | 129.127 | -0.0050191 | -129.132
8 | NO | 49.8942 | 29.7661 | 0.00087876 | 128.766 | -0.0050186 | -128.771
8 | NO | 39.8696 | 29.4912 | 0.001095 | 128.491 | -0.0050184 | -128.496
8 | NO | 30.5057 | 29.3741 | 0.0010937 | 128.374 | -0.0050182 | -128.379
8 | NO | 20.0955 | 29.2047 | 0.0031313 | 128.205 | -0.005018 | -128.21
8 | NO | 10.3358 | 28.5092 | 0.016013 | 127.509 | -0.0050178 | -127.514
8 | NO | 4.9187 | 27.1235 | 0.0040637 | 126.124 | -0.0050177 | -126.129
8 | NO | 0.84824 | 27.0978 | 0.00047375 | 126.098 | -0.0050176 | -126.103
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Comp 2 | Sal_Bot | Sal1 |  | Sal1 - Sal_Bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
20270002.hyd | 20270002.sam | 113 | 225.923 | 225.958 | 0.28882 | 0.035477 | 32.5229 | 32.5222 | 0.0036256 | -0.00067139 | 32.5229 | 32.5144 | 0.0038447 | -0.0085068
20270002.hyd | 20270002.sam | 121 | 203.985 | 203.985 | 0.0759 | 7.6294e-05 | 32.4753 | 32.4266 | 0.014999 | -0.048737 | 32.4753 | 32.4165 | 0.012139 | -0.05883
20270002.hyd | 20270002.sam | 121 | 169.794 | 169.794 | 0.050863 | 0.00042725 | 31.8569 | 31.7854 | 0.044544 | -0.071459 | 31.8569 | 31.7676 | 0.038528 | -0.089287
20270002.hyd | 20270002.sam | 121 | 164.652 | 164.652 | 0.15271 | -0.0004425 | -99 | 31.714 | 0.019283 | 130.714 | -99 | 31.7054 | 0.015653 | 130.705
20270002.hyd | 20270002.sam | 121 | 132.43 | 132.43 | 0.18127 | 0.00036621 | -99 | 30.7786 | 0.015909 | 129.779 | -99 | 30.7644 | 0.015394 | 129.764
20270002.hyd | 20270002.sam | 121 | 98.359 | 98.3591 | 0.037989 | 0.00012207 | -99 | 30.1899 | 0.0072564 | 129.19 | -99 | 30.1812 | 0.0054104 | 129.181
20270002.hyd | 20270002.sam | 121 | 74.291 | 74.2914 | 0.039647 | 0.00035858 | -99 | 30.2324 | 0.021784 | 129.232 | -99 | 30.2166 | 0.014129 | 129.217
20270002.hyd | 20270002.sam | 121 | 50.137 | 50.1367 | 0.027958 | -0.00030518 | -99 | 30.1453 | 0.0030307 | 129.145 | -99 | 30.1377 | 0.0020293 | 129.138
20270002.hyd | 20270002.sam | 121 | 39.648 | 39.6482 | 0.030789 | 0.00021362 | -99 | 30.0944 | 0.0069144 | 129.094 | -99 | 30.0845 | 0.0052469 | 129.085
20270002.hyd | 20270002.sam | 121 | 30.114 | 30.1141 | 0.03146 | 0.00012398 | -99 | 30.0856 | 0.0030392 | 129.086 | -99 | 30.0749 | 0.0020479 | 129.075
20270002.hyd | 20270002.sam | 121 | 19.987 | 19.9874 | 0.05985 | 0.00040627 | -99 | 30.074 | 0.0019096 | 129.074 | -99 | 30.0639 | 0.00258 | 129.064
20270002.hyd | 20270002.sam | 121 | 9.783 | 9.7826 | 0.032855 | -0.00038815 | -99 | 30.0438 | 0.0022811 | 129.044 | -99 | 30.0359 | 0.0039707 | 129.036
20270002.hyd | 20270002.sam | 121 | 0.455 | 0.45524 | 0.048783 | 0.00023964 | -99 | 30.0216 | 0.00049248 | 129.022 | -99 | 30.0119 | 0.00027777 | 129.012
20270007.hyd | 20270007.sam | 121 | 241.754 | 241.754 | 0.17381 | 0.00027466 | 33.9406 | 33.9452 | 0.0002971 | 0.0045586 | 33.9406 | 33.9358 | 0.00025502 | -0.004837
20270007.hyd | 20270007.sam | 121 | 231.641 | 231.641 | 0.14117 | 0.00028992 | 33.9406 | 33.9445 | 0.00031337 | 0.0039482 | 33.9406 | 33.9356 | 0.00032727 | -0.0050011
20270007.hyd | 20270007.sam | 121 | 200.717 | 200.717 | 0.45266 | 0.00035095 | 33.9169 | 33.9194 | 0.00040087 | 0.0024796 | 33.9169 | 33.9106 | 0.00036158 | -0.0063477
20270007.hyd | 20270007.sam | 121 | 174.416 | 174.416 | 0.49916 | -0.00033569 | 33.8315 | 33.8318 | 0.00067132 | 0.00025559 | 33.8315 | 33.8229 | 0.00064351 | -0.0085793
20270007.hyd | 20270007.sam | 121 | 148.709 | 148.709 | 0.25059 | -0.0002594 | 33.826 | 33.8291 | 0.00033848 | 0.0031128 | 33.826 | 33.8204 | 0.0003151 | -0.0056
20270007.hyd | 20270007.sam | 121 | 123.255 | 123.255 | 0.42692 | -0.00015259 | 33.7723 | 33.7772 | 0.0008351 | 0.0049248 | 33.7723 | 33.7679 | 0.00099231 | -0.0043983
20270007.hyd | 20270007.sam | 121 | 100.494 | 100.494 | 0.15702 | -0.00048065 | 33.6949 | 33.7028 | 0.01017 | 0.0079231 | 33.6949 | 33.6908 | 0.0072552 | -0.0041351
20270007.hyd | 20270007.sam | 121 | 74.737 | 74.7366 | 0.50695 | -0.00043487 | 33.4524 | 33.4501 | 0.0012706 | -0.0023041 | 33.4524 | 33.4415 | 0.00084083 | -0.010872
20270007.hyd | 20270007.sam | 121 | 52.203 | 52.2034 | 0.33964 | 0.00038147 | 33.2882 | 33.3031 | 0.0032769 | 0.014877 | 33.2882 | 33.2921 | 0.0036866 | 0.0038643
20270007.hyd | 20270007.sam | 67 | 40.517 | 40.3862 | 0.561 | -0.13079 | 32.9883 | 33.0096 | 0.0071341 | 0.021336 | 32.9883 | 33.0005 | 0.0070337 | 0.012234
20270007.hyd | 20270007.sam | 121 | 30.514 | 30.5141 | 0.11705 | 6.6757e-05 | 32.7797 | 32.7877 | 0.0024501 | 0.0079689 | 32.7797 | 32.7839 | 0.0019729 | 0.0041733
20270007.hyd | 20270007.sam | 121 | 20.686 | 20.6863 | 0.47295 | 0.00030518 | -99 | 32.5005 | 0.026552 | 131.501 | -99 | 32.4829 | 0.02406 | 131.483
20270007.hyd | 20270007.sam | 121 | 9.988 | 9.9879 | 0.12623 | -6.5804e-05 | -99 | 31.8066 | 0.0022297 | 130.807 | -99 | 31.7983 | 0.0014902 | 130.798
20270007.hyd | 20270007.sam | 121 | 5.264 | 5.264 | 0.10227 | 2.4796e-05 | -99 | 31.5368 | 0.0092931 | 130.537 | -99 | 31.524 | 0.0090794 | 130.524
20270007.hyd | 20270007.sam | 121 | 0.973 | 0.97271 | 0.29562 | -0.00028926 | -99 | 31.4107 | 0.00093809 | 130.411 | -99 | 31.401 | 0.0016874 | 130.401
20270018.hyd | 20270018.sam | 112 | 167.063 | 167.147 | 0.5762 | 0.083847 | 33.8808 | 33.8853 | 0.00020592 | 0.0045242 | 33.8808 | 33.8761 | 0.00025665 | -0.004673
20270018.hyd | 20270018.sam | 121 | 149.173 | 149.173 | 0.17622 | -0.00019836 | 33.8823 | 33.8858 | 0.00025861 | 0.0035172 | 33.8823 | 33.8769 | 0.00029207 | -0.0054474
20270018.hyd | 20270018.sam | 121 | 125.171 | 125.171 | 0.29494 | 0.00025177 | -99 | 33.7507 | 0.014926 | 132.751 | -99 | 33.7367 | 0.0021471 | 132.737
20270018.hyd | 20270018.sam | 121 | 100.33 | 100.33 | 0.24529 | -0.00035095 | -99 | 33.4552 | 0.0067243 | 132.455 | -99 | 33.4447 | 0.0060076 | 132.445
20270018.hyd | 20270018.sam | 0 | 75.119 | 0 | 0 | -75.119 | -99 | 0 | 0 | 99 | -99 | 0 | 0 | 99
20270018.hyd | 20270018.sam | 0 | 50.314 | 0 | 0 | -50.314 | -99 | 0 | 0 | 99 | -99 | 0 | 0 | 99
20270018.hyd | 20270018.sam | 0 | 40.948 | 0 | 0 | -40.948 | -99 | 0 | 0 | 99 | -99 | 0 | 0 | 99
20270018.hyd | 20270018.sam | 0 | 30.627 | 0 | 0 | -30.627 | -99 | 0 | 0 | 99 | -99 | 0 | 0 | 99
20270018.hyd | 20270018.sam | 0 | 20.173 | 0 | 0 | -20.173 | -99 | 0 | 0 | 99 | -99 | 0 | 0 | 99
20270018.hyd | 20270018.sam | 0 | 10.224 | 0 | 0 | -10.224 | -99 | 0 | 0 | 99 | -99 | 0 | 0 | 99
20270018.hyd | 20270018.sam | 0 | 0.524 | 0 | 0 | -0.524 | -99 | 0 | 0 | 99 | -99 | 0 | 0 | 99
20270034.hyd | 20270034.sam | 227 | 212.339 | 211.983 | 0.39871 | -0.35614 | 31.5343 | 31.5471 | 0.01009 | 0.01276 | 31.5343 | 31.5357 | 0.0093659 | 0.0014153
20270034.hyd | 20270034.sam | 242 | 211.538 | 211.939 | 0.42307 | 0.40053 | 31.4906 | 31.5459 | 0.010759 | 0.055334 | 31.4906 | 31.5346 | 0.010069 | 0.044014
20270034.hyd | 20270034.sam | 121 | 175.23 | 175.23 | 0.06606 | -0.00048828 | -99 | 31.391 | 0.006171 | 130.391 | -99 | 31.3838 | 0.0060695 | 130.384
20270034.hyd | 20270034.sam | 121 | 147.446 | 147.446 | 0.13204 | 0.00015259 | -99 | 31.1122 | 0.0070429 | 130.112 | -99 | 31.1028 | 0.0091927 | 130.103
20270034.hyd | 20270034.sam | 121 | 125.479 | 125.479 | 0.11392 | 6.1035e-05 | -99 | 30.9953 | 0.0080114 | 129.995 | -99 | 30.9879 | 0.0069348 | 129.988
20270034.hyd | 20270034.sam | 121 | 101.258 | 101.258 | 0.035674 | 8.3923e-05 | -99 | 30.5093 | 0.0055293 | 129.509 | -99 | 30.4992 | 0.0050554 | 129.499
20270034.hyd | 20270034.sam | 121 | 76.885 | 76.8852 | 0.070267 | 0.00016785 | -99 | 30.2788 | 0.0095612 | 129.279 | -99 | 30.264 | 0.0061854 | 129.264
20270034.hyd | 20270034.sam | 121 | 49.033 | 49.0326 | 0.035222 | -0.00037384 | -99 | 30.0075 | 0.010655 | 129.007 | -99 | 29.9976 | 0.0086842 | 128.998
20270034.hyd | 20270034.sam | 121 | 40.397 | 40.3967 | 0.054951 | -0.00033188 | -99 | 29.6848 | 0.01672 | 128.685 | -99 | 29.674 | 0.010063 | 128.674
20270034.hyd | 20270034.sam | 121 | 29.605 | 29.6052 | 0.027917 | 0.00024033 | -99 | 29.62 | 0.023728 | 128.62 | -99 | 29.6129 | 0.017499 | 128.613
20270034.hyd | 20270034.sam | 121 | 19.907 | 19.9066 | 0.032075 | -0.00039673 | -99 | 29.4874 | 0.0052927 | 128.487 | -99 | 29.478 | 0.0049806 | 128.478
20270034.hyd | 20270034.sam | 121 | 10.511 | 10.5106 | 0.029919 | -0.00039578 | -99 | 29.0701 | 0.013317 | 128.07 | -99 | 29.0655 | 0.013106 | 128.065
20270034.hyd | 20270034.sam | 121 | 5.217 | 5.2166 | 0.02469 | -0.00042963 | -99 | 28.4768 | 0.038892 | 127.477 | -99 | 28.4442 | 0.038231 | 127.444
20270034.hyd | 20270034.sam | 121 | 0.791 | 0.79115 | 0.024032 | 0.00014877 | -99 | 26.6123 | 0.12044 | 125.612 | -99 | 26.6616 | 0.087707 | 125.662
20270049.hyd | 20270049.sam | 121 | 369.809 | 369.809 | 0.051193 | -0.00045776 | 31.1982 | 31.2051 | 0.00033329 | 0.0069103 | 31.1982 | 31.1965 | 0.00035086 | -0.0017262
20270049.hyd | 20270049.sam | 121 | 349.58 | 349.58 | 0.034115 | -0.00021362 | 31.1212 | 31.1185 | 0.00022303 | -0.0026913 | 31.1212 | 31.1094 | 0.0002141 | -0.011803
20270049.hyd | 20270049.sam | 121 | 300.281 | 300.281 | 0.031892 | -0.00033569 | 31.085 | 31.0856 | 0.0013049 | 0.0006218 | 31.085 | 31.075 | 0.0013467 | -0.010021
20270049.hyd | 20270049.sam | 121 | 250.369 | 250.369 | 0.024232 | -0.00039673 | 31.022 | 31.0251 | 0.00058959 | 0.0030899 | 31.022 | 31.0159 | 0.00028017 | -0.0061493
20270049.hyd | 20270049.sam | 121 | 200.361 | 200.361 | 0.035123 | -0.00030518 | -99 | 30.9955 | 0.00070529 | 129.995 | -99 | 30.9871 | 0.00068065 | 129.987
20270049.hyd | 20270049.sam | 121 | 176.187 | 176.187 | 0.029292 | 0.00015259 | -99 | 30.9482 | 0.0001943 | 129.948 | -99 | 30.9385 | 0.00020007 | 129.939
20270049.hyd | 20270049.sam | 121 | 150.039 | 150.039 | 0.047093 | 0.00013733 | -99 | 30.8691 | 0.0002248 | 129.869 | -99 | 30.8595 | 0.00023647 | 129.86
20270049.hyd | 20270049.sam | 121 | 124.843 | 124.843 | 0.040708 | -5.3406e-05 | -99 | 30.7345 | 0.0003373 | 129.735 | -99 | 30.725 | 0.00033168 | 129.725
20270049.hyd | 20270049.sam | 121 | 100.447 | 100.447 | 0.037754 | -0.00048828 | -99 | 30.44 | 0.0050718 | 129.44 | -99 | 30.4447 | 0.0046198 | 129.445
20270049.hyd | 20270049.sam | 121 | 75.244 | 75.2443 | 0.036709 | 0.00029755 | -99 | 29.9845 | 0.0087658 | 128.984 | -99 | 29.9853 | 0.0046671 | 128.985
20270049.hyd | 20270049.sam | 121 | 50.355 | 50.3552 | 0.039049 | 0.00021744 | -99 | 29.3911 | 0.00058926 | 128.391 | -99 | 29.3816 | 0.00059658 | 128.382
20270049.hyd | 20270049.sam | 121 | 40.144 | 40.1437 | 0.025552 | -0.00033951 | -99 | 29.2581 | 0.002836 | 128.258 | -99 | 29.2493 | 0.0020537 | 128.249
20270049.hyd | 20270049.sam | 121 | 30.263 | 30.263 | 0.036977 | 7.6294e-06 | -99 | 29.0106 | 0.00038282 | 128.011 | -99 | 29.0007 | 0.00027659 | 128.001
20270049.hyd | 20270049.sam | 121 | 20.604 | 20.6037 | 0.030591 | -0.00032997 | -99 | 28.5207 | 0.00092681 | 127.521 | -99 | 28.5112 | 0.001324 | 127.511
20270049.hyd | 20270049.sam | 121 | 10.317 | 10.3173 | 0.037476 | 0.00028038 | -99 | 26.1869 | 0.0025466 | 125.187 | -99 | 26.1758 | 0.0010621 | 125.176
20270049.hyd | 20270049.sam | 121 | 5.599 | 5.5985 | 0.032318 | -0.00047922 | -99 | 24.8059 | 0.027539 | 123.806 | -99 | 24.7833 | 0.02495 | 123.783
20270049.hyd | 20270049.sam | 121 | 0.589 | 0.5891 | 0.034434 | 9.9182e-05 | -99 | 24.5669 | 0.00020538 | 123.567 | -99 | 24.5574 | 0.0003293 | 123.557
20270052.hyd | 20270052.sam | 121 | 339.429 | 339.429 | 0.057482 | -0.00015259 | 31.1511 | 31.1581 | 0.0002914 | 0.0069656 | 31.1511 | 31.1488 | 0.00039788 | -0.0022984
20270052.hyd | 20270052.sam | 121 | 301.579 | 301.579 | 0.060544 | 0.00015259 | 31.0686 | 31.0735 | 0.0014662 | 0.0048943 | 31.0686 | 31.0642 | 0.00098156 | -0.0043869
20270052.hyd | 20270052.sam | 121 | 252.958 | 252.958 | 0.10794 | 6.1035e-05 | 30.9854 | 30.9924 | 0.00023956 | 0.0069752 | 30.9854 | 30.9832 | 0.00026722 | -0.0021687
20270052.hyd | 20270052.sam | 121 | 200.598 | 200.598 | 0.11205 | 0.00039673 | 30.9229 | 30.929 | 0.00025144 | 0.0060921 | 30.9229 | 30.9198 | 0.00024072 | -0.0030823
20270052.hyd | 20270052.sam | 121 | 175.461 | 175.461 | 0.076915 | 0.00024414 | -99 | 30.9215 | 0.000429 | 129.922 | -99 | 30.912 | 0.00031608 | 129.912
20270052.hyd | 20270052.sam | 121 | 150.038 | 150.038 | 0.051568 | 0.00047302 | -99 | 30.7985 | 0.00055629 | 129.799 | -99 | 30.7894 | 0.00054949 | 129.789
20270052.hyd | 20270052.sam | 121 | 124.863 | 124.863 | 0.076561 | 0.00036621 | -99 | 30.6171 | 0.00046469 | 129.617 | -99 | 30.6073 | 0.00057304 | 129.607
20270052.hyd | 20270052.sam | 121 | 100.281 | 100.281 | 0.053125 | -0.00049591 | -99 | 30.4545 | 0.0022033 | 129.455 | -99 | 30.4423 | 0.0026691 | 129.442
20270052.hyd | 20270052.sam | 121 | 74.99 | 74.9895 | 0.070717 | -0.00048065 | -99 | 30.1624 | 0.00047091 | 129.162 | -99 | 30.1526 | 0.00060938 | 129.153
20270052.hyd | 20270052.sam | 121 | 50.53 | 50.5302 | 0.045745 | 0.0001564 | -99 | 30.0492 | 0.0040224 | 129.049 | -99 | 30.0359 | 0.0016013 | 129.036
20270052.hyd | 20270052.sam | 121 | 40.243 | 40.2435 | 0.041242 | 0.00047684 | -99 | 29.7956 | 0.00083579 | 128.796 | -99 | 29.7842 | 0.0010009 | 128.784
20270052.hyd | 20270052.sam | 121 | 30.724 | 30.7239 | 0.087224 | -0.00013351 | -99 | 29.4679 | 0.0046264 | 128.468 | -99 | 29.4581 | 0.0038291 | 128.458
20270052.hyd | 20270052.sam | 121 | 20.316 | 20.3156 | 0.03864 | -0.00042152 | -99 | 29.2952 | 0.00046069 | 128.295 | -99 | 29.2854 | 0.00041016 | 128.285
20270052.hyd | 20270052.sam | 121 | 10.185 | 10.1853 | 0.037648 | 0.00031376 | -99 | 27.8018 | 0.012758 | 126.802 | -99 | 27.7895 | 0.012188 | 126.789
20270052.hyd | 20270052.sam | 121 | 5.29 | 5.2896 | 0.064516 | -0.00042963 | -99 | 25.6667 | 0.060028 | 124.667 | -99 | 25.6199 | 0.02376 | 124.62
20270052.hyd | 20270052.sam | 121 | 1.057 | 1.0569 | 0.030103 | -0.00014055 | -99 | 21.6573 | 0.15118 | 120.657 | -99 | 21.7795 | 0.21267 | 120.779
20270067.hyd | 20270067.sam | 121 | 347.286 | 347.286 | 0.064633 | 0.00033569 | 30.7978 | 30.8034 | 0.00021101 | 0.0055599 | 30.7978 | 30.7941 | 0.00023662 | -0.0037041
20270067.hyd | 20270067.sam | 121 | 301.17 | 301.17 | 0.03758 | 0.00039673 | 30.7911 | 30.797 | 0.00018827 | 0.0058708 | 30.7911 | 30.7876 | 0.00023314 | -0.003479
20270067.hyd | 20270067.sam | 121 | 250.836 | 250.836 | 0.044958 | 0.0002594 | 30.7534 | 30.7568 | 0.00032517 | 0.0033741 | 30.7534 | 30.7473 | 0.00031333 | -0.0061035
20270067.hyd | 20270067.sam | 121 | 200.39 | 200.39 | 0.045346 | -0.00041199 | -99 | 30.7098 | 0.00022341 | 129.71 | -99 | 30.7004 | 0.00023015 | 129.7
20270067.hyd | 20270067.sam | 121 | 174.624 | 174.624 | 0.053648 | 0.00035095 | -99 | 30.6922 | 0.00032667 | 129.692 | -99 | 30.6824 | 0.00032291 | 129.682
20270067.hyd | 20270067.sam | 121 | 149.936 | 149.936 | 0.066281 | -0.00012207 | -99 | 30.6606 | 0.00025576 | 129.661 | -99 | 30.6509 | 0.00027257 | 129.651
20270067.hyd | 20270067.sam | 121 | 124.895 | 124.895 | 0.063168 | 0.00030518 | -99 | 30.5819 | 0.000214 | 129.582 | -99 | 30.5722 | 0.00022429 | 129.572
20270067.hyd | 20270067.sam | 121 | 100.404 | 100.404 | 0.050669 | 9.9182e-05 | -99 | 30.3755 | 0.0015562 | 129.376 | -99 | 30.3648 | 0.0012288 | 129.365
20270067.hyd | 20270067.sam | 121 | 75.466 | 75.4655 | 0.06701 | -0.00046539 | -99 | 30.178 | 0.002697 | 129.178 | -99 | 30.1666 | 0.002021 | 129.167
20270067.hyd | 20270067.sam | 121 | 50.357 | 50.3568 | 0.037123 | -0.00019836 | -99 | 29.5531 | 0.0014497 | 128.553 | -99 | 29.5423 | 0.0019199 | 128.542
20270067.hyd | 20270067.sam | 121 | 40.014 | 40.0136 | 0.029833 | -0.00043106 | -99 | 29.295 | 0.002677 | 128.295 | -99 | 29.2814 | 0.004605 | 128.281
20270067.hyd | 20270067.sam | 121 | 30.673 | 30.6729 | 0.049936 | -5.9128e-05 | -99 | 29.1862 | 0.0046639 | 128.186 | -99 | 29.1766 | 0.0029102 | 128.177
20270067.hyd | 20270067.sam | 121 | 20.144 | 20.1438 | 0.056992 | -0.00020599 | -99 | 28.7585 | 0.0018185 | 127.759 | -99 | 28.7476 | 0.0014231 | 127.748
20270067.hyd | 20270067.sam | 121 | 10.072 | 10.0725 | 0.030499 | 0.00047111 | -99 | 28.3396 | 0.001141 | 127.34 | -99 | 28.3301 | 0.001884 | 127.33
20270067.hyd | 20270067.sam | 121 | 4.726 | 4.7263 | 0.040981 | 0.00028944 | -99 | 26.5848 | 0.0084866 | 125.585 | -99 | 26.5795 | 0.0042789 | 125.58
20270067.hyd | 20270067.sam | 121 | 1.015 | 1.0151 | 0.047807 | 0.00010741 | -99 | 26.4985 | 0.0032331 | 125.499 | -99 | 26.4869 | 0.0022315 | 125.487
20270069.hyd | 20270069.sam | 121 | 308.386 | 308.386 | 0.044788 | 0.00030518 | 30.7497 | 30.7561 | 0.00028967 | 0.0063858 | 30.7497 | 30.7465 | 0.00022553 | -0.0032158
20270069.hyd | 20270069.sam | 121 | 299.919 | 299.919 | 0.041334 | -0.00027466 | 30.7499 | 30.7548 | 0.00022646 | 0.0049458 | 30.7499 | 30.7452 | 0.00022625 | -0.004652
20270069.hyd | 20270069.sam | 121 | 250.297 | 250.297 | 0.035191 | 0.00030518 | 30.739 | 30.7411 | 0.00060619 | 0.0021 | 30.739 | 30.7313 | 0.00055175 | -0.0076656
20270069.hyd | 20270069.sam | 121 | 199.525 | 199.525 | 0.027469 | 0.00032043 | -99 | 30.6843 | 0.00086751 | 129.684 | -99 | 30.6738 | 0.0011536 | 129.674
20270069.hyd | 20270069.sam | 121 | 175.149 | 175.149 | 0.034151 | 0.00024414 | -99 | 30.6587 | 0.0004097 | 129.659 | -99 | 30.6491 | 0.00026795 | 129.649
20270069.hyd | 20270069.sam | 121 | 150.474 | 150.474 | 0.03056 | -0.00016785 | -99 | 30.5801 | 0.00051163 | 129.58 | -99 | 30.5703 | 0.00040335 | 129.57
20270069.hyd | 20270069.sam | 121 | 125.212 | 125.212 | 0.037731 | -0.00038147 | -99 | 30.5105 | 0.00022883 | 129.51 | -99 | 30.5007 | 0.00029169 | 129.501
20270069.hyd | 20270069.sam | 121 | 100.292 | 100.292 | 0.037343 | 0.00023651 | -99 | 30.4774 | 0.00091588 | 129.477 | -99 | 30.4668 | 0.00089686 | 129.467
20270069.hyd | 20270069.sam | 121 | 75.524 | 75.5243 | 0.034826 | 0.00032806 | -99 | 30.1363 | 0.00096674 | 129.136 | -99 | 30.127 | 0.00090547 | 129.127
20270069.hyd | 20270069.sam | 121 | 49.894 | 49.8942 | 0.033376 | 0.00016403 | -99 | 29.7755 | 0.00088351 | 128.776 | -99 | 29.7661 | 0.00087876 | 128.766
20270069.hyd | 20270069.sam | 121 | 39.87 | 39.8696 | 0.034061 | -0.0003624 | -99 | 29.5028 | 0.0014761 | 128.503 | -99 | 29.4912 | 0.001095 | 128.491
20270069.hyd | 20270069.sam | 121 | 30.506 | 30.5057 | 0.029296 | -0.00034714 | -99 | 29.3838 | 0.0015735 | 128.384 | -99 | 29.3741 | 0.0010937 | 128.374
20270069.hyd | 20270069.sam | 121 | 20.095 | 20.0955 | 0.029867 | 0.00048828 | -99 | 29.2162 | 0.0038056 | 128.216 | -99 | 29.2047 | 0.0031313 | 128.205
20270069.hyd | 20270069.sam | 121 | 10.336 | 10.3358 | 0.029236 | -0.00018215 | -99 | 28.5212 | 0.012158 | 127.521 | -99 | 28.5092 | 0.016013 | 127.509
20270069.hyd | 20270069.sam | 121 | 4.919 | 4.9187 | 0.024038 | -0.00028086 | -99 | 27.1337 | 0.0055094 | 126.134 | -99 | 27.1235 | 0.0040637 | 126.124
20270069.hyd | 20270069.sam | 121 | 0.848 | 0.84824 | 0.027481 | 0.00023967 | -99 | 27.1071 | 0.00075846 | 126.107 | -99 | 27.0978 | 0.00047375 | 126.098
Create Fit Sheet