CRUISE 2000-34

NOTE: In the log book the local time and date were used for the first 59 casts instead of the UTC time and date.

- ABORTED CASTS:

2034000t

20340011

20340035

- STATIONS WITH WRONG NAME IN HEADER:

20340007: should be station EP01, labelled LP07 in the file.

20340050: should be XO04, labelled QC01 in the file.

- DEEP SALINITY SAMPLES FOR CALIBRATION:

Cast 20340026, Station TI14, at ~1010 m

Cast 20340052, Station XO06, at ~248 m

Cast 20340069, Station FI12, at ~1010 m

Cast 20340107, Station NI10, at ~1020 m

Cast 20340108, Station NI11, at ~1011 m

Cast 20340114, Station XO33, at ~360 m

Cast 20340127, Station XO49, at ~220 m

Cast 20340131, Station RI01, at ~180 m

Note: casts 53, 54, 55, and 60 to 138 had a Niskin bottle taken at 3 m. For the casts 60 to 138, 2 nutrient samples and 2 chlorophyll samples were taken from the bottle.