## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |

PROCESSING NOTES

Cruise: 2001-01

Agency: OSAP

Location: Strait of Georgia

Project: SoG

Party Chief: Diane Masson

Platform: CCGS VECTOR

Date: January 10, 2001 – January 16, 2001

Processed by: Germaine Gatien

Date of Processing: May 1, 2001 – May 15, 2001

Number of original CTD casts: 77

Number of casts processed: 77

INSTRUMENT SUMMARY

A SeaBird Model SBE 911+ CTD  (#0550) was mounted with Transmissometer 333D. The deck unit was Seabird 11+, s/n 0508.

SUMMARY OF QUALITY AND CONCERNS

The data was in good order.

PROCESSING SUMMARY

1. Seasave - This step was completed at sea; the raw data files have extension DAT.

2. Preliminary Steps

The Log Book was obtained.

Salinity calibration data was obtained.

The cruise summary sheet was completed.

The configuration files were obtained and the calibration constants were checked.

The sensor history was found.

- Conversion of Raw Data

Converting the raw data required some editing of the configuration files. For all casts the entry for “Lat/Lon Data Added by NMEA Interface” was changed from YES to NO and for casts #17-77  the “Number of Voltage Words to Suppress” was changed from 1 to 2. The resulting con files, named 0550TEST.CON and 0550TES2.CON, were used for casts 1-17 and 17-77 respectively.

An initial examination of the data shows all expected channels present. Cast #2 looks strange. Otherwise the temperature and salinity pairs track well and the upcasts and downcasts look reasonably similar.

4. STRIP

The salinity channel was stripped from the CNV files so that DERIVE doesn’t create a 2nd set of salinity channels.

5. ALIGNCTD

The deck unit used for this mission advances both conductivity channels by 0.073s. The same equipment was used during cruise 2001-06 in early February, 2001 and the deck unit setting was found to be the best choice. A test was done on cast #12 and it was found that the deck setting worked best for the primary salinity, but that the secondary was improved by using an advancement of –0.023s, for a net advancement of 0.050s. A second cast was checked (#74) and the improvement was much less striking but noticeable. So the primary conductivity will be adjusted using –0.023s.

6. WILDEDIT

Program WILDEDIT was used to remove spikes in Pressure.  Parameters used were:

Pass 1    Std Dev = 2

Pass 2    Std Dev = 5

Points per block = 50

7. CELLTM

The conductivity cell thermal mass correction was done for both channels (alpha = 0.03; 1/beta = 9.0.)

8. DERIVE

Program DERIVE was run twice:

- on all casts to calculate primary and secondary salinity.

- on all casts to calculate the differences between primary and secondary channels for temperature, conductivity and salinity and to calculate the descent rate. These were placed in a test directory and will not be archived.

9. Test Plots and Channel Check

A sample of casts (#12,43,50 and 55) was plotted to check for agreement between the pairs of T and C sensors. The differences in temperature, conductivity and salinity were found to average at about 0C,     -0.0005units and –0.005units, respectively below 200m; the negative values indicate that the primary sensors gave higher values. The temperature differences were extremely noisy. The deepest comparison was at only 422db. During cruise 2001-06 the same instruments were used at up to 4000db and the differences were found to be –0.0008C, -0.0005units and –0.005units.

All casts were examined on-screen and all expected channels were present, the pairs of sensors were in good agreement and the downcasts and upcasts were in reasonable agreement given the region. The only problem noted was for cast #2. It was noted in the log that the CTD was lowered part-way, returned to the surface and the full cast run after that. A text editor was used to remove the initial downcast section so that DELETE will select the correct data.

The descent rate was noisy for casts #5-16, 23-25 and 61 and there was a bad section in cast #32.

10.  Conversion to IOS Headers

The IOSSHELL routine was used to convert SEA-Bird 911+ data to IOS Headers. Errors in headers in some files had to be corrected before this step was successful.

The ROS files were converted to IOS files, and the extensions were changed to BOT.

11. Checking Headers

The cruise track was plotted and one error in position found and corrected.

A header summary and header check were produced and two errors in station names corrected.

CLEAN was run to replace pad values in Pressure with interpolated values. The surface check was run. The average surface pressure is 1.1db.

12. DELETE

The following DELETE parameters were used:

Surface Record Removal: Last Press Min

Maximum Surface Pressure (relative): 20.00

Surface Swell Pressure Tolerance: 0.5

Pressure filtered over 15 points

Swells deleted. Warning message if pressure difference of 2.00

Drop rates < 0.3m/s (calculated over 15 points) was deleted.

Sample interval =  .04 seconds.

COMMENTS ON WARNINGS: No warnings

All DEL files were copied to EDT files.

13. COMPARE

Compare indicates that the primary salinity is high by 0.0004units and the secondary low by 0.004units. This was based on only 10 samples, none below 400m. The differences do not appear to have varied with time. The 3 deepest bottles give differences of +0.0015units and –0.0029units.

The details of the comparison were checked for indications of errors in the hydro files. The bottles from casts #32 and #65 are out of line with other casts, with the deeper sample at each site giving high values and the sample 12-15m above giving low values.

- DETAILED EDITING

There is little difference in noise level for the two sets of sensors. The primary sensors were found to be closest to bottles for 2001-06 when there were more and deeper bottle comparisons available. So T0, S0 were chosen for further processing for this cruise.

Page plots were produced using T0,S0 for all casts. These plots were examined for spikes and instabilities and used to guide the use of CTDEDIT.

T and/or S were edited near the surface and/or bottom for the following casts: #3,22,23,27,33-35,37, 39,44,49,56,62,66,70-72,74.

More extensive editing was done to the following casts: #1,5-8,11-16,32,40,42,50-53,57-61,63-65,68, 69.

The data for cast #32 is suspicious from 132-150db. There are several ways one could interpret the sharp changes in T and S. There is a sharp change around 133db that looks believable, then another at 135db. The data from 135-148 is probably bad, but since this is an area of large horizontal variation it is not clear. The upcast data is smooth through these depths. There is a note in the log that there were problems with the wrapping of the cable resulting in some spiking and the pressure record shows that the CTD reversed direction around 135db. (See plots in Processing section of the report.)

Note was made of the editing details in the relevant files. The edited files were copied to EDT files so that a complete set of files exists with either edited data or data that does not require editing.

Plots of temperature and salinity vs record # for the BOT files were examined to check for any bad values in these files. No problems were found.

15. BIN AVERAGE

The following Bin Average values were used for EDT files:

Bin channel = pressure

Averaging interval = 1.000

Minimum bin value =   .000

Average value will be used

Interpolated values are NOT used for empty bins

The same values were used for the BOT files except that the Bin Channel = Bottle Number.

16. Other comparisons

Previous experience with these sensors – Since the latest calibration these sensors were used in Feb. 2001 (2001-06). At that time the primary sensors gave salinity high by +0.0011units and the secondary gave values low by 0.0047units. There were a lot of deep bottles during that cruise.

Historic ranges – Plots were made of a few casts where ranges were available and all data fell within the ranges. (See plots in Processing section of the report.)

Comparison of nearby casts – Overlaid T-S plots were made for casts 41-44 (stations 43-TM3). They are reasonably close given that large differences are expected in this region. (See plot in Processing Section of Report.)

17. Recalibration

Given the limited bottle data available for this cruise and the fact that it is reasonably close to the results for the same equipment when used during 2001-06 it was decided to recalibrate using the same values used then. File 2101rcal.ccf was used to recalibrate the data (including the rosette files) as follows:

- primary salinity – decrease by 0.0011units

- secondary salinity – increase by 0.0047units

18. Final Plots

THIN and DERIVE were run to obtain values for tables and page plots were prepared using the edited data

19. REMOVE and REORDER

The following channels were removed from all casts: Scan_Number, Secondary Temperature, Secondary Salinity, Conductivity:Primary, Conductivity:Secondary and Flag.

The channels were reordered and data format corrected as needed.

The final data files were named CTD.

The channels for the rosette files were also reordered but only Conductivity:Primary, Conductivity:Secondary and Flag channels were removed.

The final rosette files were renamed RAC.

20. Producing final files

a.) A cross-reference listing was produced.

b.) The sensor history was updated.

### Particulars

21010002 – CTD lowered part-way, returned to the surface and started again. Editor used to remove first downcast section.

21010032 – Some problems with wrapping of cable; area of high horizontal variability. Spikes at 135db may be due to cable problem. Questionable data from 132-150db.

21010043 – CTD hit bottom.

# Institute of Ocean Sciences

CRUISE SUMMARY

Cruise ID#: 2001- 01

Dates: Start: 10 January 2001 End: 16 January 2001

Location: Strait of Georgia/ Juan de Fuca Strait

Vessel: CCGS VECTOR

Party Chief: Diane Masson

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 911+ | 0550 | Yes | Yes |

Institute of Ocean Sciences

# CTD Calibration Information

Make/Model/Serial#:	SEABIRD/911+/	0550

Cruise ID#:		2001-01

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 2374 | 02/05/00 | Factory |  |  |
| Conductivity | 1764 | 28/09/00 | “ |  |  |
| Secondary Temp. | 2668 | 07/03/00 | “ |  |  |
| Secondary Cond. | 2102 | 28/09/00 | “ |  |  |
| Transmissometer | 333D | 14/07/00 | IOS |  |  |
| Pressure Sensor | 75636 | 04/03/99 | Factory |  |  |

Sensor Calibration Notes:

The configuration file used is attached; this includes the sensor calibrations.