## File List
Number of Files= |  | 4
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 21040004.sal | 21040004.sam | 12 | 12 | 21040004.sal & 21040004.sam
2 | 21040006.sal | 21040006.sam | 14 | 15 | 21040006.sal & 21040006.sam
3 | 21040008.sal | 21040008.sam | 17 | 19 | 21040008.sal & 21040008.sam
4 | 21040018.sal | 21040018.sam | 21 | 22 | 21040018.sal & 21040018.sam

## (sal0 - Sal_bot)
Calculation of Linear Least Squares Fit For
(sal0 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (sal0 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0052114 |  | X | CALC Y
m= | -1.421e-06 | 8.0151e-06 |  | Std Dev of Resid |  | 0.0018271 |  | 199.95 | -0.019762
b= | -0.019478 | 0.002571 |  | Resid Sum of Squares |  | 2.003e-05 |  | 462.39 | -0.020135
# of Values Extracted = |  |  | 8
# of Values Used in Fit = |  |  | 8
File | Use | Pressure | sal0 | sal0 | Diff (sal0 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 235.213 | 31.062 | 0.00037812 | -0.016178 | -0.019812 | -0.0036339 |  | 235.213 | -0.016178
2 | YES | 259.715 | 31.1774 | 0.00019098 | -0.020239 | -0.019847 | 0.00039211 |  | 259.715 | -0.020239
2 | YES | 199.95 | 31.1715 | 0.00020781 | -0.020575 | -0.019762 | 0.00081274 |  | 199.95 | -0.020575
3 | YES | 462.39 | 32.2085 | 0.00019265 | -0.019169 | -0.020135 | -0.00096589 |  | 462.39 | -0.019169
3 | YES | 399.84 | 32.2064 | 0.00018013 | -0.020023 | -0.020046 | -2.2608e-05 |  | 399.84 | -0.020023
3 | YES | 300.077 | 32.1877 | 0.00018912 | -0.021927 | -0.019904 | 0.0020228 |  | 300.077 | -0.021927
4 | YES | 325.981 | 31.3268 | 0.00022805 | -0.020719 | -0.019941 | 0.00077855 |  | 325.981 | -0.020719
4 | YES | 300.662 | 31.3226 | 0.00034397 | -0.020521 | -0.019905 | 0.00061622 |  | 300.662 | -0.020521
-0.019919
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (sal1 - Sal_bot)
Calculation of Linear Least Squares Fit For
(sal1 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (sal1 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.024201 |  | X | CALC Y
m= | -3.0178e-06 | 7.823e-06 |  | Std Dev of Resid |  | 0.0017833 |  | 199.95 | -0.017095
b= | -0.016491 | 0.0025094 |  | Resid Sum of Squares |  | 1.9082e-05 |  | 462.39 | -0.017887
# of Values Extracted = |  |  | 8
# of Values Used in Fit = |  |  | 8
File | Use | Pressure | sal1 | sal1 | Diff (sal1 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 235.213 | 31.0644 | 0.0018159 | -0.013782 | -0.017201 | -0.0034188 |  | 235.213 | -0.013782
2 | YES | 259.715 | 31.1802 | 0.0021261 | -0.017403 | -0.017275 | 0.00012741 |  | 259.715 | -0.017403
2 | YES | 199.95 | 31.1743 | 0.001735 | -0.01778 | -0.017095 | 0.00068547 |  | 199.95 | -0.01778
3 | YES | 462.39 | 32.2108 | 0.0020413 | -0.016857 | -0.017887 | -0.0010297 |  | 462.39 | -0.016857
3 | YES | 399.84 | 32.2087 | 0.0016399 | -0.017662 | -0.017698 | -3.6063e-05 |  | 399.84 | -0.017662
3 | YES | 300.077 | 32.19 | 0.0011644 | -0.019562 | -0.017397 | 0.0021648 |  | 300.077 | -0.019562
4 | YES | 325.981 | 31.3292 | 0.00047726 | -0.018339 | -0.017475 | 0.00086403 |  | 325.981 | -0.018339
4 | YES | 300.662 | 31.3251 | 0.002129 | -0.018042 | -0.017399 | 0.00064284 |  | 300.662 | -0.018042
-0.017428
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3
| Primary | Secondary |  | Comparison Name
Ref | pressure | Pressure |  | Pressure - pressure
Comp 1 | Sal_bot | sal0 |  | sal0 - Sal_bot
Comp 2 | Sal_bot | sal1 |  | sal1 - Sal_bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | pressure | Pressure | Pressure | (S-P) | sal_bot | sal0 | sal0 | (S-P) | sal_bot | sal1 | sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
21040004.sal | 21040004.sam | 121 | 235 | 235.213 | 0.043142 | 0.2133 | 31.0782 | 31.062 | 0.00037812 | -0.016178 | 31.0782 | 31.0644 | 0.0018159 | -0.013782
21040006.sal | 21040006.sam | 121 | 259 | 259.715 | 0.022084 | 0.71539 | 31.1976 | 31.1774 | 0.00019098 | -0.020239 | 31.1976 | 31.1802 | 0.0021261 | -0.017403
21040006.sal | 21040006.sam | 121 | 200 | 199.95 | 0.021676 | -0.050034 | 31.1921 | 31.1715 | 0.00020781 | -0.020575 | 31.1921 | 31.1743 | 0.001735 | -0.01778
21040008.sal | 21040008.sam | 121 | 462 | 462.39 | 0.028962 | 0.39014 | 32.2277 | 32.2085 | 0.00019265 | -0.019169 | 32.2277 | 32.2108 | 0.0020413 | -0.016857
21040008.sal | 21040008.sam | 121 | 400 | 399.84 | 0.025909 | -0.15951 | 32.2264 | 32.2064 | 0.00018013 | -0.020023 | 32.2264 | 32.2087 | 0.0016399 | -0.017662
21040008.sal | 21040008.sam | 121 | 300 | 300.077 | 0.023914 | 0.076752 | 32.2096 | 32.1877 | 0.00018912 | -0.021927 | 32.2096 | 32.19 | 0.0011644 | -0.019562
21040018.sal | 21040018.sam | 5 | 325 | 325.981 | 0.011299 | 0.9812 | 31.3475 | 31.3268 | 0.00022805 | -0.020719 | 31.3475 | 31.3292 | 0.00047726 | -0.018339
21040018.sal | 21040018.sam | 121 | 300 | 300.662 | 0.027768 | 0.66214 | 31.3431 | 31.3226 | 0.00034397 | -0.020521 | 31.3431 | 31.3251 | 0.002129 | -0.018042
Create Fit Sheet