## Final Data 2001-06
Iron III Data for Cruise 2001-06 | [27 empty] | For Graphing:
Cruise: | [6 empty] | 2001-06
Ship | [6 empty] | CCGS John P Tully
Dates | [6 empty] | Feb 5-22, 2001
Chief Scientist | [6 empty] | Marie Robert
Iron Analyst |  |  |  | IOS: |  |  | Nes Sutherland & Keith Johnson
For Methods and Explanation of Abbreviations please see Metadata Sheet
Flags & Abbreviations
1 | Sample for this measurement was drawn from water bottle but not analyzed - in storage, available for future analysis
3 | Questionable measurement (no problem observed in sampling or analysis, but value is not trusted, nonetheless; includes outlyers)
4 | Bad measurement (known problem with sampling or analysis, but not serious enough to completely discard the value)
5 | Not reported (lost sample; unredeemably bad measurement, overrange)
6 | Mean of replicate measurements from one XNiskin (XN) or Goflo (GF)... Replicates are found in "WorkSumFe" sheet, and summary of replicate data in the "Metadata" sheet
Note that >90% of analyses have duplicate runs from within one bottle, average stats for these are in "Metadata" sheet; only separate bottles are flagged as "6"
9 | Sample not drawn for this measurement from this bottle
O | Sample filtered through Duropore Opti filter (0.22u)
Salinity was collected from iron sampling bottles.
[9 empty] | GF= goflo |  | Sample_Number | Depth | Iron:Filtered:Buffered 0.22u | Flag FB | Iron:Unfiltered:Buffered | Flag UFB | Iron:Filtered:StrongAcidMicrowave: 0.22u | Flag FA mw | Iron:Unfiltered:StrongAcid MicroWave | Flag UFA mw | Iron:Filtered:StrongAcid: 0.22u | Flag UFA | Iron:Unfiltered:StrongAcid | Flag UFA |  | Salinity | Salinity flag
Date | Time | Profile | Latitude |  | Longitude |  | Station | Event | Sampler | Sampler | Smp | Depth | FB 0.22 | FB | UFB | UFB | FAmw 0.22 | FAmw | UFAmw | UFAmw | FA 0.22 | FA | UFA | UFA | Analysis Comments | Sal
UTC | UTC | [6 empty] | # | Type | ID# | # | m | nmol/L | Flag | nmol/L | Flag | nmol/L | Flag | nmol/L | Flag | nmol/L | Flag | nmol/L | Flag | Collection Comments | (PSU) | Flag
2001-02-07 | 2300 | 8001 | 48 39 | N | 126 40 | W | P04 | 1 | Zodiac | Hand | 1 | 0 | 0.3939 |  | 0.8459 |  | 0.56249 |  | 5.0518 |  |  | 1 |  | 1 | //all P04 filtered in CleanRoom, 0.22u Duropore 47mm
2001-02-08 | 0020 | 8001 | 48 39 | N | 126 40 | W | P04 | 3 | GF10 | #6 | 4 | 10 | 0.26878 |  | 0.70595 |  | 0.34489 |  | 2.2393 |  | 0.31965 |  | 2.0508 |  |  | 32.6333
2001-02-08 | 0305 | 8001 | 48 39 | N | 126 40 | W | P04 | 9 | GF10 | #5 | 12 | 25 | 0.31801 |  | 0.57835 |  | 0.32403 |  | 1.5071 |  |  | 1 |  | 1 |  | 32.6276
2001-02-08 | 0240 | 8001 | 48 39 | N | 126 40 | W | P04 | 7 | GF10 | #5 | 10 | 45 | 0.32576 |  | 0.45679 |  | 0.30736 |  | 1.4959 |  |  | 1 |  | 1 |  | 32.6282
2001-02-08 | 0235 | 8001 | 48 39 | N | 126 40 | W | P04 | 6 | GF10 | #3 | 9 | 75 | 1.227 |  | 2.3956 |  | 0.62293 |  | >8.0 |  |  | 1 |  | 1 |  | 33.016
2001-02-08 | 0250 | 8001 | 48 39 | N | 126 40 | W | P04 | 8 | GF10 | #5 | 11 | 75 | 1.2343 |  | 2.8227 |  | 0.62293 |  | >8.0 |  |  | 1 |  | 1
2001-02-08 | 0215 | 8001 | 48 39 | N | 126 40 | W | P04 | 5 | GF10 | #3 | 7 | 100 | 0.90658 |  | 2.4801 |  | 0.3428 |  |  | 1 | 0.37212 |  |  | 1 |  | 33.5056
2001-02-08 | 0215 | 8001 | 48 39 | N | 126 40 | W | P04 | 5 | GF10 | #5 | 8 | 200 | 1.7182 |  | 2.17 |  | 1.7146 |  |  | 1 | 1.4806 |  |  | 1 |  | 33.9613
2001-02-08 | 0000 | 8001 | 48 39 | N | 126 40 | W | P04 | 2 | GF10 | #5 | 2 | 400 | 2.3394 |  | 3.3498 |  | 2.7763 |  | 10.4919 |  | 2.3545 |  |  | 1 |  | 34.0234
2001-02-08 | 0000 | 8001 | 48 39 | N | 126 40 | W | P04 | 2 | GF10 | #3 | 3 | 600 | 1.3715 |  | 1.5854 |  | 1.4045 |  | 3.2467 |  |  | 1 |  | 1 |  | 34.135
2001-02-08 | 0115 | 8001 | 48 39 | N | 126 40 | W | P04 | 4 | GF10 | #3 | 5 | 800 | 2.0318 |  | 2.5112 |  | 1.6052 |  | 7.1508 |  |  | 1 | 14.4286 |  |  | 34.2962
2001-02-08 | 0115 | 8001 | 48 39 | N | 126 40 | W | P04 | 4 | GF10 | #5 | 6 | 1000 | 2.2173 |  | 2.814 |  | 1.8721 |  | 9.98 |  | 1.7445 |  | 9.0469 |  |  | 34.3973
2001-02-09 | 1800 | 8002 | 48 58.2 | N | 130 40. | W | P12 | 10 | Zodiac | Hand | 13 | 0 | 0.024571 |  | 0.04354 |  | 0.051132 |  | 0.12586 |  | 0.030067 |  | 0.10186 |  | //0.22u Opti for pump&600-1000m smps, else CR filtered
2001-02-09 | 1235 | 8002 | 48 58.2 | N | 130 40. | W | P12 | 11 | Pump | Asti | 16 | 10 |  | 5 O | 0.1271 |  |  | 1 | 0.20544 |  |  | 1 |  | 1 | 5 FB: filter contam
2001-02-09 | 1200 | 8002 | 48 58.2 | N | 130 40. | W | P12 | 11 | Pump | Asti | 15 | 25 |  | 5 O | 0.087315 |  |  | 1 | 0.23482 |  |  | 1 |  | 1 | 5 FB: filter contam
2001-02-09 | 1700 | 8002 | 48 58.2 | N | 130 40. | W | P12 | 16 | GF12 | #10 | 25 | 25 | 0.062895 |  | 0.12813 |  | 0.062992 |  | 0.37291 |  |  | 1 |  | 1 | //brand new GF, not enough clean time | 32.4813
2001-02-09 | 1145 | 8002 | 48 58.2 | N | 130 40. | W | P12 | 11 | Pump | Asti | 14 | 40 |  | 5 O | 0.098338 | [6 empty] | 1 |  | 1 | 5 FB: filter contam
2001-02-09 | 1655 | 8002 | 48 58.2 | N | 130 40. | W | P12 | 15 | GF30 | Wilbur | 24 | 75 | 0.052556 |  | 0.066448 |  | 0.060719 |  | 0.17918 |  |  | 1 |  | 1 |  | 32.481
2001-02-09 | 1645 | 8002 | 48 58.2 | N | 130 40. | W | P12 | 14 | GF12 | #12 | 23 | 100 | 0.067661 |  | 0.052626 |  | 0.12468 |  | 0.3579 |  | 0.11238 |  | 0.32746 |  | //brand new GF, not enough clean time | 32.7858
2001-02-09 | 1545 | 8002 | 48 58.2 | N | 130 40. | W | P12 | 13 | GF30 | Wilbur | 20 | 200 | 0.29603 |  | 0.35902 |  | 0.32122 |  | 0.847 |  |  | 1 |  | 1 |  | 32.9126
2001-02-09 | 1545 | 8002 | 48 58.2 | N | 130 40. | W | P12 | 13 | GF12 | #10 | 21 | 300 | 1.424 | 3 | 0.77093 |  | 1.2871 |  | 1.4633 |  | 1.1278 |  | 2.0466 |  | 3 FB: >high std (>1.2nmol) | 33.9391
2001-02-09 | 1545 | 8002 | 48 58.2 | N | 130 40. | W | P12 | 13 | GF12 | #12 | 22 | 400 | 0.99044 | 3 | 0.73212 |  | 1.0455 |  | 2.5459 |  |  | 1 |  | 1 |  | 33.9929
2001-02-09 | 1345 | 8002 | 48 58.2 | N | 130 40. | W | P12 | 12 | GF30 | Wilbur | 17 | 600 | 1.424 | 3 O | 1.4706 | 3 | 2.1996 | 3 O | 2.3975 | 3 |  | 1 |  | 1 | 3 all: >high std (>1.2 for FB&UFB, >1.6 for FA&UFA) | 34.1408
2001-02-09 | 1345 | 8002 | 48 58.2 | N | 130 40. | W | P12 | 12 | GF12 | #10 | 18 | 800 | >3.5 | O | >3.5 |  | >4.3 |  | 14.7862 |  |  | 1 | 15.4833 | 1 | 5 Sal: unavailable |  | 5
2001-02-09 | 1345 | 8002 | 48 58.2 | N | 130 40. | W | P12 | 12 | GF12 | #12 | 19 | 1000 | >3.5 | O | >3.5 |  | >4.3 |  | 6.0696 |  |  | 1 |  | 1 |  | 34.3666
2001-02-10 | 2230 | 8003 | 49 17 | N | 134 40 | W | P16 | 17 | Pump | Asti | 28 | 10 | 0.032311 |  | 0.025281 |  | 0.20009 |  | 0.16935 |  |  | 1 |  | 1 | //all P16 filtered through 0.22u Duropore 90mm membrane
2001-02-10 | 2210 | 8003 | 49 17 | N | 134 40 | W | P16 | 17 | Pump | Asti | 27 | 25 | 0.02491 |  | 0.032484 |  | 0.24352 |  | 0.1059 |  |  | 1 |  | 1 | //rough conditions for sampling P16
2001-02-10 | 2150 | 8003 | 49 17 | N | 134 40 | W | P16 | 17 | Pump | Asti | 26 | 40 | 0.040138 |  | 0.035895 |  | 0.12163 |  | 0.18332 |  |  | 1 |  | 1
2001-02-11 | 0000 | 8003 | 49 17 | N | 134 40 | W | P16 | 18 | GF12 | #10 | 29 | 75 | 0.084848 |  | 0.036505 |  |  | 5 | 0.8283 |  |  | 1 |  | 1 | 5 FB: contam | 32.4907
2001-02-11 | 0015 | 8003 | 49 17 | N | 134 40 | W | P16 | 19 | GF12 | #12 | 30 | 100 | 0.032302 |  | 0.12809 |  | 0.19805 |  |  | 5 |  | 1 |  | 1 | 5 UFAmw: overrange, suspect contam | 32.5084
2001-02-11 | 0035 | 8003 | 49 17 | N | 134 40 | W | P16 | 20 | GF12 | #10 | 31 | 200 | 0.21452 |  | 0.2206 |  | 0.63287 |  | 0.55715 |  |  | 1 |  | 1 |  | 33.8935
2001-02-11 | 0050 | 8003 | 49 17 | N | 134 40 | W | P16 | 21 | GF12 | #10 | 32 | 300 | 0.31613 |  | 0.70666 |  | 0.64856 |  | 0.67806 |  |  | 1 |  | 1 |  | 33.9454
2001-02-11 | 0050 | 8003 | 49 17 | N | 134 40 | W | P16 | 21 | GF12 | #12 | 33 | 400 | 0.34548 |  | 0.43452 |  | 0.889 | 4 | 0.50822 |  |  | 1 |  | 1 | 4 FAmw: top popped off in MW, ? contam | 34.0222
2001-02-11 | 0215 | 8003 | 49 17 | N | 134 40 | W | P16 | 22 | GF12 | #10 | 34 | 600 | 0.45634 |  | 0.44693 |  | 0.47245 |  | 0.50244 |  |  | 1 |  | 1 |  | 34.123
2001-02-11 | 0215 | 8003 | 49 17 | N | 134 40 | W | P16 | 22 | GF10 | #5 | 35 | 800 | 0.51855 |  | 0.45938 |  | 0.79341 |  | 0.60756 |  |  | 1 |  | 1 |  | 34.2706
2001-02-11 | 0215 | 8003 | 49 17 | N | 134 40 | W | P16 | 22 | GF12 | #12 | 36 | 1000 | 0.57171 |  |  | 5 | 0.76567 |  | 0.62445 |  |  | 1 |  | 1 | 5 UFB: contam | 34.3606
2001-02-12 | 0145 | 8004 | 49 34 | N | 138 40 | W | P20 | 23 | Zodiac | Hand | 37 | 0 | 0.026678 |  | 0.032473 |  | 0.082455 |  | 0.26012 |  | 0.088288 | 1 | 0.21011 |  | //Filtered in CR, 0.22u Duropore 47mm
2001-02-12 | 0745 | 8004 | 49 34 | N | 138 40 | W | P20 | 25 | Pump | Asti | 41 | 10 | 0.070491 | 4 | 0.19719 |  | 0.31345 | 4 | 0.2815 |  |  | 1 |  | 1 | 4 FB,FA,FAmw: //except for 0m, all P20 filtered through 0.22u Duropore 90mm membrane, but unit on backwards
2001-02-12 | ~'0600 | 8004 | 49 34 | N | 138 40 | W | P20 | 24 | GF30 | BB | 38 | 10 |  |  | 0.098108 | [9 empty] | test of cleanliness only //brand new GF, not enough clean time
2001-02-12 | 0725 | 8004 | 49 34 | N | 138 40 | W | P20 | 25 | Pump | Asti | 40 | 25 | 0.046352 | 4 | 0.16963 |  | 0.37361 | 4 | 0.39005 |  |  | 1 |  | 1
2001-02-12 | 0655 | 8004 | 49 34 | N | 138 40 | W | P20 | 25 | Pump | Asti | 39 | 40 | 0.036762 | 4 | 0.085556 |  |  | 5 | 0.47074 |  |  | 1 | 0.4163 |  | 5 FAmw: contam
2001-02-12 | 1000 | 8004 | 49 34 | N | 138 40 | W | P20 | 26 | GF12 | #12 | 42 | 75 | 0.069403 | 4 | 0.085556 |  | 0.23563 | 4 | 0.37904 |  |  | 1 |  | 1 |  | 32.609
2001-02-12 | 1030 | 8004 | 49 34 | N | 138 40 | W | P20 | 27 | GF12 | #10 | 43 | 100 | 0.050822 | 4 | 0.085556 |  | 0.22904 | 4 | 0.27717 |  |  | 1 |  | 1 |  | 32.6106
2001-02-12 | 1135 | 8004 | 49 34 | N | 138 40 | W | P20 | 28 | GF30 | Wilbur | 44 | 200 | 0.3397 | 4 | 0.38725 |  | 0.81031 | 4 | 0.77633 |  |  | 1 |  | 1 |  | 33.8695
2001-02-12 | 1135 | 8004 | 49 34 | N | 138 40 | W | P20 | 28 | GF12 | #10 | 45 | 300 | 0.38902 | 4 | 0.46428 |  | 0.90761 | 4 | 0.88448 |  |  | 1 |  | 1 |  | 33.9635
2001-02-12 | 1135 | 8004 | 49 34 | N | 138 40 | W | P20 | 28 | GF12 | #12 | 46 | 400 | 0.42487 | 4 | 0.41526 |  | 0.92466 | 4 | 0.87742 |  |  | 1 |  | 1 |  | 34.034
2001-02-12 | 1315 | 8004 | 49 34 | N | 138 40 | W | P20 | 29 | GF30 | Wilbur | 47 | 600 |  | 5 | 0.46645 |  | 1.0349 | 4 | 0.91136 |  |  | 1 |  | 1 | 5 FB: contam | 34.1902
2001-02-12 | 1315 | 8004 | 49 34 | N | 138 40 | W | P20 | 29 | GF12 | #10 | 48 | 800 | 0.51853 | 4 | 0.5008 |  | 0.91319 | 4 | 0.83679 |  |  | 1 |  | 1 |  | 34.2956
2001-02-12 | 1315 | 8004 | 49 34 | N | 138 40 | W | P20 | 29 | GF12 | #12 | 49 | 1000 | 0.50807 | 4 | 0.47446 |  | 0.63126 | 4 | 0.65877 |  |  | 1 |  | 1 |  | 34.3751
2001-02-14 | 0130 | 8005 | 50 00. | N | 145 00. | W | P26 | 30 | Zodiac | Hand | 50 | 0 | 0.014859 |  | 0.025738 |  | 0.063443 |  | 0.41191 |  | 0.051684 |  | 0.38857 |  | //Filtered in CR, 0.22u Duropore 47mm
2001-02-14 | 0740 | 8005 | 50 00. | N | 145 00. | W | P26 | 31 | Pump | Asti | 53 | 10 | 0.016456 | 6 | 0.028892 |  | 0.072271 |  | 0.41335 |  | 0.058458 |  | 0.36894 |  | //all pump smp, 55&125m, filtered through 0.22u Duropore 90mm membrane
2001-02-14 | 0705 | 8005 | 50 00. | N | 145 00. | W | P26 | 31 | Pump | Asti | 52 | 25 | 0.013747 | 6 | 0.030193 |  | 0.043144 |  | 0.56951 |  | 0.034643 |  | 0.54089
2001-02-14 | 0630 | 8005 | 50 00. | N | 145 00. | W | P26 | 31 | Pump | Asti | 51 | 40 | 0.0069927 |  | 0.030971 |  | 0.067404 |  | 0.44035 |  | 0.059032 |  | 0.37427
2001-02-14 | 2115 | 8005 | 50 00. | N | 145 00. | W | P26 | 36 | GF30 | Wilbur | 62 | 55 | 0.12134
2001-02-14 | ~1210 | 8005 | 50 00. | N | 145 00. | W | P26 | 34 | GF30 | Wilbur | 60 | 75 | 0.028841 | O | 0.03856 |  | 0.12097 | O | 0.37492 |  | 0.096196 | O | 0.37176 |  | //remainder GoFlo smp filtered through 0.22u Opti cartridge | 32.6101
2001-02-14 | ~1230 | 8005 | 50 00. | N | 145 00. | W | P26 | 35 | GF30 | BB | 61 | 100 | 0.021313 | O | 0.031779 |  | 0.038268 | O | 0.30573 |  | 0.029907 | O | 0.25159 |  |  | 32.6174
2001-02-14 | 2115 | 8005 | 50 00. | N | 145 00. | W | P26 | 36 | GF30 | BB | 63 | 125 | 0.10611 |  | 0.13429
2001-02-14 | 1055 | 8005 | 50 00. | N | 145 00. | W | P26 | 33 | GF30 | Wilbur | 57 | 200 | 0.28303 | O | 0.3353 |  | 0.38475 | O | 0.55238 |  | 0.34007 | O | 0.6362 |  |  | 33.8202
2001-02-14 | 1055 | 8005 | 50 00. | N | 145 00. | W | P26 | 33 | GF12 | #10 | 58 | 300 | 0.33126 | O | 0.368 |  | 0.42487 | O | 0.58376 |  | 0.36036 | O | 0.54657 |  |  | 33.9477
2001-02-14 | 1055 | 8005 | 50 00. | N | 145 00. | W | P26 | 33 | GF12 | #12 | 59 | 400 | 0.4005 | O | 0.40729 |  | 0.5233 | O | 0.55401 |  | 0.51962 | O | 0.57878 |  |  | 34.0604
2001-02-14 | 0925 | 8005 | 50 00. | N | 145 00. | W | P26 | 32 | GF30 | BB | 54 | 600 | 0.43079 | O | 0.45346 |  | 0.8569 | O | 0.7903 |  | 0.80178 | O | 0.76553 |  |  | 34.208
2001-02-14 | 0925 | 8005 | 50 00. | N | 145 00. | W | P26 | 32 | GF12 | #12 | 55 | 800 | 0.47454 | O | 0.55463 |  | 0.53511 | O | 0.78134 |  | 0.48455 | O | 0.79396 |  |  | 34.317
2001-02-14 | 0925 | 8005 | 50 00. | N | 145 00. | W | P26 | 32 | GF12 | #10 | 56 | 1000 | 0.62079 | O | 1.2009 | 3 | 0.62172 | O | 2.9826 |  | 0.56711 | O | 3.1099 |  | 3 UFB: >high std (>0.8nm) | 34.3821
2001-02-16 | 1550 | 8006 | 53 47.88 | N | 139 29.94W | W | HEOut | 37 | Pump | Asti | 66 | 10 | 0.026077 |  | 0.06716 |  | 0.045502 |  | 0.30961 | [5 empty] | //all pump smp filtered through 0.22u Duropore 90mm membrane
2001-02-16 | 1525 | 8006 | 53 47.88 | N | 139 29.94W | W | HEOut | 37 | Pump | Asti | 65 | 25 | 0.030799 |  | 0.072385 |  | 0.054961 |  | 0.45292
2001-02-16 | 1505 | 8006 | 53 47.88 | N | 139 29.94W | W | HEOut | 37 | Pump | Asti | 64 | 40 | 0.041868 |  | 0.095748 |  | 0.062728 |  | 0.59347
2001-02-16 | 1620 | 8006 | 53 47.88 | N | 139 29.94W | W | HEOut | 38 | GF12 | #12 | 67 | 75 | 0.046343 | O | 0.065958 |  | 0.080971 | O | 0.42368 | [5 empty] | //all GoFlo smp filtered through 0.22u Opti cartridge | 32.6773
2001-02-16 | 1645 | 8006 | 53 47.88 | N | 139 29.94W | W | HEOut | 39 | GF30 | BB | 68 | 100 | 0.064709 | O | 0.092477 |  | 0.05302 | O | 0.36504 | [6 empty] | 32.7591
2001-02-16 | 1645 | 8006 | 53 47.88 | N | 139 29.94W | W | HEOut | 39 | GF12 | #10 | 69 | 150 | 0.22527 | O | 0.26308 |  | 0.27296 | O | 1.56 | [5 empty] | //double acid added to FAmw&UFAmw | 33.7337
2001-02-16 | 1750 | 8006 | 53 47.88 | N | 139 29.94W | W | HEOut | 40 | GF12 | #12 | 70 | 200 | 0.30724 | O | 0.3489 |  | 0.46863 | O | 0.64243 | [5 empty] | //double acid added to UFAmw | 33.8622
2001-02-16 | 1750 | 8006 | 53 47.88 | N | 139 29.94W | W | HEOut | 40 | GF12 | #10 | 71 | 300 | 0.37651 | O | 0.411 |  | 0.48581 | O | 0.67118 | [6 empty] | 33.9875
2001-02-16 | 1750 | 8006 | 53 47.88 | N | 139 29.94W | W | HEOut | 40 | GF30 | BB | 72 | 400 | 0.44066 | O | 0.48668 |  | 0.48001 | O | 0.51757 | [6 empty] | 34.0718
2001-02-16 | 1750 | 8006 | 53 47.88 | N | 139 29.94W | W | HEOut | 40 | GF30 | Wilbur | 73 | 600 | 0.48012 | O | 0.50692 |  | 0.64642 | O | 0.72646 | [6 empty] | 34.2133
2001-02-17 | 0700 | 8007 | 53 48 | N | 138 00 | W | HE4 | 41 | Pump | Asti | 76 | 10 | 0.013067 | O | 0.035019 |  | 0.05716 | O | 0.26503 | [5 empty] | HE4 ~ centre of Eddy
2001-02-17 | 0640 | 8007 | 53 48 | N | 138 00 | W | HE4 | 41 | Pump | Asti | 75 | 25 | 0.016682 | O | 0.085403 |  | 0.058169 | O | 0.23487 | [5 empty] | //all smp filtered through 0.22u Opti cartridge
2001-02-17 | 0620 | 8007 | 53 48 | N | 138 00 | W | HE4 | 41 | Pump | Asti | 74 | 40 | 0.065711 | O | 0.059457 |  | 0.05637 | O | 0.29269
2001-02-17 | 0735 | 8007 | 53 48 | N | 138 00 | W | HE4 | 42 | GF12 | #12 | 77 | 75 | 0.032698 | O | 0.15848 |  | 0.053847 | O | 0.65069 | [6 empty] | 32.6536
2001-02-17 | 0750 | 8007 | 53 48 | N | 138 00 | W | HE4 | 43 | GF12 | #10 | 78 | 100 | 0.28528 | O | 0.23394 |  | 0.17637 | O | 0.47781 | [6 empty] | 32.9468
2001-02-17 | 0750 | 8007 | 53 48 | N | 138 00 | W | HE4 | 43 | GF30 | BB | 79 | 150 | 0.49251 | O | 0.83517 |  | 0.5951 | O | 1.2705 | 4 |  |  |  |  | 4 UFAmw: poor calibration | 33.6702
2001-02-17 | 0910 | 8007 | 53 48 | N | 138 00 | W | HE4 | 44 | GF12 | #12 | 80 | 200 | 0.65175 | O | 0.96289 |  | 0.74185 | O | 2.1466 | 4 |  |  |  |  | 4 UFAmw: some boiled over in mw step | 33.875
2001-02-17 | 0910 | 8007 | 53 48 | N | 138 00 | W | HE4 | 44 | GF12 | #10 | 81 | 300 | 0.79479 | O | 1.0703 |  | 0.84061 | O | 1.482 | [6 empty] | 33.9462
2001-02-17 | 0910 | 8007 | 53 48 | N | 138 00 | W | HE4 | 44 | GF30 | BB | 82 | 400 | 0.8413 | O | 1.0149 |  | 0.88261 | O | 1.4805 | [6 empty] | 33.9844
2001-02-17 | 0910 | 8007 | 53 48 | N | 138 00 | W | HE4 | 44 | GF30 | Wilbur | 83 | 600 | 0.79187 | O | 1.0053 |  | 0.91237 | O | 1.4556 | [6 empty] | 34.1373
2001-02-19 | 0740 | 8008 | 52 52.17 | N | 132 48.0 | W | ME1 | 45 | Pump | Asti | 86 | 10 | 1.222 |  | 2.4245 |  | 2.1655 |  | 13.5178 |  | 2.0898 |  | 13.5178 |  | //all pump smp filtered through 0.22u Duropore 90mm membrane
2001-02-19 | 0725 | 8008 | 52 52.17 | N | 132 48.0 | W | ME1 | 45 | Pump | Asti | 85 | 25 | 1.1539 |  | 2.6704 |  | 4.7706 |  | 12.6561 |  | 3.6286 |  | 12.9381
2001-02-19 | 0700 | 8008 | 52 52.17 | N | 132 48.0 | W | ME1 | 45 | Pump | Asti | 84 | 40 | 1.162 |  | 2.8891 |  | 3.8901 |  | 14.6034 |  | 3.4009 |  | 14.0078
2001-02-19 | 0820 | 8008 | 52 52.17 | N | 132 48.0 | W | ME1 | 46 | GF12 | #12 | 87 | 75 | 1.0961 | O | 2.9392 |  | 1.7881 | O | 11.6297 |  | 1.481 | O | 12.3213 |  | //all GoFlo smp filtered through 0.22u Opti cartridge | 32.4221
2001-02-19 | 0845 | 8008 | 52 52.17 | N | 132 48.0 | W | ME1 | 47 | GF12 | #10 | 88 | 100 | 1.2298 | O | 3.2615 |  | 2.5938 | O | 13.0613 |  | 1.7596 | O | 12.7871 |  |  | 32.482
2001-02-19 | 0845 | 8008 | 52 52.17 | N | 132 48.0 | W | ME1 | 47 | GF30 | BB | 89 | 150 | 1.4514 | O | 3.8619 |  | 1.5131 | O | 21.8163 |  | 1.5832 | O | 21.8417 |  |  | 33.1814
2001-02-19 | 0945 | 8008 | 52 52.17 | N | 132 48.0 | W | ME1 | 48 | GF12 | #12 | 90 | 200 | 1.4188 | O | 3.8087 |  | 1.5369 | O | 20.3047 |  | 1.5587 | O | 20.6525 |  |  | 33.7281
2001-02-19 | 0945 | 8008 | 52 52.17 | N | 132 48.0 | W | ME1 | 48 | GF12 | #10 | 91 | 300 | 0.68742 | O | 1.0457 |  | 0.98895 | O | 4.6247 |  | 1.0228 | O | 4.4306 |  |  | 33.9302
2001-02-19 | 0945 | 8008 | 52 52.17 | N | 132 48.0 | W | ME1 | 48 | GF30 | BB | 92 | 400 | 0.70461 | O | 0.88634 |  | 1.0779 | O | 2.2574 | [6 empty] | 33.9699
2001-02-19 | 0945 | 8008 | 52 52.17 | N | 132 48.0 | W | ME1 | 48 | GF30 | Wilbur | 93 | 600 | 0.87164 | O | 1.1615 |  | 1.286 | O | 2.5428 | [6 empty] | 34.1029
2001-02-20 | 0010 | 8009 | 51 48.08 | N | 130 59.96 | W | ME2 | 49 | GF30 | Wilbur | 94 | 10 | 1.2207 | O | 3.398 | [9 empty] | //all smp filtered through 0.22u Opti cartridge
2001-02-20 | 0015 | 8009 | 51 48.08 | N | 130 59.96 | W | ME2 | 50 | GF30 | BB | 95 | 75 | 1.7463 | O | 4.0757 | [10 empty] | 32.4119
2001-02-20 | 0035 | 8009 | 51 48.08 | N | 130 59.96 | W | ME2 | 51 | GF12 | #12 | 96 | 150 | 1.6955 | O | 3.7126 | [10 empty] | 32.8248
2001-02-20 | 0035 | 8009 | 51 48.08 | N | 130 59.96 | W | ME2 | 51 | GF12 | #10 | 97 | 400 | 1.6821 | O | 2.1055 | [10 empty] | 33.9876

## Metadata
Metadata for Iron III Data for Cruise 2001-06 | [8 empty] | For Graphing:
Cruise: |  |  | 2001-06
Ship |  |  | CCGS John P Tully
Dates |  |  | Feb 5-22, 2001
Chief Scientist |  |  | Marie Robert
Iron Analyst | IOS: |  | Nes Sutherland & Keith Johnson
The cruise was divided into two parts: Leg 1 was Line P, Leg 2 was a Haida Eddy survey
Leg 1- The objective of the iron team was to sample and analyse Iron(III) at regularly monitored stations along Line P
Leg 2- The obective was to sample and analyse iron from stations within a Haida Eddy, using both immediate iron analysis, and long term storage for totals
Some support was also provided for incubation experiments by UBC students for both cruises
Sample Collection:
Seawater samples for Iron (III) analyses were collected by hand (bottles only opened and closed while totally submerged, depth~0.1m) from a zodiac positioned away from the ship; by Teflon compressed air activated Asti pump with Teflon tubing (5-40m);
or by 10L or 12L GoFlos (numbered) or 30L GoFlos(GF named Wilbur and BB) on a Kevlar line spooled over a Delrin block (50-1000m).
LDPE bottles had been previously acid cleaned to Geotraces standards. Filtration was through 0.22u Duropore 47mm flat membrane filters on Teflon apparatus in laminar hood,
or by cartidge type filters (Opti 0.22u Duropore) or 90mm 0.22u Duropore flat membrane filters direct from the pump or Goflos
Some contamination due to A/W the cartridge filter occured when it was first used, as it took longer than expected to flush. Those samples affected are noted in the Final Data table
Sample Treatment- Current and IOS Historical:
Iron analysis can be performed in several different ways, therefore it is necessary to operationally define the treatments used, if one wishes to compare results with other researchers.
At IOS we have traditionally followed the suggestions of Obata and Nishioka for treatment and analysis.
IOS protocol originally called for treatment of filtered and unfiltered samples with a mildly acidic buffered leach (pH 3.2), measured onboard, as well
as a strongly acidic leach (pH ~1.6 / 2.25 ml of 6N purified HCl to 250ml SW) measured after a storage period of 6 months or longer.
In recent years (post2006), IOS has also added the Geotraces method of acid leach for a minimum of 12 hours before analysis.
The following provides a description of these treatments, their abbreviations and nomenclature:
Buffered Sample Analysis - FB or UFB - traditional analysis performed for IOS Line P cruises - a mild leach where sample is buffered to pH3.2 with Ammonium formate,
then analysed within ~2 hours; thought to be immediate bioavailable iron
| Iron:Filtered:Buffered |  | FB | 0.22u filtered, buffered, also called dissolved Fe
|  |  |  | FB0.22u | Duropore Opti type cartridge, or 47 or 90mm membrane filters used
| Iron:Unfiltered:Buffered |  | UFB | unfiltered, buffered, also considered to be labile or bioavailable
|  |  | UFB-FB | this difference is known as labile particulate fraction
Strongly Acidified Sample Analysis - FA or UFA - samples acidified to pH~1.6 with 1:1 HCl for 6 months or more, then brought back up to pH3.2, the methodological requirement for analysis of Iron(III) in seawater using the IOS FIA instrument
IOS has traditionally used this strong acidification in the past, utilizing 2mL of 1:1 SeaStar HCl per 250mL sample for acidification, as suggested by Nishioka
(personal communication) for a complete digestion of iron, excepting what would be geologically bound compounds
It is thought that by microwaving the FA or UFA 24 hours after collection, the leaching of particles might be sped up to result in iron conc similar to the long term storage (Nishioka pers com), but this has not been verified by the IOS lab
Because the FA and UFA analyses were new to IOS, duplicate strongly acidified samples were collected - one set for long term storage, the other for long term and additional microwave as a comparison
| Iron:Filtered:StrongAcid |  | FA | 0.22u filtered, acidified to 1.6, into storage for minimum of 6 months - referred to as Total Dissolved fraction
This fraction tends to be similar to FB
|  |  |  | FA mw | Additional microwave procedure
| Iron:Unfiltered:StrongAcid |  | UFA | unfiltered, acidified to 1.6, then into storage for minimum of 6 months - also known as Total Dissolvable
|  |  |  | UFA mw | Additional microwave procedure
|  |  | UFA-FA | the difference provides leachable particulate, a measure of nonlabile particulate iron
|  |  | FA-FB | the difference reflects the nonlabile dissolved fraction
|  |  | UFA-UFB | the difference reflects the nonlabile fraction
Geotraces Acidified Sample - FG or UFG - samples acidified to <pH2 with 1:1 HCl for at least 12 hours, then brought back up to pH3.2, which is the methodological requirement for analysis of Iron(III) in seawater using the IOS FIA instrument
The Geo (Geotraces) method is a stronger leach of iron than the Buffered Sample Analysis, especially on particulates in sea water.
It is becoming the norm for iron analyses, and therefore IOS has started to incorporate this treatment in its sampling protocol for Line P cruises
IOS protocol for Geotraces samples has been modified somewhat from when first run in 2009:
In 2009: 24 hour treatment, but with strong acid conc: 2.0mL 1:1 HCl per 250mL smp (->pH~1.6) as opposed to the then Geo suggested 0.5mL (->pH~1.9) Abbreviated to FGA and UFGA to reflect the stronger acid conc
In 2010: IOS followed the suggested addition of 0.5mL SS 1:1 HCl per 250mL sample (->pH~1.9) for 24 hour minimum digestion; called FG2010 and UFG2010
In 2011: it was noted that the Geotraces protocol now calls for addition of 1.0 mL of SeaStar 1:1 HCl per 250mL of sample, achieving a pH ~1.8, (min 12 hour digest), and will simply be abbreviated as FG or UFG
| Iron:Filtered:Geotrace |  | FG | 0.22u filtered, acidified to <2 for >12 hours, then pH3.2 for analysis - see below for 2011 modification. FG also referred to D(Fe), or Dissolved Fe
| Iron:Unfiltered:Geotrace |  | UFG | unfiltered, acidified to <2 for >12hours, then pH3.2 for analysis - see below for 2011 modification. UFG is also referred to TD(Fe), or Total Dissolvable Fe
Rough comparison of Treatments:
It is possible that over a 24 hour digest, the Geo results might be similar between the different acid concentrations (ie pH range1.6-1.9), but this has not been tested in our lab.
We have noted that the long term FA and UFA leaches result in greater iron concentration than the short digest of FG and UFG.
In 2009, FB~FGA, sometimes FB>FGA, but inconclusive, as known problems with contamination and calibration issues, however both FB&FGA < FA; UFB < UFGA < UFA
In 2010, FB and FG2000 were quite similar, no real trend observed; UFG2000 also tended to be similar or somewhat greater than UFB. However, for Stn P4 we used FGA, a stronger acid, and FGA was consistently > FB
In 2011, when comparing FB and FG, FG ~ > than FB, and UFG is also greater than UFB particularly in deeper waters; perhaps this trend shows the effect of increasing the amount of acid in the Geo method this year
In this cruise, filtered and unfiltered buffered samples (FB & UFB), and duplicate Strongly Acidified Filtered and Unfiltered (FA & UFA) were collected.
Sample Analysis:
Samples were analysed onboard using a chemiluminescent reaction with preconcentration according to the method of Obata et al (1993), incorporating
modifications made in Obata et al (1997). Details can be found in Johnson et al (2005)
Station ME2 was near coastal waters just south of the QCI, and had high unfiltered (UFB) iron concentrations, that required very small preconcentration times, and for some samples, required the additional step of lowering the PMT voltage
in order to find a suitable range for analysis. As well, several of the acidified samples required preconcentration time adjustments.
In general, duplicate runs are taken from one sample bottle. For some depths, duplicate bottles were taken, comparing pumped vs goflo samplers, and membrane vs cartridge filters. As well
duplicate FA and UFA samples were taken, to determine whether the Microwaving procedure is necessary to free more iron from particulates, or if slow digestion over a period of months is sufficient..
References: | Johnson, W.K., Miller, L.A., Sutherland, N.E., Wong, C.S., 2005. Iron transport by mesoscale Haida eddies in the Gulf of Alaska. Deep-Sea Research II 52, 933-953
Obata, H., Karatani, H., and E. Nakayama, 1993. Automated determination of iron in seawater by chlating resin concentration and chemiluminescence detection, Anal. Chem., 65, 1524 – 1528
Obata, H., Karatani, H., Matsui, M. and Nakayama, E., 1997. Fundamental studies for chemical speciation of iron in seawater with an improved analytical method. Mar. Chem., 56: 97-106.
Standards and Blanks:
The primary standard was a VWR FeCl3 in dilute HCl sol'n, certified at 1007ppm. From this a secondary 10ppm was prepared, then further diluted to stock solutions of 100 and 10ppb.
Working standards were prepared fresh from these stock solutions to bracket the expected range of samples, using low iron seawater collected from Stn Papa in previous cruises
Blanks for the standards were from the same low iron seawater. This typically has a small (<0.05nM) amount of Fe.
For more on blanks, see separate section below.
QAQC & Reference Standards, Blanks & Comments
Replication Statistics, or Sample Pooled Data Stats:
Pooled variance (sp) is used to report error associated with analyses, whether it be from duplicate analyses within a sample bottle, or between duplicate samples taken from one depth.
The Average Fe reported with the sp is the average of only the data used in calculating sp, and provided for determining relative standard deviation (%RSD).
Best, ie lowest pooled variance, are filtered (FB&FA) samples, with UFB samples not far behind.
As might be expected, samples with high Fe content, >2nmol, the majority of which are unfiltered, tend to be more variable than filtered, possibly due to unequal particulate loading.
Onboard FB & UFB analysis:
Replicate Analysis within a Sample Bottle
|  | <0.2nmol (for D.L.): |  | FB | UFB | All B samples: |  | All Samples >2.0nmol
Pooled Variance (sp): |  | 0.0069088 |  | 0.027261 | 0.06693 | 0.049868 |  | 0.4634
Detection Limit: |  | 0.020726
Average Fe: |  | 0.071273 |  | 0.55266 | 0.75054 | 0.645 |  | 7.4279
Sum d^2: |  | 0.0072552 |  | 0.1308 | 0.68986 | 0.82066 |  | 14.1728
Rsp% |  | 9.6934 |  | 4.9327 | 8.9176 | 7.7315 |  | 6.2387
n: |  | 76 |  | 88 | 77 | 165 |  | 33
Replicate samples reflect a comparison of: different sampler types or different filters. Unfortunately not many such samples were taken
|  | All | w/o >2nm sample
Pooled Variance (sp): |  | 0.12058 | 0.041954
Detection Limit:
Average Fe: |  | 0.69978 | 0.38155
Sum d^2: |  | 0.20355 | 0.021122
Rsp% |  | 17.2309 | 10.9957
n: |  | 7 | 6
Duplicate acidified samples were collected for most depths, and separated to study the effect of microwaving or not, on the stored acidified samples:
See MetadataPostCruiseAcidSmp
Daily Reference Standards (DRS)
DRSs are run frequently to check on instrument performance and drift. In Line P cruise 2000-25 a carboy of filtered 0.22u water was collected from 200m at P12, and used for this cruise
Individual bottles of this sample were withdrawn for Daily Ref Stds, however, because the original carboy had not been buffered to pH3.2, iron likely started absorbing to the walls, resulting in gradual loss, as seen in the results
- in early September, when first collected, ~0.43nM was measured, by end September the values were down to ~0.26nM, and now average ~0.16nM:
DRS | Date | Load Time |  | Fe (nM) |  |  | Comments
|  |  | Avg: | 0.1585
|  |  | Stdev: | 0.033094
2001-06 Line P & Eddy cruise:
| 2001-02-09 | 180s |  | 0.1336
| 2001-02-11 | 180s |  | 0.15596
| 2001-02-12 | 180s |  | 0.17349
| 2001-02-14 | 180s |  | 0.12318
| 2001-02-16 | 180s |  | 0.20627
Intercalibration Standards
Intercalibration standards were not available, and thus not reported
Summary of Buffered Sea Water Blanks Used in Calibration and Determining Zero, and Detection Limits
Blanks:
Calibrations are run using standard additions of Fe to a volume of filtered low iron seawater collected from OSPapa, 050N 145W, or that general vicinity
This seawater source, without the additions, is sometimes referred to as BSW - Buffered SeaWater - and forms the 0 point or blank for the calibration standards
However, because there is invariably some iron in this water, it is necessary to correct samples to a zero iron or instrument blank.
In this cruise, low iron seawater was run through the resin column and collected for use as zero water. It is referred to as "rc0" or resin-cleaned zero water, and its response is subtracted from samples for the instrument correction.
The zero blank for sample correction is actually the concentration of the low iron seawater, and thus varies with the seawater batches used in calibration.
Following is a list of blanks used in calibration, but corrected with the rc0 blank to determine actual iron of the BSW used this cruise
Please see discussion of Determining Detection Limit in a section below this one
Data Statistics for rc0 and Standard 0. Note that Std 0 has been calculated as a sample to determine the iron content of the low iron seawater used as a basis of standard additions
The average blank for the standard seawater was 0.02 +/- 0.01nM Fe
| Date | Standard rc0: |  |  | Standard 0(LowFeSW):
|  | Time | Fe(III) |  | Time | Fe(III)
Average: |  |  | 0.00048471 |  |  | 0.018833
Stdev: |  |  | 0.0013538 |  |  | 0.0060026
DL: |  |  | 0.0040614 |  |  | 0.018008
Count: |  |  | 16 |  |  | 16
%RSD: |  |  | 279.3015 |  |  | 31.8722
sample formula used
180s: | 2001-02-07 | 1611 | -0.0019061 |  | 1522 | 0.016821
|  | 1627 | 0.0018987 |  | 1539 | 0.021015
[5 empty] | 1555 | 0.01718
| 2001-02-09 | 332 | -0.00019412 |  | 316 | 0.016806
|  | 348 | 0.00019405
| 2001-02-10 | 1721 | 8.8156e-05 |  | 1649 | 0.020167
|  | 1738 | -8.8185e-05 |  | 1705 | 0.02008
| 2001-02-11 | 2212 | 0.0017932 |  | 2139 | 0.032432
|  | 2228 | 0 |  | 2156 | 0.027965
| 2001-02-13 | 2336 | -0.00088567 |  | 2303 | 0.013188
|  | 2352 | -0.0012372 |  | 2320 | 0.014414
| 2001-02-16 | 740 | 0.002804 |  | 708 | 0.022636
|  | 756 | 0.0011967 |  | 724 | 0.018521
| 2001-02-17 | 47 | 0.00096554 |  | 14 | 0.0090448
|  | 103 | 4.5334e-05 |  | 31 | 0.0097343
| 2001-02-18 | 12 | 0.0028473 |  | 2340 | 0.021638
|  | 29 | 0.00023355 |  | 2356 | 0.019693
Determining Detection Limit (D.L.):
The detection limit can be determined as 3 x Stdev of the Average Blank FeIII concentration, depending on whether the stock batches used are the same, and have low iron content(<0.1nM).
The standard deviation of the blanks can be used instead to determine DL : in this case, for rc0 (resin cleaned water) DL~0.01nM; for Seawater calibration stock, DL~0.02nM
However, as there were numerous very low seawater samples, the DL can also be determined using 3* SP for all samples <0.2nM:
Using the data for this cruise, DL is ~0.02nM
| Avg: | 0.071273
| n: | 76
| sp: | 0.0069088
| DL: | 0.020726
Overall Detection Limit ~0.01-0.02nM

## MetadataPostCruiseAcidSmp
Metadata for PostCruise Acidified Iron III Data | [9 empty] | For Graphing:
Cruise: |  |  | 2001-06
Ship |  |  | CCGS John P Tully
Dates |  |  | Feb 5-22, 2001
Chief Scientist |  |  | Marie Robert
Iron Analyst | IOS: |  | Nes Sutherland & Keith Johnson
Sample Treatment- See Metadata Cruise Sheet for details
In this cruise, filtered and unfiltered buffered samples (FB & UFB), and Strongly Acidified Filtered and Unfiltered (FA & UFA) were collected.
Some of these FA and UFA were microwaved to ensure complete digestion. The results can be compared in the Final Data 2001-06 spreadsheet
Sample Analysis:
See Metadata Cruise Sheet for details
Acidified Samples were separated into microwaved and unmicrowaved samples. The acidified microwaved samples, in their LDPE bottles, were brought to near boiling and held for 8 minutes at that temperature, then allowed to cool.
Both acidified and microwaved acidified were brought up to pH3.2 for analysis by addition of ammonium formate buffer, and conc NH4OH.
Standards and Blanks:
See Metadata Cruise Sheet for details
QAQC & Reference Standards, Blanks & Comments
2001-06 P04, P12, P16 FA & UFA (including FAmw & UFAmw) samples - microwaved 8-9Mar2001, analysed 9-29March 2001, aged ~1-1.5 months.
2001-06 P20 FA & UFA (including FAmw & UFAmw) samples - microwaved July2001, analysed 30-31 July 2001, aged ~5.5 months.
2001-06 P26 FA & UFA (including FAmw & UFAmw) samples - microwaved 24April2001, analysed 24April-2May 2001, aged ~2-2.5 months.
2001-06 ED Out & ED04 FA & UFA (including FAmw & UFAmw) samples - microwaved 19Mar2001, analysed 20-29March 2001, aged ~1.5 months.
2001-06 ME01 FA & UFA (including FAmw & UFAmw) samples - microwaved 28Mar2001&26July2001(ME200&300m), analysed 1-2 August 2001, aged ~5.5 months.
Replication Statistics, or Sample Pooled Data Stats:
See Metadata Cruise Sheet for additional details
For 2001-06 Acidified Samples analysed 9March01 to 28August01
|  | FA&mw | UFA&mw | All Acid samples: |  |  | All Samples >2.0nmol
Pooled Variance (sp): |  | 0.025692 | 0.37978 | 0.26916 |  |  | 0.4634 | As might be expected, samples with high Fe content, >2nmol, the majority of which are unfiltered, tend to be more variable than filtered, possibly due to unequal particulate loading.
Detection Limit:
Average Fe: |  | 0.6338 | 4.697 | 2.6654 |  |  | 7.4279
Sum d^2: |  | 0.062047 | 13.5578 | 13.6199 |  |  | 14.1728
Rsp% |  | 4.0536 | 8.0856 | 10.0983 |  |  | 6.2387
n: |  | 47 | 47 | 94 |  |  | 33
Duplicate acidified samples were collected for most depths, and separated to study the effect of microwaving or not, on the stored acidified samples:
|  | FAmw-FA |  | UFAmw-UFA
w/o outlier
Average Difference (nM): |  | 0.059063 |  | -0.22554 | 0.035654
Stdev of Diff (nM): |  | 0.10139 |  | 1.4156 | 0.31213
n: |  | 22 |  | 29 | 28
Daily Reference Standards (DRS)
DRS were not run over the period from March to August 2001
Blanks:
See Metadata Cruise Sheet for details
| Date | Standard rc0: |  |  | Standard 0(LowFeSW): |  |  |  | Detection Limit:
|  | Time | Fe(III) |  | Time | Fe(III)
~0.02-0.04nM Fe
Average: |  |  | 0.0027305 |  |  | 0.031055
Stdev: |  |  | 0.0050236 |  |  | 0.01309
DL: |  |  | 0.015071 |  |  | 0.03927
Count: |  |  | 10 |  |  | 28
%RSD: |  |  | 183.9814 |  |  | 42.1509

## 2001-06sum
Replicate Analysis within a Sample Bottle
[5 empty] | REP Btl&Filter |  |  |  | AllSamples <0.2nmol: |  |  | Rep Btw bottles: FAmw&FA |  |  | AllSamples >2.0nmol: | [13 empty] | Rep Btw bottles: UFAmw&UFA
|  |  | FB samples: |  | all | w/o>2 | FA |  |  | F | UF | Diff |  |  |  | F | UF |  | UFB samples: |  |  |  |  | UFA all |  |  |  | Diff UFA | Diff w/o outlier | All | w/o outlier(1 point)
Pooled Variance (sp): |  |  | 0.027261 |  | 0.12058 | 0.041954 | 0.025692 |  | 0.0069088 | 0.0031613 | 0.0097133 | Avg | 0.081552 | sp | 0.4634 | 0.044795 | 0.51187 |  | 0.06693 |  |  |  |  | 0.37978 |  |  |  | Avg | Avg | 0.97851 | 0.21413
Detection Limit: | [8 empty] | 0.020726 |  |  | Stdev | [15 empty] | Stdev | Stdev
Average Fe: |  |  | 0.55266 |  | 0.69978 | 0.38155 | 0.6338 |  | 0.071273 | 0.059435 | 0.085896 | 0.059063 | 0.53709 |  | 7.4279 | 2.2752 | 8.5729 |  | 0.75054 |  |  |  |  | 4.697 |  |  |  | -0.22554 | 0.035654 | 5.0595 | 4.8549
Sum d^2: |  |  | 0.1308 |  | 0.20355 | 0.021122 | 0.062047 |  | 0.0072552 | 0.00083949 | 0.0064157 | 0.10139 | 0.29263 |  | 14.1728 | 0.024079 | 14.1488 |  | 0.68986 |  |  |  |  | 13.5578 |  |  |  | 1.4156 | 0.31213 | 55.534 | 2.5676
Rsp% |  |  | 4.9327 |  | 17.2309 | 10.9957 | 4.0536 |  | 9.6934 | 5.3189 | 11.3082 |  | 15.184 |  | 6.2387 | 1.9688 | 5.9708 |  | 8.9176 |  |  |  |  | 8.0856 | [5 empty] | 19.34 | 4.4106
n: |  |  | 88 |  | 7 | 6 | 47 |  | 76 | 42 | 34 | 22 | 22 |  | 33 | 6 | 27 |  | 77 |  |  |  |  | 47 |  |  |  | 29 | 28 | 29 | 28
|  | Filtered | [12 empty] | Unfiltered
|  | BUFF 0time |  |  | Time (hr) | Buff | Acid MW |  | Acid |  | Time | AcidMW&Acid |  |  | BUFF 0time | for graph |  |  | Avg UFB |  | Buff | Time (hr) |  | Acid MW |  | Acid |  |  | AcidMW&Acid | AcidMW&Acid | [5 empty] | 0.22u | 5S 1930 | [5 empty] | Filter |  | Salinity Depth
|  | FB |  |  |  |  | Famw |  | FA | [5 empty] | UFB | [8 empty] | UFAmw |  | UFA
|  | 0.22u | stdev: n=3n=4 |  | Buf-Anal1 | 4 wks | [5 empty] | AMW-A | Avg | d^2 | UF1 | UF2 | UF3 |  |  |  | 4 wk,other | Buf-An | ~4 wks | <4wk,<8wk,6mo |  |  |  |  | AMW-A | Avg | d^2 |  | Sampler | Order | Salinity | Filter Type | Time Mess | Time Buff | TimeUF->B | ~hrs UFbuff | Notes |  | Time | Order
[15 empty] | PO4 mostly increasing with time | [22 empty] | F/UF
P4 | 0 | 0.3939 | 5.8426e-05 |  | 0.5 |  | 0.56249 | 6.5348e-06 |  |  | 1 month |  |  |  | 0.76672 | 0.8459 |  |  | 0.80631 |  |  | 0.5 |  | 5.0518 |  |  |  | 1 month |  |  |  |  | Zodiac |  |  | CR Duro47 | 7F 1245 |  |  |  |  | 0 | 1700 | A1 |  | 0 | 2045
| 10 | 0.26878 | 0.00050408 |  | 0.5 |  | 0.34489 | 0.00017424 | 0.31965 | 6.9277e-05 | " | 0.025248 | 0.33227 | 0.00063748 | 0.67679 | 0.70595 |  |  | 0.69137 |  |  | 0.5 |  | 2.2393 |  | 2.0508 |  | " | 0.18849 | 2.145 | 0.035528 |  | 10L #6 | 2 | 32.6333 | CR Duro47 | 7F 1620 |  |  |  |  | 10 | 1830 | B1 | 10 | 10 | 0020
| 25 | 0.31801 | 0.00011646 |  | 0.5 |  | 0.32403 | 9.7829e-05 |  |  | " |  |  |  | 0.52688 | 0.57835 |  |  | 0.55262 |  |  | 0.5 |  | 1.5071 |  |  |  | " |  |  |  |  | 10L #5 | 8 | 32.6276 | CR Duro47 | 7F 1905 |  |  |  |  | 25 | 2030 | B3 | 25 | 25 | 0305
| 45 | 0.32576 | 0.00030694 |  | 0.5 |  | 0.30736 |  |  |  | " |  |  |  | 0.24913 | 0.45679 |  |  | 0.35296 |  |  | 0.5 |  | 1.4959 |  |  |  | " |  |  |  |  | 10L #5 | 6 | 32.6282 | CR Duro47 | 7F 1840 |  |  |  |  | 45 | 1930 | B2 | 45 | 45 | 0240
10L #3 | 75 | 1.227 | 0.0065486 | >high std | 0.5 |  | 0.61687 |  |  |  | " |  |  |  | 2.1754 | 2.3956 |  |  | 2.2855 |  |  | 0.5 |  | >8.0 |  |  |  | " |  |  |  |  | 10L #3 | 5 | 33.016 | CR Duro47 | 7F 1835 |  |  |  |  | 75 | 2200 | B5 | 87 | 75 | 0235,0250
10L #5 |  | 1.2343 |  | " | 0.5 |  | 0.62293 |  |  |  | " |  |  |  | 2.7051 | 2.8227 |  |  | 2.7639 | 0.013823 |  | 1.5 |  | >8.0 |  |  |  | " |  |  |  | buff >1hr,change in conc time | 10L #5 | 7 |  | CR Duro47 | 7F 1850 | [5 empty] | 2130 | B4 |  |  | 0215
| 100 | 0.90658 |  | poss high, NF on | 0.5 | 0.7435 | 0.3428 |  | 0.37212 |  | 1.5 m | -0.029317 | 0.35746 | 0.00085949 | 2.3225 | 2.4801 |  |  | 2.4013 |  |  | 0.5 | [10 empty] | 10L #3 | 4 | 33.5056 | CR Duro47 | 7F 1815 |  |  |  |  | 100 | 2300 | C1 | 108 | 100 | 0215
| 200 | 1.7182 | 0.015349 |  | 0.5 | 1.2307 | 1.7146 | 0.025944 | 1.4806 |  | 1 month | 0.234 | 1.5976 | 0.054756 | 2.3381 | 2.17 |  |  | 2.254 |  |  | 0.5 | [10 empty] | 10L #5 | 4 | 33.9613 | CR Duro47 | 7F 1815 |  |  |  |  | 200 | 0000 | C2 | 200 | 200 | 0000
| 300 | [31 empty] | NA | [8 empty] | 300 |  |  |  |  | 0000
| 400 | 2.3394 | 0.0014262 |  | 0.5 |  | 2.7763 | 0.0054964 | 2.3545 |  | " | 0.42186 | 2.5654 | 0.17797 | 3.3498 | 3.3498 |  |  | 3.3498 |  |  | 0.5 | 8.1939 | 10.4919 |  | 10.0926 |  | 6.5 month | 0.39931 | 10.2922 | 0.15945 |  | 10L #5 | 1 | 34.0234 | CR Duro47 | 7F 1600 |  |  |  |  | 395 | 1730 | A2 | 375 | 375 | 0115
| 600 | 1.1417 | 0.0013364 |  | 0.5 |  | 1.4391 |  |  |  | " |  |  |  | 1.4961 | 1.4585 |  |  | 1.4773 |  |  | 0.5 | [9 empty] | GF top open-discard | 10L #6 | 3 |  | CR Duro47 | 7F 1715 | [5 empty] | 0145 | C3 |  |  | 0115
| 600 | 1.3715 | 0.00075223 |  | 0.5 |  | 1.4045 | 0.004567 |  |  | " |  |  |  | 1.6155 | 1.5854 |  |  | 1.6005 |  |  | 0.5 | 2.718 | 3.2467 | 0.022956 |  |  | " |  |  |  |  | 10L #3 | 1 | 34.135 | CR Duro47 | 7F 1600 |  |  |  |  | 595 | 0215 | C4 | 600 | 600
| 800 | 2.0318 | 5.0027e-06 |  | 0.5 |  | 1.6052 |  |  |  | " |  |  |  |  | 2.5112 |  |  | 2.5112 |  |  | 0.5 | 7.2325 | 7.1508 |  | 14.4286 |  | " | -7.2778 | 10.7897 | 52.9664 |  | 10L #3 | 3 | 34.2962 | CR Duro47 | 7F 1715 |  |  |  |  | 800 | 0300 | C5 | 775 | 775
| 1000 | 2.2173 | 0.0045788 |  | 0.5 |  | 1.8721 |  | 1.7445 |  | " | 0.12752 | 1.8083 | 0.016262 | 2.7848 | 2.814 |  |  | 2.7994 |  |  | 0.5 | 7.5037 | 9.98 | 0.12566 | 9.0469 |  | " | 0.93308 | 9.5135 | 0.87064 |  | 10L #5 | 3 | 34.3973 | CR Duro47 | 7F 1715 |  |  |  |  | 1000 | 0400 | C6 | 995 | 995
P4 bottle reps: | 75 | 1.2307 | 5.2718e-05 |  | different GF |  | 0.6199 | 3.6791e-05 | [7 empty] | 2.6091 | 0.18242 | [6 empty] | overrange
P12 | 0 | 0.024571 | 1.1467e-06 |  | 1.5 |  | 0.051132 |  | 0.030067 |  |  | 0.021065 | 0.040599 | 0.00044372 | 0.042034 | 0.04354 |  |  | 0.042787 | 2.2675e-06 |  | 1.5 |  | 0.12586 |  | 0.10186 |  |  | 0.024002 | 0.11386 | 0.00057611 |  | Zodiac |  |  | CR Duro47 | 9F 1000 |  |  |  |  | 0 | 1115 | A4 |  | 0
| 10 | >1.5 |  | Opti contam | 1.5 | [10 empty] | 0.1271 | 0.12013 | 0.12361 |  |  |  | 1.25 |  | 0.20544 | [7 empty] | poss. still contam | Pump | 1C |  | Opti | 9F 0435 |  |  |  |  | 10 |  |  |  | 10
pump | 25 |  |  |  | 1.5 | [9 empty] | 0.12756 | 0.087315 | 0.084118 | 0.085717 |  |  |  | 1.25 |  | 0.23482 | [7 empty] | poss. still contam | Pump | 1B | 32.4813 | Opti | 9F 0400 |  |  |  |  | 25 |  |  | 25 | 25
25GF#10 | 25 | 0.062895 | 1.5967e-05 |  |  |  | 0.062992 | [7 empty] | 0.14016 | 0.12813 | 0.51311 |  | 0.13415 | 0.00014468 |  | 1.5, 28 |  | 0.37291 | [8 empty] | 12L #10 | 6 |  | CR Duro47 | 9F 0900 | [5 empty] | 1000 | A2
| 40 | >1.5 |  | Opti contam | 1.5 | [9 empty] | 0.1011 | 0.098338 |  |  | 0.099721 | 7.652e-06 |  | 1.5 | [10 empty] | Pump | 1A |  | Opti | 9F 0345 |  |  |  |  | 40 |  |  |  | 40
| 75 | 0.052556 | 1.2301e-05 |  |  |  | 0.060719 | [7 empty] | 0.079659 | 0.066448 |  |  | 0.073053 | 0.00017452 |  | 1.5 |  | 0.17918 | [8 empty] | Wilbur | 5 | 32.481 | CR Duro47 | 9F 0855 |  |  |  |  | 75 | 1100 | A3 | 75 | 75
| 100 | 0.067661 | 5.5268e-06 |  | avg these: | 0.12484 | 0.12468 | 1.5872e-07 | 0.11238 |  |  | 0.012306 | 0.11853 | 0.00015143 | 0.053694 | 0.052626 | 0.34439 |  | 0.05316 | 1.1409e-06 | 0.17748 | 1.5, 28 |  | 0.3579 | 1.0642e-06 | 0.32746 |  |  | 0.030437 | 0.34268 | 0.00092643 |  | 12L #12 | 4 | 32.7858 | CR Duro47 | 9F 0845 |  |  |  |  | 100 | 1230 | B1 | 115 | 100
[6 empty] | 0.086497 | 0.11755 |  | 0.13305 |  |  | -0.015496 | 0.1253 | 0.00024013
| 200 | 0.29603 | 0.00037016 |  | 1.5 | 0.29705 | 0.32122 | [7 empty] | 0.35688 | 0.35902 |  |  | 0.35795 | 4.589e-06 | 0.54884 | 0.75 |  | 0.847 | [8 empty] | Wilbur | 3 | 32.9126 | CR Duro47 | [5 empty] | 200 | 1300 | B2 | 200 | 200
| 300 | 1.424 | 0.0023621 | ?mislabel | 1.5 | 1.089 | 1.2871 |  | 1.1278 |  |  | 0.15931 | 1.2075 | 0.025378 | 0.79178 | 0.77093 |  |  | 0.78135 | 0.00043437 | 0.84585 | 4.5 |  | 1.4633 |  | 2.0466 |  |  | -0.58324 | 1.755 | 0.34017 |  | 12L #10 | 3 | 33.9391 | CR Duro47 | 9F 0745 | ?mislabel or Fe Anal problems, acidifieds look ok |  |  |  | 300 | 1315 | B3 | 300 | 300
| 400 | 0.99044 | 0.0022911 | ?mislabel | 1.5 | 0.71242 | 1.0455 | 6.7907e-05 | [6 empty] | 0.77746 | 0.73212 |  |  | 0.75479 | 0.002056 | 0.74092 |  |  | 2.5459 | 0.009819 | [7 empty] | 12L #12 | 3 | 33.9929 | CR Duro47 | 9F 0745 | " |  |  |  | 400 | 1500 | B4 | 400 | 400
| 600 | 1.424 |  | Opti contam | 3.5 | 1.6069 | 2.1996 | 0.00046461 | [6 empty] | 1.4456 | 1.4706 | 1.3652 |  | 1.4581 | 0.00062522 | 1.3447 | ?1.5 |  | 2.3975 | [7 empty] | >1.2 high std | Wilbur | 2 | 34.1408 | Opti | 9F 0545 | check depth with sal/ meter block slipping |  |  |  | 600 | 1530 | B5 | 600 | 600
| 800 | 3.5 | >3.5 | Opti contam | 1.5 |  | >4.3 | [7 empty] | >3.5 | [8 empty] | 14.7862 | 0.23583 | 15.4833 | 0.41363 |  | -0.69704 | 15.1348 | 0.48586 |  | 12L #10 | 2 |  | Opti | 9F 0545 | check depth with sal/ meter block slipping |  |  |  | 800 | 1615 | B6 |  | 800
| 1000 | 3.5 | >3.5 | Opti contam | 1.5 |  | >4.3 | [16 empty] | 6.0696 | 0.11989 | [7 empty] | 12L #12 | 2 | 34.3666 | Opti | 9F 0545 | check depth with sal/ meter block slipping |  |  |  | 1000 | 0930 | A1 | 1000 | 1000
PumpvsGF | 25 | [14 empty] | 0.10466 | 0.001436 | [6 empty] | 0.30386 | 0.019071
P16 | 0 | [40 empty] | 0
| 10 | 0.032311 | 4.7582e-06 |  | 1.25 |  | 0.20009 | 6.1611e-05 | [6 empty] | 0.024579 | 0.025983 |  |  | 0.025281 | 1.9727e-06 |  | 1.25 |  | 0.16935 | 2.6621e-05 | [7 empty] | Pump | 1C |  | Duro90 | 10F 1430 |  |  |  |  | 10 |  |  |  | 10
| 25 | 0.02491 | 2.091e-07 |  | 1.25 |  | 0.24352 | 8.616e-07 | [6 empty] | 0.03167 | 0.033298 |  |  | 0.032484 | 2.6495e-06 |  | 1.5 |  | 0.1059 | [8 empty] | Pump | 1B |  | Duro90 | 10F 1410 |  |  |  |  | 25 |  |  |  | 25
| 40 | 0.040138 | 3.8603e-05 |  | 1.25 |  | 0.12163 | [7 empty] | 0.035969 | 0.035822 |  |  | 0.035895 | 2.1748e-08 |  | 1.5 |  | 0.18332 | [8 empty] | Pump | 1A |  | Duro90 | 10F 1350 | 1:15hr Opti flush with pump |  |  |  | 40 |  |  |  | 40
Duro filter | 75 | 0.084848 | 7.3996e-06 |  | 1.5 |  | >1.5 | [7 empty] | 0.035257 | 0.037753 |  |  | 0.036505 | 6.2307e-06 |  | 2.75 |  | 0.8283 | [8 empty] | 12L #10 | 2 | 32.4907 | Duro90 | 10F 1600 |  |  |  |  | 75 |  |  | 75 | 75
upside down for | 100 | 0.032302 | 2.8898e-06 |  | 1 |  | 0.19805 | [7 empty] | 0.12524 | 0.13094 |  |  | 0.12809 | 3.2392e-05 |  | 1.5 |  | >1.4 | [8 empty] | 12L #12 | 3 | 32.5084 | Duro90 | 10F 1615 |  |  |  |  | 100 |  |  | 100 | 100
for stn20 | 200 | 0.21452 | 0.00014581 |  | 1.5 | 1.1262 | 0.63287 | [7 empty] | 0.20779 | 0.23341 |  |  | 0.2206 | 0.0006566 |  | 1.5 |  | 0.55715 | [8 empty] | 12L #10 | 4 | 33.8935 | Duro90 | 10F 1635 |  |  |  |  | 200 |  |  | 220 | 220
?P16 too | 300 | 0.31613 | 0.00013042 |  | 1.5 |  | 0.64856 | 0.00054259 | [6 empty] | 0.69002 | 0.72331 |  |  | 0.70666 | 0.0011078 |  | 1.25 |  | 0.67806 | 7.1695e-05 | [7 empty] | 12L #10 | 5 | 33.9454 | Duro90 | 10F 1650 |  |  |  |  | 300 |  |  | 320 | 320
| 400 | 0.34548 | 2.092e-05 |  | 1.5 |  | 0.889 | [7 empty] | 0.42893 | 0.44012 | 0.3846 |  | 0.43452 | 0.00012523 |  | 1.5,6 |  | 0.50822 | 0.00016992 | [7 empty] | 12L #12 | 5 | 34.0222 | Duro90 | 10F 1650 |  |  |  |  | 400 |  |  | 430 | 430
| 600 | 0.45634 | 0.0024595 |  | 1.5 |  | 0.47245 | [7 empty] | 0.44917 | 0.44469 |  |  | 0.44693 | 2.0096e-05 |  | 1.5 |  | 0.50244 | [8 empty] | 12L #10 | 6 | 34.123 | Duro90 | 10F 1815 |  |  |  |  | 600 |  |  | 560 | 560
| 800 | 0.51855 | 0.00065606 |  | 1.25 |  | 0.79341 | 0.00030598 | [6 empty] | 0.47024 | 0.44852 |  |  | 0.45938 | 0.00047189 |  | 1.5 |  | 0.60756 | [8 empty] | 10L #5 | 6 | 34.2706 | Duro90 | 10F 1815 |  |  |  |  | 800 |  |  | 790 | 790
| 1000 | 0.57171 | 0.00025284 |  | 1.25 |  | 0.76567 | 0.0013449 | [6 empty] | 3.3354 | 3.8675 | contam |  |  |  |  | 4.75 |  | 0.62445 | [8 empty] | 12L #12 | 6 | 34.3606 | Duro90 | 10F 1815 |  |  |  |  | 1000 |  |  | 990 | 990
?high or low 0.8
P20 | 0 | 0.026678 | 1.6176e-05 |  | 1.5 |  | 0.082455 | 4.1568e-05 | 0.088288 | 5.7788e-05 |  | -0.0058328 | 0.085371 | 3.4022e-05 | 0.034565 | 0.030382 |  |  | 0.032473 | 1.7495e-05 |  | 1.5 |  | 0.26012 | 0.00018361 | 0.21011 |  |  | 0.050011 | 0.23511 | 0.0025011 |  | Zodiac |  |  | CR Duro47 | 11F 1745 |  |  |  |  | 0 | 2130 |  |  | 0
Duro filter | 10 | 0.070491 |  | Port5 cont on 1.5hr rep | 5.5 |  | 0.31345 | 0.00014498 | [6 empty] | 0.17947 | 0.21492 |  |  | 0.19719 | 0.0012562 |  | 1.5 |  | 0.2815 | 8.553e-05 | [7 empty] | Pump | 1C |  | Duro90 | 11F 2340 |  |  |  |  | 10 |  |  |  | 10
10GF | 10 | [13 empty] | 0.078529 | 0.11769 |  |  | 0.098108 | 0.0015333 |  | 0.5 | [10 empty] | BB |  |  | not filtered
upside down for | 25 | 0.046352 |  |  | 2.25 |  | 0.37361 | 1.9761e-06 | [6 empty] | 0.17523 | 0.16402 |  |  | 0.16963 | 0.00012568 |  | 2.25 |  | 0.39005 | 6.9117e-05 | [7 empty] | Pump | 1B |  | Duro90 | 11F 2325 |  |  |  |  | 25 |  |  |  | 25
for stn20 | 40 | 0.036762 | 2.5877e-06 |  | 1.5 |  | 2.0871 | 0.012108 |  | MW OR>0.4, contam |  |  |  |  | 0.037567 | [6 empty] | 1.5 |  | 0.47074 |  | 0.4163 | 0.00095027 |  | 0.054434 | 0.44352 | 0.0029631 |  | Pump | 1A |  | Duro90 | 11F 2255 |  |  |  |  | 40 |  |  |  | 40
?P16 too | 75 | 0.069403 | 0.0001308 |  | 1.5 |  | 0.23563 | 6.7625e-05 | [6 empty] | 0.084369 | 0.086743 |  |  | 0.085556 | 5.6372e-06 |  | 1.5 |  | 0.37904 | 0.0005065 | [7 empty] | 12L #12 | 2 | 32.609 | Duro90 | 12F 0200 |  |  |  |  | 75 |  |  | 75 | 75
| 100 | 0.050822 | 5.0252e-08 |  | 1.75 |  | 0.22904 | 0.0013612 | [6 empty] | 0.042916 | [6 empty] | 1.5 |  | 0.27717 | 0.00057058 | [7 empty] | 12L #10 | 3 | 32.6106 | Duro90 | 12F 0230 |  |  |  |  | 100 |  |  | 100 | 100
| 200 | 0.3397 | 0.0016954 |  | 1.25 |  | 0.81031 | 4.211e-06 | [6 empty] | 0.38269 | 0.39181 |  |  | 0.38725 | 8.3191e-05 |  | 1.5 |  | 0.77633 | 0.00060946 | [7 empty] | Wilbur | 4 | 33.8695 | Duro90 | 12F 0335 |  |  |  |  | 200 |  |  | 200 | 200
| 300 | 0.38902 | 8.5699e-05 |  | 1.5 |  | 0.90761 | 4.3835e-05 | [6 empty] | 0.47078 | 0.45778 |  |  | 0.46428 | 0.00016886 |  | 1.5 |  | 0.88448 | 0.00077695 | [7 empty] | 12L #10 | 4 | 33.9635 | Duro90 | 12F 0335 |  |  |  |  | 300 |  |  | 300 | 300
| 400 | 0.42487 | 1.3918e-05 |  | 1.5 |  | 0.92466 | 0.001813 | [6 empty] | 0.42508 | 0.40544 |  |  | 0.41526 | 0.00038606 |  | 1.5 |  | 0.87742 | 0.00087724 | [7 empty] | 12L #12 | 4 | 34.034 | Duro90 | 12F 0335 |  |  |  |  | 400 |  |  | 400 | 400
| 600 |  |  | Port5 cont likely | 2.25 |  | 1.0349 | 0.00093795 | [6 empty] | 0.47046 | 0.46243 |  |  | 0.46645 | 6.4588e-05 |  | 1.5 |  | 0.91136 | 4.2347e-05 | [7 empty] | Wilbur | 5 | 34.1902 | Duro90 | 12F 0515 |  |  |  |  | 600 |  |  | 625 | 625
| 800 | 0.51853 | 0.00080078 |  | 2.5 |  | 0.91319 | 0.00058761 | [6 empty] | 0.39488 | 0.39196 | 0.5008 |  | 0.39342 | 8.5519e-06 | 0.48572 | 1.5,5 |  | 0.83679 | 0.00016559 | [7 empty] | 12L #10 | 5 | 34.2956 | Duro90 | 12F 0515 |  |  |  |  | 800 |  |  | 825 | 825
| 1000 | 0.50807 | 1.8576e-05 |  | 2.5 | 0.52672 | 0.63126 | 0.00070922 | [6 empty] | 0.44867 | 0.45182 | 0.47446 |  | 0.45024 | 9.9665e-06 | 0.5087 | 1.5,5 |  | 0.65877 | [8 empty] | 12L #12 | 5 | 34.3751 | Duro90 | 12F 0515 |  |  |  |  | 1000 |  |  | 1025 | 1025
P26 | 0 | 0.014859 | 2.9062e-07 |  | 1.5 |  | 0.063443 | 4.8661e-05 | 0.051684 |  |  | 0.01176 | 0.057564 | 0.00013829 | 0.026855 | 0.024621 |  |  | 0.025738 | 4.9906e-06 |  | 1.25 |  | 0.41191 |  | 0.38857 |  |  | 0.02334 | 0.40024 | 0.00054478 |  | Zodiac |  |  |  | 13F 1730 |  |  |  |  | 0 |  |  |  | 0
| 10 | 0.0067977 | 2.0395e-06 | Duro90 | 0.5 |  | 0.072271 | 1.3954e-07 | 0.058458 |  |  | 0.013812 | 0.065365 | 0.00019078 | 0.02739 | 0.030394 |  |  | 0.028892 | 9.0227e-06 |  | 1.5 |  | 0.41335 |  | 0.36894 |  |  | 0.044413 | 0.39114 | 0.0019725 |  | Pump | 1C |  | Duro90 | 13F 2340 |  |  |  |  | 10 |  |  |  | 10
New D90 |  | 0.026113 |  | Opti | 0.5 | [30 empty] | Opti
| 25 | 0.0075843 | 3.5973e-07 | Duro90 | 0.5 |  | 0.043144 | 3.0436e-05 | 0.034643 |  |  | 0.0085019 | 0.038893 | 7.2282e-05 | 0.029496 | 0.030891 |  |  | 0.030193 | 1.9458e-06 |  | 1.5 |  | 0.56951 |  | 0.54089 |  |  | 0.028624 | 0.5552 | 0.00081932 |  | Pump | 1B |  | Duro90 | 13F 2305 |  |  |  |  | 25 |  |  |  | 25
|  | 0.019909 |  | Opti | 0.5 | [30 empty] | Opti
| 40 | 0.0069927 | 1.2846e-07 |  | 1 |  | 0.067404 |  | 0.059032 |  |  | 0.0083713 | 0.063218 | 7.0078e-05 | 0.031799 | 0.030143 |  |  | 0.030971 | 2.741e-06 |  | 1.5 |  | 0.44035 |  | 0.37427 |  |  | 0.06609 | 0.40731 | 0.0043679 |  | Pump | 1A |  | Duro90 | 13F2230 |  |  |  |  | 40 |  |  |  | 40
| 55 | 0.12134 |  | ?-~0.04due to 0 rise, ->0.08 | 1.5 | 0.08044 | [8 empty] | 0.13474 |  | ?-~0.04due to 0 rise, ->0.09 |  |  |  | 0.18905 | 1.5 | [10 empty] | Wilbur | 6 |  | Duro90 | 14F 1315
| 75 | 0.028841 | 1.116e-05 |  | 1.25 | 0.086119 | 0.12097 | 6.7594e-06 | 0.096196 |  |  | 0.02477 | 0.10858 | 0.00061357 | 0.040056 | 0.037065 |  |  | 0.03856 | 8.9448e-06 |  | 1.5 |  | 0.37492 |  | 0.37176 |  |  | 0.0031631 | 0.37334 | 1.0005e-05 |  | Wilbur | 4 | 32.6101 | Opti | 14F 1610 |  |  |  |  | 75 |  |  | 75 | 75
|  | 0.077481 |  |  | 16
| 100 | 0.021313 | 6.6531e-08 |  | 1.5 |  | 0.038268 | 2.0699e-05 | 0.029907 |  |  | 0.0083605 | 0.034088 | 6.9898e-05 | 0.033826 | 0.029732 |  |  | 0.031779 | 1.6757e-05 | 0.04767 | 1.5 |  | 0.30573 |  | 0.25159 |  |  | 0.054138 | 0.27866 | 0.0029309 |  | Big B | 5 | 32.6174 | Opti | 14F ?1630 |  |  |  |  | 100 |  |  | 85 | 100
| 125 | 0.10611 | 5.0682e-05 | ?-~0.04due to 0 rise, ->0.06 | 1 | 0.15009 | [8 empty] | 0.12443 | 0.14415 | ?-~0.04due to 0 rise, ->0.09 |  | 0.13429 | 0.00038899 | 0.1471 | 1 | [10 empty] | Big B | 6 |  | Duro90 | 14F 1315 | [8 empty] | 125
| 200 | 0.28303 | 3.1332e-05 |  | 1.75 | 0.29683 | 0.38475 | 3.4618e-05 | 0.34007 |  |  | 0.044676 | 0.36241 | 0.0019959 | 0.33164 | 0.33895 |  |  | 0.3353 | 5.3438e-05 | 0.57055 | 1.75 |  | 0.55238 |  | 0.6362 |  |  | -0.083818 | 0.59429 | 0.0070255 |  | Wilbur | 3 | 33.8202 | Opti | 14F 0255 |  |  |  |  | 200 |  |  | 210 | 200
| 300 | 0.33126 | 0.00013407 |  | 1.25 | 0.34039 | 0.42487 |  | 0.36036 |  |  | 0.06451 | 0.39261 | 0.0041616 | 0.35854 | 0.37745 |  |  | 0.368 | 0.00035759 | 0.43149 | 1.75 |  | 0.58376 |  | 0.54657 |  |  | 0.037188 | 0.56516 | 0.001383 |  | 12L #10 | 3 | 33.9477 | Opti | 14F 0255 |  |  |  |  | 300 |  |  | 300 | 300
| 400 | 0.4005 | 7.2848e-05 |  | 1.5 | 0.36333 | 0.5233 | 1.0916e-05 | 0.51962 | 9.0244e-05 |  | 0.0036795 | 0.52146 | 1.3539e-05 | 0.40517 | 0.40941 |  |  | 0.40729 | 1.7933e-05 | 0.48843 | 1.5 |  | 0.55401 |  | 0.57878 |  |  | -0.024766 | 0.5664 | 0.00061334 |  | 12L #12 | 3 | 34.0604 | Opti | 14F 0255 |  |  |  |  | 400 |  |  | 420 | 420
| 600 | 0.43079 | 0.00079659 |  | 1.5 | 0.21095 | 0.8569 | 0.00014088 | 0.80178 |  |  | 0.055118 | 0.82934 | 0.003038 | 0.44972 | 0.4572 |  |  | 0.45346 | 5.5868e-05 | 0.43772 | 1.5 |  | 0.7903 |  | 0.76553 |  |  | 0.02477 | 0.77792 | 0.00061354 |  | Big B | 2 | 34.208 | Opti | 14F 0125 |  |  |  |  | 600 |  |  | 615 | 615
| 800 | 0.47454 | 0.0017019 |  | 1.25 | 0.4176 | 0.53511 |  | 0.48455 |  |  | 0.050557 | 0.50983 | 0.0025561 | 0.54941 | 0.55985 |  |  | 0.55463 | 0.000109 | 0.67352 | 1.5 |  | 0.94668 |  | 0.73409 |  |  | 0.21259 | 0.84039 | 0.045193 |  | 12L #12 | 2 | 34.317 | Opti | 14F 0125 |  |  |  |  | 800 |  |  | 815 | 815
[23 empty] | 0.84285 | 0.78134 |  | 0.79396 |  |  |  | 0.78765 | 0.00015945
| 1000 | 0.62079 | 0.0039953 |  | 1.5 | 0.52902 | 0.62172 | 0.00091021 | 0.56711 |  |  | 0.054611 | 0.59441 | 0.0029824 | 1.1778 | 1.2239 | >0.8, but ~same as would get on other days' 1.2 high std |  | 1.2009 | 0.0021212 | >1.6 | 1.5 | 4.1463 | 2.9826 | 0.016485 | 3.1099 |  |  | -0.12735 | 3.0463 | 0.016217 |  | 12L #10 | 2 | 34.3821 | Opti | 14F 0125 |  |  |  |  | 1000 |  |  | 980 | 980
rep smp | 10 | 0.016456 | 0.0003731 | different filters
| 25 | 0.013747 | 0.0001519
53.47.88N 139.29.94W
Haida Eddy | 10 | 0.026077 | 2.2846e-08 |  | 1.5 | 0.042632 | 0.045502 | [7 empty] | 0.064962 | 0.069358 |  |  | 0.06716 | 1.9321e-05 | 0.18821 | 1.25 |  | 0.30961 | [8 empty] | Pump | 1C |  | Duro90 | 16F 0750 |  |  |  |  | 10 |  |  |  | 10
West, Out | 25 | 0.030799 | 1.708e-05 |  | 1.5 | 0.038678 | 0.054961 | 4.4281e-06 | [6 empty] | 0.067989 | 0.076782 |  |  | 0.072385 | 7.7324e-05 | 0.21828 | 1.5 |  | 0.45292 | [8 empty] | Pump | 1B |  | Duro90 | 16F 0725 |  |  |  |  | 25 |  |  |  | 25
| 40 | 0.041868 | 1.2025e-05 |  | 1.25 | 0.096301 | 0.062728 | 7.1141e-06 | [6 empty] | 0.093174 | 0.098323 |  |  | 0.095748 | 2.6515e-05 | 0.26206 | 1.5 |  | 0.59347 | 4.8298e-07 | [7 empty] | Pump | 1A |  | Duro90 | 16F 0705 |  |  |  |  | 40 |  |  |  | 40
| 75 | 0.046343 | 1.1522e-07 |  | 1.5 | 0.07169 | 0.080971 | [7 empty] | 0.062909 | 0.069007 |  |  | 0.065958 | 3.7178e-05 | 0.18714 | 1.5 |  | 0.42368 | 0.00015507 | [7 empty] | 12L #12 | 2 | 32.6773 | ?Opti | 16F 0820 |  |  |  |  | 75 |  |  | 75 | 75
| 100 | 0.064709 | 2.011e-05 |  | 1.5 | 0.033068 | 0.05302 | [7 empty] | 0.091145 | 0.093809 |  |  | 0.092477 | 7.095e-06 | 0.16368 | 1.5 |  | 0.36504 | [8 empty] | Big B | 3 | 32.7591 | Opti | 16F 0845 |  |  |  |  | 100 |  |  | 80 | 100
| 150 | 0.22527 | 0.00010008 |  | 2.5 | 0.28196 | 0.27296 | 2.6249e-06 | [6 empty] | 0.25497 | 0.2712 |  |  | 0.26308 | 0.00026333 | 0.41834 | 1.5 |  | 1.56 | 0.0014652 | [6 empty] | > hi std | 12L #10 | 3 | 33.7337 | Opti | 16F 0845 |  |  |  |  | 150 |  |  | 140 | 150
| 200 | 0.30724 | 0.00011439 |  | 1.5 | 0.37924 | 0.46863 | [7 empty] | 0.36508 | 0.33273 |  |  | 0.3489 | 0.0010466 | 0.546 | 1.5 |  | 0.64243 | [8 empty] | 12L #12 | 4 | 33.8622 | Opti | 16F 0950 |  |  |  |  | 200 |  |  | 180 | 200
| 300 | 0.37651 | 0.00073873 |  | 1.5 | 0.3785 | 0.48581 | [7 empty] | 0.40315 | 0.41885 |  |  | 0.411 | 0.0002467 | 0.4863 | 1.5 |  | 0.67118 | 0.0024144 | [7 empty] | 12L #10 | 4 | 33.9875 | Opti | 16F 0950 |  |  |  |  | 315 |  |  | 305 | 300
| 400 | 0.44066 | 0.00094356 |  | 1.5 | 0.38978 | 0.48001 | [7 empty] | 0.48049 | 0.49287 |  |  | 0.48668 | 0.00015316 | 0.43365 | 1.5 |  | 0.51757 | 8.1952e-05 | [7 empty] | Big B | 4 | 34.0718 | Opti | 16F 0950 |  |  |  |  | 415 |  |  | 400 | 400
| 600 | 0.48012 | 0.0014956 |  | 1.5 | 0.59085 | 0.64642 | [7 empty] | 0.50624 | 0.50761 |  |  | 0.50692 | 1.8556e-06 | 0.56137 | 1.5 |  | 0.72646 | 0.0051638 | [7 empty] | Wilbur | 4 | 34.2133 | Opti | 16F 0950 |  |  |  |  | 615 |  |  | 590 | 600
53.48N 138.00W
Haida Eddy | 10 | 0.013067 | 7.4347e-06 |  | 1.5 | 0.041358 | 0.05716 | 1.5769e-06 | [6 empty] | 0.031152 | 0.038887 |  |  | 0.035019 | 5.9822e-05 | 0.22712 | 1.5 |  | 0.26503 | 0.00034342 | [7 empty] | Pump | 1C |  | Opti | 16F 2300 |  |  |  |  | 10 |  |  |  | 10
HE 4~center | 25 | 0.016682 | 1.5823e-06 |  | 1.5 | 0.049042 | 0.058169 | [7 empty] | 0.076527 | 0.09428 |  |  | 0.085403 | 0.00031519 | 0.32289 | 1.5 |  | 0.23487 | [8 empty] | Pump | 1B |  | Opti | 16F 2240 |  |  |  |  | 25 |  |  |  | 25
| 40 | 0.065711 | 5.829e-06 |  | 1.5 | 0.16583 | 0.05637 | [7 empty] | 0.05834 | 0.060574 |  |  | 0.059457 | 4.9898e-06 | 0.22803 | 2 |  | 0.29269 | 0.0013988 | [7 empty] | Pump | 1A |  | Opti | 16F 2220 |  |  |  |  | 40 |  |  |  | 40
| 75 | 0.032698 | 3.0998e-06 |  | 1.25 | 0.04544 | 0.053847 | [7 empty] | 0.14468 | 0.17228 |  |  | 0.15848 | 0.00076177 | 0.38772 | 1.25 |  | 0.65069 | [8 empty] | 12L #12 | 2 |  | Opti | 16F 2335 |  |  |  |  | 75 |  |  | 50 | 75
| 100 | 0.28528 | 0.00042115 |  | 1.25 | 0.27604 | 0.17637 | [7 empty] | 0.22092 | 0.24696 |  |  | 0.23394 | 0.00067797 | 0.45266 | 1.25 |  | 0.47781 | 0.00012925 | [7 empty] | 12L #10 | 3 |  | Opti | 16F 2350 |  |  |  |  | 100 |  |  | 85 | 100
| 150 | 0.49251 | 8.6863e-06 |  | 1.25 | 0.43997 | 0.5951 | [7 empty] | 0.84021 | 0.83013 |  |  | 0.83517 | 0.00010173 |  | 1.5 |  | 1.2705 | 0.0080951 | [7 empty] | Big B | 3 |  | Opti | 16F 2350 |  |  |  |  | 150 |  |  | 145 | 150
| 200 | 0.65175 | 0.00073954 |  | 1.25 | >1.5 | 0.74185 | 0.00081709 | [6 empty] | 0.95387 | 0.97191 |  |  | 0.96289 | 0.00032563 |  | 1.5 | 3.0378 | 2.1466 | 0.0052313 | [7 empty] | 12L #12 | 4 | 33.875 | Opti | 17F 0110 |  |  |  |  | 200 |  |  | 195 | 200
| 300 | 0.79479 | 1.3866e-05 |  | 1.5 | >1.5 | 0.84061 | 0.00050703 | [6 empty] | 1.0666 | 1.0739 |  |  | 1.0703 | 5.3998e-05 |  | 1.25 | 1.626 | 1.482 | 0.0058858 | [7 empty] | 12L #10 | 4 | 33.9462 | Opti | 17F 0110 |  |  |  |  | 300 |  |  | 300 | 300
400or411 | 400 | 0.8413 | 0.00014739 |  | 1.25 |  | 0.88261 | 0.00017515 | [6 empty] | 0.98439 | 1.0455 |  |  | 1.0149 | 0.0037313 |  | 1.5 | 1.4236 | 1.4805 | 0.00057869 | [7 empty] | Big B | 4 | 33.9844 | Opti | 17F 0110 |  |  |  |  | 411 |  |  | 400 | 400
| 600 | 0.79187 | 7.5403e-06 |  | 1.5 |  | 0.91237 | 0.0021785 | [6 empty] | 1.0033 | 1.0073 |  |  | 1.0053 | 1.5927e-05 |  | 2 | 1.5414 | 1.4556 | 0.003822 | [7 empty] | Wilbur | 4 | 34.1373 | Opti | 17F 0110 |  |  |  |  | 600 |  |  | 610 | 610
52.52.17N 132.48.00W | [6 empty] | 0106calc.xls | not sure where calc were done, taken from final eddy.xls file | [12 empty] | from Eddy.xls:
ME 1 | 10 | 1.222 | 0.00026735 |  | 1.5 |  | 2.1655 |  | 2.0898 | [5 empty] | 2.277 | 2.4245 |  |  | 2.3508 | 0.021745 | 2.4245 | 1.25 |  |  |  | 12.6191 | 0.093985 | [5 empty] | Pump | 1C |  | Duro90 | 18F 2340 |  |  |  |  | 10 |  |  |  | 10
| 25 | 1.1539 | 0.0065444 |  | 2 |  | 4.7706 |  | 3.6286 | [5 empty] | 2.5143 | 2.8266 |  |  | 2.6704 | 0.097501 | 2.6704 | 1.25 | 11.0287 | 10.6191 |  | 10.566 | 0.025329 |  | 0.053129 | 10.5925 | 0.0028227 |  | Pump | 1B |  | Duro90 | 18F 2325 |  |  |  |  | 25 |  |  |  | 25
| 40 | 1.162 | 0.0028916 |  | 1.75 |  | 3.8901 |  | 3.4009 | [5 empty] | 2.8152 | 2.9629 |  |  | 2.8891 | 0.021828 | 2.8891 | 1.25 |  | 11.8098 |  | 11.8426 | 0.086747 |  | -0.032797 | 11.8262 | 0.0010756 |  | Pump | 1A |  | Duro90 | 18F 2300 |  |  |  |  | 40 |  |  |  | 40
| 75 | 1.0961 | 0.0068412 |  | 1.25 |  | 1.7881 |  | 1.481 | [5 empty] | 2.6692 | 2.9392 |  |  | 2.8042 | 0.07286 | 2.9392 | 1.25 | 10.0254 | 9.7237 |  | 9.699 |  |  | 0.02473 | 9.7113 | 0.00061158 |  | 12L #12 | 2 | 32.4221 | Opti | 19F 0020 |  |  |  |  | 75 |  |  | 80 | 75
| 100 | 1.2298 | 0.00030207 |  | 1 |  | 2.5938 |  | 1.7596 | [5 empty] | 3.0972 | 3.2615 |  |  | 3.1794 | 0.027003 | 3.2615 | 1.25 | 11.2036 | 10.4373 | 0.087021 | 9.8078 | 0.016204 |  | 0.62945 | 10.1226 | 0.3962 |  | 12L #10 | 3 | 32.482 | Opti | 19F 0045 |  |  |  |  | 100 |  |  | 100 | 100
| 150 | 1.4514 | 0.0051994 |  | 1.5 |  | 1.5053 |  | 1.5761 | [5 empty] | 3.8373 | 3.8866 | 4.8875 |  | 3.8619 | 0.0024352 | 3.8619 | 1.25,4.75 | >16 | 22.9082 | 0.1274 | 22.8501 | 8.7652 |  | 0.058123 | 22.8792 | 0.0033783 |  | Big B | 3 | 33.1814 | Opti | 19F 0045 |  |  |  |  | 150 |  |  | 160 | 150
| 200 | 1.4188 | 0.0039515 |  | 1.5 |  | 1.5278 |  | 1.5508 | [5 empty] | 3.3722 | 3.8087 | 4.1906 |  | 3.5905 | 0.19054 | 3.8087 | 1.25,3.0 | 18.3418 | 21.031 | 2.2673 | 21.4588 | 1.0855 |  | -0.42785 | 21.2449 | 0.18306 |  | 12L #12 | 4 | 33.7281 | Opti | 19F 0145 |  |  |  |  | 200 |  |  | 225 | 225
| 300 | 0.68742 | 0.0088378 |  | 1.25 |  | 0.98895 |  | 1.0228 | [5 empty] | 1.109 | 1.0457 |  |  | 1.0774 | 0.0040107 | 1.0457 | 1 | [10 empty] | 12L #10 | 4 | 33.9302 | Opti | 19F 0145 |  |  |  |  | 300 |  |  | 310 | 300
| 400 | 0.70461 | 0.00037541 |  | 1 |  | 1.0779 | [7 empty] | 0.86578 | 0.9069 |  |  | 0.88634 | 0.0016908 | 0.88634 | 1 | [10 empty] | Big B | 4 | 33.9699 | Opti | 19F 0145 |  |  |  |  | 400 |  |  | 395 | 400
| 600 | 0.87164 | 0.0064507 |  | 1 |  | 1.286 | [7 empty] | 1.2107 | 1.1615 |  |  | 1.1861 | 0.0024251 | 1.1615 | 1.25 | [10 empty] | Wilbur | 4 | 34.1029 | Opti | 19F 0145 |  |  |  |  | 600 |  |  | 585 | 585
ME1Eddy file values MW&A:
51.48.1N 131.00W | [23 empty] | 13.5178 | 13.5178
ME 2 | 10 | 1.2207 | 0.02072 |  | 1.25 | [9 empty] | 3.2744 | 3.5217 | 4.3241 |  | 3.398 | 0.06113 | 4.5814 | 1.25,,4.5 |  | 12.6561 | 12.9381 | [7 empty] | Wilbur | 1 |  | Opti | 19F 1610 |  |  |  |  | 10 |  |  |  | 10
| 75 | 1.7463 | 0.0030347 | 1.789 | 1.25 | [9 empty] | 3.9071 | 4.2442 |  |  | 4.0757 | 0.11365 |  | 1.25 |  | 14.6034 | 14.0078 | [7 empty] | Big B | 2 | 32.4119 | Opti | 19F 1615 |  |  |  |  | 75 |  |  | 45 | 45
sig wire angle | 150 | 1.6955 | 0.0044285 |  | 1.25 | [9 empty] | 3.7126 |  |  |  | 3.7126 |  |  | 1.25 |  | 11.6297 | 12.3213 | [7 empty] | 12L #12 | 3 | 32.8248 | Opti | 19F 1635 |  |  |  |  | 150 |  |  | 155 | 155
" | 400 | 1.6821 | 0.0062596 |  | 1.25 | [9 empty] | 2.0073 | 2.2038 |  |  | 2.1055 | 0.038609 |  | 1.25 |  | 13.0613 | 12.7871 | [7 empty] | 12L #10 | 3 | 33.9876 | Opti | 19F 1635 |  |  |  |  | 400 |  |  | 425 | 425
[24 empty] | 21.8163 | 21.8417
[24 empty] | 20.3047 | 20.6525
[24 empty] | 4.6247 | 4.4306
2.2574
| Date | Load Time | [12 empty] | Pk Ht | [8 empty] | 2.5428 | [8 empty] | Fe | Stdev | %RSD | n | Comments
DRS | 9F | 180s | 0.1336 | 8.2402e-07 | [10 empty] | 1600576
| 11F | 180s | 0.15596 | 1.0794e-06 | [10 empty] | 1585758
| 12F | 180s | 0.17349 | 7.9777e-05 | [10 empty] | 2106510
| 14F | 180s | 0.12318 | 1.8267e-06 | [10 empty] | 1155324
| 16F | 180s | 0.20627 | 0.0001674 | [10 empty] | 1709322
0.1585
0.033094
| 180s | 2001-02-09 | 1595028 |  | 0.13314
|  |  | 1606124 |  | 0.13405
|  | 2001-02-10 | 1579716 |  | 0.15544
|  |  | 1591800 |  | 0.15648
|  | 2001-02-11 | 2172988 |  | 0.17796
|  |  | 2040032 |  | 0.16902
|  | 2001-02-13 | 1162024 |  | 0.12386
|  |  | 1148624 |  | 0.12251
|  | 2001-02-16 | 1776140 |  | 0.21274
|  |  | 1642504 |  | 0.1998
Note on G106: Nes Sutherland: bad peak
Note on H108: Nes Sutherland: double acid
Note on J94: Nes Sutherland: 48 hours later
Note on Q36: poor peak
Note on W105: Nes Sutherland: large prepeak
Note on W117: Nes Sutherland: high prepeak
Note on Z108: Nes Sutherland: double acid
Note on Z109: Nes Sutherland: double acid
Note on Z120: IOS: poor cal @ this range - could be higher
Note on AC133: User: n=3
Note on AV140: 50m=32.43