## File List
Number of Files= |  | 4
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 21060053.hyd | 21060053.sam | 12 | 18 | 21060053.hyd & 21060053.sam
2 | 21060056.hyd | 21060056.sam | 20 | 25 | 21060056.hyd & 21060056.sam
3 | 21060059.hyd | 21060059.sam | 27 | 32 | 21060059.hyd & 21060059.sam
4 | 21060062.hyd | 21060062.sam | 34 | 46 | 21060062.hyd & 21060062.sam

## (Sal0 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | #VALUE! |  | X | CALC Y
m= | #VALUE! | #VALUE! |  | Std Dev of Resid |  | #VALUE! |  | #NAME? | #NAME?
b= | #VALUE! | #VALUE! |  | Resid Sum of Squares |  | #VALUE! |  | #NAME? | #NAME?
# of Values Extracted = |  |  | 32
# of Values Used in Fit = |  |  | 11
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 1241.11 | 34.413 | 0.00065275 | 0.068047 | #VALUE! | #VALUE! |  | 999.245 | -0.0026054
1 | YES | 999.245 | 34.342 | 0.0002764 | -0.0026054 | #VALUE! | #VALUE! |  | 603.212 | -0.0041809
1 | YES | 603.212 | 34.1505 | 0.00024786 | -0.0041809 | #VALUE! | #VALUE! |  | 399.328 | -0.0036774
1 | YES | 399.328 | 33.9568 | 0.00027724 | -0.0036774 | #VALUE! | #VALUE! |  | 1241.35 | -0.0040359
1 | NO | 2.3691 | 32.3285 | 0.0033443 | -0.0046806 | #VALUE! | #VALUE! |  | 212.944 | -0.0072708
1 | NO | 0 | 0 | 0 | -34.4851 | #VALUE! | #VALUE! |  | 321.266 | -0.0035858
1 | YES | 1241.35 | 34.4132 | 0.00071535 | -0.0040359 | #VALUE! | #VALUE! |  | 300.457 | -0.005764
2 | YES | 212.944 | 33.8873 | 0.00073859 | -0.0072708 | #VALUE! | #VALUE! |  | 250.525 | -0.0046997
2 | NO | 198.785 | 33.8746 | 0.029829 | -0.010925 | #VALUE! | #VALUE! |  | 200.278 | -0.014286
2 | NO | 149.445 | 33.2035 | 0.019996 | 0.089214 | #VALUE! | #VALUE! |  | 292.832 | -0.0015259
2 | NO | 100.913 | 32.3242 | 0.0023507 | -0.034939 | #VALUE! | #VALUE! |  | 250.494 | -0.0087204
2 | NO | 74.9037 | 31.904 | 0.0027593 | -0.031717 | #VALUE! | #VALUE!
2 | NO | 2.4442 | 31.755 | 0.00036876 | -0.0060749 | #VALUE! | #VALUE! |  | average | -0.0054866
3 | YES | 321.266 | 33.2078 | 0.00024214 | -0.0035858 | #VALUE! | #VALUE!
3 | YES | 300.457 | 33.2022 | 0.00021985 | -0.005764 | #VALUE! | #VALUE!
3 | YES | 250.525 | 33.169 | 0.00023556 | -0.0046997 | #VALUE! | #VALUE!
3 | YES | 200.278 | 33.0439 | 0.0015146 | -0.014286 | #VALUE! | #VALUE!
3 | NO | 175.369 | 32.8815 | 0.0039971 | -0.039436 | #VALUE! | #VALUE!
3 | NO | 3.0469 | 31.3921 | 0.00037095 | -0.0060158 | #VALUE! | #VALUE!
4 | YES | 292.832 | 33.2076 | 0.00022148 | -0.0015259 | #VALUE! | #VALUE!
4 | YES | 250.494 | 33.1749 | 0.0002285 | -0.0087204 | #VALUE! | #VALUE!
4 | NO | 200.417 | 33.082 | 0.0002561 | 0.13017 | #VALUE! | #VALUE!
4 | NO | 175.193 | 32.938 | 0.00063746 | -0.014774 | #VALUE! | #VALUE!
4 | NO | 150.439 | 32.624 | 0.0003963 | -0.014973 | #VALUE! | #VALUE!
4 | NO | 125.37 | 32.3569 | 0.00026694 | -0.064449 | #VALUE! | #VALUE!
4 | NO | 100.282 | 32.1492 | 0.00034962 | -0.033752 | #VALUE! | #VALUE!
4 | NO | 74.7182 | 32.0037 | 0.0016909 | -0.0096016 | #VALUE! | #VALUE!
4 | NO | 49.9462 | 31.8656 | 0.0011439 | -0.020666 | #VALUE! | #VALUE!
4 | NO | 30.5626 | 31.6604 | 0.0016459 | -0.039864 | #VALUE! | #VALUE!
4 | NO | 20.4055 | 31.5887 | 0.0022298 | -0.012772 | #VALUE! | #VALUE!
4 | NO | 10.4858 | 31.1278 | 0.010854 | -0.074694 | #VALUE! | #VALUE!
4 | NO | 2.4172 | 30.5675 | 0.014302 | -0.028099 | #VALUE! | #VALUE!
NO
YES
YES
YES
NO
NO
YES
YES
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | #VALUE! |  | X | CALC Y
m= | #VALUE! | #VALUE! |  | Std Dev of Resid |  | #VALUE! |  | #NAME? | #NAME?
b= | #VALUE! | #VALUE! |  | Resid Sum of Squares |  | #VALUE! |  | #NAME? | #NAME?
# of Values Extracted = |  |  | 32
# of Values Used in Fit = |  |  | 11
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 1241.11 | 34.4197 | 0.00049369 | 0.074657 | #VALUE! | #VALUE! |  | 999.245 | 0.0038643
1 | YES | 999.245 | 34.3485 | 0.00036359 | 0.0038643 | #VALUE! | #VALUE! |  | 603.212 | 0.0025902
1 | YES | 603.212 | 34.1573 | 0.00025184 | 0.0025902 | #VALUE! | #VALUE! |  | 399.328 | 0.003109
1 | YES | 399.328 | 33.9636 | 0.00030151 | 0.003109 | #VALUE! | #VALUE! |  | 1241.35 | 0.0025635
1 | NO | 2.3691 | 32.3354 | 0.0010872 | 0.0021629 | #VALUE! | #VALUE! |  | 212.944 | -0.0012169
1 | NO | 0 | 0 | 0 | -34.4851 | #VALUE! | #VALUE! |  | 321.266 | 0.0023804
1 | YES | 1241.35 | 34.4198 | 0.00056516 | 0.0025635 | #VALUE! | #VALUE! |  | 300.457 | 0.00020599
2 | YES | 212.944 | 33.8934 | 0.00059366 | -0.0012169 | #VALUE! | #VALUE! |  | 250.525 | 0.0011139
2 | NO | 198.785 | 33.8847 | 0.00035905 | -0.00085068 | #VALUE! | #VALUE! |  | 200.278 | -0.010296
2 | NO | 149.445 | 33.2129 | 0.025395 | 0.098564 | #VALUE! | #VALUE! |  | 292.832 | 0.0047302
2 | NO | 100.913 | 32.3311 | 0.0035175 | -0.027996 | #VALUE! | #VALUE! |  | 250.494 | -0.0026398
2 | NO | 74.9037 | 31.9112 | 0.0022407 | -0.02446 | #VALUE! | #VALUE!
2 | NO | 2.4442 | 31.7613 | 0.000305 | 0.0001812 | #VALUE! | #VALUE! |  | average | 0.00058226
3 | YES | 321.266 | 33.2138 | 0.00023421 | 0.0023804 | #VALUE! | #VALUE!
3 | YES | 300.457 | 33.2082 | 0.0002236 | 0.00020599 | #VALUE! | #VALUE!
3 | YES | 250.525 | 33.1748 | 0.00022876 | 0.0011139 | #VALUE! | #VALUE!
3 | YES | 200.278 | 33.0479 | 0.0070456 | -0.010296 | #VALUE! | #VALUE!
3 | NO | 175.369 | 32.892 | 0.0032572 | -0.028938 | #VALUE! | #VALUE!
3 | NO | 3.0469 | 31.3989 | 0.00034543 | 0.00078774 | #VALUE! | #VALUE!
4 | YES | 292.832 | 33.2138 | 0.0002167 | 0.0047302 | #VALUE! | #VALUE!
4 | YES | 250.494 | 33.181 | 0.00024404 | -0.0026398 | #VALUE! | #VALUE!
4 | NO | 200.417 | 33.0879 | 0.00026557 | 0.13607 | #VALUE! | #VALUE!
4 | NO | 175.193 | 32.9455 | 0.00079514 | -0.0073128 | #VALUE! | #VALUE!
4 | NO | 150.439 | 32.6306 | 0.00026832 | -0.0083771 | #VALUE! | #VALUE!
4 | NO | 125.37 | 32.3628 | 0.00053903 | -0.058609 | #VALUE! | #VALUE!
4 | NO | 100.282 | 32.1556 | 0.00025555 | -0.027378 | #VALUE! | #VALUE!
4 | NO | 74.7182 | 32.0115 | 0.00087629 | -0.0017548 | #VALUE! | #VALUE!
4 | NO | 49.9462 | 31.8736 | 0.00096418 | -0.012667 | #VALUE! | #VALUE!
4 | NO | 30.5626 | 31.6678 | 0.0028712 | -0.032528 | #VALUE! | #VALUE!
4 | NO | 20.4055 | 31.5949 | 0.0011843 | -0.0065803 | #VALUE! | #VALUE!
4 | NO | 10.4858 | 31.1401 | 0.0058488 | -0.062433 | #VALUE! | #VALUE!
4 | NO | 2.4172 | 30.5715 | 0.0084521 | -0.024063 | #VALUE! | #VALUE!
NO
YES
YES
YES
NO
NO
YES
YES
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Comp 2 | Sal_Bot | Sal1 |  | Sal1 - Sal_Bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
21060053.hyd | 21060053.sam | 148 | 1241.1 | 1241.11 | 0.64225 | 0.0058594 | 34.345 | 34.413 | 0.00065275 | 0.068047 | 34.345 | 34.4197 | 0.00049369 | 0.074657
21060053.hyd | 21060053.sam | 102 | 999.201 | 999.245 | 0.49168 | 0.043701 | 34.3446 | 34.342 | 0.0002764 | -0.0026054 | 34.3446 | 34.3485 | 0.00036359 | 0.0038643
21060053.hyd | 21060053.sam | 121 | 603.149 | 603.212 | 0.28722 | 0.062622 | 34.1547 | 34.1505 | 0.00024786 | -0.0041809 | 34.1547 | 34.1573 | 0.00025184 | 0.0025902
21060053.hyd | 21060053.sam | 121 | 399.47 | 399.328 | 0.40706 | -0.14154 | 33.9605 | 33.9568 | 0.00027724 | -0.0036774 | 33.9605 | 33.9636 | 0.00030151 | 0.003109
21060053.hyd | 21060053.sam | 121 | 2.412 | 2.3691 | 0.26094 | -0.042926 | 32.3332 | 32.3285 | 0.0033443 | -0.0046806 | 32.3332 | 32.3354 | 0.0010872 | 0.0021629
21060053.hyd | 21060053.sam | 0 | 1432.35 | 0 | 0 | -1432.35 | 34.4851 | 0 | 0 | -34.4851 | 34.4851 | 0 | 0 | -34.4851
21060053.hyd | 21060053.sam | 137 | 1241.26 | 1241.35 | 0.60177 | 0.089722 | 34.4172 | 34.4132 | 0.00071535 | -0.0040359 | 34.4172 | 34.4198 | 0.00056516 | 0.0025635
21060056.hyd | 21060056.sam | 116 | 213.125 | 212.944 | 0.60624 | -0.18097 | 33.8946 | 33.8873 | 0.00073859 | -0.0072708 | 33.8946 | 33.8934 | 0.00059366 | -0.0012169
21060056.hyd | 21060056.sam | 121 | 198.892 | 198.785 | 0.30655 | -0.10701 | 33.8855 | 33.8746 | 0.029829 | -0.010925 | 33.8855 | 33.8847 | 0.00035905 | -0.00085068
21060056.hyd | 21060056.sam | 121 | 149.56 | 149.445 | 0.40401 | -0.115 | 33.1143 | 33.2035 | 0.019996 | 0.089214 | 33.1143 | 33.2129 | 0.025395 | 0.098564
21060056.hyd | 21060056.sam | 121 | 100.878 | 100.913 | 0.23078 | 0.035034 | 32.3591 | 32.3242 | 0.0023507 | -0.034939 | 32.3591 | 32.3311 | 0.0035175 | -0.027996
21060056.hyd | 21060056.sam | 121 | 74.899 | 74.9037 | 0.32651 | 0.0046616 | 31.9357 | 31.904 | 0.0027593 | -0.031717 | 31.9357 | 31.9112 | 0.0022407 | -0.02446
21060056.hyd | 21060056.sam | 121 | 2.434 | 2.4442 | 0.045311 | 0.010174 | 31.7611 | 31.755 | 0.00036876 | -0.0060749 | 31.7611 | 31.7613 | 0.000305 | 0.0001812
21060059.hyd | 21060059.sam | 121 | 321.312 | 321.266 | 0.21907 | -0.04599 | 33.2114 | 33.2078 | 0.00024214 | -0.0035858 | 33.2114 | 33.2138 | 0.00023421 | 0.0023804
21060059.hyd | 21060059.sam | 121 | 300.485 | 300.457 | 0.12062 | -0.027588 | 33.208 | 33.2022 | 0.00021985 | -0.005764 | 33.208 | 33.2082 | 0.0002236 | 0.00020599
21060059.hyd | 21060059.sam | 121 | 250.574 | 250.525 | 0.17323 | -0.049042 | 33.1737 | 33.169 | 0.00023556 | -0.0046997 | 33.1737 | 33.1748 | 0.00022876 | 0.0011139
21060059.hyd | 21060059.sam | 121 | 200.324 | 200.278 | 0.20854 | -0.045898 | 33.0582 | 33.0439 | 0.0015146 | -0.014286 | 33.0582 | 33.0479 | 0.0070456 | -0.010296
21060059.hyd | 21060059.sam | 121 | 175.451 | 175.369 | 0.20842 | -0.082138 | 32.9209 | 32.8815 | 0.0039971 | -0.039436 | 32.9209 | 32.892 | 0.0032572 | -0.028938
21060059.hyd | 21060059.sam | 121 | 3.028 | 3.0469 | 0.058647 | 0.018876 | 31.3981 | 31.3921 | 0.00037095 | -0.0060158 | 31.3981 | 31.3989 | 0.00034543 | 0.00078774
21060062.hyd | 21060062.sam | 121 | 292.837 | 292.832 | 0.036094 | -0.0048523 | 33.2091 | 33.2076 | 0.00022148 | -0.0015259 | 33.2091 | 33.2138 | 0.0002167 | 0.0047302
21060062.hyd | 21060062.sam | 121 | 250.493 | 250.494 | 0.030365 | 0.00085449 | 33.1836 | 33.1749 | 0.0002285 | -0.0087204 | 33.1836 | 33.181 | 0.00024404 | -0.0026398
21060062.hyd | 21060062.sam | 121 | 200.417 | 200.417 | 0.034303 | -0.00032043 | 32.9518 | 33.082 | 0.0002561 | 0.13017 | 32.9518 | 33.0879 | 0.00026557 | 0.13607
21060062.hyd | 21060062.sam | 121 | 175.193 | 175.193 | 0.029209 | -0.00022888 | 32.9528 | 32.938 | 0.00063746 | -0.014774 | 32.9528 | 32.9455 | 0.00079514 | -0.0073128
21060062.hyd | 21060062.sam | 121 | 150.436 | 150.439 | 0.034705 | 0.0032806 | 32.639 | 32.624 | 0.0003963 | -0.014973 | 32.639 | 32.6306 | 0.00026832 | -0.0083771
21060062.hyd | 21060062.sam | 121 | 125.37 | 125.37 | 0.031847 | 0.00034332 | 32.4214 | 32.3569 | 0.00026694 | -0.064449 | 32.4214 | 32.3628 | 0.00053903 | -0.058609
21060062.hyd | 21060062.sam | 121 | 100.282 | 100.282 | 0.034867 | 0.00019836 | 32.183 | 32.1492 | 0.00034962 | -0.033752 | 32.183 | 32.1556 | 0.00025555 | -0.027378
21060062.hyd | 21060062.sam | 121 | 74.719 | 74.7182 | 0.029273 | -0.00082398 | 32.0133 | 32.0037 | 0.0016909 | -0.0096016 | 32.0133 | 32.0115 | 0.00087629 | -0.0017548
21060062.hyd | 21060062.sam | 121 | 49.946 | 49.9462 | 0.029835 | 0.0001564 | 31.8863 | 31.8656 | 0.0011439 | -0.020666 | 31.8863 | 31.8736 | 0.00096418 | -0.012667
21060062.hyd | 21060062.sam | 121 | 30.563 | 30.5626 | 0.032434 | -0.00037956 | 31.7003 | 31.6604 | 0.0016459 | -0.039864 | 31.7003 | 31.6678 | 0.0028712 | -0.032528
21060062.hyd | 21060062.sam | 121 | 20.405 | 20.4055 | 0.026266 | 0.00051117 | 31.6015 | 31.5887 | 0.0022298 | -0.012772 | 31.6015 | 31.5949 | 0.0011843 | -0.0065803
21060062.hyd | 21060062.sam | 121 | 10.487 | 10.4858 | 0.032017 | -0.0011826 | 31.2025 | 31.1278 | 0.010854 | -0.074694 | 31.2025 | 31.1401 | 0.0058488 | -0.062433
21060062.hyd | 21060062.sam | 121 | 2.412 | 2.4172 | 0.033645 | 0.0051985 | 30.5956 | 30.5675 | 0.014302 | -0.028099 | 30.5956 | 30.5715 | 0.0084521 | -0.024063
Create Fit Sheet