## File List
Number of Files= |  | 8
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 21060001.hyd | 21060001.sam | 12 | 21 | 21060001.hyd & 21060001.sam
2 | 21060005.hyd | 21060005.sam | 23 | 27 | 21060005.hyd & 21060005.sam
3 | 21060015.hyd | 21060015.sam | 29 | 34 | 21060015.hyd & 21060015.sam
4 | 21060026.hyd | 21060026.sam | 36 | 42 | 21060026.hyd & 21060026.sam
5 | 21060034.hyd | 21060034.sam | 44 | 67 | 21060034.hyd & 21060034.sam
6 | 21060039.hyd | 21060039.sam | 69 | 75 | 21060039.hyd & 21060039.sam
7 | 21060044.hyd | 21060044.sam | 77 | 83 | 21060044.hyd & 21060044.sam
8 | 21060049.hyd | 21060049.sam | 85 | 92 | 21060049.hyd & 21060049.sam

## (Sal0 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.04825 |  | X | CALC Y
m= | -2.2413e-07 | 1.6826e-07 |  | Std Dev of Resid |  | 0.00094038 |  | 200.95 | 0.0014103
b= | 0.0014554 | 0.00033166 |  | Resid Sum of Squares |  | 3.0951e-05 |  | 4002.06 | 0.00055838
# of Values Extracted = |  |  | 74
# of Values Used in Fit = |  |  | 37
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 222.309 | 31.3216 | 0.00064342 | 0.00037193 | 0.0014055 | 0.0010336 |  | 222.309 | 0.00037193
1 | YES | 200.95 | 31.3119 | 0.0002568 | -0.0011463 | 0.0014103 | 0.0025566 |  | 200.95 | -0.0011463
1 | NO | 150.28 | 31.2797 | 0.00026762 | -0.0013657 | 0.0014217 | 0.0027873 |  | 1312.86 | 0.003521
1 | NO | 150.28 | 31.2797 | 0.00026762 | -0.00096703 | 0.0014217 | 0.0023887 |  | 1249.33 | 0.00065613
1 | NO | 100.564 | 30.8429 | 0.0019742 | -0.027901 | 0.0014328 | 0.029334 |  | 998.626 | 0.002037
1 | NO | 75.0368 | 30.4893 | 0.0056165 | -0.003252 | 0.0014385 | 0.0046906 |  | 800.637 | 0.00095367
1 | NO | 50.4862 | 30.4139 | 0.0027247 | 0.0026569 | 0.001444 | -0.0012129 |  | 800.219 | 0.0015755
1 | NO | 25.2457 | 30.1826 | 0.00031932 | -0.013496 | 0.0014497 | 0.014946 |  | 3279.01 | 0.00065231
1 | NO | 10.1161 | 29.8093 | 0.091136 | -0.076179 | 0.0014531 | 0.077633 |  | 3000.13 | 0.00078201
1 | NO | 1.138 | 29.2264 | 0.076171 | -0.12 | 0.0014551 | 0.12146 |  | 2750.3 | 0.0010529
2 | YES | 1312.86 | 34.4894 | 0.00051883 | 0.003521 | 0.0011611 | -0.0023599 |  | 2500.09 | 0.0031967
2 | YES | 1249.33 | 34.4726 | 0.00028911 | 0.00065613 | 0.0011753 | 0.00051922 |  | 2501.52 | 0.00021362
2 | YES | 998.626 | 34.4019 | 0.00048376 | 0.002037 | 0.0012315 | -0.00080551 |  | 2250.44 | 0.00099945
2 | YES | 800.637 | 34.32 | 0.00047943 | 0.00095367 | 0.0012759 | 0.00032224 |  | 4002.06 | 0.00042343
2 | YES | 800.219 | 34.32 | 0.00047041 | 0.0015755 | 0.001276 | -0.00029946 |  | 3499.95 | 3.0518e-05
3 | YES | 3279.01 | 34.6495 | 0.00026208 | 0.00065231 | 0.00072044 | 6.8128e-05 |  | 2999.38 | 0.0011635
3 | YES | 3000.13 | 34.6476 | 0.00027453 | 0.00078201 | 0.00078295 | 9.3252e-07 |  | 2748.33 | 0.00046921
3 | YES | 2750.3 | 34.6418 | 0.00031573 | 0.0010529 | 0.00083894 | -0.00021392 |  | 2499.96 | 0.00063324
3 | YES | 2500.09 | 34.629 | 0.00023085 | 0.0031967 | 0.00089502 | -0.0023017 |  | 2499.7 | 0.00053024
3 | YES | 2501.52 | 34.6289 | 0.00028142 | 0.00021362 | 0.0008947 | 0.00068108 |  | 2001.3 | -4.1962e-05
3 | YES | 2250.44 | 34.6115 | 0.00026911 | 0.00099945 | 0.00095097 | -4.8479e-05 |  | 1751.63 | 0.0016708
4 | YES | 4002.06 | 34.6774 | 0.00020858 | 0.00042343 | 0.00055838 | 0.00013495 |  | 1751.63 | 0.00077438
4 | YES | 3499.95 | 34.6716 | 0.00029725 | 3.0518e-05 | 0.00067092 | 0.0006404 |  | 1499.92 | 0.00072861
4 | YES | 2999.38 | 34.6575 | 0.00026382 | 0.0011635 | 0.00078311 | -0.00038037 |  | 1249.76 | 0.00039291
4 | YES | 2748.33 | 34.6457 | 0.00026838 | 0.00046921 | 0.00083938 | 0.00037017 |  | 999.719 | 0.0012627
4 | YES | 2499.96 | 34.631 | 0.00029786 | 0.00063324 | 0.00089505 | 0.00026181 |  | 2000.78 | -4.1962e-05
4 | YES | 2499.7 | 34.631 | 0.00029057 | 0.00053024 | 0.00089511 | 0.00036486 |  | 1749.76 | -4.1962e-05
4 | NO | 2.7615 | 32.6155 | 0.00025551 | -0.0011673 | 0.0014547 | 0.002622 |  | 1500.25 | 0.0009346
5 | NO | 4316.22 | 34.684 | 0.00027301 | -0.0026131 | 0.00048797 | 0.003101 |  | 1500.12 | 0.00093079
5 | NO | 4000.58 | 34.6801 | 0.00024242 | -0.00027084 | 0.00055872 | 0.00082956 |  | 1250.42 | 0.0012093
5 | NO | 3500.8 | 34.6724 | 0.00027678 | -0.0018463 | 0.00067073 | 0.002517 |  | 1001.36 | 0.0015373
5 | NO | 2999.87 | 34.6572 | 0.00026346 | -0.0035362 | 0.000783 | 0.0043192 |  | 1502.28 | 0.0021019
5 | NO | 2751.74 | 34.646 | 0.00028224 | -0.0045586 | 0.00083862 | 0.0053972 |  | 1249.65 | 0.001667
5 | NO | 2500.21 | 34.6301 | 0.0002174 | -0.0025864 | 0.00089499 | 0.0034814 |  | 999.408 | 0.00096512
5 | NO | 2248.54 | 34.6077 | 0.00027213 | -0.0065498 | 0.0009514 | 0.0075012 |  | 999.268 | 0.0022736
5 | NO | 1999.03 | 34.5846 | 0.00028469 | -0.0065308 | 0.0010073 | 0.0075381 |  | 799.787 | 0.0025063
5 | NO | 1749.47 | 34.5559 | 0.00025578 | -0.004406 | 0.0010633 | 0.0054692 |  | 600.615 | 0.0024414
5 | NO | 1499.14 | 34.5091 | 0.00029635 | -0.0043564 | 0.0011194 | 0.0054757
5 | NO | 1252.73 | 34.4617 | 0.00029531 | -0.0030746 | 0.0011746 | 0.0042492 |  |  | 0.0010645
5 | NO | 1000.46 | 34.39 | 0.00027051 | -0.0032616 | 0.0012311 | 0.0044927
5 | NO | 799.871 | 34.3093 | 0.00027075 | -0.0048408 | 0.0012761 | 0.0061169
5 | NO | 599.478 | 34.2001 | 0.00032278 | -0.0043449 | 0.001321 | 0.0056659
5 | NO | 400.76 | 34.0456 | 0.00026126 | -0.0064392 | 0.0013655 | 0.0078047
5 | NO | 299.462 | 33.9427 | 0.00042519 | -0.0096741 | 0.0013882 | 0.011062
5 | NO | 198.164 | 33.7981 | 0.0005462 | -0.0083046 | 0.0014109 | 0.0097155
5 | NO | 150.637 | 33.4167 | 0.0024991 | -0.0056572 | 0.0014216 | 0.0070788
5 | NO | 101.517 | 32.6291 | 0.0039324 | -0.0025063 | 0.0014326 | 0.0039389
5 | NO | 75.087 | 32.608 | 0.00024696 | -0.0044479 | 0.0014385 | 0.0058865
5 | NO | 50.4817 | 32.5982 | 0.00048943 | -0.0042191 | 0.001444 | 0.0056631
5 | NO | 25.8017 | 32.5978 | 0.00023412 | -0.0011291 | 0.0014496 | 0.0025787
5 | NO | 10.4778 | 32.5974 | 0.00023927 | -0.0029717 | 0.001453 | 0.0044247
5 | NO | 2.4346 | 32.5954 | 0.0022856 | -0.0040474 | 0.0014548 | 0.0055022
6 | YES | 2001.3 | 34.5881 | 0.0002541 | -4.1962e-05 | 0.0010068 | 0.0010488
6 | YES | 1751.63 | 34.5556 | 0.00026135 | 0.0016708 | 0.0010628 | -0.00060807
6 | YES | 1751.63 | 34.5556 | 0.00026135 | 0.00077438 | 0.0010628 | 0.00028839
6 | YES | 1499.92 | 34.5112 | 0.00028028 | 0.00072861 | 0.0011192 | 0.00039058
6 | YES | 1249.76 | 34.4578 | 0.00025569 | 0.00039291 | 0.0011753 | 0.00078234
6 | YES | 999.719 | 34.3928 | 0.00030648 | 0.0012627 | 0.0012313 | -3.1366e-05
6 | NO | 1.4499 | 32.6784 | 0.00029885 | -0.00068665 | 0.001455 | 0.0021417
7 | YES | 2000.78 | 34.5792 | 0.00027771 | -4.1962e-05 | 0.0010069 | 0.0010489
7 | YES | 1749.76 | 34.5401 | 0.00026312 | -4.1962e-05 | 0.0010632 | 0.0011052
7 | YES | 1500.25 | 34.4885 | 0.00024245 | 0.0009346 | 0.0011191 | 0.00018451
7 | YES | 1500.12 | 34.4885 | 0.00024122 | 0.00093079 | 0.0011191 | 0.00018835
7 | YES | 1250.42 | 34.4202 | 0.00025929 | 0.0012093 | 0.0011751 | -3.4155e-05
7 | YES | 1001.36 | 34.3424 | 0.00030785 | 0.0015373 | 0.0012309 | -0.00030639
7 | NO | 2.6116 | 32.6511 | 0.00022036 | -0.000103 | 0.0014548 | 0.0015578
8 | YES | 1502.28 | 34.5193 | 0.00028419 | 0.0021019 | 0.0011187 | -0.00098324
8 | YES | 1249.65 | 34.448 | 0.00029175 | 0.001667 | 0.0011753 | -0.00049174
8 | YES | 999.408 | 34.3551 | 0.00026812 | 0.00096512 | 0.0012314 | 0.00026625
8 | YES | 999.268 | 34.3551 | 0.00026768 | 0.0022736 | 0.0012314 | -0.0010422
8 | YES | 799.787 | 34.2482 | 0.00037306 | 0.0025063 | 0.0012761 | -0.0012302
8 | YES | 600.615 | 34.1159 | 0.00024436 | 0.0024414 | 0.0013207 | -0.0011207
8 | NO | 9.563 | 32.3708 | 0.00023712 | -0.00086594 | 0.0014532 | 0.0023192
8 | NO | 2.6913 | 32.3708 | 0.00039401 | -0.00017166 | 0.0014548 | 0.0016264
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 1.9439e-05 |  | X | CALC Y
m= | 1.3028e-08 | 4.1376e-07 |  | Std Dev of Resid |  | 0.0031007 |  | 200.95 | -0.0064894
b= | -0.0064921 | 0.00086503 |  | Resid Sum of Squares |  | 0.00049033 |  | 4316.22 | -0.0064358
# of Values Extracted = |  |  | 74
# of Values Used in Fit = |  |  | 53
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 222.309 | 31.3178 | 0.00046665 | -0.003397 | -0.0064892 | -0.0030922 |  | 222.309 | -0.003397
1 | YES | 200.95 | 31.3073 | 0.00018289 | -0.0057278 | -0.0064894 | -0.00076168 |  | 200.95 | -0.0057278
1 | NO | 150.28 | 31.2754 | 0.00024234 | -0.0057106 | -0.0064901 | -0.00077951 |  | 1312.86 | -0.0026245
1 | NO | 150.28 | 31.2754 | 0.00024234 | -0.005312 | -0.0064901 | -0.0011781 |  | 1249.33 | -0.0055847
1 | NO | 100.564 | 30.8373 | 0.0013439 | -0.033508 | -0.0064908 | 0.027018 |  | 998.626 | -0.0044556
1 | NO | 75.0368 | 30.4873 | 0.0039977 | -0.0052872 | -0.0064911 | -0.0012039 |  | 800.637 | -0.0054131
1 | NO | 50.4862 | 30.4095 | 0.0025968 | -0.0016804 | -0.0064914 | -0.004811 |  | 800.219 | -0.0048256
1 | NO | 25.2457 | 30.1787 | 0.00034842 | -0.017441 | -0.0064917 | 0.010949 |  | 3279.01 | -0.0051956
1 | NO | 10.1161 | 29.8775 | 0.022817 | -0.0079822 | -0.0064919 | 0.0014903 |  | 3000.13 | -0.0054512
1 | NO | 1.138 | 29.1722 | 0.069852 | -0.17417 | -0.0064921 | 0.16768 |  | 2750.3 | -0.0052566
2 | YES | 1312.86 | 34.4833 | 0.00026786 | -0.0026245 | -0.006475 | -0.0038505 |  | 2500.09 | -0.0033684
2 | YES | 1249.33 | 34.4663 | 0.00023034 | -0.0055847 | -0.0064758 | -0.00089107 |  | 2501.52 | -0.0062714
2 | YES | 998.626 | 34.3954 | 0.0003854 | -0.0044556 | -0.0064791 | -0.0020235 |  | 2250.44 | -0.0057335
2 | YES | 800.637 | 34.3136 | 0.00027654 | -0.0054131 | -0.0064816 | -0.0010686 |  | 4002.06 | -0.0048408
2 | YES | 800.219 | 34.3136 | 0.00026624 | -0.0048256 | -0.0064816 | -0.0016561 |  | 3499.95 | -0.0057449
3 | YES | 3279.01 | 34.6436 | 0.00023118 | -0.0051956 | -0.0064493 | -0.0012537 |  | 2999.38 | -0.0049362
3 | YES | 3000.13 | 34.6413 | 0.00027047 | -0.0054512 | -0.006453 | -0.0010018 |  | 2748.33 | -0.0056572
3 | YES | 2750.3 | 34.6354 | 0.00031084 | -0.0052566 | -0.0064562 | -0.0011996 |  | 2499.96 | -0.0055809
3 | YES | 2500.09 | 34.6224 | 0.00026765 | -0.0033684 | -0.0064595 | -0.0030911 |  | 2499.7 | -0.0056572
3 | YES | 2501.52 | 34.6224 | 0.0002787 | -0.0062714 | -0.0064595 | -0.00018812 |  | 4316.22 | -0.0077629
3 | YES | 2250.44 | 34.6048 | 0.00028254 | -0.0057335 | -0.0064627 | -0.00072926 |  | 4000.58 | -0.0058556
4 | YES | 4002.06 | 34.6722 | 0.0002857 | -0.0048408 | -0.0064399 | -0.0015991 |  | 3500.8 | -0.0079002
4 | YES | 3499.95 | 34.6659 | 0.00025677 | -0.0057449 | -0.0064465 | -0.00070154 |  | 2999.87 | -0.0098953
4 | YES | 2999.38 | 34.6514 | 0.00026976 | -0.0049362 | -0.006453 | -0.0015168 |  | 2751.74 | -0.010933
4 | YES | 2748.33 | 34.6395 | 0.0002536 | -0.0056572 | -0.0064563 | -0.00079906 |  | 2500.21 | -0.0089912
4 | YES | 2499.96 | 34.6248 | 0.00031524 | -0.0055809 | -0.0064595 | -0.0008786 |  | 2248.54 | -0.013123
4 | YES | 2499.7 | 34.6248 | 0.00030084 | -0.0056572 | -0.0064595 | -0.0008023 |  | 1999.03 | -0.012997
4 | NO | 2.7615 | 32.6107 | 0.00024226 | -0.0059586 | -0.006492 | -0.00053347 |  | 1749.47 | -0.010799
5 | YES | 4316.22 | 34.6788 | 0.00026872 | -0.0077629 | -0.0064358 | 0.0013271 |  | 1499.14 | -0.010708
5 | YES | 4000.58 | 34.6745 | 0.00027488 | -0.0058556 | -0.0064399 | -0.00058439 |  | 1252.73 | -0.0096207
5 | YES | 3500.8 | 34.6663 | 0.00027791 | -0.0079002 | -0.0064465 | 0.0014538 |  | 1000.46 | -0.0096931
5 | YES | 2999.87 | 34.6508 | 0.00025813 | -0.0098953 | -0.006453 | 0.0034423 |  | 799.871 | -0.01104
5 | YES | 2751.74 | 34.6397 | 0.00028211 | -0.010933 | -0.0064562 | 0.0044767 |  | 599.478 | -0.010242
5 | YES | 2500.21 | 34.6237 | 0.00032318 | -0.0089912 | -0.0064595 | 0.0025317 |  | 400.76 | -0.012272
5 | YES | 2248.54 | 34.6011 | 0.0002604 | -0.013123 | -0.0064628 | 0.0066598 |  | 299.462 | -0.015938
5 | YES | 1999.03 | 34.5781 | 0.00027816 | -0.012997 | -0.006466 | 0.0065307 |  | 2001.3 | -0.0055237
5 | YES | 1749.47 | 34.5495 | 0.00022372 | -0.010799 | -0.0064693 | 0.0043301 |  | 1751.63 | -0.0040627
5 | YES | 1499.14 | 34.5028 | 0.00024151 | -0.010708 | -0.0064725 | 0.0042354 |  | 1751.63 | -0.0049591
5 | YES | 1252.73 | 34.4552 | 0.00025146 | -0.0096207 | -0.0064757 | 0.0031449 |  | 1499.92 | -0.0052528
5 | YES | 1000.46 | 34.3836 | 0.00025798 | -0.0096931 | -0.006479 | 0.0032141 |  | 1249.76 | -0.0055389
5 | YES | 799.871 | 34.3031 | 0.00024372 | -0.01104 | -0.0064816 | 0.0045581 |  | 999.719 | -0.0045967
5 | YES | 599.478 | 34.1942 | 0.00028004 | -0.010242 | -0.0064843 | 0.0037582 |  | 2000.78 | -0.0053711
5 | YES | 400.76 | 34.0397 | 0.0002966 | -0.012272 | -0.0064868 | 0.0057851 |  | 1749.76 | -0.0055504
5 | YES | 299.462 | 33.9365 | 0.00039175 | -0.015938 | -0.0064882 | 0.0094496 |  | 1500.25 | -0.0045967
5 | NO | 198.164 | 33.7924 | 0.00047643 | -0.013962 | -0.0064895 | 0.0074723 |  | 1500.12 | -0.0045891
5 | NO | 150.637 | 33.4128 | 0.0030131 | -0.0095978 | -0.0064901 | 0.0031077 |  | 1250.42 | -0.0045471
5 | NO | 101.517 | 32.6218 | 0.001916 | -0.0097885 | -0.0064907 | 0.0032978 |  | 1001.36 | -0.0041885
5 | NO | 75.087 | 32.6029 | 0.00022567 | -0.0095024 | -0.0064911 | 0.0030113 |  | 1502.28 | -0.003109
5 | NO | 50.4817 | 32.5932 | 0.00051397 | -0.0092049 | -0.0064914 | 0.0027134 |  | 1249.65 | -0.0037994
5 | NO | 25.8017 | 32.5929 | 0.00020566 | -0.0060158 | -0.0064917 | -0.00047595 |  | 999.408 | -0.0045471
5 | NO | 10.4778 | 32.5925 | 0.00024794 | -0.0078812 | -0.0064919 | 0.0013892 |  | 999.268 | -0.0032463
5 | NO | 2.4346 | 32.5885 | 0.017605 | -0.010906 | -0.006492 | 0.0044142 |  | 799.787 | -0.0027657
6 | YES | 2001.3 | 34.5826 | 0.00029333 | -0.0055237 | -0.006466 | -0.00094231 |  | 600.615 | -0.0030861
6 | YES | 1751.63 | 34.5498 | 0.00027431 | -0.0040627 | -0.0064692 | -0.0024066
6 | YES | 1751.63 | 34.5498 | 0.00027431 | -0.0049591 | -0.0064692 | -0.0015101 |  | average | -0.0064684
6 | YES | 1499.92 | 34.5052 | 0.00033535 | -0.0052528 | -0.0064725 | -0.0012197
6 | YES | 1249.76 | 34.4519 | 0.00024386 | -0.0055389 | -0.0064758 | -0.00093685
6 | YES | 999.719 | 34.3869 | 0.00023024 | -0.0045967 | -0.006479 | -0.0018823
6 | NO | 1.4499 | 32.6736 | 0.00033649 | -0.005516 | -0.006492 | -0.000976
7 | YES | 2000.78 | 34.5738 | 0.00025505 | -0.0053711 | -0.006466 | -0.0010949
7 | YES | 1749.76 | 34.5345 | 0.00025924 | -0.0055504 | -0.0064693 | -0.00091889
7 | YES | 1500.25 | 34.483 | 0.00026083 | -0.0045967 | -0.0064725 | -0.0018758
7 | YES | 1500.12 | 34.483 | 0.0002434 | -0.0045891 | -0.0064725 | -0.0018834
7 | YES | 1250.42 | 34.4145 | 0.00027534 | -0.0045471 | -0.0064758 | -0.0019287
7 | YES | 1001.36 | 34.3367 | 0.0002845 | -0.0041885 | -0.006479 | -0.0022905
7 | NO | 2.6116 | 32.6467 | 0.00022866 | -0.0044823 | -0.006492 | -0.0020098
8 | YES | 1502.28 | 34.5141 | 0.00024851 | -0.003109 | -0.0064725 | -0.0033635
8 | YES | 1249.65 | 34.4425 | 0.00031387 | -0.0037994 | -0.0064758 | -0.0026763
8 | YES | 999.408 | 34.3496 | 0.00026848 | -0.0045471 | -0.006479 | -0.0019319
8 | YES | 999.268 | 34.3496 | 0.00026579 | -0.0032463 | -0.006479 | -0.0032327
8 | YES | 799.787 | 34.2429 | 0.00025095 | -0.0027657 | -0.0064816 | -0.003716
8 | YES | 600.615 | 34.1104 | 0.00037114 | -0.0030861 | -0.0064842 | -0.0033982
8 | NO | 9.563 | 32.3669 | 0.00023637 | -0.004837 | -0.0064919 | -0.0016549
8 | NO | 2.6913 | 32.3667 | 0.00027122 | -0.004261 | -0.006492 | -0.002231
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal_Bot) (2)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0014107 |  | X | CALC Y
m= | 1.039e-07 | 3.8707e-07 |  | Std Dev of Resid |  | 0.0029006 |  | 200.95 | -0.00072484
b= | -0.00074571 | 0.00080922 |  | Resid Sum of Squares |  | 0.0004291 |  | 4316.22 | -0.00029727
# of Values Extracted = |  |  | 74
# of Values Used in Fit = |  |  | 53
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 222.309 | 31.3216 | 0.00064342 | 0.00037193 | -0.00072262 | -0.0010945 |  | 222.309 | 0.00037193
1 | YES | 200.95 | 31.3119 | 0.0002568 | -0.0011463 | -0.00072484 | 0.00042148 |  | 200.95 | -0.0011463
1 | NO | 150.28 | 31.2797 | 0.00026762 | -0.0013657 | -0.0007301 | 0.00063556 |  | 1312.86 | 0.003521
1 | NO | 150.28 | 31.2797 | 0.00026762 | -0.00096703 | -0.0007301 | 0.00023693 |  | 1249.33 | 0.00065613
1 | NO | 100.564 | 30.8429 | 0.0019742 | -0.027901 | -0.00073527 | 0.027165 |  | 998.626 | 0.002037
1 | NO | 75.0368 | 30.4893 | 0.0056165 | -0.003252 | -0.00073792 | 0.0025141 |  | 800.637 | 0.00095367
1 | NO | 50.4862 | 30.4139 | 0.0027247 | 0.0026569 | -0.00074047 | -0.0033974 |  | 800.219 | 0.0015755
1 | NO | 25.2457 | 30.1826 | 0.00031932 | -0.013496 | -0.00074309 | 0.012753 |  | 3279.01 | 0.00065231
1 | NO | 10.1161 | 29.8093 | 0.091136 | -0.076179 | -0.00074466 | 0.075435 |  | 3000.13 | 0.00078201
1 | NO | 1.138 | 29.2264 | 0.076171 | -0.12 | -0.0007456 | 0.11926 |  | 2750.3 | 0.0010529
2 | YES | 1312.86 | 34.4894 | 0.00051883 | 0.003521 | -0.00060931 | -0.0041303 |  | 2500.09 | 0.0031967
2 | YES | 1249.33 | 34.4726 | 0.00028911 | 0.00065613 | -0.00061591 | -0.001272 |  | 2501.52 | 0.00021362
2 | YES | 998.626 | 34.4019 | 0.00048376 | 0.002037 | -0.00064196 | -0.002679 |  | 2250.44 | 0.00099945
2 | YES | 800.637 | 34.32 | 0.00047943 | 0.00095367 | -0.00066253 | -0.0016162 |  | 4002.06 | 0.00042343
2 | YES | 800.219 | 34.32 | 0.00047041 | 0.0015755 | -0.00066257 | -0.002238 |  | 3499.95 | 3.0518e-05
3 | YES | 3279.01 | 34.6495 | 0.00026208 | 0.00065231 | -0.00040504 | -0.0010573 |  | 2999.38 | 0.0011635
3 | YES | 3000.13 | 34.6476 | 0.00027453 | 0.00078201 | -0.00043401 | -0.001216 |  | 2748.33 | 0.00046921
3 | YES | 2750.3 | 34.6418 | 0.00031573 | 0.0010529 | -0.00045997 | -0.0015128 |  | 2499.96 | 0.00063324
3 | YES | 2500.09 | 34.629 | 0.00023085 | 0.0031967 | -0.00048596 | -0.0036827 |  | 2499.7 | 0.00053024
3 | YES | 2501.52 | 34.6289 | 0.00028142 | 0.00021362 | -0.00048581 | -0.00069944 |  | 4316.22 | -0.0026131
3 | YES | 2250.44 | 34.6115 | 0.00026911 | 0.00099945 | -0.0005119 | -0.0015114 |  | 4000.58 | -0.00027084
4 | YES | 4002.06 | 34.6774 | 0.00020858 | 0.00042343 | -0.00032991 | -0.00075334 |  | 3500.8 | -0.0018463
4 | YES | 3499.95 | 34.6716 | 0.00029725 | 3.0518e-05 | -0.00038208 | -0.0004126 |  | 2999.87 | -0.0035362
4 | YES | 2999.38 | 34.6575 | 0.00026382 | 0.0011635 | -0.00043409 | -0.0015976 |  | 2751.74 | -0.0045586
4 | YES | 2748.33 | 34.6457 | 0.00026838 | 0.00046921 | -0.00046017 | -0.00092938 |  | 2500.21 | -0.0025864
4 | YES | 2499.96 | 34.631 | 0.00029786 | 0.00063324 | -0.00048598 | -0.0011192 |  | 2248.54 | -0.0065498
4 | YES | 2499.7 | 34.631 | 0.00029057 | 0.00053024 | -0.000486 | -0.0010162 |  | 1999.03 | -0.0065308
4 | NO | 2.7615 | 32.6155 | 0.00025551 | -0.0011673 | -0.00074543 | 0.00042187 |  | 1749.47 | -0.004406
5 | YES | 4316.22 | 34.684 | 0.00027301 | -0.0026131 | -0.00029727 | 0.0023158 |  | 1499.14 | -0.0043564
5 | YES | 4000.58 | 34.6801 | 0.00024242 | -0.00027084 | -0.00033007 | -5.9223e-05 |  | 1252.73 | -0.0030746
5 | YES | 3500.8 | 34.6724 | 0.00027678 | -0.0018463 | -0.00038199 | 0.0014643 |  | 1000.46 | -0.0032616
5 | YES | 2999.87 | 34.6572 | 0.00026346 | -0.0035362 | -0.00043404 | 0.0031022 |  | 799.871 | -0.0048408
5 | YES | 2751.74 | 34.646 | 0.00028224 | -0.0045586 | -0.00045982 | 0.0040987 |  | 599.478 | -0.0043449
5 | YES | 2500.21 | 34.6301 | 0.0002174 | -0.0025864 | -0.00048595 | 0.0021004 |  | 400.76 | -0.0064392
5 | YES | 2248.54 | 34.6077 | 0.00027213 | -0.0065498 | -0.0005121 | 0.0060377 |  | 299.462 | -0.0096741
5 | YES | 1999.03 | 34.5846 | 0.00028469 | -0.0065308 | -0.00053802 | 0.0059927 |  | 2001.3 | -4.1962e-05
5 | YES | 1749.47 | 34.5559 | 0.00025578 | -0.004406 | -0.00056395 | 0.003842 |  | 1751.63 | 0.0016708
5 | YES | 1499.14 | 34.5091 | 0.00029635 | -0.0043564 | -0.00058996 | 0.0037664 |  | 1751.63 | 0.00077438
5 | YES | 1252.73 | 34.4617 | 0.00029531 | -0.0030746 | -0.00061556 | 0.0024591 |  | 1499.92 | 0.00072861
5 | YES | 1000.46 | 34.39 | 0.00027051 | -0.0032616 | -0.00064177 | 0.0026198 |  | 1249.76 | 0.00039291
5 | YES | 799.871 | 34.3093 | 0.00027075 | -0.0048408 | -0.00066261 | 0.0041782 |  | 999.719 | 0.0012627
5 | YES | 599.478 | 34.2001 | 0.00032278 | -0.0043449 | -0.00068343 | 0.0036615 |  | 2000.78 | -4.1962e-05
5 | YES | 400.76 | 34.0456 | 0.00026126 | -0.0064392 | -0.00070408 | 0.0057351 |  | 1749.76 | -4.1962e-05
5 | YES | 299.462 | 33.9427 | 0.00042519 | -0.0096741 | -0.0007146 | 0.0089595 |  | 1500.25 | 0.0009346
5 | NO | 198.164 | 33.7981 | 0.0005462 | -0.0083046 | -0.00072513 | 0.0075795 |  | 1500.12 | 0.00093079
5 | NO | 150.637 | 33.4167 | 0.0024991 | -0.0056572 | -0.00073006 | 0.0049271 |  | 1250.42 | 0.0012093
5 | NO | 101.517 | 32.6291 | 0.0039324 | -0.0025063 | -0.00073517 | 0.0017711 |  | 1001.36 | 0.0015373
5 | NO | 75.087 | 32.608 | 0.00024696 | -0.0044479 | -0.00073791 | 0.00371 |  | 1502.28 | 0.0021019
5 | NO | 50.4817 | 32.5982 | 0.00048943 | -0.0042191 | -0.00074047 | 0.0034786 |  | 1249.65 | 0.001667
5 | NO | 25.8017 | 32.5978 | 0.00023412 | -0.0011291 | -0.00074303 | 0.00038612 |  | 999.408 | 0.00096512
5 | NO | 10.4778 | 32.5974 | 0.00023927 | -0.0029717 | -0.00074462 | 0.002227 |  | 999.268 | 0.0022736
5 | NO | 2.4346 | 32.5954 | 0.0022856 | -0.0040474 | -0.00074546 | 0.0033019 |  | 799.787 | 0.0025063
6 | YES | 2001.3 | 34.5881 | 0.0002541 | -4.1962e-05 | -0.00053779 | -0.00049582 |  | 600.615 | 0.0024414
6 | YES | 1751.63 | 34.5556 | 0.00026135 | 0.0016708 | -0.00056373 | -0.0022346
6 | YES | 1751.63 | 34.5556 | 0.00026135 | 0.00077438 | -0.00056373 | -0.0013381
6 | YES | 1499.92 | 34.5112 | 0.00028028 | 0.00072861 | -0.00058988 | -0.0013185
6 | YES | 1249.76 | 34.4578 | 0.00025569 | 0.00039291 | -0.00061587 | -0.0010088
6 | YES | 999.719 | 34.3928 | 0.00030648 | 0.0012627 | -0.00064185 | -0.0019045
6 | NO | 1.4499 | 32.6784 | 0.00029885 | -0.00068665 | -0.00074556 | -5.8917e-05
7 | YES | 2000.78 | 34.5792 | 0.00027771 | -4.1962e-05 | -0.00053784 | -0.00049588
7 | YES | 1749.76 | 34.5401 | 0.00026312 | -4.1962e-05 | -0.00056392 | -0.00052196
7 | YES | 1500.25 | 34.4885 | 0.00024245 | 0.0009346 | -0.00058984 | -0.0015244
7 | YES | 1500.12 | 34.4885 | 0.00024122 | 0.00093079 | -0.00058986 | -0.0015206
7 | YES | 1250.42 | 34.4202 | 0.00025929 | 0.0012093 | -0.0006158 | -0.0018251
7 | YES | 1001.36 | 34.3424 | 0.00030785 | 0.0015373 | -0.00064168 | -0.002179
7 | NO | 2.6116 | 32.6511 | 0.00022036 | -0.000103 | -0.00074544 | -0.00064245
8 | YES | 1502.28 | 34.5193 | 0.00028419 | 0.0021019 | -0.00058963 | -0.0026915
8 | YES | 1249.65 | 34.448 | 0.00029175 | 0.001667 | -0.00061588 | -0.0022829
8 | YES | 999.408 | 34.3551 | 0.00026812 | 0.00096512 | -0.00064188 | -0.001607
8 | YES | 999.268 | 34.3551 | 0.00026768 | 0.0022736 | -0.00064189 | -0.0029155
8 | YES | 799.787 | 34.2482 | 0.00037306 | 0.0025063 | -0.00066262 | -0.0031689
8 | YES | 600.615 | 34.1159 | 0.00024436 | 0.0024414 | -0.00068331 | -0.0031247
8 | NO | 9.563 | 32.3708 | 0.00023712 | -0.00086594 | -0.00074472 | 0.00012122
8 | NO | 2.6913 | 32.3708 | 0.00039401 | -0.00017166 | -0.00074543 | -0.00057377
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_bot) (2)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.18772 |  | X | CALC Y
m= | -4.5254e-07 | 1.5912e-07 |  | Std Dev of Resid |  | 0.00088931 |  | 200.95 | -0.0040329
b= | -0.003942 | 0.00031364 |  | Resid Sum of Squares |  | 2.7681e-05 |  | 4002.06 | -0.0057531
# of Values Extracted = |  |  | 74
# of Values Used in Fit = |  |  | 37
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 222.309 | 31.3178 | 0.00046665 | -0.003397 | -0.0040426 | -0.00064559 |  | 222.309 | -0.003397
1 | YES | 200.95 | 31.3073 | 0.00018289 | -0.0057278 | -0.0040329 | 0.0016949 |  | 200.95 | -0.0057278
1 | NO | 150.28 | 31.2754 | 0.00024234 | -0.0057106 | -0.00401 | 0.0017006 |  | 1312.86 | -0.0026245
1 | NO | 150.28 | 31.2754 | 0.00024234 | -0.005312 | -0.00401 | 0.001302 |  | 1249.33 | -0.0055847
1 | NO | 100.564 | 30.8373 | 0.0013439 | -0.033508 | -0.0039875 | 0.029521 |  | 998.626 | -0.0044556
1 | NO | 75.0368 | 30.4873 | 0.0039977 | -0.0052872 | -0.0039759 | 0.0013112 |  | 800.637 | -0.0054131
1 | NO | 50.4862 | 30.4095 | 0.0025968 | -0.0016804 | -0.0039648 | -0.0022845 |  | 800.219 | -0.0048256
1 | NO | 25.2457 | 30.1787 | 0.00034842 | -0.017441 | -0.0039534 | 0.013487 |  | 3279.01 | -0.0051956
1 | NO | 10.1161 | 29.8775 | 0.022817 | -0.0079822 | -0.0039466 | 0.0040357 |  | 3000.13 | -0.0054512
1 | NO | 1.138 | 29.1722 | 0.069852 | -0.17417 | -0.0039425 | 0.17023 |  | 2750.3 | -0.0052566
2 | YES | 1312.86 | 34.4833 | 0.00026786 | -0.0026245 | -0.0045361 | -0.0019116 |  | 2500.09 | -0.0033684
2 | YES | 1249.33 | 34.4663 | 0.00023034 | -0.0055847 | -0.0045073 | 0.0010774 |  | 2501.52 | -0.0062714
2 | YES | 998.626 | 34.3954 | 0.0003854 | -0.0044556 | -0.0043939 | 6.1674e-05 |  | 2250.44 | -0.0057335
2 | YES | 800.637 | 34.3136 | 0.00027654 | -0.0054131 | -0.0043043 | 0.0011088 |  | 4002.06 | -0.0048408
2 | YES | 800.219 | 34.3136 | 0.00026624 | -0.0048256 | -0.0043041 | 0.00052148 |  | 3499.95 | -0.0057449
3 | YES | 3279.01 | 34.6436 | 0.00023118 | -0.0051956 | -0.0054259 | -0.00023024 |  | 2999.38 | -0.0049362
3 | YES | 3000.13 | 34.6413 | 0.00027047 | -0.0054512 | -0.0052997 | 0.00015154 |  | 2748.33 | -0.0056572
3 | YES | 2750.3 | 34.6354 | 0.00031084 | -0.0052566 | -0.0051866 | 7.0049e-05 |  | 2499.96 | -0.0055809
3 | YES | 2500.09 | 34.6224 | 0.00026765 | -0.0033684 | -0.0050734 | -0.001705 |  | 2499.7 | -0.0056572
3 | YES | 2501.52 | 34.6224 | 0.0002787 | -0.0062714 | -0.005074 | 0.0011973 |  | 2001.3 | -0.0055237
3 | YES | 2250.44 | 34.6048 | 0.00028254 | -0.0057335 | -0.0049604 | 0.0007731 |  | 1751.63 | -0.0040627
4 | YES | 4002.06 | 34.6722 | 0.0002857 | -0.0048408 | -0.0057531 | -0.00091223 |  | 1751.63 | -0.0049591
4 | YES | 3499.95 | 34.6659 | 0.00025677 | -0.0057449 | -0.0055258 | 0.00021908 |  | 1499.92 | -0.0052528
4 | YES | 2999.38 | 34.6514 | 0.00026976 | -0.0049362 | -0.0052993 | -0.0003631 |  | 1249.76 | -0.0055389
4 | YES | 2748.33 | 34.6395 | 0.0002536 | -0.0056572 | -0.0051857 | 0.00047149 |  | 999.719 | -0.0045967
4 | YES | 2499.96 | 34.6248 | 0.00031524 | -0.0055809 | -0.0050733 | 0.00050759 |  | 2000.78 | -0.0053711
4 | YES | 2499.7 | 34.6248 | 0.00030084 | -0.0056572 | -0.0050732 | 0.00058401 |  | 1749.76 | -0.0055504
4 | NO | 2.7615 | 32.6107 | 0.00024226 | -0.0059586 | -0.0039432 | 0.0020153 |  | 1500.25 | -0.0045967
5 | NO | 4316.22 | 34.6788 | 0.00026872 | -0.0077629 | -0.0058952 | 0.0018677 |  | 1500.12 | -0.0045891
5 | NO | 4000.58 | 34.6745 | 0.00027488 | -0.0058556 | -0.0057524 | 0.00010315 |  | 1250.42 | -0.0045471
5 | NO | 3500.8 | 34.6663 | 0.00027791 | -0.0079002 | -0.0055262 | 0.002374 |  | 1001.36 | -0.0041885
5 | NO | 2999.87 | 34.6508 | 0.00025813 | -0.0098953 | -0.0052995 | 0.0045958 |  | 1502.28 | -0.003109
5 | NO | 2751.74 | 34.6397 | 0.00028211 | -0.010933 | -0.0051873 | 0.0057456 |  | 1249.65 | -0.0037994
5 | NO | 2500.21 | 34.6237 | 0.00032318 | -0.0089912 | -0.0050734 | 0.0039178 |  | 999.408 | -0.0045471
5 | NO | 2248.54 | 34.6011 | 0.0002604 | -0.013123 | -0.0049595 | 0.0081631 |  | 999.268 | -0.0032463
5 | NO | 1999.03 | 34.5781 | 0.00027816 | -0.012997 | -0.0048466 | 0.0081501 |  | 799.787 | -0.0027657
5 | NO | 1749.47 | 34.5495 | 0.00022372 | -0.010799 | -0.0047337 | 0.0060657 |  | 600.615 | -0.0030861
5 | NO | 1499.14 | 34.5028 | 0.00024151 | -0.010708 | -0.0046204 | 0.0060875
5 | NO | 1252.73 | 34.4552 | 0.00025146 | -0.0096207 | -0.0045089 | 0.0051118 |  | average | -0.0047312
5 | NO | 1000.46 | 34.3836 | 0.00025798 | -0.0096931 | -0.0043947 | 0.0052984
5 | NO | 799.871 | 34.3031 | 0.00024372 | -0.01104 | -0.004304 | 0.0067357
5 | NO | 599.478 | 34.1942 | 0.00028004 | -0.010242 | -0.0042133 | 0.0060292
5 | NO | 400.76 | 34.0397 | 0.0002966 | -0.012272 | -0.0041233 | 0.0081486
5 | NO | 299.462 | 33.9365 | 0.00039175 | -0.015938 | -0.0040775 | 0.01186
5 | NO | 198.164 | 33.7924 | 0.00047643 | -0.013962 | -0.0040317 | 0.0099301
5 | NO | 150.637 | 33.4128 | 0.0030131 | -0.0095978 | -0.0040101 | 0.0055876
5 | NO | 101.517 | 32.6218 | 0.001916 | -0.0097885 | -0.0039879 | 0.0058006
5 | NO | 75.087 | 32.6029 | 0.00022567 | -0.0095024 | -0.003976 | 0.0055265
5 | NO | 50.4817 | 32.5932 | 0.00051397 | -0.0092049 | -0.0039648 | 0.00524
5 | NO | 25.8017 | 32.5929 | 0.00020566 | -0.0060158 | -0.0039537 | 0.0020621
5 | NO | 10.4778 | 32.5925 | 0.00024794 | -0.0078812 | -0.0039467 | 0.0039344
5 | NO | 2.4346 | 32.5885 | 0.017605 | -0.010906 | -0.0039431 | 0.0069631
6 | YES | 2001.3 | 34.5826 | 0.00029333 | -0.0055237 | -0.0048476 | 0.00067603
6 | YES | 1751.63 | 34.5498 | 0.00027431 | -0.0040627 | -0.0047347 | -0.00067201
6 | YES | 1751.63 | 34.5498 | 0.00027431 | -0.0049591 | -0.0047347 | 0.00022445
6 | YES | 1499.92 | 34.5052 | 0.00033535 | -0.0052528 | -0.0046208 | 0.00063209
6 | YES | 1249.76 | 34.4519 | 0.00024386 | -0.0055389 | -0.0045075 | 0.0010314
6 | YES | 999.719 | 34.3869 | 0.00023024 | -0.0045967 | -0.0043944 | 0.00020232
6 | NO | 1.4499 | 32.6736 | 0.00033649 | -0.005516 | -0.0039426 | 0.0015734
7 | YES | 2000.78 | 34.5738 | 0.00025505 | -0.0053711 | -0.0048474 | 0.00052368
7 | YES | 1749.76 | 34.5345 | 0.00025924 | -0.0055504 | -0.0047338 | 0.00081656
7 | YES | 1500.25 | 34.483 | 0.00026083 | -0.0045967 | -0.0046209 | -2.4191e-05
7 | YES | 1500.12 | 34.483 | 0.0002434 | -0.0045891 | -0.0046208 | -3.1763e-05
7 | YES | 1250.42 | 34.4145 | 0.00027534 | -0.0045471 | -0.0045078 | 3.9277e-05
7 | YES | 1001.36 | 34.3367 | 0.0002845 | -0.0041885 | -0.0043951 | -0.00020659
7 | NO | 2.6116 | 32.6467 | 0.00022866 | -0.0044823 | -0.0039432 | 0.00053911
8 | YES | 1502.28 | 34.5141 | 0.00024851 | -0.003109 | -0.0046218 | -0.0015128
8 | YES | 1249.65 | 34.4425 | 0.00031387 | -0.0037994 | -0.0045075 | -0.00070805
8 | YES | 999.408 | 34.3496 | 0.00026848 | -0.0045471 | -0.0043942 | 0.00015287
8 | YES | 999.268 | 34.3496 | 0.00026579 | -0.0032463 | -0.0043942 | -0.0011479
8 | YES | 799.787 | 34.2429 | 0.00025095 | -0.0027657 | -0.0043039 | -0.0015383
8 | YES | 600.615 | 34.1104 | 0.00037114 | -0.0030861 | -0.0042138 | -0.0011277
8 | NO | 9.563 | 32.3669 | 0.00023637 | -0.004837 | -0.0039463 | 0.00089074
8 | NO | 2.6913 | 32.3667 | 0.00027122 | -0.004261 | -0.0039432 | 0.00031783
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Comp 2 | Sal_bot | Sal1 |  | Sal1 - Sal_bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
21060001.hyd | 21060001.sam | 121 | 222.307 | 222.309 | 0.025076 | 0.0016174 | 31.3212 | 31.3216 | 0.00064342 | 0.00037193 | 31.3212 | 31.3178 | 0.00046665 | -0.003397
21060001.hyd | 21060001.sam | 121 | 200.95 | 200.95 | 0.024369 | 0.00028992 | 31.313 | 31.3119 | 0.0002568 | -0.0011463 | 31.313 | 31.3073 | 0.00018289 | -0.0057278
21060001.hyd | 21060001.sam | 201 | 150.096 | 150.28 | 0.1786 | 0.18417 | 31.2811 | 31.2797 | 0.00026762 | -0.0013657 | 31.2811 | 31.2754 | 0.00024234 | -0.0057106
21060001.hyd | 21060001.sam | 201 | 150.371 | 150.28 | 0.1786 | -0.090836 | 31.2807 | 31.2797 | 0.00026762 | -0.00096703 | 31.2807 | 31.2754 | 0.00024234 | -0.005312
21060001.hyd | 21060001.sam | 121 | 100.53 | 100.564 | 0.09852 | 0.034225 | 30.8708 | 30.8429 | 0.0019742 | -0.027901 | 30.8708 | 30.8373 | 0.0013439 | -0.033508
21060001.hyd | 21060001.sam | 121 | 75.037 | 75.0368 | 0.022198 | -0.00019836 | 30.4926 | 30.4893 | 0.0056165 | -0.003252 | 30.4926 | 30.4873 | 0.0039977 | -0.0052872
21060001.hyd | 21060001.sam | 121 | 50.486 | 50.4862 | 0.025444 | 0.00024796 | 30.4112 | 30.4139 | 0.0027247 | 0.0026569 | 30.4112 | 30.4095 | 0.0025968 | -0.0016804
21060001.hyd | 21060001.sam | 121 | 25.246 | 25.2457 | 0.028396 | -0.00028992 | 30.1961 | 30.1826 | 0.00031932 | -0.013496 | 30.1961 | 30.1787 | 0.00034842 | -0.017441
21060001.hyd | 21060001.sam | 121 | 10.115 | 10.1161 | 0.027211 | 0.0010996 | 29.8855 | 29.8093 | 0.091136 | -0.076179 | 29.8855 | 29.8775 | 0.022817 | -0.0079822
21060001.hyd | 21060001.sam | 840 | 1.129 | 1.138 | 0.038509 | 0.0089786 | 29.3464 | 29.2264 | 0.076171 | -0.12 | 29.3464 | 29.1722 | 0.069852 | -0.17417
21060005.hyd | 21060005.sam | 102 | 1312.89 | 1312.86 | 0.37809 | -0.033447 | 34.4859 | 34.4894 | 0.00051883 | 0.003521 | 34.4859 | 34.4833 | 0.00026786 | -0.0026245
21060005.hyd | 21060005.sam | 121 | 1249.3 | 1249.33 | 0.14818 | 0.026245 | 34.4719 | 34.4726 | 0.00028911 | 0.00065613 | 34.4719 | 34.4663 | 0.00023034 | -0.0055847
21060005.hyd | 21060005.sam | 111 | 998.724 | 998.626 | 0.36199 | -0.097778 | 34.3999 | 34.4019 | 0.00048376 | 0.002037 | 34.3999 | 34.3954 | 0.0003854 | -0.0044556
21060005.hyd | 21060005.sam | 109 | 800.729 | 800.637 | 0.36351 | -0.092346 | 34.319 | 34.32 | 0.00047943 | 0.00095367 | 34.319 | 34.3136 | 0.00027654 | -0.0054131
21060005.hyd | 21060005.sam | 115 | 799.978 | 800.219 | 0.62378 | 0.24091 | 34.3184 | 34.32 | 0.00047041 | 0.0015755 | 34.3184 | 34.3136 | 0.00026624 | -0.0048256
21060015.hyd | 21060015.sam | 39 | 3279.08 | 3279.01 | 0.58493 | -0.074707 | 34.6488 | 34.6495 | 0.00026208 | 0.00065231 | 34.6488 | 34.6436 | 0.00023118 | -0.0051956
21060015.hyd | 21060015.sam | 105 | 3000.41 | 3000.13 | 0.52197 | -0.28467 | 34.6468 | 34.6476 | 0.00027453 | 0.00078201 | 34.6468 | 34.6413 | 0.00027047 | -0.0054512
21060015.hyd | 21060015.sam | 90 | 2750.14 | 2750.3 | 0.56669 | 0.15185 | 34.6407 | 34.6418 | 0.00031573 | 0.0010529 | 34.6407 | 34.6354 | 0.00031084 | -0.0052566
21060015.hyd | 21060015.sam | 87 | 2499.97 | 2500.09 | 0.57859 | 0.12012 | 34.6258 | 34.629 | 0.00023085 | 0.0031967 | 34.6258 | 34.6224 | 0.00026765 | -0.0033684
21060015.hyd | 21060015.sam | 81 | 2501.59 | 2501.52 | 0.59045 | -0.071045 | 34.6287 | 34.6289 | 0.00028142 | 0.00021362 | 34.6287 | 34.6224 | 0.0002787 | -0.0062714
21060015.hyd | 21060015.sam | 115 | 2250.48 | 2250.44 | 0.41659 | -0.0354 | 34.6105 | 34.6115 | 0.00026911 | 0.00099945 | 34.6105 | 34.6048 | 0.00028254 | -0.0057335
21060026.hyd | 21060026.sam | 83 | 4001.85 | 4002.06 | 0.51764 | 0.21021 | 34.677 | 34.6774 | 0.00020858 | 0.00042343 | 34.677 | 34.6722 | 0.0002857 | -0.0048408
21060026.hyd | 21060026.sam | 121 | 3499.98 | 3499.95 | 0.21903 | -0.029785 | 34.6716 | 34.6716 | 0.00029725 | 3.0518e-05 | 34.6716 | 34.6659 | 0.00025677 | -0.0057449
21060026.hyd | 21060026.sam | 121 | 2999.47 | 2999.38 | 0.52204 | -0.095215 | 34.6563 | 34.6575 | 0.00026382 | 0.0011635 | 34.6563 | 34.6514 | 0.00026976 | -0.0049362
21060026.hyd | 21060026.sam | 113 | 2748.34 | 2748.33 | 0.42296 | -0.019775 | 34.6452 | 34.6457 | 0.00026838 | 0.00046921 | 34.6452 | 34.6395 | 0.0002536 | -0.0056572
21060026.hyd | 21060026.sam | 205 | 2500.05 | 2499.96 | 0.38899 | -0.089356 | 34.6304 | 34.631 | 0.00029786 | 0.00063324 | 34.6304 | 34.6248 | 0.00031524 | -0.0055809
21060026.hyd | 21060026.sam | 206 | 2499.32 | 2499.7 | 0.47221 | 0.37842 | 34.6305 | 34.631 | 0.00029057 | 0.00053024 | 34.6305 | 34.6248 | 0.00030084 | -0.0056572
21060026.hyd | 21060026.sam | 121 | 2.87 | 2.7615 | 0.31951 | -0.10851 | 32.6167 | 32.6155 | 0.00025551 | -0.0011673 | 32.6167 | 32.6107 | 0.00024226 | -0.0059586
21060034.hyd | 21060034.sam | 68 | 4315.65 | 4316.22 | 0.34775 | 0.57129 | 34.6866 | 34.684 | 0.00027301 | -0.0026131 | 34.6866 | 34.6788 | 0.00026872 | -0.0077629
21060034.hyd | 21060034.sam | 121 | 4000.6 | 4000.58 | 0.27293 | -0.020996 | 34.6804 | 34.6801 | 0.00024242 | -0.00027084 | 34.6804 | 34.6745 | 0.00027488 | -0.0058556
21060034.hyd | 21060034.sam | 121 | 3500.86 | 3500.8 | 0.22446 | -0.057861 | 34.6742 | 34.6724 | 0.00027678 | -0.0018463 | 34.6742 | 34.6663 | 0.00027791 | -0.0079002
21060034.hyd | 21060034.sam | 121 | 2999.91 | 2999.87 | 0.33612 | -0.032471 | 34.6607 | 34.6572 | 0.00026346 | -0.0035362 | 34.6607 | 34.6508 | 0.00025813 | -0.0098953
21060034.hyd | 21060034.sam | 115 | 2751.72 | 2751.74 | 0.44745 | 0.016357 | 34.6506 | 34.646 | 0.00028224 | -0.0045586 | 34.6506 | 34.6397 | 0.00028211 | -0.010933
21060034.hyd | 21060034.sam | 48 | 2500.1 | 2500.21 | 0.62816 | 0.10913 | 34.6327 | 34.6301 | 0.0002174 | -0.0025864 | 34.6327 | 34.6237 | 0.00032318 | -0.0089912
21060034.hyd | 21060034.sam | 121 | 2248.66 | 2248.54 | 0.28521 | -0.11499 | 34.6142 | 34.6077 | 0.00027213 | -0.0065498 | 34.6142 | 34.6011 | 0.0002604 | -0.013123
21060034.hyd | 21060034.sam | 121 | 1999.21 | 1999.03 | 0.5163 | -0.18042 | 34.5911 | 34.5846 | 0.00028469 | -0.0065308 | 34.5911 | 34.5781 | 0.00027816 | -0.012997
21060034.hyd | 21060034.sam | 67 | 1749.44 | 1749.47 | 0.63778 | 0.029785 | 34.5603 | 34.5559 | 0.00025578 | -0.004406 | 34.5603 | 34.5495 | 0.00022372 | -0.010799
21060034.hyd | 21060034.sam | 87 | 1499.27 | 1499.14 | 0.55681 | -0.12683 | 34.5135 | 34.5091 | 0.00029635 | -0.0043564 | 34.5135 | 34.5028 | 0.00024151 | -0.010708
21060034.hyd | 21060034.sam | 121 | 1252.83 | 1252.73 | 0.38011 | -0.096435 | 34.4648 | 34.4617 | 0.00029531 | -0.0030746 | 34.4648 | 34.4552 | 0.00025146 | -0.0096207
21060034.hyd | 21060034.sam | 117 | 1000.33 | 1000.46 | 0.59853 | 0.13367 | 34.3933 | 34.39 | 0.00027051 | -0.0032616 | 34.3933 | 34.3836 | 0.00025798 | -0.0096931
21060034.hyd | 21060034.sam | 121 | 799.741 | 799.871 | 0.39989 | 0.13025 | 34.3141 | 34.3093 | 0.00027075 | -0.0048408 | 34.3141 | 34.3031 | 0.00024372 | -0.01104
21060034.hyd | 21060034.sam | 111 | 599.368 | 599.478 | 0.40147 | 0.1098 | 34.2044 | 34.2001 | 0.00032278 | -0.0043449 | 34.2044 | 34.1942 | 0.00028004 | -0.010242
21060034.hyd | 21060034.sam | 121 | 400.739 | 400.76 | 0.32601 | 0.020508 | 34.052 | 34.0456 | 0.00026126 | -0.0064392 | 34.052 | 34.0397 | 0.0002966 | -0.012272
21060034.hyd | 21060034.sam | 121 | 299.411 | 299.462 | 0.20165 | 0.051117 | 33.9524 | 33.9427 | 0.00042519 | -0.0096741 | 33.9524 | 33.9365 | 0.00039175 | -0.015938
21060034.hyd | 21060034.sam | 113 | 198.301 | 198.164 | 0.56895 | -0.13705 | 33.8064 | 33.7981 | 0.0005462 | -0.0083046 | 33.8064 | 33.7924 | 0.00047643 | -0.013962
21060034.hyd | 21060034.sam | 121 | 150.725 | 150.637 | 0.38694 | -0.088348 | 33.4224 | 33.4167 | 0.0024991 | -0.0056572 | 33.4224 | 33.4128 | 0.0030131 | -0.0095978
21060034.hyd | 21060034.sam | 112 | 101.644 | 101.517 | 0.60051 | -0.12694 | 32.6316 | 32.6291 | 0.0039324 | -0.0025063 | 32.6316 | 32.6218 | 0.001916 | -0.0097885
21060034.hyd | 21060034.sam | 102 | 75.463 | 75.087 | 0.63244 | -0.37605 | 32.6124 | 32.608 | 0.00024696 | -0.0044479 | 32.6124 | 32.6029 | 0.00022567 | -0.0095024
21060034.hyd | 21060034.sam | 120 | 50.631 | 50.4817 | 0.37204 | -0.14927 | 32.6024 | 32.5982 | 0.00048943 | -0.0042191 | 32.6024 | 32.5932 | 0.00051397 | -0.0092049
21060034.hyd | 21060034.sam | 79 | 26.124 | 25.8017 | 0.5493 | -0.32233 | 32.5989 | 32.5978 | 0.00023412 | -0.0011291 | 32.5989 | 32.5929 | 0.00020566 | -0.0060158
21060034.hyd | 21060034.sam | 121 | 10.574 | 10.4778 | 0.45125 | -0.09624 | 32.6004 | 32.5974 | 0.00023927 | -0.0029717 | 32.6004 | 32.5925 | 0.00024794 | -0.0078812
21060034.hyd | 21060034.sam | 121 | 2.376 | 2.4346 | 0.16743 | 0.058636 | 32.5994 | 32.5954 | 0.0022856 | -0.0040474 | 32.5994 | 32.5885 | 0.017605 | -0.010906
21060039.hyd | 21060039.sam | 121 | 2001.21 | 2001.3 | 0.24726 | 0.090698 | 34.5881 | 34.5881 | 0.0002541 | -4.1962e-05 | 34.5881 | 34.5826 | 0.00029333 | -0.0055237
21060039.hyd | 21060039.sam | 242 | 1751.85 | 1751.63 | 0.42317 | -0.21936 | 34.5539 | 34.5556 | 0.00026135 | 0.0016708 | 34.5539 | 34.5498 | 0.00027431 | -0.0040627
21060039.hyd | 21060039.sam | 242 | 1751.4 | 1751.63 | 0.42317 | 0.22571 | 34.5548 | 34.5556 | 0.00026135 | 0.00077438 | 34.5548 | 34.5498 | 0.00027431 | -0.0049591
21060039.hyd | 21060039.sam | 121 | 1500.02 | 1499.92 | 0.30569 | -0.10425 | 34.5105 | 34.5112 | 0.00028028 | 0.00072861 | 34.5105 | 34.5052 | 0.00033535 | -0.0052528
21060039.hyd | 21060039.sam | 121 | 1249.87 | 1249.76 | 0.32295 | -0.10852 | 34.4574 | 34.4578 | 0.00025569 | 0.00039291 | 34.4574 | 34.4519 | 0.00024386 | -0.0055389
21060039.hyd | 21060039.sam | 44 | 999.932 | 999.719 | 0.6184 | -0.21283 | 34.3915 | 34.3928 | 0.00030648 | 0.0012627 | 34.3915 | 34.3869 | 0.00023024 | -0.0045967
21060039.hyd | 21060039.sam | 121 | 1.385 | 1.4499 | 0.18828 | 0.064934 | 32.6791 | 32.6784 | 0.00029885 | -0.00068665 | 32.6791 | 32.6736 | 0.00033649 | -0.005516
21060044.hyd | 21060044.sam | 121 | 2000.78 | 2000.78 | 0.17834 | 0.003418 | 34.5792 | 34.5792 | 0.00027771 | -4.1962e-05 | 34.5792 | 34.5738 | 0.00025505 | -0.0053711
21060044.hyd | 21060044.sam | 121 | 1749.82 | 1749.76 | 0.22607 | -0.057007 | 34.5401 | 34.5401 | 0.00026312 | -4.1962e-05 | 34.5401 | 34.5345 | 0.00025924 | -0.0055504
21060044.hyd | 21060044.sam | 212 | 1500.31 | 1500.25 | 0.58882 | -0.057251 | 34.4876 | 34.4885 | 0.00024245 | 0.0009346 | 34.4876 | 34.483 | 0.00026083 | -0.0045967
21060044.hyd | 21060044.sam | 183 | 1500.07 | 1500.12 | 0.51458 | 0.05249 | 34.4876 | 34.4885 | 0.00024122 | 0.00093079 | 34.4876 | 34.483 | 0.0002434 | -0.0045891
21060044.hyd | 21060044.sam | 121 | 1250.46 | 1250.42 | 0.2438 | -0.03894 | 34.419 | 34.4202 | 0.00025929 | 0.0012093 | 34.419 | 34.4145 | 0.00027534 | -0.0045471
21060044.hyd | 21060044.sam | 94 | 1001.33 | 1001.36 | 0.52179 | 0.032715 | 34.3409 | 34.3424 | 0.00030785 | 0.0015373 | 34.3409 | 34.3367 | 0.0002845 | -0.0041885
21060044.hyd | 21060044.sam | 121 | 2.626 | 2.6116 | 0.3226 | -0.01443 | 32.6512 | 32.6511 | 0.00022036 | -0.000103 | 32.6512 | 32.6467 | 0.00022866 | -0.0044823
21060049.hyd | 21060049.sam | 36 | 1501.68 | 1502.28 | 0.25289 | 0.59961 | 34.5172 | 34.5193 | 0.00028419 | 0.0021019 | 34.5172 | 34.5141 | 0.00024851 | -0.003109
21060049.hyd | 21060049.sam | 121 | 1249.6 | 1249.65 | 0.16287 | 0.056519 | 34.4463 | 34.448 | 0.00029175 | 0.001667 | 34.4463 | 34.4425 | 0.00031387 | -0.0037994
21060049.hyd | 21060049.sam | 202 | 999.445 | 999.408 | 0.47982 | -0.036682 | 34.3541 | 34.3551 | 0.00026812 | 0.00096512 | 34.3541 | 34.3496 | 0.00026848 | -0.0045471
21060049.hyd | 21060049.sam | 206 | 999.213 | 999.268 | 0.50992 | 0.054993 | 34.3528 | 34.3551 | 0.00026768 | 0.0022736 | 34.3528 | 34.3496 | 0.00026579 | -0.0032463
21060049.hyd | 21060049.sam | 64 | 799.752 | 799.787 | 0.57143 | 0.034912 | 34.2457 | 34.2482 | 0.00037306 | 0.0025063 | 34.2457 | 34.2429 | 0.00025095 | -0.0027657
21060049.hyd | 21060049.sam | 106 | 600.965 | 600.615 | 0.63372 | -0.34998 | 34.1135 | 34.1159 | 0.00024436 | 0.0024414 | 34.1135 | 34.1104 | 0.00037114 | -0.0030861
21060049.hyd | 21060049.sam | 121 | 9.588 | 9.563 | 0.21324 | -0.024983 | 32.3717 | 32.3708 | 0.00023712 | -0.00086594 | 32.3717 | 32.3669 | 0.00023637 | -0.004837
21060049.hyd | 21060049.sam | 121 | 2.661 | 2.6913 | 0.19356 | 0.030347 | 32.371 | 32.3708 | 0.00039401 | -0.00017166 | 32.371 | 32.3667 | 0.00027122 | -0.004261
Create Fit Sheet