## File List
Number of Files= |  | 7
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 21060001.hyd | 21060001.sac | 12 | 21 | 21060001.hyd & 21060001.sac
2 | 21060005.hyd | 21060005.sac | 23 | 27 | 21060005.hyd & 21060005.sac
3 | 21060015.hyd | 21060015.sac | 29 | 34 | 21060015.hyd & 21060015.sac
4 | 21060026.hyd | 21060026.sac | 36 | 42 | 21060026.hyd & 21060026.sac
5 | 21060039.hyd | 21060039.sac | 44 | 50 | 21060039.hyd & 21060039.sac
6 | 21060044.hyd | 21060044.sac | 52 | 58 | 21060044.hyd & 21060044.sac
7 | 21060049.hyd | 21060049.sac | 60 | 67 | 21060049.hyd & 21060049.sac

## (Sal0 - Sal_bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | #VALUE! |  | X | CALC Y
m= | #VALUE! | #VALUE! |  | Std Dev of Resid |  | #VALUE! |  | #NAME? | #NAME?
b= | #VALUE! | #VALUE! |  | Resid Sum of Squares |  | #VALUE! |  | #NAME? | #NAME?
# of Values Extracted = |  |  | 50
# of Values Used in Fit = |  |  | 37
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 222.309 | 31.3205 | 0.00064327 | -0.00072861 | #VALUE! | #VALUE! |  | 222.309 | -0.00072861
1 | YES | 200.95 | 31.3108 | 0.00025698 | -0.0022469 | #VALUE! | #VALUE! |  | 200.95 | -0.0022469
1 | NO | 150.28 | 31.2786 | 0.00026743 | -0.0024643 | #VALUE! | #VALUE! |  | 1312.86 | 0.0024223
1 | NO | 150.28 | 31.2786 | 0.00026743 | -0.0020657 | #VALUE! | #VALUE! |  | 1249.33 | -0.0004425
1 | NO | 100.564 | 30.8418 | 0.001974 | -0.029001 | #VALUE! | #VALUE! |  | 998.626 | 0.0009346
1 | NO | 75.0368 | 30.4882 | 0.0056165 | -0.0043526 | #VALUE! | #VALUE! |  | 800.637 | -0.00014496
1 | NO | 50.4862 | 30.4128 | 0.0027249 | 0.0015583 | #VALUE! | #VALUE! |  | 800.219 | 0.00047302
1 | NO | 25.2457 | 30.1815 | 0.00031938 | -0.014597 | #VALUE! | #VALUE! |  | 3279.01 | -0.00044632
1 | NO | 10.1161 | 29.8082 | 0.091136 | -0.07728 | #VALUE! | #VALUE! |  | 3000.13 | -0.00031662
1 | NO | 1.138 | 29.2253 | 0.076171 | -0.1211 | #VALUE! | #VALUE! |  | 2750.3 | -4.5776e-05
2 | YES | 1312.86 | 34.4883 | 0.00051895 | 0.0024223 | #VALUE! | #VALUE! |  | 2500.09 | 0.0020981
2 | YES | 1249.33 | 34.4715 | 0.00028947 | -0.0004425 | #VALUE! | #VALUE! |  | 2501.52 | -0.00088501
2 | YES | 998.626 | 34.4008 | 0.00048372 | 0.0009346 | #VALUE! | #VALUE! |  | 2250.44 | -0.000103
2 | YES | 800.637 | 34.3189 | 0.00047926 | -0.00014496 | #VALUE! | #VALUE! |  | 4002.06 | -0.0006752
2 | YES | 800.219 | 34.3189 | 0.00047027 | 0.00047302 | #VALUE! | #VALUE! |  | 3499.95 | -0.0010719
3 | YES | 3279.01 | 34.6484 | 0.00026248 | -0.00044632 | #VALUE! | #VALUE! |  | 2999.38 | 6.485e-05
3 | YES | 3000.13 | 34.6465 | 0.00027498 | -0.00031662 | #VALUE! | #VALUE! |  | 2748.33 | -0.00062942
3 | YES | 2750.3 | 34.6407 | 0.00031605 | -4.5776e-05 | #VALUE! | #VALUE! |  | 2499.96 | -0.00046539
3 | YES | 2500.09 | 34.6279 | 0.00023104 | 0.0020981 | #VALUE! | #VALUE! |  | 2499.7 | -0.00056839
3 | YES | 2501.52 | 34.6278 | 0.00028148 | -0.00088501 | #VALUE! | #VALUE! |  | 2001.3 | -0.0011406
3 | YES | 2250.44 | 34.6104 | 0.00026946 | -0.000103 | #VALUE! | #VALUE! |  | 1751.63 | 0.00056839
4 | YES | 4002.06 | 34.6763 | 0.0002082 | -0.0006752 | #VALUE! | #VALUE! |  | 1751.63 | -0.00032806
4 | YES | 3499.95 | 34.6705 | 0.00029672 | -0.0010719 | #VALUE! | #VALUE! |  | 1499.92 | -0.00037003
4 | YES | 2999.38 | 34.6564 | 0.00026379 | 6.485e-05 | #VALUE! | #VALUE! |  | 1249.76 | -0.00070953
4 | YES | 2748.33 | 34.6446 | 0.00026847 | -0.00062942 | #VALUE! | #VALUE! |  | 999.719 | 0.00016403
4 | YES | 2499.96 | 34.6299 | 0.00029782 | -0.00046539 | #VALUE! | #VALUE! |  | 2000.78 | -0.0011406
4 | YES | 2499.7 | 34.6299 | 0.00029057 | -0.00056839 | #VALUE! | #VALUE! |  | 1749.76 | -0.0011406
4 | NO | 2.7615 | 32.6144 | 0.00025578 | -0.0022659 | #VALUE! | #VALUE! |  | 1500.25 | -0.00016403
5 | YES | 2001.3 | 34.587 | 0.00025387 | -0.0011406 | #VALUE! | #VALUE! |  | 1500.12 | -0.00016785
5 | YES | 1751.63 | 34.5545 | 0.00026121 | 0.00056839 | #VALUE! | #VALUE! |  | 1250.42 | 0.00011063
5 | YES | 1751.63 | 34.5545 | 0.00026121 | -0.00032806 | #VALUE! | #VALUE! |  | 1001.36 | 0.00043869
5 | YES | 1499.92 | 34.5101 | 0.00028057 | -0.00037003 | #VALUE! | #VALUE! |  | 1502.28 | 0.0010033
5 | YES | 1249.76 | 34.4567 | 0.00025535 | -0.00070953 | #VALUE! | #VALUE! |  | 1249.65 | 0.00056839
5 | YES | 999.719 | 34.3917 | 0.00030695 | 0.00016403 | #VALUE! | #VALUE! |  | 999.408 | -0.00013733
5 | NO | 1.4499 | 32.6773 | 0.00029897 | -0.0017891 | #VALUE! | #VALUE! |  | 999.268 | 0.0011749
6 | YES | 2000.78 | 34.5781 | 0.00027783 | -0.0011406 | #VALUE! | #VALUE! |  | 799.787 | 0.0014076
6 | YES | 1749.76 | 34.539 | 0.00026284 | -0.0011406 | #VALUE! | #VALUE! |  | 600.615 | 0.0013428
6 | YES | 1500.25 | 34.4874 | 0.00024229 | -0.00016403 | #VALUE! | #VALUE!
6 | YES | 1500.12 | 34.4874 | 0.00024109 | -0.00016785 | #VALUE! | #VALUE! |  | average | -3.5054e-05
6 | YES | 1250.42 | 34.4191 | 0.00025887 | 0.00011063 | #VALUE! | #VALUE!
6 | YES | 1001.36 | 34.3413 | 0.00030734 | 0.00043869 | #VALUE! | #VALUE!
6 | NO | 2.6116 | 32.65 | 0.00022045 | -0.0012054 | #VALUE! | #VALUE!
7 | YES | 1502.28 | 34.5182 | 0.0002842 | 0.0010033 | #VALUE! | #VALUE!
7 | YES | 1249.65 | 34.4469 | 0.00029164 | 0.00056839 | #VALUE! | #VALUE!
7 | YES | 999.408 | 34.354 | 0.00026788 | -0.00013733 | #VALUE! | #VALUE!
7 | YES | 999.268 | 34.354 | 0.00026742 | 0.0011749 | #VALUE! | #VALUE!
7 | YES | 799.787 | 34.2471 | 0.00037243 | 0.0014076 | #VALUE! | #VALUE!
7 | YES | 600.615 | 34.1148 | 0.00024477 | 0.0013428 | #VALUE! | #VALUE!
7 | NO | 9.563 | 32.3697 | 0.00023703 | -0.0019684 | #VALUE! | #VALUE!
7 | NO | 2.6913 | 32.3697 | 0.00039411 | -0.0012703 | #VALUE! | #VALUE!
[9 empty] | average | -3.5054e-05
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | #VALUE! |  | X | CALC Y
m= | #VALUE! | #VALUE! |  | Std Dev of Resid |  | #VALUE! |  | #NAME? | #NAME?
b= | #VALUE! | #VALUE! |  | Resid Sum of Squares |  | #VALUE! |  | #NAME? | #NAME?
# of Values Extracted = |  |  | 50
# of Values Used in Fit = |  |  | 37
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 222.309 | 31.3225 | 0.00046667 | 0.0013046 | #VALUE! | #VALUE! |  | 222.309 | 0.0013046
1 | YES | 200.95 | 31.312 | 0.00018277 | -0.0010281 | #VALUE! | #VALUE! |  | 200.95 | -0.0010281
1 | NO | 150.28 | 31.2801 | 0.00024227 | -0.0010109 | #VALUE! | #VALUE! |  | 1312.86 | 0.0020752
1 | NO | 150.28 | 31.2801 | 0.00024227 | -0.00061226 | #VALUE! | #VALUE! |  | 1249.33 | -0.00088501
1 | NO | 100.564 | 30.842 | 0.0013438 | -0.028809 | #VALUE! | #VALUE! |  | 998.626 | 0.00024414
1 | NO | 75.0368 | 30.492 | 0.0039976 | -0.00058746 | #VALUE! | #VALUE! |  | 800.637 | -0.00070953
1 | NO | 50.4862 | 30.4142 | 0.0025968 | 0.0030212 | #VALUE! | #VALUE! |  | 800.219 | -0.00012589
1 | NO | 25.2457 | 30.1834 | 0.00034844 | -0.012741 | #VALUE! | #VALUE! |  | 3279.01 | -0.00049591
1 | NO | 10.1161 | 29.8822 | 0.022817 | -0.0032825 | #VALUE! | #VALUE! |  | 3000.13 | -0.0007515
1 | NO | 1.138 | 29.1769 | 0.069852 | -0.16947 | #VALUE! | #VALUE! |  | 2750.3 | -0.00055695
2 | YES | 1312.86 | 34.488 | 0.00026794 | 0.0020752 | #VALUE! | #VALUE! |  | 2500.09 | 0.0013313
2 | YES | 1249.33 | 34.471 | 0.00023017 | -0.00088501 | #VALUE! | #VALUE! |  | 2501.52 | -0.0015717
2 | YES | 998.626 | 34.4001 | 0.00038543 | 0.00024414 | #VALUE! | #VALUE! |  | 2250.44 | -0.00103
2 | YES | 800.637 | 34.3183 | 0.00027686 | -0.00070953 | #VALUE! | #VALUE! |  | 4002.06 | -0.00014114
2 | YES | 800.219 | 34.3183 | 0.0002665 | -0.00012589 | #VALUE! | #VALUE! |  | 3499.95 | -0.0010452
3 | YES | 3279.01 | 34.6483 | 0.00023101 | -0.00049591 | #VALUE! | #VALUE! |  | 2999.38 | -0.00023651
3 | YES | 3000.13 | 34.646 | 0.00027047 | -0.0007515 | #VALUE! | #VALUE! |  | 2748.33 | -0.00095749
3 | YES | 2750.3 | 34.6401 | 0.00031059 | -0.00055695 | #VALUE! | #VALUE! |  | 2499.96 | -0.00088119
3 | YES | 2500.09 | 34.6271 | 0.00026783 | 0.0013313 | #VALUE! | #VALUE! |  | 2499.7 | -0.00095367
3 | YES | 2501.52 | 34.6271 | 0.00027863 | -0.0015717 | #VALUE! | #VALUE! |  | 2001.3 | -0.00082398
3 | YES | 2250.44 | 34.6095 | 0.00028241 | -0.00103 | #VALUE! | #VALUE! |  | 1751.63 | 0.00063705
4 | YES | 4002.06 | 34.6769 | 0.00028581 | -0.00014114 | #VALUE! | #VALUE! |  | 1751.63 | -0.0002594
4 | YES | 3499.95 | 34.6706 | 0.00025664 | -0.0010452 | #VALUE! | #VALUE! |  | 1499.92 | -0.00055313
4 | YES | 2999.38 | 34.6561 | 0.00026997 | -0.00023651 | #VALUE! | #VALUE! |  | 1249.76 | -0.00083923
4 | YES | 2748.33 | 34.6442 | 0.00025337 | -0.00095749 | #VALUE! | #VALUE! |  | 999.719 | 0.000103
4 | YES | 2499.96 | 34.6295 | 0.00031544 | -0.00088119 | #VALUE! | #VALUE! |  | 2000.78 | -0.00067139
4 | YES | 2499.7 | 34.6295 | 0.00030102 | -0.00095367 | #VALUE! | #VALUE! |  | 1749.76 | -0.00085068
4 | NO | 2.7615 | 32.6154 | 0.00024203 | -0.0012588 | #VALUE! | #VALUE! |  | 1500.25 | 0.000103
5 | YES | 2001.3 | 34.5873 | 0.00029309 | -0.00082398 | #VALUE! | #VALUE! |  | 1500.12 | 0.00011063
5 | YES | 1751.63 | 34.5545 | 0.00027432 | 0.00063705 | #VALUE! | #VALUE! |  | 1250.42 | 0.00015259
5 | YES | 1751.63 | 34.5545 | 0.00027432 | -0.0002594 | #VALUE! | #VALUE! |  | 1001.36 | 0.00051117
5 | YES | 1499.92 | 34.5099 | 0.00033587 | -0.00055313 | #VALUE! | #VALUE! |  | 1502.28 | 0.0015907
5 | YES | 1249.76 | 34.4566 | 0.00024346 | -0.00083923 | #VALUE! | #VALUE! |  | 1249.65 | 0.00090027
5 | YES | 999.719 | 34.3916 | 0.00023024 | 0.000103 | #VALUE! | #VALUE! |  | 999.408 | 0.00015259
5 | NO | 1.4499 | 32.6783 | 0.00033666 | -0.00081635 | #VALUE! | #VALUE! |  | 999.268 | 0.0014534
6 | YES | 2000.78 | 34.5785 | 0.00025521 | -0.00067139 | #VALUE! | #VALUE! |  | 799.787 | 0.0019341
6 | YES | 1749.76 | 34.5392 | 0.00025932 | -0.00085068 | #VALUE! | #VALUE! |  | 600.615 | 0.0016136
6 | YES | 1500.25 | 34.4877 | 0.00026069 | 0.000103 | #VALUE! | #VALUE!
6 | YES | 1500.12 | 34.4877 | 0.00024327 | 0.00011063 | #VALUE! | #VALUE! |  | average | -3.1085e-05
6 | YES | 1250.42 | 34.4192 | 0.0002752 | 0.00015259 | #VALUE! | #VALUE!
6 | YES | 1001.36 | 34.3414 | 0.00028429 | 0.00051117 | #VALUE! | #VALUE!
6 | NO | 2.6116 | 32.6514 | 0.00022838 | 0.00021744 | #VALUE! | #VALUE!
7 | YES | 1502.28 | 34.5188 | 0.00024884 | 0.0015907 | #VALUE! | #VALUE!
7 | YES | 1249.65 | 34.4472 | 0.00031377 | 0.00090027 | #VALUE! | #VALUE!
7 | YES | 999.408 | 34.3543 | 0.00026822 | 0.00015259 | #VALUE! | #VALUE!
7 | YES | 999.268 | 34.3543 | 0.00026553 | 0.0014534 | #VALUE! | #VALUE!
7 | YES | 799.787 | 34.2476 | 0.00025065 | 0.0019341 | #VALUE! | #VALUE!
7 | YES | 600.615 | 34.1151 | 0.00037105 | 0.0016136 | #VALUE! | #VALUE!
7 | NO | 9.563 | 32.3716 | 0.00023661 | -0.00013733 | #VALUE! | #VALUE!
7 | NO | 2.6913 | 32.3714 | 0.00027129 | 0.00043869 | #VALUE! | #VALUE!
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_bot | Sal0 |  | Sal0 - Sal_bot
Comp 2 | Sal_Bot | Sal1 |  | Sal1 - Sal_Bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
21060001.hyd | 21060001.sac | 121 | 222.307 | 222.309 | 0.025076 | 0.0016174 | 31.3212 | 31.3205 | 0.00064327 | -0.00072861 | 31.3212 | 31.3225 | 0.00046667 | 0.0013046
21060001.hyd | 21060001.sac | 121 | 200.95 | 200.95 | 0.024369 | 0.00028992 | 31.313 | 31.3108 | 0.00025698 | -0.0022469 | 31.313 | 31.312 | 0.00018277 | -0.0010281
21060001.hyd | 21060001.sac | 201 | 150.096 | 150.28 | 0.1786 | 0.18417 | 31.2811 | 31.2786 | 0.00026743 | -0.0024643 | 31.2811 | 31.2801 | 0.00024227 | -0.0010109
21060001.hyd | 21060001.sac | 201 | 150.371 | 150.28 | 0.1786 | -0.090836 | 31.2807 | 31.2786 | 0.00026743 | -0.0020657 | 31.2807 | 31.2801 | 0.00024227 | -0.00061226
21060001.hyd | 21060001.sac | 121 | 100.53 | 100.564 | 0.09852 | 0.034225 | 30.8708 | 30.8418 | 0.001974 | -0.029001 | 30.8708 | 30.842 | 0.0013438 | -0.028809
21060001.hyd | 21060001.sac | 121 | 75.037 | 75.0368 | 0.022198 | -0.00019836 | 30.4926 | 30.4882 | 0.0056165 | -0.0043526 | 30.4926 | 30.492 | 0.0039976 | -0.00058746
21060001.hyd | 21060001.sac | 121 | 50.486 | 50.4862 | 0.025444 | 0.00024796 | 30.4112 | 30.4128 | 0.0027249 | 0.0015583 | 30.4112 | 30.4142 | 0.0025968 | 0.0030212
21060001.hyd | 21060001.sac | 121 | 25.246 | 25.2457 | 0.028396 | -0.00028992 | 30.1961 | 30.1815 | 0.00031938 | -0.014597 | 30.1961 | 30.1834 | 0.00034844 | -0.012741
21060001.hyd | 21060001.sac | 121 | 10.115 | 10.1161 | 0.027211 | 0.0010996 | 29.8855 | 29.8082 | 0.091136 | -0.07728 | 29.8855 | 29.8822 | 0.022817 | -0.0032825
21060001.hyd | 21060001.sac | 840 | 1.129 | 1.138 | 0.038509 | 0.0089786 | 29.3464 | 29.2253 | 0.076171 | -0.1211 | 29.3464 | 29.1769 | 0.069852 | -0.16947
21060005.hyd | 21060005.sac | 102 | 1312.89 | 1312.86 | 0.37809 | -0.033447 | 34.4859 | 34.4883 | 0.00051895 | 0.0024223 | 34.4859 | 34.488 | 0.00026794 | 0.0020752
21060005.hyd | 21060005.sac | 121 | 1249.3 | 1249.33 | 0.14818 | 0.026245 | 34.4719 | 34.4715 | 0.00028947 | -0.0004425 | 34.4719 | 34.471 | 0.00023017 | -0.00088501
21060005.hyd | 21060005.sac | 111 | 998.724 | 998.626 | 0.36199 | -0.097778 | 34.3999 | 34.4008 | 0.00048372 | 0.0009346 | 34.3999 | 34.4001 | 0.00038543 | 0.00024414
21060005.hyd | 21060005.sac | 109 | 800.729 | 800.637 | 0.36351 | -0.092346 | 34.319 | 34.3189 | 0.00047926 | -0.00014496 | 34.319 | 34.3183 | 0.00027686 | -0.00070953
21060005.hyd | 21060005.sac | 115 | 799.978 | 800.219 | 0.62378 | 0.24091 | 34.3184 | 34.3189 | 0.00047027 | 0.00047302 | 34.3184 | 34.3183 | 0.0002665 | -0.00012589
21060015.hyd | 21060015.sac | 39 | 3279.08 | 3279.01 | 0.58493 | -0.074707 | 34.6488 | 34.6484 | 0.00026248 | -0.00044632 | 34.6488 | 34.6483 | 0.00023101 | -0.00049591
21060015.hyd | 21060015.sac | 105 | 3000.41 | 3000.13 | 0.52197 | -0.28467 | 34.6468 | 34.6465 | 0.00027498 | -0.00031662 | 34.6468 | 34.646 | 0.00027047 | -0.0007515
21060015.hyd | 21060015.sac | 90 | 2750.14 | 2750.3 | 0.56669 | 0.15185 | 34.6407 | 34.6407 | 0.00031605 | -4.5776e-05 | 34.6407 | 34.6401 | 0.00031059 | -0.00055695
21060015.hyd | 21060015.sac | 87 | 2499.97 | 2500.09 | 0.57859 | 0.12012 | 34.6258 | 34.6279 | 0.00023104 | 0.0020981 | 34.6258 | 34.6271 | 0.00026783 | 0.0013313
21060015.hyd | 21060015.sac | 81 | 2501.59 | 2501.52 | 0.59045 | -0.071045 | 34.6287 | 34.6278 | 0.00028148 | -0.00088501 | 34.6287 | 34.6271 | 0.00027863 | -0.0015717
21060015.hyd | 21060015.sac | 115 | 2250.48 | 2250.44 | 0.41659 | -0.0354 | 34.6105 | 34.6104 | 0.00026946 | -0.000103 | 34.6105 | 34.6095 | 0.00028241 | -0.00103
21060026.hyd | 21060026.sac | 83 | 4001.85 | 4002.06 | 0.51764 | 0.21021 | 34.677 | 34.6763 | 0.0002082 | -0.0006752 | 34.677 | 34.6769 | 0.00028581 | -0.00014114
21060026.hyd | 21060026.sac | 121 | 3499.98 | 3499.95 | 0.21903 | -0.029785 | 34.6716 | 34.6705 | 0.00029672 | -0.0010719 | 34.6716 | 34.6706 | 0.00025664 | -0.0010452
21060026.hyd | 21060026.sac | 121 | 2999.47 | 2999.38 | 0.52204 | -0.095215 | 34.6563 | 34.6564 | 0.00026379 | 6.485e-05 | 34.6563 | 34.6561 | 0.00026997 | -0.00023651
21060026.hyd | 21060026.sac | 113 | 2748.34 | 2748.33 | 0.42296 | -0.019775 | 34.6452 | 34.6446 | 0.00026847 | -0.00062942 | 34.6452 | 34.6442 | 0.00025337 | -0.00095749
21060026.hyd | 21060026.sac | 205 | 2500.05 | 2499.96 | 0.38899 | -0.089356 | 34.6304 | 34.6299 | 0.00029782 | -0.00046539 | 34.6304 | 34.6295 | 0.00031544 | -0.00088119
21060026.hyd | 21060026.sac | 206 | 2499.32 | 2499.7 | 0.47221 | 0.37842 | 34.6305 | 34.6299 | 0.00029057 | -0.00056839 | 34.6305 | 34.6295 | 0.00030102 | -0.00095367
21060026.hyd | 21060026.sac | 121 | 2.87 | 2.7615 | 0.31951 | -0.10851 | 32.6167 | 32.6144 | 0.00025578 | -0.0022659 | 32.6167 | 32.6154 | 0.00024203 | -0.0012588
21060039.hyd | 21060039.sac | 121 | 2001.21 | 2001.3 | 0.24726 | 0.090698 | 34.5881 | 34.587 | 0.00025387 | -0.0011406 | 34.5881 | 34.5873 | 0.00029309 | -0.00082398
21060039.hyd | 21060039.sac | 242 | 1751.85 | 1751.63 | 0.42317 | -0.21936 | 34.5539 | 34.5545 | 0.00026121 | 0.00056839 | 34.5539 | 34.5545 | 0.00027432 | 0.00063705
21060039.hyd | 21060039.sac | 242 | 1751.4 | 1751.63 | 0.42317 | 0.22571 | 34.5548 | 34.5545 | 0.00026121 | -0.00032806 | 34.5548 | 34.5545 | 0.00027432 | -0.0002594
21060039.hyd | 21060039.sac | 121 | 1500.02 | 1499.92 | 0.30569 | -0.10425 | 34.5105 | 34.5101 | 0.00028057 | -0.00037003 | 34.5105 | 34.5099 | 0.00033587 | -0.00055313
21060039.hyd | 21060039.sac | 121 | 1249.87 | 1249.76 | 0.32295 | -0.10852 | 34.4574 | 34.4567 | 0.00025535 | -0.00070953 | 34.4574 | 34.4566 | 0.00024346 | -0.00083923
21060039.hyd | 21060039.sac | 44 | 999.932 | 999.719 | 0.6184 | -0.21283 | 34.3915 | 34.3917 | 0.00030695 | 0.00016403 | 34.3915 | 34.3916 | 0.00023024 | 0.000103
21060039.hyd | 21060039.sac | 121 | 1.385 | 1.4499 | 0.18828 | 0.064934 | 32.6791 | 32.6773 | 0.00029897 | -0.0017891 | 32.6791 | 32.6783 | 0.00033666 | -0.00081635
21060044.hyd | 21060044.sac | 121 | 2000.78 | 2000.78 | 0.17834 | 0.003418 | 34.5792 | 34.5781 | 0.00027783 | -0.0011406 | 34.5792 | 34.5785 | 0.00025521 | -0.00067139
21060044.hyd | 21060044.sac | 121 | 1749.82 | 1749.76 | 0.22607 | -0.057007 | 34.5401 | 34.539 | 0.00026284 | -0.0011406 | 34.5401 | 34.5392 | 0.00025932 | -0.00085068
21060044.hyd | 21060044.sac | 212 | 1500.31 | 1500.25 | 0.58882 | -0.057251 | 34.4876 | 34.4874 | 0.00024229 | -0.00016403 | 34.4876 | 34.4877 | 0.00026069 | 0.000103
21060044.hyd | 21060044.sac | 183 | 1500.07 | 1500.12 | 0.51458 | 0.05249 | 34.4876 | 34.4874 | 0.00024109 | -0.00016785 | 34.4876 | 34.4877 | 0.00024327 | 0.00011063
21060044.hyd | 21060044.sac | 121 | 1250.46 | 1250.42 | 0.2438 | -0.03894 | 34.419 | 34.4191 | 0.00025887 | 0.00011063 | 34.419 | 34.4192 | 0.0002752 | 0.00015259
21060044.hyd | 21060044.sac | 94 | 1001.33 | 1001.36 | 0.52179 | 0.032715 | 34.3409 | 34.3413 | 0.00030734 | 0.00043869 | 34.3409 | 34.3414 | 0.00028429 | 0.00051117
21060044.hyd | 21060044.sac | 121 | 2.626 | 2.6116 | 0.3226 | -0.01443 | 32.6512 | 32.65 | 0.00022045 | -0.0012054 | 32.6512 | 32.6514 | 0.00022838 | 0.00021744
21060049.hyd | 21060049.sac | 36 | 1501.68 | 1502.28 | 0.25289 | 0.59961 | 34.5172 | 34.5182 | 0.0002842 | 0.0010033 | 34.5172 | 34.5188 | 0.00024884 | 0.0015907
21060049.hyd | 21060049.sac | 121 | 1249.6 | 1249.65 | 0.16287 | 0.056519 | 34.4463 | 34.4469 | 0.00029164 | 0.00056839 | 34.4463 | 34.4472 | 0.00031377 | 0.00090027
21060049.hyd | 21060049.sac | 202 | 999.445 | 999.408 | 0.47982 | -0.036682 | 34.3541 | 34.354 | 0.00026788 | -0.00013733 | 34.3541 | 34.3543 | 0.00026822 | 0.00015259
21060049.hyd | 21060049.sac | 206 | 999.213 | 999.268 | 0.50992 | 0.054993 | 34.3528 | 34.354 | 0.00026742 | 0.0011749 | 34.3528 | 34.3543 | 0.00026553 | 0.0014534
21060049.hyd | 21060049.sac | 64 | 799.752 | 799.787 | 0.57143 | 0.034912 | 34.2457 | 34.2471 | 0.00037243 | 0.0014076 | 34.2457 | 34.2476 | 0.00025065 | 0.0019341
21060049.hyd | 21060049.sac | 106 | 600.965 | 600.615 | 0.63372 | -0.34998 | 34.1135 | 34.1148 | 0.00024477 | 0.0013428 | 34.1135 | 34.1151 | 0.00037105 | 0.0016136
21060049.hyd | 21060049.sac | 121 | 9.588 | 9.563 | 0.21324 | -0.024983 | 32.3717 | 32.3697 | 0.00023703 | -0.0019684 | 32.3717 | 32.3716 | 0.00023661 | -0.00013733
21060049.hyd | 21060049.sac | 121 | 2.661 | 2.6913 | 0.19356 | 0.030347 | 32.371 | 32.3697 | 0.00039411 | -0.0012703 | 32.371 | 32.3714 | 0.00027129 | 0.00043869
Create Fit Sheet