## Comments
Strait of Georgia Cruise 2001-10: Nutrient data
file storage:
10710 | .aaz | .anz | Samples measured July 10, 2001
10711 | .aaz | .anz | Samples measured July 11, 2001
10712 | .aaz | .anz | Samples measured July 12, 2001
10713 | .aaz | .anz | Samples measured July 13, 2001
2001-10 | .xls
Samples were measured using an Autoanalyzer II, following the procedures outlined in Barwell-Clarke and Whitney, 1996.
Samples were collected in glass and plastic test tubes and frozen on board the ship. They were frozen upright in an aluminum block.
Nitrate/silicate samples were defrosted for 18-24 h before analysis. Phosphate samples were defrosted for 1 hour
before analysis. Lab temperature was noted periodically, and may be found on the original data sheets; it was generallly
around 25 C. Samples were inverted and shaken thoroughly before analysis.
Calibration:
Standards used for these samples were freshly prepared from stock solutions which had been compared to previously
prepared stock solutions and/or commercially prepared standards.
Details of standards:
Stock std | Number | Date prep | Intercalibration | conc gm/L | conc uM
Nitrate | 2001-1 | 2001-07-06 | 2001-07-10 | .25274 gm/L | 2499.65
Silicate | 2000-4 | 2001-07-06 | 2001-07-10 | .94043 gm/L | 5000.7
Phos. Primary | 2000-2 | 2001-05-01 | 2001-05-02 | 0.34019 gm/L | 2499.7428 | a secondary standard, 100:1000 was prepared.
An Eppendorf Maxipettor was used to pipette the standards. It was calibrated on July 10, 2001, and delivered very close to the dialed
volume for each tip, but the delivery volumes have been corrected in calculating the concentrations of the standards.
Variability Estimates:
Pooled deviation of paired samples: (n=16 or 17)
Nitrate | 0.58975
Silicate | 0.97828
Phosphate | 0.053208
The variability is within acceptable limits for nitrate and phosphate, but is high for silicate.
Factors Affecting Data Quality
Samples were generally in good shape when received for analysis.
Some of the samples had salt around the lids, indicating a poor closure of the tube:
N/Si samples: | 3, 1, 15, 12, 43, 38, 58, 76, 90, 134, 129, 150, 148, 144, 167, 181, 172, 170, 247, 279, 277
PO4 samples: | 131, 175
Overfilled tubes (PO4): | 7-20, 35, 50, 51, 52, 53,55, 74-83, 95-108,
110-113, 129, 130, 154-169, 170-184, 185-200, 220, 221, 244
Lid loose (PO4) | 9, 11, 7, 8,27, 31, 45, 56 (extruded sample)63, 68, 81, 85, 86, 89, 91, 92, 93, 110, 115,
156, 158, 160, 162, 166, 182, 187, 193, 195, 204, 216, 217, 220, 224, 225, 236, 237, 246, 247,
250, 252, 253, 256, 259, 266, 274,
Lid loose (N/Si) | 94
About 6 % of the samples were drawn in duplicate from one Niskin at the time of sampling to obtain estimates of variability.
PO4 values were about .02 uM low for the range 2- 3 uM for samples 62-136. Since this is lower than the estimated
variability, it is likely not significant.

## Data
Strait of Georgia 2001-10 Nutrient data.
cast | Station | Sample_Number | Pressure | Nitrate_plus_Nitrite | Nitrate_2 | Nitrate_average | Silicate | Si | Silicate_average | Phosphate | PO4 | Phosphate_average | Comments
n/a | n/a | n/a | Dbars | umol/L | umol/L | umol/L | umol/L | umol/L | umol/L | umol/L | umol/L | umol/L | n/a
1 | SI03 | 1 | 100 | 26.0279 |  | 26.0279 | 60.1485 |  | 60.1485 | 3.2263 |  | 3.2263 | NO3 low
1 | SI03 | 2 | 75 | 26.4288 |  | 26.4288 | 49.8771 |  | 49.8771 | 2.5948 |  | 2.5948
1 | SI03 | 3 | 50 | 26.7179 | 28.9424 | 27.8301 | 52.3174 | 54.5952 | 53.4563 | 2.6712 | 2.7328 | 2.702
1 | SI03 | 4 | 25 | 24.5241 |  | 24.5241 | 44.402 |  | 44.402 | 2.3052 |  | 2.3052
1 | SI03 | 5 | 10 | 16.8829 |  | 16.8829 | 31.757 |  | 31.757 | 1.8565 |  | 1.8565
1 | SI03 | 6 | 0 | 5.1633 |  | 5.1633 | 16.2709 |  | 16.2709 | 0.79357 |  | 0.79357
2 | 59 | 7 | 221 | 27.113 |  | 27.113 | 45.2555 |  | 45.2555 | 2.3178 |  | 2.3178
2 | 59 | 8 | 200 | 27.1594 |  | 27.1594 | 45.4967 |  | 45.4967 | 2.2894 |  | 2.2894
2 | 59 | 9 | 175 | 26.9478 |  | 26.9478 | 44.8316 |  | 44.8316 | 2.2453 |  | 2.2453
2 | 59 | 10 | 150 | 24.5579 |  | 24.5579 | 41.1808 |  | 41.1808 | 2.2793 |  | 2.2793 | Si low
2 | 59 | 11 | 125 | 26.3068 |  | 26.3068 | 44.5896 |  | 44.5896 | 2.3258 |  | 2.3258
2 | 59 | 12 | 100 | 25.5616 |  | 25.5616 | 43.8361 |  | 43.8361 | 2.2724 |  | 2.2724
2 | 59 | 13 | 75 | 25.4108 |  | 25.4108 | 42.9029 |  | 42.9029 | 2.2627 |  | 2.2627
2 | 59 | 14 | 50 | 23.9581 |  | 23.9581 | 42.332 |  | 42.332 | 2.1526 |  | 2.1526 | PO4 low
2 | 59 | 15 | 40 | 22.5108 |  | 22.5108 | 40.1383 |  | 40.1383 | 2.2244 |  | 2.2244
2 | 59 | 16 | 30 | 24.0529 |  | 24.0529 | 43.0854 |  | 43.0854 | 2.2366 |  | 2.2366
2 | 59 | 17 | 21 | 23.9625 |  | 23.9625 | 43.146 |  | 43.146 | 2.2269 |  | 2.2269
2 | 59 | 18 | 10 | 23.9508 |  | 23.9508 | 44.4667 |  | 44.4667 | 2.1857 |  | 2.1857
2 | 59 | 19 | 5 | 23.6641 |  | 23.6641 | 43.3567 |  | 43.3567 | 2.1414 |  | 2.1414
2 | 59 | 20 | 0 | 22.9069 |  | 22.9069 | 42.2482 |  | 42.2482 | 2.1127 |  | 2.1127
7 | 102 | 21 | 252 | 34.6837 |  | 34.6837 | 52.285 |  | 52.285 | 2.6935 |  | 2.6935
7 | 102 | 22 | 250 | 32.6928 |  | 32.6928 | 51.1518 |  | 51.1518 | 2.687 |  | 2.687
7 | 102 | 23 | 200 | 33.4142 |  | 33.4142 | 50.292 |  | 50.292 | 2.6131 |  | 2.6131
7 | 102 | 24 | 175 | 30.7322 |  | 30.7322 | 44.1913 |  | 44.1913 | 2.4492 |  | 2.4492
7 | 102 | 25 | 150 | 29.3979 |  | 29.3979 | 41.1723 |  | 41.1723 | 2.34 |  | 2.34
7 | 102 | 26 | 125 | 28.8625 |  | 28.8625 | 41.2258 |  | 41.2258 | 2.3022 |  | 2.3022
7 | 102 | 27 | 100 | 28.983 |  | 28.983 | 43.4424 |  | 43.4424 | 2.3517 |  | 2.3517
7 | 102 | 28 | 75 | 26.7467 |  | 26.7467 | 42.2329 |  | 42.2329 | 2.2075 |  | 2.2075
7 | 102 | 29 | 50 | 22.4608 |  | 22.4608 | 37.337 |  | 37.337 | 1.9831 |  | 1.9831
7 | 102 | 30 | 40 | 21.9437 |  | 21.9437 | 37.0007 |  | 37.0007 | 1.9028 |  | 1.9028
7 | 102 | 31 | 30 | 21.8199 |  | 21.8199 | 36.8811 | 37.094 | 36.9875 | 1.9046 | 1.8864 | 1.8955
7 | 102 | 32 | 20 | 21.0575 |  | 21.0575 | 36.1307 |  | 36.1307 | 1.8158 |  | 1.8158
7 | 102 | 33 | 10 | 20.1292 |  | 20.1292 | 35.0234 |  | 35.0234 | 1.7706 |  | 1.7706
7 | 102 | 34 | 5 | 20.2137 |  | 20.2137 | 34.8128 |  | 34.8128 | 1.7637 |  | 1.7637
7 | 102 | 35 | 0 | 20.1426 |  | 20.1426 | 34.9602 |  | 34.9602 | 1.712 |  | 1.712
10 | 75 | 36 | 215 | 33.7566 |  | 33.7566 | 52.1886 |  | 52.1886 | 2.5664 |  | 2.5664
10 | 75 | 37 | 200 | 33.956 |  | 33.956 | 51.715 |  | 51.715 | 2.5654 |  | 2.5654
10 | 75 | 38 | 175 | 32.4335 | 32.4968 | 32.4651 | 48.0254 | 48.8621 | 48.4438 | 2.4572 | 2.4769 | 2.467
10 | 75 | 39 | 150 | 30.2946 |  | 30.2946 | 43.1696 |  | 43.1696 | 2.3811 |  | 2.3811
10 | 75 | 40 | 125 | 29.4692 |  | 29.4692 | 42.1548 |  | 42.1548 | 2.3268 |  | 2.3268
10 | 75 | 41 | 100 | 28.7652 |  | 28.7652 | 42.5097 |  | 42.5097 | 2.2631 |  | 2.2631
10 | 75 | 42 | 75 | 27.8224 |  | 27.8224 | 44.5058 |  | 44.5058 | 2.3065 |  | 2.3065
10 | 75 | 43 | 50 | 24.9871 |  | 24.9871 | 42.4891 |  | 42.4891 | 2.0785 |  | 2.0785
10 | 75 | 44 | 40 | 21.7717 |  | 21.7717 | 38.1071 |  | 38.1071 | 1.7971 |  | 1.7971
10 | 75 | 45 | 30 | 20.0747 |  | 20.0747 | 35.3688 |  | 35.3688 | 1.7388 |  | 1.7388
10 | 75 | 46 | 20 | 19.5657 |  | 19.5657 | 34.9981 |  | 34.9981 | 1.6418 |  | 1.6418
10 | 75 | 47 | 10 | 20.0809 |  | 20.0809 | 35.355 |  | 35.355 | 1.7414 |  | 1.7414
10 | 75 | 48 | 5 | 20.2414 |  | 20.2414 | 35.2572 |  | 35.2572 | 1.7314 |  | 1.7314
10 | 75 | 49 | 0 | 20.2639 |  | 20.2639 | 35.977 |  | 35.977 | 1.7085 |  | 1.7085
13 | 72 | 50 | 180 | 32.994 |  | 32.994 | 50.448 |  | 50.448 | 2.3954 |  | 2.3954
13 | 72 | 51 | 150 | 33.4701 |  | 33.4701 | 50.5213 |  | 50.5213 | 2.504 |  | 2.504
13 | 72 | 52 | 125 | 32.8332 |  | 32.8332 | 49.4963 |  | 49.4963 | 2.3809 |  | 2.3809
13 | 72 | 53 | 100 | 31.0284 |  | 31.0284 | 46.2791 |  | 46.2791 | 2.4018 |  | 2.4018
13 | 72 | 54 | 75 | 29.2905 |  | 29.2905 | 45.5331 |  | 45.5331 | 2.2312 |  | 2.2312
13 | 72 | 55 | 50 | 28.3801 |  | 28.3801 | 44.8794 |  | 44.8794 | 2.2744 |  | 2.2744
13 | 72 | 56 | 40 | 27.372 |  | 27.372 | 44.4089 |  | 44.4089 | 2.2453 |  | 2.2453
13 | 72 | 57 | 30 | 27.2255 |  | 27.2255 | 44.4858 |  | 44.4858 | 2.257 |  | 2.257
13 | 72 | 58 | 20 | 26.3606 |  | 26.3606 | 43.9252 |  | 43.9252 | 2.1871 |  | 2.1871
13 | 72 | 59 | 10 | 26.2145 |  | 26.2145 | 44.6393 |  | 44.6393 | 2.1517 |  | 2.1517
13 | 72 | 60 | 5 | 25.5316 |  | 25.5316 | 44.0792 |  | 44.0792 | 2.2012 |  | 2.2012
13 | 72 | 61 | 0 | 25.6644 |  | 25.6644 | 44.4288 |  | 44.4288 | 2.147 |  | 2.147
16 | 69 | 62 | 165 | 29.7362 | 32.2541 | 30.9952 | 47.7707 | 47.3457 | 47.5582 | 2.4379 |  | 2.4379
16 | 69 | 63 | 150 | 32.4511 | 31.8909 | 32.171 | 48.1185 | 47.7842 | 47.9513 | 2.4071 |  | 2.4071
16 | 69 | 64 | 125 | 32.2896 | 32.059 | 32.1743 | 47.9041 | 48.0246 | 47.9644 | 2.4063 |  | 2.4063
16 | 69 | 65 | 100 | 32.303 | 31.9079 | 32.1055 | 49.1623 | 48.7361 | 48.9492 | 2.4242 |  | 2.4242
16 | 69 | 66 | 75 | 29.008 | 28.6812 | 28.8446 | 45.232 | 44.9897 | 45.1109 | 2.2651 |  | 2.2651
16 | 69 | 67 | 50 | 27.735 | 27.3836 | 27.5593 | 45.3067 | 45.3374 | 45.322 | 2.2279 |  | 2.2279
16 | 69 | 68 | 40 | 26.8286 | 27.2115 | 27.02 | 44.6368 | 45.2904 | 44.9636 | 2.1929 | 2.2057 | 2.1993 | N/Si samples 62-68 were remeasured.
16 | 69 | 69 | 30 | 24.7682 |  | 24.7682 | 41.8901 |  | 41.8901 | 2.174 |  | 2.174
16 | 69 | 70 | 20 | 25.8074 |  | 25.8074 | 44.422 |  | 44.422 | 2.1551 |  | 2.1551
16 | 69 | 71 | 10 | 25.6588 |  | 25.6588 | 43.6775 |  | 43.6775 | 2.0898 |  | 2.0898
16 | 69 | 72 | 5 | 25.4402 |  | 25.4402 | 44.5714 |  | 44.5714 | 2.1109 |  | 2.1109
16 | 69 | 73 | 0 | 25.408 |  | 25.408 | 43.7358 |  | 43.7358 | 2.1598 |  | 2.1598
19 | ADCP | 74 | 118 | 30.4866 |  | 30.4866 | 45.3177 |  | 45.3177 | 2.3018 |  | 2.3018
19 | ADCP | 75 | 100 | 29.7269 |  | 29.7269 | 45.1211 |  | 45.1211 | 2.3045 |  | 2.3045
19 | ADCP | 76 | 75 | 27.2142 |  | 27.2142 | 43.7413 |  | 43.7413 | 2.3194 |  | 2.3194
19 | ADCP | 77 | 50 | 26.6919 |  | 26.6919 | 44.637 |  | 44.637 | 2.2332 |  | 2.2332
19 | ADCP | 78 | 40 | 24.4925 |  | 24.4925 | 42.2561 |  | 42.2561 | 2.1497 |  | 2.1497
19 | ADCP | 79 | 30 | 25.2757 |  | 25.2757 | 43.8798 |  | 43.8798 | 2.2047 |  | 2.2047
19 | ADCP | 80 | 20 | 25.1741 |  | 25.1741 | 44.2293 |  | 44.2293 | 1.9632 |  | 1.9632 | P: low
19 | ADCP | 81 | 10 | 24.0723 |  | 24.0723 | 44.5789 |  | 44.5789 | 2.0928 |  | 2.0928
19 | ADCP | 82 | 5 | 23.8317 |  | 23.8317 | 44.4734 |  | 44.4734 | 2.0553 |  | 2.0553
19 | ADCP | 83 | 0 | 22.3617 |  | 22.3617 | 42.3655 |  | 42.3655 | 2.1043 |  | 2.1043
26 | 62 | 84 | 136 | 29.6925 |  | 29.6925 | 46.7796 |  | 46.7796 | 2.2703 |  | 2.2703
26 | 62 | 85 | 125 | 28.8148 |  | 28.8148 | 44.5816 |  | 44.5816 | 2.2455 |  | 2.2455
26 | 62 | 86 | 100 | 26.8611 |  | 26.8611 | 43.4751 |  | 43.4751 | 2.2205 |  | 2.2205
26 | 62 | 87 | 75 | 26.6183 |  | 26.6183 | 44.4616 |  | 44.4616 | 2.1588 |  | 2.1588
26 | 62 | 88 | 50 | 24.1484 | 24.9035 | 24.5259 | 41.2471 | 44.0831 | 42.6651 | 2.0284 | 2.0659 | 2.0472
26 | 62 | 89 | 40 | 22.9982 |  | 22.9982 | 41.3236 |  | 41.3236 | 2.222 |  | 2.222
26 | 62 | 90 | 30 | 22.5945 |  | 22.5945 | 40.672 |  | 40.672 | 2.1847 |  | 2.1847
26 | 62 | 91 | 20 | 24.0072 |  | 24.0072 | 43.5699 |  | 43.5699 | 2.2824 |  | 2.2824
26 | 62 | 92 | 10 | 24.0226 |  | 24.0226 | 43.0093 |  | 43.0093 | 2.4468 |  | 2.4468 | P: high
26 | 62 | 93 | 5 | 23.9445 |  | 23.9445 | 42.7218 |  | 42.7218 | 2.1404 |  | 2.1404
26 | 62 | 94 | 0 | 23.8665 |  | 23.8665 | 43.2533 |  | 43.2533 | 2.103 |  | 2.103
31 | 56 | 95 | 205 | 26.7055 |  | 26.7055 | 45.1583 |  | 45.1583 | 2.2577 |  | 2.2577
31 | 56 | 96 | 200 | 26.6104 |  | 26.6104 | 45.2455 |  | 45.2455 | 2.2437 |  | 2.2437
31 | 56 | 97 | 175 | 26.5624 |  | 26.5624 | 45.7885 |  | 45.7885 | 2.2205 |  | 2.2205
31 | 56 | 98 | 150 | 25.9256 | 25.997 | 25.9613 | 44.865 | 45.3246 | 45.0948 | 2.1932 | 1.9324 | 2.0628 | P: low
31 | 56 | 99 | 125 | 25.4558 |  | 25.4558 | 45.0433 |  | 45.0433 | 2.2155 |  | 2.2155
31 | 56 | 100 | 100 | 24.7054 |  | 24.7054 | 44.8571 |  | 44.8571 | 2.2014 |  | 2.2014
31 | 56 | 101 | 75 | 24.7515 |  | 24.7515 | 44.9442 |  | 44.9442 | 2.2449 |  | 2.2449
31 | 56 | 102 | 50 | 24.0956 |  | 24.0956 | 44.5759 |  | 44.5759 | 2.1942 |  | 2.1942
31 | 56 | 103 | 40 | 24.1885 |  | 24.1885 | 45.1184 |  | 45.1184 | 2.2135 |  | 2.2135
31 | 56 | 104 | 30 | 24.0709 |  | 24.0709 | 45.6607 |  | 45.6607 | 2.2237 |  | 2.2237
31 | 56 | 105 | 20 | 24.1637 |  | 24.1637 | 45.8387 |  | 45.8387 | 1.9699 |  | 1.9699 | P: low
31 | 56 | 106 | 10 | 23.6022 |  | 23.6022 | 45.7435 |  | 45.7435 | 2.2227 |  | 2.2227
31 | 56 | 107 | 5 | 22.9011 |  | 22.9011 | 45.5575 |  | 45.5575 | 2.1564 |  | 2.1564
31 | 56 | 108 | 0 | 22.4806 |  | 22.4806 | 45.0074 |  | 45.0074 | 2.1297 |  | 2.1297
40 | 46 | 109 | 176 | 24.5336 |  | 24.5336 | 43.4771 |  | 43.4771 | 2.2309 |  | 2.2309
40 | 46 | 110 | 150 | 25.5199 |  | 25.5199 | 45.0269 |  | 45.0269 | 2.199 |  | 2.199
40 | 46 | 111 | 125 | 24.5321 |  | 24.5321 | 44.292 |  | 44.292 | 2.1911 |  | 2.1911
40 | 46 | 112 | 100 | 24.6245 | 23.8274 | 24.2259 | 44.6497 | 43.6486 | 44.1491 | 2.1509 | 2.165 | 2.158
40 | 46 | 113 | 75 | 24.6238 |  | 24.6238 | 45.011 |  | 45.011 | 2.1188 |  | 2.1188
40 | 46 | 114 | 50 | 23.1928 |  | 23.1928 | 43.4547 |  | 43.4547 | 2.1288 |  | 2.1288
40 | 46 | 115 | 40 | 26.8781 |  | 26.8781 | 50.5703 |  | 50.5703 | 2.3522 |  | 2.3522
40 | 46 | 116 | 30 | 27.4182 |  | 27.4182 | 50.3831 |  | 50.3831 | 2.413 |  | 2.413
40 | 46 | 117 | 20 | 25.8179 |  | 25.8179 | 48.5541 |  | 48.5541 | 2.3754 |  | 2.3754
40 | 46 | 118 | 10 | 20.246 |  | 20.246 | 42.0707 |  | 42.0707 | 2.0112 |  | 2.0112
40 | 46 | 119 | 5 | 17.2888 |  | 17.2888 | 39.4194 |  | 39.4194 | 1.8068 |  | 1.8068
40 | 46 | 120 | 0 | 15.5478 |  | 15.5478 | 37.6811 |  | 37.6811 | 1.6932 |  | 1.6932
42 | 42 | 121 | 314 | 27.0259 |  | 27.0259 | 52.8781 |  | 52.8781 | 2.431 |  | 2.431
42 | 42 | 122 | 300 | 28.6035 |  | 28.6035 | 58.3424 |  | 58.3424 | 2.5838 |  | 2.5838
42 | 42 | 123 | 250 | 28.2001 |  | 28.2001 | 54.3201 |  | 54.3201 | 2.4972 |  | 2.4972
42 | 42 | 124 | 200 | 27.7028 |  | 27.7028 | 53.1256 |  | 53.1256 | 2.8899 |  | 2.8899 | P: high
42 | 42 | 125 | 175 | 28.5488 |  | 28.5488 | 55.6691 |  | 55.6691 | 2.4058 |  | 2.4058
42 | 42 | 126 | 150 | 24.7375 |  | 24.7375 | 45.2652 |  | 45.2652 | 2.2244 |  | 2.2244
42 | 42 | 127 | 125 | 24.83 |  | 24.83 | 45.6235 |  | 45.6235 | 2.1807 |  | 2.1807
42 | 42 | 128 | 100 | 24.3587 | 24.4067 | 24.3827 | 44.6988 | 45.1607 | 44.9297 | 2.19 | 2.1914 | 2.1907
42 | 42 | 129 | 75 | 29.3367 |  | 29.3367 | 54.5304 |  | 54.5304 | 2.4812 |  | 2.4812
42 | 42 | 130 | 50 | 29.1456 |  | 29.1456 | 53.7022 |  | 53.7022 | 2.5281 |  | 2.5281
42 | 42 | 131 | 40 | 28.1316 |  | 28.1316 | 51.5094 |  | 51.5094 | 2.458 |  | 2.458
42 | 42 | 132 | 30 | 25.3373 |  | 25.3373 | 48.4067 |  | 48.4067 | 2.318 |  | 2.318
42 | 42 | 133 | 20 | 20.384 |  | 20.384 | 42.7532 |  | 42.7532 | 2.1828 |  | 2.1828
42 | 42 | 134 | 10 | 16.7571 |  | 16.7571 | 36.2755 |  | 36.2755 | 2.0649 |  | 2.0649
42 | 42 | 135 | 5 | 17.1519 |  | 17.1519 | 39.0969 |  | 39.0969 | 1.7971 |  | 1.7971
42 | 42 | 136 | 0 | 14.3251 |  | 14.3251 | 41.0959 |  | 41.0959 | 1.4963 |  | 1.4963
46 | 39 | 137 | 368 | 26.5931 |  | 26.5931 | 51.374 |  | 51.374 | 2.5195 |  | 2.5195
46 | 39 | 138 | 350 | 28.1838 |  | 28.1838 | 54.2736 |  | 54.2736 | 2.5255 |  | 2.5255
46 | 39 | 139 | 300 | 27.424 |  | 27.424 | 50.5981 |  | 50.5981 | 2.4061 |  | 2.4061
46 | 39 | 140 | 250 | 27.5431 |  | 27.5431 | 52.8594 |  | 52.8594 | 2.5438 |  | 2.5438
46 | 39 | 141 | 200 | 27.7571 |  | 27.7571 | 51.1009 |  | 51.1009 | 2.3836 |  | 2.3836
46 | 39 | 142 | 175 | 27.7575 |  | 27.7575 | 51.1696 |  | 51.1696 | 2.4963 |  | 2.4963
46 | 39 | 143 | 150 | 29.1604 |  | 29.1604 | 54.8961 |  | 54.8961 | 2.5492 |  | 2.5492
46 | 39 | 144 | 125 | 27.9006 |  | 27.9006 | 52.0389 |  | 52.0389 | 2.48 |  | 2.48 | N/Si salty
46 | 39 | 145 | 100 | 28.6616 | 26.62 | 27.6408 | 53.733 | 50.7359 | 52.2344 | 2.5703 | 2.5831 | 2.5767
46 | 39 | 146 | 75 | 28.2103 |  | 28.2103 | 52.5209 |  | 52.5209 | 2.4448 |  | 2.4448
46 | 39 | 147 | 50 | 27.0715 |  | 27.0715 | 51.0339 |  | 51.0339 | 2.3094 |  | 2.3094
46 | 39 | 148 | 40 | 21.9976 |  | 21.9976 | 44.2419 |  | 44.2419 | 2.3123 |  | 2.3123 | N/Si salty
46 | 39 | 149 | 30 | 13.9736 |  | 13.9736 | 36.913 |  | 36.913 | 1.688 |  | 1.688
46 | 39 | 150 | 20 | 14.0902 |  | 14.0902 | 37.1634 |  | 37.1634 | 1.6877 |  | 1.6877 | N/Si salty
46 | 39 | 151 | 10 | 13.813 |  | 13.813 | 36.6841 |  | 36.6841 | 1.6333 |  | 1.6333
46 | 39 | 152 | 5 | 14.0685 |  | 14.0685 | 37.3915 |  | 37.3915 | 1.6904 |  | 1.6904
46 | 39 | 153 | 0 | 14.4399 |  | 14.4399 | 37.3682 |  | 37.3682 | 1.687 |  | 1.687
51 | 27 | 154 | 346 | 29.321 |  | 29.321 | 64.2364 |  | 64.2364 | 2.9081 |  | 2.9081
51 | 27 | 155 | 300 | 29.4405 |  | 29.4405 | 62.3016 |  | 62.3016 | 2.7867 |  | 2.7867 | N/Si salty
51 | 27 | 156 | 250 | 29.3692 |  | 29.3692 | 61.0953 |  | 61.0953 | 2.6993 |  | 2.6993 | N/Si salty
51 | 27 | 157 | 200 | 28.4877 |  | 28.4877 | 54.6791 |  | 54.6791 | 2.5804 |  | 2.5804
51 | 27 | 158 | 175 | 28.5594 |  | 28.5594 | 54.4742 |  | 54.4742 | 2.5426 |  | 2.5426
51 | 27 | 159 | 150 | 28.4409 | 28.274 | 28.3575 | 52.9666 | 52.3492 | 52.6579 | 2.4543 | 2.5141 | 2.4842
51 | 27 | 160 | 125 | 28.7746 |  | 28.7746 | 52.761 |  | 52.761 | 2.4917 |  | 2.4917
51 | 27 | 161 | 100 | 28.0608 |  | 28.0608 | 53.6535 |  | 53.6535 | 2.5509 |  | 2.5509
51 | 27 | 162 | 75 | 29.4664 |  | 29.4664 | 55.1657 |  | 55.1657 | 2.6035 |  | 2.6035
51 | 27 | 163 | 50 | 27.4439 |  | 27.4439 | 51.2971 |  | 51.2971 | 2.5345 |  | 2.5345
51 | 27 | 164 | 40 | 23.3272 |  | 23.3272 | 47.0641 |  | 47.0641 | 2.2672 |  | 2.2672
51 | 27 | 165 | 30 | 18.4475 |  | 18.4475 | 39.4554 |  | 39.4554 | 2.1502 |  | 2.1502
51 | 27 | 166 | 20 | 14.3769 |  | 14.3769 | 37.8801 |  | 37.8801 | 1.6829 |  | 1.6829
51 | 27 | 167 | 10 | 4.0984 |  | 4.0984 | 25.4762 |  | 25.4762 | 0.89613 |  | 0.89613 | N/Si salty
51 | 27 | 168 | 5 | 0.99636 |  | 0.99636 | 21.4639 |  | 21.4639 | 0.56302 |  | 0.56302
51 | 27 | 169 | 0 | 4.531 |  | 4.531 | 20.3585 |  | 20.3585 | 0.95107 |  | 0.95107
55 | 2 | 170 | 270 | 29.2454 |  | 29.2454 | 59.4946 |  | 59.4946 | 2.7733 |  | 2.7733 | N/Si salty
55 | 2 | 171 | 250 | 28.3868 |  | 28.3868 | 56.5481 |  | 56.5481 | 2.6043 |  | 2.6043
55 | 2 | 172 | 200 | 27.6012 |  | 27.6012 | 51.6802 |  | 51.6802 | 2.4754 |  | 2.4754 | N/Si salty
55 | 2 | 173 | 175 | 28.0062 |  | 28.0062 | 52.2006 |  | 52.2006 | 2.4371 |  | 2.4371
55 | 2 | 174 | 150 | 28.3877 |  | 28.3877 | 52.6299 |  | 52.6299 | 2.4773 |  | 2.4773
55 | 2 | 175 | 125 | 28.9841 |  | 28.9841 | 55.0717 |  | 55.0717 | 2.3794 |  | 2.3794 | P: salty
55 | 2 | 176 | 100 | 30.035 |  | 30.035 | 55.1366 |  | 55.1366 | 2.6044 |  | 2.6044
55 | 2 | 177 | 75 | 29.1993 |  | 29.1993 | 54.8353 |  | 54.8353 | 2.6038 |  | 2.6038
55 | 2 | 178 | 50 | 27.7698 |  | 27.7698 | 52.9773 |  | 52.9773 | 2.5469 |  | 2.5469
55 | 2 | 179 | 40 | 27.1043 |  | 27.1043 | 53.4078 |  | 53.4078 | 2.515 |  | 2.515
55 | 2 | 180 | 30 | 25.4202 |  | 25.4202 | 50.1751 |  | 50.1751 | 2.4737 |  | 2.4737
55 | 2 | 181 | 20 | 22.9162 |  | 22.9162 | 47.5839 |  | 47.5839 | 2.404 |  | 2.404 | N/Si salty
55 | 2 | 182 | 10 | 11.5672 |  | 11.5672 | 35.6808 |  | 35.6808 | 1.4355 |  | 1.4355
55 | 2 | 183 | 5 | 6.0916 |  | 6.0916 | 31.0987 |  | 31.0987 | 0.94184 |  | 0.94184
55 | 2 | 184 | 0 | 5.3863 |  | 5.3863 | 31.1625 |  | 31.1625 | 0.85394 |  | 0.85394
58 | 3 | 185 | 316 | 28.8864 |  | 28.8864 | 64.4006 |  | 64.4006 | 2.8489 |  | 2.8489
58 | 3 | 186 | 300 | 29.6927 |  | 29.6927 | 64.5863 |  | 64.5863 | 2.7517 |  | 2.7517
58 | 3 | 187 | 250 | 28.5793 | 28.5383 | 28.5588 | 57.66 | 58.3863 | 58.0231 | 2.7352 | 2.7325 | 2.7338
58 | 3 | 188 | 200 | 28.4294 |  | 28.4294 | 55.4735 |  | 55.4735 | 2.5564 |  | 2.5564
58 | 3 | 189 | 175 | 28.5181 |  | 28.5181 | 54.1083 |  | 54.1083 | 2.5591 |  | 2.5591
58 | 3 | 190 | 150 | 28.5352 |  | 28.5352 | 53.0168 |  | 53.0168 | 2.5179 |  | 2.5179
58 | 3 | 191 | 125 | 29.1255 |  | 29.1255 | 54.8458 |  | 54.8458 | 2.5268 |  | 2.5268
58 | 3 | 192 | 100 | 29.9555 |  | 29.9555 | 55.3058 |  | 55.3058 | 2.5389 |  | 2.5389
58 | 3 | 193 | 75 | 30.2119 |  | 30.2119 | 57.3163 |  | 57.3163 | 2.6073 |  | 2.6073
58 | 3 | 194 | 50 | 28.8422 |  | 28.8422 | 54.9478 |  | 54.9478 | 2.61 |  | 2.61
58 | 3 | 195 | 40 | 24.5558 |  | 24.5558 | 50.2057 |  | 50.2057 | 2.4905 |  | 2.4905
58 | 3 | 196 | 30 | 22.9893 |  | 22.9893 | 47.6532 |  | 47.6532 | 2.1688 |  | 2.1688
58 | 3 | 197 | 20 | 16.582 |  | 16.582 | 40.8064 |  | 40.8064 | 1.8637 |  | 1.8637
58 | 3 | 198 | 10 | 13.6509 |  | 13.6509 | 35.8746 |  | 35.8746 | 1.7772 |  | 1.7772
58 | 3 | 199 | 5 | 13.6463 |  | 13.6463 | 36.7927 |  | 36.7927 | 1.7065 |  | 1.7065
58 | 3 | 200 | 0 | 12.6707 |  | 12.6707 | 35.6081 |  | 35.6081 | 1.7286 |  | 1.7286
60 | 6 | 201 | 1086 | 29.1868 |  | 29.1868 | 57.1052 |  | 57.1052 | 2.5834 |  | 2.5834
60 | 6 | 202 | 175 | 28.964 |  | 28.964 | 56.8354 |  | 56.8354 | 2.578 |  | 2.578
60 | 6 | 203 | 150 | 29.2431 |  | 29.2431 | 55.9269 |  | 55.9269 | 2.5873 |  | 2.5873
60 | 6 | 204 | 125 | 30.0489 |  | 30.0489 | 58.3947 |  | 58.3947 | 2.7119 |  | 2.7119
60 | 6 | 205 | 100 | 30.5203 |  | 30.5203 | 57.7601 |  | 57.7601 | 2.7271 |  | 2.7271
60 | 6 | 206 | 75 | 29.9856 |  | 29.9856 | 57.7641 |  | 57.7641 | 2.7141 |  | 2.7141
60 | 6 | 207 | 50 | 28.5601 | 28.5916 | 28.5759 | 54.5788 | 55.7609 | 55.1698 | 2.6069 | 2.6199 | 2.6134
60 | 6 | 208 | 40 | 27.2417 |  | 27.2417 | 53.4879 |  | 53.4879 | 2.5877 |  | 2.5877
60 | 6 | 209 | 30 | 24.2443 |  | 24.2443 | 49.8412 |  | 49.8412 | 2.4682 |  | 2.4682
60 | 6 | 210 | 20 | 16.9098 |  | 16.9098 | 40.9864 |  | 40.9864 | 2.0577 |  | 2.0577
60 | 6 | 211 | 10 | 7.715 |  | 7.715 | 29.7447 |  | 29.7447 | 1.2244 |  | 1.2244
60 | 6 | 212 | 5 | 4.6353 |  | 4.6353 | 25.997 |  | 25.997 | 0.88291 |  | 0.88291
60 | 6 | 213 | 0 | 4.4509 |  | 4.4509 | 26.184 |  | 26.184 | 0.8533 |  | 0.8533
63 | 9 | 214 | 168 | 30.6657 | 30.6451 | 30.6554 | 73.0273 | 73.2304 | 73.1288 | 2.8879 | 2.832 | 2.8599
63 | 9 | 215 | 150 | 30.497 |  | 30.497 | 61.9894 |  | 61.9894 | 2.7253 |  | 2.7253
63 | 9 | 216 | 125 | 30.3758 |  | 30.3758 | 57.5454 |  | 57.5454 | 2.6186 |  | 2.6186
63 | 9 | 217 | 100 | 28.4381 |  | 28.4381 | 55.5046 |  | 55.5046 | 2.6654 |  | 2.6654
63 | 9 | 218 | 75 | 30.039 |  | 30.039 | 58.2535 |  | 58.2535 | 2.59 |  | 2.59 | N/Si high
63 | 9 | 219 | 50 | 26.1301 |  | 26.1301 | 51.8907 |  | 51.8907 | 2.5302 |  | 2.5302
63 | 9 | 220 | 40 | 25.5419 |  | 25.5419 | 51.3263 |  | 51.3263 | 2.3981 |  | 2.3981
63 | 9 | 221 | 30 | 20.6933 |  | 20.6933 | 44.2569 |  | 44.2569 | 2.1868 |  | 2.1868
63 | 9 | 222 | 20 | 14.4702 |  | 14.4702 | 37.1242 |  | 37.1242 | 1.5808 |  | 1.5808
63 | 9 | 223 | 10 | 3.6692 |  | 3.6692 | 26.664 |  | 26.664 | 0.72616 |  | 0.72616
63 | 9 | 224 | 5 | 2.9308 |  | 2.9308 | 27.2008 |  | 27.2008 | 0.68402 |  | 0.68402
63 | 9 | 225 | 0 | 2.9082 |  | 2.9082 | 27.3749 |  | 27.3749 | 0.66777 |  | 0.66777
66 | 12 | 226 | 340 | 29.8206 |  | 29.8206 | 60.891 |  | 60.891 | 2.6764 |  | 2.6764
66 | 12 | 227 | 300 | 29.8176 |  | 29.8176 | 60.6906 |  | 60.6906 | 2.7106 |  | 2.7106
66 | 12 | 228 | 250 | 29.5781 |  | 29.5781 | 58.0838 |  | 58.0838 | 2.6791 |  | 2.6791
66 | 12 | 229 | 200 | 29.5752 |  | 29.5752 | 59.3644 |  | 59.3644 | 2.6726 |  | 2.6726
66 | 12 | 230 | 175 | 29.5723 |  | 29.5723 | 58.887 |  | 58.887 | 2.7068 |  | 2.7068
66 | 12 | 231 | 150 | 30.2554 |  | 30.2554 | 59.6122 |  | 59.6122 | 2.7097 |  | 2.7097
66 | 12 | 232 | 125 | 30.5838 |  | 30.5838 | 58.765 |  | 58.765 | 2.5024 |  | 2.5024
66 | 12 | 233 | 100 | 29.6817 |  | 29.6817 | 56.9944 |  | 56.9944 | 2.703 |  | 2.703
66 | 12 | 234 | 75 | 27.744 |  | 27.744 | 54.0264 |  | 54.0264 | 2.4894 |  | 2.4894
66 | 12 | 235 | 50 | 27.0353 |  | 27.0353 | 52.3533 |  | 52.3533 | 2.5426 |  | 2.5426
66 | 12 | 236 | 40 | 26.3042 |  | 26.3042 | 52.6163 |  | 52.6163 | 2.4922 |  | 2.4922
66 | 12 | 237 | 30 | 20.8374 |  | 20.8374 | 44.5105 |  | 44.5105 | 2.2242 |  | 2.2242
66 | 12 | 238 | 20 | 18.7495 |  | 18.7495 | 41.9308 |  | 41.9308 | 2.1039 |  | 2.1039
66 | 12 | 239 | 10 | 5.9435 |  | 5.9435 | 27.9435 |  | 27.9435 | 0.89201 |  | 0.89201
66 | 12 | 240 | 5 | 1.2148 |  | 1.2148 | 21.5736 |  | 21.5736 | 0.46725 |  | 0.46725
66 | 12 | 241 | 0 | 1.1701 |  | 1.1701 | 22.022 |  | 22.022 | 0.4607 |  | 0.4607
68 | 14 | 242 | 308 | 29.6765 |  | 29.6765 | 63.5791 |  | 63.5791 | 2.7638 |  | 2.7638
68 | 14 | 243 | 300 | 29.7187 |  | 29.7187 | 63.8296 |  | 63.8296 | 2.801 |  | 2.801
68 | 14 | 244 | 250 | 29.7845 |  | 29.7845 | 64.8217 |  | 64.8217 | 2.7568 |  | 2.7568
68 | 14 | 245 | 200 | 27.6554 |  | 27.6554 | 59.3297 |  | 59.3297 | 2.4489 |  | 2.4489 | P, Si low
68 | 14 | 246 | 175 | 27.8862 |  | 27.8862 | 60.7834 |  | 60.7834 | 2.7528 |  | 2.7528
68 | 14 | 247 | 150 | 29.4333 | 30.1475 | 29.7904 | 59.4356 | 61.5891 | 60.5123 | 2.6832 | 2.7399 | 2.7116 | N/Si salty
68 | 14 | 248 | 125 | 27.9661 |  | 27.9661 | 57.0086 |  | 57.0086 | 2.6734 |  | 2.6734
68 | 14 | 249 | 100 | 28.1261 |  | 28.1261 | 56.153 |  | 56.153 | 2.6354 |  | 2.6354
68 | 14 | 250 | 75 | 28.4511 |  | 28.4511 | 55.2983 |  | 55.2983 | 2.3241 |  | 2.3241
68 | 14 | 251 | 50 | 27.5047 |  | 27.5047 | 54.0763 |  | 54.0763 | 2.3206 |  | 2.3206
68 | 14 | 252 | 40 | 25.4352 |  | 25.4352 | 50.8335 |  | 50.8335 | 2.3643 |  | 2.3643
68 | 14 | 253 | 30 | 21.838 |  | 21.838 | 46.4979 |  | 46.4979 | 2.1148 |  | 2.1148
68 | 14 | 254 | 20 | 19.4922 |  | 19.4922 | 45.011 |  | 45.011 | 2.0892 |  | 2.0892
68 | 14 | 255 | 10 | 14.8151 |  | 14.8151 | 41.5155 |  | 41.5155 | 1.6606 |  | 1.6606
68 | 14 | 256 | 5 | 13.6684 |  | 13.6684 | 41.1309 |  | 41.1309 | 1.5679 |  | 1.5679
68 | 14 | 257 | 0 | 13.5748 |  | 13.5748 | 40.7467 |  | 40.7467 | 1.5645 |  | 1.5645
70 | 16 | 258 | 145 | 29.999 |  | 29.999 | 60.7702 |  | 60.7702 | 2.7228 |  | 2.7228
70 | 16 | 259 | 125 | 29.8785 |  | 29.8785 | 60.0293 |  | 60.0293 | 2.6573 |  | 2.6573
70 | 16 | 260 | 100 | 28.3368 | 28.4569 | 28.3969 | 58.0847 | 58.2723 | 58.1785 | 2.6047 | 2.4976 | 2.5511
70 | 16 | 261 | 75 | 26.7784 |  | 26.7784 | 52.0836 |  | 52.0836 | 2.5171 |  | 2.5171 | Si low
70 | 16 | 262 | 50 | 25.8827 |  | 25.8827 | 54.0162 |  | 54.0162 | 2.3695 |  | 2.3695
70 | 16 | 263 | 40 | 25.834 |  | 25.834 | 53.92 |  | 53.92 | 2.4234 |  | 2.4234
70 | 16 | 264 | 30 | 25.6443 |  | 25.6443 | 53.4544 |  | 53.4544 | 2.3008 |  | 2.3008
70 | 16 | 265 | 20 | 24.0244 |  | 24.0244 | 50.1288 |  | 50.1288 | 2.2475 |  | 2.2475
70 | 16 | 266 | 10 | 21.7568 | 21.888 | 21.8224 | 49.4785 | 49.6202 | 49.5493 | 2.1751 |  | 2.1751 | N/Si repeated
70 | 16 | 267 | 5 | 20.4971 |  | 20.4971 | 47.7165 |  | 47.7165 | 2.0427 |  | 2.0427
70 | 16 | 268 | 0 | 19.8221 |  | 19.8221 | 47.2503 |  | 47.2503 | 2.0937 |  | 2.0937
| 39 (second) | 269 | 370 | 26.2829 |  | 26.2829 | 52.9356 |  | 52.9356 | 2.6275 |  | 2.6275
| 39 (second) | 270 | 350 | 28.856 |  | 28.856 | 64.2813 |  | 64.2813 | 2.8562 |  | 2.8562
| 39 (second) | 271 | 300 | 29.2074 | 28.9015 | 29.0544 | 59.1056 | 59.9385 | 59.5221 | 2.7412 | 2.7534 | 2.7473
| 39 (second) | 272 | 250 | 28.0222 |  | 28.0222 | 54.1208 |  | 54.1208 | 2.5253 |  | 2.5253
| 39 (second) | 273 | 200 | 27.7603 |  | 27.7603 | 51.168 |  | 51.168 | 2.4094 |  | 2.4094
| 39 (second) | 274 | 175 | 28.3021 |  | 28.3021 | 53.3768 |  | 53.3768 | 2.664 |  | 2.664 | P high
| 39 (second) | 275 | 150 | 28.4421 |  | 28.4421 | 54.3883 |  | 54.3883 | 2.4918 |  | 2.4918
| 39 (second) | 276 | 125 | 27.7548 | 27.5353 | 27.645 | 52.5402 | 52.4785 | 52.5093 | 2.234 | 2.2564 | 2.2452 | P low; both samples were repeated.
| 39 (second) | 277 | 100 | 23.8706 |  | 23.8706 | 46.9154 |  | 46.9154 | 2.4893 |  | 2.4893 | N/Si low; salty
| 39 (second) | 278 | 75 | 29.5491 |  | 29.5491 | 55.1178 |  | 55.1178 | 2.5556 |  | 2.5556
| 39 (second) | 279 | 50 | 29.4286 |  | 29.4286 | 54.8379 |  | 54.8379 | 2.5277 |  | 2.5277 | N/Si salty
| 39 (second) | 280 | 40 | 29.4977 |  | 29.4977 | 54.096 |  | 54.096 | 2.4621 |  | 2.4621
| 39 (second) | 281 | 30 | 27.4386 |  | 27.4386 | 50.9545 |  | 50.9545 | 2.4907 |  | 2.4907
| 39 (second) | 282 | 20 | 22.5287 |  | 22.5287 | 45.1443 |  | 45.1443 | 2.2518 |  | 2.2518
| 39 (second) | 283 | 10 | 5.6893 |  | 5.6893 | 18.3023 |  | 18.3023 | 1.1445 |  | 1.1445
| 39 (second) | 284 | 5 | 4.4265 |  | 4.4265 | 14.9284 |  | 14.9284 | 0.84181 |  | 0.84181
| 39 (second) | 285 | 0 | 4.2912 |  | 4.2912 | 14.9236 |  | 14.9236 | 0.87066 |  | 0.87066

## Variability
Strait of Georgia 2001-10 Nutrient data
Variability
Variability of a water sample taken from Station P4 and remeasured periodically:
Date
010710 | P4 | 22.2511 |  |  | 27.2379 |  |  | 1.7756
010711 | p4 | 22.3922 |  |  | 27.8002 |  |  | 1.6873 | PO4: high std was a little high
010712 | P4 | 22.3599 |  |  | 27.6932 |  |  | 1.7352
010713 | P4 | 22.4453 |  |  | 28.0449 |  |  | 1.7313
Variability of Duplicate samples
Sample | nitrate | nitrate | avg NO3 | silicate | silicate | avg Si | PO4 | PO4 | avg PO4 | diff NO3 | diff NO3^2 | diff Si | diff Si^2 | diff PO4 | diff PO4^2
31 |  |  |  | 36.8811 | 37.094 | 36.9875 | 1.9046 | 1.8864 |  |  |  | -0.21285 | 0.045305 | 0.0182 | 0.00033124
38 | 32.4335 | 32.4968 | 32.4651 | 48.0254 | 48.8621 | 48.4438 | 2.4572 | 2.4769 | 2.467 | -0.06327 | 0.0040031 | -0.83676 | 0.70017 | -0.019702 | 0.00038817
3 | 26.7179 | 28.9424 | 27.8301 | 52.3174 | 54.5952 | 53.4563 | 2.6712 | 2.7328 | 2.702 | -2.2245 | 4.9486 | -2.2778 | 5.1885 | -0.061616 | 0.0037965 | first dup salty N/Si
63 | 32.4644 | 32.4511 | 32.4577 | 48.0113 | 48.1185 | 48.0649 | 2.4128 | 2.4071 | 2.41 | 0.01334 | 0.00017796 | -0.10718 | 0.011488 | 0.005679 | 3.2251e-05
68 | 26.8286 | 27.2115 | 27.02 | 44.6368 | 45.2904 | 44.9636 | 2.1929 | 2.2057 | 2.1993 | -0.3829 | 0.14661 | -0.65353 | 0.4271 | -0.012758 | 0.00016277
88 | 24.1484 | 24.9035 | 24.5259 | 41.2471 | 44.0831 | 42.6651 | 2.0284 | 2.0659 | 2.0472 | -0.7551 | 0.57018 | -2.836 | 8.043 | -0.037523 | 0.001408
98 | 25.9256 | 25.997 | 25.9613 | 44.865 | 45.3246 | 45.0948 | 2.1932 | 1.9324 | 2.0628 | -0.07135 | 0.0050908 | -0.45968 | 0.21131 | 0.26086 | 0.06805
112 | 24.6245 | 23.8274 | 24.2259 | 44.6497 | 43.6486 | 44.1491 | 2.1509 | 2.165 | 2.158 | 0.79717 | 0.63548 | 1.0011 | 1.0021 | -0.014075 | 0.00019811
128 | 24.3587 | 24.4067 | 24.3827 | 44.6988 | 45.1607 | 44.9297 | 2.19 | 2.1914 | 2.1907 | -0.04806 | 0.0023098 | -0.46196 | 0.21341 | -0.001418 | 2.0107e-06
145 | 28.6616 | 26.62 | 27.6408 | 53.733 | 50.7359 | 52.2344 | 2.5703 | 2.5831 | 2.5767 | 2.0416 | 4.168 | 2.9971 | 8.9825 | -0.012768 | 0.00016302
159 | 28.4409 | 28.274 | 28.3575 | 52.9666 | 52.3492 | 52.6579 | 2.4543 | 2.5141 | 2.4842 | 0.1669 | 0.027856 | 0.6174 | 0.38118 | -0.059822 | 0.0035787
187 | 28.5793 | 28.5383 | 28.5588 | 57.66 | 58.3863 | 58.0231 | 2.7352 | 2.7325 | 2.7338 | 0.04096 | 0.0016777 | -0.72638 | 0.52763 | 0.002631 | 6.9222e-06
207 | 28.5601 | 28.5916 | 28.5759 | 54.5788 | 55.7609 | 55.1698 | 2.6069 | 2.6199 | 2.6134 | -0.03148 | 0.00099099 | -1.1821 | 1.3974 | -0.012975 | 0.00016835
214 | 30.6657 | 30.6451 | 30.6554 | 73.0273 | 73.2304 | 73.1288 | 2.8879 | 2.832 | 2.8599 | 0.02061 | 0.00042477 | -0.20308 | 0.041241 | 0.055915 | 0.0031265
247 | 29.4333 | 30.1475 | 29.7904 | 59.4356 | 61.5891 | 60.5123 | 2.6832 | 2.7399 | 2.7116 | -0.71429 | 0.51021 | -2.1536 | 4.6378 | -0.056735 | 0.0032189
260 | 28.3368 | 28.4569 | 28.3969 | 58.0847 | 58.2723 | 58.1785 | 2.6047 | 2.4976 | 2.5511 | -0.12003 | 0.014407 | -0.18755 | 0.035175 | 0.10714 | 0.011479
271 | 29.2074 | 28.9015 | 29.0544 | 59.1056 | 59.9385 | 59.5221 | 2.7412 | 2.7534 | 2.7473 | 0.30599 | 0.09363 | -0.83288 | 0.69369 | -0.01216 | 0.00014787
[10 empty] | sum of squared differences | 11.1297 |  | 32.539 |  | 0.096258
[10 empty] | no of pairs | 16 |  | 17 |  | 17
[10 empty] | pooled deviation | 0.58975 |  | 0.97828 |  | 0.053208