File List for SeaBird Data

Cruise Number: 2001-11

[work2.ctd.2111] *.hex - original files from SeaSave

*.con - conversion files

2111proc.doc - processing notes

2111file.doc – this document

[work2.ctd.2111.convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[work2.ctd.2111.derive]

*.cnv - data after running FILTER, ALIGNCTD and DERIVE (for salinity)

[work2.ctd.2111.ios]

*.avg - data after metre-averaging using BINAVE

*.ctd - final files (after recalibration with 2111rcal.ccf)

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT

Delete.log – log from routine DELETE