File List for SeaBird Data

Cruise Number: _2001-12____

[work2.ctd.2001-12] *.hdr - original files from SeaSave

*.dat - 		“

*.con -      	“

*.bl -		“

*.dir - subdirectories

2112proc.doc - processing notes

2112file.doc - this document

2112rcal.ccf - recalibration file

[work2.ctd.2001-12.convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[work2.ctd.2001-12.derive]

*.cnv - data after running ALIGNCTD, WILDEDIT, CELLTM and DERIVE (for S0, S1)

[work2.ctd.2001-12.ios]

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del – after DELETE, downcast data for 1-111, upcast for 81(called 9981)

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT.

Delete.log - log from routine DELETE