## File List
Number of Files= |  | 11
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 21130002.hy1 | 21130002.sac | 12 | 13 | 21130002.hy1 & 21130002.sac
2 | 21130017.hy1 | 21130017.sac | 15 | 17 | 21130017.hy1 & 21130017.sac
3 | 21130019.hy1 | 21130019.sac | 19 | 19 | 21130019.hy1 & 21130019.sac
4 | 21130022.hy1 | 21130022.sac | 21 | 23 | 21130022.hy1 & 21130022.sac
5 | 21130033.hy1 | 21130033.sac | 25 | 26 | 21130033.hy1 & 21130033.sac
6 | 21130062.hy1 | 21130062.sac | 28 | 29 | 21130062.hy1 & 21130062.sac
7 | 21130063.hy1 | 21130063.sac | 31 | 31 | 21130063.hy1 & 21130063.sac
8 | 21130064.hy1 | 21130064.sac | 33 | 35 | 21130064.hy1 & 21130064.sac
9 | 21130065.hy1 | 21130065.sac | 37 | 38 | 21130065.hy1 & 21130065.sac
10 | 21130066.hy1 | 21130066.sac | 40 | 41 | 21130066.hy1 & 21130066.sac
11 | 21130068.hy1 | 21130068.sac | 43 | 43 | 21130068.hy1 & 21130068.sac

## (Sal0 - Sal_bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.13461 |  | X | CALC Y
m= | -3.7269e-07 | 5.4557e-07 |  | Std Dev of Resid |  | 0.00077008 |  | 561.769 | 0.00025769
b= | 0.00046706 | 0.00080672 |  | Resid Sum of Squares |  | 1.7791e-06 |  | 2451.13 | -0.00044645
# of Values Extracted = |  |  | 22
# of Values Used in Fit = |  |  | 5
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 196.693 | 33.8971 | 0.00024103 | -0.00018692 | 0.00039375 | 0.00058067 |  | 561.769 | 0.00098801
1 | NO | 173.303 | 33.8971 | 0.00023378 | -0.0016327 | 0.00040247 | 0.0020352 |  | 2451.13 | -0.00020218
2 | YES | 561.769 | 34.1546 | 0.00055419 | 0.00098801 | 0.00025769 | -0.00073031 |  | 1472.26 | 0.0002594
2 | NO | 400.269 | 34.0649 | 0.00028276 | -0.0022964 | 0.00031788 | 0.0026143 |  | 1199.66 | -0.00095749
2 | NO | 300.691 | 34.0018 | 0.0004134 | -0.00086975 | 0.00035499 | 0.0012247 |  | 1000.93 | -0.00024414
3 | YES | 2451.13 | 34.6323 | 0.00027324 | -0.00020218 | -0.00044645 | -0.00024427
4 | YES | 1472.26 | 34.5111 | 0.00027964 | 0.0002594 | -8.1634e-05 | -0.00034103 |  |  | -3.1281e-05
4 | YES | 1199.66 | 34.4513 | 0.00026376 | -0.00095749 | 1.996e-05 | 0.00097745
4 | YES | 1000.93 | 34.389 | 0.00035876 | -0.00024414 | 9.4024e-05 | 0.00033816
5 | NO | 157.978 | 33.1339 | 0.00036496 | 0.0066185 | 0.00040818 | -0.0062103
5 | NO | 148.762 | 33.0989 | 0.00029354 | -0.0045395 | 0.00041161 | 0.0049511
6 | NO | 118.645 | 32.6988 | 0.00099916 | 0.022739 | 0.00042284 | -0.022317
6 | NO | 100.418 | 32.6546 | 0.00031411 | 0.035595 | 0.00042963 | -0.035165
7 | NO | 75.2356 | 32.6129 | 0.00037779 | 0.02586 | 0.00043902 | -0.025421
8 | NO | 300.406 | 33.0391 | 0.00025832 | -0.001358 | 0.0003551 | 0.0017131
8 | NO | 249.972 | 33.0202 | 0.00026624 | -0.0003891 | 0.0003739 | 0.00076299
8 | NO | 200.022 | 32.9898 | 0.00024432 | -0.003128 | 0.00039251 | 0.0035206
9 | NO | 300.74 | 33.0265 | 0.00041714 | -0.009182 | 0.00035497 | 0.009537
9 | NO | 250.294 | 33.0093 | 0.00019982 | -0.012138 | 0.00037378 | 0.012512
10 | NO | 250.163 | 33.016 | 0.0002366 | 9.1553e-05 | 0.00037382 | 0.00028227
10 | NO | 200.04 | 32.9961 | 0.00038122 | -0.0025749 | 0.0003925 | 0.0029674
11 | NO | 254.111 | 33.0198 | 0.00038802 | 0.0037193 | 0.00037235 | -0.003347
NO
NO
YES
NO
NO
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.004542 |  | X | CALC Y
m= | 4.4001e-08 | 3.7609e-07 |  | Std Dev of Resid |  | 0.00053086 |  | 561.769 | -6.6517e-06
b= | -3.137e-05 | 0.00055611 |  | Resid Sum of Squares |  | 8.4543e-07 |  | 2451.13 | 7.6483e-05
# of Values Extracted = |  |  | 22
# of Values Used in Fit = |  |  | 5
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 196.693 | 33.8925 | 0.00031422 | -0.0048485 | -2.2716e-05 | 0.0048258 |  | 561.769 | -0.00033569
1 | NO | 173.303 | 33.8926 | 0.00029586 | -0.0061264 | -2.3745e-05 | 0.0061027 |  | 2451.13 | -0.00018692
2 | YES | 561.769 | 34.1533 | 0.0011399 | -0.00033569 | -6.6517e-06 | 0.00032904 |  | 1472.26 | 0.00069427
2 | NO | 400.269 | 34.0635 | 0.00031273 | -0.0037231 | -1.3758e-05 | 0.0037094 |  | 1199.66 | -0.00035095
2 | NO | 300.691 | 34.0006 | 0.00048127 | -0.0020866 | -1.8139e-05 | 0.0020685 |  | 1000.93 | 0.00031662
3 | YES | 2451.13 | 34.6323 | 0.00033359 | -0.00018692 | 7.6483e-05 | 0.0002634
4 | YES | 1472.26 | 34.5115 | 0.0002904 | 0.00069427 | 3.3411e-05 | -0.00066086 |  |  | 2.7466e-05
4 | YES | 1199.66 | 34.452 | 0.00027161 | -0.00035095 | 2.1416e-05 | 0.00037237
4 | YES | 1000.93 | 34.3895 | 0.00046994 | 0.00031662 | 1.2672e-05 | -0.00030395
5 | NO | 157.978 | 33.1342 | 0.00031405 | 0.0069046 | -2.4419e-05 | -0.006929
5 | NO | 148.762 | 33.0996 | 0.00031517 | -0.0038109 | -2.4825e-05 | 0.0037861
6 | NO | 118.645 | 32.7049 | 0.00027217 | 0.028831 | -2.615e-05 | -0.028858
6 | NO | 100.418 | 32.6608 | 0.00053103 | 0.041771 | -2.6952e-05 | -0.041798
7 | NO | 75.2356 | 32.6183 | 0.00036307 | 0.03125 | -2.806e-05 | -0.031278
8 | NO | 300.406 | 33.0459 | 0.00025549 | 0.0054131 | -1.8152e-05 | -0.0054312
8 | NO | 249.972 | 33.0274 | 0.00025697 | 0.0067635 | -2.0371e-05 | -0.0067838
8 | NO | 200.022 | 32.9972 | 0.00023826 | 0.0042953 | -2.2569e-05 | -0.0043179
9 | NO | 300.74 | 33.0415 | 0.00063392 | 0.0057526 | -1.8137e-05 | -0.0057707
9 | NO | 250.294 | 33.0245 | 0.00029224 | 0.0031433 | -2.0357e-05 | -0.0031637
10 | NO | 250.163 | 33.0222 | 0.00026529 | 0.0062599 | -2.0363e-05 | -0.0062803
10 | NO | 200.04 | 33.0017 | 0.0026822 | 0.0029945 | -2.2568e-05 | -0.0030171
11 | NO | 254.111 | 33.0261 | 0.00049513 | 0.010006 | -2.0189e-05 | -0.010026
NO
NO
YES
NO
NO
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_bot | Sal0 |  | Sal0 - Sal_bot
Comp 2 | Sal_bot | Sal1 |  | Sal1 - Sal_bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_bot | Sal0 | Sal0 | (S-P) | Sal_bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
21130002.hy1 | 21130002.sac | 121 | 196.7 | 196.693 | 0.24906 | -0.0070648 | 33.8973 | 33.8971 | 0.00024103 | -0.00018692 | 33.8973 | 33.8925 | 0.00031422 | -0.0048485
21130002.hy1 | 21130002.sac | 121 | 173.3 | 173.303 | 0.12597 | 0.0028992 | 33.8987 | 33.8971 | 0.00023378 | -0.0016327 | 33.8987 | 33.8926 | 0.00029586 | -0.0061264
21130017.hy1 | 21130017.sac | 86 | 561.5 | 561.769 | 0.28238 | 0.26868 | 34.1536 | 34.1546 | 0.00055419 | 0.00098801 | 34.1536 | 34.1533 | 0.0011399 | -0.00033569
21130017.hy1 | 21130017.sac | 121 | 400.3 | 400.269 | 0.16094 | -0.031006 | 34.0672 | 34.0649 | 0.00028276 | -0.0022964 | 34.0672 | 34.0635 | 0.00031273 | -0.0037231
21130017.hy1 | 21130017.sac | 121 | 300.7 | 300.691 | 0.29771 | -0.0094299 | 34.0027 | 34.0018 | 0.0004134 | -0.00086975 | 34.0027 | 34.0006 | 0.00048127 | -0.0020866
21130019.hy1 | 21130019.sac | 120 | 2451.1 | 2451.13 | 0.50689 | 0.03125 | 34.6325 | 34.6323 | 0.00027324 | -0.00020218 | 34.6325 | 34.6323 | 0.00033359 | -0.00018692
21130022.hy1 | 21130022.sac | 121 | 1472.2 | 1472.26 | 0.15938 | 0.058838 | 34.5108 | 34.5111 | 0.00027964 | 0.0002594 | 34.5108 | 34.5115 | 0.0002904 | 0.00069427
21130022.hy1 | 21130022.sac | 121 | 1199.7 | 1199.66 | 0.39291 | -0.036987 | 34.4523 | 34.4513 | 0.00026376 | -0.00095749 | 34.4523 | 34.452 | 0.00027161 | -0.00035095
21130022.hy1 | 21130022.sac | 121 | 1001 | 1000.93 | 0.31341 | -0.07251 | 34.3892 | 34.389 | 0.00035876 | -0.00024414 | 34.3892 | 34.3895 | 0.00046994 | 0.00031662
21130033.hy1 | 21130033.sac | 121 | 158 | 157.978 | 0.15798 | -0.021759 | 33.1273 | 33.1339 | 0.00036496 | 0.0066185 | 33.1273 | 33.1342 | 0.00031405 | 0.0069046
21130033.hy1 | 21130033.sac | 121 | 148.7 | 148.762 | 0.67233 | 0.062424 | 33.1034 | 33.0989 | 0.00029354 | -0.0045395 | 33.1034 | 33.0996 | 0.00031517 | -0.0038109
21130062.hy1 | 21130062.sac | 121 | 118.6 | 118.645 | 0.040402 | 0.045029 | 32.6761 | 32.6988 | 0.00099916 | 0.022739 | 32.6761 | 32.7049 | 0.00027217 | 0.028831
21130062.hy1 | 21130062.sac | 121 | 100.4 | 100.418 | 0.038925 | 0.018135 | 32.619 | 32.6546 | 0.00031411 | 0.035595 | 32.619 | 32.6608 | 0.00053103 | 0.041771
21130063.hy1 | 21130063.sac | 121 | 75.2 | 75.2356 | 0.034336 | 0.035606 | 32.587 | 32.6129 | 0.00037779 | 0.02586 | 32.587 | 32.6183 | 0.00036307 | 0.03125
21130064.hy1 | 21130064.sac | 121 | 300.4 | 300.406 | 0.058624 | 0.0058899 | 33.0405 | 33.0391 | 0.00025832 | -0.001358 | 33.0405 | 33.0459 | 0.00025549 | 0.0054131
21130064.hy1 | 21130064.sac | 121 | 250 | 249.972 | 0.046306 | -0.028107 | 33.0206 | 33.0202 | 0.00026624 | -0.0003891 | 33.0206 | 33.0274 | 0.00025697 | 0.0067635
21130064.hy1 | 21130064.sac | 121 | 200 | 200.022 | 0.034169 | 0.022385 | 32.9929 | 32.9898 | 0.00024432 | -0.003128 | 32.9929 | 32.9972 | 0.00023826 | 0.0042953
21130065.hy1 | 21130065.sac | 121 | 300.7 | 300.74 | 0.034353 | 0.039581 | 33.0357 | 33.0265 | 0.00041714 | -0.009182 | 33.0357 | 33.0415 | 0.00063392 | 0.0057526
21130065.hy1 | 21130065.sac | 121 | 250.3 | 250.294 | 0.043049 | -0.0056763 | 33.0214 | 33.0093 | 0.00019982 | -0.012138 | 33.0214 | 33.0245 | 0.00029224 | 0.0031433
21130066.hy1 | 21130066.sac | 121 | 250.2 | 250.163 | 0.035285 | -0.036819 | 33.0159 | 33.016 | 0.0002366 | 9.1553e-05 | 33.0159 | 33.0222 | 0.00026529 | 0.0062599
21130066.hy1 | 21130066.sac | 121 | 200 | 200.04 | 0.035442 | 0.040207 | 32.9987 | 32.9961 | 0.00038122 | -0.0025749 | 32.9987 | 33.0017 | 0.0026822 | 0.0029945
21130068.hy1 | 21130068.sac | 121 | 254.1 | 254.111 | 0.071229 | 0.010544 | 33.0161 | 33.0198 | 0.00038802 | 0.0037193 | 33.0161 | 33.0261 | 0.00049513 | 0.010006
Create Fit Sheet