## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 11-Jan-2006 | Surface loop data was added to the archive. The data was acquired from John Morris at PBS. The data archived in September 2005 was replaced with this new set since chlorophyll was included. The original spreadsheet file from John and more detailed processing notes can be found in the “Cruise_Data\Documents” directory. Any questions regarding this data should be directed to John Morris. J.L. |
| 26-Sep-2005 | Added loop data to the archive. J.L. |

PROCESSING NOTES

Cruise: 2001-14

Agency: OSAP

Location: NE Pacific

Project: High Seas Salmon

Party Chief: John Morris

Platform: CCGS W. E. Ricker

Date: 13 June 2001- 25 June 2001

Processed by: Germaine Gatien

Date of Processing: 25 September 2001 – 28 September 2001

Number of original CTD casts: 74

Number of casts processed: 73

INSTRUMENT SUMMARY

A SeaBird Model SBE 911+ CTD  (#0506) was mounted with Transmissometer 197. The deck unit was a SeaBird 11+ S/N 11P18377-0471.

SUMMARY OF QUALITY AND CONCERNS

The deck unit averaged over 33 scans; averaging before the application of alignment, editing and other routines greatly reduces the quality of the salinity data especially near the surface.

The salinity should be considered to be within ±0.005units.

The file numbers are sequential and do not correspond to the consecutive numbers in the CTD Log.

PROCESSING SUMMARY

1. Seasave - This step was completed at sea; the raw data files have extension DAT.

2. Preliminary Steps

The CTD Log was obtained. There is a note in the log stating that the secondary pump performed badly throughout the cruise, in particular in the top 50-60m of the downcasts.

Salinity calibration data was obtained. The cruise summary sheet was completed.

The configuration files contains an error in the pressure calibration. The calibration file 0506CTD.con was created with the corrected pressure calibration.

The sensor history was found.

The CTD cast files were named sequentially and do not correspond to the CTD Log consecutive numbers. Station names were used to establish a correspondence and that is given in 2114cast.xls.

Note that the file names for the salinity bottle files (*.SAL) use the consecutive numbers.

- Conversion of Raw Data

The raw data was converted using conversion file 506final.con.

An initial examination of the data shows all channels present. The secondary conductivity is bad as mentioned in the CTD Log. The deck unit averaged 33 scans so the sampling interval is 1.375s.

4. ALIGNCTD

The deck unit used for this mission advances only the primary conductivity channel by 0.073s.

Since the deck unit averaged 33 values there is no way fine-tune this setting so this routine was not run.

5. WILDEDIT

Program WILDEDIT was not run; with so little data any bad points can be removed in editing.

6. CELLTM

The conductivity cell thermal mass correction was done for both channels (alpha = 0.03; 1/beta = 9.0.)

7. DERIVE

Program DERIVE was run on all casts to calculate primary and secondary salinity.

8. Test Plots and Channel Check

Casts #32 and 52 were plotted to check for agreement between the pairs of sensors. At 1000db the differences were about  +0.001C, -0.0004 conductivity units -0.005 salinity units with a + indicating that the secondary sensor was higher. The conductivity and salinity differences are very different from the results of 2001-02 and 2001-09. Temperature differences are slightly larger than in the earlier cruises. The problems with the secondary pump may account for these changes.

All plots were examined on-screen and no problems were noted other than the downcast secondary problems noted earlier.

9.  Conversion to IOS Headers

The IOSSHELL routine was used to convert SEA-Bird 911+ data to IOS Headers.

10. Checking Headers

A header summary was produced and some discrepancies from the information in the CTD log proved to be due to errors in the log. An error in the header time for cast #43 was corrected in the CNV file and reconverted.

The surface check was run. The average surface pressure is 3.6db.

The header check and cruise track were produced and no errors were found.

- DELETE

CLEAN was run to replace pad values in pressure with interpolated values.

The following DELETE parameters were used:

Surface Record Removal: Last Press Min

Maximum Surface Pressure (relative): 20.00

Surface Swell Pressure Tolerance: 1.0

Pressure was not filtered.

Swells deleted. Warning message if pressure difference of 5.00

The Drop rates feature was turned off.

There were no warnings.

All DEL files were copied to EDT files.

12. Intercomparisons

Previous experience with these sensors – Since the previous calibration of these sensors there has been no good bottle comparison possible. The analysis of 2001-02 found that the surface bottles were most useful since they were in well-mixed water where uncertainties in depth were not so critical. The primary sensor was found to be low by 0.006units and the secondary by 0.005units.

During 2001-09 the primary salinity was unreliable near the surface probably due to pump problems. The deep samples were few and the differences scattered. The conclusion was that the secondary salinity was low by from 0.0025units to 0.008units. There were no conclusions about the primary. It was also found that there was a drift in the sensors during the cruise.

##### Bottle comparisons

- DEEP BOTTLES - There was no rosette. Deep salinity samples were gathered for 4 casts using a Niskin bottle. The comparison is shown in file 2114comp.xls. Since the depths are approximate there is some uncertainty in the comparison. For cast #68 in particular it seems likely that the bottle was from the bottom of the cast as it is clear in the CTD record that the CTD stopped there and not at 1000m. The CTD log notes that the sample was from about 1000m, but is not specific. The differences between the bottles and the CTD are very scattered. If the 1100m data is used for #68 then the CTD appears to be low by about 0.005units. This fits observations for cruises 2001-02.

- SURFACE BOTTLES - There were Niskin bottle samples at 1m for most casts, but the CTD did not sample that close to the surface. The water is not sufficiently well-mixed to make a comparison with CTD data useful.

- SENSOR DIFFERENCES – COMPARE was run to look at differences between the two pairs of sensors and no pressure-dependent or time-dependent trends were found. The secondary sensor was about 0.005units lower than the primary. (See 2114sencomp.xls)

Historic ranges –Profile plots were examined for all casts with historic ranges available and the temperature data all fell within the ranges. There were no salinity ranges available for his data set.

13. DETAILED EDITING

Page plots were produced using T0,S0.

CTDEDIT was used to clean noise in S and/or T near the surface and bottom only for casts #9,14,17-19, 22,25,26,32,36,38,39,40,49,50,56,70-72.

CTDEDIT was used to clean at mid-depths in the following casts: #20,43,44

Note was made of the editing details in the relevant files. The edited files were copied to EDT files so that a complete set of files exists with either edited data or data that does not require editing.

14. BIN AVERAGE

This step was skipped since the sampling interval was 1.375s.

- Recalibration

While the evidence is weak it appears that the salinities are significantly low. Based on the results of 2001-02 and the few deep bottles from this cruise, it was decided to recalibrate the primary salinity by raising it by 0.005units, using 2114rcal.ccf.

16. Final Plots

THIN and DERIVE were run to obtain values for tables and page plots were prepared using the edited data.

17. REMOVE

The following channels were removed from all casts: Scan_Number, Secondary Temperature, Secondary Salinity, Conductivity:Primary, Conductivity:Secondary and Flag.

The data format was corrected as needed.

18. Producing final files

a.) The final files were renamed CTD.

b.) A cross-reference listing was produced.

### Particulars

- Pump not working. Test cast. Delete

# Institute of Ocean Sciences

CRUISE SUMMARY

Cruise ID#: 2001-14

Dates: Start: 13 June 2001 End: 25 June 2001

Location: NE Pacific

Vessel: CCGS W. E. Ricker Chief Scientist: John Morris

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 911+ | 0506 | No | Yes |

Institute of Ocean Sciences

# CTD Calibration Information

Make/Model/Serial#:	SEABIRD/911+/	0506

Cruise ID#:		2001-14

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 2095 | 30Nov2000 | Factory |  |  |
| Conductivity | 2278 | 6Dec2000 | “ |  |  |
| Secondary Temp. | 2710 | 30Nov2000 | “ |  |  |
| Secondary Cond. | 2280 | 6Dec2000 | “ |  |  |
| Transmissometer | 197 | 14Dec2000 | IOS |  |  |
| Pressure Sensor | 69698 | 12Nov1997 | Factory |  |  |

Sensor Calibration Notes:

The configuration file used is attached; this includes the sensor calibrations.