## Comments
Strait of Georgia Cruise 2001-19: Nutrient data
file storage:
10717 | .aaz | .anz | Samples measured July 17, 2001
10719 | .aaz | .anz | Samples measured July 18, 2001
10719 | .aaz | .anz | Samples measured July 19, 2001
10720 | .aaz | .anz | Samples measured July 20, 2001
2001-19 | .xls
Samples were measured using an Autoanalyzer II, following the procedures outlined in Barwell-Clarke and Whitney, 1996.
Samples were collected in glass and plastic test tubes and frozen on board the ship. They were frozen upright in an aluminum block.
Nitrate/silicate samples were defrosted for 18-24 h before analysis. Phosphate samples were defrosted for 1 hour
before analysis. Lab temperature was noted periodically, and may be found on the original data sheets; it was generallly
around 26 C. Samples were inverted and shaken thoroughly before analysis.
Calibration:
Standards used for these samples were freshly prepared from stock solutions which had been compared to previously
prepared stock solutions and/or commercially prepared standards.
Details of standards:
Stock std | Number | Date prep | Intercalibration | conc gm/L | conc uM
Nitrate | 2001-1 | 2001-07-06 | 2001-07-10 | .25274 gm/L | 2499.65
Silicate | 2000-4 | 2001-07-06 | 2001-07-10 | .94043 gm/L | 5000.7
Phos. Primary | 2000-2 | 2001-05-01 | 2001-05-02 | 0.34019 gm/L | 2499.7428 | a secondary standard, 100:1000 was prepared.
An Eppendorf Maxipettor was used to pipette the standards. It was calibrated on July 10, 2001, and delivered very close to the dialed
volume for each tip, but the delivery volumes have been corrected in calculating the concentrations of the standards.
Variability Estimates:
No duplicate samples were collected; to obtain duplicates for variability estimates, the samples were switched
and reanalyzed, such that PO4 was sampled out of the N/Si tube, and NO3 was sampled out of the PO4 tube.
No duplicates are possible for Si because the PO4 sample is stored in glass.
Pooled deviation of paired samples: (n=24)
Nitrate | 0.45598
Silicate | N/A
Phosphate | 0.052168
The variability is within acceptable limits for nitrate and phosphate.
The variability of a sample of seawater collected at station P4, which is periodically analyzed as an unknown,
was low, indicating that the machine was working relatively consistently.
Factors Affecting Data Quality
Samples were generally in good shape when received for analysis.
Some of the phosphate tubes tended to be overfilled. If they are too full, the tube may crack upon freezing, or sample
may be extruded.
Some of the samples had salt around the lids, indicating a poor closure of the tube:
N/Si samples: 16, 33, 38, 50, 51, 89, 118, 121, 123, 134, 135, 146, 170, 191, 223, 224, 232, 227, 228, 246, 281,
PO4 samples: 80, 63
Lid loose (PO4) 42, 180, 177, 168, 248, 247, 265
Some samples had crystals of unknown composition, which dissolve slowly (over several days):
PO4: | 150-166, 180, 175, 176, 167, 168, 169, 187, 189, 190, 185, 209, 222, 240, 236, 260, 261, 264, 265, 267, 268
PO4 sample 148 has been corrected for turbidity.
There was a copepod in sample 84; this can sometimes increase the nitrate.

## Data
Strait of Georgia 2001-19 Nutrient data.
Analysis | Station | Cons. Sample | Depth | Nitrate | Nitrate | Avg NO3 | Silicate | Si | Avg Si | Phosphate | PO4 | Avg PO4 | NO3 flag | Si flag | PO4 flag | Comments
010717 | SI03 | 6 | 0 | 2.2092 |  | 2.2092 | 10.2988 |  | 10.2988 | 0.79395 |  | 0.79395
| SI03 | 5 | 25 | 11.7549 |  | 11.7549 | 28.4283 |  | 28.4283 | 1.7649 |  | 1.7649
| SI03 | 4 | 50 | 17.1177 |  | 17.1177 | 33.4253 |  | 33.4253 | 2.2734 |  | 2.2734
| SI03 | 3 | 75 | 25.1202 |  | 25.1202 | 49.6482 |  | 49.6482 | 2.6237 |  | 2.6237
| SI03 | 2 | 100 | 28.6242 |  | 28.6242 | 59.185 |  | 59.185 | 3.1712 |  | 3.1712
| SI03 | 1 | bot-10 | 28.1345 | 28.2675 | 28.201 | 60.2919 |  | 60.2919 | 3.2261 | 3.1804 | 3.2033 | f |  | f
| 59 | 20 | 0 | 22.4427 |  | 22.4427 | 39.4653 |  | 39.4653 | 2.0642 |  | 2.0642
| 59 | 19 | 5 | 22.355 |  | 22.355 | 39.5262 |  | 39.5262 | 2.0614 |  | 2.0614
| 59 | 18 | 10 | 21.3526 |  | 21.3526 | 38.0075 |  | 38.0075 | 2.0869 |  | 2.0869
| 59 | 17 | 20 | 22.7901 |  | 22.7901 | 39.9984 |  | 39.9984 | 2.0841 |  | 2.0841
| 59 | 16 | 30 | 22.5143 |  | 22.5143 | 40.4968 |  | 40.4968 | 2.0844 |  | 2.0844 |  |  |  | N/Si: salt around lid
| 59 | 15 | 40 | 22.9671 |  | 22.9671 | 41.1695 |  | 41.1695 | 2.1004 |  | 2.1004
| 59 | 14 | 50 | 22.7617 |  | 22.7617 | 42.1036 |  | 42.1036 | 2.0662 |  | 2.0662 |  |  | c | P: low
| 59 | 13 | 75 | 23.0502 | 23.0215 | 23.0359 | 41.1124 |  | 41.1124 | 2.1199 | 2.089 | 2.1044 | f |  | f
| 59 | 12 | 100 | 23.3156 |  | 23.3156 | 41.608 |  | 41.608 | 2.1484 |  | 2.1484
| 59 | 11 | 125 | 23.8877 |  | 23.8877 | 41.6663 |  | 41.6663 | 2.1361 |  | 2.1361
| 59 | 10 | 150 | 23.4698 |  | 23.4698 | 48.8803 |  | 48.8803 | 2.1803 |  | 2.1803 |  | c |  | Si: high
| 59 | 9 | 175 | 25.6732 |  | 25.6732 | 43.5251 |  | 43.5251 | 2.2337 |  | 2.2337
| 59 | 8 | 190 | 25.6329 |  | 25.6329 | 43.6684 |  | 43.6684 | 2.2808 |  | 2.2808
| 59 | 7 | 225 | 26.4219 |  | 26.4219 | 44.2464 |  | 44.2464 | 2.2685 |  | 2.2685
| 102 | 35 | 0 | 17.5504 |  | 17.5504 | 35.8595 |  | 35.8595 | 1.5676 |  | 1.5676
| 102 | 34 | 5 | 18.3942 |  | 18.3942 | 36.0901 |  | 36.0901 | 1.6509 |  | 1.6509
| 102 | 33 | 10 | 19.0768 |  | 19.0768 | 36.7608 |  | 36.7608 | 1.6928 |  | 1.6928 |  |  |  | N/Si: salt around lid
| 102 | 32 | 20 | 21.5608 |  | 21.5608 | 39.1921 |  | 39.1921 | 1.8487 |  | 1.8487
| 102 | 31 | 30 | 26.2025 |  | 26.2025 | 43.4703 |  | 43.4703 | 2.1677 |  | 2.1677
| 102 | 30 | 40 | 27.2296 |  | 27.2296 | 44.131 |  | 44.131 | 2.2246 |  | 2.2246
| 102 | 29 | 50 | 28.5439 | 28.4335 | 28.4887 | 45.7577 |  | 45.7577 | 2.2657 | 2.2685 | 2.2671 | f |  | f
| 102 | 28 | 75 | 32.2941 |  | 32.2941 | 51.1635 |  | 51.1635 | 2.5 |  | 2.5
| 102 | 27 | 100 | 29.8503 |  | 29.8503 | 46.717 |  | 46.717 | 2.5344 |  | 2.5344
| 102 | 25 | 150 | 33.3964 |  | 33.3964 | 49.8256 |  | 49.8256 | 2.4911 |  | 2.4911
| 102 | 24 | 175 | 34.6091 |  | 34.6091 | 54.9445 |  | 54.9445 | 2.6369 |  | 2.6369
| 102 | 23 | 200 | 36.0419 |  | 36.0419 | 58.0377 |  | 58.0377 | 2.7542 |  | 2.7542
| 102 | 22 | 250 | 36.1045 |  | 36.1045 | 61.4732 |  | 61.4732 | 2.7173 |  | 2.7173
| 102 | 21 | 252 | 36.1671 |  | 36.1671 | 59.4789 |  | 59.4789 | 2.7204 |  | 2.7204
| 75 | 48 | 5 | 22.3722 |  | 22.3722 | 41.018 |  | 41.018 | 1.9248 |  | 1.9248
| 75 | 47 | 10 | 22.9387 |  | 22.9387 | 40.3241 |  | 40.3241 | 1.9533 |  | 1.9533
| 75 | 46 | 20 | 24.6866 |  | 24.6866 | 40.4997 |  | 40.4997 | 2.12 |  | 2.12
| 75 | 45 | 30 | 26.297 |  | 26.297 | 43.7194 |  | 43.7194 | 2.186 |  | 2.186
| 75 | 44 | 40 | 27.9588 |  | 27.9588 | 44.8839 |  | 44.8839 | 2.2737 |  | 2.2737
| 75 | 43 | 50 | 29.7199 |  | 29.7199 | 48.2732 |  | 48.2732 | 2.3738 |  | 2.3738
| 75 | 42 | 75 | 32.2505 |  | 32.2505 | 50.8818 |  | 50.8818 | 2.5077 |  | 2.5077 |  |  |  | P:Lid loose
| 75 | 41 | 100 | 33.3989 |  | 33.3989 | 52.0992 |  | 52.0992 | 2.5577 |  | 2.5577
| 75 | 40 | 125 | 34.8128 |  | 34.8128 | 55.9297 |  | 55.9297 | 2.6726 |  | 2.6726
| 75 | 39 | 150 | 35.5078 |  | 35.5078 | 58.892 |  | 58.892 | 2.6854 |  | 2.6854
| 75 | 38 | 175 | 35.0497 |  | 35.0497 | 57.0613 |  | 57.0613 | 2.6859 |  | 2.6859 |  |  |  | N/Si: salt around lid
| 75 | 37 | 200 | 35.8166 |  | 35.8166 | 59.4145 |  | 59.4145 | 2.6895 |  | 2.6895
| 75 | 36 | 218 | 35.6706 |  | 35.6706 | 58.891 |  | 58.891 | 2.69 |  | 2.69
| 72 | 62 | 0 | 25.9473 |  | 25.9473 | 43.6456 |  | 43.6456 | 2.184 |  | 2.184 |  |  |  | Irregularies in label information
| 72 | 61 | 5 | 25.9949 |  | 25.9949 | 44.5138 |  | 44.5138 | 2.2063 |  | 2.2063 |  |  |  | Irregularies in label information
| 72 | 60 | 10 | 25.9481 |  | 25.9481 | 43.7294 |  | 43.7294 | 2.1971 |  | 2.1971 |  |  |  | P: tube overfilled
| 72 | 59 | 20 | 26.4684 |  | 26.4684 | 43.9019 |  | 43.9019 | 2.2037 |  | 2.2037 |  |  |  | P: tube overfilled
| 72 | 58 | 30 | 27.1071 |  | 27.1071 | 44.8573 |  | 44.8573 | 2.2418 |  | 2.2418 |  |  |  | P: tube overfilled
| 72 | 57 | 40 | 27.4385 | 27.5093 | 27.4739 | 45.4649 |  | 45.4649 | 2.2735 | 2.2919 | 2.2827 |  |  |  | P: tube overfilled
| 72 | 56 | 50 | 28.2909 |  | 28.2909 | 46.0727 |  | 46.0727 | 2.299 |  | 2.299
| 72 | 55 | 75 | 33.6876 |  | 33.6876 | 51.2104 |  | 51.2104 | 2.5688 |  | 2.5688
| 72 | 54 | 100 | 35.5735 |  | 35.5735 | 57.4899 |  | 57.4899 | 2.7003 |  | 2.7003 |  |  |  | P: tube overfilled
| 72 | 53 | 125 | 36.0261 |  | 36.0261 | 57.1402 |  | 57.1402 | 2.6821 |  | 2.6821
| 72 | 52 | 150 | 35.3548 |  | 35.3548 | 58.1876 |  | 58.1876 | 2.6857 |  | 2.6857
| 72 | 51 | 175 | 35.7593 |  | 35.7593 | 58.1872 |  | 58.1872 | 2.6924 |  | 2.6924 |  |  |  | N/Si: salt around lid
| 72 | 50 | 177 | 35.3035 |  | 35.3035 | 58.1868 |  | 58.1868 | 2.5867 |  | 2.5867 |  |  |  | N/Si: salt around lid
| 69 | 74 | 0 | 24.0241 |  | 24.0241 | 41.1554 |  | 41.1554 | 2.1009 |  | 2.1009
| 69 | 73 | 5 | 24.9943 |  | 24.9943 | 42.4553 |  | 42.4553 | 2.1264 |  | 2.1264
| 69 | 72 | 10 | 25.6341 |  | 25.6341 | 43.2344 |  | 43.2344 | 2.1957 |  | 2.1957
| 69 | 71 | 20 | 27.0092 | 27.3916 | 27.2004 | 45.0566 |  | 45.0566 | 2.265 | 2.2653 | 2.2651
| 69 | 70 | 30 | 28.0539 |  | 28.0539 | 46.1842 |  | 46.1842 | 2.3093 |  | 2.3093
| 69 | 69 | 40 | 28.6004 | 28.5278 | 28.5641 | 46.5299 |  | 46.5299 | 2.3224 | 2.3528 | 2.3376 |  |  |  | P: tube overfilled
| 69 | 68 | 50 | 29.1232 |  | 29.1232 | 47.2233 |  | 47.2233 | 2.3635 |  | 2.3635
| 69 | 67 | 75 | 29.646 |  | 29.646 | 48.613 |  | 48.613 | 2.386 |  | 2.386
| 69 | 66 | 100 | 32.0281 |  | 32.0281 | 50.3517 |  | 50.3517 | 2.4833 |  | 2.4833
| 69 | 65 | 125 | 34.2732 | 34.6937 | 34.4834 | 54.7052 |  | 54.7052 | 2.6395 | 2.6429 | 2.6412
| 69 | 64 | 150 | 35.0368 |  | 35.0368 | 55.8372 |  | 55.8372 | 2.6404 |  | 2.6404 |  |  |  | P: tube overfilled
| 69 | 63 | 171 | 35.2496 |  | 35.2496 | 56.8826 |  | 56.8826 | 2.6847 |  | 2.6847 |  |  | c | P: leakage during storage?
010720 | ADCP | 84 | 0 | 22.2074 |  | 22.2074 | 39.632 |  | 39.632 | 2.0402 |  | 2.0402 | c |  |  | copepod in sample
| ADCP | 83 | 5 | 23.4869 |  | 23.4869 | 41.0567 |  | 41.0567 | 2.0883 |  | 2.0883
| ADCP | 82 | 10 | 24.6751 |  | 24.6751 | 42.2 |  | 42.2 | 2.1681 |  | 2.1681
| ADCP | 81 | 20 | 25.5331 |  | 25.5331 | 43.5331 |  | 43.5331 | 2.6011 |  | 2.6011 |  |  | c | PO4 high
| ADCP | 80 | 30 | 25.4625 | 25.5798 | 25.5211 | 43.5466 |  | 43.5466 | 2.2103 | 2.1929 | 2.2016 |  |  |  | P: salt around lid
| ADCP | 79 | 40 | 25.9644 |  | 25.9644 | 43.6544 |  | 43.6544 | 2.2045 |  | 2.2045
| ADCP | 78 | 50 | 26.8017 |  | 26.8017 | 44.7064 |  | 44.7064 | 2.2969 |  | 2.2969
| ADCP | 77 | 75 | 29.009 |  | 29.009 | 47.4606 |  | 47.4606 | 2.3734 |  | 2.3734
| ADCP | 76 | 100 | 32.6307 |  | 32.6307 | 51.7336 |  | 51.7336 | 2.5823 |  | 2.5823
| ADCP | 75 | 114 | 32.8277 |  | 32.8277 | 52.6021 |  | 52.6021 | 2.5609 |  | 2.5609
010718 | 62 | 96 | 0 | 20.8738 |  | 20.8738 | 38.5228 |  | 38.5228 | 2.2037 |  | 2.2037
| 62 | 95 | 5 | 21.2928 |  | 21.2928 | 37.9743 |  | 37.9743 | 2.0347 |  | 2.0347
| 62 | 94 | 10 | 21.9938 |  | 21.9938 | 39.7207 |  | 39.7207 | 2.0232 |  | 2.0232
| 62 | 93 | 20 | 22.7873 | 22.6557 | 22.7215 | 40.2739 |  | 40.2739 | 2.0864 | 2.1039 | 2.0951
| 62 | 92 | 30 | 23.7916 |  | 23.7916 | 41.2879 |  | 41.2879 | 2.1401 |  | 2.1401
| 62 | 91 | 40 | 24.5636 |  | 24.5636 | 42.3025 |  | 42.3025 | 2.1875 |  | 2.1875
| 62 | 90 | 50 | 24.6588 |  | 24.6588 | 42.2112 |  | 42.2112 | 2.1849 |  | 2.1849
| 62 | 89 | 75 | 24.0071 |  | 24.0071 | 40.0921 |  | 40.0921 | 2.3102 |  | 2.3102 |  |  |  | N/Si low, salt around lid
| 62 | 88 | 100 | 28.8535 |  | 28.8535 | 47.471 |  | 47.471 | 2.3823 |  | 2.3823
| 62 | 87 | 125 | 29.1133 |  | 29.1133 | 47.5651 |  | 47.5651 | 2.4077 |  | 2.4077 |  |  |  | P: test tube overfilled
| 62 | 86 | 130 | 29.7255 |  | 29.7255 | 48.3978 |  | 48.3978 | 2.461 |  | 2.461 |  |  |  | P: test tube overfilled
| 62 | 85 | 140 | 30.7614 |  | 30.7614 | 50.0623 |  | 50.0623 | 2.4925 |  | 2.4925
| 65 | 106 | 0 | 20.4839 |  | 20.4839 | 37.6982 |  | 37.6982 | 1.9856 |  | 1.9856 |  |  |  | P: test tube overfilled N/Si: lid loose
| 65 | 105 | 5 | 20.6948 |  | 20.6948 | 37.6985 |  | 37.6985 | 1.9955 |  | 1.9955 |  |  |  | P: test tube overfilled
| 65 | 104 | 10 | 22.1143 |  | 22.1143 | 38.9903 |  | 38.9903 | 2.0587 |  | 2.0587
| 65 | 103 | 20 | 23.6062 | 22.4517 | 23.0289 | 40.8367 |  | 40.8367 | 2.0686 | 2.1584 | 2.1135 |  |  |  | P: test tube overfilled
| 65 | 102 | 30 | 23.9576 |  | 23.9576 | 41.3915 |  | 41.3915 | 2.1536 |  | 2.1536
| 65 | 101 | 40 | 24.4025 |  | 24.4025 | 41.8541 |  | 41.8541 | 2.1635 |  | 2.1635 |  |  |  | P: test tube overfilled
| 65 | 100 | 50 | 24.8008 |  | 24.8008 | 41.6702 |  | 41.6702 | 2.1796 |  | 2.1796
| 65 | 99 | 75 | 26.1803 |  | 26.1803 | 43.5191 |  | 43.5191 | 2.2487 |  | 2.2487
| 65 | 98 | 100 | 30.704 | 30.8434 | 30.7737 | 50.0884 |  | 50.0884 | 2.473 | 2.472 | 2.4725
| 65 | 97 | 121 | 31.5748 |  | 31.5748 | 50.8316 |  | 50.8316 | 2.5138 |  | 2.5138
| 56 | 120 | 0 | 18.068 |  | 18.068 | 36.0378 |  | 36.0378 | 1.7268 |  | 1.7268 |  |  |  | P: test tube overfilled
| 56 | 119 | 5 | 18.4412 |  | 18.4412 | 36.2219 |  | 36.2219 | 1.7842 |  | 1.7842 |  |  |  | P: test tube overfilled
| 56 | 118 | 10 | 18.9071 |  | 18.9071 | 37.3268 |  | 37.3268 | 1.8415 |  | 1.8415 |  |  |  | N/Si: salt around lid
| 56 | 117 | 20 | 20.4405 |  | 20.4405 | 39.2613 |  | 39.2613 | 1.9584 |  | 1.9584
| 56 | 116 | 30 | 22.2098 |  | 22.2098 | 41.197 |  | 41.197 | 2.0751 |  | 2.0751
| 56 | 115 | 40 | 22.4919 |  | 22.4919 | 41.4746 |  | 41.4746 | 2.1227 |  | 2.1227 |  |  |  | P: test tube overfilled
| 56 | 114 | 50 | 23.2865 |  | 23.2865 | 42.2134 |  | 42.2134 | 2.1484 |  | 2.1484
| 56 | 113 | 75 | 22.5438 | 22.4179 | 22.4808 | 41.2002 |  | 41.2002 | 2.1272 | 2.0778 | 2.1025
| 56 | 112 | 100 | 23.3616 |  | 23.3616 | 42.4927 |  | 42.4927 | 2.106 |  | 2.106
| 56 | 111 | 125 | 23.4808 |  | 23.4808 | 41.5714 |  | 41.5714 | 2.3314 |  | 2.3314 |  |  | c | P: high
| 56 | 110 | 150 | 23.8563 |  | 23.8563 | 42.3109 |  | 42.3109 | 2.1855 |  | 2.1855
| 56 | 109 | 175 | 24.4419 |  | 24.4419 | 42.4968 |  | 42.4968 | 2.2143 |  | 2.2143
| 56 | 108 | 200 | 24.6544 |  | 24.6544 | 43.2369 |  | 43.2369 | 2.2306 |  | 2.2306 |  |  |  | P: test tube overfilled
| 56 | 107 | 215 | 24.6336 |  | 24.6336 | 42.9613 |  | 42.9613 | 2.2468 |  | 2.2468 |  |  |  | P: test tube overfilled
| 46 | 133 | 0 | 0.69554 | 0.74239 | 0.71897 | 19.9172 |  | 19.9172 | 0.34054 | 0.20393 | 0.27223
| 46 | 132 | 5 | 4.8738 |  | 4.8738 | 20.4713 |  | 20.4713 | 0.78552 |  | 0.78552
| 46 | 131 | 10 | 10.5629 |  | 10.5629 | 25.444 |  | 25.444 | 1.2516 |  | 1.2516
| 46 | 130 | 20 | 17.4254 |  | 17.4254 | 34.2986 |  | 34.2986 | 1.7378 |  | 1.7378
| 46 | 129 | 30 | 19.0462 |  | 19.0462 | 35.9639 |  | 35.9639 | 1.9334 |  | 1.9334
| 46 | 128 | 40 | 20.6939 |  | 20.6939 | 38.6466 |  | 38.6466 | 2.0468 |  | 2.0468
| 46 | 127 | 50 | 23.417 |  | 23.417 | 43.4588 |  | 43.4588 | 2.216 |  | 2.216
| 46 | 126 | 75 | 27.2506 |  | 27.2506 | 48.7401 |  | 48.7401 | 2.4684 |  | 2.4684
| 46 | 125 | 100 | 27.1818 |  | 27.1818 | 48.0031 |  | 48.0031 | 2.3538 |  | 2.3538
| 46 | 124 | 125 | 24.3303 |  | 24.3303 | 44.3073 |  | 44.3073 | 2.2861 |  | 2.2861
| 46 | 123 | 150 | 24.1677 |  | 24.1677 | 46.9038 |  | 46.9038 | 2.3051 |  | 2.3051 |  |  |  | N/Si: salt around lid
| 46 | 122 | 160 | 24.2387 |  | 24.2387 | 44.9631 |  | 44.9631 | 2.3242 |  | 2.3242
| 46 | 121 | 175 | 24.2396 |  | 24.2396 | 45.1523 |  | 45.1523 | 2.337 |  | 2.337 |  |  |  | N/Si: salt around lid
| 42 | 148 | 0 | 2.9394 |  | 2.9394 | 43.0309 |  | 43.0309 | 0.3647 |  | 0.3647 |  |  |  | P: corrected for turbidity
| 42 | 147 | 5 | 2.2817 |  | 2.2817 | 12.7746 |  | 12.7746 | 0.59649 |  | 0.59649
| 42 | 146 | 10 | 6.875 |  | 6.875 | 18.8494 |  | 18.8494 | 1.0914 |  | 1.0914 |  |  |  | N/Si: salt around lid
| 42 | 145 | 20 | 19.5133 |  | 19.5133 | 38.3236 |  | 38.3236 | 1.9946 |  | 1.9946
| 42 | 144 | 30 | 23.9879 |  | 23.9879 | 46.3802 |  | 46.3802 | 2.3112 |  | 2.3112
| 42 | 143 | 40 | 24.8075 | 24.8148 | 24.8112 | 48.3303 |  | 48.3303 | 2.3801 | 2.3782 | 2.3792
| 42 | 142 | 50 | 26.2381 |  | 26.2381 | 51.1159 |  | 51.1159 | 2.4645 |  | 2.4645
| 42 | 141 | 75 | 27.6955 |  | 27.6955 | 52.1404 |  | 52.1404 | 2.5115 |  | 2.5115
| 42 | 140 | 125 | 27.1329 |  | 27.1329 | 48.8061 |  | 48.8061 | 2.4093 |  | 2.4093
| 42 | 139 | 150 | 26.2888 |  | 26.2888 | 47.049 |  | 47.049 | 2.3193 |  | 2.3193
| 42 | 138 | 175 | 27.6767 |  | 27.6767 | 51.9676 |  | 51.9676 | 2.4567 |  | 2.4567
| 42 | 137 | 200 | 27.1137 |  | 27.1137 | 51.7863 |  | 51.7863 | 2.4851 |  | 2.4851
| 42 | 136 | 250 | 27.4915 |  | 27.4915 | 53.0896 |  | 53.0896 | 2.5227 |  | 2.5227
| 42 | 135 | 313 | 26.952 |  | 26.952 | 53.0011 |  | 53.0011 | 2.5542 |  | 2.5542 |  |  |  | N/Si: salt around lid
| 42 | 134 | 313 | 26.9299 |  | 26.9299 | 52.077 |  | 52.077 | 2.4085 |  | 2.4085 |  |  |  | N/Si: salt around lid
| 39 | 166 | 0 | 0.55972 |  | 0.55972 | 22.5869 |  | 22.5869 | 0.26218 |  | 0.26218 |  |  |  | Stn 39: insoluble crystals in many of the PO4 samples.
| 39 | 165 | 5 | 3.6904 |  | 3.6904 | 16.0612 |  | 16.0612 | 0.68219 |  | 0.68219
| 39 | 164 | 10 | 9.8739 |  | 9.8739 | 24.7129 |  | 24.7129 | 1.3095 |  | 1.3095
| 39 | 163 | 20 | 11.1341 |  | 11.1341 | 25.4543 |  | 25.4543 | 1.466 |  | 1.466
| 39 | 162 | 30 | 17.3099 |  | 17.3099 | 35.5144 |  | 35.5144 | 1.8306 |  | 1.8306
| 39 | 161 | 40 | 21.5584 |  | 21.5584 | 40.6035 |  | 40.6035 | 2.1076 |  | 2.1076
| 39 | 160 | 50 | 24.4535 |  | 24.4535 | 45.5144 |  | 45.5144 | 2.2613 |  | 2.2613
| 39 | 159 | 75 | 28.0679 |  | 28.0679 | 52.7497 |  | 52.7497 | 2.5169 |  | 2.5169
| 39 | 158 | 100 | 28.9668 |  | 28.9668 | 52.0149 |  | 52.0149 | 2.5516 |  | 2.5516
| 39 | 157 | 125 | 26.6893 |  | 26.6893 | 47.3872 |  | 47.3872 | 2.2724 |  | 2.2724
| 39 | 156 | 150 | 27.2336 |  | 27.2336 | 50.1746 |  | 50.1746 | 2.3666 |  | 2.3666
| 39 | 155 | 175 | 26.7905 |  | 26.7905 | 49.9035 |  | 49.9035 | 2.3516 |  | 2.3516
| 39 | 154 | 200 | 25.7597 |  | 25.7597 | 45.74 |  | 45.74 | 2.2774 |  | 2.2774
| 39 | 153 | 250 | 26.6567 |  | 26.6567 | 48.8977 |  | 48.8977 | 2.3404 |  | 2.3404
| 39 | 152 | 300 | 26.4955 | 26.3509 | 26.4232 | 48.4411 |  | 48.4411 | 2.3503 | 2.374 | 2.3622
| 39 | 151 | 350 | 27.2768 |  | 27.2768 | 52.8074 |  | 52.8074 | 2.4661 |  | 2.4661
| 39 | 150 | 368 | 27.3516 |  | 27.3516 | 52.2579 |  | 52.2579 | 2.5165 |  | 2.5165 |  |  |  | P: lid loose
010719 | 27 | 182 | 0 | 0.18702 |  | 0.18702 | 11.3685 |  | 11.3685 | 0.29505 |  | 0.29505
| 27 | 181 | 5 | 0.34403 |  | 0.34403 | 12.9989 |  | 12.9989 | 0.34716 |  | 0.34716 |  |  |  | P: salt around lid
| 27 | 180 | 10 | 9.3374 |  | 9.3374 | 25.5131 |  | 25.5131 | 1.301 |  | 1.301 |  |  |  | P: crystals, lid loose
| 27 | 179 | 20 | 21.843 |  | 21.843 | 40.4794 |  | 40.4794 | 2.2715 |  | 2.2715 |  |  |  | P: test tube overfilled
| 27 | 178 | 30 | 26.5993 |  | 26.5993 | 48.4661 |  | 48.4661 | 2.4533 |  | 2.4533
| 27 | 177 | 40 | 26.3817 |  | 26.3817 | 47.0154 |  | 47.0154 | 2.4289 |  | 2.4289 |  |  |  | P: lid loose
| 27 | 176 | 50 | 27.8463 | 28.5004 | 28.1733 | 50.5202 |  | 50.5202 | 2.52 | 2.4888 | 2.5044 |  |  |  | P: crystals
| 27 | 175 | 75 | 29.0294 |  | 29.0294 | 52.559 |  | 52.559 | 2.5019 |  | 2.5019 |  |  |  | P: crystals
| 27 | 174 | 100 | 28.3117 |  | 28.3117 | 51.3817 |  | 51.3817 | 2.49 |  | 2.49
| 27 | 173 | 125 | 27.4529 |  | 27.4529 | 52.502 |  | 52.502 | 2.4407 |  | 2.4407
| 27 | 172 | 150 | 26.9744 |  | 26.9744 | 50.4976 |  | 50.4976 | 2.4569 |  | 2.4569 |  | c |  | Si: low
| 27 | 171 | 175 | 28.2737 |  | 28.2737 | 55.3879 |  | 55.3879 | 2.4951 |  | 2.4951
| 27 | 170 | 200 | 28.4113 |  | 28.4113 | 55.6815 |  | 55.6815 | 2.605 |  | 2.605 |  |  |  | N/Si: salt around lid
| 27 | 169 | 250 | 28.3355 |  | 28.3355 | 58.0002 |  | 58.0002 | 2.5745 |  | 2.5745 |  |  |  | P: crystals
| 27 | 168 | 300 | 26.9087 | 27.4826 | 27.1956 | 52.1295 |  | 52.1295 | 2.4186 | 2.6518 | 2.5352 |  |  |  | P: crystals, lid loose
| 27 | 167 | bot-5 | 27.3776 |  | 27.3776 | 52.1469 |  | 52.1469 | 2.4317 |  | 2.4317 |  |  |  | P: crystals
| 16 | 193 | 0 | 10.4416 |  | 10.4416 | 28.3069 |  | 28.3069 | 1.1249 |  | 1.1249
| 16 | 192 | 5 | 14.5365 |  | 14.5365 | 35.4312 |  | 35.4312 | 1.4313 |  | 1.4313
| 16 | 191 | 10 | 15.6196 |  | 15.6196 | 37.0962 |  | 37.0962 | 1.6473 |  | 1.6473 |  |  |  | N/Si: salt around lid
| 16 | 190 | 20 | 22.0725 | 22.0519 | 22.0622 | 47.1881 |  | 47.1881 | 2.0702 | 2.0957 | 2.0829 |  |  |  | P: crystals
| 16 | 189 | 30 | 26.1414 |  | 26.1414 | 53.2739 |  | 53.2739 | 2.3897 |  | 2.3897 |  |  |  | P: crystals
| 16 | 188 | 40 | 26.6314 |  | 26.6314 | 54.035 |  | 54.035 | 2.4274 |  | 2.4274
| 16 | 187 | 50 | 27.0269 |  | 27.0269 | 54.0606 |  | 54.0606 | 2.4496 |  | 2.4496 |  |  |  | P: crystals
| 16 | 186 | 75 | 28.9177 |  | 28.9177 | 57.3067 |  | 57.3067 | 2.6056 |  | 2.6056
| 16 | 185 | 100 | 30.0047 |  | 30.0047 | 59.2662 |  | 59.2662 | 2.6681 |  | 2.6681 |  |  |  | P: crystals
| 16 | 184 | 125 | 29.4259 |  | 29.4259 | 58.4629 |  | 58.4629 | 2.6499 |  | 2.6499
| 16 | 183 | 146 | 29.5611 |  | 29.5611 | 58.3044 |  | 58.3044 | 2.6472 |  | 2.6472
| 14 | 209 | 0 | 0.029993 |  | 0.029993 | 7.8501 |  | 7.8501 | 0.23987 |  | 0.23987 |  |  |  | P: crystals P: this cast test tubes overfilled.
| 14 | 208 | 5 | 0.052415 |  | 0.052415 | 9.8358 |  | 9.8358 | 0.34088 |  | 0.34088
| 14 | 207 | 10 | 4.6511 |  | 4.6511 | 21.5105 |  | 21.5105 | 0.78176 |  | 0.78176
| 14 | 206 | 20 | 18.5988 |  | 18.5988 | 42.1143 |  | 42.1143 | 1.3054 |  | 1.3054
| 14 | 205 | 30 | 21.2826 | 20.9457 | 21.1142 | 45.4276 |  | 45.4276 | 1.9568 | 2.0294 | 1.9931
| 14 | 204 | 40 | 24.8288 |  | 24.8288 | 51.4089 |  | 51.4089 | 2.2749 |  | 2.2749
| 14 | 203 | 50 | 25.7687 |  | 25.7687 | 52.7129 |  | 52.7129 | 2.3317 |  | 2.3317
| 14 | 202 | 75 | 29.4402 |  | 29.4402 | 57.6983 |  | 57.6983 | 2.6353 |  | 2.6353
| 14 | 201 | 100 | 31.1992 |  | 31.1992 | 58.3606 |  | 58.3606 | 2.5826 |  | 2.5826
| 14 | 200 | 125 | 31.2178 |  | 31.2178 | 59.023 |  | 59.023 | 2.5455 |  | 2.5455
| 14 | 199 | 150 | 30.4964 |  | 30.4964 | 58.2117 |  | 58.2117 | 2.5928 |  | 2.5928
| 14 | 198 | 175 | 29.8238 |  | 29.8238 | 57.9531 |  | 57.9531 | 2.49 |  | 2.49
| 14 | 197 | 200 | 30.4379 |  | 30.4379 | 59.7207 |  | 59.7207 | 2.6497 |  | 2.6497
| 14 | 196 | 250 | 29.3847 |  | 29.3847 | 60.199 |  | 60.199 | 2.6689 |  | 2.6689
| 14 | 195 | 300 | 30.0935 |  | 30.0935 | 66.1173 |  | 66.1173 | 2.6099 |  | 2.6099
| 14 | 194 | 310 | 30.0643 |  | 30.0643 | 65.8577 |  | 65.8577 | 2.6447 |  | 2.6447
| 12 | 226 | 0 | 1.1263 |  | 1.1263 | 15.7422 |  | 15.7422 | 0.44217 |  | 0.44217
| 12 | 225 | 5 | 0.90285 |  | 0.90285 | 14.7468 |  | 14.7468 | 0.47148 |  | 0.47148
| 12 | 224 | 10 | 1.1939 |  | 1.1939 | 13.2033 |  | 13.2033 | 0.45527 |  | 0.45527 |  |  |  | N/Si: salt around lid
| 12 | 223 | 20 | 19.7657 |  | 19.7657 | 42.246 |  | 42.246 | 1.9694 |  | 1.9694 |  |  |  | N/Si: salt around lid
| 12 | 222 | 30 | 25.0655 |  | 25.0655 | 52.2017 |  | 52.2017 | 2.31 |  | 2.31 |  |  |  | P: crystals
| 12 | 221 | 40 | 27.0268 |  | 27.0268 | 54.3426 |  | 54.3426 | 2.2345 |  | 2.2345
| 12 | 220 | 50 | 28.9259 |  | 28.9259 | 57.8701 |  | 57.8701 | 2.6075 |  | 2.6075
| 12 | 219 | 75 | 30.3319 |  | 30.3319 | 59.5551 |  | 59.5551 | 2.7695 |  | 2.7695
| 12 | 218 | 100 | 29.6631 |  | 29.6631 | 54.5 |  | 54.5 | 2.5885 |  | 2.5885
| 12 | 217 | 125 | 29.4478 |  | 29.4478 | 56.3685 |  | 56.3685 | 2.6008 |  | 2.6008
| 12 | 216 | 150 | 29.4471 |  | 29.4471 | 58.1452 |  | 58.1452 | 2.635 |  | 2.635
| 12 | 215 | 175 | 25.6924 |  | 25.6924 | 51.3319 |  | 51.3319 | 2.6006 |  | 2.6006 |  | c |  | Si: low
| 12 | 214 | 200 | 25.7855 |  | 25.7855 | 52.2761 |  | 52.2761 | 2.6191 |  | 2.6191 |  | c |  | Si: low
| 12 | 213 | 250 | 29.0156 |  | 29.0156 | 60.2497 |  | 60.2497 | 2.5784 |  | 2.5784
| 12 | 212 | 300 | 29.2295 |  | 29.2295 | 60.6436 |  | 60.6436 | 2.678 |  | 2.678
| 12 | 211 | 350 | 29.4198 | 29.3274 | 29.3736 | 66.877 |  | 66.877 | 2.7432 | 2.7378 | 2.7405
| 12 | 210 | 350 | 29.4669 |  | 29.4669 | 67.7378 |  | 67.7378 | 2.6217 |  | 2.6217 |  |  |  | P: tt chipped
| 8 | 242 | 0 | 0.029737 |  | 0.029737 | 11.179 |  | 11.179 | 0.25001 |  | 0.25001
| 8 | 241 | 5 | 0.20917 |  | 0.20917 | 12.0081 |  | 12.0081 | 0.24351 |  | 0.24351
| 8 | 240 | 10 | 4.2482 |  | 4.2482 | 19.1393 |  | 19.1393 | 0.71157 |  | 0.71157 |  |  |  | P: crystals
| 8 | 239 | 20 | 20.8663 |  | 20.8663 | 41.4218 |  | 41.4218 | 2.14 |  | 2.14
| 8 | 238 | 30 | 25.6813 | 25.2397 | 25.4605 | 50.0903 |  | 50.0903 | 2.4042 | 2.4223 | 2.4132
| 8 | 237 | 40 | 25.7031 |  | 25.7031 | 50.8513 |  | 50.8513 | 2.4793 |  | 2.4793
| 8 | 236 | 50 | 28.6649 |  | 28.6649 | 56.2248 |  | 56.2248 | 2.4604 |  | 2.4604 |  |  |  | P: crystals
| 8 | 235 | 75 | 29.9265 |  | 29.9265 | 56.0666 |  | 56.0666 | 2.5448 |  | 2.5448
| 8 | 234 | 100 | 25.4377 |  | 25.4377 | 47.2358 |  | 47.2358 | 2.6851 |  | 2.6851 | c | c |  | N/Si: low
| 8 | 233 | 125 | 29.6388 |  | 29.6388 | 55.2878 |  | 55.2878 | 2.5758 |  | 2.5758
| 8 | 232 | 150 | 27.3055 |  | 27.3055 | 52.8195 |  | 52.8195 | 2.6006 |  | 2.6006 |  |  |  | N/Si: salt around lid
| 8 | 231 | 175 | 29.6373 |  | 29.6373 | 58.299 |  | 58.299 | 2.6504 |  | 2.6504
| 8 | 230 | 200 | 29.6605 |  | 29.6605 | 59.5293 |  | 59.5293 | 2.6845 |  | 2.6845
| 8 | 229 | 250 | 29.2061 |  | 29.2061 | 59.6495 |  | 59.6495 | 2.6781 |  | 2.6781
| 8 | 228 | 300 | 29.444 |  | 29.444 | 61.4376 |  | 61.4376 | 2.6437 |  | 2.6437 |  |  |  | N/Si: salt around lid
| 8 | 227 | bot-5 | 27.7028 |  | 27.7028 | 58.1297 |  | 58.1297 | 2.6684 |  | 2.6684 |  |  |  | N/Si: salt around lid
010720 | 6 | 255 | 0 | 0.36668 |  | 0.36668 | 12.3825 |  | 12.3825 | 0.28706 |  | 0.28706 |  |  |  | P: tube overfilled
| 6 | 254 | 5 | 1.4521 |  | 1.4521 | 15.7713 |  | 15.7713 | 0.45576 |  | 0.45576
| 6 | 253 | 10 | 14.4809 |  | 14.4809 | 34.629 |  | 34.629 | 1.4853 |  | 1.4853 |  |  |  | N/Si: salt around lid
| 6 | 252 | 20 | 20.982 |  | 20.982 | 43.4877 |  | 43.4877 | 2.1446 |  | 2.1446 |  |  |  | N/S,P: salt around lid
| 6 | 251 | 30 | 25.2833 |  | 25.2833 | 52.1606 |  | 52.1606 | 2.2378 |  | 2.2378
| 6 | 250 | 40 | 26.2582 |  | 26.2582 | 52.8073 |  | 52.8073 | 2.238 |  | 2.238 |  |  |  | N/S, P: salt around lid
| 6 | 249 | 50 | 26.7352 |  | 26.7352 | 53.8319 |  | 53.8319 | 2.5003 |  | 2.5003
| 6 | 248 | 75 | 30.2943 |  | 30.2943 | 59.5814 |  | 59.5814 | 2.424 |  | 2.424 |  |  |  | P: lid loose
| 6 | 247 | 100 | 29.2907 |  | 29.2907 | 54.5589 |  | 54.5589 | 2.4059 |  | 2.4059 |  |  |  | P: lid loose
| 6 | 246 | 125 | 28.6469 |  | 28.6469 | 54.7334 |  | 54.7334 | 2.4248 |  | 2.4248 |  |  |  | N/Si: salt around lid
| 6 | 245 | 150 | 29.0309 |  | 29.0309 | 55.2859 |  | 55.2859 | 2.527 |  | 2.527
| 6 | 244 | 175 | 29.1042 |  | 29.1042 | 56.8779 |  | 56.8779 | 2.5798 |  | 2.5798
| 6 | 243 | 187 | 28.9624 |  | 28.9624 | 56.9581 |  | 56.9581 | 2.5219 |  | 2.5219
| 3 | 271 | 0 | 0.026359 |  | 0.026359 | 10.1293 |  | 10.1293 | 0.16376 |  | 0.16376
| 3 | 270 | 5 | 1.0203 |  | 1.0203 | 13.4985 |  | 13.4985 | 0.36181 |  | 0.36181
| 3 | 269 | 10 | 5.8166 |  | 5.8166 | 20.9022 |  | 20.9022 | 0.89439 |  | 0.89439
| 3 | 268 | 20 | 22.2432 |  | 22.2432 | 46.1078 |  | 46.1078 | 2.1164 |  | 2.1164 |  |  |  | P: crystals
| 3 | 267 | 30 | 24.8493 |  | 24.8493 | 49.868 |  | 49.868 | 2.2733 |  | 2.2733 |  |  |  | P: crystals
| 3 | 266 | 40 | 25.9439 |  | 25.9439 | 52.0252 |  | 52.0252 | 2.3611 |  | 2.3611 |  |  |  | P: tube overfilled
| 3 | 265 | 50 | 27.8049 | 27.2582 | 27.5315 | 54.4669 |  | 54.4669 | 2.4644 | 2.5496 | 2.507 |  |  |  | P: tube overfilled, lid loose, crystals
| 3 | 264 | 75 | 29.8649 |  | 29.8649 | 55.4921 |  | 55.4921 | 2.5614 |  | 2.5614 |  |  |  | P: crystals
| 3 | 263 | 100 | 29.3871 | 28.7883 | 29.0877 | 54.2491 |  | 54.2491 | 2.5402 | 2.5731 | 2.5566
| 3 | 262 | 125 | 28.383 |  | 28.383 | 52.5342 |  | 52.5342 | 2.397 |  | 2.397
| 3 | 261 | 150 | 28.8872 |  | 28.8872 | 54.3148 |  | 54.3148 | 2.4788 |  | 2.4788 |  |  |  | P: crystals
| 3 | 260 | 175 | 28.8649 |  | 28.8649 | 55.8127 |  | 55.8127 | 2.5512 |  | 2.5512 |  |  |  | P: crystals
| 3 | 259 | 200 | 29.3697 |  | 29.3697 | 58.4465 |  | 58.4465 | 2.6236 |  | 2.6236
| 3 | 258 | 250 | 29.1795 |  | 29.1795 | 62.1245 |  | 62.1245 | 2.6711 |  | 2.6711
| 3 | 257 | 300 | 28.5582 |  | 28.5582 | 60.1217 |  | 60.1217 | 2.6311 |  | 2.6311
| 3 | 256 | Bot-5 | 28.8232 |  | 28.8232 | 62.286 |  | 62.286 | 2.5816 |  | 2.5816
| 2 | 286 | 0 | 0.11812 |  | 0.11812 | 14.0771 |  | 14.0771 | 0.1506 |  | 0.1506
| 2 | 285 | 5 | 3.7893 |  | 3.7893 | 18.8705 |  | 18.8705 | 0.69841 |  | 0.69841
| 2 | 284 | 10 | 7.2819 |  | 7.2819 | 23.2817 |  | 23.2817 | 1.1586 |  | 1.1586
| 2 | 283 | 20 | 19.2692 |  | 19.2692 | 39.192 |  | 39.192 | 1.9833 |  | 1.9833
| 2 | 282 | 30 | 23.7007 |  | 23.7007 | 46.7128 |  | 46.7128 | 2.1987 |  | 2.1987
| 2 | 281 | 40 | 25.6948 |  | 25.6948 | 50.649 |  | 50.649 | 2.3296 |  | 2.3296 |  |  |  | N/Si: salt around lid
| 2 | 280 | 50 | 27.8404 |  | 27.8404 | 51.6588 |  | 51.6588 | 2.5252 |  | 2.5252
| 2 | 279 | 75 | 28.9423 |  | 28.9423 | 53.8021 |  | 53.8021 | 2.4643 |  | 2.4643
| 2 | 278 | 100 | 29.1367 |  | 29.1367 | 53.5842 |  | 53.5842 | 2.3844 |  | 2.3844
| 2 | 277 | 125 | 25.7276 | 28.2695 | 26.9986 | 47.041 |  | 47.041 | 2.4691 | 2.3079 | 2.3885
| 2 | 276 | 150 | 27.7081 |  | 27.7081 | 51.9203 |  | 51.9203 | 2.4638 |  | 2.4638
| 2 | 275 | 175 | 24.8763 |  | 24.8763 | 47.2665 |  | 47.2665 | 2.5238 |  | 2.5238 | c | c |  | N/Si low
| 2 | 274 | 200 | 28.8855 |  | 28.8855 | 57.2489 |  | 57.2489 | 2.6026 |  | 2.6026
| 2 | 273 | 250 | 28.0987 |  | 28.0987 | 57.7876 |  | 57.7876 | 2.4569 |  | 2.4569 | c | c |  | N/Si low
| 2 | 272 | bot-5 | 27.5517 |  | 27.5517 | 57.6642 |  | 57.6642 | 1.9156 |  | 1.9156 |  |  | c | PO4 low

## Variability
Strait of Georgia 2001-19 Nutrient data
Variability
Variability of a water sample taken from Station P4 and remeasured periodically:
Date | Sample | Nitrate | Silicate | Phosphate | Comments
010717 | P4 | 22.6896 | 27.4218 | 1.7434
010718 | P4 | 22.6268 | 27.3062 | 1.7586
010719 | P4 | 22.592 | 28.0208 | 1.7383
| std dev | 0.049476 | 0.38359 | 0.010545
Variability of Duplicate samples
Sample | nitrate | nitrate | avg NO3 | silicate | silicate | avg Si | PO4 | PO4 | avg PO4 | diff NO3 | diff NO3^2 | diff Si | diff Si^2 | diff PO4 | diff PO4^2
1 | 28.1345 | 28.2675 | 28.201 |  |  |  | 3.2261 | 3.1804 | 3.2033 | -0.13302 | 0.017694 |  |  | 0.045677 | 0.0020864
13 | 23.0502 | 23.0215 | 23.0359 |  |  |  | 2.1199 | 2.089 | 2.1044 | 0.02871 | 0.00082426 |  |  | 0.030873 | 0.00095314
29 | 28.5439 | 28.4335 | 28.4887 |  |  |  | 2.2657 | 2.2685 | 2.2671 | 0.11033 | 0.012173 |  |  | -0.002826 | 7.9863e-06
57 | 27.4385 | 27.5093 | 27.4739 |  |  |  | 2.2735 | 2.2919 | 2.2827 | -0.0708 | 0.0050126 |  |  | -0.018407 | 0.00033882
71 | 27.0092 | 27.3916 | 27.2004 |  |  |  | 2.265 | 2.2653 | 2.2651 | -0.38242 | 0.14625 |  |  | -0.000294 | 8.6436e-08
69 | 28.6004 | 28.5278 | 28.5641 |  |  |  | 2.3224 | 2.3528 | 2.3376 | 0.07257 | 0.0052664 |  |  | -0.030428 | 0.00092586
65 | 34.2732 | 34.6937 | 34.4834 |  |  |  | 2.6395 | 2.6429 | 2.6412 | -0.42052 | 0.17684 |  |  | -0.003359 | 1.1283e-05
93 | 22.7873 | 22.6557 | 22.7215 |  |  |  | 2.0864 | 2.1039 | 2.0951 | 0.13165 | 0.017332 |  |  | -0.017475 | 0.00030538
103 | 23.6062 | 22.4517 | 23.0289 |  |  |  | 2.0686 | 2.1584 | 2.1135 | 1.1545 | 1.3328 |  |  | -0.089753 | 0.0080556
98 | 30.704 | 30.8434 | 30.7737 |  |  |  | 2.473 | 2.472 | 2.4725 | -0.13935 | 0.019418 |  |  | 0.001029 | 1.0588e-06
113 | 22.5438 | 22.4179 | 22.4808 |  |  |  | 2.1272 | 2.0778 | 2.1025 | 0.12587 | 0.015843 |  |  | 0.049402 | 0.0024406
133 | 0.69554 | 0.74239 | 0.71897 |  |  |  | 0.34054 | 0.20393 | 0.27223 | -0.046847 | 0.0021946 |  |  | 0.13661 | 0.018662
143 | 24.8075 | 24.8148 | 24.8112 |  |  |  | 2.3801 | 2.3782 | 2.3792 | -0.00728 | 5.2998e-05 |  |  | 0.001905 | 3.629e-06
152 | 26.4955 | 26.3509 | 26.4232 |  |  |  | 2.3503 | 2.374 | 2.3622 | 0.14458 | 0.020903 |  |  | -0.023697 | 0.00056155
176 | 27.8463 | 28.5004 | 28.1733 |  |  |  | 2.52 | 2.4888 | 2.5044 | -0.65413 | 0.42789 |  |  | 0.031167 | 0.00097138
168 | 26.9087 | 27.4826 | 27.1956 |  |  |  | 2.4186 | 2.6518 | 2.5352 | -0.57395 | 0.32942 |  |  | -0.23322 | 0.054391
190 | 22.0725 | 22.0519 | 22.0622 |  |  |  | 2.0702 | 2.0957 | 2.0829 | 0.02062 | 0.00042518 |  |  | -0.025573 | 0.00065398
205 | 21.2826 | 20.9457 | 21.1142 |  |  |  | 1.9568 | 2.0294 | 1.9931 | 0.33692 | 0.11352 |  |  | -0.072667 | 0.0052805
211 | 29.4198 | 29.3274 | 29.3736 |  |  |  | 2.7432 | 2.7378 | 2.7405 | 0.09238 | 0.0085341 |  |  | 0.005339 | 2.8505e-05
238 | 25.6813 | 25.2397 | 25.4605 |  |  |  | 2.4042 | 2.4223 | 2.4132 | 0.44158 | 0.19499 |  |  | -0.018055 | 0.00032598
265 | 27.8049 | 27.2582 | 27.5315 |  |  |  | 2.4644 | 2.5496 | 2.507 | 0.54673 | 0.29891 |  |  | -0.085171 | 0.0072541
263 | 29.3871 | 28.7883 | 29.0877 |  |  |  | 2.5402 | 2.5731 | 2.5566 | 0.59882 | 0.35859 |  |  | -0.032898 | 0.0010823
277 | 25.7276 | 28.2695 | 26.9986 |  |  |  | 2.4691 | 2.3079 | 2.3885 | -2.5419 | 6.4614 |  |  | 0.1612 | 0.025986
80 | 25.4625 | 25.5798 | 25.5211 |  |  |  | 2.2103 | 2.1929 | 2.2016 | -0.11726 | 0.01375 |  |  | 0.017466 | 0.00030506
[10 empty] | sum of squared differences | 9.98 |  |  |  | 0.13063
[10 empty] | no of pairs | 24 |  |  |  | 24
[10 empty] | pooled deviation | 0.45598 |  |  |  | 0.052168