File List for SeaBird                  Cruise Number: _2001-23____

##Many of these files include information from 2001-21, 2001-22 and 2001-23

[osapcommon.ctd.2001-23]

*.bl - original files from SeaSave

*.con - 		“

*.hex -      	“

[osapcommon.ctd.2001-23.documents]

2001pres1.ccf – calibration control file for shallow pressure sensor calibration ##

2001pres2.ccf – calibration control file for deep pressure sensor calibration ##

2001sal-cor.ccf – calibration control file for primary salinity calibration ##

2122pressure_study_shallowsensor.xls – study of pressure sensor calibration ##

2122pressure_study_deepsensor.xls - study of pressure sensor calibration ##

downsurf.xls – surface pressure from downcast ##

updncomp.xls – comparison and surface pressures from beginning and end of cast ##

upsurf.xls – surface pressure from upcasts ##

2001-22 calibration of SBE25 for salinity.doc – H. Melling document on calibration##

delete_study.xls – study of maximum pressure before and after DELETE ##

2001Arctic_processing.doc – report on processing ##

2001-23_file.doc - this document

[osapcommon.ctd.2001-23.documents.2001-23 chemistry and logs] – files from Mary O’Brien

and others preparatory to processing

[osapcommon.ctd.2001-23.convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[osapcommon.ctd.2001-23.derive]

*.cnv - data after WILDEDIT, ALIGNCTD, FILTER, CELLTM and DERIVE (for S0, S1)

[osapcommon.ctd.2001-23.ios]

*.cln – after pressure recalibrated, SHIFT (not for all files) and CLEAN headers

*.ctd - final files

*.del – after DELETE, downcast data for 1-111, upcast for 81(called 9981)

*.edt - data after all editing has been done

*.hdr – after final calibration and header editing

*.log and lo& - log files created by CTDEDIT.

*.ios - data after conversion to IOS HEADERS

Delete.log - log from routine DELETE

[osapcommon.ctd.2001-23.hydro]

*.bot  - files created by converting *.ros files to IOS HEADERS

*.ch1 – chemistry files including salinity

*.rac – rosette files averaged by bottle number

*.ros  - rosette files created by DATCNV, no other processing done.

*.sam and *sac – *.bot files with sample numbers added; before & after recal.

A01comp.csv & xls – COMPARE files for 2001-21, -22 & -23 before recalibration ##

A01comp2.csv & xls – COMPARE files for 2001-21, -22 & -23 after recalibration ##