File List for SeaBird Data

Cruise Number: 2001-27

[work2.ctd.2127] *.hex - original files from SeaSave

*.con - conversion files

2127proc.doc - processing notes

2127file.doc – this document

[work2.ctd.2127.convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[work2.ctd.2127.derive]

*.cnv - data after running FILTER, ALIGNCTD and DERIVE (for salinity)

[work2.ctd.2127.ios]

*.avg - data after metre-averaging using BINAVE

*.ctd - final files (after recalibration with 2127rcal.ccf)

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT

*.rev – data for cast #16 after running REVERSE on *.IOS file

*.xls – analysis of bottom salinity values for 2 casts for comparison with bottle values

Delete.log – log from routine DELETE