## File List
Number of Files= |  | 3
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 21300064.sal | 21300064.ios | 12 | 12 | 21300064.sal & 21300064.ios
2 | 21300065.sal | 21300065.ios | 14 | 24 | 21300065.sal & 21300065.ios
3 | 21300066.sal | 21300066.ios | 26 | 35 | 21300066.sal & 21300066.ios

## (sal0 - sal_bot)
Calculation of Linear Least Squares Fit For
(sal0 - sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (sal0 - sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.21487 |  | X | CALC Y
m= | -1.8886e-05 | 1.2764e-05 |  | Std Dev of Resid |  | 0.0011303 |  | 100.285 | 0.0012483
b= | 0.0031423 | 0.0018661 |  | Resid Sum of Squares |  | 1.0221e-05 |  | 180.464 | -0.00026601
# of Values Extracted = |  |  | 22
# of Values Used in Fit = |  |  | 10
File | Use | Pressure | sal0 | sal0 | Diff (sal0 - sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 172.988 | 33.8487 | 0.00030215 | 0.0012856 | -0.00012482 | -0.0014104 |  | 172.988 | 0.0012856
2 | YES | 180.464 | 33.8769 | 0.00032678 | -0.00035095 | -0.00026601 | 8.4939e-05 |  | 180.464 | -0.00035095
2 | YES | 175.313 | 33.8768 | 0.00030757 | 0.00013351 | -0.00016873 | -0.00030224 |  | 175.313 | 0.00013351
2 | YES | 149.83 | 33.8756 | 0.0012021 | 0.00018311 | 0.00031255 | 0.00012944 |  | 149.83 | 0.00018311
2 | YES | 124.627 | 33.8628 | 0.00040748 | 0.00043106 | 0.00078853 | 0.00035747 |  | 124.627 | 0.00043106
2 | YES | 100.64 | 33.823 | 0.00091721 | 0.0024109 | 0.0012416 | -0.0011693 |  | 100.64 | 0.0024109
2 | NO | 75.3659 | 33.3582 | 0.0057376 | -0.00018692 | 0.0017189 | 0.0019058 |  | 154.773 | 0.00025559
2 | NO | 50.6847 | 32.861 | 0.0057399 | 0.0028229 | 0.002185 | -0.00063786 |  | 150.389 | -0.00068665
2 | NO | 30.0265 | 32.6003 | 0.0077379 | 0.011204 | 0.0025752 | -0.0086286 |  | 125.633 | -0.0014458
2 | NO | 19.9406 | 32.2032 | 0.03597 | -7.6294e-05 | 0.0027657 | 0.002842 |  | 100.285 | 0.0021057
2 | NO | 9.857 | 32.0442 | 0.0072142 | 0.0032311 | 0.0029561 | -0.00027495
2 | NO | 1.5412 | 31.8548 | 0.025179 | 0.021065 | 0.0031132 | -0.017952
3 | YES | 154.773 | 33.8548 | 0.001042 | 0.00025559 | 0.00021919 | -3.6394e-05
3 | YES | 150.389 | 33.8538 | 0.00097256 | -0.00068665 | 0.00030199 | 0.00098863
3 | YES | 125.633 | 33.8313 | 0.0049488 | -0.0014458 | 0.00076953 | 0.0022153
3 | YES | 100.285 | 33.7026 | 0.0032106 | 0.0021057 | 0.0012483 | -0.00085745
3 | NO | 75.5093 | 33.3168 | 0.014639 | 0.033768 | 0.0017162 | -0.032052
3 | NO | 50.0529 | 32.7258 | 0.013644 | 0.028877 | 0.002197 | -0.02668
3 | NO | 30.6198 | 32.3637 | 0.02318 | -0.0066528 | 0.002564 | 0.0092168
3 | NO | 20.6717 | 32.1118 | 0.025446 | 0.047699 | 0.0027519 | -0.044947
3 | NO | 9.7004 | 31.8644 | 0.016789 | 0.0092277 | 0.0029591 | -0.0062687
3 | NO | 1.7985 | 31.8322 | 0.011553 | 0.015377 | 0.0031083 | -0.012269
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (sal1 - sal_bot)
Calculation of Linear Least Squares Fit For
(sal1 - sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (sal1 - sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.026093 |  | X | CALC Y
m= | -0.00050678 | 0.0015481 |  | Std Dev of Resid |  | 0.11136 |  | 100.64 | -0.056077
b= | -0.0050749 | 0.23759 |  | Resid Sum of Squares |  | 0.049607 |  | 180.464 | -0.096531
# of Values Extracted = |  |  | 22
# of Values Used in Fit = |  |  | 6
File | Use | Pressure | sal1 | sal1 | Diff (sal1 - sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 172.988 | 33.8497 | 0.00022124 | 0.0022964 | -0.092742 | -0.095039 |  | 172.988 | 0.0022964
2 | YES | 180.464 | 33.8294 | 1.4552 | -0.047825 | -0.096531 | -0.048706 |  | 180.464 | -0.047825
2 | YES | 175.313 | 33.642 | 3.2051 | -0.23467 | -0.09392 | 0.14074 |  | 175.313 | -0.23467
2 | YES | 149.83 | 33.8436 | 1.2004 | -0.031761 | -0.081006 | -0.049245 |  | 149.83 | -0.031761
2 | YES | 124.627 | 33.6826 | 2.8113 | -0.17981 | -0.068234 | 0.11157 |  | 124.627 | -0.17981
2 | YES | 100.64 | 33.8238 | 0.00094407 | 0.0032501 | -0.056077 | -0.059328 |  | 100.64 | 0.0032501
2 | NO | 75.3659 | 33.1097 | 3.2763 | -0.24871 | -0.043269 | 0.20544
2 | NO | 50.6847 | 32.8609 | 0.0057682 | 0.0026703 | -0.030761 | -0.033431
2 | NO | 30.0265 | 32.537 | 1.6531 | -0.052094 | -0.020292 | 0.031802
2 | NO | 19.9406 | 32.139 | 1.6417 | -0.064323 | -0.01518 | 0.049143
2 | NO | 9.857 | 32.0462 | 0.009367 | 0.0051918 | -0.01007 | -0.015262
2 | NO | 1.5412 | 31.863 | 0.035458 | 0.029263 | -0.005856 | -0.035118
3 | NO | 154.773 | 33.8196 | 1.261 | -0.034889 | -0.083511 | -0.048622
3 | NO | 150.389 | 33.7426 | 2.2185 | -0.1119 | -0.081289 | 0.030611
3 | NO | 125.633 | 33.2979 | 4.8082 | -0.53483 | -0.068743 | 0.46608
3 | NO | 100.285 | 33.2231 | 4.5557 | -0.47736 | -0.055898 | 0.42146
3 | NO | 75.5093 | 33.0708 | 3.2483 | -0.21219 | -0.043342 | 0.16885
3 | NO | 50.0529 | 32.5145 | 3.002 | -0.18237 | -0.030441 | 0.15193
3 | NO | 30.6198 | 32.2832 | 1.85 | -0.087189 | -0.020592 | 0.066596
3 | NO | 20.6717 | 31.8838 | 3.1007 | -0.1803 | -0.015551 | 0.16475
3 | NO | 9.7004 | 31.8191 | 1.4244 | -0.036091 | -0.0099909 | 0.0261
3 | NO | 1.7985 | 31.8375 | 0.0084624 | 0.020721 | -0.0059864 | -0.026708
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3
| Primary | Secondary |  | Comparison Name
Ref | pressure | Pressure |  | Pressure - pressure
Comp 1 | sal_bot | sal0 |  | sal0 - sal_bot
Comp 2 | sal_bot | sal1 |  | sal1 - sal_bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | pressure | Pressure | Pressure | (S-P) | sal_bot | sal0 | sal0 | (S-P) | sal_bot | sal1 | sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
21300064.sal | 21300064.ios | 52 | 173 | 172.988 | 0.58471 | -0.012238 | 33.8474 | 33.8487 | 0.00030215 | 0.0012856 | 33.8474 | 33.8497 | 0.00022124 | 0.0022964
21300065.sal | 21300065.ios | 905 | 180 | 180.464 | 0.31344 | 0.46378 | 33.8772 | 33.8769 | 0.00032678 | -0.00035095 | 33.8772 | 33.8294 | 1.4552 | -0.047825
21300065.sal | 21300065.ios | 1671 | 175 | 175.313 | 0.48379 | 0.31322 | 33.8767 | 33.8768 | 0.00030757 | 0.00013351 | 33.8767 | 33.642 | 3.2051 | -0.23467
21300065.sal | 21300065.ios | 1330 | 150 | 149.83 | 0.55038 | -0.16981 | 33.8754 | 33.8756 | 0.0012021 | 0.00018311 | 33.8754 | 33.8436 | 1.2004 | -0.031761
21300065.sal | 21300065.ios | 725 | 125 | 124.627 | 0.35036 | -0.37274 | 33.8624 | 33.8628 | 0.00040748 | 0.00043106 | 33.8624 | 33.6826 | 2.8113 | -0.17981
21300065.sal | 21300065.ios | 456 | 100 | 100.64 | 0.38057 | 0.64016 | 33.8206 | 33.823 | 0.00091721 | 0.0024109 | 33.8206 | 33.8238 | 0.00094407 | 0.0032501
21300065.sal | 21300065.ios | 521 | 75 | 75.3659 | 0.46775 | 0.36593 | 33.3584 | 33.3582 | 0.0057376 | -0.00018692 | 33.3584 | 33.1097 | 3.2763 | -0.24871
21300065.sal | 21300065.ios | 517 | 50 | 50.6847 | 0.27202 | 0.68467 | 32.8582 | 32.861 | 0.0057399 | 0.0028229 | 32.8582 | 32.8609 | 0.0057682 | 0.0026703
21300065.sal | 21300065.ios | 661 | 30 | 30.0265 | 0.46914 | 0.026489 | 32.5891 | 32.6003 | 0.0077379 | 0.011204 | 32.5891 | 32.537 | 1.6531 | -0.052094
21300065.sal | 21300065.ios | 658 | 20 | 19.9406 | 0.25933 | -0.059393 | 32.2033 | 32.2032 | 0.03597 | -7.6294e-05 | 32.2033 | 32.139 | 1.6417 | -0.064323
21300065.sal | 21300065.ios | 645 | 10 | 9.857 | 0.34977 | -0.14295 | 32.041 | 32.0442 | 0.0072142 | 0.0032311 | 32.041 | 32.0462 | 0.009367 | 0.0051918
21300065.sal | 21300065.ios | 77 | 2 | 1.5412 | 0.51893 | -0.45882 | 31.8337 | 31.8548 | 0.025179 | 0.021065 | 31.8337 | 31.863 | 0.035458 | 0.029263
21300066.sal | 21300066.ios | 1204 | 155 | 154.773 | 0.49752 | -0.2272 | 33.8545 | 33.8548 | 0.001042 | 0.00025559 | 33.8545 | 33.8196 | 1.261 | -0.034889
21300066.sal | 21300066.ios | 389 | 150 | 150.389 | 0.34254 | 0.38875 | 33.8545 | 33.8538 | 0.00097256 | -0.00068665 | 33.8545 | 33.7426 | 2.2185 | -0.1119
21300066.sal | 21300066.ios | 573 | 125 | 125.633 | 0.30416 | 0.63304 | 33.8327 | 33.8313 | 0.0049488 | -0.0014458 | 33.8327 | 33.2979 | 4.8082 | -0.53483
21300066.sal | 21300066.ios | 907 | 100 | 100.285 | 0.4496 | 0.28502 | 33.7005 | 33.7026 | 0.0032106 | 0.0021057 | 33.7005 | 33.2231 | 4.5557 | -0.47736
21300066.sal | 21300066.ios | 1057 | 75 | 75.5093 | 0.33314 | 0.50931 | 33.283 | 33.3168 | 0.014639 | 0.033768 | 33.283 | 33.0708 | 3.2483 | -0.21219
21300066.sal | 21300066.ios | 1606 | 50 | 50.0529 | 0.5162 | 0.052868 | 32.6969 | 32.7258 | 0.013644 | 0.028877 | 32.6969 | 32.5145 | 3.002 | -0.18237
21300066.sal | 21300066.ios | 522 | 30 | 30.6198 | 0.30819 | 0.61976 | 32.3704 | 32.3637 | 0.02318 | -0.0066528 | 32.3704 | 32.2832 | 1.85 | -0.087189
21300066.sal | 21300066.ios | 914 | 20 | 20.6717 | 0.30318 | 0.67168 | 32.0641 | 32.1118 | 0.025446 | 0.047699 | 32.0641 | 31.8838 | 3.1007 | -0.1803
21300066.sal | 21300066.ios | 860 | 10 | 9.7004 | 0.38538 | -0.2996 | 31.8552 | 31.8644 | 0.016789 | 0.0092277 | 31.8552 | 31.8191 | 1.4244 | -0.036091
21300066.sal | 21300066.ios | 161 | 2 | 1.7985 | 0.55826 | -0.20146 | 31.8168 | 31.8322 | 0.011553 | 0.015377 | 31.8168 | 31.8375 | 0.0084624 | 0.020721
Create Fit Sheet