## Final Data 2001-31
Iron III Data for Cruise 2001-31 | [33 empty] | For Graphing:
Cruise: | [6 empty] | 2001-31
Ship | [6 empty] | CCGS John P Tully
Dates | [6 empty] | Sept. 17 - Oct. 2, 2001
Chief Scientist | [6 empty] | Dave Mackas
Iron Analyst |  |  |  | IOS: |  |  | Nes Sutherland
For Methods and Explanation of Abbreviations please see Metadata Sheet
Flags & Abbreviations
1 | Sample for this measurement was drawn from water bottle but not analyzed - in storage, available for future analysis
3 | Questionable measurement (no problem observed in sampling or analysis, but value is not trusted, nonetheless; includes outlyers)
4 | Bad measurement (known problem with sampling or analysis, but not serious enough to completely discard the value)
5 | Not reported (lost sample; unredeemably bad measurement, overrange)
6 | Mean of replicate measurements from one XNiskin (XN) or Goflo (GF)... Replicates are found in "WorkSumFe" sheet, and summary of replicate data in the "Metadata" sheet
Note that >90% of analyses have duplicate runs from within one bottle, average stats for these are in "Metadata" sheet; only separate bottles are flagged as "6"
9 | Sample not drawn for this measurement from this bottle
Salinity was collected from iron sampling bottles.
[9 empty] | GF= goflo |  | Sample_Number | Depth | Iron:Filtered:Buffered 0.22u | Flag FB | Iron:Unfiltered:Buffered | Flag UFB | Iron:Filtered:StrongAcidMicrowave: 0.22u | Flag FA mw | Iron:Unfiltered:StrongAcid MicroWave | Flag UFA mw | Iron:Filtered:StrongAcid: 0.22u | Flag UFA | Iron:Unfiltered:StrongAcid | Flag UFA |  | Salinity | Salinity flag | Nitrate | Nitrate flag | Silicate | Silicate flag | Phosphate | Phosphate flag
Date | Time | Profile | Latitude |  | Longitude |  | Station | Event | Sampler | Sampler | Smp | Depth | FB 0.22 | FB | UFB | UFB | FAmw 0.22 | FAmw | UFAmw | UFAmw | FA 0.22 | FA | UFA | UFA | Analysis Comments | Sal |  | NO3 |  | Si |  | PO4
UTC | UTC | [6 empty] | # | Type | ID# | # | m | nmol/L | Flag | nmol/L | Flag | nmol/L | Flag | nmol/L | Flag | nmol/L | Flag | nmol/L | Flag | Collection Comments | (PSU) | Flag | uM | Flag | uM | Flag | uM | Flag
2001-09-22 | 1440 | 8001 | 53 30.1 | N | 138 19.9 | W | HE00-A | 1 | GF30 | Wilbur | 1 | 10 | 0.12571 |  | 0.17332 |  | 0.19037 |  | 0.37726
2001-09-22 | 1920 | 8002 | 53 45.0 | N | 138 19.97 | W | HE00-B | 2 | GF12 | #10 | 2 | 10 | 0.30709 |  | 0.59524 |  | 0.40994 |  | 0.65572
2001-09-22 | 2120 | 8003 | 54 00.0 | N | 138 20.03 | W | HE00-C | 3 | GF12 | #10 | 3 | 10 | 0.10736 |  | 0.15294 |  | 0.12761 |  | 0.3785
2001-09-23 | 0330 | 8004 | 54 09.9 | N | 138 20.1 | W | HE00-D | 4 | GF12 | #10 | 4 | 10 | 0.062475 |  | 0.12237 |  | 0.078307 | [7 empty] | no UF, out of water
2001-09-23 | 0435 | 8005 | 54 20.03 | N | 138 19.85 | W | HE00-E | 5 | GF12 | #10 | 5 | 10 | 0.059246 |  | 0.10018 |  | 0.061191 |  | 0.16765 | [5 empty] | water full of pteropods
2001-09-23 | 1700 | 8006 | 54 30.08 | N | 138 20.15 | W | HE00-F | 6 | Pump | Asti | 8 | 10 | 0.062865 |  | 0.07849 |  | 0.10231 |  | 0.17187 | [5 empty] | Centre of HE2000, rough seas, gale 35-40 all day
2001-09-23 | 1625 | 8006 | 54 30.08 | N | 138 20.15 | W | HE00-F | 6 | Pump | Asti | 7 | 25 | 0.023241 |  | 0.079734 |  | 0.062231 |  | 0.20029
2001-09-23 | 1545 | 8006 | 54 30.08 | N | 138 20.15 | W | HE00-F | 6 | Pump | Asti | 6 | 40 | 0.034238 |  | 0.099114 |  | 0.090415 |  | 0.17768
2001-09-24 | 0455 | 8006 | 54 29.98 | N | 138 19.89 | W | HE00-F | 11 | GF30 | Wilbur | 17 | 75 | 0.22295 |  | 0.35752 |  | 0.29437 |  | 0.82162 | [6 empty] | 32.8063
2001-09-24 | 0440 | 8006 | 54 29.99 | N | 138 19.94 | W | HE00-F | 10 | GF30 | Wilbur | 15 | 100 | 0.4833 |  | 0.72922 |  | 0.51896 |  | 1.7959 | [6 empty] | 33.4144
2001-09-24 | 0440 | 8006 | 54 29.99 | N | 138 19.94 | W | HE00-F | 10 | GF30 | BigB | 16 | 150 | 0.54806 |  | 0.78042 |  | 0.53434 |  | 1.3637 | [6 empty] | 33.7392
2001-09-24 | 0300 | 8006 | 54 29.96 | N | 138 19.99 | W | HE00-F | 9 | GF30 | Wilbur | 13 | 200 | 0.33449 | 5 | 0.43561 | 5 | 0.37473 |  | 1.4124 | [5 empty] | 5 Sal: too low, indicates misstrip | 32.8684 | 5
2001-09-24 | 0300 | 8006 | 54 29.96 | N | 138 19.99 | W | HE00-F | 9 | GF30 | BigB | 14 | 300 | 0.64981 |  | 0.87738 |  | 0.64386 |  | 1.1436 | [6 empty] | 33.9431
2001-09-24 | 0145 | 8006 | 54 29.93 | N | 138 19.96 | W | HE00-F | 8 | GF30 | Wilbur | 11 | 400 | 0.4262 | 5 | 0.60792 | 5 | 0.64812 |  | 1.7583 | [5 empty] | 5 Sal: too low, indicates misstrip | 33.3881 | 5
2001-09-24 | 0145 | 8006 | 54 29.93 | N | 138 19.96 | W | HE00-F | 8 | GF30 | BigB | 12 | 600 | 0.65255 |  | 0.72173 |  | 0.55408 |  | 0.80734 | [6 empty] | 34.0929
2001-09-23 | 2320 | 8006 | 54 30.08 | N | 138 20.15 | W | HE00-F | 7 | GF30 | Wilbur | 9 | 800 | 0.633 |  | 0.83148 |  | 0.81449 |  | 1.6816 | [6 empty] | 34.2222
2001-09-23 | 2320 | 8006 | 54 30.08 | N | 138 20.15 | W | HE00-F | 7 | GF30 | BigB | 10 | 950 | 0.70833 |  | 0.90858 |  | 0.55502 |  | 0.78204 | [6 empty] | 34.3031
2001-09-25 | 1830 | 8007 | 55 15.2 | N | 137 45.0 | W | HE00-J | 12 | GF12 | #10 | 18 | 10 | 0.053079 |  | 0.091698 |  | 0.079764 |  | 0.55644
2001-09-26 | 0045 | 8008 | 54 49.97 | N | 138 09.99 | W | HE00-H | 13 | GF12 | #10 | 19 | 10 | 0.066827 |  | 0.10683 |  | 0.088953 |  | 0.26067
2001-09-26 | 1645 | 8009 | 54 00. | N | 138 45.1 | W | HE00-L | 15 | Pump | Asti | 25 | 10 | 0.046244 |  | 0.085946 |  | 0.043699 |  | 0.11693 | [5 empty] | HE2000 - Edge Stn
2001-09-26 | 1050 | 8009 | 54 00.11 | N | 138 44.56 | W | HE00-L | 14 | GF12 | #10 | 20 | 25 | 0.08589
2001-09-26 | 1615 | 8009 | 54 00. | N | 138 45.1 | W | HE00-L | 15 | Pump | Asti | 24 | 25 | 0.047847 |  | 0.092455 |  | 0.057605 |  | 0.20521
2001-09-26 | 1515 | 8009 | 54 00. | N | 138 45.1 | W | HE00-L | 15 | Pump | Asti | 23 | 40 | 0.10056 |  | 0.13809 |  | 0.11734 |  | 0.22613
2001-09-26 | 1050 | 8009 | 54 00.11 | N | 138 44.56 | W | HE00-L | 14 | GF30 | Wilbur | 21 | 75 | 0.16802 |  | 0.25324 |  | 0.22231 |  | 0.50852 | [6 empty] | 32.7337
2001-09-26 | 1050 | 8009 | 54 00.11 | N | 138 44.56 | W | HE00-L | 14 | GF30 | BigB | 22 | 100 | 0.28073 |  | 0.409 |  | 0.23028 |  | 0.80379 | [6 empty] | 32.9816
2001-09-27 | 0300 | 8009 | 53 59.92 | N | 138 44.83 | W | HE00-L | 19 | GF30 | BigB | 32 | 150 | 0.58797 |  | 0.91519 |  | 0.74909 |  | 2.4392 | [5 empty] | press valve still out on recovery | 33.8104
2001-09-27 | 0145 | 8009 | 54 00.01 | N | 138 44.87 | W | HE00-L | 18 | GF30 | BigB | 30 | 200 | 0.40497 |  | 0.64773 |  | 0.5373 |  | 1.3205 | [6 empty] | 33.8867
2001-09-27 | 0145 | 8009 | 54 00.01 | N | 138 44.87 | W | HE00-L | 18 | GF30 | Wilbur | 31 | 300 | 0.5646 |  | 0.81892 |  | 0.51809 |  | 1.2279 | [6 empty] | 33.9415
2001-09-26 | 2030 | 8009 | 54 00.17 | N | 138 45.19 | W | HE00-L | 17 | GF30 | Wilbur | 28 | 400 | 0.67384 |  | 0.82806 |  | 0.60311 |  | 1.4771 | [6 empty] | 33.9907
2001-09-26 | 2030 | 8009 | 54 00.17 | N | 138 45.19 | W | HE00-L | 17 | GF30 | BigB | 29 | 600 | 0.85033 |  | 1.0935 |  | 0.83587 |  | 1.8032 | [6 empty] | 34.163
2001-09-26 | 1810 | 8009 | 54 00.09 | N | 138 45.15 | W | HE00-L | 16 | GF30 | Wilbur | 26 | 800 | 0.90994 |  | 1.1682 |  | 0.90984 |  | 3.0524 | [6 empty] | 34.2657
2001-09-26 | 1810 | 8009 | 54 00.09 | N | 138 45.15 | W | HE00-L | 16 | GF30 | BigB | 27 | 950 | 0.91442 |  | 1.2751 |  | 0.83548 |  | 2.5073 | [6 empty] | 34.3343
2001-09-28 | 0300 | 8010 | 52 30.0 | N | 138 44.96 | W | HRef | 21 | Pump | Asti | 37 | 10 | 0.07422 |  | 0.074722 |  | 0.086952 | 6 | 0.14679 | 6 |  |  |  |  | Ref Stn for this Eddy Cruise
2001-09-28 | 0245 | 8010 | 52 30.0 | N | 138 44.96 | W | HRef | 21 | Pump | Asti | 36 | 25 | 0.033826 |  | 0.034276 |  | 0.063075 |  | 0.090537
2001-09-28 | 0130 | 8010 | 52 30.0 | N | 138 44.96 | W | HRef | 21 | Pump | Asti | 35 | 40 | 0.041945 |  | 0.034655 |  | 0.14806 | 6 | 0.11225 | 6
2001-09-28 | 1520 | 8010 | 52 29.97 | N | 138 44.98 | W | HRef | 22 | GF30 | Wilbur | 38 | 75 | 0.046041 |  | 0.052014 |  | 0.13469 |  | 0.17807 | [6 empty] | 32.6163
2001-09-28 | 1520 | 8010 | 52 29.97 | N | 138 44.98 | W | HRef | 22 | GF30 | BigB | 39 | 100 | 0.051478 |  | 0.065999 |  | 0.12684 |  | 0.26821 | [6 empty] | 32.6815
2001-09-28 | 1630 | 8010 | 52 30.19 | N | 138 45.02 | W | HRef | 23 | GF30 | BigB | 40 | 150 | 0.17589 |  | 0.2325 |  | 0.24745 |  | 0.64417 | [6 empty] | 33.3806
2001-09-28 | 1730 | 8010 | 52 30.13 | N | 138 44.77 | W | HRef | 24 | GF30 | Wilbur | 41 | 200 | 0.31633 |  | 0.36619 |  | 0.49089 | 6 | 0.86398 | 6 | [5 empty] | 33.7934
2001-09-28 | 1730 | 8010 | 52 30.13 | N | 138 44.77 | W | HRef | 24 | GF30 | BigB | 42 | 300 | 0.39661 |  | 0.40917 |  | 0.41294 |  | 0.5732 | [6 empty] | 33.9262
2001-09-28 | 1920 | 8010 | 52 30.06 | N | 138 44.87 | W | HRef | 25 | GF30 | Wilbur | 43 | 400 |  | 5 |  | 5 |  | 5 |  | 5 |  |  |  |  | 5 Sal: too low, indicates misstrip | 33.3479 | 5
2001-09-28 | 1920 | 8010 | 52 30.06 | N | 138 44.87 | W | HRef | 25 | GF30 | BigB | 44 | 600 | 0.73477 |  | 0.8883 |  | 0.73685 |  | 1.2459 | [6 empty] | 34.2267
2001-09-27 | 2330 | 8010 | 52 30.0 | N | 138 44.96 | W | HRef | 20 | GF30 | Wilbur | 33 | 800 | 0.62656 |  | 0.6943 |  | 0.63163 |  | 0.93674 | [6 empty] | 34.2925
2001-09-27 | 2330 | 8010 | 52 30.0 | N | 138 44.96 | W | HRef | 20 | GF30 | BigB | 34 | 950 | 0.66938 |  | 0.74927 |  | 0.50377 | 6 | 0.898 | 6 | [5 empty] | 34.3602
2001-09-30 | 2040 | 8011 | 51 00.02 | N | 135 20.01 | W | HE01-C | 28 | GF12 | #10 | 48 | 10 | 0.063921 |  | 0.090863 |  | 0.12199 |  | 0.24811 | [5 empty] | HE2001-Centre Stn
2001-09-30 | 2220 | 8011 | 50 59.95 | N | 135 19.88 | W | HE01-C | 29 | GF12 | #10 | 51 | 25 | 0.058594 |  | 0.08114 |  | 0.18821 |  | 0.3108 |  | 0.14641 |  | 0.27323
2001-09-30 | 1520 | 8011 | 51 00.21 | N | 135 19.65 | W | HE01-C | 26 | GF12 | #10 | 45 | 40 | 0.058776 |  | 0.088532 |  | 0.12855 |  | 0.32181
2001-09-30 | 2220 | 8011 | 50 59.95 | N | 135 19.88 | W | HE01-C | 29 | GF30 | BigB | 52 | 75 | 0.14234 |  | 0.19908 |  | 0.11863 |  | 0.26318 | [6 empty] | 32.8913
2001-09-30 | 2040 | 8011 | 51 00.02 | N | 135 20.01 | W | HE01-C | 28 | GF30 | Wilbur | 49 | 100 | 0.31946 |  | 0.59481 |  | 0.42629 |  | 0.96407 | [6 empty] | 33.4648
2001-09-30 | 2040 | 8011 | 51 00.02 | N | 135 20.01 | W | HE01-C | 28 | GF30 | BigB | 50 | 200 | 0.68426 |  | 1.1364 |  | 0.45951 |  | 2.2312 |  | 0.35833 |  | 1.9752 |  |  | 33.9303
2001-09-30 | 1915 | 8011 | 51 00.10 | N | 135 19.80 | W | HE01-C | 27 | GF30 | Wilbur | 46 | 400 |  | 5 |  | 5 |  | 5 |  | 5 |  |  |  |  | 5 Sal: too low, indicates misstrip | 33.3139 | 5
2001-09-30 | 1915 | 8011 | 51 00.10 | N | 135 19.80 | W | HE01-C | 27 | GF30 | BigB | 47 | 600 | 0.89869 |  | 1.3869 |  | 0.65542 |  | 1.8925 | [6 empty] | 34.1354
2001-10-01 | 0615 | 8012 | 50 44.99 | N | 134 45.00 | W | HE01-B | 30 | GF12 | #10 | 53 | 10 | 0.085298 |  | 0.21303 |  | 0.13886 |  | 0.46324 | [5 empty] | HE2001-Edge Stn
2001-10-01 | 0715 | 8012 | 50 44.92 | N | 134 44.92 | W | HE01-B | 31 | GF12 | #10 | 56 | 40 | 0.05691 |  | 0.10149 |  | 0.083295 |  | 0.25738
2001-10-01 | 0715 | 8012 | 50 44.92 | N | 134 44.92 | W | HE01-B | 31 | GF30 | BigB | 57 | 75 | 0.21575 |  | 0.40634 |  | 0.28677 |  | 0.59396 | [6 empty] | 32.7057
2001-10-01 | 0615 | 8012 | 50 44.99 | N | 134 45.00 | W | HE01-B | 30 | GF30 | Wilbur | 54 | 100 | 0.17309 |  | 0.22878 |  | 0.2074 |  | 0.50198 | [6 empty] | 33.0681
2001-10-01 | 0615 | 8012 | 50 44.99 | N | 134 45.00 | W | HE01-B | 30 | GF30 | BigB | 55 | 200 | 0.59435 |  | 0.96825 |  | 0.6051 |  | 1.5813 | [6 empty] | 33.9274
2001-10-01 | 0715 | 8012 | 50 44.92 | N | 134 44.92 | W | HE01-B | 31 | GF30 | Wilbur | 58 | 400 | 0.79455 |  | 1.2262 |  | 0.87015 |  | 2.072 | [6 empty] | 34.0074

## Metadata
Metadata for Iron III Data for Cruise 2001-31 | [12 empty] | For Graphing:
Cruise: |  |  | 2001-31
Ship |  |  | CCGS John P Tully
Dates |  |  | Sept. 17 - Oct. 2, 2001
Chief Scientist |  |  | Dave Mackas
Iron Analyst | IOS: |  | Nes Sutherland
The objective of the iron team on this cruise was to collect and analyse Iron(III) samples from two Haida Eddies, 2000 and 2001, from centre and edge stns, and a transect line through HE2000, as well as to sample outside waters.
Unfortunately due to weather, gale to storm force, some time was lost, and the HE2001 site sampling was shortchanged.
Sample Collection:
Seawater samples for Iron (III) analyses were collected either by Teflon compressed air activated Asti pump with Teflon tubing (5-40m);
or by 12L GoFlo (#10) or 30L GoFlos(GF named Wilbur and BigB) on a Kevlar line spooled over a Delrin block (50-950m).
LDPE bottles had been previously acid cleaned to Geotraces standards. Filtration was through cartidge type filters (Opti 0.22u Duropore) direct from the pump or GoflosDuropore
On occasion a Goflo bottle would misstrip at the wrong depth, this was confirmed by salinity analysis
Sample Treatment- Current and IOS Historical:
Iron analysis can be performed in several different ways, therefore it is necessary to operationally define the treatments used, if one wishes to compare results with other researchers.
At IOS we have traditionally followed the suggestions of Obata and Nishioka for treatment and analysis.
IOS protocol originally called for treatment of filtered and unfiltered samples with a mildly acidic buffered leach (pH 3.2), measured onboard, as well
as a strongly acidic leach (pH ~1.6 / 2.25 ml of 6N purified HCl to 250ml SW) measured after a storage period of 6 months or longer.
In recent years (post2006), IOS has also added the Geotraces method of acid leach for a minimum of 12 hours before analysis.
The following provides a description of these treatments, their abbreviations and nomenclature:
Buffered Sample Analysis - FB or UFB - traditional analysis performed for IOS Line P cruises - a mild leach where sample is buffered to pH3.2 with Ammonium formate,
then analysed within ~2 hours; thought to be immediate bioavailable iron
| Iron:Filtered:Buffered |  | FB | 0.22u filtered, buffered, also called dissolved Fe
|  |  |  | FB0.22u | Duropore Opti type cartridge, or 47 or 90mm membrane filters used
| Iron:Unfiltered:Buffered |  | UFB | unfiltered, buffered, also considered to be labile or bioavailable
|  |  | UFB-FB | this difference is known as labile particulate fraction
Strongly Acidified Sample Analysis - FA or UFA - samples acidified to pH~1.6 with 1:1 HCl for 6 months or more, then brought back up to pH3.2, the methodological requirement for analysis of Iron(III) in seawater using the IOS FIA instrument
IOS has traditionally used this strong acidification in the past, utilizing 2mL of 1:1 SeaStar HCl per 250mL sample for acidification, as suggested by Nishioka
(personal communication) for a complete digestion of iron, excepting what would be geologically bound compounds
It is thought that by microwaving the FA or UFA 24 hours after collection, the leaching of particles might be sped up to result in iron conc similar to the long term storage (Nishioka pers com), but this has not been verified by the IOS lab
Because the FA and UFA analyses were new to IOS, duplicate strongly acidified samples were collected - one set for long term storage, the other for long term and additional microwave as a comparison
| Iron:Filtered:StrongAcid |  | FA | 0.22u filtered, acidified to 1.6, into storage for minimum of 6 months - referred to as Total Dissolved fraction
This fraction tends to be similar to FB
|  |  |  | FA mw | Additional microwave procedure
| Iron:Unfiltered:StrongAcid |  | UFA | unfiltered, acidified to 1.6, then into storage for minimum of 6 months - also known as Total Dissolvable
|  |  |  | UFA mw | Additional microwave procedure
|  |  | UFA-FA | the difference provides leachable particulate, a measure of nonlabile particulate iron
|  |  | FA-FB | the difference reflects the nonlabile dissolved fraction
|  |  | UFA-UFB | the difference reflects the nonlabile fraction
Geotraces Acidified Sample - FG or UFG - samples acidified to <pH2 with 1:1 HCl for at least 12 hours, then brought back up to pH3.2, which is the methodological requirement for analysis of Iron(III) in seawater using the IOS FIA instrument
The Geo (Geotraces) method is a stronger leach of iron than the Buffered Sample Analysis, especially on particulates in sea water.
It is becoming the norm for iron analyses, and therefore IOS has started to incorporate this treatment in its sampling protocol for Line P cruises
IOS protocol for Geotraces samples has been modified somewhat from when first run in 2009:
In 2009: 24 hour treatment, but with strong acid conc: 2.0mL 1:1 HCl per 250mL smp (->pH~1.6) as opposed to the then Geo suggested 0.5mL (->pH~1.9) Abbreviated to FGA and UFGA to reflect the stronger acid conc
In 2010: IOS followed the suggested addition of 0.5mL SS 1:1 HCl per 250mL sample (->pH~1.9) for 24 hour minimum digestion; called FG2010 and UFG2010
In 2011: it was noted that the Geotraces protocol now calls for addition of 1.0 mL of SeaStar 1:1 HCl per 250mL of sample, achieving a pH ~1.8, (min 12 hour digest), and will simply be abbreviated as FG or UFG
| Iron:Filtered:Geotrace |  | FG | 0.22u filtered, acidified to <2 for >12 hours, then pH3.2 for analysis - see below for 2011 modification. FG also referred to D(Fe), or Dissolved Fe
| Iron:Unfiltered:Geotrace |  | UFG | unfiltered, acidified to <2 for >12hours, then pH3.2 for analysis - see below for 2011 modification. UFG is also referred to TD(Fe), or Total Dissolvable Fe
Rough comparison of Treatments:
It is possible that over a 24 hour digest, the Geo results might be similar between the different acid concentrations (ie pH range1.6-1.9), but this has not been tested in our lab.
We have noted that the long term FA and UFA leaches result in greater iron concentration than the short digest of FG and UFG.
In 2009, FB~FGA, sometimes FB>FGA, but inconclusive, as known problems with contamination and calibration issues, however both FB&FGA < FA; UFB < UFGA < UFA
In 2010, FB and FG2000 were quite similar, no real trend observed; UFG2000 also tended to be similar or somewhat greater than UFB. However, for Stn P4 we used FGA, a stronger acid, and FGA was consistently > FB
In 2011, when comparing FB and FG, FG ~ > than FB, and UFG is also greater than UFB particularly in deeper waters; perhaps this trend shows the effect of increasing the amount of acid in the Geo method this year
In this cruise, filtered and unfiltered buffered samples (FB & UFB), and duplicate Strongly Acidified Filtered and Unfiltered (FA & UFA) were collected.
Sample Analysis:
Samples were analysed onboard using a chemiluminescent reaction with preconcentration according to the method of Obata et al (1993), incorporating
modifications made in Obata et al (1997). Details can be found in Johnson et al (2005)
Some Acidified Samples were separated into microwaved and unmicrowaved samples. The acidified microwaved samples, in their LDPE bottles, were brought to near boiling and held for 8 minutes at that temperature, then allowed to cool.
Both acidified and microwaved acidified were brought up to pH3.2 for analysis by addition of ammonium formate buffer, and conc NH4OH.
Duplicate samples were obtained by separating a few 250mL bottles into microwaved and non mw, to compare the effect of the extra treatment, as well as separating the rest into two bottles for duplicate microwave samples.
References: | Johnson, W.K., Miller, L.A., Sutherland, N.E., Wong, C.S., 2005. Iron transport by mesoscale Haida eddies in the Gulf of Alaska. Deep-Sea Research II 52, 933-953
Obata, H., Karatani, H., and E. Nakayama, 1993. Automated determination of iron in seawater by chlating resin concentration and chemiluminescence detection, Anal. Chem., 65, 1524 – 1528
Obata, H., Karatani, H., Matsui, M. and Nakayama, E., 1997. Fundamental studies for chemical speciation of iron in seawater with an improved analytical method. Mar. Chem., 56: 97-106.
Standards and Blanks:
The primary standard was a VWR FeCl3 in dilute HCl sol'n, certified at 1007ppm. From this a secondary 10ppm was prepared, then further diluted to stock solutions of 100 and 10ppb.
Working standards were prepared fresh from these stock solutions to bracket the expected range of samples, using low iron seawater collected from Stn Papa in previous cruises
Blanks for the standards were from the same low iron seawater. This typically has a small (<0.05nM) amount of Fe.
For more on blanks, see separate section below.
QAQC & Reference Standards, Blanks & Comments
Replication Statistics, or Sample Pooled Data Stats:
Pooled variance (sp) is used to report error associated with analyses, whether it be from duplicate analyses within a sample bottle, or between duplicate samples taken from one depth.
The Average Fe reported with the sp is the average of only the data used in calculating sp, and provided for determining relative standard deviation (%RSD).
Best, ie lowest pooled variance, are filtered (FB&FA) samples, with UFB samples not far behind.
As might be expected, samples with high Fe content, >2nmol, the majority of which are unfiltered, tend to be more variable than filtered, possibly due to unequal particulate loading.
|  | Onboard FB & UFB analysis: |  |  |  |  | Onboard FA, FAmw, UFA, UFAmw Analysis, |  |  | All Onboard Samples:
Replicate Analysis within a Sample Bottle
|  | FB | UFB | All B samples: |  |  | FA&mw | UFA&mw | All Acid samples: | All: | <0.2nmol (for D.L.): | All Samples >2.0nmol
Pooled Variance (sp): |  | 0.016864 | 0.019605 | 0.018342 |  |  | 0.011136 | 0.041169 | 0.034595 | 0.023541 | 0.0068762 | insufficient samples for stats
Detection Limit: | [10 empty] | 0.020629
Average Fe: |  | 0.33903 | 0.46386 | 0.40402 |  |  | 0.36286 | 1.0554 | 0.83583 | 0.51331 | 0.088982 | 2.2539
Sum d^2: |  | 0.03299 | 0.048429 | 0.081419 |  |  | 0.0032244 | 0.094915 | 0.098139 | 0.17956 | 0.005201
Rsp% |  | 4.9743 | 4.2265 | 4.54 |  |  | 3.069 | 3.9007 | 4.139 | 4.5862 | 7.7276
n: |  | 58 | 63 | 121 |  |  | 13 | 28 | 41 | 162 | 55 | 2
Samples divided into two to compare effect of mw on results, and to check mw reproducibility:
|  | All |  | UFAmw-UFA |  | UFA mw dups-All |  | UFAmw dup, w/o >2nM smp
Pooled Variance (sp): |  | 0.09322 |  | 0.049577 |  | 0.10866 |  | 0.060903
Detection Limit:
Average Fe: |  | 1.3285 |  | 1.2377 |  | 1.374 |  | 0.97884
Sum d^2: |  | 0.2607 |  | 0.024578 |  | 0.23612 |  | 0.066765
Rsp% |  | 7.0167 |  | 4.0056 |  | 7.9081 |  | 6.2219
n: |  | 15 |  | 5 |  | 10 |  | 9
Daily Reference Standards (DRS)
DRSs are run frequently to check on instrument performance and drift. In Line P cruise 2000-25 a carboy of filtered 0.22u water was collected from 200m at P12, and used for this cruise
DRS | Date | Load Time |  | Fe (nM) |  |  | Comments
|  |  | Avg: | 0.51952
|  |  | Stdev: | 0.10025
2001-31 Eddy cruise: |  |  | n: | 7
18S | 2001-09-18 | 240s |  | 0.47673
19S | 2001-09-19 |  |  | 0.68727
20S | 2001-09-20 |  |  | 0.58618
24S | 2001-09-24 |  |  | 0.43504
28S | 2001-09-28 |  |  | 0.39412
| 2001-09-28 |  |  | 0.49091
01O | 2001-10-01 |  |  | 0.56642
Intercalibration Standards
Intercalibration standards were not available, and thus not reported
Summary of Buffered Sea Water Blanks Used in Calibration and Determining Zero, and Detection Limits
Blanks:
Calibrations are run using standard additions of Fe to a volume of filtered low iron seawater collected from OSPapa, 050N 145W, or that general vicinity
This seawater source, without the additions, is sometimes referred to as BSW - Buffered SeaWater - and forms the 0 point or blank for the calibration standards
However, because there is invariably some iron in this water, it is necessary to correct samples to a zero iron or instrument blank.
In this cruise, low iron seawater was run through the resin column and collected for use as zero water. It is referred to as "rc0" or resin-cleaned zero water, and its response is subtracted from samples for the instrument correction.
The zero blank for sample correction is actually the concentration of the low iron seawater, and thus varies with the seawater batches used in calibration.
Following is a list of blanks used in calibration, but corrected with the rc0 blank to determine actual iron of the BSW used this cruise
Please see discussion of Determining Detection Limit in a section below this one
Data Statistics for rc0 and Standard 0. Note that Std 0 has been calculated as a sample to determine the iron content of the low iron seawater used as a basis of standard additions
The average blank for the standard seawater was 0.04 +/- 0.02nM Fe
| Date | Standard rc0: |  |  | Standard 0(LowFeSW):
|  | Time | Fe(III) |  | Time | Fe(III)
Average: |  |  | 0.0015792 |  |  | 0.039985
Stdev: |  |  | 0.0030315 |  |  | 0.016773
DL: |  |  | 0.0090944 |  |  | 0.050318
Count: |  |  | 6 |  |  | 23
%RSD: |  |  | 191.9587 |  |  | 41.9472
sample formula used
240s: | 2001-09-18 | 2005 | 0.0065997 |  | 1931 | 0.053388
|  | 2022 | 0 |  | 1948 | 0.064396
| 2001-09-20 |  |  |  | 522 | 0.014259
[5 empty] | 539 | 0.017487
| 2001-09-23 | 702 | -0.0021223 |  | 628 | 0.054864
|  | 720 | 0.0020731 |  | 645 | 0.036261
[5 empty] | 737 | 0.04565
| 2001-09-24 |  |  |  | 437 | 0.017897
[5 empty] | 454 | 0.016246
[5 empty] | 512 | 0.014433
| 2001-09-27 | 730 | 0.0029249 |  | 621 | 0.062759 |  |  | new std SW
|  | 747 | 0 |  | 639 | 0.059935
[5 empty] | 656 | 0.058791
[5 empty] | 713 | 0.059908
| 2001-09-28 |  |  |  | 400 | 0.035644
[5 empty] | 417 | 0.035484
| 2001-09-29 |  |  |  | 433 | 0.049716
[5 empty] | 450 | 0.047731
[5 empty] | 507 | 0.049831
[5 empty] | 2304 | 0.032136
[5 empty] | 2321 | 0.032927
| 2001-10-01 |  |  |  | 434 | 0.028688
[5 empty] | 451 | 0.031223
Determining Detection Limit (D.L.):
The detection limit can be determined as 3 x Stdev of the Average Blank FeIII concentration, depending on whether the stock batches used are the same, and have low iron content(<0.1nM).
The standard deviation of the blanks can be used instead to determine DL : in this case, for rc0 (resin cleaned water) DL~0.00nM; for Seawater calibration stock, DL~0.02nM
However, as there were numerous very low seawater samples, the DL can also be determined using 3* SP for all samples <0.2nM:
Using the data for this cruise, DL is ~0.02nM
| Avg: | 0.088982
| n: | 55
| sp: | 0.0068762
| DL: | 0.020629
Overall Detection Limit ~0.00-0.02nM

## MetadataPostCruiseAcidSmp
Metadata for PostCruise Acidified Iron III Data | [12 empty] | For Graphing:
Cruise: |  |  | 2001-31
Ship |  |  | CCGS John P Tully
Dates |  |  | Sept. 17 - Oct. 2, 2001
Chief Scientist |  |  | Dave Mackas
Iron Analyst | IOS: |  | Nes Sutherland
Sample Treatment- See Metadata Cruise Sheet for details
In this cruise, filtered and unfiltered buffered samples (FB & UFB), and Strongly Acidified Filtered and Unfiltered (FA & UFA) were collected.
Most FA and UFA were microwaved to ensure complete digestion. The results can be compared in the Duplicate Sample Bottle Replication Stats below
Sample Analysis:
See Metadata Cruise Sheet for details
Acidified Samples were separated into microwaved and unmicrowaved samples. The acidified microwaved samples, in their LDPE bottles, were brought to near boiling and held for 8 minutes at that temperature, then allowed to cool.
Both acidified and microwaved acidified were brought up to pH3.2 for analysis by addition of ammonium formate buffer, and conc NH4OH.
Standards and Blanks:
See Metadata Cruise Sheet for details
QAQC & Reference Standards, Blanks & Comments
2001-31 All Stns, depths & treatments - microwaved 22Aug 2002, analysed 2-23 Sep 2002 during Cruise 2002-30, aged ~12 months.
Samples analysed 9-23Sept2002 (Cruise 2002-30), aged ~12 months.
Replication Statistics, or Sample Pooled Data Stats: |  |  |  | Replicate Analysis within a Sample Bottle |  |  |  | Replicate samples: | Comparison of MW vs nonMW (microwave) - all 2002-30acidified data
See Metadata Cruise Sheet for details |  |  |  | All |  | <0.2nM | >2nM
Pooled Variance (sp): |  |  |  | 0.062277 |  | 0.0064083 | 0.15552 | 0.02674 |  |  | (FAmw-FA) | (UFAmw-UFA)
Detection Limit: | [5 empty] | 0.019225
Average Fe: |  |  |  | 1.3025 |  | 0.12948 | 5.6137 | 0.41102 |  | Average Difference (nM): | 0.104 | 0.063731
Sum d^2: |  |  |  | 1.3031 |  | 0.0032853 | 1.1609 | 0.01287 |  | Stdev of Diff (nM): | 0.11614 | 0.29328
Rsp% |  |  |  | 4.7815 |  | 4.9491 | 2.7703 | 6.5057 |  | n: | 6 | 17
n: |  |  |  | 168 |  | 40 | 24 | 9
Daily Reference Standards (DRS)
DRSs are run to check on instrument performance and drift. Two DRS's were used in this data set, DRS A & B
DRS A was prepared in the lab, 18 - 20 Feb 2002, by spiking 21 L of filtered buffered seawater with ~ 0.55nM Fe (6.5mL of 100ppb Fe), then bottled and numbered sequentially.
DRS B was prepared to contain higher iron content than DRS A: used remnants of Feb02 and of old buffered, filtered analysed samples. Mixed all, added SS HCl to bring pH down to 1.7, let sit to equilibrate, then bottled into 20 x 250mL bottles.
|  |  |  | DRS A |  | DRS B
Average all replicates: |  |  |  | 0.564 |  | 1.7715
Stdev: |  |  |  | 0.14799 |  | 0.057309
%RSD: |  |  |  | 26.2393 |  | 3.2352
n: |  |  |  | 2 |  | 2
Blanks: |  |  | D.L ~ 0.02-0.03 nM Fe
See Metadata Cruise Sheet for details
|  | rc0 |  | Standard 0(LowFeSW):
Average: |  | 0.0071705 |  | 0.035386
Stdev: |  | 0.0091016 |  | 0.010009
DL: |  | 0.027305 |  | 0.030028
n: |  | 16 |  | 32
Duplicate Sample Bottle Replication Stats of Acidified MW vs Acidified only, for 2001-31 samples
Pooled Variance (sp): |  |  |  |  | 0.099326
Average Fe: |  |  |  |  | 0.74286
Sum d^2: |  |  |  |  | 0.078926
Rsp% |  |  |  |  | 13.3708
n: |  |  |  |  | 4
|  |  | mw | non mw | Avg | d^2
HE01-C | 25 | F | 0.18821 | 0.14641 | 0.16731 | 0.0017472
HE01-C | 200 | F | 0.45951 | 0.35833 | 0.40892 | 0.010237
HE01-C | 25 | UF | 0.3108 | 0.27323 | 0.29202 | 0.0014112
HE01-C | 200 | UF | 2.2312 | 1.9752 | 2.1032 | 0.065531

## 0131 sum
Replicate Analysis within a Sample Bottle
[5 empty] | buff | acid | All Samples (B&A) |  | AllSamples <0.2nmol: |  |  | AllSamples >2.0nmol: |  |  |  |  | Rep Btw bottles: UFAmw&UFA, UFAmw dups
|  |  | FB : | FA | (FB&UFB) | (A&Amw) |  |  |  | F | UF |  |  | UFB samples: |  | UFA&UFAmw |  |  |  | UFAmw&UFA | UFAmw dups | ->w/o >2nMsmp
Pooled Variance (sp): |  |  | 0.016864 | 0.011136 | 0.018342 | 0.034595 | 0.023541 |  | 0.0068762 | 0.0090855 | 0.0013166 | 0.003696 |  | 0.019605 |  | 0.041169 |  | 0.09322 |  | 0.049577 | 0.10866 | 0.060903
Detection Limit: | [8 empty] | 0.020629
Average Fe: |  |  | 0.33903 | 0.36286 | 0.40402 | 0.83583 | 0.51331 |  | 0.088982 | 0.081984 | 0.098021 | 2.2539 |  | 0.46386 |  | 1.0554 |  | 1.3285 |  | 1.2377 | 1.374 | 0.97884
Sum d^2: |  |  | 0.03299 | 0.0032244 | 0.081419 | 0.098139 | 0.17956 |  | 0.005201 | 0.0051178 | 8.32e-05 | 5.4641e-05 |  | 0.048429 |  | 0.094915 |  | 0.2607 |  | 0.024578 | 0.23612 | 0.066765
Rsp% |  |  | 4.9743 | 3.069 | 4.54 | 4.139 | 4.5862 |  | 7.7276 | 11.0821 | 0.0054857 | 0.16398 |  | 4.2265 |  | 3.9007 |  | 7.0167 |  | 4.0056 | 7.9081 | 6.2219
n: |  |  | 58 | 13 | 121 | 41 | 162 |  | 55 | 31 | 24 | 2 |  | 63 |  | 28 |  | 15 |  | 5 | 10 | 9
Cruise | Stn | Depth | Rep | 0.22u | ABS(Diff) | ^2 | 0.22u | ABS(Diff) | ^2 | 0.22u | ABS(Diff) | ^2 | UF | ABS(Diff) | ^2 | UF | Avg |  | ABS(Diff) | ^2 | UF | ABS(Diff) | ^2
|  |  |  | B |  |  | M |  |  | A |  |  | B |  |  | M |  |  |  |  | A
2000-30 | ED 01 | 10 | UF M1 |  |  |  | 0.36679 | [8 empty] | 0.45591 | 0.47295 | 0.0011605 | 0.080704 | 0.0065131 | [5 empty] | 0.45591 | 0.48998 | 10
|  | 10 | UF M2 | [12 empty] | 0.48998 |  |  | 0.012436 | 0.00015465 | [5 empty] | 1.81 | 1.696 | 25
|  | 25 | UF M1 |  |  |  | 0.37522 | 0.0028416 | 8.0747e-06 | [6 empty] | 1.81 | 1.753 | 0.012988 | 0.1017 | 0.010343 | [5 empty] | 0.99697 | 1.0585 | 50
|  | 25 | UF M2 | [12 empty] | 1.696 |  |  | 0.033861 | 0.0011466 | [5 empty] | 0.3315 | 0.31434 | 75
|  | 50 | UF M1 |  |  |  | 0.26897 | 0.029927 | 0.0008956 | [6 empty] | 0.99697 | 1.0277 | 0.0037859 | 0.05504 | 0.0030293 | [5 empty] | 0.36699 | 0.35532 | 100
|  | 50 | UF M2 | [12 empty] | 1.0585 |  |  | 0.086769 | 0.0075289 | [5 empty] | 1.0289 | 1.22 | 150
|  | 75 | UF M1 |  |  |  | 0.29337 | 0.0017122 | 2.9317e-06 | [6 empty] | 0.3315 | 0.32292 | 0.00029445 | 0.029739 | 0.00088443 | [5 empty] | 1.195 | 1.2745 | 200
|  | 75 | UF M2 | [12 empty] | 0.31434 |  |  | 0.011652 | 0.00013577 | [5 empty] | 4.7244 | 5.136 | 300
|  | 100 | UF M1 |  |  |  | 0.42529 | 0.0011786 | 1.389e-06 | [6 empty] | 0.36699 | 0.36116 | 0.00013628 | 0.0098802 | 9.7618e-05 | [5 empty] | 1.3348 | 1.2711 | 400
|  | 100 | UF M2 | [12 empty] | 0.35532 |  |  | 0.007152 | 5.1151e-05 | [5 empty] | 1.1902 | 1.229 | 600
|  | 150 | UF M1 | [9 empty] | 0.76679 |  |  | 1.0289 | 1.1245 | 0.036517 | 0.02289 | 0.00052394
|  | 150 | UF M2 | [12 empty] | 1.22 |  |  | 0.049148 | 0.0024155
|  | 200 | UF M1 | [9 empty] | 0.84191 | 0.066755 | 0.0044562 | 1.195 | 1.2348 | 0.0063182 | 0.028211 | 0.00079587
|  | 200 | UF M2 | [12 empty] | 1.2745 |  |  | 0.10342 | 0.010695
|  | 300 | UF M1 | [9 empty] | 0.70474 | 0.063738 | 0.0040625 | 4.7244 | 4.9302 | 0.16936
|  | 300 | UF M2 | [12 empty] | 5.136
|  | 400 | UF M1 | [9 empty] | 1.1339 |  |  | 1.3348 | 1.3029 | 0.0040575 | 0.078497 | 0.0061617
|  | 400 | UF M2 | [12 empty] | 1.2711 |  |  | 0.073547 | 0.0054092
|  | 600 | UF M1 | [9 empty] | 1.5511 |  |  | 1.1902 | 1.2096 | 0.0015065 | 0.11478 | 0.013175
|  | 600 | UF M2 | [12 empty] | 1.229 |  |  | 0.10655 | 0.011353
2000-30 | ED 03 | 10 |  | 0.23912 |  |  | 0.23043 | 0.010684 | 0.00011414
|  | 25 |  | 0.096139 | 0.029629 | 0.00087785 | 0.27755 | 0.0038763 | 1.5026e-05
|  | 50 |  |  |  |  | 0.1507 | 0.010211 | 0.00010427
|  | 75 |  | 0.086194 | 0.038504 | 0.0014826 | 0.21196 | 0.0019721 | 3.8893e-06
100
[24 empty] | Average UFA&UFM | (Diff)^2
2000-30 | ED 05 | 10 |  |  |  |  | 0.32686 | 0.020062 | 0.00040249 | [6 empty] | 1.3496 |  |  | 0.07557 | 0.0057108 | 1.2701 | 0.011664 | 0.00013604 | 1.3099 | 0.0063229
|  | 25 |  |  |  |  | 0.17253 | 0.01884 | 0.00035494 | [6 empty] | 0.60397 |  |  | 0.0091686 | 8.4064e-05 | 0.62688 | 0.040302 | 0.0016242 | 0.61543 | 0.00052488
|  | 50 |  |  |  |  | 0.35066 | 0.0044524 | 1.9824e-05 | [6 empty] | 1.1715 |  |  | 0.036641 | 0.0013425 | 1.3018 |  |  | 1.2367 | 0.016978
|  | 75 |  |  |  |  | 1.0152 | 0.036081 | 0.0013018 | [6 empty] | 0.76345 |  |  | 0.018193 | 0.00033098 | 0.78174 | 0.0022876 | 5.2331e-06 | 0.7726 | 0.00033446
|  | 100 |  |  |  |  | 0.61837 | 0.00019997 | 3.9988e-08 |  |  |  | 0.58814 | 0.033989 | 0.0011553 | 0.85783 |  |  | 0.072192 | 0.0052116
|  | 150 | [10 empty] | 1.8321 |  |  | 2.2437 |  |  |  | 1.1525e-06 | 2.2641 |  | 5.3488e-05 | 2.2539 | 0.00041856
2001-31 | H00A | 10 | F B |  |  |  | 0.24279 | [5 empty] | 0.31376 | 0.0059402 | 3.5286e-05
| H00A? | 10 | F B | 0.12571 | 0.025326 | 0.00064138
| H00A | 10 | UF B | [9 empty] | 0.17332 | 0.001345 | 1.8091e-06
| H00B | 10 | F B | 0.30709 | 0.011042 | 0.00012194 | [6 empty] | 0.59524 | 0.046093 | 0.0021245
| H00C | 10 | F B | 0.10736 | 0.0044374 | 1.9691e-05 | [6 empty] | 0.15294 | 0.00067554 | 4.5636e-07
| H00D | 10 | F B | 0.12942 | 0.029281 | 0.00085735 | opti test
| H00D | 10 | F B | 0.062475 | 0.0051289 | 2.6305e-05 | [6 empty] | 0.12237 | 0.0017955 | 3.2238e-06
| H00E | 10 | F B | 0.059246 | 0.0039761 | 1.581e-05 | [6 empty] | 0.10018 | 0.012036 | 0.00014487
diff/2
| H00F | 10 | F B | 0.062865 | 0.00026879 | 7.225e-08 | [6 empty] | 0.07849 | 0.0047418 | 2.2485e-05 | 0.0023709
| H00F | 25 | F B | 0.023241 | 0.003868 | 1.4961e-05 | [6 empty] | 0.079734 | 0.018222 | 0.00033203 | 0.0091108
| H00F | 40 | F B | 0.034238 | 0.00036307 | 1.3182e-07 | [6 empty] | 0.099114 | 0.0086212 | 7.4324e-05 | 0.0043106
| H00F | 75 | F B | 0.22295 | 0.021841 | 0.00047705 | [6 empty] | 0.35752 | 0.047001 | 0.0022091 | 0.0235
| H00F | 100 | F B | 0.4833 | 0.0063208 | 3.9952e-05 | [6 empty] | 0.72922 | 0.052269 | 0.0027321 | 0.026135
| H00F | 150 | F B | 0.54806 | 0.056343 | 0.0031746 | [6 empty] | 0.78042 | 0.011379 | 0.00012947 | 0.0056893
| H00F | 200 | F B | 0.33449 | 0.015708 | 0.00024673 | [6 empty] | 0.43561 | 0.0046802 | 2.1904e-05 | 0.0023401
| H00F | 300 | F B | 0.64981 | 0.013893 | 0.00019301 | [6 empty] | 0.87738 | 0.024133 | 0.00058238 | 0.012066
| H00F | 400 | F B | 0.4262 | 0.0076814 | 5.9004e-05 | [6 empty] | 0.60792
| H00F | 600 | F B | 0.65255 | 0.062276 | 0.0038784 | [6 empty] | 0.72173 | 0.024001 | 0.00057603 | 0.012
| H00F | 800 | F B | 0.633 | 0.052378 | 0.0027435 | [6 empty] | 0.83148 | 0.025078 | 0.00062891 | 0.012539
| H00F | 1000 | F B | 0.70833 | 0.0070716 | 5.0008e-05 | [6 empty] | 0.90858 | 0.013648 | 0.00018626 | 0.0068238
| H00H | 10 | F B | 0.066827 | 0.0012178 | 1.4831e-06 | [6 empty] | 0.10683 | 0.0075217 | 5.6576e-05 |  |  |  |  | assumed to be UF, not F as written in anal. book
| H00J | 10 | F B | 0.053079 | 0.0024107 | 5.8113e-06 | [6 empty] | 0.091698 | 0.021198 | 0.00044934 |  |  |  |  | "
| H00L | 10 | F B | 0.046244 | 0.0060464 | 3.6559e-05 | [6 empty] | 0.085946 | 0.0057741 | 3.334e-05
| H00L | 25 | F B | 0.047847 | 0.0022775 | 5.1868e-06 | [6 empty] | 0.092455 | 0.0062536 | 3.9108e-05
| H00L | 25 | check on std source | 0.08589 | 0.012439 | 0.00015473
| H00L | 25 | new carboy -> carboy contaminated? | 0.3564 | 0.010652
| H00L | 40 | F B | 0.10056 | 0.0083537 | 6.9784e-05 | [6 empty] | 0.13809 | 0.0071625 | 5.1301e-05
| H00L | 75 | F B | 0.16802 | 0.00014943 | 2.233e-08 | [6 empty] | 0.25324 | 0.0033435 | 1.1179e-05
| H00L | 100 | F B | 0.28073 | 0.008433 | 7.1116e-05 | [6 empty] | 0.409 | 0.034634 | 0.0011995
| H00L | 150 | F B | 0.58797 | 0.070531 | 0.0049746 | [6 empty] | 0.91519 | 0.016067 | 0.00025815
| H00L | 150 | F B
| H00L | 200 | F B | 0.40497 | 0.00015528 | 2.4113e-08 | [6 empty] | 0.64773 | 0.012295 | 0.00015117
| H00L | 300 | F B | 0.5646 | 0.021059 | 0.00044347 | [6 empty] | 0.81892 | 0.037578 | 0.0014121
| H00L | 400 | F B | 0.67384 | 0.014138 | 0.00019989 | [6 empty] | 0.82806 | 0.005405 | 2.9214e-05
| H00L | 600 | F B | 0.85033 | 0.0019069 | 3.6362e-06 | [6 empty] | 1.0935 | 0.01876 | 0.00035193
| H00L | 800 | F B | 0.90994 | 0.00027781 | 7.7178e-08 | [6 empty] | 1.1682 | 0.012751 | 0.00016258
| H00L | 1000 | F B | 0.91442 | 0.0001907 | 3.6367e-08 | [6 empty] | 1.2751 | 0.10299 | 0.010607
| H00M | 10 | F B | 0.059561 | 0.00050208 | 2.5209e-07 | [6 empty] | 0.093696 | 5.3717e-05 | 2.8856e-09
| HRef | 10 | F B | 0.07422 | 0.0002482 | 6.1604e-08 | [6 empty] | 0.074722 | 0.0021178 | 4.4853e-06
| HRef | 25 | F B | 0.033826 | 0.0039306 | 1.545e-05 | [6 empty] | 0.034276 | 0.0033538 | 1.1248e-05
| HRef | 40 | F B | 0.041945 | 0.00051234 | 2.6249e-07 | [6 empty] | 0.034655 | 0.0021726 | 4.7201e-06
| HRef | 75 | F B | 0.046041 | 0.00066857 | 4.4698e-07 | [6 empty] | 0.052014 | 0.0073723 | 5.4351e-05
| HRef | 100 | F B | 0.051478 | 0.002768 | 7.6617e-06 | [6 empty] | 0.065999 | 0.0028813 | 8.3018e-06
| HRef | 150 | F B | 0.17589 | 0.022218 | 0.00049365 | [6 empty] | 0.2325 | 0.00014959 | 2.2377e-08
| HRef | 150 | UF B | [9 empty] | 0.3006 | 0.029634 | 0.00087818 |  |  |  |  | rpt
| HRef | 200 | F B | 0.31633 | 0.0092293 | 8.518e-05 | [6 empty] | 0.36619 | 0.0055114 | 3.0375e-05
| HRef | 300 | F B | 0.39661 | 0.011028 | 0.00012162 | [6 empty] | 0.40917 | 0.0055675 | 3.0997e-05
| HRef | 400 | F B | 0.27823 | 0.0043399 | 1.8835e-05 | [6 empty] | 0.36679 | 0.020297 | 0.00041198
| HRef | 600 | F B | 0.73477 | 0.004722 | 2.2297e-05 | [6 empty] | 0.8883 | 0.066873 | 0.004472
| HRef | 800 | F B | 0.62656 | 0.022138 | 0.00049008 | [6 empty] | 0.6943 | 0.012526 | 0.00015689
| HRef | 1000 | F B | 0.66938 | 0.035114 | 0.001233 | [6 empty] | 0.74927 | 0.034354 | 0.0011802
| H01 C | 10 | F B | 0.063921 | [8 empty] | 0.090863 | 0.011983 | 0.00014359
| H01 C | 10 | UF B | [9 empty] | 0.11488 | 0.011506 | 0.00013238 |  |  |  |  | rpt
| H01 C | 25 | F B | 0.058594 | 0.0030748 | 9.4545e-06 | [6 empty] | 0.08114 | 0.0089525 | 8.0148e-05
| H01 C | 40 | F B | 0.058776 | 0.0026909 | 7.2411e-06 | [6 empty] | 0.088532 | 0.0052463 | 2.7523e-05
| H01 C | 75 | F B | 0.14234 | 0.0057455 | 3.3011e-05 | [6 empty] | 0.19908 | 0.017698 | 0.00031322
| H01 C | 100 | F B | 0.31946 | 0.020034 | 0.00040137 | [6 empty] | 0.59481 | 0.014653 | 0.00021472
| H01 C | 200 | F B | 0.68426 | 0.065845 | 0.0043356 | [6 empty] | 1.1364 | 0.016338 | 0.00026692
| H01 C | 400 | F B | 0.83685 | 0.015275 | 0.00023333 | [6 empty] | NA
| H01 C | 600 | F B | 0.89869 | 0.019202 | 0.00036873 | [6 empty] | 1.3869 | 0.066603 | 0.0044359
| H01 B | 10 | F B | 0.085298 | 0.0025989 | 6.7542e-06 | [6 empty] | 0.21303 | 0.010299 | 0.00010607
| H01 B | 40 | F B | 0.05691 | 0.0054223 | 2.9401e-05 | [6 empty] | 0.10149 | 0.0028223 | 7.9653e-06
| H01 B | 75 | F B | 0.21575 | 0.0096978 | 9.4048e-05 | [6 empty] | 0.40634 | 0.0070914 | 5.0288e-05
| H01 B | 100 | F B | 0.17309 | 0.0099798 | 9.9596e-05 | [6 empty] | 0.22878 | 0.0032321 | 1.0446e-05
| H01 B | 200 | F B | 0.59435 | 0.026474 | 0.00070088 | [6 empty] | 0.96825 | 0.033226 | 0.001104
| H01 B | 400 | F B | 0.79455 | 0.076227 | 0.0058106 | [6 empty] | 1.2262 | 0.00097206 | 9.4491e-07
|  | Date | Load Time | Fe |  | (dif)^2 | %RSD |  | n | Comments
DRS |  | 18S | 240s | 0.47673 | 0.0097892 | 9.5828e-05 |  |  | 2
|  | 19S | 240s | 0.68727 |  |  |  |  | 1
|  | 20S | 240s | 0.58618 |  |  |  | 0.39935 | 1
|  | 24S | 240s | 0.43504 | 0.032031 | 0.001026 |  |  | 2
|  | 28S | 240s | 0.39412 | 0.0022404 | 5.0194e-06 |  |  | 2
|  |  | 240s | 0.49091 |  |  |  |  | 1
|  | 01O | 240s | 0.56642 |  |  |  |  | 1
Note on F91: IOS: n=4