## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 28-May-2010 | An error was found in the calibration parameters used in processing this cruise. It is estimated that pressure is low by <0.5db, so no correction was applied. For details see file “Report on Calibration Errors for Pressure Sensor #77511, CTD 0585 “ in Osd_Date_Archive\Cruise_Data\DOCUMENTS |

PROCESSING NOTES

Cruise: 2001-32

Agency: OSAP

Location: Strait of Georgia / Juan de Fuca

Project: SoG/JdeF

Party Chief: Diane Masson

Platform: CCGS VECTOR

Date: September 17, 2001 – September 22, 2001

Processed by: Germaine Gatien

Date of Processing: 15 October 2001 – 22 October 2001

Number of original CTD casts: 77

Number of casts processed: 77

INSTRUMENT SUMMARY

A SeaBird Model SBE 911+ CTD (#0585) was mounted with Transmissometer 136, Par Sensor #4601 and Seapoint Fluorometer #2350. The deck unit was #0508.

SUMMARY OF QUALITY AND CONCERNS

The data was in good order.

PROCESSING SUMMARY

1. Seasave - This step was completed at sea; the raw data files have extension DAT.

2. Preliminary Steps

The Log Book was obtained.

Salinity calibration data was obtained. The cruise summary sheet was completed.

The configuration files were obtained and the calibration constants were checked. There were errors in the identification of sensors and the calibration constants used. A new file was prepared with the correct calibrations and was named 2132CTD.con.

The sensor history was found.

- Conversion of Raw Data

Converting one file using the con file created at sea confirmed that there was a problem with the secondary conductivity calibration leading to salinity values far different from the primary values.

The raw data was converted using the new configuration file 2132CTD.con.

A preliminary check shows all expected channels present.

Dark values were checked for the fluorometer and are generally about 0.06g/l below 300db. These values are consistent with the use of the 10X cable as recorded in the CTD log and the configuration file. The observed maxima are reasonable when 10X is used.

The temperature and salinity traces track reasonably well and up and downcasts are similar. The secondary salinity shows fine-scale noise (on the order of 0.005units) as was noted in other cruises using these sensors. This is due to noise in the secondary conductivity channel.

4. STRIP

The salinity channel was stripped from the CNV files so that DERIVE doesn’t create a 2nd set of salinity channels. The bottle number channel was stripped from the CNV files.

5. ALIGNCTD

The deck unit is one of the newer versions which advance both the primary and secondary conductivity channels by 0.073s. Tests of alignment were made on casts #4 and 39. The choice of –0.018s or –0.023s each seemed to improve the results.  Since –0.018s was used for 2000-28 and 2000-30 the same values were selected for this data set. The net advancement is +0.055s.

5. WILDEDIT

Program WILDEDIT was used to remove spikes in all channels except scan number.  Parameters used were:   Pass 1    Std Dev = 2

Pass 2    Std Dev = 5

Points per block = 50

6. CELLTM

Tests were run on casts #1 to determine the optimal parameter choice for this routine. The conductivity cell thermal mass correction was done for both channels using alpha = 0.02; 1/beta = 9.0.

7. DERIVE

Program DERIVE was run twice:

- on all casts to calculate primary and secondary salinity.

- on all casts to calculate the differences between primary and secondary channels for temperature, conductivity and salinity and to calculate the descent rate. These were placed in a test directory and will not be archived.

8. Test Plots and Channel Check

A sample of casts was plotted to check for agreement between the pairs of T and C sensors. All expected channels were present.

The differences in conductivity and salinity were extremely noisy and the values that follow are very rough averages:

| Cast # | Max. Press | T1-T0 | C1-C0 | S1-S0 | Descent Rate |
| --- | --- | --- | --- | --- | --- |
| 39 | 318 | -0.0007 | +0.00025 | +0.003 | Quiet, high |
| 51 | 343 | -0.0005 | +0.00025 | +0.003 | Quiet, high |
| 71 | 423 | -0.0005 | +0.0001 | +0.003 | Noisy but high |

All casts were plotted on-screen to check for problems with processing. Reasonable agreement was found between up and down casts and between pairs of sensors, except for cast #59 for which the secondary salinity is bad for much of the upcast. The log notes that the CTD touched a muddy bottom.

9.  Conversion to IOS Headers

The IOSSHELL routine was used to convert SEA-Bird 911+ data to IOS Headers.

The ROS files were converted to IOS files, and the extensions were changed to BOT.

10. Checking Headers

A header summary and header check were produced. One header error was found and corrected.

The average surface pressure is 3.7db, which is higher than expected. Further investigation of pressure calibrations led to the discovery of an error in the values on file and thus those entered in the CON file. The CON file was fixed and steps 3,4,5,6,7, and 9 were rerun. When the surface check was rerun the average value was 2.7db which is more believable.

The cruise track was plotted and looks reasonable.

- DELETE

- CLEAN was run to replace pad values in pressure with interpolated values.

- The following DELETE parameters were used:

- Surface Record Removal: Last Press Min

- Maximum Surface Pressure (relative): 10.00

- Pressure Tolerance: 1.0

- Pressure filtered over 15 points

- Swells deleted. Warning message if pressure difference of 2.00

- Drop rates < 0.3m/s (calculated over 15 points) was deleted.

- Sample interval =  .04 seconds.

- COMMENTS ON WARNINGS: There were no warnings. A comparison of maximum depths before and after DELETE led to investigation of casts #34 and 62; the data lost was near the bottom where the descent rate was very low. Since the data at the bottom looks useful and the descent rate above that level shows no minima of concern, it was decided to rerun DELETE for those two casts only using a minimum descent speed of 0.05m/s. This recovered what might be useful data while removing a few bad points.

- All DEL files were copied to EDT files.

- 12. COMPARE

- The BOT files were examined for errors and no bad data found.

- COMPARE was run. There is a lot of noise in the comparison as is expected in an area of such great variability. There is some indication of depth-dependence, but since the deepest samples are at 350db this is not indicative of a problem with the CTD. The averages of the differences in the fit were –0.019 and   –0.017units for the primary and secondary salinity respectively, so both the CTD salinity channels are reading low.

- There was one anomalously high bottle salinity value in file 21320043.sal (depth 374m).

- DETAILED EDITING

The primary sensors were chosen for further processing because the secondary conductivity is noisy.

Page plots were produced using T0,S0. These plots were examined for spikes and instabilities and used to guide the use of CTDEDIT.

The following casts were edited at the surface or bottom only: 11,18,23,46,74.

The following casts were edited more extensively: 5-9,19,48,51,62,70,71,75.

The descent rate was noisy for some of the casts in Juan de Fuca Strait but was quite steady elsewhere. For some of the “noisy” casts the average descent rate was high which greatly reduced the problems with shed wakes. See plots of casts #5 and #8 in the processing notes section of the report for an illustration of the advantage of keeping the average descent rate high.

Records that were obviously corrupted by shed wakes were removed but in this region it is often unclear which unstable features are due to shed wakes and which are natural features. Where there was doubt records were left unedited.

Note was made of the editing details in the relevant files.

The edited files were copied to EDT files so that a complete set of files exists with either edited data or data that does not require editing.

14. SPECIAL FLUOROMETER PROCESSING (FILTER AND BIN AVERAGE)

A median filter with fixed size 11 was applied to the SeaPoint fluorometer channel to reduce spikiness. Cast #71 was examined before and after this step and showed that the filter was effective.

BIN AVERAGE with an average interval of 0.25m was applied to the output of the filter. The ¼m-averaged files were stored in a separate directory for the use of Angelica Peña.

15. BIN AVERAGE

The following Bin Average values were applied to the BOX files for general use:

Bin channel = pressure

Averaging interval = 1.000

Minimum bin value =   .000

Average value will be used

Interpolated values are NOT used for empty bins

The same values were used for the BOT files except that the Bin Channel = Bottle Number.

After averaging, page plots were examined on screen to check whether further editing was needed.

15. Other comparisons

Previous experience with these sensors – Both pairs of sensors were used during 2000-07,2000-06,2000-30 and 2000-28 in April, May, September and October of 2000 respectively. The primary sensors were selected for archiving in all cases since the secondary conductivity was full of fine-scale noise. The CTD salinity values were lower than bottles with differences varying from –0.009 to –0.021units for the primary and –0.004 to –0.017units for the secondary. The largest differences occurred for the most recent cruise.

Historic ranges – A few casts were plotted with the historic ranges superimposed. All values fell within those ranges except that salinity was slightly high at about 40db for cast #8. (See plots in Processing Section of Report.)

- Recalibration

File 2132rcal.ccf was used to recalibrate the AVG files (including those in the IOS directory, the HYDRO directory and the FLUOR directory) as follows:

- primary salinity –  offset: +0.019units

- secondary salinity –  offset: +0.017units

- Chl_fluorescence -  offset: -0.06g/l

The SAM files were recalibrated and named SAC and COMPARE was rerun on the recalibrated data. The results show that the average differences are –0.0002 and +0.0002units for the primary and secondary salinity respectively.

17. Final Plots

THIN and DERIVE were run to obtain values for tables and page plots were prepared using the edited data

18. REMOVE and REORDER

The following channels were removed from all CTD casts: Scan_Number, Secondary Temperature, Secondary Salinity, Conductivity:Primary, Conductivity:Secondary and Flag.

The channels were reordered and data format corrected as needed.

The channels for the rosette files were also reordered but only Conductivity:Primary, Conductivity:Secondary and Flag channels were removed.

19. Producing final files

a.) The final files were renamed CTD.

b.) A cross-reference listing was produced.

### Particulars

10. CTD ht bottom

46,477,48. CTD hit muddy bottom

49. CTD hit bottom

59. CTD gently placed on muddy bottom. Upcast data bad.

71. CTD touched bottom

# Institute of Ocean Sciences

CRUISE SUMMARY

Cruise ID#: 2001- 32

Dates: Start: 17 September 2001 End: 22 September 2001

Location: Strait of Georgia / Juan de Fuca Strait

Vessel: CCGS VECTOR

Party Chief: Diane Masson

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 911+ | 0585 | Yes | Yes |

Institute of Ocean Sciences

# CTD Calibration Information

Make/Model/Serial#:	SEABIRD/911+/	0585

Cruise ID#:		2001-32

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 2663 | 07/03/00 | Factory |  |  |
| Conductivity | 2399 | 03/03/00 | “ |  |  |
| Secondary Temp. | 2371 | 16/06/99 | “ |  |  |
| Secondary Cond. | 2424 | 03/03/00 | “ |  |  |
| Fluorometer -pumped | 2350 | 07/01 | IOS |  |  |
| Transmissometer | 136 | 13/09/01 | IOS |  |  |
| Pressure Sensor | 77511 | 13/03/00 | Factory |  |  |