## File List
Number of Files= |  | 13
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 21320001.sal | 21320001.sac | 12 | 15 | 21320001.sal & 21320001.sac
2 | 21320006.sal | 21320006.sac | 17 | 18 | 21320006.sal & 21320006.sac
3 | 21320009.sal | 21320009.sac | 20 | 21 | 21320009.sal & 21320009.sac
4 | 21320015.sal | 21320015.sac | 23 | 24 | 21320015.sal & 21320015.sac
5 | 21320039.sal | 21320039.sac | 26 | 29 | 21320039.sal & 21320039.sac
6 | 21320043.sal | 21320043.sac | 31 | 34 | 21320043.sal & 21320043.sac
7 | 21320046.sal | 21320046.sac | 36 | 38 | 21320046.sal & 21320046.sac
8 | 21320049.sal | 21320049.sac | 40 | 42 | 21320049.sal & 21320049.sac
9 | 21320051.sal | 21320051.sac | 44 | 47 | 21320051.sal & 21320051.sac
10 | 21320054.sal | 21320054.sac | 49 | 50 | 21320054.sal & 21320054.sac
11 | 21320060.sal | 21320060.sac | 52 | 56 | 21320060.sal & 21320060.sac
12 | 21320062.sal | 21320062.sac | 58 | 61 | 21320062.sal & 21320062.sac
13 | 21320064.sal | 21320064.sac | 63 | 65 | 21320064.sal & 21320064.sac

## (sal0 - sal_bot)
Calculation of Linear Least Squares Fit For
(sal0 - sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (sal0 - sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.040841 |  | X | CALC Y
m= | 1.1939e-05 | 9.6432e-06 |  | Std Dev of Resid |  | 0.0039376 |  | 100.943 | -0.0019644
b= | -0.0031696 | 0.0024592 |  | Resid Sum of Squares |  | 0.00055816 |  | 350.503 | 0.0010152
# of Values Extracted = |  |  | 42
# of Values Used in Fit = |  |  | 38
File | Use | Pressure | sal0 | sal0 | Diff (sal0 - sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 172.112 | 31.2595 | 0.00018512 | -0.0014401 | -0.0011147 | 0.00032535 |  | 172.112 | -0.0014401
1 | NO | 49.796 | 30.3082 | 0.0052137 | -0.033836 | -0.0025751 | 0.031261 |  | 248.863 | -0.00010681
1 | NO | 20.0801 | 29.5337 | 0.031161 | 0.15712 | -0.0029299 | -0.16005 |  | 248.863 | -0.00050736
1 | NO | 1.4556 | 28.2807 | 0.0012524 | -0.41725 | -0.0031522 | 0.4141 |  | 216.437 | -0.0013924
2 | YES | 248.863 | 33.9529 | 0.00025497 | -0.00010681 | -0.00019835 | -9.1538e-05 |  | 199.044 | -9.9182e-05
2 | YES | 248.863 | 33.9529 | 0.00025497 | -0.00050736 | -0.00019835 | 0.000309 |  | 171.969 | -0.00083923
3 | YES | 216.437 | 33.9261 | 0.00020357 | -0.0013924 | -0.00058549 | 0.00080687 |  | 149.599 | -0.00055313
3 | YES | 199.044 | 33.9258 | 0 | -9.9182e-05 | -0.00079315 | -0.00069397 |  | 318.442 | 0.0040588
4 | YES | 171.969 | 33.8951 | 0.00016624 | -0.00083923 | -0.0011164 | -0.00027718 |  | 300.972 | -0.0015373
4 | YES | 149.599 | 33.8943 | 0.00022822 | -0.00055313 | -0.0013835 | -0.00083036 |  | 250.946 | -0.00033188
5 | YES | 318.442 | 31.2303 | 0.00038385 | 0.0040588 | 0.00063238 | -0.0034265 |  | 200.703 | 0.0014725
5 | YES | 300.972 | 31.2182 | 0.00025114 | -0.0015373 | 0.0004238 | 0.0019611 |  | 349.977 | -0.00012207
5 | YES | 250.946 | 31.1518 | 0.0014232 | -0.00033188 | -0.00017348 | 0.0001584 |  | 300.106 | -0.005024
5 | YES | 200.703 | 31.0811 | 0.00095349 | 0.0014725 | -0.00077335 | -0.0022458 |  | 249.794 | 0.0015011
6 | NO | 374.172 | 31.3575 | 0.00050027 | 0.026398 | 0.0012978 | -0.0251 |  | 348.313 | 0.0032291
6 | YES | 349.977 | 31.3096 | 0.00029606 | -0.00012207 | 0.0010089 | 0.001131 |  | 300.783 | -0.0015469
6 | YES | 300.106 | 31.2215 | 0.0026953 | -0.005024 | 0.00041346 | 0.0054374 |  | 250.448 | 0.0085487
6 | YES | 249.794 | 31.1566 | 0.0014368 | 0.0015011 | -0.00018723 | -0.0016883 |  | 275.497 | -0.011395
7 | YES | 348.313 | 31.3414 | 0.00052451 | 0.0032291 | 0.00098901 | -0.0022401 |  | 249.519 | -0.0056973
7 | YES | 300.783 | 31.255 | 0.00035608 | -0.0015469 | 0.00042154 | 0.0019684 |  | 200.092 | -0.0046635
7 | YES | 250.448 | 31.1948 | 0.00036241 | 0.0085487 | -0.00017943 | -0.0087282 |  | 342.952 | 0.0057278
8 | YES | 275.497 | 31.1505 | 0.0018962 | -0.011395 | 0.00011964 | 0.011514 |  | 300.238 | -0.0020428
8 | YES | 249.519 | 31.0922 | 0.0002438 | -0.0056973 | -0.00019052 | 0.0055067 |  | 250.409 | -0.00072861
8 | YES | 200.092 | 31.0021 | 0.00032769 | -0.0046635 | -0.00078064 | 0.0038828 |  | 200.371 | 0.00073242
9 | YES | 342.952 | 31.1811 | 0.00020034 | 0.0057278 | 0.00092501 | -0.0048028 |  | 188.837 | 0.0049229
9 | YES | 300.238 | 31.1296 | 0.0039943 | -0.0020428 | 0.00041503 | 0.0024578 |  | 175.252 | -0.012899
9 | YES | 250.409 | 31.0536 | 0.00061271 | -0.00072861 | -0.00017989 | 0.00054871 |  | 350.503 | 0.0021076
9 | YES | 200.371 | 30.9877 | 0.00022117 | 0.00073242 | -0.00077731 | -0.0015097 |  | 350.503 | 0.00010681
10 | YES | 188.837 | 31.0336 | 0.00022126 | 0.0049229 | -0.00091502 | -0.0058379 |  | 301.207 | 0.0012188
10 | YES | 175.252 | 31.0139 | 0.0021891 | -0.012899 | -0.0010772 | 0.011822 |  | 250.542 | 0.0026417
11 | YES | 350.503 | 30.9184 | 0.00028737 | 0.0021076 | 0.0010152 | -0.0010925 |  | 200.314 | 0.00041962
11 | YES | 350.503 | 30.9184 | 0.00028737 | 0.00010681 | 0.0010152 | 0.00090835 |  | 311.142 | 0.0026684
11 | YES | 301.207 | 30.9221 | 0.00021163 | 0.0012188 | 0.0004266 | -0.0007922 |  | 300.521 | 0.0015736
11 | YES | 250.542 | 30.9098 | 0.00018802 | 0.0026417 | -0.0001783 | -0.00282 |  | 250.617 | 0.0013161
11 | YES | 200.314 | 30.8863 | 0.00024758 | 0.00041962 | -0.00077799 | -0.0011976 |  | 200.175 | 0.00048065
12 | YES | 311.142 | 30.9044 | 0.00021754 | 0.0026684 | 0.00054522 | -0.0021232 |  | 155.913 | 0.00086594
12 | YES | 300.521 | 30.9039 | 0.00020594 | 0.0015736 | 0.00041841 | -0.0011551 |  | 125.104 | 0.00089264
12 | YES | 250.617 | 30.8982 | 0.00055934 | 0.0013161 | -0.00017741 | -0.0014935 |  | 100.943 | -0.0022755
12 | YES | 200.175 | 30.8813 | 0.00052019 | 0.00048065 | -0.00077965 | -0.0012603
13 | YES | 155.913 | 29.9745 | 0.0016065 | 0.00086594 | -0.0013081 | -0.002174 |  |  | -0.00022938
13 | YES | 125.104 | 29.9737 | 0.0015882 | 0.00089264 | -0.0016759 | -0.0025686
13 | YES | 100.943 | 29.9294 | 0.0023673 | -0.0022755 | -0.0019644 | 0.00031106
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (sal1 - sal_bot)
Calculation of Linear Least Squares Fit For
(sal1 - sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (sal1 - sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.021593 |  | X | CALC Y
m= | 9.0159e-06 | 1.0115e-05 |  | Std Dev of Resid |  | 0.0041302 |  | 100.943 | -0.0010671
b= | -0.0019772 | 0.0025795 |  | Resid Sum of Squares |  | 0.0006141 |  | 350.503 | 0.0011829
# of Values Extracted = |  |  | 42
# of Values Used in Fit = |  |  | 38
File | Use | Pressure | sal1 | sal1 | Diff (sal1 - sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 172.112 | 31.2595 | 0.00086049 | -0.0014229 | -0.00042546 | 0.00099742 |  | 172.112 | -0.0014229
1 | NO | 49.796 | 30.2997 | 0.0013434 | -0.042273 | -0.0015282 | 0.040744 |  | 248.863 | 0.0011215
1 | NO | 20.0801 | 29.5615 | 0.054626 | 0.18493 | -0.0017962 | -0.18672 |  | 248.863 | 0.00072098
1 | NO | 1.4556 | 28.2832 | 0.0049361 | -0.41478 | -0.0019641 | 0.41281 |  | 216.437 | -0.00024033
2 | YES | 248.863 | 33.9541 | 0.0014553 | 0.0011215 | 0.00026652 | -0.000855 |  | 199.044 | -9.9182e-05
2 | YES | 248.863 | 33.9541 | 0.0014553 | 0.00072098 | 0.00026652 | -0.00045446 |  | 171.969 | -0.0002594
3 | YES | 216.437 | 33.9273 | 0.0014454 | -0.00024033 | -2.5828e-05 | 0.0002145 |  | 149.599 | -1.5259e-05
3 | YES | 199.044 | 33.9258 | 0 | -9.9182e-05 | -0.00018264 | -8.3459e-05 |  | 318.442 | 0.0046005
4 | YES | 171.969 | 33.8956 | 0.00067734 | -0.0002594 | -0.00042675 | -0.00016735 |  | 300.972 | -0.00075913
4 | YES | 149.599 | 33.8949 | 0.0014211 | -1.5259e-05 | -0.00062843 | -0.00061317 |  | 250.946 | -0.0003624
5 | YES | 318.442 | 31.2308 | 0.0013925 | 0.0046005 | 0.00089384 | -0.0037067 |  | 200.703 | 0.0014992
5 | YES | 300.972 | 31.2189 | 0.0014759 | -0.00075913 | 0.00073633 | 0.0014955 |  | 349.977 | 0.00020981
5 | YES | 250.946 | 31.1517 | 0.0011216 | -0.0003624 | 0.0002853 | 0.0006477 |  | 300.106 | -0.0069599
5 | YES | 200.703 | 31.0811 | 0.001296 | 0.0014992 | -0.00016768 | -0.0016669 |  | 249.794 | 0.001215
6 | NO | 374.172 | 31.3585 | 0.0016735 | 0.027384 | 0.0013963 | -0.025988 |  | 348.313 | 0.0026913
6 | YES | 349.977 | 31.3099 | 0.0011458 | 0.00020981 | 0.0011782 | 0.00096835 |  | 300.783 | -0.00068092
6 | YES | 300.106 | 31.2195 | 0.0016528 | -0.0069599 | 0.00072852 | 0.0076884 |  | 250.448 | 0.0095501
6 | YES | 249.794 | 31.1563 | 0.001282 | 0.001215 | 0.00027492 | -0.00094006 |  | 275.497 | -0.010832
7 | YES | 348.313 | 31.3409 | 0.0024213 | 0.0026913 | 0.0011632 | -0.0015281 |  | 249.519 | -0.0048733
7 | YES | 300.783 | 31.2558 | 0.0010448 | -0.00068092 | 0.00073463 | 0.0014155 |  | 200.092 | -0.0041504
7 | YES | 250.448 | 31.1959 | 0.0013325 | 0.0095501 | 0.00028081 | -0.0092693 |  | 342.952 | 0.0067864
8 | YES | 275.497 | 31.1511 | 0.0013412 | -0.010832 | 0.00050665 | 0.011338 |  | 300.238 | -0.0030575
8 | YES | 249.519 | 31.093 | 0.0013007 | -0.0048733 | 0.00027244 | 0.0051457 |  | 250.409 | -7.0572e-05
8 | YES | 200.092 | 31.0026 | 0.0013225 | -0.0041504 | -0.00017319 | 0.0039772 |  | 200.371 | 0.0017796
9 | YES | 342.952 | 31.1822 | 0.001236 | 0.0067864 | 0.0011148 | -0.0056715 |  | 188.837 | 0.0054893
9 | YES | 300.238 | 31.1285 | 0.0010621 | -0.0030575 | 0.00072971 | 0.0037872 |  | 175.252 | -0.012581
9 | YES | 250.409 | 31.0542 | 0.00091686 | -7.0572e-05 | 0.00028046 | 0.00035103 |  | 350.503 | 0.0027065
9 | YES | 200.371 | 30.9888 | 0.0010029 | 0.0017796 | -0.00017068 | -0.0019502 |  | 350.503 | 0.00070572
10 | YES | 188.837 | 31.0342 | 0.0013104 | 0.0054893 | -0.00027467 | -0.005764 |  | 301.207 | 0.0015888
10 | YES | 175.252 | 31.0142 | 0.0014952 | -0.012581 | -0.00039715 | 0.012184 |  | 250.542 | 0.0030098
11 | YES | 350.503 | 30.919 | 0.0011838 | 0.0027065 | 0.0011829 | -0.0015236 |  | 200.314 | 0.0004425
11 | YES | 350.503 | 30.919 | 0.0011838 | 0.00070572 | 0.0011829 | 0.00047718 |  | 311.142 | 0.0032101
11 | YES | 301.207 | 30.9225 | 0.00097297 | 0.0015888 | 0.00073845 | -0.00085037 |  | 300.521 | 0.002039
11 | YES | 250.542 | 30.9102 | 0.00073727 | 0.0030098 | 0.00028166 | -0.0027281 |  | 250.617 | 0.0018749
11 | YES | 200.314 | 30.8863 | 0.0013621 | 0.0004425 | -0.00017119 | -0.0006137 |  | 200.175 | 0.00048065
12 | YES | 311.142 | 30.9049 | 0.00085111 | 0.0032101 | 0.00082802 | -0.002382 |  | 155.913 | 0.002842
12 | YES | 300.521 | 30.9043 | 0.00053455 | 0.002039 | 0.00073226 | -0.0013067 |  | 125.104 | 0.0013104
12 | YES | 250.617 | 30.8988 | 0.00095364 | 0.0018749 | 0.00028234 | -0.0015926 |  | 100.943 | -0.00027275
12 | YES | 200.175 | 30.8813 | 0.0010587 | 0.00048065 | -0.00017244 | -0.0006531
13 | YES | 155.913 | 29.9764 | 0.0020848 | 0.002842 | -0.00057151 | -0.0034135 |  |  | 0.00024309
13 | YES | 125.104 | 29.9741 | 0.0021096 | 0.0013104 | -0.00084928 | -0.0021596
13 | YES | 100.943 | 29.9314 | 0.0035844 | -0.00027275 | -0.0010671 | -0.00079436
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3
| Primary | Secondary |  | Comparison Name
Ref | pressure | Pressure |  | Pressure - pressure
Comp 1 | sal_bot | sal0 |  | sal0 - sal_bot
Comp 2 | sal_bot | sal1 |  | sal1 - sal_bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | pressure | Pressure | Pressure | (S-P) | sal_bot | sal0 | sal0 | (S-P) | sal_bot | sal1 | sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
21320001.sal | 21320001.sac | 121 | 172 | 172.112 | 0.02565 | 0.11231 | 31.2609 | 31.2595 | 0.00018512 | -0.0014401 | 31.2609 | 31.2595 | 0.00086049 | -0.0014229
21320001.sal | 21320001.sac | 121 | 50 | 49.796 | 0.029149 | -0.20399 | 30.342 | 30.3082 | 0.0052137 | -0.033836 | 30.342 | 30.2997 | 0.0013434 | -0.042273
21320001.sal | 21320001.sac | 121 | 20 | 20.0801 | 0.022782 | 0.080149 | 29.3766 | 29.5337 | 0.031161 | 0.15712 | 29.3766 | 29.5615 | 0.054626 | 0.18493
21320001.sal | 21320001.sac | 121 | 1 | 1.4556 | 0.022729 | 0.45565 | 28.698 | 28.2807 | 0.0012524 | -0.41725 | 28.698 | 28.2832 | 0.0049361 | -0.41478
21320006.sal | 21320006.sac | 67 | 248 | 248.863 | 0.09129 | 0.86255 | 33.953 | 33.9529 | 0.00025497 | -0.00010681 | 33.953 | 33.9541 | 0.0014553 | 0.0011215
21320006.sal | 21320006.sac | 67 | 248 | 248.863 | 0.09129 | 0.86255 | 33.9534 | 33.9529 | 0.00025497 | -0.00050736 | 33.9534 | 33.9541 | 0.0014553 | 0.00072098
21320009.sal | 21320009.sac | 82 | 217 | 216.437 | 0.27752 | -0.56346 | 33.9275 | 33.9261 | 0.00020357 | -0.0013924 | 33.9275 | 33.9273 | 0.0014454 | -0.00024033
21320009.sal | 21320009.sac | 1 | 200 | 199.044 | 0 | -0.95599 | 33.9259 | 33.9258 | 0 | -9.9182e-05 | 33.9259 | 33.9258 | 0 | -9.9182e-05
21320015.sal | 21320015.sac | 24 | 171 | 171.969 | 0.021316 | 0.96909 | 33.8959 | 33.8951 | 0.00016624 | -0.00083923 | 33.8959 | 33.8956 | 0.00067734 | -0.0002594
21320015.sal | 21320015.sac | 108 | 150 | 149.599 | 0.27261 | -0.40111 | 33.8949 | 33.8943 | 0.00022822 | -0.00055313 | 33.8949 | 33.8949 | 0.0014211 | -1.5259e-05
21320039.sal | 21320039.sac | 121 | 318 | 318.442 | 0.045542 | 0.44168 | 31.2262 | 31.2303 | 0.00038385 | 0.0040588 | 31.2262 | 31.2308 | 0.0013925 | 0.0046005
21320039.sal | 21320039.sac | 58 | 300 | 300.972 | 0.015694 | 0.97171 | 31.2197 | 31.2182 | 0.00025114 | -0.0015373 | 31.2197 | 31.2189 | 0.0014759 | -0.00075913
21320039.sal | 21320039.sac | 106 | 250 | 250.946 | 0.030992 | 0.94618 | 31.1521 | 31.1518 | 0.0014232 | -0.00033188 | 31.1521 | 31.1517 | 0.0011216 | -0.0003624
21320039.sal | 21320039.sac | 121 | 200 | 200.703 | 0.038453 | 0.70297 | 31.0796 | 31.0811 | 0.00095349 | 0.0014725 | 31.0796 | 31.0811 | 0.001296 | 0.0014992
21320043.sal | 21320043.sac | 121 | 374 | 374.172 | 0.068956 | 0.17248 | 31.3311 | 31.3575 | 0.00050027 | 0.026398 | 31.3311 | 31.3585 | 0.0016735 | 0.027384
21320043.sal | 21320043.sac | 121 | 350 | 349.977 | 0.038789 | -0.023285 | 31.3097 | 31.3096 | 0.00029606 | -0.00012207 | 31.3097 | 31.3099 | 0.0011458 | 0.00020981
21320043.sal | 21320043.sac | 121 | 300 | 300.106 | 0.086757 | 0.10629 | 31.2265 | 31.2215 | 0.0026953 | -0.005024 | 31.2265 | 31.2195 | 0.0016528 | -0.0069599
21320043.sal | 21320043.sac | 121 | 250 | 249.794 | 0.0385 | -0.20621 | 31.1551 | 31.1566 | 0.0014368 | 0.0015011 | 31.1551 | 31.1563 | 0.001282 | 0.001215
21320046.sal | 21320046.sac | 121 | 348 | 348.313 | 0.042871 | 0.31323 | 31.3382 | 31.3414 | 0.00052451 | 0.0032291 | 31.3382 | 31.3409 | 0.0024213 | 0.0026913
21320046.sal | 21320046.sac | 121 | 300 | 300.783 | 0.051072 | 0.78268 | 31.2565 | 31.255 | 0.00035608 | -0.0015469 | 31.2565 | 31.2558 | 0.0010448 | -0.00068092
21320046.sal | 21320046.sac | 121 | 250 | 250.448 | 0.042196 | 0.44844 | 31.1863 | 31.1948 | 0.00036241 | 0.0085487 | 31.1863 | 31.1959 | 0.0013325 | 0.0095501
21320049.sal | 21320049.sac | 121 | 275 | 275.497 | 0.031336 | 0.49683 | 31.1619 | 31.1505 | 0.0018962 | -0.011395 | 31.1619 | 31.1511 | 0.0013412 | -0.010832
21320049.sal | 21320049.sac | 121 | 250 | 249.519 | 0.029867 | -0.4807 | 31.0979 | 31.0922 | 0.0002438 | -0.0056973 | 31.0979 | 31.093 | 0.0013007 | -0.0048733
21320049.sal | 21320049.sac | 121 | 200 | 200.092 | 0.038881 | 0.092423 | 31.0068 | 31.0021 | 0.00032769 | -0.0046635 | 31.0068 | 31.0026 | 0.0013225 | -0.0041504
21320051.sal | 21320051.sac | 121 | 343 | 342.952 | 0.026879 | -0.048004 | 31.1754 | 31.1811 | 0.00020034 | 0.0057278 | 31.1754 | 31.1822 | 0.001236 | 0.0067864
21320051.sal | 21320051.sac | 121 | 300 | 300.238 | 0.030943 | 0.23761 | 31.1316 | 31.1296 | 0.0039943 | -0.0020428 | 31.1316 | 31.1285 | 0.0010621 | -0.0030575
21320051.sal | 21320051.sac | 121 | 250 | 250.409 | 0.033486 | 0.40872 | 31.0543 | 31.0536 | 0.00061271 | -0.00072861 | 31.0543 | 31.0542 | 0.00091686 | -7.0572e-05
21320051.sal | 21320051.sac | 121 | 200 | 200.371 | 0.041573 | 0.37128 | 30.987 | 30.9877 | 0.00022117 | 0.00073242 | 30.987 | 30.9888 | 0.0010029 | 0.0017796
21320054.sal | 21320054.sac | 121 | 189 | 188.837 | 0.024839 | -0.16318 | 31.0287 | 31.0336 | 0.00022126 | 0.0049229 | 31.0287 | 31.0342 | 0.0013104 | 0.0054893
21320054.sal | 21320054.sac | 121 | 175 | 175.252 | 0.026717 | 0.2522 | 31.0268 | 31.0139 | 0.0021891 | -0.012899 | 31.0268 | 31.0142 | 0.0014952 | -0.012581
21320060.sal | 21320060.sac | 242 | 350 | 350.503 | 0.031017 | 0.50275 | 30.9163 | 30.9184 | 0.00028737 | 0.0021076 | 30.9163 | 30.919 | 0.0011838 | 0.0027065
21320060.sal | 21320060.sac | 242 | 350 | 350.503 | 0.031017 | 0.50275 | 30.9183 | 30.9184 | 0.00028737 | 0.00010681 | 30.9183 | 30.919 | 0.0011838 | 0.00070572
21320060.sal | 21320060.sac | 121 | 301 | 301.207 | 0.021551 | 0.20694 | 30.9209 | 30.9221 | 0.00021163 | 0.0012188 | 30.9209 | 30.9225 | 0.00097297 | 0.0015888
21320060.sal | 21320060.sac | 121 | 250 | 250.542 | 0.028343 | 0.54216 | 30.9072 | 30.9098 | 0.00018802 | 0.0026417 | 30.9072 | 30.9102 | 0.00073727 | 0.0030098
21320060.sal | 21320060.sac | 121 | 200 | 200.314 | 0.022348 | 0.31415 | 30.8859 | 30.8863 | 0.00024758 | 0.00041962 | 30.8859 | 30.8863 | 0.0013621 | 0.0004425
21320062.sal | 21320062.sac | 121 | 311 | 311.142 | 0.027895 | 0.14169 | 30.9017 | 30.9044 | 0.00021754 | 0.0026684 | 30.9017 | 30.9049 | 0.00085111 | 0.0032101
21320062.sal | 21320062.sac | 121 | 300 | 300.521 | 0.029306 | 0.52072 | 30.9023 | 30.9039 | 0.00020594 | 0.0015736 | 30.9023 | 30.9043 | 0.00053455 | 0.002039
21320062.sal | 21320062.sac | 121 | 250 | 250.617 | 0.026724 | 0.61655 | 30.8969 | 30.8982 | 0.00055934 | 0.0013161 | 30.8969 | 30.8988 | 0.00095364 | 0.0018749
21320062.sal | 21320062.sac | 121 | 200 | 200.175 | 0.025784 | 0.17487 | 30.8808 | 30.8813 | 0.00052019 | 0.00048065 | 30.8808 | 30.8813 | 0.0010587 | 0.00048065
21320064.sal | 21320064.sac | 121 | 155 | 155.913 | 0.040161 | 0.91292 | 29.9736 | 29.9745 | 0.0016065 | 0.00086594 | 29.9736 | 29.9764 | 0.0020848 | 0.002842
21320064.sal | 21320064.sac | 121 | 125 | 125.104 | 0.074019 | 0.10432 | 29.9728 | 29.9737 | 0.0015882 | 0.00089264 | 29.9728 | 29.9741 | 0.0021096 | 0.0013104
21320064.sal | 21320064.sac | 29 | 100 | 100.943 | 0.025348 | 0.94325 | 29.9317 | 29.9294 | 0.0023673 | -0.0022755 | 29.9317 | 29.9314 | 0.0035844 | -0.00027275
Create Fit Sheet