## File List
Number of Files= |  | 18
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 21330002.sal | 21330002.sac | 12 | 13 | 21330002.sal & 21330002.sac
2 | 21330004.sal | 21330004.sac | 15 | 16 | 21330004.sal & 21330004.sac
3 | 21330006.sal | 21330006.sac | 18 | 19 | 21330006.sal & 21330006.sac
4 | 21330007.sal | 21330007.sac | 21 | 23 | 21330007.sal & 21330007.sac
5 | 21330009.sal | 21330009.sac | 25 | 25 | 21330009.sal & 21330009.sac
6 | 21330010.sal | 21330010.sac | 27 | 27 | 21330010.sal & 21330010.sac
7 | 21330011.sal | 21330011.sac | 29 | 30 | 21330011.sal & 21330011.sac
8 | 21330012.sal | 21330012.sac | 32 | 34 | 21330012.sal & 21330012.sac
9 | 21330014.sal | 21330014.sac | 36 | 37 | 21330014.sal & 21330014.sac
10 | 21330015.sal | 21330015.sac | 39 | 41 | 21330015.sal & 21330015.sac
11 | 21330016.sal | 21330016.sac | 43 | 45 | 21330016.sal & 21330016.sac
12 | 21330021.sal | 21330021.sac | 47 | 47 | 21330021.sal & 21330021.sac
13 | 21330027.sal | 21330027.sac | 49 | 49 | 21330027.sal & 21330027.sac
14 | 21330030.sal | 21330030.sac | 51 | 51 | 21330030.sal & 21330030.sac
15 | 21330040.sal | 21330040.sac | 53 | 55 | 21330040.sal & 21330040.sac
16 | 21330041.sal | 21330041.sac | 57 | 57 | 21330041.sal & 21330041.sac
17 | 21330042.sal | 21330042.sac | 59 | 60 | 21330042.sal & 21330042.sac
18 | 21330045.sal | 21330045.sac | 62 | 63 | 21330045.sal & 21330045.sac

## (Sal0 - sal_bot)
Calculation of Linear Least Squares Fit For
(Sal0 - sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.057156 |  | X | CALC Y
m= | -1.0444e-05 | 1.6033e-05 |  | Std Dev of Resid |  | 0.0048381 |  | 111.861 | 0.0018356
b= | 0.003004 | 0.0048617 |  | Resid Sum of Squares |  | 0.00016385 |  | 454.969 | -0.0017479
# of Values Extracted = |  |  | 35
# of Values Used in Fit = |  |  | 9
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 0 | 0 | 0 | -33.0589 | 0.003004 | 33.0619 |  | 229.403 | -0.0068131
1 | NO | 0 | 0 | 0 | -33.0541 | 0.003004 | 33.0571 |  | 111.861 | 0.0015354
2 | YES | 229.403 | 32.1485 | 0.00055178 | -0.0068131 | 0.00060798 | 0.007421 |  | 249.035 | -0.0022011
2 | NO | 0 | 0 | 0 | -32.1498 | 0.003004 | 32.1528 |  | 454.969 | -0.00053024
3 | NO | 0 | 0 | 0 | -32.2219 | 0.003004 | 32.2249 |  | 318.785 | 0.0070305
3 | NO | 0 | 0 | 0 | -32.2051 | 0.003004 | 32.2081 |  | 240.857 | 0.0043373
4 | NO | 0 | 0 | 0 | -32.2394 | 0.003004 | 32.2424 |  | 339.982 | -0.0028229
4 | NO | 0 | 0 | 0 | -32.2434 | 0.003004 | 32.2464 |  | 214.969 | 0.0044746
4 | NO | 0 | 0 | 0 | -32.1968 | 0.003004 | 32.1998 |  | 414.598 | -0.0048637
5 | NO | 64.6991 | 31.3138 | 0.010777 | -0.028824 | 0.0023282 | 0.031152 |  |  | 1.6319e-05
6 | YES | 111.861 | 31.4972 | 0.00082183 | 0.0015354 | 0.0018356 | 0.00030022
7 | YES | 249.035 | 31.8659 | 0.0035988 | -0.0022011 | 0.00040293 | 0.002604
7 | NO | 0 | 0 | 0 | -31.8419 | 0.003004 | 31.8449
8 | YES | 454.969 | 32.0145 | 0.00043418 | -0.00053024 | -0.0017479 | -0.0012177
8 | NO | 0 | 0 | 0 | -31.9902 | 0.003004 | 31.9932
8 | NO | 0 | 0 | 0 | -31.9438 | 0.003004 | 31.9468
9 | YES | 318.785 | 32.2699 | 0.0003733 | 0.0070305 | -0.00032557 | -0.0073561
9 | NO | 0 | 0 | 0 | -32.2364 | 0.003004 | 32.2394
10 | YES | 240.857 | 32.4797 | 0.00031734 | 0.0043373 | 0.00048835 | -0.003849
10 | NO | 0 | 0 | 0 | -32.4324 | 0.003004 | 32.4354
10 | NO | 0 | 0 | 0 | -32.4326 | 0.003004 | 32.4356
11 | YES | 339.982 | 32.6156 | 0.00025404 | -0.0028229 | -0.00054696 | 0.0022759
11 | NO | 0 | 0 | 0 | -32.6029 | 0.003004 | 32.6059
11 | NO | 0 | 0 | 0 | -32.5901 | 0.003004 | 32.5931
12 | NO | 78.0953 | 31.9376 | 0.00023979 | 0.032293 | 0.0021883 | -0.030105
13 | NO | 0 | 0 | 0 | -31.4771 | 0.003004 | 31.4801
14 | NO | 47.8046 | 31.6779 | 0.00044949 | 0.022829 | 0.0025047 | -0.020324
15 | YES | 214.969 | 32.9896 | 0.00038272 | 0.0044746 | 0.00075873 | -0.0037159
15 | NO | 0 | 0 | 0 | -32.964 | 0.003004 | 32.967
15 | NO | 0 | 0 | 0 | -32.9526 | 0.003004 | 32.9556
16 | NO | 0 | 0 | 0 | -33.0857 | 0.003004 | 33.0887
17 | YES | 414.598 | 33.2844 | 0.00024977 | -0.0048637 | -0.0013263 | 0.0035375
17 | NO | 0 | 0 | 0 | -33.2537 | 0.003004 | 33.2567
18 | NO | 0 | 0 | 0 | -31.948 | 0.003004 | 31.951
18 | NO | 0 | 0 | 0 | -31.9446 | 0.003004 | 31.9476
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
YES
NO
NO
YES
NO
YES
NO
NO
YES
NO
NO
NO
NO
NO
YES
NO
NO
NO
YES
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - sal_bot)
Calculation of Linear Least Squares Fit For
(Sal1 - sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.060087 |  | X | CALC Y
m= | -1.0146e-05 | 1.5168e-05 |  | Std Dev of Resid |  | 0.0045768 |  | 111.861 | 0.0014508
b= | 0.0025858 | 0.0045991 |  | Resid Sum of Squares |  | 0.00014663 |  | 454.969 | -0.0020305
# of Values Extracted = |  |  | 35
# of Values Used in Fit = |  |  | 9
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 0 | 0 | 0 | -33.0589 | 0.0025858 | 33.0615 |  | 229.403 | -0.0065651
1 | NO | 0 | 0 | 0 | -33.0541 | 0.0025858 | 33.0567 |  | 111.861 | 0.00062942
2 | YES | 229.403 | 32.1487 | 0.0013227 | -0.0065651 | 0.00025815 | 0.0068232 |  | 249.035 | -0.0015755
2 | NO | 0 | 0 | 0 | -32.1498 | 0.0025858 | 32.1524 |  | 454.969 | -0.0010414
3 | NO | 0 | 0 | 0 | -32.2219 | 0.0025858 | 32.2245 |  | 318.785 | 0.0065308
3 | NO | 0 | 0 | 0 | -32.2051 | 0.0025858 | 32.2077 |  | 240.857 | 0.0041809
4 | NO | 0 | 0 | 0 | -32.2394 | 0.0025858 | 32.242 |  | 339.982 | -0.0031815
4 | NO | 0 | 0 | 0 | -32.2434 | 0.0025858 | 32.246 |  | 214.969 | 0.0034409
4 | NO | 0 | 0 | 0 | -32.1968 | 0.0025858 | 32.1994 |  | 414.598 | -0.0052681
5 | NO | 64.6991 | 31.3233 | 0.013416 | -0.01926 | 0.0019293 | 0.02119 |  |  | -0.00031662
6 | YES | 111.861 | 31.4963 | 0.0013261 | 0.00062942 | 0.0014508 | 0.00082135
7 | YES | 249.035 | 31.8665 | 0.0010787 | -0.0015755 | 5.8959e-05 | 0.0016344
7 | NO | 0 | 0 | 0 | -31.8419 | 0.0025858 | 31.8445
8 | YES | 454.969 | 32.014 | 0.0013569 | -0.0010414 | -0.0020305 | -0.00098912
8 | NO | 0 | 0 | 0 | -31.9902 | 0.0025858 | 31.9928
8 | NO | 0 | 0 | 0 | -31.9438 | 0.0025858 | 31.9464
9 | YES | 318.785 | 32.2694 | 0.0013081 | 0.0065308 | -0.00064875 | -0.0071795
9 | NO | 0 | 0 | 0 | -32.2364 | 0.0025858 | 32.239
10 | YES | 240.857 | 32.4796 | 0.00076842 | 0.0041809 | 0.00014194 | -0.004039
10 | NO | 0 | 0 | 0 | -32.4324 | 0.0025858 | 32.435
10 | NO | 0 | 0 | 0 | -32.4326 | 0.0025858 | 32.4352
11 | YES | 339.982 | 32.6152 | 0.0014933 | -0.0031815 | -0.00086382 | 0.0023176
11 | NO | 0 | 0 | 0 | -32.6029 | 0.0025858 | 32.6055
11 | NO | 0 | 0 | 0 | -32.5901 | 0.0025858 | 32.5927
12 | NO | 78.0953 | 31.9363 | 0.00091708 | 0.031013 | 0.0017934 | -0.02922
13 | NO | 0 | 0 | 0 | -31.4771 | 0.0025858 | 31.4797
14 | NO | 47.8046 | 31.6779 | 0.0013934 | 0.0228 | 0.0021007 | -0.0207
15 | YES | 214.969 | 32.9885 | 0.0012924 | 0.0034409 | 0.00040461 | -0.0030363
15 | NO | 0 | 0 | 0 | -32.964 | 0.0025858 | 32.9666
15 | NO | 0 | 0 | 0 | -32.9526 | 0.0025858 | 32.9552
16 | NO | 0 | 0 | 0 | -33.0857 | 0.0025858 | 33.0883
17 | YES | 414.598 | 33.284 | 0.0014756 | -0.0052681 | -0.0016209 | 0.0036472
17 | NO | 0 | 0 | 0 | -33.2537 | 0.0025858 | 33.2563
18 | NO | 0 | 0 | 0 | -31.948 | 0.0025858 | 31.9506
18 | NO | 0 | 0 | 0 | -31.9446 | 0.0025858 | 31.9472
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
YES
NO
NO
YES
NO
YES
NO
NO
YES
NO
NO
NO
NO
NO
YES
NO
NO
NO
YES
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3
| Primary | Secondary |  | Comparison Name
Ref | pressure | Pressure |  | Pressure - pressure
Comp 1 | sal_bot | Sal0 |  | Sal0 - sal_bot
Comp 2 | sal_bot | Sal1 |  | Sal1 - sal_bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | pressure | Pressure | Pressure | (S-P) | sal_bot | Sal0 | Sal0 | (S-P) | sal_bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
21330002.sal | 21330002.sac | 0 | 220 | 0 | 0 | -220 | 33.0589 | 0 | 0 | -33.0589 | 33.0589 | 0 | 0 | -33.0589
21330002.sal | 21330002.sac | 0 | 200 | 0 | 0 | -200 | 33.0541 | 0 | 0 | -33.0541 | 33.0541 | 0 | 0 | -33.0541
21330004.sal | 21330004.sac | 121 | 230 | 229.403 | 0.024529 | -0.59677 | 32.1553 | 32.1485 | 0.00055178 | -0.0068131 | 32.1553 | 32.1487 | 0.0013227 | -0.0065651
21330004.sal | 21330004.sac | 0 | 200 | 0 | 0 | -200 | 32.1498 | 0 | 0 | -32.1498 | 32.1498 | 0 | 0 | -32.1498
21330006.sal | 21330006.sac | 0 | 400 | 0 | 0 | -400 | 32.2219 | 0 | 0 | -32.2219 | 32.2219 | 0 | 0 | -32.2219
21330006.sal | 21330006.sac | 0 | 300 | 0 | 0 | -300 | 32.2051 | 0 | 0 | -32.2051 | 32.2051 | 0 | 0 | -32.2051
21330007.sal | 21330007.sac | 0 | 470 | 0 | 0 | -470 | 32.2394 | 0 | 0 | -32.2394 | 32.2394 | 0 | 0 | -32.2394
21330007.sal | 21330007.sac | 0 | 400 | 0 | 0 | -400 | 32.2434 | 0 | 0 | -32.2434 | 32.2434 | 0 | 0 | -32.2434
21330007.sal | 21330007.sac | 0 | 300 | 0 | 0 | -300 | 32.1968 | 0 | 0 | -32.1968 | 32.1968 | 0 | 0 | -32.1968
21330009.sal | 21330009.sac | 121 | 64 | 64.6991 | 0.02165 | 0.69914 | 31.3426 | 31.3138 | 0.010777 | -0.028824 | 31.3426 | 31.3233 | 0.013416 | -0.01926
21330010.sal | 21330010.sac | 121 | 111 | 111.861 | 0.026924 | 0.86122 | 31.4957 | 31.4972 | 0.00082183 | 0.0015354 | 31.4957 | 31.4963 | 0.0013261 | 0.00062942
21330011.sal | 21330011.sac | 46 | 250 | 249.035 | 0.016396 | -0.96466 | 31.8681 | 31.8659 | 0.0035988 | -0.0022011 | 31.8681 | 31.8665 | 0.0010787 | -0.0015755
21330011.sal | 21330011.sac | 0 | 200 | 0 | 0 | -200 | 31.8419 | 0 | 0 | -31.8419 | 31.8419 | 0 | 0 | -31.8419
21330012.sal | 21330012.sac | 92 | 454 | 454.969 | 0.018491 | 0.9689 | 32.015 | 32.0145 | 0.00043418 | -0.00053024 | 32.015 | 32.014 | 0.0013569 | -0.0010414
21330012.sal | 21330012.sac | 0 | 400 | 0 | 0 | -400 | 31.9902 | 0 | 0 | -31.9902 | 31.9902 | 0 | 0 | -31.9902
21330012.sal | 21330012.sac | 0 | 300 | 0 | 0 | -300 | 31.9438 | 0 | 0 | -31.9438 | 31.9438 | 0 | 0 | -31.9438
21330014.sal | 21330014.sac | 121 | 318 | 318.785 | 0.03026 | 0.78497 | 32.2629 | 32.2699 | 0.0003733 | 0.0070305 | 32.2629 | 32.2694 | 0.0013081 | 0.0065308
21330014.sal | 21330014.sac | 0 | 250 | 0 | 0 | -250 | 32.2364 | 0 | 0 | -32.2364 | 32.2364 | 0 | 0 | -32.2364
21330015.sal | 21330015.sac | 115 | 240 | 240.857 | 0.07432 | 0.85727 | 32.4754 | 32.4797 | 0.00031734 | 0.0043373 | 32.4754 | 32.4796 | 0.00076842 | 0.0041809
21330015.sal | 21330015.sac | 0 | 200 | 0 | 0 | -200 | 32.4324 | 0 | 0 | -32.4324 | 32.4324 | 0 | 0 | -32.4324
21330015.sal | 21330015.sac | 0 | 200 | 0 | 0 | -200 | 32.4326 | 0 | 0 | -32.4326 | 32.4326 | 0 | 0 | -32.4326
21330016.sal | 21330016.sac | 121 | 340 | 339.982 | 0.077866 | -0.017853 | 32.6184 | 32.6156 | 0.00025404 | -0.0028229 | 32.6184 | 32.6152 | 0.0014933 | -0.0031815
21330016.sal | 21330016.sac | 0 | 300 | 0 | 0 | -300 | 32.6029 | 0 | 0 | -32.6029 | 32.6029 | 0 | 0 | -32.6029
21330016.sal | 21330016.sac | 0 | 250 | 0 | 0 | -250 | 32.5901 | 0 | 0 | -32.5901 | 32.5901 | 0 | 0 | -32.5901
21330021.sal | 21330021.sac | 121 | 78 | 78.0953 | 0.025409 | 0.095314 | 31.9053 | 31.9376 | 0.00023979 | 0.032293 | 31.9053 | 31.9363 | 0.00091708 | 0.031013
21330027.sal | 21330027.sac | 0 | 30 | 0 | 0 | -30 | 31.4771 | 0 | 0 | -31.4771 | 31.4771 | 0 | 0 | -31.4771
21330030.sal | 21330030.sac | 121 | 48 | 47.8046 | 0.023807 | -0.19541 | 31.6551 | 31.6779 | 0.00044949 | 0.022829 | 31.6551 | 31.6779 | 0.0013934 | 0.0228
21330040.sal | 21330040.sac | 15 | 214 | 214.969 | 0.019042 | 0.9688 | 32.9851 | 32.9896 | 0.00038272 | 0.0044746 | 32.9851 | 32.9885 | 0.0012924 | 0.0034409
21330040.sal | 21330040.sac | 0 | 200 | 0 | 0 | -200 | 32.964 | 0 | 0 | -32.964 | 32.964 | 0 | 0 | -32.964
21330040.sal | 21330040.sac | 0 | 175 | 0 | 0 | -175 | 32.9526 | 0 | 0 | -32.9526 | 32.9526 | 0 | 0 | -32.9526
21330041.sal | 21330041.sac | 0 | 200 | 0 | 0 | -200 | 33.0857 | 0 | 0 | -33.0857 | 33.0857 | 0 | 0 | -33.0857
21330042.sal | 21330042.sac | 121 | 415 | 414.598 | 0.19399 | -0.40201 | 33.2893 | 33.2844 | 0.00024977 | -0.0048637 | 33.2893 | 33.284 | 0.0014756 | -0.0052681
21330042.sal | 21330042.sac | 0 | 300 | 0 | 0 | -300 | 33.2537 | 0 | 0 | -33.2537 | 33.2537 | 0 | 0 | -33.2537
21330045.sal | 21330045.sac | 0 | 150 | 0 | 0 | -150 | 31.948 | 0 | 0 | -31.948 | 31.948 | 0 | 0 | -31.948
21330045.sal | 21330045.sac | 0 | 125 | 0 | 0 | -125 | 31.9446 | 0 | 0 | -31.9446 | 31.9446 | 0 | 0 | -31.9446
Create Fit Sheet