## File List
Number of Files= |  | 18
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 21330002.sal | 21330002.sam | 12 | 13 | 21330002.sal & 21330002.sam
2 | 21330004.sal | 21330004.sam | 15 | 16 | 21330004.sal & 21330004.sam
3 | 21330006.sal | 21330006.sam | 18 | 19 | 21330006.sal & 21330006.sam
4 | 21330007.sal | 21330007.sam | 21 | 23 | 21330007.sal & 21330007.sam
5 | 21330009.sal | 21330009.sam | 25 | 25 | 21330009.sal & 21330009.sam
6 | 21330010.sal | 21330010.sam | 27 | 27 | 21330010.sal & 21330010.sam
7 | 21330011.sal | 21330011.sam | 29 | 30 | 21330011.sal & 21330011.sam
8 | 21330012.sal | 21330012.sam | 32 | 34 | 21330012.sal & 21330012.sam
9 | 21330014.sal | 21330014.sam | 36 | 37 | 21330014.sal & 21330014.sam
10 | 21330015.sal | 21330015.sam | 39 | 41 | 21330015.sal & 21330015.sam
11 | 21330016.sal | 21330016.sam | 43 | 45 | 21330016.sal & 21330016.sam
12 | 21330021.sal | 21330021.sam | 47 | 47 | 21330021.sal & 21330021.sam
13 | 21330027.sal | 21330027.sam | 49 | 49 | 21330027.sal & 21330027.sam
14 | 21330030.sal | 21330030.sam | 51 | 51 | 21330030.sal & 21330030.sam
15 | 21330040.sal | 21330040.sam | 53 | 55 | 21330040.sal & 21330040.sam
16 | 21330041.sal | 21330041.sam | 57 | 57 | 21330041.sal & 21330041.sam
17 | 21330042.sal | 21330042.sam | 59 | 60 | 21330042.sal & 21330042.sam
18 | 21330045.sal | 21330045.sam | 62 | 63 | 21330045.sal & 21330045.sam

## (Sal0 - sal_bot)
Calculation of Linear Least Squares Fit For
(Sal0 - sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | #VALUE! |  | X | CALC Y
m= | #VALUE! | #VALUE! |  | Std Dev of Resid |  | #VALUE! |  | #NAME? | #NAME?
b= | #VALUE! | #VALUE! |  | Resid Sum of Squares |  | #VALUE! |  | #NAME? | #NAME?
# of Values Extracted = |  |  | 35
# of Values Used in Fit = |  |  | 9
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 0 | 0 | 0 | -33.0589 | #VALUE! | #VALUE! |  | 229.403 | -0.022816
1 | NO | 0 | 0 | 0 | -33.0541 | #VALUE! | #VALUE! |  | 111.861 | -0.014465
2 | YES | 229.403 | 32.1325 | 0.00055215 | -0.022816 | #VALUE! | #VALUE! |  | 249.035 | -0.018202
2 | NO | 0 | 0 | 0 | -32.1498 | #VALUE! | #VALUE! |  | 454.969 | -0.016531
3 | NO | 0 | 0 | 0 | -32.2219 | #VALUE! | #VALUE! |  | 318.785 | -0.0089683
3 | NO | 0 | 0 | 0 | -32.2051 | #VALUE! | #VALUE! |  | 240.857 | -0.011665
4 | NO | 0 | 0 | 0 | -32.2394 | #VALUE! | #VALUE! |  | 339.982 | -0.018822
4 | NO | 0 | 0 | 0 | -32.2434 | #VALUE! | #VALUE! |  | 214.969 | -0.011528
4 | NO | 0 | 0 | 0 | -32.1968 | #VALUE! | #VALUE! |  | 414.598 | -0.020863
5 | NO | 64.6991 | 31.2978 | 0.010777 | -0.044825 | #VALUE! | #VALUE! |  |  | -0.015984
6 | YES | 111.861 | 31.4812 | 0.00082189 | -0.014465 | #VALUE! | #VALUE!
7 | YES | 249.035 | 31.8499 | 0.0035989 | -0.018202 | #VALUE! | #VALUE!
7 | NO | 0 | 0 | 0 | -31.8419 | #VALUE! | #VALUE!
8 | YES | 454.969 | 31.9985 | 0.00043424 | -0.016531 | #VALUE! | #VALUE!
8 | NO | 0 | 0 | 0 | -31.9902 | #VALUE! | #VALUE!
8 | NO | 0 | 0 | 0 | -31.9438 | #VALUE! | #VALUE!
9 | YES | 318.785 | 32.2539 | 0.0003731 | -0.0089683 | #VALUE! | #VALUE!
9 | NO | 0 | 0 | 0 | -32.2364 | #VALUE! | #VALUE!
10 | YES | 240.857 | 32.4637 | 0.00031726 | -0.011665 | #VALUE! | #VALUE!
10 | NO | 0 | 0 | 0 | -32.4324 | #VALUE! | #VALUE!
10 | NO | 0 | 0 | 0 | -32.4326 | #VALUE! | #VALUE!
11 | YES | 339.982 | 32.5996 | 0.00025425 | -0.018822 | #VALUE! | #VALUE!
11 | NO | 0 | 0 | 0 | -32.6029 | #VALUE! | #VALUE!
11 | NO | 0 | 0 | 0 | -32.5901 | #VALUE! | #VALUE!
12 | NO | 78.0953 | 31.9216 | 0.00023983 | 0.016293 | #VALUE! | #VALUE!
13 | NO | 0 | 0 | 0 | -31.4771 | #VALUE! | #VALUE!
14 | NO | 47.8046 | 31.6619 | 0.00044956 | 0.0068302 | #VALUE! | #VALUE!
15 | YES | 214.969 | 32.9736 | 0.00038261 | -0.011528 | #VALUE! | #VALUE!
15 | NO | 0 | 0 | 0 | -32.964 | #VALUE! | #VALUE!
15 | NO | 0 | 0 | 0 | -32.9526 | #VALUE! | #VALUE!
16 | NO | 0 | 0 | 0 | -33.0857 | #VALUE! | #VALUE!
17 | YES | 414.598 | 33.2684 | 0.00025015 | -0.020863 | #VALUE! | #VALUE!
17 | NO | 0 | 0 | 0 | -33.2537 | #VALUE! | #VALUE!
18 | NO | 0 | 0 | 0 | -31.948 | #VALUE! | #VALUE!
18 | NO | 0 | 0 | 0 | -31.9446 | #VALUE! | #VALUE!
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
YES
NO
NO
YES
NO
YES
NO
NO
YES
NO
NO
NO
NO
NO
YES
NO
NO
NO
YES
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - sal_bot)
Calculation of Linear Least Squares Fit For
(Sal1 - sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | #VALUE! |  | X | CALC Y
m= | #VALUE! | #VALUE! |  | Std Dev of Resid |  | #VALUE! |  | #NAME? | #NAME?
b= | #VALUE! | #VALUE! |  | Resid Sum of Squares |  | #VALUE! |  | #NAME? | #NAME?
# of Values Extracted = |  |  | 35
# of Values Used in Fit = |  |  | 9
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 0 | 0 | 0 | -33.0589 | #VALUE! | #VALUE! |  | 229.403 | -0.020565
1 | NO | 0 | 0 | 0 | -33.0541 | #VALUE! | #VALUE! |  | 111.861 | -0.013371
2 | YES | 229.403 | 32.1347 | 0.0013227 | -0.020565 | #VALUE! | #VALUE! |  | 249.035 | -0.015575
2 | NO | 0 | 0 | 0 | -32.1498 | #VALUE! | #VALUE! |  | 454.969 | -0.015039
3 | NO | 0 | 0 | 0 | -32.2219 | #VALUE! | #VALUE! |  | 318.785 | -0.0074692
3 | NO | 0 | 0 | 0 | -32.2051 | #VALUE! | #VALUE! |  | 240.857 | -0.009819
4 | NO | 0 | 0 | 0 | -32.2394 | #VALUE! | #VALUE! |  | 339.982 | -0.017181
4 | NO | 0 | 0 | 0 | -32.2434 | #VALUE! | #VALUE! |  | 214.969 | -0.010559
4 | NO | 0 | 0 | 0 | -32.1968 | #VALUE! | #VALUE! |  | 414.598 | -0.019268
5 | NO | 64.6991 | 31.3093 | 0.013416 | -0.03326 | #VALUE! | #VALUE! |  |  | -0.014316
6 | YES | 111.861 | 31.4823 | 0.0013261 | -0.013371 | #VALUE! | #VALUE!
7 | YES | 249.035 | 31.8525 | 0.0010787 | -0.015575 | #VALUE! | #VALUE!
7 | NO | 0 | 0 | 0 | -31.8419 | #VALUE! | #VALUE!
8 | YES | 454.969 | 32 | 0.001357 | -0.015039 | #VALUE! | #VALUE!
8 | NO | 0 | 0 | 0 | -31.9902 | #VALUE! | #VALUE!
8 | NO | 0 | 0 | 0 | -31.9438 | #VALUE! | #VALUE!
9 | YES | 318.785 | 32.2554 | 0.0013081 | -0.0074692 | #VALUE! | #VALUE!
9 | NO | 0 | 0 | 0 | -32.2364 | #VALUE! | #VALUE!
10 | YES | 240.857 | 32.4656 | 0.00076842 | -0.009819 | #VALUE! | #VALUE!
10 | NO | 0 | 0 | 0 | -32.4324 | #VALUE! | #VALUE!
10 | NO | 0 | 0 | 0 | -32.4326 | #VALUE! | #VALUE!
11 | YES | 339.982 | 32.6012 | 0.0014933 | -0.017181 | #VALUE! | #VALUE!
11 | NO | 0 | 0 | 0 | -32.6029 | #VALUE! | #VALUE!
11 | NO | 0 | 0 | 0 | -32.5901 | #VALUE! | #VALUE!
12 | NO | 78.0953 | 31.9223 | 0.00091708 | 0.017014 | #VALUE! | #VALUE!
13 | NO | 0 | 0 | 0 | -31.4771 | #VALUE! | #VALUE!
14 | NO | 47.8046 | 31.6639 | 0.0013934 | 0.0088005 | #VALUE! | #VALUE!
15 | YES | 214.969 | 32.9745 | 0.0012924 | -0.010559 | #VALUE! | #VALUE!
15 | NO | 0 | 0 | 0 | -32.964 | #VALUE! | #VALUE!
15 | NO | 0 | 0 | 0 | -32.9526 | #VALUE! | #VALUE!
16 | NO | 0 | 0 | 0 | -33.0857 | #VALUE! | #VALUE!
17 | YES | 414.598 | 33.27 | 0.0014756 | -0.019268 | #VALUE! | #VALUE!
17 | NO | 0 | 0 | 0 | -33.2537 | #VALUE! | #VALUE!
18 | NO | 0 | 0 | 0 | -31.948 | #VALUE! | #VALUE!
18 | NO | 0 | 0 | 0 | -31.9446 | #VALUE! | #VALUE!
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
YES
NO
NO
YES
NO
YES
NO
NO
YES
NO
NO
NO
NO
NO
YES
NO
NO
NO
YES
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3
| Primary | Secondary |  | Comparison Name
Ref | pressure | Pressure |  | Pressure - pressure
Comp 1 | sal_bot | Sal0 |  | Sal0 - sal_bot
Comp 2 | sal_bot | Sal1 |  | Sal1 - sal_bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | pressure | Pressure | Pressure | (S-P) | sal_bot | sal0 | sal0 | (S-P) | sal_bot | sal1 | sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
21330002.sal | 21330002.sam | 0 | 220 | 0 | 0 | -220 | 33.0589 | 0 | 0 | -33.0589 | 33.0589 | 0 | 0 | -33.0589
21330002.sal | 21330002.sam | 0 | 200 | 0 | 0 | -200 | 33.0541 | 0 | 0 | -33.0541 | 33.0541 | 0 | 0 | -33.0541
21330004.sal | 21330004.sam | 121 | 230 | 229.403 | 0.024529 | -0.59677 | 32.1553 | 32.1325 | 0.00055215 | -0.022816 | 32.1553 | 32.1347 | 0.0013227 | -0.020565
21330004.sal | 21330004.sam | 0 | 200 | 0 | 0 | -200 | 32.1498 | 0 | 0 | -32.1498 | 32.1498 | 0 | 0 | -32.1498
21330006.sal | 21330006.sam | 0 | 400 | 0 | 0 | -400 | 32.2219 | 0 | 0 | -32.2219 | 32.2219 | 0 | 0 | -32.2219
21330006.sal | 21330006.sam | 0 | 300 | 0 | 0 | -300 | 32.2051 | 0 | 0 | -32.2051 | 32.2051 | 0 | 0 | -32.2051
21330007.sal | 21330007.sam | 0 | 470 | 0 | 0 | -470 | 32.2394 | 0 | 0 | -32.2394 | 32.2394 | 0 | 0 | -32.2394
21330007.sal | 21330007.sam | 0 | 400 | 0 | 0 | -400 | 32.2434 | 0 | 0 | -32.2434 | 32.2434 | 0 | 0 | -32.2434
21330007.sal | 21330007.sam | 0 | 300 | 0 | 0 | -300 | 32.1968 | 0 | 0 | -32.1968 | 32.1968 | 0 | 0 | -32.1968
21330009.sal | 21330009.sam | 121 | 64 | 64.6991 | 0.02165 | 0.69914 | 31.3426 | 31.2978 | 0.010777 | -0.044825 | 31.3426 | 31.3093 | 0.013416 | -0.03326
21330010.sal | 21330010.sam | 121 | 111 | 111.861 | 0.026924 | 0.86122 | 31.4957 | 31.4812 | 0.00082189 | -0.014465 | 31.4957 | 31.4823 | 0.0013261 | -0.013371
21330011.sal | 21330011.sam | 46 | 250 | 249.035 | 0.016396 | -0.96466 | 31.8681 | 31.8499 | 0.0035989 | -0.018202 | 31.8681 | 31.8525 | 0.0010787 | -0.015575
21330011.sal | 21330011.sam | 0 | 200 | 0 | 0 | -200 | 31.8419 | 0 | 0 | -31.8419 | 31.8419 | 0 | 0 | -31.8419
21330012.sal | 21330012.sam | 92 | 454 | 454.969 | 0.018491 | 0.9689 | 32.015 | 31.9985 | 0.00043424 | -0.016531 | 32.015 | 32 | 0.001357 | -0.015039
21330012.sal | 21330012.sam | 0 | 400 | 0 | 0 | -400 | 31.9902 | 0 | 0 | -31.9902 | 31.9902 | 0 | 0 | -31.9902
21330012.sal | 21330012.sam | 0 | 300 | 0 | 0 | -300 | 31.9438 | 0 | 0 | -31.9438 | 31.9438 | 0 | 0 | -31.9438
21330014.sal | 21330014.sam | 121 | 318 | 318.785 | 0.03026 | 0.78497 | 32.2629 | 32.2539 | 0.0003731 | -0.0089683 | 32.2629 | 32.2554 | 0.0013081 | -0.0074692
21330014.sal | 21330014.sam | 0 | 250 | 0 | 0 | -250 | 32.2364 | 0 | 0 | -32.2364 | 32.2364 | 0 | 0 | -32.2364
21330015.sal | 21330015.sam | 115 | 240 | 240.857 | 0.07432 | 0.85727 | 32.4754 | 32.4637 | 0.00031726 | -0.011665 | 32.4754 | 32.4656 | 0.00076842 | -0.009819
21330015.sal | 21330015.sam | 0 | 200 | 0 | 0 | -200 | 32.4324 | 0 | 0 | -32.4324 | 32.4324 | 0 | 0 | -32.4324
21330015.sal | 21330015.sam | 0 | 200 | 0 | 0 | -200 | 32.4326 | 0 | 0 | -32.4326 | 32.4326 | 0 | 0 | -32.4326
21330016.sal | 21330016.sam | 121 | 340 | 339.982 | 0.077866 | -0.017853 | 32.6184 | 32.5996 | 0.00025425 | -0.018822 | 32.6184 | 32.6012 | 0.0014933 | -0.017181
21330016.sal | 21330016.sam | 0 | 300 | 0 | 0 | -300 | 32.6029 | 0 | 0 | -32.6029 | 32.6029 | 0 | 0 | -32.6029
21330016.sal | 21330016.sam | 0 | 250 | 0 | 0 | -250 | 32.5901 | 0 | 0 | -32.5901 | 32.5901 | 0 | 0 | -32.5901
21330021.sal | 21330021.sam | 121 | 78 | 78.0953 | 0.025409 | 0.095314 | 31.9053 | 31.9216 | 0.00023983 | 0.016293 | 31.9053 | 31.9223 | 0.00091708 | 0.017014
21330027.sal | 21330027.sam | 0 | 30 | 0 | 0 | -30 | 31.4771 | 0 | 0 | -31.4771 | 31.4771 | 0 | 0 | -31.4771
21330030.sal | 21330030.sam | 121 | 48 | 47.8046 | 0.023807 | -0.19541 | 31.6551 | 31.6619 | 0.00044956 | 0.0068302 | 31.6551 | 31.6639 | 0.0013934 | 0.0088005
21330040.sal | 21330040.sam | 15 | 214 | 214.969 | 0.019042 | 0.9688 | 32.9851 | 32.9736 | 0.00038261 | -0.011528 | 32.9851 | 32.9745 | 0.0012924 | -0.010559
21330040.sal | 21330040.sam | 0 | 200 | 0 | 0 | -200 | 32.964 | 0 | 0 | -32.964 | 32.964 | 0 | 0 | -32.964
21330040.sal | 21330040.sam | 0 | 175 | 0 | 0 | -175 | 32.9526 | 0 | 0 | -32.9526 | 32.9526 | 0 | 0 | -32.9526
21330041.sal | 21330041.sam | 0 | 200 | 0 | 0 | -200 | 33.0857 | 0 | 0 | -33.0857 | 33.0857 | 0 | 0 | -33.0857
21330042.sal | 21330042.sam | 121 | 415 | 414.598 | 0.19399 | -0.40201 | 33.2893 | 33.2684 | 0.00025015 | -0.020863 | 33.2893 | 33.27 | 0.0014756 | -0.019268
21330042.sal | 21330042.sam | 0 | 300 | 0 | 0 | -300 | 33.2537 | 0 | 0 | -33.2537 | 33.2537 | 0 | 0 | -33.2537
21330045.sal | 21330045.sam | 0 | 150 | 0 | 0 | -150 | 31.948 | 0 | 0 | -31.948 | 31.948 | 0 | 0 | -31.948
21330045.sal | 21330045.sam | 0 | 125 | 0 | 0 | -125 | 31.9446 | 0 | 0 | -31.9446 | 31.9446 | 0 | 0 | -31.9446
Create Fit Sheet