File List for SeaBird Data

Cruise Number: _2001-45____

[[osapcommon/cruise_data/2001-45/]

*.hdr - original files from SeaSave

*.dat - 		“

*.con -      	“

Note: Files 2001-45-8002.dat and 2001-45-0030.dat are the repaired DAT files for casts 2 and 30

[[osapcommon/cruise_data/2001-45/convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[[osapcommon/cruise_data/2001-45/derive]

*.cnv - data after running CELLTM and DERIVE (for S0, S1)

[osapcommon/cruise_data/2001-45/doc]

2001-45-rcal.ccf - recalibration file

2001-45-ctd.con – configuration file used for conversion

July2001Summary.xls – spreadsheet with some data and notes

2001-45-file.doc - this document

2001-45-proc.doc - processing notes

2001-45-hdr.txt – text file with comments for headers

[[osapcommon/cruise_data/2001-45/ios]

*.avg – after bin-averaging

*.ctd - final files

*.del – after DELETE

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT.

Delete.log - log from routine DELETE