## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 13-Jan-2014 | Added underway pCO2 data from Sophia Johannessen’s Excel files prepared for The Carbon Dioxide Information Analysis Center (CDIAC). The file is located in the cruise .DOC directory. |
| 28-May-2010 | An error was found in the calibration parameters used in processing this cruise. It is estimated that pressure is low by <0.5db, so no correction was applied. For details see file “Report on Calibration Errors for Pressure Sensor #77511, CTD 0585 “ in Osd_Date_Archive\Cruise_Data\DOCUMENTS |

## PROCESSING NOTES

Cruise: 2002-02

Agency: OSAP

Location: NW Pacific

Project: SF6 Test Injection

Party Chief: Johnson, Keith

Platform: J.P. Tully

Date: 23 February 2002- 3 March 2002

Processed by: Germaine Gatien

Date of Processing: 22 March 2003 – 25 March 2003

Number of original CTD casts: 19

Number of casts processed: 19

# INSTRUMENT SUMMARY

A SeaBird Model SBE 911+ CTD (probably #0585) was mounted with a transmissometer (S/N498DR) and Seapoint Fluorometer with a 10X gain (S/N2356). The serial numbers of the external sensors were taken from the configuration file, but could not be confirmed as they were not recorded in the Daily Log. The deck unit S/N was 0424.

# SUMMARY OF QUALITY AND CONCERNS

The data was in good order.

The salinity is considered to be 0.001 units.

# PROCESSING SUMMARY

##### Seasave

This step was completed at sea; the raw data files have extension DAT.

##### Preliminary Steps

The Daily Log was obtained. Salinity calibration data was obtained. The cruise summary sheet was completed. The configuration files were obtained and the calibration constants were checked.

The sensor history was found.

##### Conversion of Raw Data

The raw data was converted using configuration file 2002-02-0001.con.

A preliminary check shows all expected channels present. The secondary conductivity sensor is full of fine-scale noise as has been noted in other cruises using this equipment. The dark value for the fluorescence is about 0.06g/l.

The temperature and conductivity traces track reasonably well and up and downcasts are similar.

##### WILDEDIT

Program WILDEDIT was used to remove spikes in the pressure channel.  Parameters used were:   	Pass 1    Std Dev = 2;	Pass 2    Std Dev = 5;	Points per block = 50

##### ALIGNCTD

The deck unit advanced the primary conductivity only. ALIGNCTD was used to advance the secondary by +0.073s for all casts. Fine-tuning of the alignment will be done later using SHIFT.

##### CELLTM

CELLTM was run on all casts using (0.03,9) since these values proved best for 2002-01, 2002-03 and 2002-04 with the same equipment.

##### DERIVE

Program DERIVE was run twice:

on all casts to calculate primary and secondary salinity.

on all casts to calculate the differences between primary and secondary channels for temperature, conductivity and salinity and to calculate the descent rate. These were placed in a test directory and will not be archived.

##### Test Plots and Channel Check

A sample of casts was plotted to check for agreement between the pairs of T and C sensors. All expected channels were present. The secondary conductivity and salinity are much noisier than the primary. The differences in conductivity and salinity were extremely noisy and the values that follow are very rough averages:

| Cast # | Max. Press | T1-T0 | C1-C0 | S1-S0 | Descent Rate |
| --- | --- | --- | --- | --- | --- |
| 14 | 500 | +0.001 | -0.0004 | -0.005 | Fairly noisy but very high |
| 15 | 500 | +0.001 | -0.0004 | -0.005 | Fairly noisy but very high |

These results are similar to those found with the same equipment during 2002-01 in February 2002 although the salinity and conductivity differences are a little bigger.

##### Conversion to IOS Headers

The IOSSHELL routine was used to convert SEA-Bird 911+ data to IOS Headers.

The ROS files were converted to IOS files, and the extensions were changed to BOT.

All casts were plotted and checked for evidence of problems with the processing or instruments. None were noted.

##### Checking Headers

A header summary and a header check were produced and no errors found.

The average surface pressure is 1.6db and there is a well-developed mixed layer for most casts.

The cruise track was plotted and looks reasonable.

##### COMPARE

The BOT files were examined for obviously bad values and none were found.

COMPARE was run. There were only 3 bottles all from 10db. (See 2202comp.csv.) The salinity differences were –0.0036, +0.0012 and +0.0001 for the primary and –0.0083, -0.0036 and –0.0047 for the secondary. The mixed layer was very deep for the 2nd and 3rd bottles, but not so deep for the 1st  (cast #16), so the differences are probably on the order of +0.0005 for the primary and –0.004 for the secondary.

##### SHIFT

Test were run using different SHIFT values on the primary conductivity. The results were displayed on T-S surfaces to find what shift “just” removed unstable spikes in salinity without oversmoothing. The best results varied from one feature to another with values of +0.3 to +0.7 records producing reasonably good results. In processing 2002-11 using the same primary sensors a value of +0.45 was found best. The secondary channel was not shifted since the secondary salinity has a lot of small-scale noise and the agreement with bottles is poor. The primary salinity will be chosen for the archive.

SHIFT was run advancing the primary conductivity by +0.45 records.

Tests were run using SHIFT on the fluorescence channel, the results being judged by how they compared to the transmissivity channel. The up/down separation was used as an indicator. The up/down temperature was also checked. The best results were found using a shift of +45 records. This was applied to all casts.

##### DELETE

CLEAN was run to replace pad values in pressure with interpolated values.

The following DELETE parameters were used:

Surface Record Removal: Last Press Min and Low Salt

Maximum Surface Pressure (relative): 10.00

Pressure Tolerance: 1.0

Pressure filtered over 15 points

Swells deleted. Warning message if pressure difference of 2.00

Drop rates < 0.3m/s (calculated over 11 points) was deleted.

Sample interval =  .0417 seconds.

COMMENTS ON WARNINGS:

There were no warnings in the DELETE log and little loss of data at the bottom of casts.

All DEL files were copied to EDT files.

##### DETAILED EDITING

The primary sensors were chosen for further processing because they were closer to bottles and less noisy than the secondary.

Page plots were produced using T0,S0. These plots were examined for spikes and instabilities and used to guide the use of CTDEDIT.

All casts required some editing mostly in the thermocline or near the bottom. The descent rate was kept very high minimizing the effects of shed wakes, but casts #17-19 did have some corruption from shed wakes.

Note was made of the editing details in the relevant files. The edited files were copied to EDT files so that a complete set of files exists with either edited data or data that does not require editing.

##### SPECIAL FLUOROMETER PROCESSING

There were no chlorophyll samples.

A set of files was prepared for Angelica Peña containing the top 120m of downcast edited data.

##### BIN AVERAGE

The following Bin Average values were applied to the EDT files for general use:

Bin channel = pressure

Averaging interval = 1.000	Minimum bin value =   .000

Average value will be used.	Interpolated values are NOT used for empty bins.

The same values were used for the BOT files except that the Bin Channel = Bottle Number.

After averaging, page plots were examined on screen and no further editing was deemed necessary.

##### Other comparisons

Previous experience with these sensors – All sensors were used during 2002-03, 2002-04 and 2002-01 in early January, late January and early February respectively. The primary salinity was found to be high by 0.0038 units, low by 0.0009 and high by 0.0011. The secondary was found to be low for all three cruises by 0.0005 units, 0.0048 and 0.0036, respectively.

Historic ranges – All data fell within the historic ranges.

Repeat casts – There were no repeat casts, but some were very close. Casts #3 and 18 were 1.4km apart and showed differences of 0.03C and 0.006 units of salinity. Since the deepest data is from 200db, in a zone of large temperature gradients, these are reasonable differences. There were only 2 stations as deep as 500db; they were 12 km apart and the temperature gradients are similar to those at 200m so not useful for a quality control purposes.

##### Recalibration

There is a lot of scatter in all the bottle comparisons for the primary sensors but most fall within 0.001 units so recalibration is not justified.

##### Final Plots

THIN and DERIVE were run to obtain values for tables and page plots were prepared using the edited data.

##### REMOVE and REORDER

The following channels were removed from all CTD casts: Scan_Number, Temperature:Secondary, Salinity:T1:C1, Conductivity:Primary, Conductivity:Secondary, Status:Pump and Bottle Number and Flag.

The channels were reordered and data format corrected as needed.

The Standard Check routine was run and the only problem found was a non-standard scientist name.

Head Edit was used to correct the scientist’s name and to add the following note to the headers:

Transmissivity - The data are unedited.

Fluorescence:URU:Seapoint - The data are nominal and unedited.

The final files were named CTD and RAC.

##### Producing final files

A cross-reference listing was produced.

The sensor history was updated.

# Institute of Ocean Sciences

CRUISE SUMMARY

Cruise ID#: 2002-02

Dates: Start: 23 February 2002 End: 3 March 2002

Location: NW Pacific

Vessel: John P. Tully

Party Chief: Johnson, W.K.

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 911+ | Probably 0585 | Yes | Yes |

Institute of Ocean Sciences

# CTD Calibration Information

Make/Model/Serial#:	SEABIRD/911+/	 probably 0585

Cruise ID#:		2002-02

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 2038 | 11/09/01 | Factory |  |  |
| Conductivity | 1729 | 17/07/01 | “ |  |  |
| Secondary Temp. | 2968 | 18/09/01 | “ |  |  |
| Secondary Cond. | 2664 | 14/09/01 | “ |  |  |
| Fluorometer –pumped | 2356 | 07/01 | IOS |  |  |
| Transmissometer | 498DR | 01/08/01 | IOS |  |  |
| Pressure Sensor | 77511 | 13/03/00 | Factory |  |  |