File List for SeaBird Data

Cruise Number: _2002-03____

[osapcommon.ctd.2002-03]

*.hdr - original files from SeaSave

*.dat - 		“

*.con -      	“

*.bl -		“

2203proc.doc - processing notes

2203file.doc - this document

2203rcal.ccf - recalibration file

delete_study.xls – comparison of maximum pressure before and after DELETE

[osapcommon.ctd.2002-03.convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[osapcommon.ctd.2002-03.derive]

*.cnv - data after running ALIGNCTD, WILDEDIT, CELLTM and DERIVE (for S0, S1)

[osapcommon.ctd.2002-03.ios]

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del – after DELETE, downcast data for 1-111, upcast for 81(called 9981)

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log and lo& - log files created by CTDEDIT.

Delete.log - log from routine DELETE

[osapcommon.ctd.2002-03.hydro]

*.bot  - files created by converting *.ros files to IOS HEADERS

*.edu – edited *.bot file for cast #53

*.log – editing log for cast #53

*.sal  - salinity calibration data files produced for COMPARE; not in standard HYD format

*.oxy – oxygen calibration data files

*.rac – averaged (by bottle number), edited and recalibrated rosette files

*.ros  - rosette files created by DATCNV, no other processing done.

*.sam - files created by adding sample numbers to *.bot files; used for input to COMPARE

*.sac – recalibrated *.sam files used for post-recalibration COMPARE

2203comp.csv - import file created in IOS SHELL as input to COMPARE

2203comp.xls & 2203com2.xls – COMPARE files before and after recalibration

2203oxy.csv & 2203oxy.xls – files comparing Winkler titration data and CTD bottle file data