File List for SeaBird Data

Cruise Number: 2002-06

[osapcommon.ctd.2002-06]

*.hex - original files from SeaSave for SBE 19

*.dat – original files from SeaSave for 911+

*.con – original files from SeaSave for 911+

*.hdr  – original files from SeaSave for 911+

1294.con – configuration file for SBE 19

[osapcommon.ctd.2002-06.doc]

2002-06proc.doc - processing notes

2002-06file.doc – this document

2002-06seacat.hdr – header edit file for SEACAT casts

2002-06seacat35.hdr – header edit file for cast #35

2002-06-911+.hdr – header edit file for 911+ casts

[osapcommon.ctd.2002-06.convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[osapcommon.ctd.2002-06.derive]

*.cnv - data after running FILTER, ALIGNCTD and DERIVE (for salinity)

[osapcommon.ctd.2002-06.ios]

*.avg - data after metre-averaging using BINAVE

*.cln – *.ios files after event numbers, station names and positions added

*.ctd - final files (after recalibration with 2002-06rcal.ccf)

*.del – after SHIFT and DELETE

*.ed1 - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT

Delete.log – log from routine DELETE