## .anz
[regression] |  | Cruise 2002-08 D. Mackas Ecology |  |  |  |  | [regression] |  | June 5, 2002 Dave Mackas - Shelf nutrients
Y = C1 * X ^ 2 + C2 * X + C3 |  |  |  | 2002-06-04 |  |  | Y = C1 * X ^ 2 + C2 * X + C3
chan | regnum | regpos | C1 | C2 | C3 |  | chan | regnum | regpos | C1 | C2 | C3
N | 1 | 5730 | -4.42e-06 | 0.0588 | -0.0647 |  | N | 1 | 4330 | 1.8733e-06 | 0.055693 | 0.02383
N | 2 | 13972 | 1.4e-06 | 0.0549 | 0.090405 |  | N | 2 | 13274 | 1.3656e-06 | 0.055241 | 0.15635
N | 3 | 22388 | -1.28e-06 | 0.0568 | -0.0605 |  | N | 5 | 23094 | 1.3459e-08 | 0.056155 | 0.078456
S | 1 | 5728 | 1.75e-05 | 0.11449 | 0.82079 |  | S | 1 | 4330 | 1.491e-05 | 0.11323 | 0.48461
S | 2 | 5200 | 1.96e-06 | 0.12429 | -0.000384 |  | S | 2 | 13102 | 1.1865e-05 | 0.11631 | 0.20471
S | 3 | 13794 | 1.07e-06 | 0.12278 | -3.65e-06 |  | S | 3 | 22388 | 6.6894e-06 | 0.12277 | 0.60112
S | 4 | 21864 | -4.26e-06 | 0.13574 | 0.0685 |  | P | 1 | 4380 | -1.3683e-07 | 0.0042565 | 0.0059682
P | 1 | 5774 | -3.03e-07 | 0.00466 | -0.00381 |  | P | 2 | 13146 | -2.4485e-07 | 0.0043785 | 0.0097143
P | 2 | 14020 | -1.68e-07 | 0.00444 | 0.00761 |  | P | 3 | 22618 | -2.2096e-07 | 0.0044145 | 0.0025324
P | 3 | 21914 | -2.1e-07 | 0.0044 | 0.0139 |  | [peaks]
[peaks] | [6 empty] | chan | regnum | raw | meas | calc
chan | regnum | raw | meas | calc |  |  | N | 1 | 0 | 0 | 0.02383
N | 1 | 0 | 0 | -0.0647 |  |  | N | 1 | 1 | 0 | 0.079525
N | 1 | 0 | 0 | -0.0647 |  |  | N | 1 | 214 | 12.17 | 12.0279
N | 1 | 213 | 12.17 | 12.2629 |  |  | N | 1 | 216 | 12.17 | 12.1409
N | 1 | 215 | 12.17 | 12.3768 |  |  | N | 1 | 214 | 12.17 | 12.0279
N | 1 | 213 | 12.17 | 12.2629 |  |  | N | 1 | 420 | 24.14 | 23.7453
N | 1 | 424 | 24.13 | 24.0798 |  |  | N | 1 | 442 | 24.14 | 25.0061
N | 1 | 424 | 24.13 | 24.0798 |  |  | N | 1 | 644 | 36.13 | 36.667
N | 1 | 420 | 24.14 | 23.8595 |  |  | N | 1 | 621 | 36.13 | 35.3316
N | 1 | 649 | 36.13 | 36.2476 |  |  | N | 2 | 0 | 0 | 0.15635
N | 2 | 0 | 0 | 0.090405 |  |  | N | 2 | 209 | 12.17 | 11.7614
N | 2 | 214 | 12.17 | 11.9053 |  |  | N | 2 | 435 | 24.14 | 24.4445
N | 2 | 438 | 24.14 | 24.41 |  |  | N | 2 | 644 | 36.13 | 36.2978
N | 2 | 644 | 36.13 | 36.0343 |  |  | N | 2 | 705 | 40 | 39.7799
N | 3 | 0 | 0 | -0.0605 |  |  | N | 5 | 0 | 0 | 0.078456
N | 3 | 214 | 12.17 | 12.0293 |  |  | N | 5 | -1 | 0 | 0.022301
N | 3 | 221 | 12.17 | 12.4228 |  |  | N | 5 | 208 | 12.17 | 11.7593
N | 3 | 432 | 24.14 | 24.2245 |  |  | N | 5 | 217 | 12.17 | 12.2647
N | 3 | 639 | 36.13 | 35.6915 |  |  | N | 5 | 432 | 24.14 | 24.34
N | 3 | 648 | 36.13 | 36.1876 |  |  | N | 5 | 432 | 24.14 | 24.34
N | 3 | 647 | 36.13 | 36.1325 |  |  | N | 5 | 640 | 36.13 | 36.0232
N | 3 | 726 | 40 | 40.4782 |  |  | N | 5 | 640 | 36.13 | 36.0232
N | 3 | 713 | 40 | 39.7642 |  |  | N | 5 | 641 | 36.13 | 36.0794
S | 1 | 0 | 0 | 0.82079 |  |  | N | 5 | 718 | 40 | 40.4048
S | 1 | 319 | 40.14 | 39.1227 |  |  | N | 5 | 705 | 40 | 39.6745
S | 1 | 321 | 40.14 | 39.3741 |  |  | S | 1 | 0 | 0 | 0.48461
S | 1 | 321 | 40.14 | 39.3741 |  |  | S | 1 | 0 | 0 | 0.48461
S | 1 | 637 | 80.01 | 80.8496 |  |  | S | 1 | 327 | 40.14 | 39.1056
S | 1 | 638 | 80.01 | 80.9864 |  |  | S | 1 | 327 | 40.14 | 39.1056
S | 1 | 638 | 80.01 | 80.9864 |  |  | S | 1 | 328 | 40.14 | 39.2286
S | 1 | 907 | 119.85 | 119.0563 |  |  | S | 1 | 658 | 80.01 | 81.4464
S | 1 | 909 | 119.85 | 119.3489 |  |  | S | 1 | 654 | 80.01 | 80.9153
S | 1 | 914 | 119.85 | 120.0808 |  |  | S | 1 | 654 | 80.01 | 80.9153
S | 2 | 0 | 0 | -0.000384 |  |  | S | 1 | 937 | 119.85 | 119.6731
S | 2 | 321 | 40.14 | 40.0988 |  |  | S | 1 | 932 | 119.85 | 118.9676
S | 2 | 322 | 40.14 | 40.2244 |  |  | S | 1 | 937 | 119.85 | 119.6731
S | 2 | 321 | 40.14 | 40.0988 |  |  | S | 2 | 0 | 0 | 0.20471
S | 2 | 638 | 80.01 | 80.0939 |  |  | S | 2 | 327 | 40.14 | 39.5062
S | 2 | 636 | 80.01 | 79.8404 |  |  | S | 2 | 649 | 80.01 | 80.6864
S | 2 | 638 | 80.01 | 80.0939 |  |  | S | 2 | 937 | 119.85 | 119.6027
S | 3 | 0 | 0 | -3.65e-06 |  |  | S | 3 | 0 | 0 | 0.60112
S | 3 | 326 | 40.14 | 40.14 |  |  | S | 3 | 303 | 40.14 | 38.4135
S | 3 | 648 | 80.01 | 80.01 |  |  | S | 3 | 631 | 80.01 | 80.7303
S | 4 | 0 | 0 | 0.0685 |  |  | S | 3 | 629 | 80.01 | 80.4679
S | 4 | -1 | 0 | -0.0672 |  |  | S | 3 | 630 | 80.01 | 80.5991
S | 4 | 300 | 40.14 | 40.4064 |  |  | S | 3 | 920 | 119.85 | 119.2082
S | 4 | 297 | 40.14 | 40.0068 |  |  | P | 1 | 0 | 0 | 0.0059682
S | 4 | 297 | 40.14 | 40.0068 |  |  | P | 1 | 382 | 1.615 | 1.612
S | 4 | 909 | 119.85 | 119.9349 |  |  | P | 1 | 381 | 1.615 | 1.6078
S | 4 | 909 | 119.85 | 119.9349 |  |  | P | 1 | 381 | 1.615 | 1.6078
S | 4 | 907 | 119.85 | 119.6789 |  |  | P | 1 | 777 | 3.21 | 3.2306
P | 1 | 0 | 0 | -0.00381 |  |  | P | 1 | 774 | 3.21 | 3.2185
P | 1 | 363 | 1.615 | 1.647 |  |  | P | 1 | 769 | 3.21 | 3.1983
P | 1 | 355 | 1.615 | 1.6115 |  |  | P | 1 | 1168 | 4.806 | 4.7909
P | 1 | 352 | 1.615 | 1.5981 |  |  | P | 1 | 1174 | 4.806 | 4.8145
P | 1 | 722 | 3.21 | 3.2011 |  |  | P | 1 | 1172 | 4.806 | 4.8066
P | 1 | 723 | 3.21 | 3.2054 |  |  | P | 2 | 0 | 0 | 0.0097143
P | 1 | 725 | 3.21 | 3.2138 |  |  | P | 2 | 368 | 1.615 | 1.5879
P | 1 | 1121 | 4.806 | 4.8368 |  |  | P | 2 | 770 | 3.21 | 3.236
P | 1 | 1106 | 4.806 | 4.7771 |  |  | P | 2 | 1170 | 4.806 | 4.7974
P | 2 | 0 | 0 | 0.00761 |  |  | P | 3 | 0 | 0 | 0.0025324
P | 2 | 362 | 1.615 | 1.5933 |  |  | P | 3 | 375 | 1.615 | 1.6269
P | 2 | 747 | 3.21 | 3.2312 |  |  | P | 3 | 373 | 1.615 | 1.6184
P | 2 | 1127 | 4.806 | 4.7989 |  |  | P | 3 | 367 | 1.615 | 1.5929
P | 3 | 0 | 0 | 0.0139 |  |  | P | 3 | 758 | 3.21 | 3.2218
P | 3 | 366 | 1.615 | 1.5975 |  |  | P | 3 | 755 | 3.21 | 3.2095
P | 3 | 367 | 1.615 | 1.6018 |  |  | P | 3 | 754 | 3.21 | 3.2054
P | 3 | 368 | 1.615 | 1.606 |  |  | P | 3 | 1152 | 4.806 | 4.7948
P | 3 | 757 | 3.21 | 3.2272 |  |  | P | 3 | 1158 | 4.806 | 4.8182
P | 3 | 758 | 3.21 | 3.2313 |  |  | P | 3 | 1154 | 4.806 | 4.8026
P | 3 | 1150 | 4.806 | 4.8004 |  |  | [concentration]
P | 3 | 1153 | 4.806 | 4.8122 |  |  | chan | num | Conc | Peak | Time | Reg#1 | Reg#2
P | 3 | 1148 | 4.806 | 4.7926 |  |  | BIO-1 | 62 | 0.8039 | 14 | 5038 | 1 | 2
[concentration] | [6 empty] | N | 60 | 9.9973 | 178 | 5206 | 1 | 2
chan | num | Conc | Peak | Time | Reg#1 | Reg#2 | N | 58 | 10.3362 | 184 | 5382 | 1 | 2
N | 1 | -0.47662 | -7 | 6248 | 1 | 2 | N | 4 | 11.3516 | 202 | 5558 | 1 | 2
LBO4 | 105 | 34.169 | 610 | 6424 | 1 | 2 | N | 5 | 18.9411 | 336 | 5734 | 1 | 2
N | 3 | 33.2553 | 593 | 6600 | 1 | 2 | N | 6 | 18.9961 | 337 | 5910 | 1 | 2
N | 4 | 28.8686 | 512 | 6776 | 1 | 2 | N | 7 | 25.0974 | 444 | 6086 | 1 | 2
N | 5 | 30.2751 | 538 | 6952 | 1 | 2 | N | 8 | 28.0734 | 496 | 6258 | 1 | 2
N | 6 | 25.4019 | 449 | 7128 | 1 | 2 | N | 9 | 29.5038 | 521 | 6434 | 1 | 2
N | 7 | 25.5567 | 452 | 7304 | 1 | 2 | N | 10 | 30.7627 | 543 | 6610 | 1 | 2
N | 8 | 24.6646 | 436 | 7480 | 1 | 2 | N | 11 | 32.7711 | 578 | 6786 | 1 | 2
N | 9 | 23.438 | 414 | 7656 | 1 | 2 | N | 12 | 34.7243 | 612 | 6962 | 1 | 2
N | 10 | 18.6424 | 328 | 7832 | 1 | 2 | N | 13 | 36.9111 | 650 | 7138 | 1 | 2
Mck | 11 | 24.1901 | 428 | 8008 | 1 | 2 | N | 14 | 39.9122 | 702 | 7314 | 1 | 2
0 | 12 | 0.092415 | 2 | 8184 | 1 | 2 | mck | 15 | 23.7546 | 421 | 7490 | 1 | 2
LBO7 | 91 | 0.61475 | 11 | 8360 | 1 | 2 | LG07 | 28 | 0.2366 | 3 | 7666 | 1 | 2
N | 90 | 0.6175 | 11 | 8536 | 1 | 2 | N | 27 | 0.57293 | 9 | 7842 | 1 | 2
N | 90 | 0.67768 | 12 | 8712 | 1 | 2 | N | 26 | 0.63148 | 10 | 8018 | 1 | 2
N | 16 | 3.6555 | 64 | 8882 | 1 | 2 | N | 19 | 1.1344 | 19 | 8194 | 1 | 2
N | 17 | 12.7221 | 224 | 9058 | 1 | 2 | N | 20 | 3.9192 | 69 | 8370 | 1 | 2
N | 18 | 14.0617 | 248 | 9234 | 1 | 2 | N | 21 | 24.7011 | 438 | 8542 | 1 | 2
N | 19 | 15.9586 | 282 | 9410 | 1 | 2 | N | 22 | 26.5196 | 470 | 8718 | 1 | 2
N | 20 | 17.9619 | 318 | 9586 | 1 | 2 | N | 23 | 40.861 | 720 | 8890 | 1 | 2
N | 21 | 20.5739 | 365 | 9762 | 1 | 2 | N | 24 | 42.0062 | 740 | 9066 | 1 | 2
N | 22 | 15.7553 | 279 | 9936 | 1 | 2 | N | 25 | 43.7303 | 770 | 9242 | 1 | 2
N | 23 | 23.558 | 419 | 10112 | 1 | 2 | N | 26 | 38.063 | 672 | 9418 | 1 | 2
N | 24 | 30.0984 | 537 | 10288 | 1 | 2 | N | 27 | 42.3768 | 747 | 9594 | 1 | 2
N | 25 | 33.9679 | 607 | 10464 | 1 | 2 | N | 28 | 42.8277 | 755 | 9766 | 1 | 2
N | 26 | 34.9626 | 625 | 10636 | 1 | 2 | N | 29 | 44.4337 | 783 | 9942 | 1 | 2
N | 27 | 35.1286 | 628 | 10812 | 1 | 2 | Loop | 5 | 0.045 | recalculated and transferred results |  |  | 2
Mck | 28 | 24.6727 | 440 | 10988 | 1 | 2 | N | 5 | 0.036 | to here. |  |  | 2
0 | 29 | 0.20935 | 3 | 11164 | 1 | 2 | N | P4 | 1.0055 | 16 | 10470 | 1 | 2
LB12 | 68 | 16.2204 | 289 | 11340 | 1 | 2 | N | P3 | -0.099088 | -4 | 10646 | 1 | 2
N | 67 | 22.6869 | 405 | 11516 | 1 | 2 | N | P7 | 1.9535 | 33 | 10822 | 1 | 2
N | 32 | 26.1378 | 467 | 11692 | 1 | 2 | N | P6 | -0.092822 | -4 | 10998 | 1 | 2
N | 33 | 27.7488 | 496 | 11868 | 1 | 2 | mck | 36 | 24.0219 | 427 | 11170 | 1 | 2
N | 34 | 30.9853 | 554 | 12040 | 1 | 2 | N | 37 | 0.18993 | 1 | 11346 | 1 | 2
N | 35 | 33.2775 | 595 | 12216 | 1 | 2 | LBO1 | 133 | 10.4741 | 186 | 11522 | 1 | 2
N | 36 | 34.51 | 617 | 12392 | 1 | 2 | N | 39 | 14.5575 | 259 | 11698 | 1 | 2
N | 37 | 34.9027 | 624 | 12568 | 1 | 2 | N | 40 | 23.1606 | 412 | 11874 | 1 | 2
N | 38 | 36.6491 | 655 | 12742 | 1 | 2 | N | 41 | 23.7218 | 422 | 12046 | 1 | 2
N | 39 | 38.6288 | 690 | 12918 | 1 | 2 | N | 42 | 25.8649 | 460 | 12222 | 1 | 2
N | 40 | 39.7675 | 710 | 13094 | 1 | 2 | N | 43 | 26.1433 | 465 | 12398 | 1 | 2
| 41 | 40.7408 | 727 | 13270 | 1 | 2 | N | 0 | 0.15618 | 0 | 12574 | 1 | 2
stds | 42 | 0.14481 | 1 | 13446 | 1 | 2 | LBO2 | 127 | 6.3605 | 112 | 13626 | 2 | 5
LB12 | 77 | 1.9589 | 34 | 14318 | 2 | 3 | N | 46 | 7.806 | 138 | 13802 | 2 | 5
N | 76 | 2.124 | 37 | 14318 | 2 | 3 | N | 47 | 17.8638 | 318 | 13978 | 2 | 5
N | 45 | 2.2315 | 39 | 14494 | 2 | 3 | N | 48 | 27.0458 | 481 | 14152 | 2 | 5
N | 46 | 3.3319 | 59 | 14670 | 2 | 3 | N | 49 | 29.0267 | 516 | 14328 | 2 | 5
N | 47 | 3.3303 | 59 | 14846 | 2 | 3 | N | 50 | 27.3303 | 486 | 14504 | 2 | 5
N | 48 | 4.877 | 87 | 15022 | 2 | 3 | mck | 51 | 24.3951 | 434 | 14676 | 2 | 5
N | 49 | 5.7074 | 102 | 15192 | 2 | 3 | N | 52 | 0.14644 | 0 | 14852 | 2 | 5
N | 50 | 6.4839 | 116 | 15368 | 2 | 3 | LGO4 | 42 | 0.034279 | -2 | 15028 | 2 | 5
N | 51 | 8.3726 | 150 | 15544 | 2 | 3 | N | 41 | 0.088211 | -1 | 15204 | 2 | 5
N | 52 | 13.6063 | 244 | 15720 | 2 | 3 | N | 55 | 4.6375 | 81 | 15380 | 2 | 5
N | 53 | 15.6182 | 280 | 15896 | 2 | 3 | N | 56 | 4.8597 | 85 | 15556 | 2 | 5
Mck | 54 | 24.1188 | 432 | 16072 | 2 | 3 | N | 57 | 7.922 | 140 | 15732 | 2 | 5
Loop | 55 | -0.12625 | -3 | 16248 | 2 | 3 | N | 58 | 18.8896 | 336 | 15906 | 2 | 5
N | 56 | 9.7202 | 174 | 16424 | 2 | 3 | N | 59 | 22.602 | 402 | 16082 | 2 | 5
N | 57 | 10.0017 | 179 | 16600 | 2 | 3 | N | 60 | 25.7587 | 458 | 16256 | 2 | 5
N | 58 | 6.4909 | 116 | 16776 | 2 | 3 | N | 61 | 29.9385 | 532 | 16432 | 2 | 5
N | 59 | 0.74685 | 13 | 16952 | 2 | 3 | N | 62 | 30.5609 | 543 | 16608 | 2 | 5
N | 60 | 0.743 | 13 | 17128 | 2 | 3 | N | 63 | 32.8811 | 584 | 16784 | 2 | 5
LGO7 | 61 | 23.3125 | 417 | 17302 | 2 | 3 | N | 64 | 32.315 | 574 | 16960 | 2 | 5
N | 62 | -0.15936 | -3 | 17478 | 2 | 3 | N | 65 | 32.6545 | 580 | 17136 | 2 | 5
N | 24 | 3.5857 | 64 | 17654 | 2 | 3 | N | 66 | 27.0055 | 480 | 17312 | 2 | 5
N | 23 | 5.3763 | 96 | 17830 | 2 | 3 | mck | 67 | 24.1322 | 429 | 17484 | 2 | 5
N | 22 | 5.6005 | 100 | 18000 | 2 | 3 | N | 68 | 0.068132 | -1 | 17660 | 2 | 5
N | 21 | 7.6748 | 137 | 18176 | 2 | 3 | LBO6 | 69 | 6.2521 | 110 | 17836 | 2 | 5
N | 21 | 7.7885 | 139 | 18352 | 2 | 3 | N | 70 | 11.2263 | 199 | 18012 | 2 | 5
N | 20 | 10.482 | 187 | 18528 | 2 | 3 | N | 71 | 23.2364 | 413 | 18186 | 2 | 5
N | 19 | 15.3593 | 274 | 18704 | 2 | 3 | N | 72 | 19.4708 | 346 | 18362 | 2 | 5
N | 18 | 25.3625 | 453 | 18880 | 2 | 3 | N | 73 | 18.5736 | 330 | 18538 | 2 | 5
N | 17 | 26.7591 | 478 | 19056 | 2 | 3 | N | 74 | 20.6535 | 367 | 18714 | 2 | 5
N | 16 | 31.5982 | 565 | 19232 | 2 | 3 | N | 75 | 24.7046 | 439 | 18888 | 2 | 5
N | 15 | 32.5422 | 582 | 19408 | 2 | 3 | N | 76 | 25.7191 | 457 | 19064 | 2 | 5
N | 12 | 39.5617 | 709 | 19584 | 2 | 3 | N | 77 | 27.0717 | 481 | 19240 | 2 | 5
N | 11 | 42.4173 | 761 | 19756 | 2 | 3 | N | 78 | 30.0592 | 534 | 19416 | 2 | 5
N | 5 | 42.134 | 756 | 19932 | 2 | 3 | N | 79 | 30.3979 | 540 | 19588 | 2 | 5
N | 77 | -0.00309 | 1 | 20108 | 2 | 3 | N | 80 | 34.0644 | 605 | 19764 | 2 | 5
N | 78 | 19.0369 | 339 | 22918 | 3 | 3 | N | 81 | 33.8948 | 602 | 19940 | 2 | 5
N | 79 | -0.0605 | 0 | 23094 | 3 | 3 | N | 82 | 34.0637 | 605 | 20116 | 2 | 5
S | 1 | 52.7555 | 393 | 23088 | 4 | 4 | N | 83 | 36.6019 | 650 | 20292 | 2 | 5
S | 2 | 49.0226 | 392 | 23090 | 2 | 3 | N | 84 | 0.15695 | 1 | 20468 | 2 | 5
S | 3 | 49.0226 | 392 | 23090 | 2 | 2 | N | 85 | 15.2783 | 271 | 20644 | 2 | 5
S | 4 | 57.4617 | 459 | 6426 | 2 | 3 | N | 86 | -0.013624 | -2 | 20820 | 2 | 5
S | 5 | 56.4312 | 451 | 6602 | 2 | 3 | Wako 20 | 87 | 19.4894 | 347 | 24526 | 2 | 5
S | 6 | 46.3464 | 371 | 6778 | 2 | 3 | Wako 20 | 88 | 19.8658 | 353 | 24702 | 2 | 5
S | 7 | 47.8367 | 383 | 6950 | 2 | 3 | S | 1 | 1.8455 | 12 | 4832 | 1 | 2
S | 8 | 43.4261 | 348 | 7126 | 2 | 3 | S | 2 | 2.5276 | 18 | 5026 | 1 | 2
S | 9 | 42.7831 | 343 | 7302 | 2 | 3 | S | 3 | 13.9377 | 117 | 5202 | 1 | 2
S | 10 | 42.5167 | 341 | 7478 | 2 | 3 | S | 4 | 14.2892 | 120 | 5378 | 1 | 2
S | 11 | 41.6243 | 334 | 7654 | 2 | 3 | S | 5 | 15.2271 | 128 | 5554 | 1 | 2
S | 12 | 33.7302 | 271 | 7830 | 2 | 3 | S | 6 | 23.6281 | 199 | 5730 | 1 | 2
S | 13 | 78.9085 | 631 | 8006 | 2 | 3 | S | 7 | 23.3942 | 197 | 5900 | 1 | 2
S | 14 | 0.12362 | 1 | 8182 | 2 | 3 | S | 8 | 31.2193 | 262 | 6076 | 1 | 2
S | 15 | 2.3539 | 19 | 8358 | 2 | 3 | S | 9 | 35.8564 | 300 | 6252 | 1 | 2
S | 16 | 3.0966 | 25 | 8534 | 2 | 3 | S | 10 | 39.5504 | 330 | 6428 | 1 | 2
S | 17 | 2.4763 | 20 | 8710 | 2 | 3 | S | 11 | 43.8927 | 365 | 6604 | 1 | 2
S | 18 | 8.5467 | 69 | 8886 | 2 | 3 | S | 12 | 49.6516 | 411 | 6780 | 1 | 2
S | 19 | 19.8362 | 160 | 9054 | 2 | 3 | S | 13 | 55.0911 | 454 | 6956 | 1 | 2
S | 20 | 22.5625 | 182 | 9230 | 2 | 3 | S | 14 | 65.3412 | 534 | 7132 | 1 | 2
S | 21 | 24.1698 | 195 | 9406 | 2 | 3 | S | 15 | 77.7437 | 629 | 7308 | 1 | 2
S | 22 | 28.5107 | 230 | 9582 | 2 | 3 | S | 16 | 80.527 | 650 | 7484 | 1 | 2
S | 23 | 31.484 | 254 | 9758 | 2 | 3 | S | 17 | 1.0511 | 5 | 7658 | 1 | 2
S | 24 | 20.7948 | 168 | 9934 | 2 | 3 | S | 18 | 2.0642 | 14 | 7834 | 1 | 2
S | 25 | 33.947 | 274 | 10110 | 2 | 3 | S | 19 | 2.0556 | 14 | 8010 | 1 | 2
S | 26 | 46.3745 | 374 | 10286 | 2 | 3 | S | 20 | 2.6172 | 19 | 8186 | 1 | 2
S | 27 | 53.3327 | 430 | 10462 | 2 | 3 | S | 21 | 5.0144 | 40 | 8358 | 1 | 2
S | 28 | 60.9174 | 491 | 10638 | 2 | 3 | S | 22 | 35.8626 | 300 | 8534 | 1 | 2
S | 29 | 61.7666 | 498 | 10810 | 2 | 3 | S | 23 | 37.5931 | 314 | 8710 | 1 | 2
S | 30 | 80.7223 | 650 | 10986 | 2 | 3 | S | 24 | 94.8221 | 757 | 8886 | 1 | 2
S | 31 | -0.12338 | -1 | 11162 | 2 | 3 | S | 25 | 104.3772 | 827 | 9062 | 1 | 2
S | 32 | 20.1201 | 163 | 11338 | 2 | 3 | S | 26 | 124.7196 | 973 | 9238 | 1 | 2
S | 33 | 29.1435 | 236 | 11514 | 2 | 3 | S | 27 | 105.7635 | 837 | 9410 | 1 | 2
S | 34 | 33.9616 | 275 | 11686 | 2 | 3 | S | 28 | 126.4028 | 985 | 9586 | 1 | 2
S | 35 | 38.0361 | 308 | 11862 | 2 | 3 | S | 29 | 103.7185 | 822 | 9762 | 1 | 2
S | 36 | 44.4646 | 360 | 12038 | 2 | 3 | S | 30 | 102.2219 | 811 | 9938 | 1 | 2
S | 37 | 50.522 | 409 | 12214 | 2 | 3 | S | 31 | 1.7223 | 12 | 10114 | 1 | 2
S | 38 | 56.4556 | 457 | 12390 | 2 | 3 | S | 32 | 1.7135 | 12 | 10290 | 1 | 2
S | 39 | 56.4338 | 457 | 12562 | 2 | 3 | S | 33 | 3.3218 | 26 | 10466 | 1 | 2
S | 40 | 63.233 | 512 | 12738 | 2 | 3 | S | 34 | 1.5804 | 11 | 10642 | 1 | 2
S | 41 | 68.6668 | 556 | 12914 | 2 | 3 | S | 35 | 8.1981 | 68 | 10818 | 1 | 2
S | 42 | 80.8071 | 654 | 13090 | 2 | 3 | S | 36 | 1.7938 | 13 | 10994 | 1 | 2
S | 43 | 88.6019 | 717 | 13266 | 2 | 3 | S | 37 | 80.6973 | 650 | 11158 | 1 | 2
S | 44 | 7.7394 | 63 | 14322 | 3 | 4 | S | 38 | 0.041475 | -2 | 11334 | 1 | 2
S | 45 | 7.766 | 63 | 14498 | 3 | 4 | S | 39 | 24.984 | 209 | 11510 | 1 | 2
S | 46 | 8.5327 | 69 | 14662 | 3 | 4 | S | 40 | 29.2412 | 244 | 11686 | 1 | 2
S | 47 | 8.8096 | 71 | 14838 | 3 | 4 | S | 41 | 39.2049 | 325 | 11862 | 1 | 2
S | 48 | 10.0833 | 81 | 15014 | 3 | 4 | S | 42 | 39.8393 | 330 | 12038 | 1 | 2
S | 49 | 10.8654 | 87 | 15190 | 3 | 4 | S | 43 | 43.2127 | 357 | 12214 | 1 | 2
S | 50 | 11.4016 | 91 | 15366 | 3 | 4 | S | 44 | 43.2283 | 357 | 12390 | 1 | 2
S | 51 | 12.945 | 103 | 15542 | 3 | 4 | S | 45 | 19.5984 | 164 | 13618 | 2 | 3
S | 52 | 18.1477 | 144 | 15718 | 3 | 4 | S | 46 | 20.8348 | 174 | 13794 | 2 | 3
S | 53 | 20.0971 | 159 | 15894 | 3 | 4 | S | 47 | 34.6514 | 287 | 13970 | 2 | 3
S | 54 | 82.2913 | 651 | 16070 | 3 | 4 | S | 48 | 45.2656 | 372 | 14146 | 2 | 3
S | 55 | -0.10409 | -1 | 16246 | 3 | 4 | S | 49 | 46.0692 | 378 | 14322 | 2 | 3
S | 56 | 25.6243 | 201 | 16422 | 3 | 4 | S | 50 | 46.1203 | 378 | 14498 | 2 | 3
S | 57 | 26.3375 | 206 | 16598 | 3 | 4 | S | 51 | 81.9608 | 656 | 14674 | 2 | 3
S | 58 | 20.4039 | 159 | 16774 | 3 | 4 | S | 52 | 0.38977 | 1 | 14850 | 2 | 3
S | 59 | 2.863 | 22 | 16950 | 3 | 4 | S | 53 | 2.2838 | 17 | 15026 | 2 | 3
S | 60 | 4.2933 | 33 | 17126 | 3 | 4 | S | 54 | 2.6505 | 20 | 15202 | 2 | 3
S | 61 | 82.9957 | 646 | 17298 | 3 | 4 | S | 55 | 8.3664 | 68 | 15378 | 2 | 3
S | 62 | -0.0922 | -1 | 17474 | 3 | 4 | S | 56 | 8.3857 | 68 | 15550 | 2 | 3
S | 63 | 4.7287 | 36 | 17650 | 3 | 4 | S | 57 | 12.1231 | 99 | 15726 | 2 | 3
S | 64 | 7.3553 | 56 | 17826 | 3 | 4 | S | 58 | 26.2484 | 215 | 15902 | 2 | 3
S | 65 | 7.2484 | 55 | 18002 | 3 | 4 | S | 59 | 30.8455 | 252 | 16078 | 2 | 3
S | 66 | 11.8621 | 90 | 18178 | 3 | 4 | S | 60 | 35.1039 | 286 | 16254 | 2 | 3
S | 67 | 11.8988 | 90 | 18354 | 3 | 4 | S | 61 | 41.3958 | 336 | 16430 | 2 | 3
S | 68 | 16.6743 | 126 | 18522 | 3 | 4 | S | 62 | 42.3221 | 343 | 16602 | 2 | 3
S | 69 | 21.4698 | 162 | 18698 | 3 | 4 | S | 63 | 50.3294 | 406 | 16778 | 2 | 3
S | 70 | 39.6966 | 300 | 18874 | 3 | 4 | S | 64 | 51.0173 | 411 | 16954 | 2 | 3
S | 71 | 40.9867 | 309 | 19050 | 3 | 4 | S | 65 | 53.6168 | 431 | 17130 | 2 | 3
S | 72 | 51.4809 | 388 | 19226 | 3 | 4 | S | 66 | 36.4938 | 295 | 17306 | 2 | 3
S | 73 | 56.2091 | 423 | 19402 | 3 | 4 | S | 67 | 80.5288 | 638 | 17482 | 2 | 3
S | 74 | 81.8376 | 618 | 19578 | 3 | 4 | S | 68 | 0.42652 | 0 | 17658 | 2 | 3
S | 75 | 99.5214 | 753 | 19754 | 3 | 4 | S | 69 | 13.5068 | 108 | 17826 | 2 | 3
S | 76 | 87.6767 | 660 | 19930 | 3 | 4 | S | 70 | 21.7527 | 175 | 18002 | 2 | 3
P | 1 | -0.1672 | -35 | 6310 | 1 | 2 | S | 71 | 41.245 | 331 | 18178 | 2 | 3
P | 2 | 2.8474 | 650 | 6486 | 1 | 2 | S | 72 | 32.6288 | 262 | 18354 | 2 | 3
P | 3 | 2.8957 | 650 | 6664 | 1 | 2 | S | 73 | 31.2963 | 251 | 18530 | 2 | 3
P | 4 | 2.411 | 539 | 6836 | 1 | 2 | S | 74 | 33.9658 | 272 | 18706 | 2 | 3
P | 5 | 2.6097 | 587 | 7012 | 1 | 2 | S | 75 | 38.6605 | 309 | 18882 | 2 | 3
P | 6 | 2.1493 | 482 | 7186 | 1 | 2 | S | 76 | 39.5899 | 316 | 19058 | 2 | 3
P | 7 | 2.1982 | 495 | 7362 | 1 | 2 | S | 77 | 40.7739 | 325 | 19234 | 2 | 3
P | 8 | 1.9921 | 449 | 7538 | 1 | 2 | S | 78 | 44.1157 | 351 | 19410 | 2 | 3
P | 9 | 2.0111 | 455 | 7714 | 1 | 2 | S | 79 | 48.1062 | 382 | 19578 | 2 | 3
P | 10 | 1.6412 | 371 | 7890 | 1 | 2 | S | 80 | 58.2767 | 461 | 19754 | 2 | 3
P | 11 | 3.2362 | 747 | 8058 | 1 | 2 | S | 81 | 58.976 | 466 | 19930 | 2 | 3
P | 12 | 0.35303 | 77 | 8412 | 1 | 2 | S | 82 | 58.774 | 464 | 20106 | 2 | 3
P | 13 | 0.33809 | 74 | 8588 | 1 | 2 | S | 83 | 66.1968 | 521 | 20282 | 2 | 3
P | 14 | 0.34149 | 75 | 8764 | 1 | 2 | S | 84 | 0.58026 | 0 | 20458 | 2 | 3
P | 15 | 0.76082 | 170 | 8940 | 1 | 2 | S | 85 | 29.7747 | 235 | 20634 | 2 | 3
P | 16 | 1.3931 | 306 | 9116 | 1 | 2 | S | 86 | 0.59958 | 0 | 20810 | 2 | 3
P | 17 | 1.4873 | 330 | 9292 | 1 | 2 | S | 87 | 51.6752 | 407 | 24344 | 3 | 3
P | 18 | 1.6056 | 360 | 9468 | 1 | 2 | S | 88 | 49.6336 | 408 | 24350 | 2 | 2
P | 19 | 1.6826 | 381 | 9644 | 1 | 2 | P | 1 | -0.12611 | -31 | 4726 | 1 | 2
P | 20 | 1.9034 | 421 | 9810 | 1 | 2 | P | 2 | 0.32182 | 74 | 4902 | 1 | 2
P | 21 | 1.5142 | 335 | 9986 | 1 | 2 | P | 3 | 0.41718 | 96 | 5078 | 1 | 2
P | 22 | 2.0399 | 457 | 10162 | 1 | 2 | P | 4 | 1.2114 | 283 | 5254 | 1 | 2
P | 23 | 2.4855 | 563 | 10338 | 1 | 2 | P | 5 | 1.2154 | 283 | 5430 | 1 | 2
P | 24 | 2.7965 | 639 | 10514 | 1 | 2 | P | 6 | 1.253 | 291 | 5606 | 1 | 2
P | 25 | 2.8862 | 663 | 10672 | 1 | 2 | P | 7 | 1.673 | 390 | 5782 | 1 | 2
P | 26 | 2.9468 | 662 | 10866 | 1 | 2 | P | 8 | 1.6819 | 391 | 5958 | 1 | 2
P | 27 | 3.2854 | 742 | 11042 | 1 | 2 | P | 9 | 1.9284 | 458 | 6114 | 1 | 2
P | 28 | 1.5581 | 343 | 11392 | 1 | 2 | P | 10 | 2.1353 | 507 | 6290 | 1 | 2
P | 29 | 1.9268 | 435 | 11568 | 1 | 2 | P | 11 | 2.2846 | 542 | 6486 | 1 | 2
P | 30 | 2.1577 | 479 | 11744 | 1 | 2 | P | 12 | 2.429 | 576 | 6662 | 1 | 2
P | 31 | 2.1966 | 492 | 11920 | 1 | 2 | P | 13 | 2.5402 | 602 | 6838 | 1 | 2
P | 32 | 2.3937 | 542 | 12096 | 1 | 2 | P | 14 | 2.6225 | 621 | 7014 | 1 | 2
P | 33 | 2.4601 | 562 | 12272 | 1 | 2 | P | 15 | 2.8305 | 671 | 7190 | 1 | 2
P | 34 | 2.7744 | 623 | 12444 | 1 | 2 | P | 16 | 3.0532 | 725 | 7366 | 1 | 2
P | 35 | 2.7327 | 616 | 12620 | 1 | 2 | P | 17 | 3.2023 | 770 | 7538 | 1 | 2
P | 36 | 2.8995 | 658 | 12796 | 1 | 2 | P | 18 | 0.48098 | 112 | 7886 | 1 | 2
P | 37 | 2.9846 | 681 | 12972 | 1 | 2 | P | 19 | 0.4704 | 109 | 8062 | 1 | 2
P | 38 | 3.2207 | 740 | 13148 | 1 | 2 | P | 20 | 0.52776 | 122 | 8238 | 1 | 2
P | 39 | 3.2919 | 760 | 13324 | 1 | 2 | P | 21 | 0.76386 | 177 | 8414 | 1 | 2
P | 40 | 0.59531 | 133 | 14376 | 2 | 3 | P | 22 | 2.0499 | 483 | 8590 | 1 | 2
P | 41 | 0.59537 | 133 | 14552 | 2 | 3 | P | 23 | 2.0549 | 483 | 8766 | 1 | 2
P | 42 | 0.67433 | 151 | 14728 | 2 | 3 | P | 24 | 3.1168 | 742 | 8942 | 1 | 2
P | 43 | 0.66555 | 149 | 14904 | 2 | 3 | P | 25 | 3.3058 | 788 | 9118 | 1 | 2
P | 44 | 0.75726 | 170 | 15080 | 2 | 3 | P | 26 | 3.3599 | 809 | 9294 | 1 | 2
P | 45 | 0.82249 | 185 | 15252 | 2 | 3 | P | 27 | 3.0279 | 725 | 9470 | 1 | 2
P | 46 | 0.9092 | 205 | 15428 | 2 | 3 | P | 28 | 3.3459 | 802 | 9646 | 1 | 2
P | 47 | 1.0431 | 236 | 15604 | 2 | 3 | P | 29 | 3.281 | 784 | 9822 | 1 | 2
P | 48 | 1.3354 | 304 | 15780 | 2 | 3 | P | 30 | 3.3323 | 795 | 9998 | 1 | 2
P | 49 | 1.4544 | 332 | 15956 | 2 | 3 | P | 31 | 0.41756 | 97 | 10166 | 1 | 2
P | 50 | 3.1806 | 745 | 16124 | 2 | 3 | P | 32 | 0.42727 | 97 | 10342 | 1 | 2
P | 51 | 1.0769 | 243 | 16476 | 2 | 3 | P | 33 | 0.47253 | 110 | 10518 | 1 | 2
P | 52 | 1.0258 | 232 | 16652 | 2 | 3 | P | 34 | 0.34074 | 78 | 10694 | 1 | 2
P | 53 | 0.94595 | 213 | 16830 | 2 | 3 | P | 35 | 0.55434 | 127 | 10870 | 1 | 2
P | 54 | 0.42359 | 94 | 17006 | 2 | 3 | P | 36 | 0.3393 | 76 | 11046 | 1 | 2
P | 55 | 0.4997 | 111 | 17182 | 2 | 3 | P | 37 | 3.1538 | 758 | 11222 | 1 | 2
P | 56 | 3.1851 | 736 | 17350 | 2 | 3 | P | 38 | 1.0992 | 259 | 11574 | 1 | 2
P | 57 | 0.78843 | 177 | 17702 | 2 | 3 | P | 39 | 1.3457 | 318 | 11746 | 1 | 2
P | 58 | 0.89701 | 202 | 17878 | 2 | 3 | P | 40 | 1.9928 | 472 | 11922 | 1 | 2
P | 59 | 0.90485 | 204 | 18054 | 2 | 3 | P | 41 | 2.0549 | 485 | 12098 | 1 | 2
P | 60 | 1.0206 | 231 | 18230 | 2 | 3 | P | 42 | 2.2283 | 525 | 12274 | 1 | 2
P | 61 | 1.0333 | 233 | 18406 | 2 | 3 | P | 43 | 2.2326 | 524 | 12450 | 1 | 2
P | 62 | 1.1937 | 270 | 18582 | 2 | 3 | P | 44 | 0.93551 | 214 | 13678 | 2 | 3
P | 63 | 1.4135 | 321 | 18758 | 2 | 3 | P | 45 | 0.97426 | 223 | 13854 | 2 | 3
P | 64 | 2.0931 | 480 | 18934 | 2 | 3 | P | 46 | 1.6623 | 385 | 14030 | 2 | 3
P | 65 | 2.0821 | 478 | 19110 | 2 | 3 | P | 47 | 2.2536 | 526 | 14206 | 2 | 3
P | 66 | 2.4256 | 560 | 19286 | 2 | 3 | P | 48 | 2.3893 | 558 | 14382 | 2 | 3
P | 67 | 2.5354 | 587 | 19462 | 2 | 3 | P | 49 | 2.3426 | 546 | 14558 | 2 | 3
P | 68 | 3.0255 | 706 | 19638 | 2 | 3 | P | 50 | 3.2069 | 755 | 14724 | 2 | 3
P | 69 | 3.2176 | 754 | 19814 | 2 | 3 | P | 51 | 0.51865 | 117 | 15076 | 2 | 3
P | 70 | 3.2731 | 757 | 19990 | 2 | 3 | P | 52 | 0.5745 | 130 | 15252 | 2 | 3
[7 empty] | P | 53 | 0.80714 | 184 | 15428 | 2 | 3
[7 empty] | P | 54 | 0.85881 | 196 | 15604 | 2 | 3
[7 empty] | P | 55 | 0.9965 | 228 | 15780 | 2 | 3
[7 empty] | P | 56 | 1.7546 | 406 | 15956 | 2 | 3
[7 empty] | P | 57 | 1.8826 | 436 | 16132 | 2 | 3
[7 empty] | P | 58 | 2.0569 | 477 | 16308 | 2 | 3
[7 empty] | P | 59 | 2.2492 | 527 | 16484 | 2 | 3
[7 empty] | P | 60 | 2.3839 | 559 | 16660 | 2 | 3
[7 empty] | P | 61 | 2.6132 | 614 | 16836 | 2 | 3
[7 empty] | P | 62 | 2.6374 | 619 | 17012 | 2 | 3
[7 empty] | P | 63 | 2.6329 | 617 | 17188 | 2 | 3
[7 empty] | P | 64 | 2.1716 | 505 | 17364 | 2 | 3
[7 empty] | P | 65 | 3.272 | 771 | 17536 | 2 | 3
[7 empty] | P | 66 | 0.77275 | 176 | 17880 | 2 | 3
[7 empty] | P | 67 | 1.1492 | 264 | 18056 | 2 | 3
[7 empty] | P | 68 | 1.9431 | 452 | 18232 | 2 | 3
[7 empty] | P | 69 | 1.7397 | 403 | 18408 | 2 | 3
[7 empty] | P | 70 | 1.7119 | 396 | 18584 | 2 | 3
[7 empty] | P | 71 | 1.8864 | 437 | 18760 | 2 | 3
[7 empty] | P | 72 | 2.1407 | 497 | 18936 | 2 | 3
[7 empty] | P | 73 | 2.2121 | 518 | 19112 | 2 | 3
[7 empty] | P | 74 | 2.2103 | 517 | 19288 | 2 | 3
[7 empty] | P | 75 | 2.4192 | 567 | 19464 | 2 | 3
[7 empty] | P | 76 | 2.4055 | 563 | 19640 | 2 | 3
[7 empty] | P | 77 | 2.7622 | 649 | 19816 | 2 | 3
[7 empty] | P | 78 | 2.7247 | 639 | 19992 | 2 | 3
[7 empty] | P | 79 | 2.658 | 622 | 20168 | 2 | 3
[7 empty] | P | 80 | 2.851 | 668 | 20344 | 2 | 3
[7 empty] | P | 81 | 1.3562 | 313 | 20694 | 2 | 3

## qaqc
Medium check standard analysed as a sample
Medium check standard separates each station.
June 4 and 5, 2002 Dave Mackas - Shelf nutrients | [7 empty] | Wako calibration standard analysed as a sample
[9 empty] | Wako 20uM | Wako 50uM
Date | Nitrate24.14um/l |  | Silicateum80.01/l |  | Phosphateum3.21/l |  |  |  | 19.4894 | 51.6752
2002-06-04 | 24.1901 |  | 78.9085 |  | 3.2362 |  |  |  | 19.8658 | 49.6336
| 24.6727 |  | 80.7223 |  | 3.2854 |  |  | mean | 19.6776 | 50.6544
| 24.1188 |  | 82.2913 |  | 3.1806
2002-06-05 | 23.7546 |  | 80.527 |  | 3.2023
| 24.0219 |  | 80.6973 |  | 3.1538
| 24.3951 |  | 81.9608 |  | 3.2069
| 24.1322 |  | 80.5288 |  | 3.272
mean | 24.1836 |  | 80.8051 |  | 3.2196
sd | 0.28897 |  | 1.1041 |  | 0.04772
C.V.% | 1.1949 |  | 1.3663 |  | 1.4822
n | 7 |  | 7 |  | 7
Sample replicates Pooled standard deviation Sp
Sample ID |  | Nitrate |  |  |  | Silicate |  |  |  | Phosphate
| Discrete # | -1 | -2 | diff | diff sqrd | -1 | -2 | diff | diff sqrd | -1 | -2 | diff | diff sqrd
LBO4 | 112 | 25.4019 | 25.5567 | -0.15472 | 0.023938 | 42.7831 | 43.4261 | -0.64296 | 0.4134 | 2.1982 | 2.1493 | 0.048922 | 0.0023934
LBO7 | 90 | 0.6175 | 0.67768 | -0.060177 | 0.0036212 | 3.0966 | 2.4763 | 0.62031 | 0.38478 | 0.33809 | 0.34149 | -0.0033983 | 1.1548e-05
LB12 | 75 | 3.3319 | 3.3303 | 0.001529 | 2.3378e-06 | 8.5327 | 8.8096 | -0.2769 | 0.076673 | 0.67433 | 0.66555 | 0.0087826 | 7.7134e-05
LB12 | 62 | 34.51 | 34.9027 | -0.39268 | 0.1542 | 56.4556 | 56.4338 | 0.02175 | 0.00047306 | 2.7744 | 2.7327 | 0.041762 | 0.0017441
LOOP | 13 | 9.7202 | 10.0017 | -0.28157 | 0.079283 | 25.6243 | 26.3375 | -0.71316 | 0.5086 | 1.0769 | 1.0258 | 0.051064 | 0.0026075
LGO7 | 21 | 7.6748 | 7.7885 | -0.11376 | 0.012942 | 11.8621 | 11.8988 | -0.03666 | 0.001344 | 1.0206 | 1.0333 | -0.012651 | 0.00016005
BIO1 | 51 | 18.9411 | 18.9961 | -0.05507 | 0.0030327 | 23.6281 | 23.3942 | 0.23389 | 0.054705 | 1.673 | 1.6819 | -0.008826 | 7.7898e-05
LBO1 | 128 | 25.8649 | 26.1433 | -0.27837 | 0.07749 | 43.2127 | 43.2283 | -0.01561 | 0.00024367 | 2.2283 | 2.2326 | -0.004335 | 1.8792e-05
LBO2 | 118 | 29.0267 | 27.3303 | 1.6965 | 2.8779 | 46.0692 | 46.1203 | -0.05114 | 0.0026153 | 2.3893 | 2.3426 | 0.04673 | 0.0021837
LGO4 | 29 | 32.315 | 32.6545 | -0.33951 | 0.11527 | 53.6168 | 36.4938 |  |  | 2.6329 | 2.1716 | 0.46133 | 0.21282
LBO6 | 94 | 30.0592 | 30.3979 | -0.33869 | 0.11471 | 44.1157 | 48.1062 |  |  | 2.4192 | 2.4055 | 0.013724 | 0.00018835
LOOP | 5 | 0 | 0 | 0 | 0 | 1.7 | 1.7 | 0 | 0 | 0.42 | 0.43 | -0.01 | 0.0001
|  |  |  | Sp | 0.78245 |  |  |  | 0.19451 |  |  |  | 0.058589
|  |  |  | Count | 12 |  |  |  | 10 |  |  |  | 12

## Data final
Ocean Sciences and Productivity
Cruise: 2002-08
Location: Shelf
Frozen nutrient samples analyzed by Linda White at IOS room 2418A
Analysis date: June 4, 5, 2002
Scientific Authority: Dave Mackas
Date | Cruise ID | Station | Sample | Depth | N02+N03 | Si | P04
Year |  |  | Number | m | umol/L | umol/L | umol/L
2002 | 8 | LBO4 | 117 | 1 | 18.6424 | 33.7302 | 1.6412
2002 | 8 | LBO4 | 116 | 10 | 23.438 | 41.6243 | 2.0111
2002 | 8 | LBO4 | 114 | 20 | 24.6646 | 42.5167 | 1.9921
2002 | 8 | LBO4 | 112 | 29 | 25.4019 | 42.7831 | 2.1982
2002 | 8 | LBO4 | 108 | 50 | 30.2751 | 47.8367 | 2.6097
2002 | 8 | LBO4 | 107 | 75 | 28.8686 | 46.3464 | 2.411
2002 | 8 | LBO4 | 106 | 99 | 33.2553 | 56.4312 | 2.8957
2002 | 8 | LBO4 | 105 | 107 | 34.169 | 57.4617 | 2.8474
2002 | 8 | LBO7 | 91 | 1.5 | 0.61475 | 2.3539 | 0.35303
2002 | 8 | LBO7 | 90 | 10 | 0.6175 | 3.0966 | 0.33809
2002 | 8 | LBO7 | 89 | 15 | 3.6555 | 8.5467 | 0.76082
2002 | 8 | LBO7 | 88 | 20 | 12.7221 | 19.8362 | 1.3931
2002 | 8 | LBO7 | 87 | 25 | 14.0617 | 22.5625 | 1.4873
2002 | 8 | LBO7 | 86 | 32 | 15.9586 | 24.1698 | 1.6056
2002 | 8 | LBO7 | 85 | 35 | 17.9619 | 28.5107 | 1.6826
2002 | 8 | LBO7 | 84 | 40 | 20.5739 | 31.484 | 1.9034
2002 | 8 | LBO7 | 83 | 45 | 15.7553 | 20.7948 | 1.5142
2002 | 8 | LBO7 | 82 | 50 | 23.558 | 33.947 | 2.0399
2002 | 8 | LBO7 | 81 | 75 | 30.0984 | 46.3745 | 2.4855
2002 | 8 | LBO7 | 80 | 98 | 33.9679 | 53.3327 | 2.7965
2002 | 8 | LBO7 | 79 | 127 | 34.9626 | 60.9174 | 2.8862
2002 | 8 | LBO7 | 78 | 155 | 35.1286 | 61.7666 | 2.9468
2002 | 8 | LB12 | 77 | 2 | 1.9589 | 7.7394 | 0.59531
2002 | 8 | LB12 | 76 | 10 | 2.2315 | 7.766 | 0.59537
2002 | 8 | LB12 | 75 | 15 | 3.3319 | 8.5327 | 0.67433
2002 | 8 | LB12 | 74 | 20 | 4.877 | 10.0833 | 0.75726
2002 | 8 | LB12 | 73 | 25 | 5.7074 | 10.8654 | 0.82249
2002 | 8 | LB12 | 72 | 30 | 6.4839 | 11.4016 | 0.9092
2002 | 8 | LB12 | 71 | 35 | 8.3726 | 12.945 | 1.0431
2002 | 8 | LB12 | 70 | 40 | 13.6063 | 18.1477 | 1.3354
2002 | 8 | LB12 | 69 | 45 | 15.6182 | 20.0971 | 1.4544
2002 | 8 | LB12 | 68 | 50 | 16.2204 | 20.1201 | 1.5581
2002 | 8 | LB12 | 67 | 75 | 22.6869 | 29.1435 | 1.9268
2002 | 8 | LB12 | 66 | 100 | 26.1378 | 33.9616 | 2.1577
2002 | 8 | LB12 | 65 | 125 | 27.7488 | 38.0361 | 2.1966
2002 | 8 | LB12 | 64 | 151 | 30.9853 | 44.4646 | 2.3937
2002 | 8 | LB12 | 63 | 175 | 33.2775 | 50.522 | 2.4601
2002 | 8 | LB12 | 62 | 200 | 34.51 | 56.4556 | 2.7744
2002 | 8 | LB12 | 61 | 250 | 36.6491 | 63.233 | 2.8995
2002 | 8 | LB12 | 60 | 300 | 38.6288 | 68.6668 | 2.9846
2002 | 8 | LB12 | 59 | 400 | 39.7675 | 80.8071 | 3.2207
2002 | 8 | LB12 | 58 | 465 | 40.7408 | 88.6019 | 3.2919
2002 | 8 | LOOP | 13 |  | 9.7202 | 25.6243 | 1.0769
2002 | 8 | LOOP | 12 |  | 6.4909 | 20.4039 | 0.94595
2002 | 8 | LOOP | 10 |  | 0.74685 | 2.863 | 0.42359
2002 | 8 | LOOP | 9 |  | 0.743 | 4.2933 | 0.4997
2002 | 8 | LOOP | 11 |  | 15.2783 | 29.7747 | 1.3562
2002 | 8 | LGO7 | 28 | 10 | 0.57293 | 2.0642 | 0.48098
2002 | 8 | LGO7 | 27 | 26 | 0.63148 | 2.0556 | 0.4704
2002 | 8 | LGO7 | 26 | 30 | 1.1344 | 2.6172 | 0.52776
2002 | 8 | LGO7 | 25 | 35 | 3.9192 | 5.0144 | 0.76386
2002 | 8 | LGO7 | 23 | 40 | 5.3763 | 7.3553 | 0.89701
2002 | 8 | LGO7 | 22 | 45 | 5.6005 | 7.2484 | 0.90485
2002 | 8 | LGO7 | 21 | 49 | 7.6748 | 11.8621 | 1.0206
2002 | 8 | LGO7 | 20 | 75 | 10.482 | 16.6743 | 1.1937
2002 | 8 | LGO7 | 19 | 100 | 15.3593 | 21.4698 | 1.4135
2002 | 8 | LGO7 | 18 | 125 | 25.3625 | 39.6966 | 2.0931
2002 | 8 | LGO7 | 17 | 150 | 26.7591 | 40.9867 | 2.0821
2002 | 8 | LGO7 | 16 | 175 | 31.5982 | 51.4809 | 2.4256
2002 | 8 | LGO7 | 15 | 200 | 32.5422 | 56.2091 | 2.5354
2002 | 8 | LGO7 | 14 | 250 | 34.0637 | 58.976 | 2.658
2002 | 8 | LGO7 | 13 | 300 | 36.6019 | 58.774 | 2.851
2002 | 8 | LGO7 | 12 | 400 | 39.5617 | 81.8376 | 3.0255
2002 | 8 | LGO7 | 11 | 500 | 42.4173 | 99.5214 | 3.2176
2002 | 8 | LGO7 | 10 | 600 | 42.0062 | 104.3772 | 3.3058
2002 | 8 | LGO7 | 9 | 800 | 43.7303 | 124.7196 | 3.3599
2002 | 8 | LGO7 | 8 | 1000 | 38.063 | 105.7635 | 3.0279
2002 | 8 | LGO7 | 7 | 1200 | 42.3768 | 126.4028 | 3.3459
2002 | 8 | LGO7 | 6 | 1499 | 42.8277 | 103.7185 | 3.281
2002 | 8 | LGO7 | 5 | 1742 | 42.134 | 87.6767 | 3.2731
2002 | 8 | BIO1 | 62 | 1 | 0 | 1.8455 | 0.32182
2002 | 8 | BIO1 | 60 | 10 | 0.8039 | 2.5276 | 0.41718
2002 | 8 | BIO1 | 58 | 20 | 9.9973 | 13.9377 | 1.2114
2002 | 8 | BIO1 | 56 | 30 | 10.3362 | 14.2892 | 1.2154
2002 | 8 | BIO1 | 52 | 50 | 11.3516 | 15.2271 | 1.253
2002 | 8 | BIO1 | 51 | 74 | 18.9411 | 23.6281 | 1.673
2002 | 8 | BIO1 | 50 | 100 | 25.0974 | 31.2193 | 1.9284
2002 | 8 | BIO1 | 49 | 125 | 28.0734 | 35.8564 | 2.1353
2002 | 8 | BIO1 | 48 | 150 | 29.5038 | 39.5504 | 2.2846
2002 | 8 | BIO1 | 47 | 175 | 30.7627 | 43.8927 | 2.429
2002 | 8 | BIO1 | 46 | 200 | 32.7711 | 49.6516 | 2.5402
2002 | 8 | BIO1 | 45 | 250 | 34.7243 | 55.0911 | 2.6225
2002 | 8 | BIO1 | 44 | 301 | 36.9111 | 65.3412 | 2.8305
2002 | 8 | BIO1 | 43 | 406 | 39.9122 | 77.7437 | 3.0532
2002 | 8 | LOOP | P5 |  | 0.045 | 1.7223 | 0.41756
2002 | 8 | LOOP | P4 |  | 1.0055 | 3.3218 | 0.47253
2002 | 8 | LOOP | P3 |  | -0.099088 | 1.5804 | 0.34074
2002 | 8 | LOOP | P7 |  | 1.9535 | 8.1981 | 0.55434
2002 | 8 | LOOP | P6 |  | -0.092822 | 1.7938 | 0.3393
2002 | 8 | LBO1 | 132 | 10 | 10.4741 | 24.984 | 1.0992
2002 | 8 | LBO1 | 131 | 15 | 14.5575 | 29.2412 | 1.3457
2002 | 8 | LBO1 | 130 | 20 | 23.1606 | 39.2049 | 1.9928
2002 | 8 | LBO1 | 129 | 25 | 23.7218 | 39.8393 | 2.0549
2002 | 8 | LBO1 | 128 | 26 | 25.8649 | 43.2127 | 2.2283
2002 | 8 | LBO2 | 127 | 2 | 6.3605 | 19.5984 | 0.93551
2002 | 8 | LBO2 | 126 | 10 | 7.806 | 20.8348 | 0.97426
2002 | 8 | LBO2 | 124 | 20 | 17.8638 | 34.6514 | 1.6623
2002 | 8 | LBO2 | 122 | 30 | 27.0458 | 45.2656 | 2.2536
2002 | 8 | LBO2 | 118 | 50 | 29.0267 | 46.0692 | 2.3893
2002 | 8 | LGO4 | 42 | 2 | 0.034279 | 2.2838 | 0.51865
2002 | 8 | LGO4 | 41 | 10 | 0.088211 | 2.6505 | 0.5745
2002 | 8 | LGO4 | 40 | 15 | 4.6375 | 8.3664 | 0.80714
2002 | 8 | LGO4 | 39 | 20 | 4.8597 | 8.3857 | 0.85881
2002 | 8 | LGO4 | 38 | 25 | 7.922 | 12.1231 | 0.9965
2002 | 8 | LGO4 | 36 | 30 | 18.8896 | 26.2484 | 1.7546
2002 | 8 | LGO4 | 35 | 35 | 22.602 | 30.8455 | 1.8826
2002 | 8 | LGO4 | 34 | 40 | 25.7587 | 35.1039 | 2.0569
2002 | 8 | LGO4 | 33 | 45 | 29.9385 | 41.3958 | 2.2492
2002 | 8 | LGO4 | 32 | 75 | 27.0055 | 42.3221 | 2.3839
2002 | 8 | LGO4 | 31 | 100 | 30.5609 | 50.3294 | 2.6132
2002 | 8 | LGO4 | 30 | 126 | 32.8811 | 51.0173 | 2.6374
2002 | 8 | LGO4 | 29 | 130 | 32.315 | 53.6168 | 2.6329
2002 | 8 | LBO6 | 103 | 2 | 6.2521 | 13.5068 | 0.77275
2002 | 8 | LBO6 | 102 | 10 | 11.2263 | 21.7527 | 1.1492
2002 | 8 | LBO6 | 101 | 15 | 23.2364 | 41.245 | 1.9431
2002 | 8 | LBO6 | 100 | 20 | 19.4708 | 32.6288 | 1.7397
2002 | 8 | LBO6 | 99 | 25 | 18.5736 | 31.2963 | 1.7119
2002 | 8 | LBO6 | 98 | 30 | 20.6535 | 33.9658 | 1.8864
2002 | 8 | LBO6 | 97 | 35 | 24.7046 | 38.6605 | 2.1407
2002 | 8 | LBO6 | 96 | 40 | 25.7191 | 39.5899 | 2.2121
2002 | 8 | LBO6 | 95 | 45 | 27.0717 | 40.7739 | 2.2103
2002 | 8 | LBO6 | 94 | 50 | 30.0592 | 48.1062 | 2.4192
2002 | 8 | LBO6 | 93 | 75 | 34.0644 | 58.2767 | 2.7622
2002 | 8 | LBO6 | 92 | 100 | 33.8948 | 66.1968 | 2.7247
|  | Count | 119
Samples analysed 119 + 16 replicates = 135 samples total

## Data + reps
Ocean Sciences and Productivity
Cruise: 2002-08
Location: Shelf
Frozen nutrient samples analyzed by Linda White at IOS room 2418A
Analysis date: June 4, 5, 2002
Scientific Authority: Dave Mackas
Date | Cruise ID | Station | Sample | Depth | N02+N03 | Replicate | Si | Replicate | P04 | Replicate | Comments
Year |  |  | Number | m | umol/L |  | umol/L |  | umol/L
2002 | 8 | LBO4 | 117 | 1 | 18.6424 |  | 33.7302 |  | 1.6412
2002 | 8 | LBO4 | 116 | 10 | 23.438 |  | 41.6243 |  | 2.0111
2002 | 8 | LBO4 | 114 | 20 | 24.6646 |  | 42.5167 |  | 1.9921
2002 | 8 | LBO4 | 112 | 29 | 25.4019 | 25.5567 | 42.7831 | 43.4261 | 2.1982 | 2.1493
2002 | 8 | LBO4 | 108 | 50 | 30.2751 |  | 47.8367 |  | 2.6097
2002 | 8 | LBO4 | 107 | 75 | 28.8686 |  | 46.3464 |  | 2.411
2002 | 8 | LBO4 | 106 | 99 | 33.2553 |  | 56.4312 |  | 2.8957
2002 | 8 | LBO4 | 105 | 107 | 34.169 |  | 57.4617 |  | 2.8474
2002 | 8 | LBO7 | 91 | 1.5 | 0.61475 |  | 2.3539 |  | 0.35303
2002 | 8 | LBO7 | 90 | 10 | 0.6175 | 0.67768 | 3.0966 | 2.4763 | 0.33809 | 0.34149
2002 | 8 | LBO7 | 89 | 15 | 3.6555 |  | 8.5467 |  | 0.76082
2002 | 8 | LBO7 | 88 | 20 | 12.7221 |  | 19.8362 |  | 1.3931
2002 | 8 | LBO7 | 87 | 25 | 14.0617 |  | 22.5625 |  | 1.4873
2002 | 8 | LBO7 | 86 | 32 | 15.9586 |  | 24.1698 |  | 1.6056
2002 | 8 | LBO7 | 85 | 35 | 17.9619 |  | 28.5107 |  | 1.6826
2002 | 8 | LBO7 | 84 | 40 | 20.5739 |  | 31.484 |  | 1.9034
2002 | 8 | LBO7 | 83 | 45 | 15.7553 |  | 20.7948 |  | 1.5142
2002 | 8 | LBO7 | 82 | 50 | 23.558 |  | 33.947 |  | 2.0399
2002 | 8 | LBO7 | 81 | 75 | 30.0984 |  | 46.3745 |  | 2.4855
2002 | 8 | LBO7 | 80 | 98 | 33.9679 |  | 53.3327 |  | 2.7965
2002 | 8 | LBO7 | 79 | 127 | 34.9626 |  | 60.9174 |  | 2.8862
2002 | 8 | LBO7 | 78 | 155 | 35.1286 |  | 61.7666 |  | 2.9468
2002 | 8 | LB12 | 77 | 2 | 1.9589 |  | 7.7394 |  | 0.59531
2002 | 8 | LB12 | 76 | 10 | 2.2315 |  | 7.766 |  | 0.59537
2002 | 8 | LB12 | 75 | 15 | 3.3319 | 3.3303 | 8.5327 | 8.8096 | 0.67433 | 0.66555
2002 | 8 | LB12 | 74 | 20 | 4.877 |  | 10.0833 |  | 0.75726
2002 | 8 | LB12 | 73 | 25 | 5.7074 |  | 10.8654 |  | 0.82249
2002 | 8 | LB12 | 72 | 30 | 6.4839 |  | 11.4016 |  | 0.9092
2002 | 8 | LB12 | 71 | 35 | 8.3726 |  | 12.945 |  | 1.0431
2002 | 8 | LB12 | 70 | 40 | 13.6063 |  | 18.1477 |  | 1.3354
2002 | 8 | LB12 | 69 | 45 | 15.6182 |  | 20.0971 |  | 1.4544
2002 | 8 | LB12 | 68 | 50 | 16.2204 |  | 20.1201 |  | 1.5581
2002 | 8 | LB12 | 67 | 75 | 22.6869 |  | 29.1435 |  | 1.9268
2002 | 8 | LB12 | 66 | 100 | 26.1378 |  | 33.9616 |  | 2.1577
2002 | 8 | LB12 | 65 | 125 | 27.7488 |  | 38.0361 |  | 2.1966
2002 | 8 | LB12 | 64 | 151 | 30.9853 |  | 44.4646 |  | 2.3937
2002 | 8 | LB12 | 63 | 175 | 33.2775 |  | 50.522 |  | 2.4601
2002 | 8 | LB12 | 62 | 200 | 34.51 | 34.9027 | 56.4556 | 56.4338 | 2.7744 | 2.7327
2002 | 8 | LB12 | 61 | 250 | 36.6491 |  | 63.233 |  | 2.8995
2002 | 8 | LB12 | 60 | 300 | 38.6288 |  | 68.6668 |  | 2.9846
2002 | 8 | LB12 | 59 | 400 | 39.7675 |  | 80.8071 |  | 3.2207
2002 | 8 | LB12 | 58 | 465 | 40.7408 |  | 88.6019 |  | 3.2919
2002 | 8 | LOOP | 13 |  | 9.7202 | 10.0017 | 25.6243 | 26.3375 | 1.0769 | 1.0258
2002 | 8 | LOOP | 12 |  | 6.4909 |  | 20.4039 |  | 0.94595
2002 | 8 | LOOP | 10 |  | 0.74685 |  | 2.863 |  | 0.42359
2002 | 8 | LOOP | 9 |  | 0.743 |  | 4.2933 |  | 0.4997
2002 | 8 | LOOP | 11 |  | 15.2783 |  | 29.7747 |  | 1.3562
2002 | 8 | LGO7 | 28 | 10 | 0.57293 |  | 2.0642 |  | 0.48098
2002 | 8 | LGO7 | 27 | 26 | 0.63148 |  | 2.0556 |  | 0.4704
2002 | 8 | LGO7 | 26 | 30 | 1.1344 |  | 2.6172 |  | 0.52776
2002 | 8 | LGO7 | 25 | 35 | 3.9192 | 3.5857 | 5.0144 | 4.7287 | 0.76386 | 0.78843
2002 | 8 | LGO7 | 23 | 40 | 5.3763 |  | 7.3553 |  | 0.89701
2002 | 8 | LGO7 | 22 | 45 | 5.6005 |  | 7.2484 |  | 0.90485
2002 | 8 | LGO7 | 21 | 49 | 7.6748 | 7.7885 | 11.8621 | 11.8988 | 1.0206 | 1.0333
2002 | 8 | LGO7 | 20 | 75 | 10.482 |  | 16.6743 |  | 1.1937
2002 | 8 | LGO7 | 19 | 100 | 15.3593 |  | 21.4698 |  | 1.4135
2002 | 8 | LGO7 | 18 | 125 | 25.3625 | 24.7011 | 39.6966 | 35.8626 | 2.0931 | 2.0499 | cast difficulties
2002 | 8 | LGO7 | 17 | 150 | 26.7591 | 26.5196 | 40.9867 | 37.5931 | 2.0821 | 2.0549
2002 | 8 | LGO7 | 16 | 175 | 31.5982 |  | 51.4809 |  | 2.4256
2002 | 8 | LGO7 | 15 | 200 | 32.5422 |  | 56.2091 |  | 2.5354
2002 | 8 | LGO7 | 14 | 250 | 34.0637 |  | 58.976 |  | 2.658
2002 | 8 | LGO7 | 13 | 300 | 36.6019 |  | 58.774 |  | 2.851
2002 | 8 | LGO7 | 12 | 400 | 39.5617 |  | 81.8376 |  | 3.0255
2002 | 8 | LGO7 | 11 | 500 | 42.4173 |  | 99.5214 |  | 3.2176
2002 | 8 | LGO7 | 10 | 600 | 42.0062 |  | 104.3772 |  | 3.3058
2002 | 8 | LGO7 | 9 | 800 | 43.7303 |  | 124.7196 |  | 3.3599
2002 | 8 | LGO7 | 8 | 1000 | 38.063 |  | 105.7635 |  | 3.0279
2002 | 8 | LGO7 | 7 | 1200 | 42.3768 |  | 126.4028 |  | 3.3459
2002 | 8 | LGO7 | 6 | 1499 | 42.8277 | 44.4337 | 103.7185 | 102.2219 | 3.281 | 3.3323
2002 | 8 | LGO7 | 5 | 1742 | 42.134 |  | 87.6767 |  | 3.2731
2002 | 8 | BIO1 | 62 | 1 | 0 |  | 1.8455 |  | 0.32182
2002 | 8 | BIO1 | 60 | 10 | 0.8039 |  | 2.5276 |  | 0.41718
2002 | 8 | BIO1 | 58 | 20 | 9.9973 |  | 13.9377 |  | 1.2114
2002 | 8 | BIO1 | 56 | 30 | 10.3362 |  | 14.2892 |  | 1.2154
2002 | 8 | BIO1 | 52 | 50 | 11.3516 |  | 15.2271 |  | 1.253
2002 | 8 | BIO1 | 51 | 74 | 18.9411 | 18.9961 | 23.6281 | 23.3942 | 1.673 | 1.6819
2002 | 8 | BIO1 | 50 | 100 | 25.0974 |  | 31.2193 |  | 1.9284
2002 | 8 | BIO1 | 49 | 125 | 28.0734 |  | 35.8564 |  | 2.1353
2002 | 8 | BIO1 | 48 | 150 | 29.5038 |  | 39.5504 |  | 2.2846
2002 | 8 | BIO1 | 47 | 175 | 30.7627 |  | 43.8927 |  | 2.429
2002 | 8 | BIO1 | 46 | 200 | 32.7711 |  | 49.6516 |  | 2.5402
2002 | 8 | BIO1 | 45 | 250 | 34.7243 |  | 55.0911 |  | 2.6225
2002 | 8 | BIO1 | 44 | 301 | 36.9111 |  | 65.3412 |  | 2.8305
2002 | 8 | BIO1 | 43 | 406 | 39.9122 |  | 77.7437 |  | 3.0532
2002 | 8 | Loop | P5 |  | 0.045 | 0.036 | 1.7223 | 1.7135 | 0.41756 | 0.42727
2002 | 8 | Loop | P4 |  | 1.0055 |  | 3.3218 |  | 0.47253
2002 | 8 | Loop | P3 |  | -0.099088 |  | 1.5804 |  | 0.34074
2002 | 8 | Loop | P7 |  | 1.9535 |  | 8.1981 |  | 0.55434
2002 | 8 | Loop | P6 |  | -0.092822 |  | 1.7938 |  | 0.3393
2002 | 8 | LBO1 | 132 | 10 | 10.4741 |  | 24.984 |  | 1.0992
2002 | 8 | LBO1 | 131 | 15 | 14.5575 |  | 29.2412 |  | 1.3457
2002 | 8 | LBO1 | 130 | 20 | 23.1606 |  | 39.2049 |  | 1.9928
2002 | 8 | LBO1 | 129 | 25 | 23.7218 |  | 39.8393 |  | 2.0549
2002 | 8 | LBO1 | 128 | 26 | 25.8649 | 26.1433 | 43.2127 | 43.2283 | 2.2283 | 2.2326
2002 | 8 | LBO2 | 127 | 2 | 6.3605 |  | 19.5984 |  | 0.93551
2002 | 8 | LBO2 | 126 | 10 | 7.806 |  | 20.8348 |  | 0.97426
2002 | 8 | LBO2 | 124 | 20 | 17.8638 |  | 34.6514 |  | 1.6623
2002 | 8 | LBO2 | 122 | 30 | 27.0458 |  | 45.2656 |  | 2.2536
2002 | 8 | LBO2 | 118 | 50 | 29.0267 | 27.3303 | 46.0692 | 46.1203 | 2.3893 | 2.3426
2002 | 8 | LGO4 | 42 | 2 | 0.034279 |  | 2.2838 |  | 0.51865
2002 | 8 | LGO4 | 41 | 10 | 0.088211 |  | 2.6505 |  | 0.5745
2002 | 8 | LGO4 | 40 | 15 | 4.6375 |  | 8.3664 |  | 0.80714
2002 | 8 | LGO4 | 39 | 20 | 4.8597 |  | 8.3857 |  | 0.85881
2002 | 8 | LGO4 | 38 | 25 | 7.922 |  | 12.1231 |  | 0.9965
2002 | 8 | LGO4 | 36 | 30 | 18.8896 |  | 26.2484 |  | 1.7546
2002 | 8 | LGO4 | 35 | 35 | 22.602 |  | 30.8455 |  | 1.8826
2002 | 8 | LGO4 | 34 | 40 | 25.7587 |  | 35.1039 |  | 2.0569
2002 | 8 | LGO4 | 33 | 45 | 29.9385 |  | 41.3958 |  | 2.2492
2002 | 8 | LGO4 | 32 | 75 | 27.0055 |  | 42.3221 |  | 2.3839
2002 | 8 | LGO4 | 31 | 100 | 30.5609 |  | 50.3294 |  | 2.6132
2002 | 8 | LGO4 | 30 | 126 | 32.8811 |  | 51.0173 |  | 2.6374
2002 | 8 | LGO4 | 29 | 130 | 32.315 | 32.6545 | 53.6168 | 36.4938 | 2.6329 | 2.1716
2002 | 8 | LBO6 | 103 | 2 | 6.2521 |  | 13.5068 |  | 0.77275
2002 | 8 | LBO6 | 102 | 10 | 11.2263 |  | 21.7527 |  | 1.1492
2002 | 8 | LBO6 | 101 | 15 | 23.2364 |  | 41.245 |  | 1.9431
2002 | 8 | LBO6 | 100 | 20 | 19.4708 |  | 32.6288 |  | 1.7397
2002 | 8 | LBO6 | 99 | 25 | 18.5736 |  | 31.2963 |  | 1.7119
2002 | 8 | LBO6 | 98 | 30 | 20.6535 |  | 33.9658 |  | 1.8864
2002 | 8 | LBO6 | 97 | 35 | 24.7046 |  | 38.6605 |  | 2.1407
2002 | 8 | LBO6 | 96 | 40 | 25.7191 |  | 39.5899 |  | 2.2121
2002 | 8 | LBO6 | 95 | 45 | 27.0717 |  | 40.7739 |  | 2.2103
2002 | 8 | LBO6 | 94 | 50 | 30.0592 | 30.3979 | 48.1062 | 44.1157 | 2.4192 | 2.4055
2002 | 8 | LBO6 | 93 | 75 | 34.0644 |  | 58.2767 |  | 2.7622
2002 | 8 | LBO6 | 92 | 100 | 33.8948 |  | 66.1968 |  | 2.7247
|  | Count | 119 |  |  | 16
Samples analysed 119 + 16 replicates = 135 samples total