## File List
Number of Files= |  | 11
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2002-10-0006 | 2002-10-0006 | 12 | 12 | 2002-10-0006 & 2002-10-0006
2 | 2002-10-0009 | 2002-10-0009 | 14 | 16 | 2002-10-0009 & 2002-10-0009
3 | 2002-10-0014 | 2002-10-0014 | 18 | 20 | 2002-10-0014 & 2002-10-0014
4 | 2002-10-0017 | 2002-10-0017 | 22 | 23 | 2002-10-0017 & 2002-10-0017
5 | 2002-10-0019 | 2002-10-0019 | 25 | 26 | 2002-10-0019 & 2002-10-0019
6 | 2002-10-0025 | 2002-10-0025 | 28 | 29 | 2002-10-0025 & 2002-10-0025
7 | 2002-10-0027 | 2002-10-0027 | 31 | 33 | 2002-10-0027 & 2002-10-0027
8 | 2002-10-0036 | 2002-10-0036 | 35 | 36 | 2002-10-0036 & 2002-10-0036
9 | 2002-10-0040 | 2002-10-0040 | 38 | 39 | 2002-10-0040 & 2002-10-0040
10 | 2002-10-0042 | 2002-10-0042 | 41 | 41 | 2002-10-0042 & 2002-10-0042
11 | 2002-10-0048 | 2002-10-0048 | 43 | 43 | 2002-10-0048 & 2002-10-0048

## (Sal0 - Sal_bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 8.313e-05 |  | X | CALC Y
m= | -7.4279e-08 | 2.2594e-06 |  | Std Dev of Resid |  | 0.00084287 |  | 203.562 | 0.00071076
b= | 0.00072588 | 0.00075745 |  | Resid Sum of Squares |  | 9.2356e-06 |  | 531.811 | 0.00068638
# of Values Extracted = |  |  | 22
# of Values Used in Fit = |  |  | 15
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 93.0005 | 29.3213 | 0.011739 | 0.013432 | 0.00071898 | -0.012713 |  | 425.043 | 0.00025559
2 | YES | 425.043 | 29.0431 | 0.00042052 | 0.00025559 | 0.00069431 | 0.00043873 |  | 425.043 | -4.3869e-05
2 | YES | 425.043 | 29.0431 | 0.00042052 | -4.3869e-05 | 0.00069431 | 0.00073818 |  | 390.286 | -1.1444e-05
2 | YES | 390.286 | 29.0419 | 0.00018598 | -1.1444e-05 | 0.00069689 | 0.00070834 |  | 531.811 | 0.001648
3 | YES | 531.811 | 28.9892 | 0.00020295 | 0.001648 | 0.00068638 | -0.00096157 |  | 399.829 | 0.00073814
3 | NO | 499.807 | 28.9875 | 0.00021081 | -0.0027428 | 0.00068876 | 0.0034315 |  | 203.562 | 0.00084877
3 | YES | 399.829 | 28.9802 | 0.00022595 | 0.00073814 | 0.00069618 | -4.196e-05 |  | 203.562 | 0.00094795
4 | YES | 203.562 | 27.6083 | 0.00042898 | 0.00084877 | 0.00071076 | -0.00013801 |  | 230.436 | 0.00094795
4 | YES | 203.562 | 27.6083 | 0.00042898 | 0.00094795 | 0.00071076 | -0.00023719 |  | 230.436 | 0.0014477
5 | YES | 230.436 | 27.6128 | 0.00073753 | 0.00094795 | 0.00070877 | -0.00023919 |  | 245.788 | 0.0012951
5 | YES | 230.436 | 27.6128 | 0.00073753 | 0.0014477 | 0.00070877 | -0.00073891 |  | 225.062 | 0.00051498
6 | YES | 245.788 | 28.9381 | 0.00020177 | 0.0012951 | 0.00070763 | -0.00058746 |  | 365.222 | 0.0024414
6 | YES | 225.062 | 28.936 | 0.00027058 | 0.00051498 | 0.00070917 | 0.00019418 |  | 340.375 | 0.00050354
7 | YES | 365.222 | 28.9393 | 0.00020308 | 0.0024414 | 0.00069875 | -0.0017427 |  | 300.318 | -0.00061989
7 | YES | 340.375 | 28.9384 | 0.00024307 | 0.00050354 | 0.0007006 | 0.00019706 |  | 299.758 | -0.00038338
7 | YES | 300.318 | 28.9383 | 0.00019301 | -0.00061989 | 0.00070358 | 0.0013235
8 | NO | 148.156 | 28.8266 | 0.00022005 | 0.0089092 | 0.00071488 | -0.0081944 |  |  | 0.00070203
8 | NO | 124.894 | 28.8146 | 0.00017728 | -0.001358 | 0.00071661 | 0.0020746
9 | NO | 327.231 | 30.2792 | 0.00023344 | 0.0065575 | 0.00070158 | -0.0058559
9 | YES | 299.758 | 30.2679 | 0.00020056 | -0.00038338 | 0.00070362 | 0.001087
10 | NO | 265.841 | 30.232 | 0.0003929 | 0.0031071 | 0.00070614 | -0.0024009
11 | NO | 271.276 | 30.2376 | 0.00021394 | 0.0027924 | 0.00070573 | -0.0020866
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal_bot) (2)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 3.0577e-05 |  | X | CALC Y
m= | -2.0623e-06 | 0.00010344 |  | Std Dev of Resid |  | 0.00084289 |  | 2 | 0.00070781
b= | 0.00071193 | 0.00054212 |  | Resid Sum of Squares |  | 9.2361e-06 |  | 9 | 0.00069337
# of Values Extracted = |  |  | 22
# of Values Used in Fit = |  |  | 15
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 93.0005 | 29.3213 | 0.011739 | 0.013432 | 0.00070987 | -0.012722 |  | 2 | 0.00025559
2 | YES | 425.043 | 29.0431 | 0.00042052 | 0.00025559 | 0.00070781 | 0.00045222 |  | 2 | -4.3869e-05
2 | YES | 425.043 | 29.0431 | 0.00042052 | -4.3869e-05 | 0.00070781 | 0.00075168 |  | 2 | -1.1444e-05
2 | YES | 390.286 | 29.0419 | 0.00018598 | -1.1444e-05 | 0.00070781 | 0.00071925 |  | 3 | 0.001648
3 | YES | 531.811 | 28.9892 | 0.00020295 | 0.001648 | 0.00070574 | -0.00094221 |  | 3 | 0.00073814
3 | NO | 499.807 | 28.9875 | 0.00021081 | -0.0027428 | 0.00070574 | 0.0034485 |  | 4 | 0.00084877
3 | YES | 399.829 | 28.9802 | 0.00022595 | 0.00073814 | 0.00070574 | -3.24e-05 |  | 4 | 0.00094795
4 | YES | 203.562 | 27.6083 | 0.00042898 | 0.00084877 | 0.00070368 | -0.00014509 |  | 5 | 0.00094795
4 | YES | 203.562 | 27.6083 | 0.00042898 | 0.00094795 | 0.00070368 | -0.00024427 |  | 5 | 0.0014477
5 | YES | 230.436 | 27.6128 | 0.00073753 | 0.00094795 | 0.00070162 | -0.00024633 |  | 6 | 0.0012951
5 | YES | 230.436 | 27.6128 | 0.00073753 | 0.0014477 | 0.00070162 | -0.00074606 |  | 6 | 0.00051498
6 | YES | 245.788 | 28.9381 | 0.00020177 | 0.0012951 | 0.00069956 | -0.00059553 |  | 7 | 0.0024414
6 | YES | 225.062 | 28.936 | 0.00027058 | 0.00051498 | 0.00069956 | 0.00018457 |  | 7 | 0.00050354
7 | YES | 365.222 | 28.9393 | 0.00020308 | 0.0024414 | 0.00069749 | -0.0017439 |  | 7 | -0.00061989
7 | YES | 340.375 | 28.9384 | 0.00024307 | 0.00050354 | 0.00069749 | 0.00019395 |  | 9 | -0.00038338
7 | YES | 300.318 | 28.9383 | 0.00019301 | -0.00061989 | 0.00069749 | 0.0013174
8 | NO | 148.156 | 28.8266 | 0.00022005 | 0.0089092 | 0.00069543 | -0.0082138 |  |  | 0.00070203
8 | NO | 124.894 | 28.8146 | 0.00017728 | -0.001358 | 0.00069543 | 0.0020535
9 | NO | 327.231 | 30.2792 | 0.00023344 | 0.0065575 | 0.00069337 | -0.0058641
9 | YES | 299.758 | 30.2679 | 0.00020056 | -0.00038338 | 0.00069337 | 0.0010767
10 | NO | 265.841 | 30.232 | 0.0003929 | 0.0031071 | 0.00069131 | -0.0024158
11 | NO | 271.276 | 30.2376 | 0.00021394 | 0.0027924 | 0.00068925 | -0.0021031
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.00029753 |  | X | CALC Y
m= | -1.4256e-07 | 2.2919e-06 |  | Std Dev of Resid |  | 0.000855 |  | 203.562 | 0.0032909
b= | 0.0033199 | 0.00076834 |  | Resid Sum of Squares |  | 9.5033e-06 |  | 531.811 | 0.0032441
# of Values Extracted = |  |  | 22
# of Values Used in Fit = |  |  | 15
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 93.0005 | 29.3195 | 0.011425 | 0.011574 | 0.0033067 | -0.0082671 |  | 425.043 | 0.0031261
2 | YES | 425.043 | 29.0459 | 0.0010568 | 0.0031261 | 0.0032593 | 0.0001332 |  | 425.043 | 0.0028267
2 | YES | 425.043 | 29.0459 | 0.0010568 | 0.0028267 | 0.0032593 | 0.00043265 |  | 390.286 | 0.0027618
2 | YES | 390.286 | 29.0447 | 0.0011808 | 0.0027618 | 0.0032643 | 0.00050245 |  | 531.811 | 0.003952
3 | YES | 531.811 | 28.9916 | 0.0012707 | 0.003952 | 0.0032441 | -0.00070791 |  | 399.829 | 0.0030861
3 | NO | 499.807 | 28.9897 | 0.0011023 | -0.00045013 | 0.0032487 | 0.0036988 |  | 203.562 | 0.0034714
3 | YES | 399.829 | 28.9826 | 0.0010635 | 0.0030861 | 0.0032629 | 0.00017684 |  | 203.562 | 0.0035706
4 | YES | 203.562 | 27.611 | 0.0008184 | 0.0034714 | 0.0032909 | -0.00018046 |  | 230.436 | 0.0036621
4 | YES | 203.562 | 27.611 | 0.0008184 | 0.0035706 | 0.0032909 | -0.00027965 |  | 230.436 | 0.0041618
5 | YES | 230.436 | 27.6156 | 0.0013189 | 0.0036621 | 0.0032871 | -0.00037503 |  | 245.788 | 0.0038071
5 | YES | 230.436 | 27.6156 | 0.0013189 | 0.0041618 | 0.0032871 | -0.00087475 |  | 225.062 | 0.0029526
6 | YES | 245.788 | 28.9406 | 0.0012232 | 0.0038071 | 0.0032849 | -0.00052218 |  | 365.222 | 0.0049629
6 | YES | 225.062 | 28.9385 | 0.0013314 | 0.0029526 | 0.0032878 | 0.00033527 |  | 340.375 | 0.0031147
7 | YES | 365.222 | 28.9419 | 0.0012795 | 0.0049629 | 0.0032679 | -0.0016951 |  | 300.318 | 0.001915
7 | YES | 340.375 | 28.941 | 0.0013182 | 0.0031147 | 0.0032714 | 0.00015671 |  | 299.758 | 0.0017414
7 | YES | 300.318 | 28.9408 | 0.0012615 | 0.001915 | 0.0032771 | 0.0013621
8 | NO | 148.156 | 28.8292 | 0.00041928 | 0.011511 | 0.0032988 | -0.008212 |  |  | 0.0032742
8 | NO | 124.894 | 28.817 | 0.00069886 | 0.0010109 | 0.0033021 | 0.0022912
9 | NO | 327.231 | 30.2813 | 0.0012749 | 0.0087128 | 0.0032733 | -0.0054395
9 | YES | 299.758 | 30.27 | 0.0012105 | 0.0017414 | 0.0032772 | 0.0015358
10 | NO | 265.841 | 30.2337 | 0.0012026 | 0.0048389 | 0.003282 | -0.0015569
11 | NO | 271.276 | 30.2394 | 0.0011135 | 0.0045948 | 0.0032813 | -0.0013135
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_bot) (2)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.022033 |  | X | CALC Y
m= | -5.6163e-05 | 0.00010378 |  | Std Dev of Resid |  | 0.00084565 |  | 2 | 0.0034314
b= | 0.0035437 | 0.00054389 |  | Resid Sum of Squares |  | 9.2967e-06 |  | 9 | 0.0030383
# of Values Extracted = |  |  | 22
# of Values Used in Fit = |  |  | 15
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 93.0005 | 29.3195 | 0.011425 | 0.011574 | 0.0034876 | -0.0080862 |  | 2 | 0.0031261
2 | YES | 425.043 | 29.0459 | 0.0010568 | 0.0031261 | 0.0034314 | 0.00030527 |  | 2 | 0.0028267
2 | YES | 425.043 | 29.0459 | 0.0010568 | 0.0028267 | 0.0034314 | 0.00060472 |  | 2 | 0.0027618
2 | YES | 390.286 | 29.0447 | 0.0011808 | 0.0027618 | 0.0034314 | 0.00066957 |  | 3 | 0.003952
3 | YES | 531.811 | 28.9916 | 0.0012707 | 0.003952 | 0.0033752 | -0.00057678 |  | 3 | 0.0030861
3 | NO | 499.807 | 28.9897 | 0.0011023 | -0.00045013 | 0.0033752 | 0.0038254 |  | 4 | 0.0034714
3 | YES | 399.829 | 28.9826 | 0.0010635 | 0.0030861 | 0.0033752 | 0.00028916 |  | 4 | 0.0035706
4 | YES | 203.562 | 27.611 | 0.0008184 | 0.0034714 | 0.0033191 | -0.00015228 |  | 5 | 0.0036621
4 | YES | 203.562 | 27.611 | 0.0008184 | 0.0035706 | 0.0033191 | -0.00025147 |  | 5 | 0.0041618
5 | YES | 230.436 | 27.6156 | 0.0013189 | 0.0036621 | 0.0032629 | -0.00039919 |  | 6 | 0.0038071
5 | YES | 230.436 | 27.6156 | 0.0013189 | 0.0041618 | 0.0032629 | -0.00089891 |  | 6 | 0.0029526
6 | YES | 245.788 | 28.9406 | 0.0012232 | 0.0038071 | 0.0032068 | -0.00060031 |  | 7 | 0.0049629
6 | YES | 225.062 | 28.9385 | 0.0013314 | 0.0029526 | 0.0032068 | 0.00025418 |  | 7 | 0.0031147
7 | YES | 365.222 | 28.9419 | 0.0012795 | 0.0049629 | 0.0031506 | -0.0018123 |  | 7 | 0.001915
7 | YES | 340.375 | 28.941 | 0.0013182 | 0.0031147 | 0.0031506 | 3.5896e-05 |  | 9 | 0.0017414
7 | YES | 300.318 | 28.9408 | 0.0012615 | 0.001915 | 0.0031506 | 0.0012356
8 | NO | 148.156 | 28.8292 | 0.00041928 | 0.011511 | 0.0030944 | -0.0084164 |  |  | 0.0032742
8 | NO | 124.894 | 28.817 | 0.00069886 | 0.0010109 | 0.0030944 | 0.0020835
9 | NO | 327.231 | 30.2813 | 0.0012749 | 0.0087128 | 0.0030383 | -0.0056745
9 | YES | 299.758 | 30.27 | 0.0012105 | 0.0017414 | 0.0030383 | 0.0012969
10 | NO | 265.841 | 30.2337 | 0.0012026 | 0.0048389 | 0.0029821 | -0.0018568
11 | NO | 271.276 | 30.2394 | 0.0011135 | 0.0045948 | 0.0029259 | -0.0016689
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_bot | Sal0 |  | Sal0 - Sal_bot
Comp 2 | Sal_bot | Sal1 |  | Sal1 - Sal_bot
Average Size: | 12
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_bot | Sal0 | Sal0 | (S-P) | Sal_bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2002-10-0006 | 2002-10-0006 | 242 | 96 | 93.0005 | 3.1034 | -2.9995 | 29.3079 | 29.3213 | 0.011739 | 0.013432 | 29.3079 | 29.3195 | 0.011425 | 0.011574
2002-10-0009 | 2002-10-0009 | 242 | 430 | 425.043 | 5.2262 | -4.9569 | 29.0428 | 29.0431 | 0.00042052 | 0.00025559 | 29.0428 | 29.0459 | 0.0010568 | 0.0031261
2002-10-0009 | 2002-10-0009 | 242 | 420 | 425.043 | 5.2262 | 5.0431 | 29.0431 | 29.0431 | 0.00042052 | -4.3869e-05 | 29.0431 | 29.0459 | 0.0010568 | 0.0028267
2002-10-0009 | 2002-10-0009 | 121 | 390 | 390.286 | 0.029171 | 0.28601 | 29.0419 | 29.0419 | 0.00018598 | -1.1444e-05 | 29.0419 | 29.0447 | 0.0011808 | 0.0027618
2002-10-0014 | 2002-10-0014 | 121 | 532 | 531.811 | 0.027035 | -0.18872 | 28.9876 | 28.9892 | 0.00020295 | 0.001648 | 28.9876 | 28.9916 | 0.0012707 | 0.003952
2002-10-0014 | 2002-10-0014 | 121 | 500 | 499.807 | 0.032718 | -0.19275 | 28.9902 | 28.9875 | 0.00021081 | -0.0027428 | 28.9902 | 28.9897 | 0.0011023 | -0.00045013
2002-10-0014 | 2002-10-0014 | 121 | 400 | 399.829 | 0.030556 | -0.17139 | 28.9795 | 28.9802 | 0.00022595 | 0.00073814 | 28.9795 | 28.9826 | 0.0010635 | 0.0030861
2002-10-0017 | 2002-10-0017 | 242 | 207 | 203.562 | 3.7991 | -3.438 | 27.6075 | 27.6083 | 0.00042898 | 0.00084877 | 27.6075 | 27.611 | 0.0008184 | 0.0034714
2002-10-0017 | 2002-10-0017 | 242 | 200 | 203.562 | 3.7991 | 3.562 | 27.6074 | 27.6083 | 0.00042898 | 0.00094795 | 27.6074 | 27.611 | 0.0008184 | 0.0035706
2002-10-0019 | 2002-10-0019 | 242 | 236 | 230.436 | 5.4351 | -5.5635 | 27.6119 | 27.6128 | 0.00073753 | 0.00094795 | 27.6119 | 27.6156 | 0.0013189 | 0.0036621
2002-10-0019 | 2002-10-0019 | 242 | 225 | 230.436 | 5.4351 | 5.4365 | 27.6114 | 27.6128 | 0.00073753 | 0.0014477 | 27.6114 | 27.6156 | 0.0013189 | 0.0041618
2002-10-0025 | 2002-10-0025 | 121 | 246 | 245.788 | 0.030154 | -0.21176 | 28.9368 | 28.9381 | 0.00020177 | 0.0012951 | 28.9368 | 28.9406 | 0.0012232 | 0.0038071
2002-10-0025 | 2002-10-0025 | 121 | 225 | 225.062 | 0.029914 | 0.062439 | 28.9355 | 28.936 | 0.00027058 | 0.00051498 | 28.9355 | 28.9385 | 0.0013314 | 0.0029526
2002-10-0027 | 2002-10-0027 | 121 | 365 | 365.222 | 0.032491 | 0.22195 | 28.9369 | 28.9393 | 0.00020308 | 0.0024414 | 28.9369 | 28.9419 | 0.0012795 | 0.0049629
2002-10-0027 | 2002-10-0027 | 121 | 340 | 340.375 | 0.027399 | 0.37518 | 28.9379 | 28.9384 | 0.00024307 | 0.00050354 | 28.9379 | 28.941 | 0.0013182 | 0.0031147
2002-10-0027 | 2002-10-0027 | 121 | 300 | 300.318 | 0.029138 | 0.31796 | 28.9389 | 28.9383 | 0.00019301 | -0.00061989 | 28.9389 | 28.9408 | 0.0012615 | 0.001915
2002-10-0036 | 2002-10-0036 | 121 | 148 | 148.156 | 0.02469 | 0.15556 | 28.8177 | 28.8266 | 0.00022005 | 0.0089092 | 28.8177 | 28.8292 | 0.00041928 | 0.011511
2002-10-0036 | 2002-10-0036 | 121 | 125 | 124.894 | 0.019284 | -0.10556 | 28.816 | 28.8146 | 0.00017728 | -0.001358 | 28.816 | 28.817 | 0.00069886 | 0.0010109
2002-10-0040 | 2002-10-0040 | 121 | 327 | 327.231 | 0.025931 | 0.23077 | 30.2726 | 30.2792 | 0.00023344 | 0.0065575 | 30.2726 | 30.2813 | 0.0012749 | 0.0087128
2002-10-0040 | 2002-10-0040 | 121 | 300 | 299.758 | 0.037645 | -0.24207 | 30.2683 | 30.2679 | 0.00020056 | -0.00038338 | 30.2683 | 30.27 | 0.0012105 | 0.0017414
2002-10-0042 | 2002-10-0042 | 121 | 276 | 265.841 | 0.035716 | -10.1587 | 30.2289 | 30.232 | 0.0003929 | 0.0031071 | 30.2289 | 30.2337 | 0.0012026 | 0.0048389
2002-10-0048 | 2002-10-0048 | 121 | 271 | 271.276 | 0.027281 | 0.27628 | 30.2348 | 30.2376 | 0.00021394 | 0.0027924 | 30.2348 | 30.2394 | 0.0011135 | 0.0045948
Create Fit Sheet