## File List
Number of Files= |  | 11
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2002-10-0006 | 2002-10-0006 | 11 | 18 | 2002-10-0006 & 2002-10-0006
2 | 2002-10-0009 | 2002-10-0009 | 20 | 38 | 2002-10-0009 & 2002-10-0009
3 | 2002-10-0014 | 2002-10-0014 | 40 | 57 | 2002-10-0014 & 2002-10-0014
4 | 2002-10-0017 | 2002-10-0017 | 59 | 70 | 2002-10-0017 & 2002-10-0017
5 | 2002-10-0019 | 2002-10-0019 | 72 | 85 | 2002-10-0019 & 2002-10-0019
6 | 2002-10-0025 | 2002-10-0025 | 87 | 99 | 2002-10-0025 & 2002-10-0025
7 | 2002-10-0027 | 2002-10-0027 | 101 | 116 | 2002-10-0027 & 2002-10-0027
8 | 2002-10-0036 | 2002-10-0036 | 118 | 126 | 2002-10-0036 & 2002-10-0036
9 | 2002-10-0040 | 2002-10-0040 | 128 | 141 | 2002-10-0040 & 2002-10-0040
10 | 2002-10-0042 | 2002-10-0042 | 143 | 154 | 2002-10-0042 & 2002-10-0042
11 | 2002-10-0048 | 2002-10-0048 | 156 | 169 | 2002-10-0048 & 2002-10-0048

## (SBE Oxy - Oxy_Tit) (2)
Calculation of Linear Least Squares Fit For
(SBE Oxy - Oxy_Tit)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (SBE Oxy - Oxy_Tit), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | #VALUE! |  | X | CALC Y
m= | #VALUE! | #VALUE! |  | Std Dev of Resid |  | #VALUE! |  | #NAME? | #NAME?
b= | #VALUE! | #VALUE! |  | Resid Sum of Squares |  | #VALUE! |  | #NAME? | #NAME?
# of Values Extracted = |  |  | 149
# of Values Used in Fit = |  |  | 123
File | Use | Pressure | SBE Oxy | SBE Oxy | Diff (SBE Oxy - Oxy_Tit) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 93.0005 | 5.4982 | 0.0042139 | -0.56178 | #VALUE! | #VALUE! |  | 1 | -0.56178
1 | YES | 93.0005 | 5.4982 | 0.0042139 | -0.56878 | #VALUE! | #VALUE! |  | 1 | -0.56878
1 | YES | 74.993 | 5.5185 | 0.0056053 | -0.5555 | #VALUE! | #VALUE! |  | 1 | -0.5555
1 | YES | 49.7767 | 5.4716 | 0.0042449 | -0.58837 | #VALUE! | #VALUE! |  | 1 | -0.58837
1 | YES | 24.9559 | 5.4095 | 0.010454 | -0.5595 | #VALUE! | #VALUE! |  | 1 | -0.5595
1 | NO | 19.9841 | 5.4445 | 0.050275 | -0.49454 | #VALUE! | #VALUE! |  | 2 | -0.23281
1 | NO | 10.4463 | 5.5676 | 0.16353 | -0.50342 | #VALUE! | #VALUE! |  | 2 | -0.21181
1 | NO | 5.6007 | 5.6516 | 0.13753 | -0.74644 | #VALUE! | #VALUE! |  | 2 | -0.29441
2 | YES | 425.043 | 2.9472 | 0.0038448 | -0.23281 | #VALUE! | #VALUE! |  | 2 | -0.23878
2 | YES | 425.043 | 2.9472 | 0.0038448 | -0.21181 | #VALUE! | #VALUE! |  | 2 | -0.22873
2 | YES | 390.286 | 2.9946 | 0.002704 | -0.29441 | #VALUE! | #VALUE! |  | 2 | -0.22602
2 | YES | 350.507 | 2.9582 | 0.0031969 | -0.23878 | #VALUE! | #VALUE! |  | 2 | -0.20988
2 | YES | 300.131 | 2.9603 | 0.0027771 | -0.22873 | #VALUE! | #VALUE! |  | 2 | -0.14407
2 | YES | 275.398 | 2.955 | 0.0026394 | -0.22602 | #VALUE! | #VALUE! |  | 2 | -0.16473
2 | YES | 250.124 | 2.8841 | 0.0031916 | -0.20988 | #VALUE! | #VALUE! |  | 2 | -0.20097
2 | YES | 225.281 | 2.5879 | 0.0026544 | -0.14407 | #VALUE! | #VALUE! |  | 2 | -0.31616
2 | YES | 200.217 | 2.5463 | 0.0025166 | -0.16473 | #VALUE! | #VALUE! |  | 2 | -0.5824
2 | YES | 175.327 | 2.601 | 0.0025031 | -0.20097 | #VALUE! | #VALUE! |  | 2 | -0.59506
2 | YES | 150.105 | 3.2318 | 0.0028781 | -0.31616 | #VALUE! | #VALUE! |  | 2 | -0.59691
2 | YES | 125.178 | 4.2316 | 0.0060669 | -0.5824 | #VALUE! | #VALUE! |  | 2 | -0.58531
2 | YES | 100.111 | 4.8669 | 0.0070478 | -0.59506 | #VALUE! | #VALUE! |  | 2 | -0.67876
2 | YES | 75.3454 | 5.1131 | 0.004115 | -0.59691 | #VALUE! | #VALUE! |  | 2 | -0.52323
2 | YES | 49.9773 | 5.1867 | 0.0029604 | -0.58531 | #VALUE! | #VALUE! |  | 3 | -0.26956
2 | YES | 25.048 | 5.0622 | 0.12068 | -0.67876 | #VALUE! | #VALUE! |  | 3 | -0.25531
2 | YES | 20.1144 | 5.1168 | 0.12521 | -0.52323 | #VALUE! | #VALUE! |  | 3 | -0.28822
2 | NO | 10.585 | 5.4669 | 0.55484 | -0.14505 | #VALUE! | #VALUE! |  | 3 | -0.27792
2 | NO | 5.8145 | 5.7295 | 0.50475 | -0.86252 | #VALUE! | #VALUE! |  | 3 | -0.25607
3 | YES | 531.811 | 3.2094 | 0.0033264 | -0.26956 | #VALUE! | #VALUE! |  | 3 | -0.24213
3 | YES | 499.807 | 3.2547 | 0.0025067 | -0.25531 | #VALUE! | #VALUE! |  | 3 | -0.19747
3 | YES | 399.829 | 3.3118 | 0.0028592 | -0.28822 | #VALUE! | #VALUE! |  | 3 | -0.21952
3 | YES | 349.987 | 3.3421 | 0.0034234 | -0.27792 | #VALUE! | #VALUE! |  | 3 | -0.23191
3 | YES | 300.153 | 3.2459 | 0.0028727 | -0.25607 | #VALUE! | #VALUE! |  | 3 | -0.23948
3 | YES | 274.717 | 3.0859 | 0.0034325 | -0.24213 | #VALUE! | #VALUE! |  | 3 | -0.049322
3 | YES | 250.083 | 2.9845 | 0.0039687 | -0.19747 | #VALUE! | #VALUE! |  | 3 | -0.42482
3 | YES | 199.928 | 2.8985 | 0.0036677 | -0.21952 | #VALUE! | #VALUE! |  | 3 | -0.55364
3 | YES | 174.933 | 2.9331 | 0.0027325 | -0.23191 | #VALUE! | #VALUE! |  | 3 | -0.5277
3 | YES | 149.935 | 2.8715 | 0.0023738 | -0.23948 | #VALUE! | #VALUE! |  | 3 | -0.38585
3 | YES | 124.762 | 2.8997 | 0.0050485 | -0.049322 | #VALUE! | #VALUE! |  | 4 | 0.086132
3 | YES | 99.9959 | 3.8962 | 0.007911 | -0.42482 | #VALUE! | #VALUE! |  | 4 | 0.092132
3 | YES | 74.8464 | 4.5144 | 0.0034083 | -0.55364 | #VALUE! | #VALUE! |  | 4 | 0.061909
3 | YES | 50.0295 | 4.3553 | 0.0035768 | -0.5277 | #VALUE! | #VALUE! |  | 4 | 0.061521
3 | YES | 24.9121 | 4.3571 | 0.01604 | -0.38585 | #VALUE! | #VALUE! |  | 4 | -0.016835
3 | NO | 19.9652 | 4.395 | 0.05518 | -0.40204 | #VALUE! | #VALUE! |  | 4 | -0.079273
3 | NO | 10.4509 | 5.0328 | 0.88914 | 0.1688 | #VALUE! | #VALUE! |  | 4 | -0.0038264
3 | NO | 5.7254 | 5.3784 | 0.9098 | -1.7796 | #VALUE! | #VALUE! |  | 4 | -0.54423
4 | YES | 203.562 | 0.98613 | 0.0071695 | 0.086132 | #VALUE! | #VALUE! |  | 4 | -0.28032
4 | YES | 203.562 | 0.98613 | 0.0071695 | 0.092132 | #VALUE! | #VALUE! |  | 4 | 0.0049338
4 | YES | 179.953 | 1.1059 | 0.0029326 | 0.061909 | #VALUE! | #VALUE! |  | 5 | 0.045764
4 | YES | 159.837 | 1.2565 | 0.0030444 | 0.061521 | #VALUE! | #VALUE! |  | 5 | 0.055765
4 | YES | 125.028 | 1.4802 | 0.0032515 | -0.016835 | #VALUE! | #VALUE! |  | 5 | 0.038354
4 | YES | 100.046 | 1.5127 | 0.0025495 | -0.079273 | #VALUE! | #VALUE! |  | 5 | 0.044355
4 | YES | 75.0908 | 1.8402 | 0.010284 | -0.0038264 | #VALUE! | #VALUE! |  | 5 | 0.016504
4 | YES | 49.7819 | 3.7258 | 0.0099823 | -0.54423 | #VALUE! | #VALUE! |  | 5 | -0.02819
4 | YES | 25.0215 | 3.8437 | 0.0615 | -0.28032 | #VALUE! | #VALUE! |  | 5 | -0.064479
4 | YES | 20.0049 | 4.1979 | 0.5042 | 0.0049338 | #VALUE! | #VALUE! |  | 5 | -0.030686
4 | NO | 10.4631 | 4.8277 | 0.72807 | -0.64129 | #VALUE! | #VALUE! |  | 5 | -0.011083
4 | NO | 5.6794 | 5.2891 | 0.39367 | -1.2959 | #VALUE! | #VALUE! |  | 5 | -0.51189
5 | YES | 230.436 | 0.96476 | 0.060041 | 0.045764 | #VALUE! | #VALUE! |  | 5 | -0.25813
5 | YES | 230.436 | 0.96476 | 0.060041 | 0.055765 | #VALUE! | #VALUE! |  | 5 | -0.28941
5 | YES | 199.951 | 1.2633 | 0.0045577 | 0.038354 | #VALUE! | #VALUE! |  | 6 | -0.22255
5 | YES | 199.951 | 1.2633 | 0.0045577 | 0.044355 | #VALUE! | #VALUE! |  | 6 | -0.21327
5 | YES | 180.013 | 1.4525 | 0.0024971 | 0.016504 | #VALUE! | #VALUE! |  | 6 | -0.21982
5 | YES | 140.031 | 1.7078 | 0.0031153 | -0.02819 | #VALUE! | #VALUE! |  | 6 | -0.23118
5 | YES | 119.967 | 1.6755 | 0.002858 | -0.064479 | #VALUE! | #VALUE! |  | 6 | -0.24362
5 | YES | 100.086 | 1.5063 | 0.0032121 | -0.030686 | #VALUE! | #VALUE! |  | 6 | -0.20944
5 | YES | 74.9902 | 2.1589 | 0.0063424 | -0.011083 | #VALUE! | #VALUE! |  | 6 | -0.2728
5 | YES | 50.1124 | 3.9341 | 0.0076385 | -0.51189 | #VALUE! | #VALUE! |  | 6 | -0.41375
5 | YES | 25.0648 | 3.8949 | 0.17659 | -0.25813 | #VALUE! | #VALUE! |  | 6 | -0.34944
5 | YES | 20.0669 | 4.1916 | 0.44428 | -0.28941 | #VALUE! | #VALUE! |  | 6 | 0.031298
5 | NO | 10.5846 | 5.0869 | 0.97767 | -0.23512 | #VALUE! | #VALUE! |  | 6 | -0.37585
5 | NO | 5.8712 | 5.5948 | 0.81155 | -1.2022 | #VALUE! | #VALUE! |  | 7 | -0.2158
6 | YES | 245.788 | 3.0345 | 0.0023236 | -0.22255 | #VALUE! | #VALUE! |  | 7 | -0.224
6 | YES | 225.062 | 3.0187 | 0.0036009 | -0.21327 | #VALUE! | #VALUE! |  | 7 | -0.20624
6 | YES | 200.089 | 2.9762 | 0.0032016 | -0.21982 | #VALUE! | #VALUE! |  | 7 | -0.22463
6 | YES | 175.15 | 2.9428 | 0.0048339 | -0.23118 | #VALUE! | #VALUE! |  | 7 | -0.20863
6 | YES | 150.065 | 2.9344 | 0.0035503 | -0.24362 | #VALUE! | #VALUE! |  | 7 | -0.19365
6 | YES | 125.103 | 2.9066 | 0.002831 | -0.20944 | #VALUE! | #VALUE! |  | 7 | -0.21521
6 | YES | 100.214 | 3.4952 | 0.0066265 | -0.2728 | #VALUE! | #VALUE! |  | 7 | -0.19895
6 | YES | 75.055 | 3.7692 | 0.0029589 | -0.41375 | #VALUE! | #VALUE! |  | 7 | -0.17825
6 | YES | 50.2375 | 3.6466 | 0.0039432 | -0.34944 | #VALUE! | #VALUE! |  | 7 | -0.27891
6 | YES | 25.2176 | 3.8453 | 0.3789 | 0.031298 | #VALUE! | #VALUE! |  | 7 | -0.22113
6 | YES | 20.1861 | 4.1361 | 0.51501 | -0.37585 | #VALUE! | #VALUE! |  | 7 | -0.32988
6 | NO | 10.5415 | 5.0984 | 0.91172 | -0.19963 | #VALUE! | #VALUE! |  | 7 | 0.4135
6 | NO | 5.7269 | 5.5359 | 0.81973 | -1.5581 | #VALUE! | #VALUE! |  | 7 | -0.47229
7 | YES | 365.222 | 2.9502 | 0.0026096 | -0.2158 | #VALUE! | #VALUE! |  | 8 | -0.0076115
7 | YES | 340.375 | 2.992 | 0.0029833 | -0.224 | #VALUE! | #VALUE! |  | 8 | -0.032033
7 | YES | 300.318 | 3.0058 | 0.0030578 | -0.20624 | #VALUE! | #VALUE! |  | 8 | -0.010422
7 | YES | 249.735 | 2.9884 | 0.003645 | -0.22463 | #VALUE! | #VALUE! |  | 8 | 0.0014793
7 | YES | 249.735 | 2.9884 | 0.003645 | -0.20863 | #VALUE! | #VALUE! |  | 8 | -0.45383
7 | YES | 200.127 | 2.9564 | 0.0025588 | -0.19365 | #VALUE! | #VALUE! |  | 8 | -0.58426
7 | YES | 174.977 | 2.9148 | 0.0028399 | -0.21521 | #VALUE! | #VALUE! |  | 9 | -0.30158
7 | YES | 150.182 | 2.8611 | 0.0032064 | -0.19895 | #VALUE! | #VALUE! |  | 9 | -0.25767
7 | YES | 125.183 | 2.7828 | 0.0028789 | -0.17825 | #VALUE! | #VALUE! |  | 9 | -0.30422
7 | YES | 100.242 | 2.8091 | 0.0028018 | -0.27891 | #VALUE! | #VALUE! |  | 9 | -0.2902
7 | YES | 74.852 | 2.9699 | 0.0030026 | -0.22113 | #VALUE! | #VALUE! |  | 9 | -0.29686
7 | YES | 50.0154 | 3.0871 | 0.0026147 | -0.32988 | #VALUE! | #VALUE! |  | 9 | -0.3063
7 | YES | 25.0559 | 3.9975 | 0.70314 | 0.4135 | #VALUE! | #VALUE! |  | 9 | -0.21665
7 | YES | 20.031 | 4.3067 | 0.72174 | -0.47229 | #VALUE! | #VALUE! |  | 9 | -0.19554
7 | NO | 10.521 | 5.4261 | 0.87437 | -0.31494 | #VALUE! | #VALUE! |  | 9 | -0.25955
7 | NO | 5.8226 | 5.7895 | 0.86621 | -1.5025 | #VALUE! | #VALUE! |  | 9 | -0.11497
8 | YES | 148.156 | 1.6574 | 0.0094317 | -0.0076115 | #VALUE! | #VALUE! |  | 9 | 0.69365
8 | YES | 124.894 | 1.631 | 0.0027596 | -0.032033 | #VALUE! | #VALUE! |  | 10 | -0.29223
8 | YES | 99.9602 | 1.6416 | 0.0026387 | -0.010422 | #VALUE! | #VALUE! |  | 10 | -0.27183
8 | YES | 74.9002 | 1.8285 | 0.0029329 | 0.0014793 | #VALUE! | #VALUE! |  | 10 | -0.29423
8 | YES | 49.9939 | 3.6162 | 0.0076895 | -0.45383 | #VALUE! | #VALUE! |  | 10 | -0.25863
8 | YES | 24.9541 | 3.6757 | 0.20051 | -0.58426 | #VALUE! | #VALUE! |  | 10 | -0.25763
8 | NO | 19.9264 | 3.6399 | 0.17131 | -0.22109 | #VALUE! | #VALUE! |  | 10 | -0.33766
8 | NO | 10.3883 | 4.8242 | 1.8446 | 0.94018 | #VALUE! | #VALUE! |  | 10 | -0.22466
8 | NO | 5.6162 | 5.4984 | 1.9343 | -3.0616 | #VALUE! | #VALUE! |  | 10 | -0.20796
9 | YES | 327.231 | 3.1524 | 0.017763 | -0.30158 | #VALUE! | #VALUE! |  | 10 | -0.37858
9 | YES | 299.758 | 3.2753 | 0.0033401 | -0.25767 | #VALUE! | #VALUE! |  | 10 | -0.77869
9 | YES | 250.698 | 3.4738 | 0.0033096 | -0.30422 | #VALUE! | #VALUE! |  | 11 | -0.29322
9 | YES | 225.017 | 3.5058 | 0.0032599 | -0.2902 | #VALUE! | #VALUE! |  | 11 | -0.26988
9 | YES | 200.127 | 3.5481 | 0.0027365 | -0.29686 | #VALUE! | #VALUE! |  | 11 | -0.27097
9 | YES | 175.179 | 3.5507 | 0.0026001 | -0.3063 | #VALUE! | #VALUE! |  | 11 | -0.29776
9 | YES | 126.045 | 3.0924 | 0.0023376 | -0.21665 | #VALUE! | #VALUE! |  | 11 | -0.34518
9 | YES | 100.203 | 2.8025 | 0.003975 | -0.19554 | #VALUE! | #VALUE! |  | 11 | -0.33018
9 | YES | 65.274 | 2.2584 | 0.0034374 | -0.25955 | #VALUE! | #VALUE! |  | 11 | -0.38144
9 | YES | 50.0229 | 1.97 | 0.0090902 | -0.11497 | #VALUE! | #VALUE! |  | 11 | -0.46004
9 | YES | 25.0063 | 3.3527 | 0.88092 | 0.69365 | #VALUE! | #VALUE! |  | 11 | -0.53627
9 | NO | 19.9909 | 3.8137 | 0.97106 | -0.6413 | #VALUE! | #VALUE! |  | 11 | -0.46244
9 | NO | 10.4698 | 5.2634 | 1.1418 | 0.093365 | #VALUE! | #VALUE! |  | 11 | -0.45396
9 | NO | 5.7378 | 5.7878 | 1.0722 | -1.8441 | #VALUE! | #VALUE! |  | 11 | -0.99193
10 | YES | 265.841 | 3.4218 | 0.0040902 | -0.29223 | #VALUE! | #VALUE!
10 | YES | 250.683 | 3.4372 | 0.0029136 | -0.27183 | #VALUE! | #VALUE!
10 | YES | 200.3 | 3.5128 | 0.0033979 | -0.29423 | #VALUE! | #VALUE!
10 | YES | 139.735 | 3.2764 | 0.0026849 | -0.25863 | #VALUE! | #VALUE!
10 | YES | 139.735 | 3.2764 | 0.0026849 | -0.25763 | #VALUE! | #VALUE!
10 | YES | 79.8631 | 3.5863 | 0.032846 | -0.33766 | #VALUE! | #VALUE!
10 | YES | 79.8631 | 3.5863 | 0.032846 | -0.22466 | #VALUE! | #VALUE!
10 | YES | 52.0797 | 3.264 | 0.0056853 | -0.20796 | #VALUE! | #VALUE!
10 | YES | 25.1627 | 4.8604 | 0.15739 | -0.37858 | #VALUE! | #VALUE!
10 | YES | 20.1522 | 4.7863 | 0.16593 | -0.77869 | #VALUE! | #VALUE!
10 | NO | 10.3774 | 5.3925 | 0.81473 | 0.28949 | #VALUE! | #VALUE!
10 | NO | 5.4726 | 5.5801 | 0.94396 | -1.7089 | #VALUE! | #VALUE!
11 | YES | 271.276 | 3.2888 | 0.0035555 | -0.29322 | #VALUE! | #VALUE!
11 | YES | 249.893 | 3.3591 | 0.0039753 | -0.26988 | #VALUE! | #VALUE!
11 | YES | 200.159 | 3.452 | 0.0034615 | -0.27097 | #VALUE! | #VALUE!
11 | YES | 175.088 | 3.5212 | 0.0033392 | -0.29776 | #VALUE! | #VALUE!
11 | YES | 150.1 | 3.7568 | 0.0029467 | -0.34518 | #VALUE! | #VALUE!
11 | YES | 150.1 | 3.7568 | 0.0029467 | -0.33018 | #VALUE! | #VALUE!
11 | YES | 124.899 | 4.0206 | 0.00309 | -0.38144 | #VALUE! | #VALUE!
11 | YES | 99.9775 | 4.326 | 0.004067 | -0.46004 | #VALUE! | #VALUE!
11 | YES | 75.1659 | 4.7057 | 0.0038014 | -0.53627 | #VALUE! | #VALUE!
11 | YES | 50.0241 | 4.5726 | 0.0043606 | -0.46244 | #VALUE! | #VALUE!
11 | YES | 25.0665 | 5.27 | 0.13348 | -0.45396 | #VALUE! | #VALUE!
11 | YES | 20.1084 | 5.0161 | 0.37581 | -0.99193 | #VALUE! | #VALUE!
11 | NO | 10.5338 | 5.3836 | 0.70797 | 5.2946 | #VALUE! | #VALUE!
11 | NO | 5.7304 | 5.3738 | 0.8675 | -1.1802 | #VALUE! | #VALUE!
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
FIT vs. Pressure
FIT vs. SBE Oxy
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (SBE Oxy - Oxy_Tit) (3)
Calculation of Linear Least Squares Fit For
(SBE Oxy - Oxy_Tit)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (SBE Oxy - Oxy_Tit), Prop=SBE Oxy
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | #VALUE! |  | X | CALC Y
m= | #VALUE! | #VALUE! |  | Std Dev of Resid |  | #VALUE! |  | #NAME? | #NAME?
b= | #VALUE! | #VALUE! |  | Resid Sum of Squares |  | #VALUE! |  | #NAME? | #NAME?
# of Values Extracted = |  |  | 149
# of Values Used in Fit = |  |  | 137
File | Use | Pressure | SBE Oxy | SBE Oxy | Diff (SBE Oxy - Oxy_Tit) |  |  |  | Fit vs. | SBE Oxy
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 93.0005 | 5.4982 | 0.0042139 | -0.56178 | #VALUE! | #VALUE! |  | 5.4982 | -0.56178
1 | YES | 93.0005 | 5.4982 | 0.0042139 | -0.56878 | #VALUE! | #VALUE! |  | 5.4982 | -0.56878
1 | YES | 74.993 | 5.5185 | 0.0056053 | -0.5555 | #VALUE! | #VALUE! |  | 5.5185 | -0.5555
1 | YES | 49.7767 | 5.4716 | 0.0042449 | -0.58837 | #VALUE! | #VALUE! |  | 5.4716 | -0.58837
1 | YES | 24.9559 | 5.4095 | 0.010454 | -0.5595 | #VALUE! | #VALUE! |  | 5.4095 | -0.5595
1 | YES | 19.9841 | 5.4445 | 0.050275 | -0.49454 | #VALUE! | #VALUE! |  | 5.4445 | -0.49454
1 | YES | 10.4463 | 5.5676 | 0.16353 | -0.50342 | #VALUE! | #VALUE! |  | 5.5676 | -0.50342
1 | NO | 5.6007 | 5.6516 | 0.13753 | -0.74644 | #VALUE! | #VALUE! |  | 2.9472 | -0.23281
2 | YES | 425.043 | 2.9472 | 0.0038448 | -0.23281 | #VALUE! | #VALUE! |  | 2.9472 | -0.21181
2 | YES | 425.043 | 2.9472 | 0.0038448 | -0.21181 | #VALUE! | #VALUE! |  | 2.9946 | -0.29441
2 | YES | 390.286 | 2.9946 | 0.002704 | -0.29441 | #VALUE! | #VALUE! |  | 2.9582 | -0.23878
2 | YES | 350.507 | 2.9582 | 0.0031969 | -0.23878 | #VALUE! | #VALUE! |  | 2.9603 | -0.22873
2 | YES | 300.131 | 2.9603 | 0.0027771 | -0.22873 | #VALUE! | #VALUE! |  | 2.955 | -0.22602
2 | YES | 275.398 | 2.955 | 0.0026394 | -0.22602 | #VALUE! | #VALUE! |  | 2.8841 | -0.20988
2 | YES | 250.124 | 2.8841 | 0.0031916 | -0.20988 | #VALUE! | #VALUE! |  | 2.5879 | -0.14407
2 | YES | 225.281 | 2.5879 | 0.0026544 | -0.14407 | #VALUE! | #VALUE! |  | 2.5463 | -0.16473
2 | YES | 200.217 | 2.5463 | 0.0025166 | -0.16473 | #VALUE! | #VALUE! |  | 2.601 | -0.20097
2 | YES | 175.327 | 2.601 | 0.0025031 | -0.20097 | #VALUE! | #VALUE! |  | 3.2318 | -0.31616
2 | YES | 150.105 | 3.2318 | 0.0028781 | -0.31616 | #VALUE! | #VALUE! |  | 4.2316 | -0.5824
2 | YES | 125.178 | 4.2316 | 0.0060669 | -0.5824 | #VALUE! | #VALUE! |  | 4.8669 | -0.59506
2 | YES | 100.111 | 4.8669 | 0.0070478 | -0.59506 | #VALUE! | #VALUE! |  | 5.1131 | -0.59691
2 | YES | 75.3454 | 5.1131 | 0.004115 | -0.59691 | #VALUE! | #VALUE! |  | 5.1867 | -0.58531
2 | YES | 49.9773 | 5.1867 | 0.0029604 | -0.58531 | #VALUE! | #VALUE! |  | 5.0622 | -0.67876
2 | YES | 25.048 | 5.0622 | 0.12068 | -0.67876 | #VALUE! | #VALUE! |  | 5.1168 | -0.52323
2 | YES | 20.1144 | 5.1168 | 0.12521 | -0.52323 | #VALUE! | #VALUE! |  | 5.4669 | -0.14505
2 | YES | 10.585 | 5.4669 | 0.55484 | -0.14505 | #VALUE! | #VALUE! |  | 3.2094 | -0.26956
2 | NO | 5.8145 | 5.7295 | 0.50475 | -0.86252 | #VALUE! | #VALUE! |  | 3.2547 | -0.25531
3 | YES | 531.811 | 3.2094 | 0.0033264 | -0.26956 | #VALUE! | #VALUE! |  | 3.3118 | -0.28822
3 | YES | 499.807 | 3.2547 | 0.0025067 | -0.25531 | #VALUE! | #VALUE! |  | 3.3421 | -0.27792
3 | YES | 399.829 | 3.3118 | 0.0028592 | -0.28822 | #VALUE! | #VALUE! |  | 3.2459 | -0.25607
3 | YES | 349.987 | 3.3421 | 0.0034234 | -0.27792 | #VALUE! | #VALUE! |  | 3.0859 | -0.24213
3 | YES | 300.153 | 3.2459 | 0.0028727 | -0.25607 | #VALUE! | #VALUE! |  | 2.9845 | -0.19747
3 | YES | 274.717 | 3.0859 | 0.0034325 | -0.24213 | #VALUE! | #VALUE! |  | 2.8985 | -0.21952
3 | YES | 250.083 | 2.9845 | 0.0039687 | -0.19747 | #VALUE! | #VALUE! |  | 2.9331 | -0.23191
3 | YES | 199.928 | 2.8985 | 0.0036677 | -0.21952 | #VALUE! | #VALUE! |  | 2.8715 | -0.23948
3 | YES | 174.933 | 2.9331 | 0.0027325 | -0.23191 | #VALUE! | #VALUE! |  | 2.8997 | -0.049322
3 | YES | 149.935 | 2.8715 | 0.0023738 | -0.23948 | #VALUE! | #VALUE! |  | 3.8962 | -0.42482
3 | YES | 124.762 | 2.8997 | 0.0050485 | -0.049322 | #VALUE! | #VALUE! |  | 4.5144 | -0.55364
3 | YES | 99.9959 | 3.8962 | 0.007911 | -0.42482 | #VALUE! | #VALUE! |  | 4.3553 | -0.5277
3 | YES | 74.8464 | 4.5144 | 0.0034083 | -0.55364 | #VALUE! | #VALUE! |  | 4.3571 | -0.38585
3 | YES | 50.0295 | 4.3553 | 0.0035768 | -0.5277 | #VALUE! | #VALUE! |  | 4.395 | -0.40204
3 | YES | 24.9121 | 4.3571 | 0.01604 | -0.38585 | #VALUE! | #VALUE! |  | 5.0328 | 0.1688
3 | YES | 19.9652 | 4.395 | 0.05518 | -0.40204 | #VALUE! | #VALUE! |  | 0.98613 | 0.086132
3 | YES | 10.4509 | 5.0328 | 0.88914 | 0.1688 | #VALUE! | #VALUE! |  | 0.98613 | 0.092132
3 | NO | 5.7254 | 5.3784 | 0.9098 | -1.7796 | #VALUE! | #VALUE! |  | 1.1059 | 0.061909
4 | YES | 203.562 | 0.98613 | 0.0071695 | 0.086132 | #VALUE! | #VALUE! |  | 1.2565 | 0.061521
4 | YES | 203.562 | 0.98613 | 0.0071695 | 0.092132 | #VALUE! | #VALUE! |  | 1.4802 | -0.016835
4 | YES | 179.953 | 1.1059 | 0.0029326 | 0.061909 | #VALUE! | #VALUE! |  | 1.5127 | -0.079273
4 | YES | 159.837 | 1.2565 | 0.0030444 | 0.061521 | #VALUE! | #VALUE! |  | 1.8402 | -0.0038264
4 | YES | 125.028 | 1.4802 | 0.0032515 | -0.016835 | #VALUE! | #VALUE! |  | 3.7258 | -0.54423
4 | YES | 100.046 | 1.5127 | 0.0025495 | -0.079273 | #VALUE! | #VALUE! |  | 3.8437 | -0.28032
4 | YES | 75.0908 | 1.8402 | 0.010284 | -0.0038264 | #VALUE! | #VALUE! |  | 4.1979 | 0.0049338
4 | YES | 49.7819 | 3.7258 | 0.0099823 | -0.54423 | #VALUE! | #VALUE! |  | 4.8277 | -0.64129
4 | YES | 25.0215 | 3.8437 | 0.0615 | -0.28032 | #VALUE! | #VALUE! |  | 0.96476 | 0.045764
4 | YES | 20.0049 | 4.1979 | 0.5042 | 0.0049338 | #VALUE! | #VALUE! |  | 0.96476 | 0.055765
4 | YES | 10.4631 | 4.8277 | 0.72807 | -0.64129 | #VALUE! | #VALUE! |  | 1.2633 | 0.038354
4 | NO | 5.6794 | 5.2891 | 0.39367 | -1.2959 | #VALUE! | #VALUE! |  | 1.2633 | 0.044355
5 | YES | 230.436 | 0.96476 | 0.060041 | 0.045764 | #VALUE! | #VALUE! |  | 1.4525 | 0.016504
5 | YES | 230.436 | 0.96476 | 0.060041 | 0.055765 | #VALUE! | #VALUE! |  | 1.7078 | -0.02819
5 | YES | 199.951 | 1.2633 | 0.0045577 | 0.038354 | #VALUE! | #VALUE! |  | 1.6755 | -0.064479
5 | YES | 199.951 | 1.2633 | 0.0045577 | 0.044355 | #VALUE! | #VALUE! |  | 1.5063 | -0.030686
5 | YES | 180.013 | 1.4525 | 0.0024971 | 0.016504 | #VALUE! | #VALUE! |  | 2.1589 | -0.011083
5 | YES | 140.031 | 1.7078 | 0.0031153 | -0.02819 | #VALUE! | #VALUE! |  | 3.9341 | -0.51189
5 | YES | 119.967 | 1.6755 | 0.002858 | -0.064479 | #VALUE! | #VALUE! |  | 3.8949 | -0.25813
5 | YES | 100.086 | 1.5063 | 0.0032121 | -0.030686 | #VALUE! | #VALUE! |  | 4.1916 | -0.28941
5 | YES | 74.9902 | 2.1589 | 0.0063424 | -0.011083 | #VALUE! | #VALUE! |  | 5.0869 | -0.23512
5 | YES | 50.1124 | 3.9341 | 0.0076385 | -0.51189 | #VALUE! | #VALUE! |  | 3.0345 | -0.22255
5 | YES | 25.0648 | 3.8949 | 0.17659 | -0.25813 | #VALUE! | #VALUE! |  | 3.0187 | -0.21327
5 | YES | 20.0669 | 4.1916 | 0.44428 | -0.28941 | #VALUE! | #VALUE! |  | 2.9762 | -0.21982
5 | YES | 10.5846 | 5.0869 | 0.97767 | -0.23512 | #VALUE! | #VALUE! |  | 2.9428 | -0.23118
5 | NO | 5.8712 | 5.5948 | 0.81155 | -1.2022 | #VALUE! | #VALUE! |  | 2.9344 | -0.24362
6 | YES | 245.788 | 3.0345 | 0.0023236 | -0.22255 | #VALUE! | #VALUE! |  | 2.9066 | -0.20944
6 | YES | 225.062 | 3.0187 | 0.0036009 | -0.21327 | #VALUE! | #VALUE! |  | 3.4952 | -0.2728
6 | YES | 200.089 | 2.9762 | 0.0032016 | -0.21982 | #VALUE! | #VALUE! |  | 3.7692 | -0.41375
6 | YES | 175.15 | 2.9428 | 0.0048339 | -0.23118 | #VALUE! | #VALUE! |  | 3.6466 | -0.34944
6 | YES | 150.065 | 2.9344 | 0.0035503 | -0.24362 | #VALUE! | #VALUE! |  | 3.8453 | 0.031298
6 | YES | 125.103 | 2.9066 | 0.002831 | -0.20944 | #VALUE! | #VALUE! |  | 4.1361 | -0.37585
6 | YES | 100.214 | 3.4952 | 0.0066265 | -0.2728 | #VALUE! | #VALUE! |  | 5.0984 | -0.19963
6 | YES | 75.055 | 3.7692 | 0.0029589 | -0.41375 | #VALUE! | #VALUE! |  | 2.9502 | -0.2158
6 | YES | 50.2375 | 3.6466 | 0.0039432 | -0.34944 | #VALUE! | #VALUE! |  | 2.992 | -0.224
6 | YES | 25.2176 | 3.8453 | 0.3789 | 0.031298 | #VALUE! | #VALUE! |  | 3.0058 | -0.20624
6 | YES | 20.1861 | 4.1361 | 0.51501 | -0.37585 | #VALUE! | #VALUE! |  | 2.9884 | -0.22463
6 | YES | 10.5415 | 5.0984 | 0.91172 | -0.19963 | #VALUE! | #VALUE! |  | 2.9884 | -0.20863
6 | NO | 5.7269 | 5.5359 | 0.81973 | -1.5581 | #VALUE! | #VALUE! |  | 2.9564 | -0.19365
7 | YES | 365.222 | 2.9502 | 0.0026096 | -0.2158 | #VALUE! | #VALUE! |  | 2.9148 | -0.21521
7 | YES | 340.375 | 2.992 | 0.0029833 | -0.224 | #VALUE! | #VALUE! |  | 2.8611 | -0.19895
7 | YES | 300.318 | 3.0058 | 0.0030578 | -0.20624 | #VALUE! | #VALUE! |  | 2.7828 | -0.17825
7 | YES | 249.735 | 2.9884 | 0.003645 | -0.22463 | #VALUE! | #VALUE! |  | 2.8091 | -0.27891
7 | YES | 249.735 | 2.9884 | 0.003645 | -0.20863 | #VALUE! | #VALUE! |  | 2.9699 | -0.22113
7 | YES | 200.127 | 2.9564 | 0.0025588 | -0.19365 | #VALUE! | #VALUE! |  | 3.0871 | -0.32988
7 | YES | 174.977 | 2.9148 | 0.0028399 | -0.21521 | #VALUE! | #VALUE! |  | 3.9975 | 0.4135
7 | YES | 150.182 | 2.8611 | 0.0032064 | -0.19895 | #VALUE! | #VALUE! |  | 4.3067 | -0.47229
7 | YES | 125.183 | 2.7828 | 0.0028789 | -0.17825 | #VALUE! | #VALUE! |  | 5.4261 | -0.31494
7 | YES | 100.242 | 2.8091 | 0.0028018 | -0.27891 | #VALUE! | #VALUE! |  | 1.6574 | -0.0076115
7 | YES | 74.852 | 2.9699 | 0.0030026 | -0.22113 | #VALUE! | #VALUE! |  | 1.631 | -0.032033
7 | YES | 50.0154 | 3.0871 | 0.0026147 | -0.32988 | #VALUE! | #VALUE! |  | 1.6416 | -0.010422
7 | YES | 25.0559 | 3.9975 | 0.70314 | 0.4135 | #VALUE! | #VALUE! |  | 1.8285 | 0.0014793
7 | YES | 20.031 | 4.3067 | 0.72174 | -0.47229 | #VALUE! | #VALUE! |  | 3.6162 | -0.45383
7 | YES | 10.521 | 5.4261 | 0.87437 | -0.31494 | #VALUE! | #VALUE! |  | 3.6757 | -0.58426
7 | NO | 5.8226 | 5.7895 | 0.86621 | -1.5025 | #VALUE! | #VALUE! |  | 3.6399 | -0.22109
8 | YES | 148.156 | 1.6574 | 0.0094317 | -0.0076115 | #VALUE! | #VALUE! |  | 4.8242 | 0.94018
8 | YES | 124.894 | 1.631 | 0.0027596 | -0.032033 | #VALUE! | #VALUE! |  | 3.1524 | -0.30158
8 | YES | 99.9602 | 1.6416 | 0.0026387 | -0.010422 | #VALUE! | #VALUE! |  | 3.2753 | -0.25767
8 | YES | 74.9002 | 1.8285 | 0.0029329 | 0.0014793 | #VALUE! | #VALUE! |  | 3.4738 | -0.30422
8 | YES | 49.9939 | 3.6162 | 0.0076895 | -0.45383 | #VALUE! | #VALUE! |  | 3.5058 | -0.2902
8 | YES | 24.9541 | 3.6757 | 0.20051 | -0.58426 | #VALUE! | #VALUE! |  | 3.5481 | -0.29686
8 | YES | 19.9264 | 3.6399 | 0.17131 | -0.22109 | #VALUE! | #VALUE! |  | 3.5507 | -0.3063
8 | YES | 10.3883 | 4.8242 | 1.8446 | 0.94018 | #VALUE! | #VALUE! |  | 3.0924 | -0.21665
8 | NO | 5.6162 | 5.4984 | 1.9343 | -3.0616 | #VALUE! | #VALUE! |  | 2.8025 | -0.19554
9 | YES | 327.231 | 3.1524 | 0.017763 | -0.30158 | #VALUE! | #VALUE! |  | 2.2584 | -0.25955
9 | YES | 299.758 | 3.2753 | 0.0033401 | -0.25767 | #VALUE! | #VALUE! |  | 1.97 | -0.11497
9 | YES | 250.698 | 3.4738 | 0.0033096 | -0.30422 | #VALUE! | #VALUE! |  | 3.3527 | 0.69365
9 | YES | 225.017 | 3.5058 | 0.0032599 | -0.2902 | #VALUE! | #VALUE! |  | 3.8137 | -0.6413
9 | YES | 200.127 | 3.5481 | 0.0027365 | -0.29686 | #VALUE! | #VALUE! |  | 5.2634 | 0.093365
9 | YES | 175.179 | 3.5507 | 0.0026001 | -0.3063 | #VALUE! | #VALUE! |  | 3.4218 | -0.29223
9 | YES | 126.045 | 3.0924 | 0.0023376 | -0.21665 | #VALUE! | #VALUE! |  | 3.4372 | -0.27183
9 | YES | 100.203 | 2.8025 | 0.003975 | -0.19554 | #VALUE! | #VALUE! |  | 3.5128 | -0.29423
9 | YES | 65.274 | 2.2584 | 0.0034374 | -0.25955 | #VALUE! | #VALUE! |  | 3.2764 | -0.25863
9 | YES | 50.0229 | 1.97 | 0.0090902 | -0.11497 | #VALUE! | #VALUE! |  | 3.2764 | -0.25763
9 | YES | 25.0063 | 3.3527 | 0.88092 | 0.69365 | #VALUE! | #VALUE! |  | 3.5863 | -0.33766
9 | YES | 19.9909 | 3.8137 | 0.97106 | -0.6413 | #VALUE! | #VALUE! |  | 3.5863 | -0.22466
9 | YES | 10.4698 | 5.2634 | 1.1418 | 0.093365 | #VALUE! | #VALUE! |  | 3.264 | -0.20796
9 | NO | 5.7378 | 5.7878 | 1.0722 | -1.8441 | #VALUE! | #VALUE! |  | 4.8604 | -0.37858
10 | YES | 265.841 | 3.4218 | 0.0040902 | -0.29223 | #VALUE! | #VALUE! |  | 4.7863 | -0.77869
10 | YES | 250.683 | 3.4372 | 0.0029136 | -0.27183 | #VALUE! | #VALUE! |  | 5.3925 | 0.28949
10 | YES | 200.3 | 3.5128 | 0.0033979 | -0.29423 | #VALUE! | #VALUE! |  | 3.2888 | -0.29322
10 | YES | 139.735 | 3.2764 | 0.0026849 | -0.25863 | #VALUE! | #VALUE! |  | 3.3591 | -0.26988
10 | YES | 139.735 | 3.2764 | 0.0026849 | -0.25763 | #VALUE! | #VALUE! |  | 3.452 | -0.27097
10 | YES | 79.8631 | 3.5863 | 0.032846 | -0.33766 | #VALUE! | #VALUE! |  | 3.5212 | -0.29776
10 | YES | 79.8631 | 3.5863 | 0.032846 | -0.22466 | #VALUE! | #VALUE! |  | 3.7568 | -0.34518
10 | YES | 52.0797 | 3.264 | 0.0056853 | -0.20796 | #VALUE! | #VALUE! |  | 3.7568 | -0.33018
10 | YES | 25.1627 | 4.8604 | 0.15739 | -0.37858 | #VALUE! | #VALUE! |  | 4.0206 | -0.38144
10 | YES | 20.1522 | 4.7863 | 0.16593 | -0.77869 | #VALUE! | #VALUE! |  | 4.326 | -0.46004
10 | YES | 10.3774 | 5.3925 | 0.81473 | 0.28949 | #VALUE! | #VALUE! |  | 4.7057 | -0.53627
10 | NO | 5.4726 | 5.5801 | 0.94396 | -1.7089 | #VALUE! | #VALUE! |  | 4.5726 | -0.46244
11 | YES | 271.276 | 3.2888 | 0.0035555 | -0.29322 | #VALUE! | #VALUE! |  | 5.27 | -0.45396
11 | YES | 249.893 | 3.3591 | 0.0039753 | -0.26988 | #VALUE! | #VALUE! |  | 5.0161 | -0.99193
11 | YES | 200.159 | 3.452 | 0.0034615 | -0.27097 | #VALUE! | #VALUE!
11 | YES | 175.088 | 3.5212 | 0.0033392 | -0.29776 | #VALUE! | #VALUE!
11 | YES | 150.1 | 3.7568 | 0.0029467 | -0.34518 | #VALUE! | #VALUE!
11 | YES | 150.1 | 3.7568 | 0.0029467 | -0.33018 | #VALUE! | #VALUE!
11 | YES | 124.899 | 4.0206 | 0.00309 | -0.38144 | #VALUE! | #VALUE!
11 | YES | 99.9775 | 4.326 | 0.004067 | -0.46004 | #VALUE! | #VALUE!
11 | YES | 75.1659 | 4.7057 | 0.0038014 | -0.53627 | #VALUE! | #VALUE!
11 | YES | 50.0241 | 4.5726 | 0.0043606 | -0.46244 | #VALUE! | #VALUE!
11 | YES | 25.0665 | 5.27 | 0.13348 | -0.45396 | #VALUE! | #VALUE!
11 | YES | 20.1084 | 5.0161 | 0.37581 | -0.99193 | #VALUE! | #VALUE!
11 | NO | 10.5338 | 5.3836 | 0.70797 | 5.2946 | #VALUE! | #VALUE!
11 | NO | 5.7304 | 5.3738 | 0.8675 | -1.1802 | #VALUE! | #VALUE!
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
FIT vs. Pressure
FIT vs. SBE Oxy
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Oxy_Tit | SBE Oxy |  | SBE Oxy - Oxy_Tit
Average Size: | 12
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Oxy_Tit | SBE Oxy | SBE Oxy | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2002-10-0006 | 2002-10-0006 | 242 | 96 | 93.0005 | 3.1034 | -2.9995 | 6.06 | 5.4982 | 0.0042139 | -0.56178
2002-10-0006 | 2002-10-0006 | 242 | 90 | 93.0005 | 3.1034 | 3.0005 | 6.067 | 5.4982 | 0.0042139 | -0.56878
2002-10-0006 | 2002-10-0006 | 121 | 75 | 74.993 | 0.025848 | -0.0069504 | 6.074 | 5.5185 | 0.0056053 | -0.5555
2002-10-0006 | 2002-10-0006 | 121 | 50 | 49.7767 | 0.028612 | -0.22335 | 6.06 | 5.4716 | 0.0042449 | -0.58837
2002-10-0006 | 2002-10-0006 | 242 | 30 | 24.9559 | 4.8283 | -5.0441 | 5.969 | 5.4095 | 0.010454 | -0.5595
2002-10-0006 | 2002-10-0006 | 363 | 20 | 19.9841 | 8.0682 | -0.015943 | 5.939 | 5.4445 | 0.050275 | -0.49454
2002-10-0006 | 2002-10-0006 | 363 | 10 | 10.4463 | 7.7633 | 0.44634 | 6.071 | 5.5676 | 0.16353 | -0.50342
2002-10-0006 | 2002-10-0006 | 242 | 1 | 5.6007 | 4.449 | 4.6007 | 6.398 | 5.6516 | 0.13753 | -0.74644
2002-10-0009 | 2002-10-0009 | 242 | 430 | 425.043 | 5.2262 | -4.9569 | 3.18 | 2.9472 | 0.0038448 | -0.23281
2002-10-0009 | 2002-10-0009 | 242 | 420 | 425.043 | 5.2262 | 5.0431 | 3.159 | 2.9472 | 0.0038448 | -0.21181
2002-10-0009 | 2002-10-0009 | 121 | 390 | 390.286 | 0.029171 | 0.28601 | 3.289 | 2.9946 | 0.002704 | -0.29441
2002-10-0009 | 2002-10-0009 | 121 | 350 | 350.507 | 0.025108 | 0.50745 | 3.197 | 2.9582 | 0.0031969 | -0.23878
2002-10-0009 | 2002-10-0009 | 121 | 300 | 300.131 | 0.029111 | 0.13104 | 3.189 | 2.9603 | 0.0027771 | -0.22873
2002-10-0009 | 2002-10-0009 | 121 | 275 | 275.398 | 0.027486 | 0.39801 | 3.181 | 2.955 | 0.0026394 | -0.22602
2002-10-0009 | 2002-10-0009 | 121 | 250 | 250.124 | 0.022728 | 0.12416 | 3.094 | 2.8841 | 0.0031916 | -0.20988
2002-10-0009 | 2002-10-0009 | 121 | 225 | 225.281 | 0.02982 | 0.28128 | 2.732 | 2.5879 | 0.0026544 | -0.14407
2002-10-0009 | 2002-10-0009 | 121 | 200 | 200.217 | 0.028428 | 0.21663 | 2.711 | 2.5463 | 0.0025166 | -0.16473
2002-10-0009 | 2002-10-0009 | 121 | 175 | 175.327 | 0.031466 | 0.32667 | 2.802 | 2.601 | 0.0025031 | -0.20097
2002-10-0009 | 2002-10-0009 | 121 | 150 | 150.105 | 0.030453 | 0.10532 | 3.548 | 3.2318 | 0.0028781 | -0.31616
2002-10-0009 | 2002-10-0009 | 121 | 125 | 125.178 | 0.031161 | 0.17768 | 4.814 | 4.2316 | 0.0060669 | -0.5824
2002-10-0009 | 2002-10-0009 | 121 | 100 | 100.111 | 0.03892 | 0.1105 | 5.462 | 4.8669 | 0.0070478 | -0.59506
2002-10-0009 | 2002-10-0009 | 121 | 75 | 75.3454 | 0.034998 | 0.34535 | 5.71 | 5.1131 | 0.004115 | -0.59691
2002-10-0009 | 2002-10-0009 | 121 | 50 | 49.9773 | 0.3448 | -0.022736 | 5.772 | 5.1867 | 0.0029604 | -0.58531
2002-10-0009 | 2002-10-0009 | 242 | 30 | 25.048 | 4.9323 | -4.952 | 5.741 | 5.0622 | 0.12068 | -0.67876
2002-10-0009 | 2002-10-0009 | 363 | 20 | 20.1144 | 8.0629 | 0.11441 | 5.64 | 5.1168 | 0.12521 | -0.52323
2002-10-0009 | 2002-10-0009 | 363 | 10 | 10.585 | 7.6666 | 0.58499 | 5.612 | 5.4669 | 0.55484 | -0.14505
2002-10-0009 | 2002-10-0009 | 242 | 1 | 5.8145 | 4.442 | 4.8145 | 6.592 | 5.7295 | 0.50475 | -0.86252
2002-10-0014 | 2002-10-0014 | 121 | 532 | 531.811 | 0.027035 | -0.18872 | 3.479 | 3.2094 | 0.0033264 | -0.26956
2002-10-0014 | 2002-10-0014 | 121 | 500 | 499.807 | 0.032718 | -0.19275 | 3.51 | 3.2547 | 0.0025067 | -0.25531
2002-10-0014 | 2002-10-0014 | 121 | 400 | 399.829 | 0.030556 | -0.17139 | 3.6 | 3.3118 | 0.0028592 | -0.28822
2002-10-0014 | 2002-10-0014 | 121 | 350 | 349.987 | 0.024188 | -0.012909 | 3.62 | 3.3421 | 0.0034234 | -0.27792
2002-10-0014 | 2002-10-0014 | 121 | 300 | 300.153 | 0.025939 | 0.15295 | 3.502 | 3.2459 | 0.0028727 | -0.25607
2002-10-0014 | 2002-10-0014 | 121 | 275 | 274.717 | 0.028143 | -0.28262 | 3.328 | 3.0859 | 0.0034325 | -0.24213
2002-10-0014 | 2002-10-0014 | 121 | 250 | 250.083 | 0.023991 | 0.083023 | 3.182 | 2.9845 | 0.0039687 | -0.19747
2002-10-0014 | 2002-10-0014 | 121 | 200 | 199.928 | 0.021212 | -0.072113 | 3.118 | 2.8985 | 0.0036677 | -0.21952
2002-10-0014 | 2002-10-0014 | 121 | 175 | 174.933 | 0.025617 | -0.066818 | 3.165 | 2.9331 | 0.0027325 | -0.23191
2002-10-0014 | 2002-10-0014 | 121 | 150 | 149.935 | 0.027247 | -0.065048 | 3.111 | 2.8715 | 0.0023738 | -0.23948
2002-10-0014 | 2002-10-0014 | 121 | 125 | 124.762 | 0.026145 | -0.23769 | 2.949 | 2.8997 | 0.0050485 | -0.049322
2002-10-0014 | 2002-10-0014 | 121 | 100 | 99.9959 | 0.027744 | -0.0040741 | 4.321 | 3.8962 | 0.007911 | -0.42482
2002-10-0014 | 2002-10-0014 | 121 | 75 | 74.8464 | 0.023917 | -0.15361 | 5.068 | 4.5144 | 0.0034083 | -0.55364
2002-10-0014 | 2002-10-0014 | 121 | 50 | 50.0295 | 0.026357 | 0.029514 | 4.883 | 4.3553 | 0.0035768 | -0.5277
2002-10-0014 | 2002-10-0014 | 242 | 30 | 24.9121 | 5.0207 | -5.0879 | 4.743 | 4.3571 | 0.01604 | -0.38585
2002-10-0014 | 2002-10-0014 | 363 | 20 | 19.9652 | 8.1154 | -0.034775 | 4.797 | 4.395 | 0.05518 | -0.40204
2002-10-0014 | 2002-10-0014 | 363 | 10 | 10.4509 | 7.5771 | 0.45086 | 4.864 | 5.0328 | 0.88914 | 0.1688
2002-10-0014 | 2002-10-0014 | 242 | 1 | 5.7254 | 4.3552 | 4.7254 | 7.158 | 5.3784 | 0.9098 | -1.7796
2002-10-0017 | 2002-10-0017 | 242 | 207 | 203.562 | 3.7991 | -3.438 | 0.9 | 0.98613 | 0.0071695 | 0.086132
2002-10-0017 | 2002-10-0017 | 242 | 200 | 203.562 | 3.7991 | 3.562 | 0.894 | 0.98613 | 0.0071695 | 0.092132
2002-10-0017 | 2002-10-0017 | 121 | 180 | 179.953 | 0.023774 | -0.046936 | 1.044 | 1.1059 | 0.0029326 | 0.061909
2002-10-0017 | 2002-10-0017 | 121 | 160 | 159.837 | 0.021955 | -0.16316 | 1.195 | 1.2565 | 0.0030444 | 0.061521
2002-10-0017 | 2002-10-0017 | 121 | 125 | 125.028 | 0.020303 | 0.028381 | 1.497 | 1.4802 | 0.0032515 | -0.016835
2002-10-0017 | 2002-10-0017 | 121 | 100 | 100.046 | 0.012832 | 0.045761 | 1.592 | 1.5127 | 0.0025495 | -0.079273
2002-10-0017 | 2002-10-0017 | 121 | 75 | 75.0908 | 0.023016 | 0.090836 | 1.844 | 1.8402 | 0.010284 | -0.0038264
2002-10-0017 | 2002-10-0017 | 121 | 50 | 49.7819 | 0.023729 | -0.21807 | 4.27 | 3.7258 | 0.0099823 | -0.54423
2002-10-0017 | 2002-10-0017 | 242 | 30 | 25.0215 | 5.0013 | -4.9785 | 4.124 | 3.8437 | 0.0615 | -0.28032
2002-10-0017 | 2002-10-0017 | 363 | 20 | 20.0049 | 8.1929 | 0.0049305 | 4.193 | 4.1979 | 0.5042 | 0.0049338
2002-10-0017 | 2002-10-0017 | 363 | 10 | 10.4631 | 7.6296 | 0.46313 | 5.469 | 4.8277 | 0.72807 | -0.64129
2002-10-0017 | 2002-10-0017 | 242 | 1 | 5.6794 | 4.3014 | 4.6794 | 6.585 | 5.2891 | 0.39367 | -1.2959
2002-10-0019 | 2002-10-0019 | 242 | 236 | 230.436 | 5.4351 | -5.5635 | 0.919 | 0.96476 | 0.060041 | 0.045764
2002-10-0019 | 2002-10-0019 | 242 | 225 | 230.436 | 5.4351 | 5.4365 | 0.909 | 0.96476 | 0.060041 | 0.055765
2002-10-0019 | 2002-10-0019 | 189 | 200 | 199.951 | 0.022134 | -0.049149 | 1.225 | 1.2633 | 0.0045577 | 0.038354
2002-10-0019 | 2002-10-0019 | 189 | 200 | 199.951 | 0.022134 | -0.049149 | 1.219 | 1.2633 | 0.0045577 | 0.044355
2002-10-0019 | 2002-10-0019 | 121 | 180 | 180.013 | 0.028066 | 0.013382 | 1.436 | 1.4525 | 0.0024971 | 0.016504
2002-10-0019 | 2002-10-0019 | 121 | 140 | 140.031 | 0.0294 | 0.03064 | 1.736 | 1.7078 | 0.0031153 | -0.02819
2002-10-0019 | 2002-10-0019 | 121 | 120 | 119.967 | 0.021821 | -0.032745 | 1.74 | 1.6755 | 0.002858 | -0.064479
2002-10-0019 | 2002-10-0019 | 121 | 100 | 100.086 | 0.025722 | 0.086433 | 1.537 | 1.5063 | 0.0032121 | -0.030686
2002-10-0019 | 2002-10-0019 | 121 | 75 | 74.9902 | 0.025661 | -0.009819 | 2.17 | 2.1589 | 0.0063424 | -0.011083
2002-10-0019 | 2002-10-0019 | 121 | 50 | 50.1124 | 0.023034 | 0.11238 | 4.446 | 3.9341 | 0.0076385 | -0.51189
2002-10-0019 | 2002-10-0019 | 242 | 30 | 25.0648 | 5.0639 | -4.9352 | 4.153 | 3.8949 | 0.17659 | -0.25813
2002-10-0019 | 2002-10-0019 | 363 | 20 | 20.0669 | 8.1956 | 0.06694 | 4.481 | 4.1916 | 0.44428 | -0.28941
2002-10-0019 | 2002-10-0019 | 363 | 10 | 10.5846 | 7.5065 | 0.58464 | 5.322 | 5.0869 | 0.97767 | -0.23512
2002-10-0019 | 2002-10-0019 | 242 | 1 | 5.8712 | 4.2088 | 4.8712 | 6.797 | 5.5948 | 0.81155 | -1.2022
2002-10-0025 | 2002-10-0025 | 121 | 246 | 245.788 | 0.030154 | -0.21176 | 3.257 | 3.0345 | 0.0023236 | -0.22255
2002-10-0025 | 2002-10-0025 | 121 | 225 | 225.062 | 0.029914 | 0.062439 | 3.232 | 3.0187 | 0.0036009 | -0.21327
2002-10-0025 | 2002-10-0025 | 121 | 200 | 200.089 | 0.024429 | 0.088898 | 3.196 | 2.9762 | 0.0032016 | -0.21982
2002-10-0025 | 2002-10-0025 | 121 | 175 | 175.15 | 0.024254 | 0.15033 | 3.174 | 2.9428 | 0.0048339 | -0.23118
2002-10-0025 | 2002-10-0025 | 121 | 150 | 150.065 | 0.025595 | 0.064789 | 3.178 | 2.9344 | 0.0035503 | -0.24362
2002-10-0025 | 2002-10-0025 | 121 | 125 | 125.103 | 0.022152 | 0.10262 | 3.116 | 2.9066 | 0.002831 | -0.20944
2002-10-0025 | 2002-10-0025 | 121 | 100 | 100.214 | 0.024237 | 0.21399 | 3.768 | 3.4952 | 0.0066265 | -0.2728
2002-10-0025 | 2002-10-0025 | 121 | 75 | 75.055 | 0.023847 | 0.054955 | 4.183 | 3.7692 | 0.0029589 | -0.41375
2002-10-0025 | 2002-10-0025 | 121 | 50 | 50.2375 | 0.0227 | 0.23748 | 3.996 | 3.6466 | 0.0039432 | -0.34944
2002-10-0025 | 2002-10-0025 | 242 | 30 | 25.2176 | 5.0573 | -4.7824 | 3.814 | 3.8453 | 0.3789 | 0.031298
2002-10-0025 | 2002-10-0025 | 363 | 20 | 20.1861 | 8.234 | 0.18609 | 4.512 | 4.1361 | 0.51501 | -0.37585
2002-10-0025 | 2002-10-0025 | 363 | 10 | 10.5415 | 7.7078 | 0.54154 | 5.298 | 5.0984 | 0.91172 | -0.19963
2002-10-0025 | 2002-10-0025 | 242 | 1 | 5.7269 | 4.4054 | 4.7269 | 7.094 | 5.5359 | 0.81973 | -1.5581
2002-10-0027 | 2002-10-0027 | 121 | 365 | 365.222 | 0.032491 | 0.22195 | 3.166 | 2.9502 | 0.0026096 | -0.2158
2002-10-0027 | 2002-10-0027 | 121 | 340 | 340.375 | 0.027399 | 0.37518 | 3.216 | 2.992 | 0.0029833 | -0.224
2002-10-0027 | 2002-10-0027 | 121 | 300 | 300.318 | 0.029138 | 0.31796 | 3.212 | 3.0058 | 0.0030578 | -0.20624
2002-10-0027 | 2002-10-0027 | 227 | 250 | 249.735 | 0.025861 | -0.26491 | 3.213 | 2.9884 | 0.003645 | -0.22463
2002-10-0027 | 2002-10-0027 | 227 | 250 | 249.735 | 0.025861 | -0.26491 | 3.197 | 2.9884 | 0.003645 | -0.20863
2002-10-0027 | 2002-10-0027 | 121 | 200 | 200.127 | 0.023011 | 0.12701 | 3.15 | 2.9564 | 0.0025588 | -0.19365
2002-10-0027 | 2002-10-0027 | 121 | 175 | 174.977 | 0.023111 | -0.023239 | 3.13 | 2.9148 | 0.0028399 | -0.21521
2002-10-0027 | 2002-10-0027 | 121 | 150 | 150.182 | 0.021752 | 0.18156 | 3.06 | 2.8611 | 0.0032064 | -0.19895
2002-10-0027 | 2002-10-0027 | 121 | 125 | 125.183 | 0.022795 | 0.1833 | 2.961 | 2.7828 | 0.0028789 | -0.17825
2002-10-0027 | 2002-10-0027 | 121 | 100 | 100.242 | 0.02377 | 0.24216 | 3.088 | 2.8091 | 0.0028018 | -0.27891
2002-10-0027 | 2002-10-0027 | 121 | 75 | 74.852 | 0.021504 | -0.14798 | 3.191 | 2.9699 | 0.0030026 | -0.22113
2002-10-0027 | 2002-10-0027 | 121 | 50 | 50.0154 | 0.024132 | 0.015381 | 3.417 | 3.0871 | 0.0026147 | -0.32988
2002-10-0027 | 2002-10-0027 | 242 | 30 | 25.0559 | 5.1487 | -4.9441 | 3.584 | 3.9975 | 0.70314 | 0.4135
2002-10-0027 | 2002-10-0027 | 363 | 20 | 20.031 | 8.2636 | 0.031027 | 4.779 | 4.3067 | 0.72174 | -0.47229
2002-10-0027 | 2002-10-0027 | 363 | 10 | 10.521 | 7.4722 | 0.52104 | 5.741 | 5.4261 | 0.87437 | -0.31494
2002-10-0027 | 2002-10-0027 | 242 | 1 | 5.8226 | 4.1674 | 4.8226 | 7.292 | 5.7895 | 0.86621 | -1.5025
2002-10-0036 | 2002-10-0036 | 121 | 148 | 148.156 | 0.02469 | 0.15556 | 1.665 | 1.6574 | 0.0094317 | -0.0076115
2002-10-0036 | 2002-10-0036 | 121 | 125 | 124.894 | 0.019284 | -0.10556 | 1.663 | 1.631 | 0.0027596 | -0.032033
2002-10-0036 | 2002-10-0036 | 121 | 100 | 99.9602 | 0.11389 | -0.039818 | 1.652 | 1.6416 | 0.0026387 | -0.010422
2002-10-0036 | 2002-10-0036 | 121 | 75 | 74.9002 | 0.028431 | -0.099785 | 1.827 | 1.8285 | 0.0029329 | 0.0014793
2002-10-0036 | 2002-10-0036 | 121 | 50 | 49.9939 | 0.028349 | -0.0060577 | 4.07 | 3.6162 | 0.0076895 | -0.45383
2002-10-0036 | 2002-10-0036 | 242 | 30 | 24.9541 | 5.032 | -5.0459 | 4.26 | 3.6757 | 0.20051 | -0.58426
2002-10-0036 | 2002-10-0036 | 363 | 20 | 19.9264 | 8.2191 | -0.073627 | 3.861 | 3.6399 | 0.17131 | -0.22109
2002-10-0036 | 2002-10-0036 | 363 | 10 | 10.3883 | 7.601 | 0.38834 | 3.884 | 4.8242 | 1.8446 | 0.94018
2002-10-0036 | 2002-10-0036 | 242 | 1 | 5.6162 | 4.2635 | 4.6162 | 8.56 | 5.4984 | 1.9343 | -3.0616
2002-10-0040 | 2002-10-0040 | 121 | 327 | 327.231 | 0.025931 | 0.23077 | 3.454 | 3.1524 | 0.017763 | -0.30158
2002-10-0040 | 2002-10-0040 | 121 | 300 | 299.758 | 0.037645 | -0.24207 | 3.533 | 3.2753 | 0.0033401 | -0.25767
2002-10-0040 | 2002-10-0040 | 121 | 250 | 250.698 | 0.026601 | 0.69804 | 3.778 | 3.4738 | 0.0033096 | -0.30422
2002-10-0040 | 2002-10-0040 | 121 | 225 | 225.017 | 0.032091 | 0.0168 | 3.796 | 3.5058 | 0.0032599 | -0.2902
2002-10-0040 | 2002-10-0040 | 121 | 200 | 200.127 | 0.032923 | 0.12703 | 3.845 | 3.5481 | 0.0027365 | -0.29686
2002-10-0040 | 2002-10-0040 | 121 | 175 | 175.179 | 0.029314 | 0.17885 | 3.857 | 3.5507 | 0.0026001 | -0.3063
2002-10-0040 | 2002-10-0040 | 121 | 125 | 126.045 | 0.028935 | 1.0448 | 3.309 | 3.0924 | 0.0023376 | -0.21665
2002-10-0040 | 2002-10-0040 | 121 | 100 | 100.203 | 0.03269 | 0.20251 | 2.998 | 2.8025 | 0.003975 | -0.19554
2002-10-0040 | 2002-10-0040 | 121 | 65 | 65.274 | 0.03327 | 0.27401 | 2.518 | 2.2584 | 0.0034374 | -0.25955
2002-10-0040 | 2002-10-0040 | 121 | 50 | 50.0229 | 0.023926 | 0.022949 | 2.085 | 1.97 | 0.0090902 | -0.11497
2002-10-0040 | 2002-10-0040 | 242 | 30 | 25.0063 | 5.2398 | -4.9936 | 2.659 | 3.3527 | 0.88092 | 0.69365
2002-10-0040 | 2002-10-0040 | 363 | 20 | 19.9909 | 8.2902 | -0.0091495 | 4.455 | 3.8137 | 0.97106 | -0.6413
2002-10-0040 | 2002-10-0040 | 359 | 10 | 10.4698 | 7.5116 | 0.46981 | 5.17 | 5.2634 | 1.1418 | 0.093365
2002-10-0040 | 2002-10-0040 | 238 | 1 | 5.7378 | 4.3028 | 4.7378 | 7.632 | 5.7878 | 1.0722 | -1.8441
2002-10-0042 | 2002-10-0042 | 121 | 276 | 265.841 | 0.035716 | -10.1587 | 3.714 | 3.4218 | 0.0040902 | -0.29223
2002-10-0042 | 2002-10-0042 | 121 | 250 | 250.683 | 0.067417 | 0.68297 | 3.709 | 3.4372 | 0.0029136 | -0.27183
2002-10-0042 | 2002-10-0042 | 121 | 200 | 200.3 | 0.039604 | 0.29964 | 3.807 | 3.5128 | 0.0033979 | -0.29423
2002-10-0042 | 2002-10-0042 | 190 | 140 | 139.735 | 0.030526 | -0.26515 | 3.535 | 3.2764 | 0.0026849 | -0.25863
2002-10-0042 | 2002-10-0042 | 190 | 140 | 139.735 | 0.030526 | -0.26515 | 3.534 | 3.2764 | 0.0026849 | -0.25763
2002-10-0042 | 2002-10-0042 | 242 | 85 | 79.8631 | 4.9278 | -5.1369 | 3.924 | 3.5863 | 0.032846 | -0.33766
2002-10-0042 | 2002-10-0042 | 242 | 75 | 79.8631 | 4.9278 | 4.8631 | 3.811 | 3.5863 | 0.032846 | -0.22466
2002-10-0042 | 2002-10-0042 | 121 | 50 | 52.0797 | 0.044575 | 2.0797 | 3.472 | 3.264 | 0.0056853 | -0.20796
2002-10-0042 | 2002-10-0042 | 242 | 30 | 25.1627 | 4.9859 | -4.8373 | 5.239 | 4.8604 | 0.15739 | -0.37858
2002-10-0042 | 2002-10-0042 | 363 | 20 | 20.1522 | 8.1792 | 0.15216 | 5.565 | 4.7863 | 0.16593 | -0.77869
2002-10-0042 | 2002-10-0042 | 363 | 10 | 10.3774 | 7.9219 | 0.37741 | 5.103 | 5.3925 | 0.81473 | 0.28949
2002-10-0042 | 2002-10-0042 | 242 | 1 | 5.4726 | 4.6684 | 4.4726 | 7.289 | 5.5801 | 0.94396 | -1.7089
2002-10-0048 | 2002-10-0048 | 121 | 271 | 271.276 | 0.027281 | 0.27628 | 3.582 | 3.2888 | 0.0035555 | -0.29322
2002-10-0048 | 2002-10-0048 | 121 | 250 | 249.893 | 0.025068 | -0.10672 | 3.629 | 3.3591 | 0.0039753 | -0.26988
2002-10-0048 | 2002-10-0048 | 121 | 200 | 200.159 | 0.030687 | 0.15872 | 3.723 | 3.452 | 0.0034615 | -0.27097
2002-10-0048 | 2002-10-0048 | 121 | 175 | 175.088 | 0.026255 | 0.088455 | 3.819 | 3.5212 | 0.0033392 | -0.29776
2002-10-0048 | 2002-10-0048 | 169 | 150 | 150.1 | 0.028953 | 0.099899 | 4.102 | 3.7568 | 0.0029467 | -0.34518
2002-10-0048 | 2002-10-0048 | 169 | 150 | 150.1 | 0.028953 | 0.099899 | 4.087 | 3.7568 | 0.0029467 | -0.33018
2002-10-0048 | 2002-10-0048 | 121 | 125 | 124.899 | 0.022789 | -0.10052 | 4.402 | 4.0206 | 0.00309 | -0.38144
2002-10-0048 | 2002-10-0048 | 121 | 100 | 99.9775 | 0.028449 | -0.022492 | 4.786 | 4.326 | 0.004067 | -0.46004
2002-10-0048 | 2002-10-0048 | 121 | 75 | 75.1659 | 0.026599 | 0.16592 | 5.242 | 4.7057 | 0.0038014 | -0.53627
2002-10-0048 | 2002-10-0048 | 121 | 50 | 50.0241 | 0.02847 | 0.024139 | 5.035 | 4.5726 | 0.0043606 | -0.46244
2002-10-0048 | 2002-10-0048 | 242 | 30 | 25.0665 | 4.936 | -4.9336 | 5.724 | 5.27 | 0.13348 | -0.45396
2002-10-0048 | 2002-10-0048 | 363 | 20 | 20.1084 | 8.0945 | 0.10837 | 6.008 | 5.0161 | 0.37581 | -0.99193
2002-10-0048 | 2002-10-0048 | 363 | 10 | 10.5338 | 7.719 | 0.53383 | 0.089 | 5.3836 | 0.70797 | 5.2946
2002-10-0048 | 2002-10-0048 | 242 | 1 | 5.7304 | 4.4711 | 4.7304 | 6.554 | 5.3738 | 0.8675 | -1.1802
Create Fit Sheet