PACIFIC REGION CCG VESSEL -POST CRUISE REPORT

NAME OF SHIP/PLATFORM:		CCGS VECTOR

DATE:		FROM:		19 May 2002	TO:	26 May 2002

SCIENCE CRUISE NUMBER:	2002-11		SHIP’S PATROL NUMBER:

CHIEF SCIENTIST[S]:		Dario Stucchi (IOS)

AREAS OF OPERATION:

# Queen Charlotte Strait, Knight Inlet, Kingcome Inlet, Broughton Archipelago

# Bute Inlet, Jervis Inlet, Howe Sound and Indian Arm

INTRODUCTION/

PROGRAM BACKGROUND:

- Joint project with Stolt Sea Farm Inc. to model the circulation and understand oceanography of the Broughton Archipelago

- Sampling in the inlets of the Strait of Georgia was for the Covariability Study funded from the department’s Strategic Science Fund.

CRUISE OBJECTIVE/OBJECTIVES:

- Recover, service and redeploy current meter moorings in Fife Sound and Tribune Channel

- Deploy bottom mounted pressure gauges at the head of Kingcome Inlet and off Tribune Channel in Kwatsi Bay.  Install and level benchmarks at these sites.

- Deploy surface mooring adjacent to fish farms at Midsummer Island and Port Elizabeth to monitor dissolved oxygen conditions.

- Wide area water property survey in the Broughton region.

- Water property survey in the main inlets of the Strait of Georgia (Bute Inlet, Jervis Inlet, Howe Sound and Indian Arm)

DAYS ALLOCATED:		7days		DAYS OF OPERATION:	7 days

DAYS LOST DUE TO WEATHER:	no days lost

RESULTS:

- Data needs to be processed and analysed before commenting on results.

- Preliminary examination of current meter data indicates that 6 of the 8 current meters collected good data while the speed sensor failed on two current meters.

- CTD/rosette system work well and all sensors appear to be within calibrations specifications

Radioisotope Use: Decommission lab and report use to IOS RSO (Radioisotope Use & Wipe test forms attached)

N/A:  None Used

PROBLEMS [SCIENTIFIC GEAR

AND OPERATIONS]:

No significant problems encountered.

SUCCESSES [SCIENTIFIC]:

All cruise objectives achieved.

PROBLEMS [SHIP’S EQUIPMENT/

OPERATIONS/PLATFORM SUITABILITY]:

All ships equipment worked well, no problems encountered.

SUCCESSES [SHIP]:

DELAYS [OTHER THAN

WEATHER]:

None.

SAFETY CONCERNS:

None

HAZARDOUS OCCURRENCES:

None

EVENT LOG:

19 May  1700:	Depart IOS for Broughton area

20 May		Recovered Fife Sound and Tribune Channel current meter moorings
		CTD/rosette sampling

21 May		Deployed Tribune Channel and Fife Sound current meter moorings
		visited Midsummer Island fish farm
		picked up CHS divers in Port McNeill
		CTD/rosette sampling

22 May		Divers deploy tide gauge in Anchorage Bay at the head of Kingcome Inlet.
		Benchmarks installed and levelled
		Divers deploy tide gauge in Kwatsi Bay off Tribune Channel
		Benchmarks installed and levelled
		CTD/rosette sampling

23 May		Deployed surface mooring adjacent to Midsummer Island fish farm
		Dissolved Oxygen recorder attached to mooring using small boat.
		Divers put ashore at Port McNeill
		Deployed surface mooring adjacent to Midsummer Island fish farm
		Dissolved Oxygen recorder attached to mooring using small boat.
		CTD/rosette sampling and then proceeded to Bute Inlet

24 May		CTD/rosette sampling in Bute Inlet and Jervis Inlet.
25 May 		CTD/rosette sampling in Howe Sound and Indian Arm
		fuelling at Coal Harbour
		Depart for IOS

SUMMARY/FINAL COMMENTS:

- It was a completely successful field operation.  All objectives were achieved within the time allotted.

- The cruise proceeded as scheduled with no delays or time lost due to weather.

- There were no safety concerns and no one was injured.

- Officers and crew made this a successful, safe and enjoyable cruise

- It doesn’t go much better than this!