## File List
Number of Files= |  | 11
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2002-12-0001 | 2002-12-0001 | 11 | 16 | 2002-12-0001 & 2002-12-0001
2 | 2002-12-0009 | 2002-12-0009 | 18 | 30 | 2002-12-0009 & 2002-12-0009
3 | 2002-12-0012 | 2002-12-0012 | 32 | 44 | 2002-12-0012 & 2002-12-0012
4 | 2002-12-0022 | 2002-12-0022 | 46 | 56 | 2002-12-0022 & 2002-12-0022
5 | 2002-12-0041 | 2002-12-0041 | 58 | 73 | 2002-12-0041 & 2002-12-0041
6 | 2002-12-0044 | 2002-12-0044 | 75 | 91 | 2002-12-0044 & 2002-12-0044
7 | 2002-12-0048 | 2002-12-0048 | 93 | 108 | 2002-12-0048 & 2002-12-0048
8 | 2002-12-0052 | 2002-12-0052 | 110 | 122 | 2002-12-0052 & 2002-12-0052
9 | 2002-12-0055 | 2002-12-0055 | 124 | 139 | 2002-12-0055 & 2002-12-0055
10 | 2002-12-0060 | 2002-12-0060 | 141 | 152 | 2002-12-0060 & 2002-12-0060
11 | 2002-12-0065 | 2002-12-0065 | 154 | 169 | 2002-12-0065 & 2002-12-0065

## (SBE Oxy - Titrated Oxy)
Calculation of Linear Least Squares Fit For
(SBE Oxy - Titrated Oxy)
2
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (SBE Oxy - Titrated Oxy), Prop=SBE Oxy
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.38293 |  | X | CALC Y
m= | -0.11041 | 0.01355 |  | Std Dev of Resid |  | 0.15101 |  | 1.1275 | -0.11122
b= | 0.013266 | 0.052711 |  | Resid Sum of Squares |  | 2.44 |  | 6.1845 | -0.66957
# of Values Extracted = |  |  | 149
# of Values Used in Fit = |  |  | 109
File | Use | Pressure | SBE Oxy | SBE Oxy | Diff (SBE Oxy - Titrated Oxy) |  |  |  | Fit vs. | SBE Oxy
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 102.715 | 1.1275 | 0.018115 | -1.0135 | -0.11122 | 0.90232 |  | 1.1275 | -1.0135
1 | YES | 102.715 | 1.1275 | 0.018115 | -0.50154 | -0.11122 | 0.39032 |  | 1.1275 | -0.50154
1 | YES | 50.0826 | 4.8393 | 0.0063745 | -0.69265 | -0.52104 | 0.1716 |  | 4.8393 | -0.69265
1 | YES | 50.0826 | 4.8393 | 0.0063745 | -0.74465 | -0.52104 | 0.2236 |  | 4.8393 | -0.74465
1 | NO | 1.3942 | 9.2132 | 0.071097 | -0.066786 | -1.004 | -0.93718 |  | 1.8255 | -0.089512
1 | NO | 1.3942 | 9.2132 | 0.071097 | 0.34521 | -1.004 | -1.3492 |  | 1.8126 | -0.067438
2 | YES | 217.785 | 1.8255 | 0.0025433 | -0.089512 | -0.18829 | -0.098773 |  | 1.8094 | -0.08457
2 | YES | 200.641 | 1.8126 | 0.0025784 | -0.067438 | -0.18686 | -0.11942 |  | 1.9655 | -0.19351
2 | YES | 176.5 | 1.8094 | 0.0025879 | -0.08457 | -0.18651 | -0.10194 |  | 2.2296 | -0.19736
2 | YES | 150.084 | 1.9655 | 0.0027812 | -0.19351 | -0.20374 | -0.010231 |  | 2.852 | -0.30197
2 | YES | 125.03 | 2.2296 | 0.0036217 | -0.19736 | -0.23291 | -0.035543 |  | 3.3851 | -0.37285
2 | YES | 100.821 | 2.852 | 0.0039104 | -0.30197 | -0.30162 | 0.0003507 |  | 4.1469 | -0.35808
2 | YES | 76.2041 | 3.3851 | 0.00397 | -0.37285 | -0.36049 | 0.012364 |  | 4.2865 | -0.5515
2 | YES | 44.776 | 4.1469 | 0.13875 | -0.35808 | -0.44459 | -0.086516 |  | 4.531 | -0.61998
2 | YES | 39.924 | 4.2865 | 0.22779 | -0.5515 | -0.46 | 0.091499 |  | 4.7645 | -0.57347
2 | YES | 29.9744 | 4.531 | 0.18836 | -0.61998 | -0.487 | 0.13298 |  | 4.9644 | -0.69662
2 | YES | 20.2112 | 4.7645 | 0.17256 | -0.57347 | -0.51278 | 0.060681 |  | 1.9051 | -0.06888
2 | YES | 11.9411 | 4.9644 | 0.17367 | -0.69662 | -0.53485 | 0.16177 |  | 1.9051 | -0.10188
2 | NO | 7.8103 | 5.0755 | 0.08989 | -0.73247 | -0.54712 | 0.18535 |  | 1.8753 | -0.12666
3 | YES | 180.339 | 1.9051 | 0.011715 | -0.06888 | -0.19708 | -0.1282 |  | 1.888 | -0.15598
3 | YES | 180.339 | 1.9051 | 0.011715 | -0.10188 | -0.19708 | -0.095197 |  | 2.3247 | -0.31325
3 | YES | 150.744 | 1.8753 | 0.0028652 | -0.12666 | -0.19379 | -0.067128 |  | 3.1549 | -0.39512
3 | YES | 125.878 | 1.888 | 0.0028402 | -0.15598 | -0.19519 | -0.039206 |  | 3.7862 | -0.4388
3 | YES | 99.5346 | 2.3247 | 0.0027996 | -0.31325 | -0.24341 | 0.069839 |  | 3.8858 | -0.43121
3 | YES | 76.9388 | 3.1549 | 0.0050325 | -0.39512 | -0.33506 | 0.060061 |  | 4.0179 | -0.44807
3 | YES | 45.983 | 3.7862 | 0.064595 | -0.4388 | -0.40477 | 0.03403 |  | 4.3014 | -0.51856
3 | YES | 37.1511 | 3.8858 | 0.088001 | -0.43121 | -0.41576 | 0.015444 |  | 3.0471 | -0.15389
3 | YES | 30.405 | 4.0179 | 0.15807 | -0.44807 | -0.43035 | 0.017722 |  | 3.0487 | -0.27628
3 | YES | 20.459 | 4.3014 | 0.30171 | -0.51856 | -0.46165 | 0.056903 |  | 3.4544 | -0.44665
3 | NO | 9.5016 | 4.6191 | 0.22777 | -0.72889 | -0.49673 | 0.23216 |  | 4.0644 | -0.57257
3 | NO | 5.4935 | 4.749 | 0.039433 | -0.59501 | -0.51107 | 0.083946 |  | 4.5759 | -0.50514
3 | NO | 5.4935 | 4.749 | 0.039433 | -0.63101 | -0.51107 | 0.11995 |  | 4.6315 | -0.62052
4 | YES | 141.248 | 3.0471 | 0.0042969 | -0.15389 | -0.32316 | -0.16927 |  | 4.7458 | -0.55018
4 | YES | 124.956 | 3.0487 | 0.0026902 | -0.27628 | -0.32334 | -0.047061 |  | 4.9014 | -0.50262
4 | YES | 101.128 | 3.4544 | 0.003554 | -0.44665 | -0.36813 | 0.078517 |  | 3.2778 | -0.1322
4 | YES | 75.823 | 4.0644 | 0.0049004 | -0.57257 | -0.43549 | 0.13708 |  | 2.7539 | -0.080108
4 | YES | 45.5136 | 4.5759 | 0.097609 | -0.50514 | -0.49195 | 0.013183 |  | 2.9392 | -0.27881
4 | YES | 40.2457 | 4.6315 | 0.11202 | -0.62052 | -0.49809 | 0.12242 |  | 3.5431 | -0.44688
4 | YES | 29.958 | 4.7458 | 0.060752 | -0.55018 | -0.51072 | 0.039464 |  | 4.1189 | -0.68107
4 | YES | 19.9722 | 4.9014 | 0.17199 | -0.50262 | -0.52789 | -0.025277 |  | 4.3889 | -0.5771
4 | NO | 9.2334 | 5.1254 | 0.18851 | -0.67355 | -0.55263 | 0.12092 |  | 4.5637 | -0.54434
4 | NO | 5.6372 | 5.2268 | 0.079046 | -0.65225 | -0.56382 | 0.08843 |  | 4.5239 | -0.46611
4 | NO | 5.6372 | 5.2268 | 0.079046 | -0.82225 | -0.56382 | 0.25843 |  | 4.3975 | -0.41546
5 | YES | 321.801 | 3.2778 | 0.0039699 | -0.1322 | -0.34863 | -0.21644 |  | 4.4981 | -0.38994
5 | YES | 300.496 | 2.7539 | 0.0048405 | -0.080108 | -0.29079 | -0.21068 |  | 4.6791 | -0.41085
5 | YES | 250.371 | 2.9392 | 0.0049503 | -0.27881 | -0.31125 | -0.032439 |  | 5.0934 | -0.71362
5 | YES | 200.794 | 3.5431 | 0.0076426 | -0.44688 | -0.37793 | 0.068948 |  | 5.8354 | -0.70456
5 | YES | 175.574 | 4.1189 | 0.020216 | -0.68107 | -0.4415 | 0.23956 |  | 2.3693 | -0.13666
5 | YES | 150.977 | 4.3889 | 0.0052351 | -0.5771 | -0.47131 | 0.10579 |  | 2.4302 | -0.12883
5 | YES | 125.836 | 4.5637 | 0.0045872 | -0.54434 | -0.49061 | 0.053733 |  | 2.5353 | -0.17869
5 | YES | 101.802 | 4.5239 | 0.003403 | -0.46611 | -0.48622 | -0.020108 |  | 2.8952 | -0.24483
5 | YES | 75.8335 | 4.3975 | 0.0035661 | -0.41546 | -0.47226 | -0.056802 |  | 3.4892 | -0.37776
5 | YES | 45.8124 | 4.4981 | 0.072335 | -0.38994 | -0.48336 | -0.093421 |  | 3.918 | -0.442
5 | YES | 40.7017 | 4.6791 | 0.26321 | -0.41085 | -0.50336 | -0.092508 |  | 4.1204 | -0.43555
5 | YES | 30.5398 | 5.0934 | 0.45145 | -0.71362 | -0.54909 | 0.16453 |  | 4.4866 | -0.4984
5 | YES | 20.6111 | 5.8354 | 0.73294 | -0.70456 | -0.63102 | 0.073542 |  | 4.5572 | -0.51382
5 | NO | 9.4916 | 7.1261 | 0.98343 | -0.50386 | -0.77353 | -0.26967 |  | 4.5012 | -0.42876
5 | NO | 5.7691 | 7.6118 | 0.58661 | -1.7742 | -0.82715 | 0.94706 |  | 4.9216 | -0.64136
5 | NO | 5.7691 | 7.6118 | 0.58661 | -1.6052 | -0.82715 | 0.77807 |  | 4.8442 | -0.5618
6 | YES | 378.65 | 2.3693 | 0.0029027 | -0.13666 | -0.24833 | -0.11167 |  | 4.7894 | -0.32864
6 | YES | 350.621 | 2.4302 | 0.002943 | -0.12883 | -0.25505 | -0.12622 |  | 5.2076 | -0.18041
6 | YES | 300.993 | 2.5353 | 0.0024968 | -0.17869 | -0.26666 | -0.08797 |  | 2.417 | -0.18196
6 | YES | 251.228 | 2.8952 | 0.0026947 | -0.24483 | -0.30639 | -0.061561 |  | 2.5836 | -0.21737
6 | YES | 201.754 | 3.4892 | 0.0029098 | -0.37776 | -0.37198 | 0.0057804 |  | 2.8029 | -0.28212
6 | YES | 174.966 | 3.918 | 0.0032145 | -0.442 | -0.41932 | 0.022681 |  | 3.3879 | -0.41511
6 | YES | 150.879 | 4.1204 | 0.0036078 | -0.43555 | -0.44167 | -0.0061253 |  | 3.6978 | -0.43022
6 | YES | 125.621 | 4.4866 | 0.0028239 | -0.4984 | -0.4821 | 0.016299 |  | 4.2315 | -0.5045
6 | YES | 100.724 | 4.5572 | 0.0032067 | -0.51382 | -0.48989 | 0.023927 |  | 4.3883 | -0.48573
6 | YES | 75.718 | 4.5012 | 0.0041191 | -0.42876 | -0.48371 | -0.054954 |  | 4.7131 | -0.58088
6 | YES | 45.559 | 4.9216 | 0.045793 | -0.64136 | -0.53013 | 0.11123 |  | 4.3416 | -0.32936
6 | YES | 40.4802 | 4.8442 | 0.11589 | -0.5618 | -0.52158 | 0.040222 |  | 4.4403 | -0.27272
6 | YES | 30.3037 | 4.7894 | 0.077026 | -0.32864 | -0.51553 | -0.18689 |  | 4.6174 | -0.54255
6 | YES | 20.259 | 5.2076 | 0.65647 | -0.18041 | -0.5617 | -0.38129 |  | 5.076 | -0.58203
6 | NO | 9.4964 | 6.6604 | 1.2873 | -0.18664 | -0.7221 | -0.53546 |  | 6.1845 | -0.33147
6 | NO | 5.9493 | 7.2796 | 0.82042 | -1.8624 | -0.79047 | 1.0719 |  | 2.3951 | -0.13793
6 | NO | 5.9493 | 7.2796 | 0.82042 | -1.9724 | -0.79047 | 1.1819 |  | 2.485 | -0.17196
7 | YES | 351.196 | 2.417 | 0.0023501 | -0.18196 | -0.2536 | -0.071639 |  | 2.6517 | -0.26833
7 | YES | 299.691 | 2.5836 | 0.0032381 | -0.21737 | -0.27199 | -0.054619 |  | 3.1113 | -0.34768
7 | YES | 249.49 | 2.8029 | 0.0025742 | -0.28212 | -0.2962 | -0.014075 |  | 3.5375 | -0.42345
7 | YES | 199.994 | 3.3879 | 0.0035726 | -0.41511 | -0.36079 | 0.054317 |  | 3.9671 | -0.45393
7 | YES | 176.699 | 3.6978 | 0.0032544 | -0.43022 | -0.395 | 0.035219 |  | 3.9712 | -0.5528
7 | YES | 152.062 | 4.2315 | 0.0043972 | -0.5045 | -0.45393 | 0.050572 |  | 3.9588 | -0.34115
7 | YES | 129.291 | 4.3883 | 0.0066165 | -0.48573 | -0.47124 | 0.014495 |  | 3.9829 | -0.37114
7 | YES | 96.7632 | 4.7131 | 0.0039824 | -0.58088 | -0.50711 | 0.073768 |  | 4.3245 | -0.38046
7 | YES | 76.9084 | 4.3416 | 0.00488 | -0.32936 | -0.46609 | -0.13674 |  | 4.4273 | -0.49271
7 | YES | 45.7925 | 4.4403 | 0.15885 | -0.27272 | -0.47698 | -0.20426 |  | 4.789 | -0.40397
7 | YES | 40.5297 | 4.6174 | 0.28241 | -0.54255 | -0.49654 | 0.046008 |  | 5.2392 | -0.82578
7 | YES | 30.1066 | 5.076 | 0.43903 | -0.58203 | -0.54717 | 0.03486 |  | 2.9801 | -0.22793
7 | YES | 20.2728 | 6.1845 | 1.2635 | -0.33147 | -0.66957 | -0.33809 |  | 3.1597 | -0.20026
7 | NO | 9.4052 | 7.5134 | 1.0807 | -1.6776 | -0.81629 | 0.8613 |  | 3.5095 | -0.33048
7 | NO | 5.7249 | 8.1321 | 0.15178 | -1.2239 | -0.8846 | 0.33931 |  | 3.6626 | -0.35939
7 | NO | 5.7249 | 8.1321 | 0.15178 | -1.2389 | -0.8846 | 0.35431 |  | 3.8353 | -0.39173
8 | NO | 248.335 | 2.031 | 0.042683 | -0.95102 | -0.21097 | 0.74005 |  | 4.3183 | -0.34169
8 | NO | 248.335 | 2.031 | 0.042683 | -0.94102 | -0.21097 | 0.73005 |  | 4.5837 | -0.29227
8 | NO | 200.612 | 2.3369 | 0.022623 | -1.5721 | -0.24475 | 1.3273 |  | 5.1522 | -0.59284
8 | NO | 175.166 | 2.9337 | 0.04716 | -1.8083 | -0.31064 | 1.4977 |  | 5.7607 | -0.95228
8 | NO | 100.298 | 3.4758 | 0.068848 | -1.7651 | -0.3705 | 1.3946 |  | 2.6536 | -0.1774
8 | NO | 75.0364 | 3.4559 | 0.047987 | -1.3551 | -0.3683 | 0.9868 |  | 2.6536 | -0.2254
8 | NO | 45.133 | 3.4667 | 0.11758 | -1.1663 | -0.36949 | 0.7968 |  | 2.8583 | -0.29371
8 | NO | 40.1827 | 3.4186 | 0.12209 | -1.3004 | -0.36418 | 0.9362 |  | 3.1278 | -0.3132
8 | NO | 30.1726 | 3.4009 | 0.099138 | -1.7151 | -0.36223 | 1.3529 |  | 3.2076 | -0.27241
8 | NO | 20.1228 | 3.7982 | 0.54856 | -2.5678 | -0.40609 | 2.1617 |  | 3.3441 | -0.36788
8 | NO | 9.1634 | 4.3502 | 0.52226 | -4.6258 | -0.46704 | 4.1587 |  | 3.3979 | -0.34707
8 | NO | 5.5074 | 4.6292 | 0.22515 | -4.4498 | -0.49784 | 3.952 |  | 3.6199 | -0.42909
8 | NO | 5.5074 | 4.6292 | 0.22515 | -4.6008 | -0.49784 | 4.103 |  | 3.9564 | -0.5286
9 | YES | 346.801 | 2.3951 | 0.0025388 | -0.13793 | -0.25117 | -0.11324 |  | 4.4357 | -0.55233
9 | YES | 301.554 | 2.485 | 0.0025703 | -0.17196 | -0.26111 | -0.089147 |  | 4.4935 | -0.56847
9 | YES | 250.87 | 2.6517 | 0.0031501 | -0.26833 | -0.2795 | -0.011173 |  | 4.5937 | -0.65433
9 | YES | 200.569 | 3.1113 | 0.0025795 | -0.34768 | -0.33025 | 0.017424 |  | 5.029 | -0.20395
9 | YES | 175.958 | 3.5375 | 0.003125 | -0.42345 | -0.37731 | 0.046133
9 | YES | 150.389 | 3.9671 | 0.0029782 | -0.45393 | -0.42474 | 0.029189
9 | YES | 125.46 | 3.9712 | 0.0089523 | -0.5528 | -0.42519 | 0.12761
9 | YES | 102.084 | 3.9588 | 0.0047814 | -0.34115 | -0.42383 | -0.08268
9 | YES | 77.3164 | 3.9829 | 0.0027668 | -0.37114 | -0.42648 | -0.05534
9 | YES | 44.7821 | 4.3245 | 0.102 | -0.38046 | -0.4642 | -0.083746
9 | YES | 39.9691 | 4.4273 | 0.16764 | -0.49271 | -0.47555 | 0.017164
9 | YES | 30.2476 | 4.789 | 0.3771 | -0.40397 | -0.51549 | -0.11151
9 | YES | 20.377 | 5.2392 | 0.47028 | -0.82578 | -0.56519 | 0.26058
9 | NO | 9.6555 | 5.6754 | 0.2128 | -0.8136 | -0.61335 | 0.20025
9 | NO | 6.087 | 5.7979 | 0.015806 | -0.71114 | -0.62687 | 0.084266
9 | NO | 6.087 | 5.7979 | 0.015806 | -0.68914 | -0.62687 | 0.062266
10 | YES | 166.165 | 2.9801 | 0.0047727 | -0.22793 | -0.31576 | -0.087828
10 | YES | 150.053 | 3.1597 | 0.0044713 | -0.20026 | -0.3356 | -0.13534
10 | YES | 125.082 | 3.5095 | 0.0032096 | -0.33048 | -0.37422 | -0.04374
10 | YES | 100.265 | 3.6626 | 0.0028849 | -0.35939 | -0.39112 | -0.031733
10 | YES | 75.113 | 3.8353 | 0.0027264 | -0.39173 | -0.41018 | -0.018458
10 | YES | 45.1719 | 4.3183 | 0.094583 | -0.34169 | -0.46352 | -0.12182
10 | YES | 40.1974 | 4.5837 | 0.38379 | -0.29227 | -0.49282 | -0.20055
10 | YES | 30.2547 | 5.1522 | 0.62067 | -0.59284 | -0.55558 | 0.037255
10 | YES | 20.2327 | 5.7607 | 0.47471 | -0.95228 | -0.62277 | 0.32951
10 | NO | 9.2128 | 6.1956 | 0.15753 | -0.81336 | -0.67079 | 0.14256
10 | NO | 5.5038 | 6.2844 | 0.038669 | -0.77258 | -0.68059 | 0.091987
10 | NO | 5.5038 | 6.2844 | 0.038669 | -0.76558 | -0.68059 | 0.084987
11 | YES | 304.587 | 2.6536 | 0.021531 | -0.1774 | -0.27972 | -0.10232
11 | YES | 304.587 | 2.6536 | 0.021531 | -0.2254 | -0.27972 | -0.054316
11 | YES | 250.357 | 2.8583 | 0.0033873 | -0.29371 | -0.30232 | -0.0086056
11 | YES | 200.492 | 3.1278 | 0.0030321 | -0.3132 | -0.33207 | -0.018875
11 | YES | 174.486 | 3.2076 | 0.0060589 | -0.27241 | -0.34088 | -0.06847
11 | YES | 149.767 | 3.3441 | 0.0047585 | -0.36788 | -0.35596 | 0.011919
11 | YES | 125.05 | 3.3979 | 0.0032715 | -0.34707 | -0.3619 | -0.014824
11 | YES | 100.845 | 3.6199 | 0.004474 | -0.42909 | -0.38641 | 0.042684
11 | YES | 75.7179 | 3.9564 | 0.0088858 | -0.5286 | -0.42356 | 0.10505
11 | YES | 45.5624 | 4.4357 | 0.058728 | -0.55233 | -0.47647 | 0.075851
11 | YES | 40.5196 | 4.4935 | 0.095057 | -0.56847 | -0.48286 | 0.085605
11 | YES | 30.3914 | 4.5937 | 0.076596 | -0.65433 | -0.49392 | 0.16041
11 | YES | 20.2018 | 5.029 | 0.5557 | -0.20395 | -0.54199 | -0.33804
11 | NO | 9.1499 | 5.8933 | 0.77211 | -1.6177 | -0.63742 | 0.98024
11 | NO | 5.4317 | 6.2984 | 0.37064 | -1.4106 | -0.68214 | 0.72847
11 | NO | 5.4317 | 6.2984 | 0.37064 | -1.3856 | -0.68214 | 0.70347
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
FIT vs. Pressure
FIT vs. SBE Oxy
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (SBE Oxy - Titrated Oxy) (2)
Calculation of Linear Least Squares Fit For
(SBE Oxy - Titrated Oxy)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (SBE Oxy - Titrated Oxy), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.011323 |  | X | CALC Y
m= | -0.013738 | 0.011868 |  | Std Dev of Resid |  | 0.38424 |  | 1 | -0.41941
b= | -0.40567 | 0.08358 |  | Resid Sum of Squares |  | 17.2738 |  | 11 | -0.55679
# of Values Extracted = |  |  | 149
# of Values Used in Fit = |  |  | 119
File | Use | Pressure | SBE Oxy | SBE Oxy | Diff (SBE Oxy - Titrated Oxy) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 102.715 | 1.1275 | 0.018115 | -1.0135 | -0.41941 | 0.59413 |  | 1 | -1.0135
1 | YES | 102.715 | 1.1275 | 0.018115 | -0.50154 | -0.41941 | 0.082129 |  | 1 | -0.50154
1 | YES | 50.0826 | 4.8393 | 0.0063745 | -0.69265 | -0.41941 | 0.27324 |  | 1 | -0.69265
1 | YES | 50.0826 | 4.8393 | 0.0063745 | -0.74465 | -0.41941 | 0.32524 |  | 1 | -0.74465
1 | NO | 1.3942 | 9.2132 | 0.071097 | -0.066786 | -0.41941 | -0.35263 |  | 2 | -0.089512
1 | NO | 1.3942 | 9.2132 | 0.071097 | 0.34521 | -0.41941 | -0.76463 |  | 2 | -0.067438
2 | YES | 217.785 | 1.8255 | 0.0025433 | -0.089512 | -0.43315 | -0.34364 |  | 2 | -0.08457
2 | YES | 200.641 | 1.8126 | 0.0025784 | -0.067438 | -0.43315 | -0.36571 |  | 2 | -0.19351
2 | YES | 176.5 | 1.8094 | 0.0025879 | -0.08457 | -0.43315 | -0.34858 |  | 2 | -0.19736
2 | YES | 150.084 | 1.9655 | 0.0027812 | -0.19351 | -0.43315 | -0.23964 |  | 2 | -0.30197
2 | YES | 125.03 | 2.2296 | 0.0036217 | -0.19736 | -0.43315 | -0.23579 |  | 2 | -0.37285
2 | YES | 100.821 | 2.852 | 0.0039104 | -0.30197 | -0.43315 | -0.13118 |  | 2 | -0.35808
2 | YES | 76.2041 | 3.3851 | 0.00397 | -0.37285 | -0.43315 | -0.0603 |  | 2 | -0.5515
2 | YES | 44.776 | 4.1469 | 0.13875 | -0.35808 | -0.43315 | -0.075073 |  | 2 | -0.61998
2 | YES | 39.924 | 4.2865 | 0.22779 | -0.5515 | -0.43315 | 0.11835 |  | 2 | -0.57347
2 | YES | 29.9744 | 4.531 | 0.18836 | -0.61998 | -0.43315 | 0.18683 |  | 2 | -0.69662
2 | YES | 20.2112 | 4.7645 | 0.17256 | -0.57347 | -0.43315 | 0.14031 |  | 3 | -0.06888
2 | YES | 11.9411 | 4.9644 | 0.17367 | -0.69662 | -0.43315 | 0.26347 |  | 3 | -0.10188
2 | NO | 7.8103 | 5.0755 | 0.08989 | -0.73247 | -0.43315 | 0.29932 |  | 3 | -0.12666
3 | YES | 180.339 | 1.9051 | 0.011715 | -0.06888 | -0.44689 | -0.37801 |  | 3 | -0.15598
3 | YES | 180.339 | 1.9051 | 0.011715 | -0.10188 | -0.44689 | -0.34501 |  | 3 | -0.31325
3 | YES | 150.744 | 1.8753 | 0.0028652 | -0.12666 | -0.44689 | -0.32023 |  | 3 | -0.39512
3 | YES | 125.878 | 1.888 | 0.0028402 | -0.15598 | -0.44689 | -0.29091 |  | 3 | -0.4388
3 | YES | 99.5346 | 2.3247 | 0.0027996 | -0.31325 | -0.44689 | -0.13364 |  | 3 | -0.43121
3 | YES | 76.9388 | 3.1549 | 0.0050325 | -0.39512 | -0.44689 | -0.051765 |  | 3 | -0.44807
3 | YES | 45.983 | 3.7862 | 0.064595 | -0.4388 | -0.44689 | -0.0080919 |  | 3 | -0.51856
3 | YES | 37.1511 | 3.8858 | 0.088001 | -0.43121 | -0.44689 | -0.015682 |  | 4 | -0.15389
3 | YES | 30.405 | 4.0179 | 0.15807 | -0.44807 | -0.44689 | 0.0011851 |  | 4 | -0.27628
3 | YES | 20.459 | 4.3014 | 0.30171 | -0.51856 | -0.44689 | 0.071668 |  | 4 | -0.44665
3 | NO | 9.5016 | 4.6191 | 0.22777 | -0.72889 | -0.44689 | 0.282 |  | 4 | -0.57257
3 | NO | 5.4935 | 4.749 | 0.039433 | -0.59501 | -0.44689 | 0.14813 |  | 4 | -0.50514
3 | NO | 5.4935 | 4.749 | 0.039433 | -0.63101 | -0.44689 | 0.18413 |  | 4 | -0.62052
4 | YES | 141.248 | 3.0471 | 0.0042969 | -0.15389 | -0.46063 | -0.30673 |  | 4 | -0.55018
4 | YES | 124.956 | 3.0487 | 0.0026902 | -0.27628 | -0.46063 | -0.18435 |  | 4 | -0.50262
4 | YES | 101.128 | 3.4544 | 0.003554 | -0.44665 | -0.46063 | -0.013982 |  | 5 | -0.1322
4 | YES | 75.823 | 4.0644 | 0.0049004 | -0.57257 | -0.46063 | 0.11194 |  | 5 | -0.080108
4 | YES | 45.5136 | 4.5759 | 0.097609 | -0.50514 | -0.46063 | 0.044509 |  | 5 | -0.27881
4 | YES | 40.2457 | 4.6315 | 0.11202 | -0.62052 | -0.46063 | 0.15989 |  | 5 | -0.44688
4 | YES | 29.958 | 4.7458 | 0.060752 | -0.55018 | -0.46063 | 0.089555 |  | 5 | -0.68107
4 | YES | 19.9722 | 4.9014 | 0.17199 | -0.50262 | -0.46063 | 0.04199 |  | 5 | -0.5771
4 | NO | 9.2334 | 5.1254 | 0.18851 | -0.67355 | -0.46063 | 0.21293 |  | 5 | -0.54434
4 | NO | 5.6372 | 5.2268 | 0.079046 | -0.65225 | -0.46063 | 0.19162 |  | 5 | -0.46611
4 | NO | 5.6372 | 5.2268 | 0.079046 | -0.82225 | -0.46063 | 0.36162 |  | 5 | -0.41546
5 | YES | 321.801 | 3.2778 | 0.0039699 | -0.1322 | -0.47437 | -0.34217 |  | 5 | -0.38994
5 | YES | 300.496 | 2.7539 | 0.0048405 | -0.080108 | -0.47437 | -0.39426 |  | 5 | -0.41085
5 | YES | 250.371 | 2.9392 | 0.0049503 | -0.27881 | -0.47437 | -0.19556 |  | 5 | -0.71362
5 | YES | 200.794 | 3.5431 | 0.0076426 | -0.44688 | -0.47437 | -0.027489 |  | 5 | -0.70456
5 | YES | 175.574 | 4.1189 | 0.020216 | -0.68107 | -0.47437 | 0.2067 |  | 6 | -0.13666
5 | YES | 150.977 | 4.3889 | 0.0052351 | -0.5771 | -0.47437 | 0.10273 |  | 6 | -0.12883
5 | YES | 125.836 | 4.5637 | 0.0045872 | -0.54434 | -0.47437 | 0.069974 |  | 6 | -0.17869
5 | YES | 101.802 | 4.5239 | 0.003403 | -0.46611 | -0.47437 | -0.0082583 |  | 6 | -0.24483
5 | YES | 75.8335 | 4.3975 | 0.0035661 | -0.41546 | -0.47437 | -0.058902 |  | 6 | -0.37776
5 | YES | 45.8124 | 4.4981 | 0.072335 | -0.38994 | -0.47437 | -0.084423 |  | 6 | -0.442
5 | YES | 40.7017 | 4.6791 | 0.26321 | -0.41085 | -0.47437 | -0.063516 |  | 6 | -0.43555
5 | YES | 30.5398 | 5.0934 | 0.45145 | -0.71362 | -0.47437 | 0.23926 |  | 6 | -0.4984
5 | YES | 20.6111 | 5.8354 | 0.73294 | -0.70456 | -0.47437 | 0.2302 |  | 6 | -0.51382
5 | NO | 9.4916 | 7.1261 | 0.98343 | -0.50386 | -0.47437 | 0.029495 |  | 6 | -0.42876
5 | NO | 5.7691 | 7.6118 | 0.58661 | -1.7742 | -0.47437 | 1.2998 |  | 6 | -0.64136
5 | NO | 5.7691 | 7.6118 | 0.58661 | -1.6052 | -0.47437 | 1.1309 |  | 6 | -0.5618
6 | YES | 378.65 | 2.3693 | 0.0029027 | -0.13666 | -0.4881 | -0.35144 |  | 6 | -0.32864
6 | YES | 350.621 | 2.4302 | 0.002943 | -0.12883 | -0.4881 | -0.35928 |  | 6 | -0.18041
6 | YES | 300.993 | 2.5353 | 0.0024968 | -0.17869 | -0.4881 | -0.30942 |  | 7 | -0.18196
6 | YES | 251.228 | 2.8952 | 0.0026947 | -0.24483 | -0.4881 | -0.24328 |  | 7 | -0.21737
6 | YES | 201.754 | 3.4892 | 0.0029098 | -0.37776 | -0.4881 | -0.11034 |  | 7 | -0.28212
6 | YES | 174.966 | 3.918 | 0.0032145 | -0.442 | -0.4881 | -0.046104 |  | 7 | -0.41511
6 | YES | 150.879 | 4.1204 | 0.0036078 | -0.43555 | -0.4881 | -0.052558 |  | 7 | -0.43022
6 | YES | 125.621 | 4.4866 | 0.0028239 | -0.4984 | -0.4881 | 0.010293 |  | 7 | -0.5045
6 | YES | 100.724 | 4.5572 | 0.0032067 | -0.51382 | -0.4881 | 0.025714 |  | 7 | -0.48573
6 | YES | 75.718 | 4.5012 | 0.0041191 | -0.42876 | -0.4881 | -0.059344 |  | 7 | -0.58088
6 | YES | 45.559 | 4.9216 | 0.045793 | -0.64136 | -0.4881 | 0.15325 |  | 7 | -0.32936
6 | YES | 40.4802 | 4.8442 | 0.11589 | -0.5618 | -0.4881 | 0.073698 |  | 7 | -0.27272
6 | YES | 30.3037 | 4.7894 | 0.077026 | -0.32864 | -0.4881 | -0.15947 |  | 7 | -0.54255
6 | YES | 20.259 | 5.2076 | 0.65647 | -0.18041 | -0.4881 | -0.30769 |  | 7 | -0.58203
6 | NO | 9.4964 | 6.6604 | 1.2873 | -0.18664 | -0.4881 | -0.30146 |  | 7 | -0.33147
6 | NO | 5.9493 | 7.2796 | 0.82042 | -1.8624 | -0.4881 | 1.3743 |  | 8 | -0.95102
6 | NO | 5.9493 | 7.2796 | 0.82042 | -1.9724 | -0.4881 | 1.4843 |  | 8 | -0.94102
7 | YES | 351.196 | 2.417 | 0.0023501 | -0.18196 | -0.50184 | -0.31988 |  | 8 | -1.5721
7 | YES | 299.691 | 2.5836 | 0.0032381 | -0.21737 | -0.50184 | -0.28447 |  | 8 | -1.8083
7 | YES | 249.49 | 2.8029 | 0.0025742 | -0.28212 | -0.50184 | -0.21972 |  | 8 | -1.7651
7 | YES | 199.994 | 3.3879 | 0.0035726 | -0.41511 | -0.50184 | -0.086735 |  | 8 | -1.3551
7 | YES | 176.699 | 3.6978 | 0.0032544 | -0.43022 | -0.50184 | -0.071619 |  | 8 | -1.1663
7 | YES | 152.062 | 4.2315 | 0.0043972 | -0.5045 | -0.50184 | 0.0026622 |  | 8 | -1.3004
7 | YES | 129.291 | 4.3883 | 0.0066165 | -0.48573 | -0.50184 | -0.016107 |  | 8 | -1.7151
7 | YES | 96.7632 | 4.7131 | 0.0039824 | -0.58088 | -0.50184 | 0.079034 |  | 8 | -2.5678
7 | YES | 76.9084 | 4.3416 | 0.00488 | -0.32936 | -0.50184 | -0.17249 |  | 9 | -0.13793
7 | YES | 45.7925 | 4.4403 | 0.15885 | -0.27272 | -0.50184 | -0.22912 |  | 9 | -0.17196
7 | YES | 40.5297 | 4.6174 | 0.28241 | -0.54255 | -0.50184 | 0.040711 |  | 9 | -0.26833
7 | YES | 30.1066 | 5.076 | 0.43903 | -0.58203 | -0.50184 | 0.080188 |  | 9 | -0.34768
7 | YES | 20.2728 | 6.1845 | 1.2635 | -0.33147 | -0.50184 | -0.17037 |  | 9 | -0.42345
7 | NO | 9.4052 | 7.5134 | 1.0807 | -1.6776 | -0.50184 | 1.1757 |  | 9 | -0.45393
7 | NO | 5.7249 | 8.1321 | 0.15178 | -1.2239 | -0.50184 | 0.72207 |  | 9 | -0.5528
7 | NO | 5.7249 | 8.1321 | 0.15178 | -1.2389 | -0.50184 | 0.73707 |  | 9 | -0.34115
8 | YES | 248.335 | 2.031 | 0.042683 | -0.95102 | -0.51558 | 0.43544 |  | 9 | -0.37114
8 | YES | 248.335 | 2.031 | 0.042683 | -0.94102 | -0.51558 | 0.42544 |  | 9 | -0.38046
8 | YES | 200.612 | 2.3369 | 0.022623 | -1.5721 | -0.51558 | 1.0565 |  | 9 | -0.49271
8 | YES | 175.166 | 2.9337 | 0.04716 | -1.8083 | -0.51558 | 1.2927 |  | 9 | -0.40397
8 | YES | 100.298 | 3.4758 | 0.068848 | -1.7651 | -0.51558 | 1.2496 |  | 9 | -0.82578
8 | YES | 75.0364 | 3.4559 | 0.047987 | -1.3551 | -0.51558 | 0.83952 |  | 10 | -0.22793
8 | YES | 45.133 | 3.4667 | 0.11758 | -1.1663 | -0.51558 | 0.65071 |  | 10 | -0.20026
8 | YES | 40.1827 | 3.4186 | 0.12209 | -1.3004 | -0.51558 | 0.7848 |  | 10 | -0.33048
8 | YES | 30.1726 | 3.4009 | 0.099138 | -1.7151 | -0.51558 | 1.1995 |  | 10 | -0.35939
8 | YES | 20.1228 | 3.7982 | 0.54856 | -2.5678 | -0.51558 | 2.0522 |  | 10 | -0.39173
8 | NO | 9.1634 | 4.3502 | 0.52226 | -4.6258 | -0.51558 | 4.1102 |  | 10 | -0.34169
8 | NO | 5.5074 | 4.6292 | 0.22515 | -4.4498 | -0.51558 | 3.9342 |  | 10 | -0.29227
8 | NO | 5.5074 | 4.6292 | 0.22515 | -4.6008 | -0.51558 | 4.0852 |  | 10 | -0.59284
9 | YES | 346.801 | 2.3951 | 0.0025388 | -0.13793 | -0.52932 | -0.39138 |  | 10 | -0.95228
9 | YES | 301.554 | 2.485 | 0.0025703 | -0.17196 | -0.52932 | -0.35736 |  | 11 | -0.1774
9 | YES | 250.87 | 2.6517 | 0.0031501 | -0.26833 | -0.52932 | -0.26099 |  | 11 | -0.2254
9 | YES | 200.569 | 3.1113 | 0.0025795 | -0.34768 | -0.52932 | -0.18164 |  | 11 | -0.29371
9 | YES | 175.958 | 3.5375 | 0.003125 | -0.42345 | -0.52932 | -0.10587 |  | 11 | -0.3132
9 | YES | 150.389 | 3.9671 | 0.0029782 | -0.45393 | -0.52932 | -0.075392 |  | 11 | -0.27241
9 | YES | 125.46 | 3.9712 | 0.0089523 | -0.5528 | -0.52932 | 0.023484 |  | 11 | -0.36788
9 | YES | 102.084 | 3.9588 | 0.0047814 | -0.34115 | -0.52932 | -0.18817 |  | 11 | -0.34707
9 | YES | 77.3164 | 3.9829 | 0.0027668 | -0.37114 | -0.52932 | -0.15818 |  | 11 | -0.42909
9 | YES | 44.7821 | 4.3245 | 0.102 | -0.38046 | -0.52932 | -0.14886 |  | 11 | -0.5286
9 | YES | 39.9691 | 4.4273 | 0.16764 | -0.49271 | -0.52932 | -0.036605 |  | 11 | -0.55233
9 | YES | 30.2476 | 4.789 | 0.3771 | -0.40397 | -0.52932 | -0.12534 |  | 11 | -0.56847
9 | YES | 20.377 | 5.2392 | 0.47028 | -0.82578 | -0.52932 | 0.29646 |  | 11 | -0.65433
9 | NO | 9.6555 | 5.6754 | 0.2128 | -0.8136 | -0.52932 | 0.28428 |  | 11 | -0.20395
9 | NO | 6.087 | 5.7979 | 0.015806 | -0.71114 | -0.52932 | 0.18182
9 | NO | 6.087 | 5.7979 | 0.015806 | -0.68914 | -0.52932 | 0.15982
10 | YES | 166.165 | 2.9801 | 0.0047727 | -0.22793 | -0.54306 | -0.31512
10 | YES | 150.053 | 3.1597 | 0.0044713 | -0.20026 | -0.54306 | -0.3428
10 | YES | 125.082 | 3.5095 | 0.0032096 | -0.33048 | -0.54306 | -0.21258
10 | YES | 100.265 | 3.6626 | 0.0028849 | -0.35939 | -0.54306 | -0.18367
10 | YES | 75.113 | 3.8353 | 0.0027264 | -0.39173 | -0.54306 | -0.15133
10 | YES | 45.1719 | 4.3183 | 0.094583 | -0.34169 | -0.54306 | -0.20136
10 | YES | 40.1974 | 4.5837 | 0.38379 | -0.29227 | -0.54306 | -0.25079
10 | YES | 30.2547 | 5.1522 | 0.62067 | -0.59284 | -0.54306 | 0.04978
10 | YES | 20.2327 | 5.7607 | 0.47471 | -0.95228 | -0.54306 | 0.40923
10 | NO | 9.2128 | 6.1956 | 0.15753 | -0.81336 | -0.54306 | 0.2703
10 | NO | 5.5038 | 6.2844 | 0.038669 | -0.77258 | -0.54306 | 0.22953
10 | NO | 5.5038 | 6.2844 | 0.038669 | -0.76558 | -0.54306 | 0.22253
11 | YES | 304.587 | 2.6536 | 0.021531 | -0.1774 | -0.55679 | -0.37939
11 | YES | 304.587 | 2.6536 | 0.021531 | -0.2254 | -0.55679 | -0.33139
11 | YES | 250.357 | 2.8583 | 0.0033873 | -0.29371 | -0.55679 | -0.26308
11 | YES | 200.492 | 3.1278 | 0.0030321 | -0.3132 | -0.55679 | -0.2436
11 | YES | 174.486 | 3.2076 | 0.0060589 | -0.27241 | -0.55679 | -0.28438
11 | YES | 149.767 | 3.3441 | 0.0047585 | -0.36788 | -0.55679 | -0.18892
11 | YES | 125.05 | 3.3979 | 0.0032715 | -0.34707 | -0.55679 | -0.20972
11 | YES | 100.845 | 3.6199 | 0.004474 | -0.42909 | -0.55679 | -0.1277
11 | YES | 75.7179 | 3.9564 | 0.0088858 | -0.5286 | -0.55679 | -0.028191
11 | YES | 45.5624 | 4.4357 | 0.058728 | -0.55233 | -0.55679 | -0.0044687
11 | YES | 40.5196 | 4.4935 | 0.095057 | -0.56847 | -0.55679 | 0.011673
11 | YES | 30.3914 | 4.5937 | 0.076596 | -0.65433 | -0.55679 | 0.097539
11 | YES | 20.2018 | 5.029 | 0.5557 | -0.20395 | -0.55679 | -0.35285
11 | NO | 9.1499 | 5.8933 | 0.77211 | -1.6177 | -0.55679 | 1.0609
11 | NO | 5.4317 | 6.2984 | 0.37064 | -1.4106 | -0.55679 | 0.85382
11 | NO | 5.4317 | 6.2984 | 0.37064 | -1.3856 | -0.55679 | 0.82882
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
FIT vs. Pressure
FIT vs. SBE Oxy
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Titrated Oxy | SBE Oxy |  | SBE Oxy - Titrated Oxy
Average Size: | 12
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Titrated Oxy | SBE Oxy | SBE Oxy | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2002-12-0001 | 2002-12-0001 | 242 | 103 | 102.715 | 0.026023 | -0.2847 | 2.141 | 1.1275 | 0.018115 | -1.0135
2002-12-0001 | 2002-12-0001 | 242 | 103 | 102.715 | 0.026023 | -0.2847 | 1.629 | 1.1275 | 0.018115 | -0.50154
2002-12-0001 | 2002-12-0001 | 194 | 50 | 50.0826 | 0.02247 | 0.08263 | 5.532 | 4.8393 | 0.0063745 | -0.69265
2002-12-0001 | 2002-12-0001 | 194 | 50 | 50.0826 | 0.02247 | 0.08263 | 5.584 | 4.8393 | 0.0063745 | -0.74465
2002-12-0001 | 2002-12-0001 | 178 | 1 | 1.3942 | 0.024711 | 0.39418 | 9.28 | 9.2132 | 0.071097 | -0.066786
2002-12-0001 | 2002-12-0001 | 178 | 1 | 1.3942 | 0.024711 | 0.39418 | 8.868 | 9.2132 | 0.071097 | 0.34521
2002-12-0009 | 2002-12-0009 | 121 | 217 | 217.785 | 0.17226 | 0.78468 | 1.915 | 1.8255 | 0.0025433 | -0.089512
2002-12-0009 | 2002-12-0009 | 121 | 200 | 200.641 | 0.25018 | 0.64114 | 1.88 | 1.8126 | 0.0025784 | -0.067438
2002-12-0009 | 2002-12-0009 | 121 | 175 | 176.5 | 0.097881 | 1.5003 | 1.894 | 1.8094 | 0.0025879 | -0.08457
2002-12-0009 | 2002-12-0009 | 121 | 150 | 150.084 | 0.16851 | 0.083786 | 2.159 | 1.9655 | 0.0027812 | -0.19351
2002-12-0009 | 2002-12-0009 | 121 | 125 | 125.03 | 0.12309 | 0.029915 | 2.427 | 2.2296 | 0.0036217 | -0.19736
2002-12-0009 | 2002-12-0009 | 121 | 100 | 100.821 | 0.13728 | 0.82147 | 3.154 | 2.852 | 0.0039104 | -0.30197
2002-12-0009 | 2002-12-0009 | 121 | 75 | 76.2041 | 0.062357 | 1.2041 | 3.758 | 3.3851 | 0.00397 | -0.37285
2002-12-0009 | 2002-12-0009 | 242 | 50 | 44.776 | 5.2883 | -5.224 | 4.505 | 4.1469 | 0.13875 | -0.35808
2002-12-0009 | 2002-12-0009 | 363 | 40 | 39.924 | 8.1144 | -0.07605 | 4.838 | 4.2865 | 0.22779 | -0.5515
2002-12-0009 | 2002-12-0009 | 363 | 30 | 29.9744 | 7.8924 | -0.025598 | 5.151 | 4.531 | 0.18836 | -0.61998
2002-12-0009 | 2002-12-0009 | 363 | 20 | 20.2112 | 8.1807 | 0.21119 | 5.338 | 4.7645 | 0.17256 | -0.57347
2002-12-0009 | 2002-12-0009 | 363 | 10 | 11.9411 | 6.171 | 1.9411 | 5.661 | 4.9644 | 0.17367 | -0.69662
2002-12-0009 | 2002-12-0009 | 242 | 5 | 7.8103 | 2.4068 | 2.8103 | 5.808 | 5.0755 | 0.08989 | -0.73247
2002-12-0012 | 2002-12-0012 | 242 | 184 | 180.339 | 4.7916 | -3.6605 | 1.974 | 1.9051 | 0.011715 | -0.06888
2002-12-0012 | 2002-12-0012 | 242 | 175 | 180.339 | 4.7916 | 5.3395 | 2.007 | 1.9051 | 0.011715 | -0.10188
2002-12-0012 | 2002-12-0012 | 121 | 150 | 150.744 | 0.099106 | 0.74448 | 2.002 | 1.8753 | 0.0028652 | -0.12666
2002-12-0012 | 2002-12-0012 | 121 | 125 | 125.878 | 0.068299 | 0.87786 | 2.044 | 1.888 | 0.0028402 | -0.15598
2002-12-0012 | 2002-12-0012 | 121 | 100 | 99.5346 | 0.14866 | -0.46536 | 2.638 | 2.3247 | 0.0027996 | -0.31325
2002-12-0012 | 2002-12-0012 | 121 | 75 | 76.9388 | 0.12509 | 1.9388 | 3.55 | 3.1549 | 0.0050325 | -0.39512
2002-12-0012 | 2002-12-0012 | 242 | 50 | 45.983 | 6.0438 | -4.017 | 4.225 | 3.7862 | 0.064595 | -0.4388
2002-12-0012 | 2002-12-0012 | 280 | 40 | 37.1511 | 7.5262 | -2.8489 | 4.317 | 3.8858 | 0.088001 | -0.43121
2002-12-0012 | 2002-12-0012 | 363 | 30 | 30.405 | 7.5481 | 0.40496 | 4.466 | 4.0179 | 0.15807 | -0.44807
2002-12-0012 | 2002-12-0012 | 363 | 20 | 20.459 | 8.0574 | 0.45898 | 4.82 | 4.3014 | 0.30171 | -0.51856
2002-12-0012 | 2002-12-0012 | 484 | 10 | 9.5016 | 7.628 | -0.49841 | 5.348 | 4.6191 | 0.22777 | -0.72889
2002-12-0012 | 2002-12-0012 | 363 | 5 | 5.4935 | 3.6328 | 0.49347 | 5.344 | 4.749 | 0.039433 | -0.59501
2002-12-0012 | 2002-12-0012 | 363 | 2 | 5.4935 | 3.6328 | 3.4935 | 5.38 | 4.749 | 0.039433 | -0.63101
2002-12-0022 | 2002-12-0022 | 121 | 150 | 141.248 | 0.030364 | -8.7518 | 3.201 | 3.0471 | 0.0042969 | -0.15389
2002-12-0022 | 2002-12-0022 | 121 | 125 | 124.956 | 0.039645 | -0.044495 | 3.325 | 3.0487 | 0.0026902 | -0.27628
2002-12-0022 | 2002-12-0022 | 121 | 100 | 101.128 | 0.054811 | 1.1279 | 3.901 | 3.4544 | 0.003554 | -0.44665
2002-12-0022 | 2002-12-0022 | 121 | 75 | 75.823 | 0.033222 | 0.82303 | 4.637 | 4.0644 | 0.0049004 | -0.57257
2002-12-0022 | 2002-12-0022 | 242 | 50 | 45.5136 | 5.3828 | -4.4864 | 5.081 | 4.5759 | 0.097609 | -0.50514
2002-12-0022 | 2002-12-0022 | 363 | 40 | 40.2457 | 8.6571 | 0.24567 | 5.252 | 4.6315 | 0.11202 | -0.62052
2002-12-0022 | 2002-12-0022 | 363 | 30 | 29.958 | 8.2273 | -0.042007 | 5.296 | 4.7458 | 0.060752 | -0.55018
2002-12-0022 | 2002-12-0022 | 363 | 20 | 19.9722 | 7.9822 | -0.027796 | 5.404 | 4.9014 | 0.17199 | -0.50262
2002-12-0022 | 2002-12-0022 | 484 | 10 | 9.2334 | 6.9347 | -0.76662 | 5.799 | 5.1254 | 0.18851 | -0.67355
2002-12-0022 | 2002-12-0022 | 363 | 5 | 5.6372 | 3.5057 | 0.63718 | 5.879 | 5.2268 | 0.079046 | -0.65225
2002-12-0022 | 2002-12-0022 | 363 | 1 | 5.6372 | 3.5057 | 4.6372 | 6.049 | 5.2268 | 0.079046 | -0.82225
2002-12-0041 | 2002-12-0041 | 121 | 320 | 321.801 | 0.048223 | 1.801 | 3.41 | 3.2778 | 0.0039699 | -0.1322
2002-12-0041 | 2002-12-0041 | 121 | 300 | 300.496 | 0.0321 | 0.49625 | 2.834 | 2.7539 | 0.0048405 | -0.080108
2002-12-0041 | 2002-12-0041 | 121 | 250 | 250.371 | 0.075384 | 0.371 | 3.218 | 2.9392 | 0.0049503 | -0.27881
2002-12-0041 | 2002-12-0041 | 121 | 200 | 200.794 | 0.068889 | 0.79382 | 3.99 | 3.5431 | 0.0076426 | -0.44688
2002-12-0041 | 2002-12-0041 | 121 | 175 | 175.574 | 0.070195 | 0.57416 | 4.8 | 4.1189 | 0.020216 | -0.68107
2002-12-0041 | 2002-12-0041 | 121 | 150 | 150.977 | 0.090969 | 0.97707 | 4.966 | 4.3889 | 0.0052351 | -0.5771
2002-12-0041 | 2002-12-0041 | 121 | 125 | 125.836 | 0.088237 | 0.8359 | 5.108 | 4.5637 | 0.0045872 | -0.54434
2002-12-0041 | 2002-12-0041 | 121 | 100 | 101.802 | 0.11938 | 1.8016 | 4.99 | 4.5239 | 0.003403 | -0.46611
2002-12-0041 | 2002-12-0041 | 121 | 75 | 75.8335 | 0.071824 | 0.83352 | 4.813 | 4.3975 | 0.0035661 | -0.41546
2002-12-0041 | 2002-12-0041 | 242 | 50 | 45.8124 | 5.3445 | -4.1876 | 4.888 | 4.4981 | 0.072335 | -0.38994
2002-12-0041 | 2002-12-0041 | 363 | 40 | 40.7017 | 8.4499 | 0.70169 | 5.09 | 4.6791 | 0.26321 | -0.41085
2002-12-0041 | 2002-12-0041 | 363 | 30 | 30.5398 | 8.1036 | 0.53982 | 5.807 | 5.0934 | 0.45145 | -0.71362
2002-12-0041 | 2002-12-0041 | 363 | 20 | 20.6111 | 8.0895 | 0.6111 | 6.54 | 5.8354 | 0.73294 | -0.70456
2002-12-0041 | 2002-12-0041 | 484 | 10 | 9.4916 | 7.2845 | -0.50838 | 7.63 | 7.1261 | 0.98343 | -0.50386
2002-12-0041 | 2002-12-0041 | 363 | 5 | 5.7691 | 3.9013 | 0.76913 | 9.386 | 7.6118 | 0.58661 | -1.7742
2002-12-0041 | 2002-12-0041 | 363 | 1 | 5.7691 | 3.9013 | 4.7691 | 9.217 | 7.6118 | 0.58661 | -1.6052
2002-12-0044 | 2002-12-0044 | 121 | 378 | 378.65 | 0.10009 | 0.65042 | 2.506 | 2.3693 | 0.0029027 | -0.13666
2002-12-0044 | 2002-12-0044 | 121 | 350 | 350.621 | 0.16844 | 0.621 | 2.559 | 2.4302 | 0.002943 | -0.12883
2002-12-0044 | 2002-12-0044 | 121 | 300 | 300.993 | 0.059086 | 0.99252 | 2.714 | 2.5353 | 0.0024968 | -0.17869
2002-12-0044 | 2002-12-0044 | 121 | 250 | 251.228 | 0.10194 | 1.2279 | 3.14 | 2.8952 | 0.0026947 | -0.24483
2002-12-0044 | 2002-12-0044 | 121 | 200 | 201.754 | 0.083401 | 1.7544 | 3.867 | 3.4892 | 0.0029098 | -0.37776
2002-12-0044 | 2002-12-0044 | 121 | 175 | 174.966 | 0.058274 | -0.03447 | 4.36 | 3.918 | 0.0032145 | -0.442
2002-12-0044 | 2002-12-0044 | 121 | 150 | 150.879 | 0.061844 | 0.87898 | 4.556 | 4.1204 | 0.0036078 | -0.43555
2002-12-0044 | 2002-12-0044 | 121 | 125 | 125.621 | 0.052839 | 0.62092 | 4.985 | 4.4866 | 0.0028239 | -0.4984
2002-12-0044 | 2002-12-0044 | 121 | 100 | 100.724 | 0.047893 | 0.72409 | 5.071 | 4.5572 | 0.0032067 | -0.51382
2002-12-0044 | 2002-12-0044 | 121 | 75 | 75.718 | 0.053192 | 0.718 | 4.93 | 4.5012 | 0.0041191 | -0.42876
2002-12-0044 | 2002-12-0044 | 242 | 50 | 45.559 | 5.1192 | -4.441 | 5.563 | 4.9216 | 0.045793 | -0.64136
2002-12-0044 | 2002-12-0044 | 363 | 40 | 40.4802 | 8.3173 | 0.48024 | 5.406 | 4.8442 | 0.11589 | -0.5618
2002-12-0044 | 2002-12-0044 | 363 | 30 | 30.3037 | 8.3044 | 0.3037 | 5.118 | 4.7894 | 0.077026 | -0.32864
2002-12-0044 | 2002-12-0044 | 363 | 20 | 20.259 | 8.1795 | 0.25897 | 5.388 | 5.2076 | 0.65647 | -0.18041
2002-12-0044 | 2002-12-0044 | 484 | 10 | 9.4964 | 6.8115 | -0.50361 | 6.847 | 6.6604 | 1.2873 | -0.18664
2002-12-0044 | 2002-12-0044 | 363 | 5 | 5.9493 | 3.3817 | 0.94929 | 9.142 | 7.2796 | 0.82042 | -1.8624
2002-12-0044 | 2002-12-0044 | 363 | 1 | 5.9493 | 3.3817 | 4.9493 | 9.252 | 7.2796 | 0.82042 | -1.9724
2002-12-0048 | 2002-12-0048 | 121 | 345 | 351.196 | 0.16121 | 6.196 | 2.599 | 2.417 | 0.0023501 | -0.18196
2002-12-0048 | 2002-12-0048 | 121 | 300 | 299.691 | 0.15018 | -0.30881 | 2.801 | 2.5836 | 0.0032381 | -0.21737
2002-12-0048 | 2002-12-0048 | 121 | 250 | 249.49 | 0.1432 | -0.50963 | 3.085 | 2.8029 | 0.0025742 | -0.28212
2002-12-0048 | 2002-12-0048 | 121 | 200 | 199.994 | 0.076544 | -0.0057983 | 3.803 | 3.3879 | 0.0035726 | -0.41511
2002-12-0048 | 2002-12-0048 | 121 | 175 | 176.699 | 0.085754 | 1.6989 | 4.128 | 3.6978 | 0.0032544 | -0.43022
2002-12-0048 | 2002-12-0048 | 121 | 150 | 152.062 | 0.12491 | 2.0624 | 4.736 | 4.2315 | 0.0043972 | -0.5045
2002-12-0048 | 2002-12-0048 | 121 | 125 | 129.291 | 0.21432 | 4.2908 | 4.874 | 4.3883 | 0.0066165 | -0.48573
2002-12-0048 | 2002-12-0048 | 121 | 100 | 96.7632 | 0.22955 | -3.2368 | 5.294 | 4.7131 | 0.0039824 | -0.58088
2002-12-0048 | 2002-12-0048 | 121 | 75 | 76.9084 | 0.17409 | 1.9084 | 4.671 | 4.3416 | 0.00488 | -0.32936
2002-12-0048 | 2002-12-0048 | 242 | 50 | 45.7925 | 5.9362 | -4.2075 | 4.713 | 4.4403 | 0.15885 | -0.27272
2002-12-0048 | 2002-12-0048 | 363 | 40 | 40.5297 | 8.8888 | 0.5297 | 5.16 | 4.6174 | 0.28241 | -0.54255
2002-12-0048 | 2002-12-0048 | 363 | 30 | 30.1066 | 7.9415 | 0.10662 | 5.658 | 5.076 | 0.43903 | -0.58203
2002-12-0048 | 2002-12-0048 | 363 | 20 | 20.2728 | 8.029 | 0.27279 | 6.516 | 6.1845 | 1.2635 | -0.33147
2002-12-0048 | 2002-12-0048 | 484 | 10 | 9.4052 | 7.0557 | -0.59477 | 9.191 | 7.5134 | 1.0807 | -1.6776
2002-12-0048 | 2002-12-0048 | 363 | 5 | 5.7249 | 3.477 | 0.72489 | 9.356 | 8.1321 | 0.15178 | -1.2239
2002-12-0048 | 2002-12-0048 | 363 | 1 | 5.7249 | 3.477 | 4.7249 | 9.371 | 8.1321 | 0.15178 | -1.2389
2002-12-0052 | 2002-12-0052 | 242 | 250 | 248.335 | 0.071009 | -1.6645 | 2.982 | 2.031 | 0.042683 | -0.95102
2002-12-0052 | 2002-12-0052 | 242 | 250 | 248.335 | 0.071009 | -1.6645 | 2.972 | 2.031 | 0.042683 | -0.94102
2002-12-0052 | 2002-12-0052 | 121 | 200 | 200.612 | 0.067155 | 0.61159 | 3.909 | 2.3369 | 0.022623 | -1.5721
2002-12-0052 | 2002-12-0052 | 121 | 175 | 175.166 | 0.049062 | 0.16577 | 4.742 | 2.9337 | 0.04716 | -1.8083
2002-12-0052 | 2002-12-0052 | 121 | 100 | 100.298 | 0.06695 | 0.29759 | 5.241 | 3.4758 | 0.068848 | -1.7651
2002-12-0052 | 2002-12-0052 | 121 | 75 | 75.0364 | 0.048209 | 0.036446 | 4.811 | 3.4559 | 0.047987 | -1.3551
2002-12-0052 | 2002-12-0052 | 242 | 50 | 45.133 | 5.0395 | -4.867 | 4.633 | 3.4667 | 0.11758 | -1.1663
2002-12-0052 | 2002-12-0052 | 363 | 40 | 40.1827 | 8.1273 | 0.18272 | 4.719 | 3.4186 | 0.12209 | -1.3004
2002-12-0052 | 2002-12-0052 | 363 | 30 | 30.1726 | 8.1657 | 0.17261 | 5.116 | 3.4009 | 0.099138 | -1.7151
2002-12-0052 | 2002-12-0052 | 363 | 20 | 20.1228 | 8.3102 | 0.12276 | 6.366 | 3.7982 | 0.54856 | -2.5678
2002-12-0052 | 2002-12-0052 | 484 | 10 | 9.1634 | 7.0022 | -0.8366 | 8.976 | 4.3502 | 0.52226 | -4.6258
2002-12-0052 | 2002-12-0052 | 363 | 5 | 5.5074 | 3.4361 | 0.50743 | 9.079 | 4.6292 | 0.22515 | -4.4498
2002-12-0052 | 2002-12-0052 | 363 | 1 | 5.5074 | 3.4361 | 4.5074 | 9.23 | 4.6292 | 0.22515 | -4.6008
2002-12-0055 | 2002-12-0055 | 121 | 346 | 346.801 | 0.06219 | 0.80106 | 2.533 | 2.3951 | 0.0025388 | -0.13793
2002-12-0055 | 2002-12-0055 | 121 | 300 | 301.554 | 0.072009 | 1.5537 | 2.657 | 2.485 | 0.0025703 | -0.17196
2002-12-0055 | 2002-12-0055 | 121 | 250 | 250.87 | 0.06611 | 0.87026 | 2.92 | 2.6517 | 0.0031501 | -0.26833
2002-12-0055 | 2002-12-0055 | 121 | 200 | 200.569 | 0.042402 | 0.56866 | 3.459 | 3.1113 | 0.0025795 | -0.34768
2002-12-0055 | 2002-12-0055 | 121 | 175 | 175.958 | 0.073552 | 0.9583 | 3.961 | 3.5375 | 0.003125 | -0.42345
2002-12-0055 | 2002-12-0055 | 121 | 150 | 150.389 | 0.047631 | 0.38921 | 4.421 | 3.9671 | 0.0029782 | -0.45393
2002-12-0055 | 2002-12-0055 | 121 | 125 | 125.46 | 0.035737 | 0.45988 | 4.524 | 3.9712 | 0.0089523 | -0.5528
2002-12-0055 | 2002-12-0055 | 121 | 100 | 102.084 | 0.088873 | 2.0842 | 4.3 | 3.9588 | 0.0047814 | -0.34115
2002-12-0055 | 2002-12-0055 | 121 | 75 | 77.3164 | 0.063016 | 2.3164 | 4.354 | 3.9829 | 0.0027668 | -0.37114
2002-12-0055 | 2002-12-0055 | 242 | 50 | 44.7821 | 4.7543 | -5.2179 | 4.705 | 4.3245 | 0.102 | -0.38046
2002-12-0055 | 2002-12-0055 | 363 | 40 | 39.9691 | 7.8426 | -0.030922 | 4.92 | 4.4273 | 0.16764 | -0.49271
2002-12-0055 | 2002-12-0055 | 363 | 30 | 30.2476 | 8.0448 | 0.24761 | 5.193 | 4.789 | 0.3771 | -0.40397
2002-12-0055 | 2002-12-0055 | 363 | 20 | 20.377 | 8.1422 | 0.37698 | 6.065 | 5.2392 | 0.47028 | -0.82578
2002-12-0055 | 2002-12-0055 | 484 | 10 | 9.6555 | 6.8115 | -0.34451 | 6.489 | 5.6754 | 0.2128 | -0.8136
2002-12-0055 | 2002-12-0055 | 363 | 5 | 6.087 | 3.2904 | 1.087 | 6.509 | 5.7979 | 0.015806 | -0.71114
2002-12-0055 | 2002-12-0055 | 363 | 1 | 6.087 | 3.2904 | 5.087 | 6.487 | 5.7979 | 0.015806 | -0.68914
2002-12-0060 | 2002-12-0060 | 121 | 165 | 166.165 | 0.06438 | 1.1645 | 3.208 | 2.9801 | 0.0047727 | -0.22793
2002-12-0060 | 2002-12-0060 | 121 | 150 | 150.053 | 0.036885 | 0.052582 | 3.36 | 3.1597 | 0.0044713 | -0.20026
2002-12-0060 | 2002-12-0060 | 121 | 125 | 125.082 | 0.028279 | 0.082214 | 3.84 | 3.5095 | 0.0032096 | -0.33048
2002-12-0060 | 2002-12-0060 | 121 | 100 | 100.265 | 0.022247 | 0.26531 | 4.022 | 3.6626 | 0.0028849 | -0.35939
2002-12-0060 | 2002-12-0060 | 121 | 75 | 75.113 | 0.026333 | 0.113 | 4.227 | 3.8353 | 0.0027264 | -0.39173
2002-12-0060 | 2002-12-0060 | 242 | 50 | 45.1719 | 5.0065 | -4.8281 | 4.66 | 4.3183 | 0.094583 | -0.34169
2002-12-0060 | 2002-12-0060 | 363 | 40 | 40.1974 | 8.1434 | 0.1974 | 4.876 | 4.5837 | 0.38379 | -0.29227
2002-12-0060 | 2002-12-0060 | 363 | 30 | 30.2547 | 8.1093 | 0.25468 | 5.745 | 5.1522 | 0.62067 | -0.59284
2002-12-0060 | 2002-12-0060 | 363 | 20 | 20.2327 | 8.2333 | 0.23267 | 6.713 | 5.7607 | 0.47471 | -0.95228
2002-12-0060 | 2002-12-0060 | 484 | 10 | 9.2128 | 7.1498 | -0.78722 | 7.009 | 6.1956 | 0.15753 | -0.81336
2002-12-0060 | 2002-12-0060 | 363 | 5 | 5.5038 | 3.6092 | 0.50378 | 7.057 | 6.2844 | 0.038669 | -0.77258
2002-12-0060 | 2002-12-0060 | 363 | 1 | 5.5038 | 3.6092 | 4.5038 | 7.05 | 6.2844 | 0.038669 | -0.76558
2002-12-0065 | 2002-12-0065 | 242 | 308 | 304.587 | 4.2134 | -3.4132 | 2.831 | 2.6536 | 0.021531 | -0.1774
2002-12-0065 | 2002-12-0065 | 242 | 300 | 304.587 | 4.2134 | 4.5868 | 2.879 | 2.6536 | 0.021531 | -0.2254
2002-12-0065 | 2002-12-0065 | 121 | 250 | 250.357 | 0.084029 | 0.35667 | 3.152 | 2.8583 | 0.0033873 | -0.29371
2002-12-0065 | 2002-12-0065 | 121 | 200 | 200.492 | 0.12158 | 0.49155 | 3.441 | 3.1278 | 0.0030321 | -0.3132
2002-12-0065 | 2002-12-0065 | 121 | 175 | 174.486 | 0.076929 | -0.51433 | 3.48 | 3.2076 | 0.0060589 | -0.27241
2002-12-0065 | 2002-12-0065 | 121 | 150 | 149.767 | 0.079329 | -0.23299 | 3.712 | 3.3441 | 0.0047585 | -0.36788
2002-12-0065 | 2002-12-0065 | 121 | 125 | 125.05 | 0.19714 | 0.049622 | 3.745 | 3.3979 | 0.0032715 | -0.34707
2002-12-0065 | 2002-12-0065 | 121 | 100 | 100.845 | 0.17709 | 0.84515 | 4.049 | 3.6199 | 0.004474 | -0.42909
2002-12-0065 | 2002-12-0065 | 121 | 75 | 75.7179 | 0.15526 | 0.71786 | 4.485 | 3.9564 | 0.0088858 | -0.5286
2002-12-0065 | 2002-12-0065 | 242 | 50 | 45.5624 | 5.1393 | -4.4376 | 4.988 | 4.4357 | 0.058728 | -0.55233
2002-12-0065 | 2002-12-0065 | 363 | 40 | 40.5196 | 8.282 | 0.5196 | 5.062 | 4.4935 | 0.095057 | -0.56847
2002-12-0065 | 2002-12-0065 | 363 | 30 | 30.3914 | 8.2311 | 0.39145 | 5.248 | 4.5937 | 0.076596 | -0.65433
2002-12-0065 | 2002-12-0065 | 363 | 20 | 20.2018 | 8.4103 | 0.20176 | 5.233 | 5.029 | 0.5557 | -0.20395
2002-12-0065 | 2002-12-0065 | 484 | 10 | 9.1499 | 7.1018 | -0.85011 | 7.511 | 5.8933 | 0.77211 | -1.6177
2002-12-0065 | 2002-12-0065 | 363 | 5 | 5.4317 | 3.4398 | 0.43165 | 7.709 | 6.2984 | 0.37064 | -1.4106
2002-12-0065 | 2002-12-0065 | 363 | 1 | 5.4317 | 3.4398 | 4.4317 | 7.684 | 6.2984 | 0.37064 | -1.3856
Create Fit Sheet