## .anz
[regression] |  | 2002-04-30 | Coastal nutrients D. Masson OSAP |  |  |  | [regression] |  | April 29, 2002 D. Masson |  |  |  |  | [regression] |  | May 1, 2002 D.Masson
Y = C1 * X ^ 2 + C2 * X + C3 | [6 empty] | Y = C1 * X ^ 2 + C2 * X + C3 | [6 empty] | Y = C1 * X ^ 2 + C2 * X + C3
chan | regnum | regpos | C1 | C2 | C3 |  | chan | regnum | regpos | C1 | C2 | C3 |  | chan | regnum | regpos | C1 | C2 | C3
N | 1 | 3826 | 5.3476e-07 | 0.051436 | 0.050667 |  | N | 1 | 13656 | -3.9962e-07 | 0.051024 | 0.0096632 |  | N | 1 | 10068 | 4.2646e-07 | 0.052564 | 0.013361
N | 2 | 16246 | 3.0807e-06 | 0.049643 | 0.054825 |  | N | 2 | 26454 | 5.9421e-07 | 0.05003 | 0.08068 |  | N | 2 | 21814 | 4.9648e-08 | 0.05267 | 0.091596
N | 3 | 32378 | 1.4771e-06 | 0.049888 | 0.10846 |  | S | 1 | 13628 | 1.4638e-06 | 0.075937 | 0.049481 |  | N | 3 | 34786 | -4.3582e-08 | 0.052442 | 0.029828
S | 1 | 3800 | 9.2606e-07 | 0.076134 | 0.029619 |  | S | 2 | 26424 | 1.039e-06 | 0.076279 | 0.052448 |  | S | 1 | 10044 | 5.1995e-07 | 0.0766 | 0.011809
S | 2 | 16226 | 1.775e-07 | 0.076181 | 0.069509 |  | P | 2 | 13656 | 9.3065e-08 | 0.0038133 | -0.0011061 |  | S | 2 | 21792 | 8.7719e-07 | 0.076275 | 0.018382
S | 3 | 32172 | 7.9403e-07 | 0.075786 | 0.081672 |  | P | 4 | 26450 | -4.4644e-08 | 0.0039859 | -6.7206e-05 |  | S | 3 | 34766 | 8.2797e-07 | 0.076351 | 0.052417
P | 1 | 3824 | -4.9169e-08 | 0.0039885 | -0.0015946 | [8 empty] | P | 1 | 21816 | -1.5226e-07 | 0.0041535 | 0.0014253
P | 2 | 32380 | 0.00039089 | -0.87209 | 416.9924 | [8 empty] | P | 2 | 34788 | -2.6274e-07 | 0.0042104 | 0.0029202
P | 3 | 32376 | -8.2655e-08 | 0.0040101 | -0.0025296 |  | [peaks] | [6 empty] | P | 3 | 10068 | -2.2571e-07 | 0.0042402 | 0.0018755
[peaks] | [6 empty] | chan | regnum | raw | meas | calc |  |  | [peaks]
chan | regnum | raw | meas | calc |  |  | N | 1 | 0 | 0 | 0.0096632 |  |  | chan | regnum | raw | meas | calc
N | 1 | 0 | 0 | 0.050667 |  |  | N | 1 | 0 | 0 | 0.0096632 |  |  | N | 1 | 0 | 0 | 0.013361
N | 1 | -1 | 0 | -0.00076794 |  |  | N | 1 | 239 | 12.166 | 12.1815 |  |  | N | 1 | 230 | 12.166 | 12.1255
N | 1 | 234 | 12.166 | 12.1159 |  |  | N | 1 | 237 | 12.166 | 12.0798 |  |  | N | 1 | 458 | 24.136 | 24.1769
N | 1 | 234 | 12.166 | 12.1159 |  |  | N | 1 | 239 | 12.166 | 12.1815 |  |  | N | 1 | 683 | 36.127 | 36.1132
N | 1 | 234 | 12.166 | 12.1159 |  |  | N | 1 | 476 | 24.136 | 24.2064 |  |  | N | 2 | 0 | 0 | 0.091596
N | 1 | 469 | 24.136 | 24.2916 |  |  | N | 1 | 478 | 24.136 | 24.3077 |  |  | N | 2 | -3 | 0 | -0.066414
N | 1 | 465 | 24.136 | 24.0838 |  |  | N | 1 | 471 | 24.136 | 23.9532 |  |  | N | 2 | 228 | 12.166 | 12.103
N | 1 | 467 | 24.136 | 24.1877 |  |  | N | 1 | 713 | 36.127 | 36.1864 |  |  | N | 2 | 229 | 12.166 | 12.1557
N | 1 | 698 | 36.127 | 36.2132 |  |  | N | 1 | 712 | 36.127 | 36.136 |  |  | N | 2 | 457 | 24.136 | 24.1722
N | 1 | 695 | 36.127 | 36.0566 |  |  | N | 1 | 710 | 36.127 | 36.0351 |  |  | N | 2 | 457 | 24.136 | 24.1722
N | 1 | 695 | 36.127 | 36.0566 |  |  | N | 2 | 0 | 0 | 0.08068 |  |  | N | 2 | 684 | 36.127 | 36.1412
N | 3 | 0 | 0 | 0.10846 |  |  | N | 2 | -1 | 0 | 0.030651 |  |  | N | 2 | 683 | 36.127 | 36.0885
N | 3 | -2 | 0 | 0.0086928 |  |  | N | 2 | 238 | 12.166 | 12.0215 |  |  | N | 3 | 0 | 0 | 0.029828
N | 3 | 237 | 12.166 | 12.0149 |  |  | N | 2 | 239 | 12.166 | 12.0718 |  |  | N | 3 | 0 | 0 | 0.029828
N | 3 | 237 | 12.166 | 12.0149 |  |  | N | 2 | 239 | 12.166 | 12.0718 |  |  | N | 3 | 229 | 12.166 | 12.0367
N | 3 | 239 | 12.166 | 12.1161 |  |  | N | 2 | 481 | 24.136 | 24.2826 |  |  | N | 3 | 231 | 12.166 | 12.1415
N | 3 | 476 | 24.136 | 24.1899 |  |  | N | 2 | 480 | 24.136 | 24.232 |  |  | N | 3 | 231 | 12.166 | 12.1415
N | 3 | 476 | 24.136 | 24.1899 |  |  | N | 2 | 480 | 24.136 | 24.232 |  |  | N | 3 | 461 | 24.136 | 24.1961
N | 3 | 480 | 24.136 | 24.3951 |  |  | N | 2 | 712 | 36.127 | 36.0033 |  |  | N | 3 | 460 | 24.136 | 24.1437
N | 3 | 705 | 36.127 | 36.0137 |  |  | N | 2 | 715 | 36.127 | 36.1559 |  |  | N | 3 | 462 | 24.136 | 24.2485
N | 3 | 704 | 36.127 | 35.9618 |  |  | N | 2 | 714 | 36.127 | 36.105 |  |  | N | 3 | 687 | 36.127 | 36.0366
N | 3 | 710 | 36.127 | 36.2736 |  |  | S | 1 | 0 | 0 | 0.049481 |  |  | N | 3 | 689 | 36.127 | 36.1414
S | 1 | 0 | 0 | 0.029619 |  |  | S | 1 | 1 | 0 | 0.12542 |  |  | N | 3 | 689 | 1 | 36.1414
S | 1 | 0 | 0 | 0.029619 |  |  | S | 1 | 326 | 25.11 | 24.9606 |  |  | S | 1 | 0 | 0 | 0.011809
S | 1 | 328 | 25.11 | 25.1013 |  |  | S | 1 | 326 | 25.11 | 24.9606 |  |  | S | 1 | 0 | 0 | 0.011809
S | 1 | 327 | 25.11 | 25.0245 |  |  | S | 1 | 325 | 25.11 | 24.8837 |  |  | S | 1 | 326 | 25.11 | 25.0387
S | 1 | 327 | 25.11 | 25.0245 |  |  | S | 1 | 653 | 49.96 | 50.2608 |  |  | S | 1 | 650 | 49.95 | 50.0216
S | 1 | 650 | 49.95 | 49.9081 |  |  | S | 1 | 649 | 49.95 | 49.9494 |  |  | S | 1 | 973 | 75.06 | 75.036
S | 1 | 652 | 49.95 | 50.0628 |  |  | S | 1 | 652 | 49.95 | 50.1829 |  |  | S | 2 | 0 | 0 | 0.018382
S | 1 | 652 | 49.95 | 50.0628 |  |  | S | 1 | 968 | 75.006 | 74.9285 |  |  | S | 2 | 0 | 0 | 0.018382
S | 1 | 975 | 75.006 | 75.1408 |  |  | S | 1 | 970 | 75.06 | 75.086 |  |  | S | 2 | 327 | 25.11 | 25.0542
S | 1 | 972 | 75.006 | 74.907 |  |  | S | 1 | 968 | 75.06 | 74.9285 |  |  | S | 2 | 327 | 25.11 | 25.0542
S | 1 | 972 | 75.006 | 74.907 |  |  | S | 2 | 0 | 0 | 0.052448 |  |  | S | 2 | 650 | 49.95 | 49.968
S | 2 | 0 | 0 | 0.069509 |  |  | S | 2 | 0 | 0 | 0.052448 |  |  | S | 2 | 651 | 49.95 | 50.0454
S | 2 | -1 | 0 | -0.0066712 |  |  | S | 2 | 325 | 25.11 | 24.953 |  |  | S | 2 | 971 | 75.006 | 74.9088
S | 2 | 326 | 25.11 | 24.9233 |  |  | S | 2 | 326 | 25.11 | 25.0299 |  |  | S | 2 | 973 | 75.006 | 75.0647
S | 2 | 657 | 49.95 | 50.197 |  |  | S | 2 | 326 | 25.11 | 25.0299 |  |  | S | 3 | 0 | 0 | 0.052417
S | 2 | 653 | 49.95 | 49.8913 |  |  | S | 2 | 650 | 49.95 | 50.073 |  |  | S | 3 | 0 | 0 | 0.052417
S | 2 | 980 | 75.006 | 74.8972 |  |  | S | 2 | 651 | 49.95 | 50.1506 |  |  | S | 3 | 326 | 25.11 | 25.031
S | 2 | 982 | 75.006 | 75.0503 |  |  | S | 2 | 970 | 75.006 | 75.021 |  |  | S | 3 | 324 | 25.11 | 24.8772
S | 3 | 0 | 0 | 0.081672 |  |  | S | 2 | 971 | 75.006 | 75.0993 |  |  | S | 3 | 327 | 25.11 | 25.1079
S | 3 | 0 | 0 | 0.081672 |  |  | S | 2 | 967 | 75.006 | 74.7862 |  |  | S | 3 | 651 | 49.95 | 50.1081
S | 3 | 325 | 25.11 | 24.796 | [9 empty] | S | 3 | 651 | 49.95 | 50.1081
S | 3 | 327 | 25.11 | 24.9486 | [9 empty] | S | 3 | 971 | 75.006 | 74.9703
S | 3 | 329 | 25.11 | 25.1012 | [9 empty] | S | 3 | 971 | 75.006 | 74.9703
S | 3 | 656 | 49.95 | 50.139 | [9 empty] | S | 3 | 971 | 75.006 | 74.9703
S | 3 | 652 | 49.95 | 49.8317 | [9 empty] | P | 1 | 0 | 0 | 0.0014253
S | 3 | 659 | 49.95 | 50.3695 | [9 empty] | P | 1 | 245 | 1.012 | 1.0099
S | 3 | 978 | 75.006 | 74.9599 | [9 empty] | P | 1 | 245 | 1.012 | 1.0099
S | 3 | 977 | 75.006 | 74.8826 |  |  | P | 2 | 0 | 0 | -0.0011061 |  |  | P | 1 | 493 | 2.012 | 2.0121
P | 1 | 0 | 0 | -0.0015946 |  |  | P | 2 | 263 | 1.012 | 1.0082 |  |  | P | 1 | 494 | 2.012 | 2.0161
P | 1 | 256 | 1.012 | 1.0162 |  |  | P | 2 | 265 | 1.012 | 1.016 |  |  | P | 1 | 745 | 3.01 | 3.0113
P | 1 | 254 | 1.012 | 1.0083 |  |  | P | 2 | 265 | 1.012 | 1.016 |  |  | P | 1 | 744 | 3.01 | 3.0073
P | 1 | 256 | 1.012 | 1.0162 |  |  | P | 2 | 517 | 2.012 | 1.9952 |  |  | P | 2 | 0 | 0 | 0.0029202
P | 1 | 509 | 2.012 | 2.0158 |  |  | P | 2 | 517 | 2.012 | 1.9952 |  |  | P | 2 | 242 | 1.012 | 1.0064
P | 1 | 508 | 2.012 | 2.0119 |  |  | P | 2 | 529 | 2.012 | 2.0422 |  |  | P | 2 | 243 | 1.012 | 1.0105
P | 1 | 506 | 2.012 | 2.004 |  |  | P | 2 | 773 | 3.01 | 3.0022 |  |  | P | 2 | 243 | 1.012 | 1.0105
P | 1 | 759 | 3.01 | 2.9973 |  |  | P | 2 | 776 | 3.01 | 3.0141 |  |  | P | 2 | 493 | 2.012 | 2.0148
P | 1 | 765 | 3.01 | 3.0208 |  |  | P | 2 | 776 | 3.01 | 3.0141 |  |  | P | 2 | 493 | 2.012 | 2.0148
P | 1 | 763 | 3.01 | 3.013 | [9 empty] | P | 2 | 493 | 2.012 | 2.0148
P | 3 | 0 | 0 | -0.0025296 | [9 empty] | P | 2 | 749 | 3.01 | 3.0091
P | 3 | 0 | 0 | -0.0025296 | [9 empty] | P | 2 | 748 | 3.01 | 3.0053
P | 3 | 252 | 1.012 | 1.0028 | [9 empty] | P | 2 | 750 | 3.01 | 3.0129
P | 3 | 259 | 1.012 | 1.0305 | [9 empty] | P | 3 | 0 | 0 | 0.0018755
P | 3 | 256 | 1.012 | 1.0186 | [9 empty] | P | 3 | 240 | 1.012 | 1.0065
P | 3 | 504 | 2.012 | 1.9976 | [9 empty] | P | 3 | 488 | 2.012 | 2.0174
P | 3 | 507 | 2.012 | 2.0093 | [9 empty] | P | 3 | 738 | 3.01 | 3.0082
P | 3 | 508 | 2.012 | 2.0133 | [9 empty] | [concentration]
P | 3 | 763 | 3.01 | 3.0091 | [9 empty] | chan | num | Conc | Peak | Time | Reg#1 | Reg#2
P | 3 | 766 | 3.01 | 3.0207 |  |  | P | 4 | 0 | 0 | -6.7206e-05 |  |  | Stn 72 | 1 | 26.8787 | 509 | 10768 | 1 | 2
P | 3 | 762 | 3.01 | 3.0052 |  |  | P | 4 | 0 | 0 | -6.7206e-05 |  |  | N | 2 | 26.9871 | 511 | 10944 | 1 | 2
[concentration] | [6 empty] | P | 4 | 255 | 1.012 | 1.0134 |  |  | N | 3 | 26.8836 | 509 | 11118 | 1 | 2
chan | num | Conc | Peak | Time | Reg#1 | Reg#2 | P | 4 | 255 | 1.012 | 1.0134 |  |  | N | 4 | 27.998 | 530 | 11294 | 1 | 2
Stn 2 | 1 | 1.5427 | 29 | 4502 | 1 | 1 | P | 4 | 254 | 1.012 | 1.0095 |  |  | N | 5 | 28.6353 | 542 | 11470 | 1 | 2
N | 2 | 1.6972 | 32 | 4678 | 1 | 1 | P | 4 | 508 | 2.012 | 2.0133 |  |  | N | 6 | 28.8488 | 546 | 11646 | 1 | 2
N | 3 | 2.9327 | 56 | 4854 | 1 | 1 | P | 4 | 508 | 2.012 | 2.0133 |  |  | N | 7 | 28.6918 | 543 | 11818 | 1 | 2
N | 4 | 22.9935 | 444 | 5028 | 1 | 1 | P | 4 | 507 | 2.012 | 2.0093 |  |  | N | 8 | 29.1166 | 551 | 11994 | 1 | 2
N | 5 | 28.9702 | 559 | 5204 | 1 | 1 | P | 4 | 764 | 3.01 | 3.0191 |  |  | N | 9 | 31.8674 | 603 | 12170 | 1 | 2
N | 6 | 29.907 | 577 | 5378 | 1 | 1 | P | 4 | 760 | 3.01 | 3.0034 |  |  | N | 10 | 33.9294 | 642 | 12346 | 1 | 2
N | 7 | 29.5947 | 571 | 5554 | 1 | 1 | P | 4 | 761 | 3.01 | 3.0074 |  |  | N | 11 | 34.6686 | 656 | 12522 | 1 | 2
N | 8 | 29.1263 | 562 | 5730 | 1 | 1 | [concentration] | [6 empty] | N | 12 | 34.2979 | 649 | 12696 | 1 | 2
N | 9 | 28.9702 | 559 | 5904 | 1 | 1 | chan | num | Conc | Peak | Time | Reg#1 | Reg#2 | N | 13 | 34.2971 | 649 | 12872 | 1 | 2
N | 10 | 28.2419 | 545 | 6080 | 1 | 1 | dmq | 1 | -0.29649 | -6 | 14170 | 1 | 2 | mck | 14 | 24.3268 | 460 | 13048 | 1 | 2
N | 11 | 28.502 | 550 | 6256 | 1 | 1 | dmq | 2 | -0.34266 | -7 | 14346 | 1 | 2 | N | 15 | 0.091342 | 0 | 13224 | 1 | 2
N | 12 | 28.3459 | 547 | 6430 | 1 | 1 | Stn 46 | 119 | 25.399 | 500 | 14530 | 1 | 2 | Stn 14 | 16 | 12.3893 | 235 | 13396 | 1 | 2
N | 13 | 27.3057 | 527 | 6606 | 1 | 1 | N | 120 | 25.641 | 505 | 14706 | 1 | 2 | N | 17 | 12.5525 | 238 | 13572 | 1 | 2
N | 14 | 29.907 | 577 | 6782 | 1 | 1 | N | 5 | 25.1744 | 496 | 14882 | 1 | 2 | N | 18 | 14.0876 | 267 | 13748 | 1 | 2
N | 15 | 29.6988 | 573 | 6958 | 1 | 1 | N | 6 | 24.8089 | 489 | 15058 | 1 | 2 | N | 19 | 28.8974 | 547 | 13924 | 1 | 2
mchk | 16 | 24.3435 | 470 | 7134 | 1 | 1 | N | 7 | 23.2791 | 459 | 15234 | 1 | 2 | N | 20 | 28.5281 | 540 | 14100 | 1 | 2
N | 17 | 0.050667 | 0 | 7310 | 1 | 1 | N | 8 | 22.4583 | 443 | 15408 | 1 | 2 | N | 21 | 28.4238 | 538 | 14276 | 1 | 2
Stn 39 | 18 | 0.56508 | 10 | 7656 | 1 | 1 | N | 9 | 24.7255 | 488 | 15580 | 1 | 2 | N | 22 | 28.6899 | 543 | 14452 | 1 | 2
N | 19 | 14.7015 | 284 | 7832 | 1 | 1 | N | 10 | 26.537 | 524 | 15756 | 1 | 2 | N | 23 | 29.9612 | 567 | 14624 | 1 | 2
N | 20 | 27.2017 | 525 | 8008 | 1 | 1 | N | 11 | 26.0703 | 515 | 15932 | 1 | 2 | N | 24 | 30.2267 | 572 | 14800 | 1 | 2
N | 21 | 29.0743 | 561 | 8184 | 1 | 1 | N | 12 | 24.7936 | 490 | 16108 | 1 | 2 | N | 25 | 30.4921 | 577 | 14976 | 1 | 2
N | 22 | 27.9298 | 539 | 8360 | 1 | 1 | N | 13 | 14.6729 | 290 | 16284 | 1 | 2 | N | 26 | 30.2286 | 572 | 15152 | 1 | 2
N | 23 | 27.5657 | 532 | 8536 | 1 | 1 | N | 14 | 13.5548 | 268 | 16460 | 1 | 2 | N | 27 | 30.2824 | 573 | 15328 | 1 | 2
N | 24 | 29.1263 | 562 | 8712 | 1 | 1 | N | 15 | 0.9245 | 17 | 16636 | 1 | 2 | N | 28 | 30.072 | 569 | 15504 | 1 | 2
N | 25 | 28.554 | 551 | 8884 | 1 | 1 | mck | 16 | 23.9903 | 475 | 16812 | 1 | 2 | N | 29 | 30.2842 | 573 | 15678 | 1 | 2
N | 26 | 28.4499 | 549 | 9060 | 1 | 1 | Sstn 65 | 17 | 0.78113 | 14 | 16988 | 1 | 2 | N | 30 | 30.3907 | 575 | 15854 | 1 | 2
N | 27 | 28.606 | 552 | 9236 | 1 | 1 | N | 18 | 29.7723 | 586 | 17160 | 1 | 2 | N | 31 | 30.4443 | 576 | 16030 | 1 | 2
N | 28 | 28.7621 | 555 | 9412 | 1 | 1 | N | 19 | 29.7157 | 585 | 17336 | 1 | 2 | mck | 32 | 24.3801 | 461 | 16202 | 1 | 2
N | 29 | 29.2304 | 564 | 9584 | 1 | 1 | N | 20 | 28.5464 | 562 | 17512 | 1 | 2 | N | 33 | 0.19662 | 2 | 16378 | 1 | 2
N | 30 | 29.9591 | 578 | 9760 | 1 | 1 | N | 21 | 27.0224 | 532 | 17686 | 1 | 2 | stn 16 | 34 | 23.0121 | 436 | 16552 | 1 | 2
N | 31 | 30.0632 | 580 | 9936 | 1 | 1 | N | 22 | 25.7001 | 506 | 17862 | 1 | 2 | N | 35 | 26.4034 | 500 | 16728 | 1 | 2
N | 32 | 29.7508 | 574 | 10112 | 1 | 1 | N | 23 | 25.2888 | 498 | 18038 | 1 | 2 | N | 36 | 26.7228 | 506 | 16904 | 1 | 2
N | 33 | 30.2193 | 583 | 10288 | 1 | 1 | N | 24 | 25.4343 | 501 | 18214 | 1 | 2 | N | 37 | 26.1948 | 496 | 17080 | 1 | 2
mchk | 34 | 24.1357 | 466 | 10464 | 1 | 1 | N | 25 | 24.9219 | 491 | 18386 | 1 | 2 | N | 38 | 25.8259 | 489 | 17256 | 1 | 2
N | 35 | 0.050667 | 0 | 10640 | 1 | 1 | N | 26 | 24.3587 | 480 | 18562 | 1 | 2 | N | 39 | 26.7275 | 506 | 17432 | 1 | 2
N | 36 | -0.2065 | -5 | 10816 | 1 | 1 | N | 27 | 24.6055 | 485 | 18738 | 1 | 2 | N | 40 | 27.3641 | 518 | 17604 | 1 | 2
Stn 59 | 37 | 20.0881 | 388 | 10988 | 1 | 1 | N | 28 | 24.0929 | 475 | 18914 | 1 | 2 | N | 41 | 27.5772 | 522 | 17780 | 1 | 2
N | 38 | 20.6586 | 399 | 11164 | 1 | 1 | mck | 29 | 24.0866 | 475 | 19090 | 1 | 2 | N | 42 | 28.7427 | 544 | 17956 | 1 | 2
N | 39 | 21.1773 | 409 | 11340 | 1 | 1 | sTn102 | 30 | 18.9676 | 374 | 19266 | 1 | 2 | N | 43 | 29.9608 | 567 | 18132 | 1 | 2
N | 40 | 21.7479 | 420 | 11516 | 1 | 1 | N | 31 | 26.0483 | 514 | 19442 | 1 | 2 | N | 44 | 30.2791 | 573 | 18308 | 1 | 2
N | 41 | 21.8517 | 422 | 11692 | 1 | 1 | N | 32 | 25.9914 | 513 | 19616 | 1 | 2 | mck | 45 | 24.1998 | 458 | 18484 | 1 | 2
N | 42 | 22.3706 | 432 | 11866 | 1 | 1 | N | 33 | 26.9978 | 533 | 19790 | 1 | 2 | N | 46 | 0.054082 | 0 | 18660 | 1 | 2
N | 43 | 22.5782 | 436 | 12042 | 1 | 1 | N | 34 | 27.2953 | 539 | 19966 | 1 | 2 | stn 65 | 47 | 23.5702 | 446 | 18836 | 1 | 2
N | 44 | 22.9935 | 444 | 12216 | 1 | 1 | N | 35 | 27.7448 | 548 | 20142 | 1 | 2 | N | 48 | 23.6252 | 447 | 19012 | 1 | 2
| 45 | 24.4993 | 473 | 12392 | 1 | 1 | N | 36 | 27.5867 | 545 | 20316 | 1 | 2 | N | 49 | 24.4193 | 462 | 19184 | 1 | 2
N | 46 | 0.1021 | 1 | 12568 | 1 | 1 | N | 37 | 27.9856 | 553 | 20492 | 1 | 2 | N | 50 | 25.3189 | 479 | 19360 | 1 | 2
N | 47 | 26.058 | 503 | 14316 | 1 | 1 | N | 38 | 30.1582 | 596 | 20668 | 1 | 2 | N | 51 | 26.6404 | 504 | 19536 | 1 | 2
N | 48 | 27.4097 | 529 | 14492 | 1 | 1 | N | 39 | 31.6226 | 625 | 20842 | 1 | 2 | N | 52 | 27.0115 | 511 | 19712 | 1 | 2
N | 49 | 27.6697 | 534 | 14668 | 1 | 1 | N | 40 | 32.2255 | 637 | 21018 | 1 | 2 | N | 53 | 27.8045 | 526 | 19884 | 1 | 2
N | 50 | 28.502 | 550 | 14844 | 1 | 1 | N | 41 | 33.2855 | 658 | 21194 | 1 | 2 | N | 54 | 29.1777 | 552 | 20060 | 1 | 2
N | 51 | 28.4499 | 549 | 15020 | 1 | 1 | N | 42 | 33.4324 | 661 | 21368 | 1 | 2 | N | 55 | 29.8645 | 565 | 20236 | 1 | 2
std | 52 | 0.1021 | 1 | 15196 | 1 | 1 | N | 43 | 34.392 | 680 | 21544 | 1 | 2 | N | 56 | 30.4454 | 576 | 20412 | 1 | 2
stn9 | 53 | 17.1344 | 337 | 16772 | 2 | 2 | N | 44 | 34.1328 | 675 | 21718 | 1 | 2 | N | 57 | 0.19667 | 2 | 20588 | 1 | 2
N | 54 | 16.2044 | 319 | 16948 | 2 | 2 | mck | 45 | 23.9355 | 474 | 21894 | 1 | 2 | N | 58 | 7.2557 | 136 | 25144 | 2 | 3
N | 55 | 17.2895 | 340 | 17124 | 2 | 2 | stn56 | 46 | 0.080363 | 0 | 22070 | 1 | 2 | N | 59 | -0.27709 | -7 | 22340 | 2 | 3
N | 56 | 19.676 | 386 | 17300 | 2 | 2 | N | 47 | 21.065 | 414 | 22244 | 1 | 2 | stn 75 | 60 | 26.1625 | 495 | 22516 | 2 | 3
N | 57 | 25.8047 | 503 | 17474 | 2 | 2 | N | 48 | 21.8637 | 430 | 22420 | 1 | 2 | N | 61 | 26.3602 | 499 | 22692 | 2 | 3
N | 58 | 29.7245 | 577 | 17650 | 2 | 2 | N | 49 | 23.067 | 454 | 22596 | 1 | 2 | N | 62 | 26.2947 | 498 | 22864 | 2 | 3
N | 59 | 30.2567 | 587 | 17826 | 2 | 2 | N | 50 | 23.8141 | 469 | 22772 | 1 | 2 | N | 63 | 27.229 | 516 | 23040 | 2 | 3
N | 60 | 30.4698 | 591 | 18002 | 2 | 2 | N | 51 | 23.8017 | 469 | 22946 | 1 | 2 | N | 64 | 27.5312 | 522 | 23216 | 2 | 3
N | 61 | 27.8133 | 541 | 18176 | 2 | 2 | N | 52 | 24.1435 | 476 | 23122 | 1 | 2 | N | 65 | 27.9384 | 530 | 23392 | 2 | 3
N | 62 | 30.3633 | 589 | 18352 | 2 | 2 | N | 53 | 23.5234 | 464 | 23298 | 1 | 2 | N | 66 | 28.1349 | 534 | 23568 | 2 | 3
N | 63 | 30.1502 | 585 | 18528 | 2 | 2 | N | 54 | 24.5233 | 484 | 23472 | 1 | 2 | N | 67 | 28.3313 | 538 | 23744 | 2 | 3
N | 64 | 30.5764 | 593 | 18702 | 2 | 2 | N | 55 | 24.8144 | 490 | 23648 | 1 | 2 | N | 68 | 31.2591 | 594 | 23918 | 2 | 3
N | 65 | 19.9883 | 392 | 18878 | 2 | 2 | N | 56 | 24.9536 | 493 | 23824 | 1 | 2 | N | 69 | 33.1341 | 630 | 24094 | 2 | 3
mchk | 66 | 24.6458 | 481 | 19054 | 2 | 2 | N | 57 | 26.1055 | 516 | 23998 | 1 | 2 | N | 70 | 34.1155 | 649 | 24268 | 2 | 3
N | 67 | 0.15412 | 2 | 19230 | 2 | 2 | N | 58 | 26.8019 | 530 | 24174 | 1 | 2 | N | 71 | 34.4138 | 655 | 24444 | 2 | 3
stn 42 | 68 | 0.50186 | 9 | 19406 | 2 | 2 | N | 59 | 26.7892 | 530 | 24350 | 1 | 2 | N | 72 | 34.4497 | 656 | 24620 | 2 | 3
N | 69 | 1.5469 | 30 | 19582 | 2 | 2 | N | 60 | 26.878 | 532 | 24526 | 1 | 2 | mck | 73 | 23.8442 | 454 | 24796 | 2 | 3
N | 70 | 11.7889 | 233 | 19754 | 2 | 2 | N | 61 | 0.08045 | 0 | 24702 | 1 | 2 | dmq | 74 | 0.083198 | 1 | 24972 | 2 | 3
N | 71 | 19.1042 | 375 | 19930 | 2 | 2 | S | 1 | -0.026455 | -1 | 14314 | 1 | 2 | stn 12 | 75 | 3.9368 | 73 | 25144 | 2 | 3
N | 72 | 24.1726 | 472 | 20102 | 2 | 2 | S | 2 | 39.9373 | 520 | 14490 | 1 | 2 | N | 76 | 4.0901 | 76 | 25320 | 2 | 3
N | 73 | 28.7148 | 558 | 20278 | 2 | 2 | S | 3 | 41.9565 | 546 | 14674 | 1 | 2 | N | 77 | 4.612 | 86 | 25496 | 2 | 3
N | 74 | 29.8841 | 580 | 20454 | 2 | 2 | S | 4 | 40.4112 | 526 | 14850 | 1 | 2 | N | 78 | 5.6072 | 105 | 25672 | 2 | 3
N | 75 | 29.8841 | 580 | 20630 | 2 | 2 | S | 5 | 40.4931 | 527 | 15026 | 1 | 2 | N | 79 | 16.4437 | 311 | 25844 | 2 | 3
N | 76 | 28.7679 | 559 | 20806 | 2 | 2 | S | 6 | 39.676 | 516 | 14498 | 1 | 2 | N | 80 | 28.5385 | 541 | 26020 | 2 | 3
N | 77 | 28.4495 | 553 | 20982 | 2 | 2 | S | 7 | 41.3275 | 538 | 14674 | 1 | 2 | N | 81 | 28.3682 | 538 | 26196 | 2 | 3
N | 78 | 28.5025 | 554 | 21158 | 2 | 2 | S | 8 | 39.8606 | 519 | 14850 | 1 | 2 | N | 82 | 29.9334 | 568 | 26372 | 2 | 3
N | 79 | 27.4956 | 535 | 21332 | 2 | 2 | S | 9 | 40.0207 | 521 | 15026 | 1 | 2 | N | 83 | 30.4461 | 578 | 26548 | 2 | 3
N | 80 | 29.3522 | 570 | 21508 | 2 | 2 | S | 10 | 38.1681 | 497 | 15196 | 1 | 2 | N | 84 | 29.2767 | 556 | 26724 | 2 | 3
N | 81 | 30.0437 | 583 | 21684 | 2 | 2 | S | 11 | 37.8641 | 493 | 15372 | 1 | 2 | N | 85 | 28.9491 | 550 | 26896 | 2 | 3
N | 82 | 30.2035 | 586 | 21858 | 2 | 2 | S | 12 | 43.3679 | 564 | 15548 | 1 | 2 | N | 86 | 29.409 | 559 | 27072 | 2 | 3
N | 83 | 28.821 | 560 | 22034 | 2 | 2 | S | 13 | 45.6996 | 594 | 15724 | 1 | 2 | N | 87 | 29.9211 | 569 | 27248 | 2 | 3
N | 84 | 30.5231 | 592 | 22210 | 2 | 2 | S | 14 | 45.0059 | 585 | 15900 | 1 | 2 | N | 88 | 29.8556 | 568 | 27424 | 2 | 3
mchk | 85 | 24.4354 | 477 | 22386 | 2 | 2 | S | 15 | 42.7626 | 556 | 16076 | 1 | 2 | N | 89 | 30.2621 | 576 | 27600 | 2 | 3
dmq | 86 | 0.054825 | 0 | 22562 | 2 | 2 | S | 16 | 26.1647 | 341 | 16252 | 1 | 2 | N | 90 | 29.9871 | 571 | 27772 | 2 | 3
wako | 87 | 19.728 | 387 | 22736 | 2 | 2 | S | 17 | 20.2497 | 264 | 16428 | 1 | 2 | mck | 91 | 24.1557 | 460 | 27948 | 2 | 3
N | 88 | -0.1437 | -4 | 22912 | 2 | 2 | S | 18 | 3.1033 | 40 | 16604 | 1 | 2 | N | 92 | 0.13504 | 2 | 28124 | 2 | 3
stn69 | 89 | 25.6465 | 500 | 23088 | 2 | 2 | S | 19 | 50.1487 | 651 | 16780 | 1 | 2 | stn 27 | 93 | 1.3557 | 24 | 28472 | 2 | 3
N | 90 | 25.8047 | 503 | 23260 | 2 | 2 | S | 20 | 42.1803 | 549 | 17132 | 1 | 2 | N | 94 | 22.7421 | 430 | 28648 | 2 | 3
N | 91 | 25.1195 | 490 | 23436 | 2 | 2 | S | 21 | 42.8783 | 558 | 17300 | 1 | 2 | N | 95 | 26.6346 | 504 | 28824 | 2 | 3
N | 92 | 27.0194 | 526 | 23612 | 2 | 2 | S | 22 | 42.3377 | 551 | 17476 | 1 | 2 | N | 96 | 29.4191 | 557 | 29000 | 2 | 3
N | 93 | 26.755 | 521 | 23788 | 2 | 2 | S | 23 | 41.6423 | 542 | 17652 | 1 | 2 | N | 97 | 28.4626 | 539 | 29176 | 2 | 3
N | 94 | 27.9193 | 543 | 23960 | 2 | 2 | S | 24 | 40.25 | 524 | 17828 | 1 | 2 | N | 98 | 28.7705 | 545 | 29352 | 2 | 3
N | 95 | 28.2373 | 549 | 24136 | 2 | 2 | S | 25 | 38.5491 | 502 | 18004 | 1 | 2 | N | 99 | 27.604 | 523 | 29528 | 2 | 3
N | 96 | 28.5025 | 554 | 24312 | 2 | 2 | S | 26 | 40.7972 | 531 | 18180 | 1 | 2 | N | 100 | 19.3857 | 367 | 29704 | 2 | 3
N | 97 | 31.5368 | 611 | 24488 | 2 | 2 | S | 27 | 40.0251 | 521 | 18356 | 1 | 2 | N | 101 | 28.9038 | 548 | 29876 | 2 | 3
N | 98 | 33.3562 | 645 | 24664 | 2 | 2 | S | 28 | 40.4148 | 526 | 18532 | 1 | 2 | N | 102 | 28.9482 | 549 | 30052 | 2 | 3
N | 99 | 33.4098 | 646 | 24840 | 2 | 2 | S | 29 | 40.2623 | 524 | 18708 | 1 | 2 | N | 103 | 29.6763 | 563 | 30228 | 2 | 3
N | 100 | 29.8309 | 579 | 25016 | 2 | 2 | S | 30 | 40.8069 | 531 | 18884 | 1 | 2 | N | 104 | 30.0359 | 570 | 30404 | 2 | 3
N | 101 | 23.8574 | 466 | 25192 | 2 | 2 | S | 31 | 50.2778 | 653 | 19060 | 1 | 2 | N | 105 | 30.3428 | 576 | 30580 | 2 | 3
N | 102 | 0.054825 | 0 | 25368 | 2 | 2 | S | 32 | 30.9968 | 404 | 19236 | 1 | 2 | N | 106 | 30.2816 | 575 | 30756 | 2 | 3
mchk | 103 | 23.9099 | 467 | 25188 | 2 | 2 | S | 33 | 41.5888 | 541 | 19412 | 1 | 2 | mck | 107 | 23.915 | 454 | 30928 | 2 | 3
N | 104 | 0.0051855 | -1 | 25364 | 2 | 2 | S | 34 | 42.2885 | 550 | 19588 | 1 | 2 | N | 108 | 0.10864 | 1 | 31104 | 2 | 3
stn4 | 105 | 24.5932 | 480 | 25538 | 2 | 2 | S | 35 | 42.7558 | 556 | 19764 | 1 | 2 |  |  | 23.6382 |  | 31280 | 2 | 3
N | 106 | 24.3829 | 476 | 25714 | 2 | 2 | S | 36 | 42.9906 | 559 | 19940 | 1 | 2 | stn adcp | 110 | 24.3663 | 463 | 31456 | 2 | 3
N | 107 | 24.0675 | 470 | 25890 | 2 | 2 | S | 37 | 43.3803 | 564 | 20112 | 1 | 2 | N | 111 | 24.7791 | 471 | 31632 | 2 | 3
N | 108 | 25.4883 | 497 | 26066 | 2 | 2 | S | 38 | 42.1429 | 548 | 20288 | 1 | 2 | N | 112 | 25.9791 | 494 | 31804 | 2 | 3
N | 109 | 29.2991 | 569 | 26242 | 2 | 2 | S | 39 | 39.2809 | 511 | 20464 | 1 | 2 | N | 113 | 27.1784 | 517 | 31980 | 2 | 3
N | 110 | 29.8309 | 579 | 26414 | 2 | 2 | S | 40 | 42.9998 | 559 | 20640 | 1 | 2 | N | 114 | 27.4853 | 523 | 32156 | 2 | 3
N | 111 | 29.8309 | 579 | 26590 | 2 | 2 | S | 41 | 45.56 | 592 | 20816 | 1 | 2 | N | 115 | 27.6347 | 526 | 32332 | 2 | 3
N | 112 | 30.2035 | 586 | 26766 | 2 | 2 | S | 42 | 46.26 | 601 | 20988 | 1 | 2 | N | 116 | 30.5629 | 582 | 32508 | 2 | 3
N | 113 | 29.8309 | 579 | 26942 | 2 | 2 | S | 43 | 49.1332 | 638 | 21164 | 1 | 2 | N | 117 | 30.3447 | 578 | 32682 | 2 | 3
N | 114 | 29.2991 | 569 | 27118 | 2 | 2 | S | 44 | 49.4456 | 642 | 21340 | 1 | 2 | N | 118 | 30.7029 | 585 | 32858 | 2 | 3
N | 115 | 27.6015 | 537 | 27294 | 2 | 2 | S | 45 | 52.3213 | 679 | 21516 | 1 | 2 | N | 119 | 0.082513 | 1 | 33034 | 2 | 3
N | 116 | 29.4585 | 572 | 27468 | 2 | 2 | S | 46 | 53.7996 | 698 | 21692 | 1 | 2 | S | 1 | 43.92 | 571 | 10734 | 1 | 2
N | 117 | 27.9723 | 544 | 27644 | 2 | 2 | S | 47 | 50.2273 | 652 | 21868 | 1 | 2 | S | 2 | 43.3797 | 564 | 10912 | 1 | 2
N | 118 | 30.2035 | 586 | 27818 | 2 | 2 | S | 48 | 36.0318 | 469 | 22216 | 1 | 2 | S | 3 | 42.603 | 554 | 11082 | 1 | 2
N | 119 | 30.097 | 584 | 27994 | 2 | 2 | S | 49 | 37.3781 | 487 | 22392 | 1 | 2 | S | 4 | 44.2963 | 576 | 11258 | 1 | 2
N | 120 | 30.3633 | 589 | 28170 | 2 | 2 | S | 50 | 39.1636 | 510 | 22568 | 1 | 2 | S | 5 | 43.2103 | 562 | 11434 | 1 | 2
mchk | 121 | 24.3303 | 475 | 28346 | 2 | 2 | S | 51 | 40.7179 | 530 | 22744 | 1 | 2 | S | 6 | 43.7458 | 569 | 11610 | 1 | 2
stn6 | 122 | 4.8992 | 97 | 28692 | 2 | 2 | S | 52 | 40.4907 | 527 | 22920 | 1 | 2 | S | 7 | 42.9686 | 559 | 11786 | 1 | 2
N | 123 | 6.1067 | 121 | 28868 | 2 | 2 | S | 53 | 41.038 | 534 | 23092 | 1 | 2 | S | 8 | 42.7319 | 556 | 11962 | 1 | 2
N | 124 | 10.4629 | 207 | 29044 | 2 | 2 | S | 54 | 39.1075 | 509 | 23268 | 1 | 2 | S | 9 | 46.2803 | 602 | 12138 | 1 | 2
N | 125 | 28.8741 | 561 | 29220 | 2 | 2 | S | 55 | 40.6611 | 529 | 23444 | 1 | 2 | S | 10 | 50.529 | 657 | 12314 | 1 | 2
N | 126 | 29.7777 | 578 | 29396 | 2 | 2 | S | 56 | 40.3566 | 525 | 23620 | 1 | 2 | S | 11 | 50.7569 | 660 | 12490 | 1 | 2
N | 127 | 30.4166 | 590 | 29572 | 2 | 2 | S | 57 | 40.7489 | 530 | 23796 | 1 | 2 | S | 12 | 49.3597 | 642 | 12666 | 1 | 2
N | 128 | 28.0253 | 545 | 29748 | 2 | 2 | S | 58 | 41.8381 | 544 | 23972 | 1 | 2 | S | 13 | 50.5165 | 657 | 12834 | 1 | 2
N | 129 | 28.9272 | 562 | 29920 | 2 | 2 | S | 59 | 42.4626 | 552 | 24144 | 1 | 2 | S | 14 | 49.3512 | 642 | 13010 | 1 | 2
N | 130 | 28.3964 | 552 | 30096 | 2 | 2 | S | 60 | 42.4676 | 552 | 24320 | 1 | 2 | S | 15 | 23.9617 | 312 | 13364 | 1 | 2
N | 131 | 28.821 | 560 | 30272 | 2 | 2 | S | 61 | 43.1695 | 561 | 24496 | 1 | 2 | S | 16 | 23.9582 | 312 | 13540 | 1 | 2
N | 132 | 29.2459 | 568 | 30448 | 2 | 2 | P | 1 | -0.13065 | -34 | 14176 | 2 | 4 | S | 17 | 27.032 | 352 | 13716 | 1 | 2
S | 1 | 8.1102 | 106 | 4466 | 1 | 2 | P | 2 | -0.15204 | -39 | 14352 | 2 | 4 | S | 18 | 53.7239 | 698 | 13892 | 1 | 2
S | 2 | 8.5823 | 112 | 4642 | 1 | 2 | P | 3 | 2.2543 | 572 | 14528 | 2 | 4 | S | 19 | 54.4176 | 707 | 14068 | 1 | 2
S | 3 | 10.3502 | 135 | 4818 | 1 | 2 | P | 4 | 2.2537 | 583 | 14708 | 2 | 4 | S | 20 | 54.1055 | 703 | 14236 | 1 | 2
S | 4 | 41.7978 | 545 | 5000 | 1 | 2 | P | 5 | 2.1601 | 558 | 14884 | 2 | 4 | S | 21 | 54.4899 | 708 | 14412 | 1 | 2
S | 5 | 53.9858 | 703 | 5176 | 1 | 2 | P | 6 | 2.1252 | 548 | 15060 | 2 | 4 | S | 22 | 55.4163 | 720 | 14588 | 1 | 2
S | 6 | 55.817 | 727 | 5352 | 1 | 2 | P | 7 | 2.0669 | 532 | 15236 | 2 | 4 | S | 23 | 56.7304 | 737 | 14764 | 1 | 2
S | 7 | 54.9426 | 716 | 5522 | 1 | 2 | P | 8 | 1.9419 | 499 | 15412 | 2 | 4 | S | 24 | 57.1155 | 742 | 14940 | 1 | 2
S | 8 | 52.373 | 683 | 5698 | 1 | 2 | P | 9 | 2.2011 | 564 | 15588 | 2 | 4 | S | 25 | 56.8809 | 739 | 15116 | 1 | 2
S | 9 | 52.8128 | 689 | 5874 | 1 | 2 | P | 10 | 2.3154 | 592 | 15762 | 2 | 4 | S | 26 | 59.2043 | 769 | 15292 | 1 | 2
S | 10 | 50.7901 | 663 | 6050 | 1 | 2 | P | 11 | 2.2883 | 584 | 15938 | 2 | 4 | S | 27 | 58.2718 | 757 | 15468 | 1 | 2
S | 11 | 52.4599 | 685 | 6226 | 1 | 2 | P | 12 | 2.3085 | 588 | 16114 | 2 | 4 | S | 28 | 61.9164 | 804 | 15644 | 1 | 2
S | 12 | 52.4376 | 685 | 6402 | 1 | 2 | P | 13 | 2.1045 | 535 | 16290 | 2 | 4 | S | 29 | 66.2655 | 860 | 15820 | 1 | 2
S | 13 | 54.1802 | 708 | 6572 | 1 | 2 | P | 14 | 1.5303 | 388 | 16466 | 2 | 4 | S | 30 | 67.1203 | 871 | 15996 | 1 | 2
S | 14 | 60.5949 | 792 | 6754 | 1 | 2 | P | 15 | 0.49108 | 124 | 16642 | 2 | 4 | S | 31 | 50.0488 | 651 | 16172 | 1 | 2
S | 15 | 61.0241 | 798 | 6924 | 1 | 2 | P | 16 | 1.9994 | 505 | 16818 | 2 | 4 | S | 32 | -0.057925 | -1 | 16348 | 1 | 2
S | 16 | 49.7491 | 651 | 7100 | 1 | 2 | P | 17 | 2.3518 | 608 | 17160 | 2 | 4 | S | 33 | 43.8428 | 570 | 16520 | 1 | 2
S | 17 | 2.3145 | 30 | 7452 | 1 | 2 | P | 18 | 2.3086 | 597 | 17332 | 2 | 4 | S | 34 | 49.942 | 649 | 16696 | 1 | 2
S | 18 | 2.9264 | 38 | 7628 | 1 | 2 | P | 19 | 2.2675 | 586 | 17508 | 2 | 4 | S | 35 | 50.7899 | 660 | 16872 | 1 | 2
S | 19 | 21.8022 | 285 | 7804 | 1 | 2 | P | 20 | 2.1755 | 562 | 17684 | 2 | 4 | S | 36 | 50.1693 | 652 | 17044 | 1 | 2
S | 20 | 46.3174 | 604 | 7980 | 1 | 2 | P | 21 | 2.1188 | 547 | 17860 | 2 | 4 | S | 37 | 49.6258 | 645 | 17220 | 1 | 2
S | 21 | 51.4719 | 671 | 8156 | 1 | 2 | P | 22 | 2.1169 | 546 | 18036 | 2 | 4 | S | 38 | 51.4017 | 668 | 17396 | 1 | 2
S | 22 | 48.4513 | 632 | 8324 | 1 | 2 | P | 23 | 2.1072 | 543 | 18212 | 2 | 4 | S | 39 | 52.637 | 684 | 17572 | 1 | 2
S | 23 | 48.4382 | 632 | 8500 | 1 | 2 | P | 24 | 2.1171 | 545 | 18388 | 2 | 4 | S | 40 | 51.7067 | 672 | 17748 | 1 | 2
S | 24 | 52.9671 | 691 | 8676 | 1 | 2 | P | 25 | 2.0643 | 531 | 18564 | 2 | 4 | S | 41 | 55.5737 | 722 | 17924 | 1 | 2
S | 25 | 51.3348 | 670 | 8852 | 1 | 2 | P | 26 | 2.0624 | 530 | 18740 | 2 | 4 | S | 42 | 57.8178 | 751 | 18096 | 1 | 2
S | 26 | 51.781 | 676 | 9028 | 1 | 2 | P | 27 | 2.1663 | 556 | 18912 | 2 | 4 | S | 43 | 57.8937 | 752 | 18272 | 1 | 2
S | 27 | 54.0711 | 706 | 9204 | 1 | 2 | P | 28 | 1.9801 | 508 | 19088 | 2 | 4 | S | 44 | 49.8414 | 648 | 18448 | 1 | 2
S | 28 | 54.5149 | 712 | 9380 | 1 | 2 | P | 29 | 1.8018 | 462 | 19264 | 2 | 4 | S | 45 | -0.13764 | -2 | 18624 | 1 | 2
S | 29 | 56.954 | 744 | 9556 | 1 | 2 | P | 30 | 2.0862 | 534 | 19440 | 2 | 4 | S | 46 | 40.8736 | 532 | 18800 | 1 | 2
S | 30 | 60.5413 | 791 | 9732 | 1 | 2 | P | 31 | 2.1432 | 548 | 19616 | 2 | 4 | S | 47 | 41.9515 | 546 | 18976 | 1 | 2
S | 31 | 60.1355 | 786 | 9908 | 1 | 2 | P | 32 | 2.1766 | 556 | 19792 | 2 | 4 | S | 48 | 39.556 | 515 | 19148 | 1 | 2
S | 32 | 63.333 | 828 | 10078 | 1 | 2 | P | 33 | 2.2219 | 567 | 19968 | 2 | 4 | S | 49 | 42.0232 | 547 | 19324 | 1 | 2
S | 33 | 67.2145 | 879 | 10254 | 1 | 2 | P | 34 | 2.2318 | 569 | 20144 | 2 | 4 | S | 50 | 43.7196 | 569 | 19500 | 1 | 2
S | 34 | 49.5938 | 649 | 10430 | 1 | 2 | P | 35 | 2.226 | 567 | 20320 | 2 | 4 | S | 51 | 43.9487 | 572 | 19676 | 1 | 2
S | 35 | 34.9394 | 456 | 10958 | 1 | 2 | P | 36 | 2.1966 | 559 | 20496 | 2 | 4 | S | 52 | 43.7914 | 570 | 19852 | 1 | 2
S | 36 | 35.1598 | 459 | 11130 | 1 | 2 | P | 37 | 2.3362 | 594 | 20668 | 2 | 4 | S | 53 | 44.716 | 582 | 20028 | 1 | 2
S | 37 | 35.7639 | 467 | 11306 | 1 | 2 | P | 38 | 2.4641 | 626 | 20844 | 2 | 4 | S | 54 | 44.8679 | 584 | 20204 | 1 | 2
S | 38 | 35.9062 | 469 | 11482 | 1 | 2 | P | 39 | 2.478 | 629 | 21020 | 2 | 4 | S | 55 | 44.6334 | 581 | 20380 | 1 | 2
S | 39 | 35.8948 | 469 | 11658 | 1 | 2 | P | 40 | 2.5429 | 645 | 21196 | 2 | 4 | S | 56 | -0.13419 | -2 | 20556 | 1 | 2
S | 40 | 37.11 | 485 | 11830 | 1 | 2 | P | 41 | 2.5528 | 647 | 21372 | 2 | 4 | S | 57 | 43.6885 | 568 | 22488 | 1 | 2
S | 41 | 37.8633 | 495 | 12006 | 1 | 2 | P | 42 | 2.6413 | 669 | 21548 | 2 | 4 | S | 58 | 43.6302 | 568 | 22664 | 2 | 3
S | 42 | 38.3855 | 502 | 12182 | 1 | 2 | P | 43 | 2.6434 | 669 | 21724 | 2 | 4 | S | 59 | 42.9391 | 559 | 22840 | 2 | 3
S | 43 | 40.1299 | 525 | 12358 | 1 | 2 | P | 44 | 2.0123 | 508 | 21900 | 2 | 4 | S | 60 | 44.4117 | 578 | 23016 | 2 | 3
S | 44 | 0.069308 | 0 | 12534 | 1 | 2 | P | 45 | 1.9366 | 502 | 22242 | 2 | 4 | S | 61 | 44.5707 | 580 | 23192 | 2 | 3
S | 45 | 42.0292 | 548 | 14288 | 1 | 2 | P | 46 | 1.9757 | 512 | 22420 | 2 | 4 | S | 62 | 44.2657 | 576 | 23360 | 2 | 3
S | 46 | 44.1541 | 576 | 14464 | 1 | 2 | P | 47 | 2.0191 | 522 | 22596 | 2 | 4 | S | 63 | 42.4156 | 552 | 23536 | 2 | 3
S | 47 | 44.4255 | 580 | 14640 | 1 | 2 | P | 48 | 2.1135 | 545 | 22772 | 2 | 4 | S | 64 | 41.0296 | 534 | 23712 | 2 | 3
S | 48 | 44.8492 | 586 | 14816 | 1 | 2 | P | 49 | 2.11 | 543 | 22948 | 2 | 4 | S | 65 | 46.5986 | 606 | 23888 | 2 | 3
S | 49 | 44.8114 | 586 | 14992 | 1 | 2 | P | 50 | 2.1338 | 548 | 23118 | 2 | 4 | S | 66 | 47.918 | 623 | 24058 | 2 | 3
S | 50 | 0.069239 | 0 | 15168 | 1 | 2 | P | 51 | 2.1107 | 541 | 23294 | 2 | 4 | S | 67 | 51.871 | 674 | 24234 | 2 | 3
S | 51 | 32.4001 | 423 | 16738 | 1 | 2 | P | 52 | 2.1071 | 539 | 23470 | 2 | 4 | S | 68 | 51.9529 | 675 | 24410 | 2 | 3
S | 52 | 30.4902 | 399 | 16914 | 2 | 3 | P | 53 | 2.0879 | 533 | 23646 | 2 | 4 | S | 69 | 52.4223 | 681 | 24586 | 2 | 3
S | 53 | 31.7842 | 416 | 17090 | 2 | 3 | P | 54 | 2.1001 | 535 | 23822 | 2 | 4 | S | 70 | 49.6386 | 645 | 24762 | 2 | 3
S | 54 | 36.898 | 483 | 17266 | 2 | 3 | P | 55 | 2.2538 | 573 | 23998 | 2 | 4 | S | 71 | 0.052169 | 0 | 24938 | 2 | 3
S | 55 | 48.5957 | 636 | 17442 | 2 | 3 | P | 56 | 2.2385 | 568 | 24174 | 2 | 4 | S | 72 | 11.0202 | 144 | 25104 | 2 | 3
S | 56 | 55.6438 | 728 | 17618 | 2 | 3 | P | 57 | 2.2822 | 578 | 24350 | 2 | 4 | S | 73 | 11.3315 | 148 | 25280 | 2 | 3
S | 57 | 55.4179 | 725 | 17794 | 2 | 3 | P | 58 | 2.2354 | 565 | 24526 | 2 | 4 | S | 74 | 11.2601 | 147 | 25456 | 2 | 3
S | 58 | 55.5753 | 727 | 17970 | 2 | 3 | [7 empty] | S | 75 | 12.1075 | 158 | 25632 | 2 | 3
S | 59 | 52.3565 | 685 | 18146 | 2 | 3 | [7 empty] | S | 76 | 31.8504 | 415 | 25808 | 2 | 3
S | 60 | 57.2734 | 749 | 18322 | 2 | 3 | [7 empty] | S | 77 | 55.0406 | 715 | 25984 | 2 | 3
S | 61 | 61.4312 | 803 | 18498 | 2 | 3 | [7 empty] | S | 78 | 53.4202 | 694 | 26160 | 2 | 3
S | 62 | 65.2899 | 853 | 18674 | 2 | 3 | [7 empty] | S | 79 | 54.1251 | 703 | 26336 | 2 | 3
S | 63 | 36.9496 | 484 | 18850 | 2 | 3 | [7 empty] | S | 80 | 57.0017 | 740 | 26512 | 2 | 3
S | 64 | 49.8913 | 653 | 19028 | 2 | 3 | [7 empty] | S | 81 | 54.306 | 706 | 26688 | 2 | 3
S | 65 | 6.9272 | 90 | 19370 | 2 | 3 | [7 empty] | S | 82 | 53.6919 | 698 | 26864 | 2 | 3
S | 66 | 5.7833 | 75 | 19546 | 2 | 3 | [7 empty] | S | 83 | 55.636 | 723 | 27040 | 2 | 3
S | 67 | 20.7981 | 272 | 19722 | 2 | 3 | [7 empty] | S | 84 | 57.814 | 751 | 27216 | 2 | 3
S | 68 | 33.2344 | 435 | 19898 | 2 | 3 | [7 empty] | S | 85 | 58.6737 | 762 | 27392 | 2 | 3
S | 69 | 42.7829 | 560 | 20074 | 2 | 3 | [7 empty] | S | 86 | 63.0287 | 818 | 27568 | 2 | 3
S | 70 | 51.427 | 673 | 20250 | 2 | 3 | [7 empty] | S | 87 | 67.5447 | 876 | 27744 | 2 | 3
S | 71 | 54.4153 | 712 | 20426 | 2 | 3 | [7 empty] | S | 88 | 49.5453 | 644 | 27920 | 2 | 3
S | 72 | 52.6556 | 689 | 20602 | 2 | 3 | [7 empty] | S | 89 | 3.9395 | 51 | 28096 | 2 | 3
S | 73 | 51.125 | 669 | 20778 | 2 | 3 | [7 empty] | S | 90 | 3.2553 | 42 | 28272 | 2 | 3
S | 74 | 51.0497 | 668 | 20954 | 2 | 3 | [7 empty] | S | 91 | 6.011 | 78 | 28448 | 2 | 3
S | 75 | 51.8944 | 679 | 21130 | 2 | 3 | [7 empty] | S | 92 | 39.3013 | 512 | 28612 | 2 | 3
S | 76 | 49.5955 | 649 | 21306 | 2 | 3 | [7 empty] | S | 93 | 48.1151 | 626 | 28788 | 2 | 3
S | 77 | 55.8892 | 731 | 21482 | 2 | 3 | [7 empty] | S | 94 | 52.8428 | 687 | 28964 | 2 | 3
S | 78 | 58.966 | 771 | 21658 | 2 | 3 | [7 empty] | S | 95 | 51.9178 | 675 | 29140 | 2 | 3
S | 79 | 62.7401 | 820 | 21834 | 2 | 3 | [7 empty] | S | 96 | 52.3873 | 681 | 29316 | 2 | 3
S | 80 | 58.8976 | 770 | 22010 | 2 | 3 | [7 empty] | S | 97 | 48.2108 | 627 | 29492 | 2 | 3
S | 81 | 65.218 | 852 | 22186 | 2 | 3 | [7 empty] | S | 98 | 36.3189 | 473 | 29668 | 2 | 3
S | 82 | 49.7545 | 651 | 22352 | 2 | 3 | [7 empty] | S | 99 | 52.4012 | 681 | 29844 | 2 | 3
wako | 83 | 22.4057 | 293 | 22698 | 2 | 3 | [7 empty] | S | 100 | 54.1107 | 703 | 30020 | 2 | 3
S | 84 | 48.9752 | 641 | 22874 | 2 | 3 | [7 empty] | S | 101 | 56.5966 | 735 | 30196 | 2 | 3
S | 85 | 43.2429 | 566 | 23050 | 2 | 3 | [7 empty] | S | 102 | 60.7147 | 788 | 30372 | 2 | 3
S | 86 | 43.3184 | 567 | 23226 | 2 | 3 | [7 empty] | S | 103 | 61.263 | 795 | 30548 | 2 | 3
S | 87 | 41.8647 | 548 | 23402 | 2 | 3 | [7 empty] | S | 104 | 64.9977 | 843 | 30724 | 2 | 3
S | 88 | 45.535 | 596 | 23578 | 2 | 3 | [7 empty] | S | 105 | 49.486 | 643 | 30900 | 2 | 3
S | 89 | 43.1626 | 565 | 23754 | 2 | 3 | [7 empty] | S | 106 | 41.7717 | 544 | 31252 | 2 | 3
S | 90 | 44.5393 | 583 | 23930 | 2 | 3 | [7 empty] | S | 107 | 41.2373 | 537 | 31428 | 2 | 3
S | 91 | 44.6918 | 585 | 24106 | 2 | 3 | [7 empty] | S | 108 | 42.1701 | 549 | 31604 | 2 | 3
S | 92 | 43.2363 | 566 | 24282 | 2 | 3 | [7 empty] | S | 109 | 43.5666 | 567 | 31772 | 2 | 3
S | 93 | 46.6064 | 610 | 24458 | 2 | 3 | [7 empty] | S | 110 | 44.9641 | 585 | 31948 | 2 | 3
S | 94 | 48.9837 | 641 | 24634 | 2 | 3 | [7 empty] | S | 111 | 43.888 | 571 | 32124 | 2 | 3
S | 95 | 49.0613 | 642 | 24810 | 2 | 3 | [7 empty] | S | 112 | 43.9715 | 572 | 32300 | 2 | 3
S | 96 | 44.8425 | 587 | 24986 | 2 | 3 | [7 empty] | S | 113 | 44.9053 | 584 | 32476 | 2 | 3
mck | 97 | 49.9846 | 654 | 25162 | 2 | 3 | [7 empty] | S | 114 | 44.2929 | 576 | 32652 | 2 | 3
stn4 | 98 | 47.2171 | 618 | 25502 | 2 | 3 | [7 empty] | S | 115 | 44.4537 | 578 | 32828 | 2 | 3
S | 99 | 46.2239 | 605 | 25678 | 2 | 3 | [7 empty] | S | 116 | 0.052262 | 0 | 33004 | 2 | 3
S | 100 | 45.7653 | 599 | 25854 | 2 | 3 | [7 empty] | P | 1 | -0.1383 | -33 | 10584 | 3 | 1
| 101 | 48.1348 | 630 | 26030 | 2 | 3 | [7 empty] | P | 2 | 2.271 | 552 | 10760 | 3 | 1
S | 102 | 54.0239 | 707 | 26206 | 2 | 3 | [7 empty] | P | 3 | 2.2243 | 541 | 10936 | 3 | 1
S | 103 | 55.7088 | 729 | 26382 | 2 | 3 | [7 empty] | P | 4 | 2.2296 | 543 | 11112 | 3 | 1
S | 104 | 56.5527 | 740 | 26558 | 2 | 3 | [7 empty] | P | 5 | 2.3026 | 562 | 11288 | 3 | 1
S | 105 | 55.6359 | 728 | 26734 | 2 | 3 | [7 empty] | P | 6 | 2.3238 | 568 | 11464 | 3 | 1
S | 106 | 55.0251 | 720 | 26910 | 2 | 3 | [7 empty] | P | 7 | 2.3251 | 569 | 11640 | 3 | 1
S | 107 | 54.4906 | 713 | 27086 | 2 | 3 | [7 empty] | P | 8 | 2.2745 | 557 | 11816 | 3 | 1
S | 108 | 52.7305 | 690 | 27262 | 2 | 3 | [7 empty] | P | 9 | 2.3196 | 569 | 11992 | 3 | 1
S | 109 | 55.6431 | 728 | 27438 | 2 | 3 | [7 empty] | P | 10 | 2.4599 | 605 | 12168 | 3 | 1
S | 110 | 56.2582 | 736 | 27614 | 2 | 3 | [7 empty] | P | 11 | 2.6469 | 646 | 12344 | 3 | 1
S | 111 | 61.9367 | 810 | 27790 | 2 | 3 | [7 empty] | P | 12 | 2.6609 | 651 | 12520 | 3 | 1
S | 112 | 64.6274 | 845 | 27966 | 2 | 3 | [7 empty] | P | 13 | 2.6512 | 650 | 12696 | 3 | 1
S | 113 | 69.0889 | 903 | 28142 | 2 | 3 | [7 empty] | P | 14 | 2.6297 | 646 | 12872 | 3 | 1
mck | 114 | 50.2842 | 658 | 28318 | 2 | 3 | [7 empty] | P | 15 | 1.9949 | 488 | 13048 | 3 | 1
S | 115 | 0.00081925 | -1 | 28494 | 2 | 3 | [7 empty] | P | 16 | 1.5806 | 380 | 13392 | 3 | 1
stn6 | 116 | 12.8497 | 168 | 28670 | 2 | 3 | [7 empty] | P | 17 | 1.6035 | 386 | 13568 | 3 | 1
S | 117 | 15.2085 | 199 | 28846 | 2 | 3 | [7 empty] | P | 18 | 1.6872 | 407 | 13744 | 3 | 1
S | 118 | 22.3702 | 293 | 29022 | 2 | 3 | [7 empty] | P | 19 | 2.6577 | 650 | 13920 | 3 | 1
S | 119 | 54.0485 | 707 | 29198 | 2 | 3 | [7 empty] | P | 20 | 2.5849 | 632 | 14096 | 3 | 1
S | 120 | 55.7398 | 729 | 29370 | 2 | 3 | [7 empty] | P | 21 | 2.5951 | 635 | 14272 | 3 | 1
S | 121 | 56.587 | 740 | 29546 | 2 | 3 | [7 empty] | P | 22 | 2.5973 | 636 | 14448 | 3 | 1
S | 122 | 52.3628 | 685 | 29722 | 2 | 3 | [7 empty] | P | 23 | 2.6944 | 661 | 14624 | 3 | 1
S | 123 | 52.4407 | 686 | 29894 | 2 | 3 | [7 empty] | P | 24 | 2.7165 | 667 | 14800 | 3 | 1
S | 124 | 51.8271 | 678 | 30070 | 2 | 3 | [7 empty] | P | 25 | 2.7464 | 675 | 14976 | 3 | 1
S | 125 | 54.2877 | 710 | 30246 | 2 | 3 | [7 empty] | P | 26 | 2.7605 | 679 | 15152 | 3 | 1
S | 126 | 55.443 | 725 | 30422 | 2 | 3 | [7 empty] | P | 27 | 2.7865 | 686 | 15322 | 3 | 1
Stn2 | 1 | 0.69091 | 174 | 4502 | 1 | 3 | [7 empty] | P | 28 | 2.7612 | 680 | 15498 | 3 | 1
P | 2 | 0.75841 | 191 | 4678 | 1 | 3 | [7 empty] | P | 29 | 2.8305 | 698 | 15674 | 3 | 1
P | 3 | 0.82729 | 208 | 4854 | 1 | 3 | [7 empty] | P | 30 | 2.9155 | 720 | 15850 | 3 | 1
P | 4 | 2.248 | 568 | 5022 | 1 | 3 | [7 empty] | P | 31 | 2.9375 | 726 | 16026 | 3 | 1
P | 5 | 2.5738 | 651 | 5198 | 1 | 3 | [7 empty] | P | 32 | 2.0334 | 492 | 16206 | 3 | 1
P | 6 | 2.5736 | 651 | 5374 | 1 | 3 | [7 empty] | P | 33 | 2.2657 | 550 | 16550 | 3 | 1
P | 7 | 2.5577 | 647 | 5550 | 1 | 3 | [7 empty] | P | 34 | 2.4593 | 603 | 16726 | 3 | 1
P | 8 | 2.4833 | 628 | 5726 | 1 | 3 | [7 empty] | P | 35 | 2.4568 | 598 | 16900 | 3 | 1
P | 9 | 2.4681 | 624 | 5902 | 1 | 3 | [7 empty] | P | 36 | 2.4867 | 607 | 17076 | 3 | 1
P | 10 | 2.4013 | 607 | 6078 | 1 | 3 | [7 empty] | P | 37 | 2.4889 | 609 | 17252 | 3 | 1
P | 11 | 2.4444 | 618 | 6254 | 1 | 3 | [7 empty] | P | 38 | 2.5029 | 614 | 17428 | 3 | 1
P | 12 | 2.46 | 622 | 6430 | 1 | 3 | [7 empty] | P | 39 | 2.4615 | 605 | 17604 | 3 | 1
P | 13 | 2.6283 | 665 | 6606 | 1 | 3 | [7 empty] | P | 40 | 2.5639 | 625 | 17778 | 3 | 1
P | 14 | 2.7843 | 705 | 6782 | 1 | 3 | [7 empty] | P | 41 | 2.645 | 647 | 17954 | 3 | 1
P | 15 | 2.7918 | 707 | 6958 | 1 | 3 | [7 empty] | P | 42 | 2.7813 | 683 | 18130 | 3 | 1
m | 16 | 1.9739 | 498 | 7130 | 1 | 3 | [7 empty] | P | 43 | 2.7716 | 682 | 18306 | 3 | 1
P | 17 | 0.42461 | 107 | 7220 | 1 | 1 | [7 empty] | P | 44 | 1.9787 | 484 | 18482 | 3 | 1
mck | 18 | 1.9764 | 499 | 7132 | 1 | 3 | [7 empty] | P | 45 | 2.1097 | 511 | 18834 | 3 | 1
stn39 | 19 | 0.24948 | 63 | 7480 | 1 | 3 | [7 empty] | P | 46 | 2.1137 | 512 | 19006 | 3 | 1
P | 20 | 0.34929 | 88 | 7656 | 1 | 3 | [7 empty] | P | 47 | 2.1543 | 523 | 19182 | 3 | 1
P | 21 | 1.5523 | 391 | 7832 | 1 | 3 | [7 empty] | P | 48 | 2.1589 | 525 | 19358 | 3 | 1
P | 22 | 2.3895 | 604 | 8006 | 1 | 3 | [7 empty] | P | 49 | 2.2593 | 551 | 19534 | 3 | 1
P | 23 | 2.4951 | 631 | 8182 | 1 | 3 | [7 empty] | P | 50 | 2.2519 | 550 | 19710 | 3 | 1
P | 24 | 2.3227 | 587 | 8358 | 1 | 3 | [7 empty] | P | 51 | 2.3122 | 566 | 19886 | 3 | 1
P | 25 | 2.2913 | 579 | 8534 | 1 | 3 | [7 empty] | P | 52 | 2.3684 | 581 | 20062 | 3 | 1
P | 26 | 2.4523 | 620 | 8710 | 1 | 3 | [7 empty] | P | 53 | 2.4087 | 592 | 20238 | 3 | 1
P | 27 | 2.4013 | 607 | 8886 | 1 | 3 | [7 empty] | P | 54 | 2.437 | 593 | 20414 | 3 | 1
P | 28 | 2.3973 | 606 | 9062 | 1 | 3 | [7 empty] | P | 55 | -0.14413 | -35 | 22330 | 1 | 2
P | 29 | 2.7027 | 684 | 9226 | 1 | 3 | [7 empty] | P | 56 | 2.1723 | 533 | 22506 | 1 | 2
P | 30 | 2.5422 | 643 | 9406 | 1 | 3 | [7 empty] | P | 57 | 2.1999 | 540 | 22690 | 1 | 2
P | 31 | 2.5734 | 651 | 9566 | 1 | 3 | [7 empty] | P | 58 | 2.1565 | 529 | 22866 | 1 | 2
P | 32 | 2.8037 | 710 | 9760 | 1 | 3 | [7 empty] | P | 59 | 2.2637 | 556 | 23036 | 1 | 2
P | 33 | 2.8659 | 726 | 9936 | 1 | 3 | [7 empty] | P | 60 | 2.2437 | 551 | 23212 | 1 | 2
P | 34 | 2.994 | 759 | 10112 | 1 | 3 | [7 empty] | P | 61 | 2.2516 | 553 | 23388 | 1 | 2
P | 35 | 3.1374 | 796 | 10288 | 1 | 3 | [7 empty] | P | 62 | 2.2594 | 555 | 23564 | 1 | 2
mck | 36 | 1.9843 | 501 | 10458 | 1 | 3 | [7 empty] | P | 63 | 2.2593 | 555 | 23740 | 1 | 2
P | 37 | -0.12928 | -32 | 10810 | 1 | 3 | [7 empty] | P | 64 | 2.4485 | 603 | 23916 | 1 | 2
stn59 | 38 | 1.8476 | 466 | 10986 | 1 | 3 | [7 empty] | P | 65 | 2.5266 | 623 | 24092 | 1 | 2
P | 39 | 1.87 | 472 | 11160 | 1 | 3 | [7 empty] | P | 66 | 2.6548 | 656 | 24268 | 1 | 2
P | 40 | 1.9224 | 485 | 11336 | 1 | 3 | [7 empty] | P | 67 | 2.6384 | 652 | 24444 | 1 | 2
P | 41 | 1.9015 | 480 | 11512 | 1 | 3 | [7 empty] | P | 68 | 2.6492 | 655 | 24620 | 1 | 2
P | 42 | 1.9219 | 485 | 11688 | 1 | 3 | [7 empty] | P | 69 | 1.9869 | 486 | 24796 | 1 | 2
P | 43 | 1.954 | 493 | 11864 | 1 | 3 | [7 empty] | stn12 | 70 | 0.94459 | 229 | 25140 | 1 | 2
P | 44 | 1.9882 | 502 | 12040 | 1 | 3 | [7 empty] | P | 71 | 0.88112 | 213 | 25316 | 1 | 2
P | 45 | 2.0753 | 524 | 12216 | 1 | 3 | [7 empty] | P | 72 | 1.026 | 248 | 25492 | 1 | 2
P | 46 | 2.1307 | 538 | 12392 | 1 | 3 | [7 empty] | P | 73 | 1.1258 | 272 | 25668 | 1 | 2
P | 47 | 2.1733 | 549 | 14320 | 1 | 3 | [7 empty] | P | 74 | 1.9352 | 473 | 25844 | 1 | 2
P | 48 | 2.2401 | 566 | 14492 | 1 | 3 | [7 empty] | P | 75 | 2.5894 | 638 | 26018 | 1 | 2
P | 49 | 2.2128 | 559 | 14668 | 1 | 3 | [7 empty] | P | 76 | 2.5973 | 640 | 26196 | 1 | 2
P | 50 | 2.2915 | 579 | 14844 | 1 | 3 | [7 empty] | P | 77 | 2.6795 | 661 | 26372 | 1 | 2
P | 51 | 2.3072 | 583 | 15020 | 1 | 3 | [7 empty] | P | 78 | 2.714 | 670 | 26548 | 1 | 2
stn 9 | 236 | 2.5466 | 644 | 16774 | 1 | 3 | [7 empty] | P | 79 | 2.6227 | 647 | 26720 | 1 | 2
P | 235 | 1.8937 | 478 | 16950 | 1 | 3 | [7 empty] | P | 80 | 2.445 | 602 | 26896 | 1 | 2
P | 234 | 1.9096 | 482 | 17126 | 1 | 3 | [7 empty] | P | 81 | 2.6173 | 646 | 27072 | 1 | 2
P | 233 | 6.988 | 1795 | 17302 | 1 | 3 | [7 empty] | P | 82 | 2.7063 | 669 | 27248 | 1 | 2
P | 232 | 2.4601 | 622 | 17478 | 1 | 3 | [7 empty] | P | 83 | 2.6275 | 649 | 27424 | 1 | 2
P | 231 | 2.6716 | 676 | 17654 | 1 | 3 | [7 empty] | P | 84 | 2.8554 | 708 | 27600 | 1 | 2
P | 230 | 2.6402 | 668 | 17830 | 1 | 3 | [7 empty] | P | 85 | 2.9387 | 730 | 27776 | 1 | 2
P | 229 | 2.6283 | 665 | 18006 | 1 | 3 | [7 empty] | P | 86 | 1.9909 | 487 | 27952 | 1 | 2
P | 228 | 2.6556 | 672 | 18176 | 1 | 3 | [7 empty] | stn27 | 87 | 0.41937 | 101 | 28122 | 1 | 2
P | 227 | 2.6555 | 672 | 18352 | 1 | 3 | [7 empty] | P | 88 | 0.43998 | 106 | 28298 | 1 | 2
P | 226 | 2.7022 | 684 | 18528 | 1 | 3 | [7 empty] | P | 89 | 0.65903 | 158 | 28474 | 1 | 2
P | 225 | 2.8697 | 727 | 18704 | 1 | 3 | [8 empty] | 90 | 2.2398 | 550 | 28650 | 1 | 2
P | 233 | 6.9261 | 1792 | 18880 | 1 | 3 | [7 empty] | P | 91 | 2.569 | 634 | 28826 | 1 | 2
P | mck | 1.9897 | 502 | 19056 | 1 | 3 | [7 empty] | P | 92 | 2.5418 | 626 | 29000 | 1 | 2
P | mck | 2.0119 | 508 | 19052 | 1 | 3 | [7 empty] | P | 93 | 2.5799 | 636 | 29176 | 1 | 2
P | stn42 | 0.27736 | 70 | 19394 | 1 | 3 | [7 empty] | P | 94 | 2.5822 | 637 | 29352 | 1 | 2
P | 73 | 0.56873 | 143 | 19570 | 1 | 3 | [7 empty] | P | 95 | 2.3653 | 582 | 29528 | 1 | 2
P | 74 | 1.416 | 357 | 19746 | 1 | 3 | [7 empty] | P | 96 | 2.4974 | 616 | 29704 | 1 | 2
P | 75 | 1.9027 | 480 | 19922 | 1 | 3 | [7 empty] | P | 97 | 2.4863 | 612 | 29872 | 1 | 2
P | 76 | 2.2283 | 563 | 20106 | 1 | 3 | [7 empty] | P | 98 | 2.6031 | 642 | 30048 | 1 | 2
P | 77 | 2.4916 | 630 | 20282 | 1 | 3 | [7 empty] | P | 99 | 2.554 | 630 | 30224 | 1 | 2
P | 78 | 2.5661 | 649 | 20458 | 1 | 3 | [7 empty] | P | 100 | 2.8464 | 706 | 30400 | 1 | 2
P | 79 | 2.5307 | 640 | 20634 | 1 | 3 | [7 empty] | P | 101 | 2.8855 | 713 | 30574 | 1 | 2
P | 80 | 2.4601 | 622 | 20810 | 1 | 3 | [7 empty] | P | 102 | 2.2197 | 545 | 30750 | 1 | 2
P | 81 | 2.413 | 610 | 20986 | 1 | 3 | [7 empty] | P | 103 | 2.0218 | 495 | 30926 | 1 | 2
P | 82 | 2.3855 | 603 | 21162 | 1 | 3 | [7 empty] | P | 104 | 0.0029145 | 0 | 31102 | 1 | 2
P | 83 | 2.3934 | 605 | 21334 | 1 | 3 | [7 empty] | adcp | 105 | 2.0401 | 500 | 31280 | 1 | 2
P | 84 | 2.5812 | 653 | 21510 | 1 | 3 | [7 empty] | P | 106 | 2.1041 | 516 | 31452 | 1 | 2
P | 85 | 2.8349 | 718 | 21682 | 1 | 3 | [7 empty] | P | 107 | 2.1043 | 516 | 31628 | 1 | 2
P | 86 | 2.9632 | 751 | 21858 | 1 | 3 | [7 empty] | P | 108 | 2.2039 | 541 | 31804 | 1 | 2
P | 87 | 2.815 | 713 | 22034 | 1 | 3 | [7 empty] | P | 109 | 2.2713 | 558 | 31980 | 1 | 2
P | 88 | 2.8498 | 722 | 22210 | 1 | 3 | [7 empty] | P | 110 | 2.2711 | 558 | 32156 | 1 | 2
mck | 89 | 1.9961 | 504 | 22382 | 1 | 3 | [7 empty] | P | 111 | 2.2591 | 555 | 32332 | 1 | 2
stn69 | 90 | 2.1221 | 536 | 23078 | 1 | 3 | [7 empty] | P | 112 | 2.4044 | 592 | 32508 | 1 | 2
P | 91 | 2.0992 | 530 | 23254 | 1 | 3 | [7 empty] | P | 113 | 2.4157 | 595 | 32684 | 1 | 2
P | 92 | 2.0906 | 528 | 23428 | 1 | 3 | [7 empty] | P | 114 | 2.3997 | 591 | 32860 | 1 | 2
P | 93 | 2.134 | 539 | 23604 | 1 | 3
P | 94 | 2.1616 | 546 | 23780 | 1 | 3
P | 95 | 2.1932 | 554 | 23956 | 1 | 3
P | 96 | 2.2168 | 560 | 24132 | 1 | 3
P | 97 | 2.213 | 559 | 24308 | 1 | 3
P | 98 | 2.3855 | 603 | 24484 | 1 | 3
P | 99 | 2.4912 | 630 | 24660 | 1 | 3
P | 100 | 2.5107 | 635 | 24836 | 1 | 3
P | 101 | 2.5106 | 635 | 25012 | 1 | 3
mck | 102 | 2.0001 | 505 | 25188 | 1 | 3
stn4 | 103 | 2.2913 | 579 | 25540 | 1 | 2
P | 104 | 2.2915 | 579 | 25540 | 1 | 3
P | 105 | 2.2637 | 572 | 25706 | 1 | 3
P | 106 | 2.2677 | 573 | 25882 | 1 | 3
P | 107 | 2.4287 | 614 | 26058 | 1 | 3
P | 108 | 2.6088 | 660 | 26234 | 1 | 3
| 109 | 2.6125 | 661 | 26414 | 1 | 3
P | 110 | 2.6006 | 658 | 26590 | 1 | 3
P | 111 | 2.6043 | 659 | 26766 | 1 | 3
P | 112 | 2.5976 | 657 | 26940 | 1 | 3
P | 113 | 2.519 | 637 | 27116 | 1 | 3
P | 114 | 2.515 | 636 | 27292 | 1 | 3
P | 115 | 2.605 | 659 | 27468 | 1 | 3
P | 116 | 2.7104 | 686 | 27640 | 1 | 3
P | 117 | 2.8389 | 719 | 27816 | 1 | 3
P | 118 | 2.8541 | 723 | 27992 | 1 | 3
P | 119 | 2.916 | 739 | 28168 | 1 | 3
mck | 120 | 1.9961 | 504 | 28344 | 1 | 3
stn6 | 121 | 1.0955 | 276 | 28686 | 1 | 3
P | 122 | 1.1272 | 284 | 28870 | 1 | 3
P | 123 | 1.4561 | 367 | 29046 | 1 | 3
P | 124 | 2.82 | 714 | 29222 | 1 | 3
P | 125 | 2.6164 | 662 | 29398 | 1 | 3
P | 126 | 2.6317 | 666 | 29574 | 1 | 3
P | 127 | 2.5819 | 653 | 29746 | 1 | 3
P | 128 | 2.4091 | 609 | 29922 | 1 | 3
P | 129 | 2.3934 | 605 | 30094 | 1 | 3
P | 130 | 2.4912 | 630 | 30270 | 1 | 3
P | 131 | 2.5536 | 646 | 30446 | 1 | 3

## qaqcfinal
Overview of nutrient analysis
Coastal Cruise 2002 - 12 Diane Masson
Linda White
standard units - umo/L
Standards envelope : |  |  |  |  | NO3 | PO4 | SiO4 | Standard preparation : ? Description of how standards were prepared
|  |  |  | L | 12.16 | 1.012 | 25.11 | The working standard was pipetted into a 250ml volumetric flask,
|  |  |  | M | 24.136 | 2.012 | 49.95 | glass for phosphate and plastic for nitrate and silicate and made to
|  |  |  | H | 36.127 | 3.01 | 75.006 | volume with 3.2% sodium chloride.
Sample replicates - none taken
DMQ run as a sample |  |  |  | Medium Check Standard (run as a sample) |  |  |  | STANDARDS & SAGAMI CHECK | TURBIDITY | SAMPLES RUN | NOTES
Date | Nitrate | Phosphate | Silicate | Date | Nitrate | Phosphate | Silicate | No corrections to sagami | Run on salt
[5 empty] | 24.14 | 2.012 | 49.95 |  | baseline
|  |  |  | 2002-04-30 | 24.3435 | 1.9961 | 49.7491 |  |  | Stations 2, 39, 59, 9, 42, 69, 4, 6,
[5 empty] | 24.1357 | 1.9961 | 49.5938
[5 empty] | 24.6458 | 2.0119 | 49.8913
[5 empty] | 24.4354 | 1.9764 | 49.7545
[5 empty] | 23.9099 | 1.9843 | 49.9846
[5 empty] | 24.3303 | 2.0001 | 50.2842
|  |  |  | 2002-04-29 | 23.9903 | 1.9994 | 50.1487 |  |  | Stations 46,62, 102, 56
[5 empty] | 24.0866 | 1.9801 | 50.2778
[5 empty] | 23.9355 | 2.0123 | 50.2273
|  |  |  | 2002-05-01 | 24.3268 | 1.9949 | 49.3512 |  |  | Stations 72, 14, 16, 65, 75, 12, 27, ADCP
[5 empty] | 24.3801 | 2.0334 | 50.0488
[5 empty] | 24.1998 | 1.9787 | 49.8414
[5 empty] | 23.8442 | 1.9869 | 49.6386
[5 empty] | 24.1557 | 1.9909 | 49.5453
[5 empty] | 23.915 | 2.02 | 49.486
|  |  |  | mean | 24.1757 | 1.9974 | 49.8548
|  |  |  | sd | 0.23242 | 0.016195 | 0.30071
|  |  |  | C.V. | 0.96136 | 0.81078 | 0.60317
Intercalibration with Sagami / Wako standards
| Nitrate 20um/l | Linda 0.56>Wako
| Silicate 50 um/l | Linda 0.09%<Wako
No adjustments to data necessary
Note on B37: whiteli: nitrate + nitrite
Note on I11: O'Brien: Note when new standards prepared and when sagami checks happen as well as the results of the check. Note how any correction to sagami values is made
Note on J11: O'Brien: Note where turbidity samples are run and on which samples.

## Inlet2002-03data final
Ocean Sciences and Productivity
Cruise: 2002-12
Location: Coastal
Frozen nutrient samples analysed by Linda White at IOS room 2418A
Analysis date:April 29, 30, and May 1, 2002
updated May 15, 2002
Analyst: Linda White | [6 empty] | checked | and plotted
Scientific Authority: Diane Masson
[5 empty] | Nitrate + |  |  | P04
Date | Cruise ID | Station | Sample | Depth | Nitrite | Silicate | Phosphate | turbidity
|  |  | Number | m | umol/L | umol/L | umol/L | umol/L
2002 | 12 | 4 | 211 | 2.5 | 24.5932 | 47.2171 | 2.2915
2002 | 12 | 4 | 210 | 5 | 24.3829 | 46.2239 | 2.2637
2002 | 12 | 4 | 209 | 10 | 24.0675 | 45.7653 | 2.2677
2002 | 12 | 4 | 208 | 20 | 25.4883 | 48.1348 | 2.4287
2002 | 12 | 4 | 207 | 30 | 29.2991 | 54.0239 | 2.6088
2002 | 12 | 4 | 206 | 40 | 29.8309 | 55.7088 | 2.6125
2002 | 12 | 4 | 205 | 50 | 29.8309 | 56.5527 | 2.6006
2002 | 12 | 4 | 204 | 75 | 30.2035 | 55.6359 | 2.6043
2002 | 12 | 4 | 203 | 100 | 29.8309 | 55.0251 | 2.5976
2002 | 12 | 4 | 202 | 125 | 29.2991 | 54.4906 | 2.519
2002 | 12 | 4 | 201 | 150 | 27.6015 | 52.7305 | 2.515
2002 | 12 | 4 | 200 | 175 | 29.4585 | 55.6431 | 2.605
2002 | 12 | 4 | 199 | 200 | 27.9723 | 56.2582 | 2.7104
2002 | 12 | 4 | 198 | 250 | 30.2035 | 61.9367 | 2.8389
2002 | 12 | 4 | 197 | 300 | 30.097 | 64.6274 | 2.8541
2002 | 12 | 4 | 196 | 346 | 30.3633 | 69.0889 | 2.916
2002 | 12 | 59 | 20 | 0 | 20.0881 | 34.9394 | 1.8476
2002 | 12 | 59 | 19 | 5 | 20.6586 | 35.1598 | 1.87
2002 | 12 | 59 | 18 | 10 | 21.1773 | 35.7639 | 1.9224
2002 | 12 | 59 | 17 | 20 | 21.7479 | 35.9062 | 1.9015
2002 | 12 | 59 | 16 | 30 | 21.8517 | 35.8948 | 1.9219
2002 | 12 | 59 | 15 | 40 | 22.3706 | 37.11 | 1.954
2002 | 12 | 59 | 14 | 50 | 22.5782 | 37.8633 | 1.9882
2002 | 12 | 59 | 13 | 75 | 22.9935 | 38.3855 | 2.0753
2002 | 12 | 59 | 12 | 100 | 24.4993 | 40.1299 | 2.1307
2002 | 12 | 59 | 11 | 125 | 26.058 | 42.0292 | 2.1733
2002 | 12 | 59 | 10 | 150 | 27.4097 | 44.1541 | 2.2401
2002 | 12 | 59 | 9 | 175 | 27.6697 | 44.4255 | 2.2128
2002 | 12 | 59 | 8 | 200 | 28.502 | 44.8492 | 2.2915
2002 | 12 | 59 | 7 | 215 | 28.4499 | 44.8114 | 2.3072
2002 | 12 | 75 | 48 | 5 | 26.1625 | 43.6885 | 2.1723
2002 | 12 | 75 | 47 | 10 | 26.3602 | 43.6302 | 2.1999
2002 | 12 | 75 | 46 | 20 | 26.2947 | 42.9391 | 2.1565
2002 | 12 | 75 | 45 | 30 | 27.229 | 44.4117 | 2.2637
2002 | 12 | 75 | 44 | 39 | 27.5312 | 44.5707 | 2.2437
2002 | 12 | 75 | 43 | 50 | 27.9384 | 44.2657 | 2.2516
2002 | 12 | 75 | 42 | 75 | 28.1349 | 42.4156 | 2.2594
2002 | 12 | 75 | 41 | 100 | 28.3313 | 41.0296 | 2.2593
2002 | 12 | 75 | 40 | 125 | 31.2591 | 46.5986 | 2.4485
2002 | 12 | 75 | 39 | 150 | 33.1341 | 47.918 | 2.5266
2002 | 12 | 75 | 38 | 175 | 34.1155 | 51.871 | 2.6548
2002 | 12 | 75 | 37 | 200 | 34.4138 | 51.9529 | 2.6384
2002 | 12 | 75 | 37 | 217 | 34.4497 | 52.4223 | 2.6492
2002 | 12 | 72 | 61 | 0 | 26.8787 | 43.92 | 2.271
2002 | 12 | 72 | 60 | 5 | 26.9871 | 43.3797 | 2.2243
2002 | 12 | 72 | 59 | 10 | 26.8836 | 42.603 | 2.2296
2002 | 12 | 72 | 58 | 20 | 27.998 | 44.2963 | 2.3026
2002 | 12 | 72 | 57 | 30 | 28.6353 | 43.2103 | 2.3238
2002 | 12 | 72 | 56 | 40 | 28.8488 | 43.7458 | 2.3251
2002 | 12 | 72 | 55 | 50 | 28.6918 | 42.9686 | 2.2745
2002 | 12 | 72 | 54 | 75 | 29.1166 | 42.7319 | 2.3196
2002 | 12 | 72 | 53 | 100 | 31.8674 | 46.2803 | 2.4599
2002 | 12 | 72 | 52 | 125 | 33.9294 | 50.529 | 2.6469
2002 | 12 | 72 | 51 | 150 | 34.6686 | 50.7569 | 2.6609
2002 | 12 | 72 | 50 | 175 | 34.2979 | 49.3597 | 2.6512
2002 | 12 | 72 | 49 | 184 | 34.2971 | 50.5165 | 2.6297
2002 | 12 | 69 | 73 | 0 | 25.6465 | 43.2429 | 2.1221
2002 | 12 | 69 | 72 | 5 | 25.8047 | 43.3184 | 2.0992
2002 | 12 | 69 | 71 | 10 | 25.1195 | 41.8647 | 2.0906
2002 | 12 | 69 | 70 | 20 | 27.0194 | 45.535 | 2.134
2002 | 12 | 69 | 69 | 30 | 26.755 | 43.1626 | 2.1616
2002 | 12 | 69 | 68 | 40 | 27.9193 | 44.5393 | 2.1932
2002 | 12 | 69 | 67 | 50 | 28.2373 | 44.6918 | 2.2168
2002 | 12 | 69 | 66 | 75 | 28.5025 | 43.2363 | 2.213
2002 | 12 | 69 | 65 | 100 | 31.5368 | 46.6064 | 2.3855
2002 | 12 | 69 | 64 | 125 | 33.3562 | 48.9837 | 2.4912
2002 | 12 | 69 | 63 | 150 | 33.4098 | 49.0613 | 2.5107
2002 | 12 | 69 | 62 | 173 | 29.8309 | 44.8425 | 2.5106
2002 | 12 | ADCP | 83 | 1 | 23.6382 | 41.7717 | 2.0401
2002 | 12 | ADCP | 82 | 5 | 24.3663 | 41.2373 | 2.1041
2002 | 12 | ADCP | 81 | 10 | 24.7791 | 42.1701 | 2.1043
2002 | 12 | ADCP | 80 | 20 | 25.9791 | 43.5666 | 2.2039
2002 | 12 | ADCP | 79 | 30 | 27.1784 | 44.9641 | 2.2713
2002 | 12 | ADCP | 78 | 40 | 27.4853 | 43.888 | 2.2711
2002 | 12 | ADCP | 77 | 50 | 27.6347 | 43.9715 | 2.2591
2002 | 12 | ADCP | 76 | 75 | 30.5629 | 44.9053 | 2.4044
2002 | 12 | ADCP | 75 | 99.6 | 30.3447 | 44.2929 | 2.4157
2002 | 12 | ADCP | 74 | 113 | 30.7029 | 44.4537 | 2.3997
2002 | 12 | 62 | 94 | 0 | 24.0929 | 40.8069 | 2.1663
2002 | 12 | 62 | 93 | 5 | 24.6055 | 40.2623 | 2.0624
2002 | 12 | 62 | 92 | 10 | 24.3587 | 40.4148 | 2.0643
2002 | 12 | 62 | 91 | 20 | 24.9219 | 40.0251 | 2.1171
2002 | 12 | 62 | 90 | 30 | 25.4343 | 40.7972 | 2.1072
2002 | 12 | 62 | 89 | 40 | 25.2888 | 38.5491 | 2.1169
2002 | 12 | 62 | 88 | 50 | 25.7001 | 40.25 | 2.1188
2002 | 12 | 62 | 87 | 75 | 27.0224 | 41.6423 | 2.1755
2002 | 12 | 62 | 86 | 100 | 28.5464 | 42.3377 | 2.2675
2002 | 12 | 62 | 85 | 125 | 29.7157 | 42.8783 | 2.3086
2002 | 12 | 62 | 84 | 150 | 29.7723 | 42.1803 | 2.3518
2002 | 12 | 65 | 104 | 0 | 23.5702 | 40.8736 | 2.1097
2002 | 12 | 65 | 103 | 5 | 23.6252 | 41.9515 | 2.1137
2002 | 12 | 65 | 102 | 10 | 24.4193 | 39.556 | 2.1543
2002 | 12 | 65 | 101 | 20 | 25.3189 | 42.0232 | 2.1589
2002 | 12 | 65 | 100 | 30 | 26.6404 | 43.7196 | 2.2593
2002 | 12 | 65 | 99 | 40 | 27.0115 | 43.9487 | 2.2519
2002 | 12 | 65 | 98 | 50 | 27.8045 | 43.7914 | 2.3122
2002 | 12 | 65 | 97 | 75 | 29.1777 | 44.716 | 2.3684
2002 | 12 | 65 | 96 | 100 | 29.8645 | 44.8679 | 2.4087
2002 | 12 | 65 | 95 | 121 | 30.4454 | 44.6334 | 2.437
2002 | 12 | 56 | 118 | 1 | 21.065 | 36.0318 | 1.9366
2002 | 12 | 56 | 117 | 5 | 21.8637 | 37.3781 | 1.9757
2002 | 12 | 56 | 116 | 10 | 23.067 | 39.1636 | 2.0191
2002 | 12 | 56 | 115 | 20 | 23.8141 | 40.7179 | 2.1135
2002 | 12 | 56 | 114 | 30 | 23.8017 | 40.4907 | 2.11
2002 | 12 | 56 | 113 | 40 | 24.1435 | 41.038 | 2.1338
2002 | 12 | 56 | 112 | 50 | 23.5234 | 39.1075 | 2.1107
2002 | 12 | 56 | 111 | 75 | 24.5233 | 40.6611 | 2.1071
2002 | 12 | 56 | 110 | 99 | 24.8144 | 40.3566 | 2.0879
2002 | 12 | 56 | 109 | 124 | 24.9536 | 40.7489 | 2.1001
2002 | 12 | 56 | 108 | 150 | 26.1055 | 41.8381 | 2.2538
2002 | 12 | 56 | 107 | 176 | 26.8019 | 42.4626 | 2.2385
2002 | 12 | 56 | 106 | 186 | 26.7892 | 42.4676 | 2.2822
2002 | 12 | 56 | 105 | 200 | 26.878 | 43.1695 | 2.2354
2002 | 12 | 46 | 131 | 1.33 | 0.9245 | 3.1033 | 0.49108
2002 | 12 | 46 | 130 | 5 | 13.5548 | 20.2497 | 1.5303
2002 | 12 | 46 | 129 | 10 | 14.6729 | 26.1647 | 2.1045
2002 | 12 | 46 | 128 | 20 | 26.0703 | 45.0059 | 2.2883
2002 | 12 | 46 | 127 | 30 | 24.7936 | 42.7626 | 2.3085
2002 | 12 | 46 | 126 | 40 | 26.537 | 45.6996 | 2.3154
2002 | 12 | 46 | 125 | 50 | 24.7255 | 43.3679 | 2.2011
2002 | 12 | 46 | 124 | 75 | 22.4583 | 37.8641 | 1.9419
2002 | 12 | 46 | 123 | 100 | 23.2791 | 38.1681 | 2.0669
2002 | 12 | 46 | 122 | 126 | 24.8089 | 40.0207 | 2.1252
2002 | 12 | 46 | 121 | 150 | 25.1744 | 39.8606 | 2.1601
2002 | 12 | 46 | 120 | 174 | 25.399 | 39.676 | 2.2543
2002 | 12 | 46 | 119 | 174 | 25.641 | 41.3275 | 2.2537
2002 | 12 | 42 | 147 | 0 | 0.50186 | 6.9272 | 0.27736 | 0 turbidity adjustment
2002 | 12 | 42 | 146 | 5 | 1.5469 | 5.7833 | 0.56873
2002 | 12 | 42 | 145 | 10 | 11.7889 | 20.7981 | 1.416
2002 | 12 | 42 | 144 | 20 | 19.1042 | 33.2344 | 1.9027
2002 | 12 | 42 | 143 | 30 | 24.1726 | 42.7829 | 2.2283
2002 | 12 | 42 | 142 | 40 | 28.7148 | 51.427 | 2.4916
2002 | 12 | 42 | 141 | 50 | 29.8841 | 54.4153 | 2.5661
2002 | 12 | 42 | 140 | 75 | 29.8841 | 52.6556 | 2.5307
2002 | 12 | 42 | 139 | 101 | 28.7679 | 51.125 | 2.4601
2002 | 12 | 42 | 138 | 125 | 28.4495 | 51.0497 | 2.413
2002 | 12 | 42 | 137 | 150 | 28.5025 | 51.8944 | 2.3855
2002 | 12 | 42 | 136 | 175 | 27.4956 | 49.5955 | 2.3934
2002 | 12 | 42 | 135 | 200 | 29.3522 | 55.8892 | 2.5812
2002 | 12 | 42 | 134 | 249 | 30.0437 | 58.966 | 2.8349
2002 | 12 | 42 | 133 | 300 | 30.2035 | 62.7401 | 2.9632
2002 | 12 | 42 | 132 | 320 | 28.821 | 58.8976 | 2.815
please see notation
2002 | 12 | 39 | 164 | 0 | 0.034924 | 2.3145 | 0.24948 | -0.56508 | 0.034924
2002 | 12 | 39 | 163 | 5 | 1.1651 | 2.9264 | 0.34929 | 0.56508 | 1.1651
2002 | 12 | 39 | 162 | 10 | 15.3015 | 21.8022 | 1.5523 | 14.7015 | 15.3015
2002 | 12 | 39 | 161 | 20 | 27.8017 | 46.3174 | 2.3895 | 27.2017 | 27.8017
2002 | 12 | 39 | 160 | 30 | 29.6743 | 51.4719 | 2.4951 | 29.0743 | 29.6743
2002 | 12 | 39 | 159 | 40 | 28.5298 | 48.4513 | 2.3227 | 27.9298 | 28.5298
2002 | 12 | 39 | 158 | 50 | 28.1657 | 48.4382 | 2.2913 | 27.5657 | 28.1657
2002 | 12 | 39 | 157 | 75 | 29.7263 | 52.9671 | 2.4523 | 29.1263 | 29.7263
2002 | 12 | 39 | 156 | 100 | 29.154 | 51.3348 | 2.4013 | 28.554 | 29.154
2002 | 12 | 39 | 155 | 125 | 29.0499 | 51.781 | 2.3973 | 28.4499 | 29.0499
2002 | 12 | 39 | 154 | 150 | 29.206 | 54.0711 | 2.7027 | 28.606 | 29.206
2002 | 12 | 39 | 153 | 175 | 29.3621 | 54.5149 | 2.5422 | 28.7621 | 29.3621
2002 | 12 | 39 | 152 | 201 | 29.8304 | 56.954 | 2.5734 | 29.2304 | 29.8304
2002 | 12 | 39 | 151 | 251 | 30.559 | 60.5413 | 2.8037 | 29.9591 | 30.559
2002 | 12 | 39 | 150 | 300 | 30.6632 | 60.1355 | 2.8659 | 30.0632 | 30.6632
2002 | 12 | 39 | 149 | 350 | 30.3508 | 63.333 | 2.994 | 29.7508 | 30.3508
2002 | 12 | 39 | 148 | 378 | 30.8193 | 67.2145 | 3.1374 | 30.2193 | 30.8193
2002 | 12 | 27 | 180 | 0 | 0 | 3.9395 | 0.41937
2002 | 12 | 27 | 179 | 5 | 0.13504 | 3.2553 | 0.43998
2002 | 12 | 27 | 178 | 10 | 1.3557 | 6.011 | 0.65903
2002 | 12 | 27 | 177 | 20 | 22.7421 | 39.3013 | 2.2398
2002 | 12 | 27 | 176 | 30 | 26.6346 | 48.1151 | 2.569
2002 | 12 | 27 | 175 | 40 | 29.4191 | 52.8428 | 2.5418
2002 | 12 | 27 | 174 | 50 | 28.4626 | 51.9178 | 2.5799
2002 | 12 | 27 | 173 | 75 | 28.7705 | 52.3873 | 2.5822
2002 | 12 | 27 | 172 | 100 | 27.604 | 48.2108 | 2.3653
2002 | 12 | 27 | 171 | 125 | 19.3857 | 36.3189 | 2.4974
2002 | 12 | 27 | 170 | 150 | 28.9038 | 52.4012 | 2.4863
2002 | 12 | 27 | 169 | 175 | 28.9482 | 54.1107 | 2.6031
2002 | 12 | 27 | 168 | 200 | 29.6763 | 56.5966 | 2.554
2002 | 12 | 27 | 167 | 250 | 30.0359 | 60.7147 | 2.8464
2002 | 12 | 27 | 166 | 300 | 30.3428 | 61.263 | 2.8855
2002 | 12 | 27 | 165 | 345 | 30.2816 | 64.9977 | 2.2197
2002 | 12 | 2 | 195 | 1 | 1.5427 | 8.1102 | 0.69091
2002 | 12 | 2 | 194 | 5 | 1.6972 | 8.5823 | 0.75841
2002 | 12 | 2 | 193 | 10 | 2.9327 | 10.3502 | 0.82729
2002 | 12 | 2 | 192 | 20 | 22.9935 | 41.7978 | 2.248
2002 | 12 | 2 | 191 | 30 | 28.9702 | 53.9858 | 2.5738
2002 | 12 | 2 | 190 | 40 | 29.907 | 55.817 | 2.5736
2002 | 12 | 2 | 189 | 50 | 29.5947 | 54.9426 | 2.5577
2002 | 12 | 2 | 188 | 75 | 29.1263 | 52.373 | 2.4833
2002 | 12 | 2 | 187 | 100 | 28.9702 | 52.8128 | 2.4681
2002 | 12 | 2 | 186 | 125 | 28.2419 | 50.7901 | 2.4013
2002 | 12 | 2 | 185 | 150 | 28.502 | 52.4599 | 2.4444
2002 | 12 | 2 | 184 | 175 | 28.3459 | 52.4376 | 2.46
2002 | 12 | 2 | 183 | 200 | 27.3057 | 54.1802 | 2.6283
2002 | 12 | 2 | 182 | 250 | 29.907 | 60.5949 | 2.7843
2002 | 12 | 2 | 181 | 250 | 29.6988 | 61.0241 | 2.7918
2002 | 12 | 6 | 222 | 10 | 4.8992 | 12.8497 | 1.0955
2002 | 12 | 6 | 221 | 20 | 6.1067 | 15.2085 | 1.1272
2002 | 12 | 6 | 220 | 30 | 10.4629 | 22.3702 | 1.4561
2002 | 12 | 6 | 219 | 40 | 28.8741 | 54.0485 | 2.82
2002 | 12 | 6 | 218 | 50 | 29.7777 | 55.7398 | 2.6164
2002 | 12 | 6 | 217 | 75 | 30.4166 | 56.587 | 2.6317
2002 | 12 | 6 | 216 | 100 | 28.0253 | 52.3628 | 2.5819
2002 | 12 | 6 | 215 | 125 | 28.9272 | 52.4407 | 2.4091
2002 | 12 | 6 | 214 | 150 | 28.3964 | 51.8271 | 2.3934
2002 | 12 | 6 | 213 | 175 | 28.821 | 54.2877 | 2.4912
2002 | 12 | 6 | 212 | 184 | 29.2459 | 55.443 | 2.5536
2002 | 12 | 9 | 236 | 0 | 17.1344 | 32.4001 | 2.5466
2002 | 12 | 9 | 235 | 5 | 16.2044 | 30.4902 | 1.8937
2002 | 12 | 9 | 234 | 10 | 17.2895 | 31.7842 | 1.9096
2002 | 12 | 9 | 233 | 20 | 19.676 | 36.898 | 2.187
2002 | 12 | 9 | 232 | 30 | 25.8047 | 48.5957 | 2.4601
2002 | 12 | 9 | 231 | 40 | 29.7245 | 55.6438 | 2.6716
2002 | 12 | 9 | 230 | 50 | 30.2567 | 55.4179 | 2.6402
2002 | 12 | 9 | 229 | 75 | 30.4698 | 55.5753 | 2.6283
2002 | 12 | 9 | 228 | 100 | 27.8133 | 52.3565 | 2.6556
2002 | 12 | 9 | 227 | 125 | 30.3633 | 57.2734 | 2.6555
2002 | 12 | 9 | 226 | 150 | 30.1502 | 61.4312 | 2.7022
2002 | 12 | 9 | 225 | 165 | 30.5764 | 65.2899 | 2.8697
2002 | 12 | 12 | 252 | 0 | 3.9368 | 11.0202 | 0.94459
2002 | 12 | 12 | 251 | 5 | 4.0901 | 11.3315 | 0.88112
2002 | 12 | 12 | 250 | 10 | 4.612 | 11.2601 | 1.026
2002 | 12 | 12 | 249 | 20 | 5.6072 | 12.1075 | 1.1258
2002 | 12 | 12 | 248 | 30 | 16.4437 | 31.8504 | 1.9352
2002 | 12 | 12 | 247 | 40 | 28.5385 | 55.0406 | 2.5894
2002 | 12 | 12 | 246 | 50 | 28.3682 | 53.4202 | 2.5973
2002 | 12 | 12 | 245 | 75 | 29.9334 | 54.1251 | 2.6795
2002 | 12 | 12 | 244 | 100 | 30.4461 | 57.0017 | 2.714
2002 | 12 | 12 | 243 | 125 | 29.2767 | 54.306 | 2.6227
2002 | 12 | 12 | 242 | 150 | 28.9491 | 53.6919 | 2.445
2002 | 12 | 12 | 241 | 175 | 29.409 | 55.636 | 2.6173
2002 | 12 | 12 | 240 | 200 | 29.9211 | 57.814 | 2.7063
2002 | 12 | 12 | 239 | 250 | 29.8556 | 58.6737 | 2.6275
2002 | 12 | 12 | 238 | 300 | 30.2621 | 63.0287 | 2.8554
2002 | 12 | 12 | 237 | 351 | 29.9871 | 67.5447 | 2.9387
2002 | 12 | 14 | 268 | 0 | 12.3893 | 23.9617 | 1.5806
2002 | 12 | 14 | 267 | 5 | 12.5525 | 23.9582 | 1.6035
2002 | 12 | 14 | 266 | 10 | 14.0876 | 27.032 | 1.6872
2002 | 12 | 14 | 265 | 20 | 28.8974 | 53.7239 | 2.6577
2002 | 12 | 14 | 264 | 30 | 28.5281 | 54.4176 | 2.5849
2002 | 12 | 14 | 263 | 40 | 28.4238 | 54.1055 | 2.5951
2002 | 12 | 14 | 262 | 50 | 28.6899 | 54.4899 | 2.5973
2002 | 12 | 14 | 261 | 75 | 29.9612 | 55.4163 | 2.6944
2002 | 12 | 14 | 260 | 100 | 30.2267 | 56.7304 | 2.7165
2002 | 12 | 14 | 259 | 125 | 30.4921 | 57.1155 | 2.7464
2002 | 12 | 14 | 258 | 150 | 30.2286 | 56.8809 | 2.7605
2002 | 12 | 14 | 257 | 175 | 30.2824 | 59.2043 | 2.7865
2002 | 12 | 14 | 256 | 200 | 30.072 | 58.2718 | 2.7612
2002 | 12 | 14 | 255 | 250 | 30.2842 | 61.9164 | 2.8305
2002 | 12 | 14 | 254 | 300 | 30.3907 | 66.2655 | 2.9155
2002 | 12 | 14 | 253 | 308 | 30.4443 | 67.1203 | 2.9375
2002 | 12 | 16 | 279 | 1.9 | 23.0121 | 43.8428 | 2.2657
2002 | 12 | 16 | 278 | 5 | 26.4034 | 49.942 | 2.4593
2002 | 12 | 16 | 277 | 10 | 26.7228 | 50.7899 | 2.4568
2002 | 12 | 16 | 276 | 20 | 26.1948 | 50.1693 | 2.4867
2002 | 12 | 16 | 275 | 30 | 25.8259 | 49.6258 | 2.4889
2002 | 12 | 16 | 274 | 40 | 26.7275 | 51.4017 | 2.5029
2002 | 12 | 16 | 273 | 50 | 27.3641 | 52.637 | 2.4615
2002 | 12 | 16 | 272 | 75 | 27.5772 | 51.7067 | 2.5639
2002 | 12 | 16 | 271 | 100 | 28.7427 | 55.5737 | 2.645
2002 | 12 | 16 | 270 | 125 | 29.9608 | 57.8178 | 2.7813
2002 | 12 | 16 | 269 | 151 | 30.2791 | 57.8937 | 2.7716
2002 | 12 | 102 | 35 | 0.63 | 18.9676 | 30.9968 | 1.8018
2002 | 12 | 102 | 34 | 5 | 26.0483 | 41.5888 | 2.0862
2002 | 12 | 102 | 33 | 10 | 25.9914 | 42.2885 | 2.1432
2002 | 12 | 102 | 32 | 20 | 26.9978 | 42.7558 | 2.1766
2002 | 12 | 102 | 31 | 30 | 27.2953 | 42.9906 | 2.2219
2002 | 12 | 102 | 30 | 40 | 27.7448 | 43.3803 | 2.2318
2002 | 12 | 102 | 29 | 50 | 27.5867 | 42.1429 | 2.226
2002 | 12 | 102 | 28 | 74 | 27.9856 | 39.2809 | 2.1966
2002 | 12 | 102 | 27 | 100 | 30.1582 | 42.9998 | 2.3362
2002 | 12 | 102 | 26 | 125 | 31.6226 | 45.56 | 2.4641
2002 | 12 | 102 | 25 | 150 | 32.2255 | 46.26 | 2.478
2002 | 12 | 102 | 24 | 175 | 33.2855 | 49.1332 | 2.5429
2002 | 12 | 102 | 23 | 200 | 33.4324 | 49.4456 | 2.5528
2002 | 12 | 102 | 22 | 241 | 34.392 | 52.3213 | 2.6413
2002 | 12 | 102 | 21 | 241 | 34.1328 | 53.7996 | 2.6434
Note on F168: whiteli: The surface sample was less than the autoanayser baseline by 0.6um/l, so, 0.6 um/l was added to all values in this profile
Note on G113: whiteli: no comments for this value on log sheets