File List for SeaBird Data

Cruise Number: _2002-19____

[osapcommon.ctd.2002-19]

*.hdr - original files from SeaSave

*.dat - 		“

*.con -     	“

[osapcommon.ctd.2002-19.doc].

2002-19_proc.doc - processing notes

2002-19_file.doc - this document

2219rcal.ccf – recalibration file

2002-19-header.txt – note to be added to headers of all casts except #12

2002-19-header.txt – note to be added to headers of cast #12

[osapcommon.ctd.2002-19.convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[osapcommon.ctd.2002-19.derive]

*.cnv - data after running ALIGNCTD, WILDEDIT, CELLTM and DERIVE (for S0, S1)

[osapcommon.ctd.2002-19.ios]

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del – after DELETE, downcast data for 1-111, upcast for 81(called 9981)

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT.

*.rev – reverse of cast 12 after conversion and cleaning

Delete.log - log from routine DELETE