File List for SeaBird Data

Cruise Number: _2002-20____

[osapcommon\ctd\2002-20\]

*.bl - original files from SeaSave

*.con - 		“

*.dat -      	“

*.hdr -		“

JWACS-pr-cal.ccf – recalibration file for pressure

2223rcal1.ccf – recalibration file for oxygen

2223rcal2.ccf - 		“

2220blnk.hdr – header info for CTD files

2220files.txt – list of files

[osapcommon\ctd\2002-20\doc]

2002-20proc.doc - processing notes

2002-20_file.doc - this document

JWACS-2002-sal-calibration.doc – discussion of salinity calibration for 3 cruises

JWACS-2002-DOX-calibration.doc – discussion of DOX calibration for 3 cruises

2002-20-stations.xls – spreadsheet of station locations, times

[work2.ctd.2002-20.convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[work2.ctd.2002-20.derive]

*.cnv - data after running ALIGNCTD, WILDEDIT, CELLTM and DERIVE (for S0, S1)

[work2.ctd.2002-20.ios]

*.avg - data after metre-averaging using BINAVE

*.cln – after event numbers added to *.ios

*.ctd - final files

*.del – after DELETE on main files

*.edt - data after editing has been done

*.ios - data after conversion to IOS HEADERS

*.log and *.lo& - log files created by CTDEDIT

Delete.log - log from routine DELETE

[work2.ctd.2002-20.hydro]

*.bot  - files created by converting *.ros files to IOS HEADERS

*.rac – edited, recalibrated rosette files averaged by bottle number

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity calibration files provided by Mary O’Brien

*.sam - *.bot files with sample numbers added

2220comp.csv &. xls – standard salinity comparison – bottles vs CTD rosette files

2220chl-test.xls – comparison of fluorometer and chlorophyll

compcast31.xls – comparison of titrated and CTD dissolved oxgyen – 1 cast only

Laurier2002WaterChl.xls – file from Mary O’Brien

DriftLaurier2002WaterO2.xls – file from Mary O’Brien