## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 14-Mar-2006 | The BOTTLE directory contained RAC files containing the CTD rosette files and Sal files containing the bottle salinity and nutrient data. I’m not sure why they weren’t merged. The file pairs were merged into CHE files. |
| 28May 2004 | RAC files recreated to include bottle numbers and sample numbers |

## PROCESSING NOTES

Cruise: 2002-20

Agency: IOS, Ocean Science and Productivity, Sidney, B.C.

Location: North-West Pacific

Project: Joint Western Arctic Climate Study

Party Chief: Bon van Hardenberg

Platform: Sir Wilfrid Laurier

Date: 6 July 2002 –11 August 2002

Processed by: Germaine Gatien

Date of Processing: 30 January 2003 – 20 March 2003

Number of original CTD casts: 32

Number of casts processed: 31 (cast #49 deleted)

# INSTRUMENT SUMMARY

A SeaBird Model SBE 911+ CTD (#0443) was mounted with Transmissometer #139, SBE 43 Dissolved Oxygen Sensor S/N #0052 and Seapoint Fluorometer S/N #2336 (cable gain unknown). The deck unit was S/N 0424. The oxygen sensor was mounted on the secondary pump. The fluorometer was unpumped.

# SUMMARY OF QUALITY AND CONCERNS

During later cruises serious leakage occurred during bottle sampling and there is some evidence of problems with this cruise as well.

The primary conductivity cell was cracked.

Transmissivity - The data are unedited.

Fluorescence:URU:Seapoint – The data are unedited. The data were converted as having a 30X gain. This is almost certainly wrong, but the correct gain is unknown and may not even be constant. This data channel should be used with great caution.

Oxygen:Dissolved:SBE – The quality of this data is limited by poor time-response, the significant pressure hysteresis below 1000db and the problems with bottles mentioned above.

The anticipated errors in oxygen are:

·   ±0.4 ml/l  from 0 to 100m

·   ±0.15 ml/l  from 100 to 2500m

·   0 to -0.25 ml/l below 2500m

# PROCESSING SUMMARY

##### Seasave

- This step was completed at sea; the raw data files have extension DAT.

##### Preliminary Steps

- The Log Book was obtained.

- Salinity calibration data were obtained.

- There is extracted chlorophyll data available; titrated dissolved oxygen was available for only 1 cast at the time of processing.

- The cruise summary sheet was completed.

- The configuration files were obtained and the calibration constants were checked. The same con file was used in acquisition for all casts except #45 and 47. For #45 and 47 the NMEA setting was NO.

- The fluorometer gain is entered as 10x for this cruise and 30x for 2002-23. Bon van Hardenberg says that 30X was used for 2002-20 as well. However, the cable was set up to serve both transmissometer and fluorometer which may have influenced the gain on the fluorometer. This was changed at some point, but it is unknown exactly when.

- There is no history for either the conductivity or oxygen sensors.

##### Conversion of Raw Data

- The raw data was converted using configuration file 2002-20-0443-0139.con. There is some question about the gain of the fluorometer. When chlorophyll data is available checks should be made.

- The output for cast #49 contained nothing useful until some repair routines were performed on the DAT file. It appears that someone tried to edit the DAT file. After repairs conversion produced understandable results, but the temperatures are not believable and the primary and secondary do not agree with each other. The pressures, transmissivity, fluorescence and oxygen may be ok. They will need to be checked against calibration samples where possible. The conductivity may be ok and primary and secondary match. A note in the log mentions that after the previous cast the rosette hit the deck hard and caused some damage.  The cast will probably have to be deleted, but for the time being I will process it. Fortunately, the data for cast #50 looks ok at a glance. That too will have to be checked against bottles where possible.

- Casts #45 and 47 look ok, although missing NMEA data.

- A preliminary check shows all expected channels present.

- There are significant differences between the primary and secondary pumped channels with features in the secondary not seen in the primary. Fortunately the problems seem to be only in the upcast sections and may be related to the surges noted in the log. Checks will need to be made later to determine whether these problems affect the downcasts and care will need to be taken in how the comparisons with bottles are done.

- The fluorescence values are extremely low, especially early in the cruise. The dark value is about 0.012mg/l.

- Transmissivity values at depth show a lot of variation and have values of about 86% (0.25m path)

- The oxygen sensor shows some evidence of the time-response problems, but there is more detail than has been observed with sensor #47, so the problems may not be as severe.

##### WILDEDIT

- Program WILDEDIT was used to remove spikes from all channels since there are a lot of spikes. Parameters used were: 	Pass 1    Std Dev = 2

- Pass 2    Std Dev = 5

- Points per block = 50

##### ALIGNCTD

- ALIGNCTD was used to advance the secondary conductivity by +0.073s since this deck unit advances only the primary sensor. Fine-tuning of the alignment will be done using SHIFT later in the processing.

##### CELLTM

- Tests were run on casts #23 and 37 to find the optimal parameter choice for CELLTM. Runs using  (0.02,7), (0.02,9), (0.03,7), (0.03,9), and (0.0245,9.5) were used for (alpha, 1/beta). The best choice was found to be (0.03,9) for the primary and either (0.0245,9.5) or (0.03,9) for the secondary conductivity. The secondary looked slightly better than the primary.

- During 2002-23 similar results were found but (0.0245,9.5) was not as good as (0.03,9) for the primary.

- During 2002-21 the primary was most improved using (0.03,9) but nothing improved the secondary. For 2002-20 CELLTM was run on all casts using (0.03,9) for both pairs of sensors.

##### DERIVE

- Program DERIVE was run twice:

- on all casts to calculate primary and secondary salinity.

- on all casts to calculate the differences between primary and secondary channels for temperature, conductivity and salinity and to calculate the descent rate. These were placed in a test directory and will not be archived.

##### Test Plots and Channel Check

Four casts were plotted to check for agreement between the pairs of T and C sensors at the bottom of the casts.

All expected channels were present.

| Cast # | Max. Press | T1-T0 | C1-C0 | S1-S0 | Descent Rate |
| --- | --- | --- | --- | --- | --- |
| 21 | 200 | -0.0005 | -0.0005 | -0.0054 | ~1 upcast ok |
| 23 | 525 | -0.0007 | ~0 | +0.0003 | ~1 upcast ok |
| 24 | 1020 | -0.0006 | +0.00015 | +0.0024 | ~1 upcast extremely noisy |
| 27 | 2100 | -0.0006 | -0.0003 | +0.0045 | ~1 upcast extremely noisy |

The temperature differences are steady, but the conductivity and salinity differences appear to change with time. However, the maximum pressures are different so cast #27 was examined to see what the differences were at the depths of the other observations. The salinity differences at 1000 db, 500db and 200db are about +0.0025, 0 and –0.007 which are quite close to the values for the bottom of casts 24, 23 and 21 respectively. What appeared to be a time-dependence is, in fact, a pressure-dependence. At this point it is impossible to say which sensors are at fault. The pressure-dependence in the differences disappears in the upcasts, perhaps the noisiness of the upcasts caused higher differences on the way up.

In checking the descent rate it was noted that for casts #24 and 27 the upcast descent rate was extremely noisy. The downcasts had a reasonably steady descent rate. There are notes in the log about surging in the retrieve cycle.

##### 9.  Conversion to IOS Headers

The IOSSHELL routine was used to convert SEA-Bird 911+ data to IOS Headers. CLEAN was run to add event numbers to the headers based on the last 4 digits of the file names.

The ROS files were converted to IOS files, and CLEAN was run to add the event numbers to the headers;  the output extension was BOT.

##### 10. Checking Headers

A header check was run and indicated that positions were missing from some casts; NMEA was not working for casts #45 and 47. The positions were entered into the IOS Headers and the time corrected using Daily Log entries. The time in those two files was local and had the wrong year. The header check was rerun and no errors found.

A header summary was then produced. Errors in station names were corrected in the headers for casts #37 & 75 in both the CTD and rosette files.

The average surface pressure is –0.142 db. Checks on the pressure at the surface suggest a small offset (about -0.6db) with no indication of hysteresis.

The mixed layer is not thick enough for surface salinity comparisons to be useful.

The cruise track was plotted and looked reasonable.

##### Test Plots

- All casts were plotted and checked for evidence of problems with the processing or instruments.

- There were no initial downcast sections needing to be removed.

- The primary and secondary sensors are in reasonable agreement, but there is a lot more noise in the upcasts than the downcasts.

- During the stops for upcast bottles the values of T and S gradually move towards the downcast values; this is very clear during the shallow cast #63. The CTD upcast values appear to be representative of conditions about 2m below the CTD.

- Transmissivity values below 300db are on the order of 55-60%. There is a lot of drift between downcast and upcast values at all depths.

- Fluorometer dark values are consistently about 0.012mg/l and unusually free of noise.

- The dissolved oxygen sensor has the usual time-response problems, lacking detail in the profiles and showing more difference between up and downcasts than are seen in temperature or salinity.

##### COMPARE

- For this cruise all bottles were tripped during upcasts while stopped. Plots of the rosette files showed a lot of noise for casts #31 and #39. When examined in CTDEDIT the noise appears quite general, no particular records that one would choose to remove. Closer examination of the CTD files shows that the wait was either very short or non-existent for some of the bottles during those casts. The problematic bottles are all shallow so will not be used for the salinity calibration. Care should be taken with the following bottles when oxygen and fluorescence are examined:

- cast #31 – All in question especially from 20-60db where variations are large.

- cast #39 -  For bottles 1-4 (55-60db) there was almost no wait. Bottles 23 and 24 at the surface were a bit quick. The rest are ok.

- No editing was done to the BOT files.

###### SALINITY

- COMPARE was run on the salinity channels vs bottles. When only bottles from 200 db downwards are included in the fit and outliers (differences between bottles and CTD > 0.03 rejected the primary salinity was found to be low by about 0.002 and the differences fairly flat with pressure and time. The secondary sensors were very close to the bottles, but showed some time and pressure-dependence. There is a lot of scatter in the results. The time-dependence analysis was based on samples from all depths since there are only a few casts deeper than 200 db. (See 2220comp.xls)

- BAD BOTTLES – Two deep bottles were rejected from COMPARE. Before declaring that the bottles were bad the CTD records were examined too, since the descent rate was very noisy for both casts and there was not always a stop for bottles. For cast #24 there was no stop for the bottle at 775.75db (sample #38, bottle #3), but the results are much further off than can be explained by noise in salinity caused by that. For cast #27 the bottle at the bottom of the cast (2093.3db, sample #50 , bottle #1) there was a stop and the bottle salinity is very different from the CTD. Mary O’Brien was informed about these two bottles.

###### DISSOLVED OXYGEN

- There was very little sampling for dissolved oxygen during this cruise and that was at shallow stations with well-mixed water so that the DOX range was very limited. There is much more data available for cruise 2002-23. For cast #2002-20-0031 the differences between bottles and sensor are lower than during 2002-23, but these results are not likely to be appropriate to most of the other casts which sampled water with much larger gradients of dissolved oxygen and hence will suffer bigger problems due to time-response problems.

###### FLUORESCENCE

- At the time of processing the extracted chlorophyll data was not in a format to be used in COMPARE. However a brief analysis was done which shows that the fluorometer values are extremely low compared to the chlorophyll. Naturally the question that arises is whether the gain is correct. The configuration files used at sea indicate a gain of 10X (range 0-15ug/l). But Bon believes that it was actually 30X (0-5ug/l), and 30X was the gain that was used for 2002-21 and 2002-23. Bon remembers how it was set up and he anticipated that the wiring might lead to some minor problems, with the fluorometer gain being affected by the transmissometer. Later this set-up was changed but he does not know whether it was during 2002-20 or after. Based on Bon's information I converted the data for all the JWACS cruises using a 30X gain.

- We don’t expect fluorescence and chlorophyll to be the same, but in this data the fluorescence is 10 to 30 times lower which might indicate a problem with the gain. The values increased notably after cast #61, but so did the chlorophyll so this does not suggest a change of gain. If the gain were actually 3X instead of 30X this would cause an error of exactly 10. Just multiplying by 10 is tempting, but it is impossible to ascertain if the gain was the same for the whole cruise. Moreover, even with such a recalibration the fluorescence values are low based on previous experience and compared to the results of 2002-23. We could go a step further and say the gain was really 1X, then multiply by 30 and that produces the most believable values. There is the possibility that the gain was variable (a function of transmissivity) so it is perhaps best to leave the data as they are with a warning in the headers.

- The values for 2002-23 are in reasonable agreement with the chlorophyll sampling with fluorescence averaging about 2.4 times the chlorophyll. Those values are not out of line with other data I have seen - usually the higher the chlorophyll the closer that ratio comes to 1 and the ratio tends to be closer to 1 at night. There was no chlorophyll sampling during 2002-21.

##### CONDUCTIVITY and OXYGEN SHIFTS

- Alignment tests were done on a few casts to establish what if any shifting of the conductivity channels improves the spikiness of the salinity. The shifted files were put through DELETE and displayed on a T-S surface to determine the setting that “just” removes instabilities without oversmoothing. Of course, there is no perfect setting since variations in the descent rate affect the alignment, but testing on a few spiky sections led to clear choices of optimal parameters. The primary conductivity was advanced by +0.2 records and the secondary by –0.6 records.

- An initial estimate of the offset of up and downcast traces shows that it is about 10 to 12m greater than that for temperature. (Because the resolution was reasonably good, similar features in upcast and downcast could be picked out to judge the vertical separation.) So a SHIFT of about 5 to 6s is a first guess. Tests were run using a SHIFT advance of +120 to +180 records and a setting of +150 was found to do the best job of making the upcast data overlie the downcast in a similar fashion to the temperature channel. Using this standard allows for changes due to internal wave.

##### DELETE

- CALIBRATE was run to add 0.8db to the pressure so that surface data will not be lost in DELETE.

- CLEAN was run to replace pad values in pressure with interpolated values.

- The following DELETE parameters were used:

- Surface Record Removal: Last Press Min

- Maximum Surface Pressure (relative): 10.00

- Minimum Salinity: 10   	Pressure Tolerance: 1.0

- Pressure filtered over 15 points

- Swells deleted. Warning message if pressure difference of 2.00

- Drop rates < 0.3m/s (calculated over 11 points) was deleted between 10db and 10db above the maximum pressure.

- Sample interval =  .042 seconds (taken from the header entry)

- The log file was examined and no warnings found.

##### DETAILED EDITING

- The DEL files were copied to EDT files.

- The secondary sensors were chosen for further processing because the post-cruise calibration was so close to the pre-cruise values.

- Page plots were produced using T1,S1. These plots were examined for spikes and instabilities and used to guide the use of CTDEDIT. Where unstable features were clearly due to shed wakes the data was removed. Salinity was cleaned where large spikes occurred. Small spikes (mostly “overshoots” in large T gradient areas) were cleaned only if it was clear they were due to imperfect alignment of T and C.

- The descent rate was generally quite steady and fairly high minimizing shed wakes. There were a lot of unstable features in the top 20db which are believed to be due to overturning caused by the ship’s propellers, bubblers etc. Heavy editing of secondary temperature and salinity was done near the surface but below that only salinity needed cleaning.  All casts required some editing.

- Note was made of the editing details in the relevant files.

##### BIN AVERAGE

- The following Bin Average values were applied to the edited files:

- Bin channel = pressure

- Averaging interval = 0.25	Minimum bin value =   .000

- Average value will be used.	Interpolated values are NOT used for empty bins.

- The same values were used for the BOT files except that the Bin Channel = Bottle Number.

- After averaging, page plots were examined on screen and no further editing was deemed necessary.

##### Other comparisons

- Previous experience with these sensors: None. The same sensors were used during 2002-23 and 2002-21 which followed this one.

- Historic ranges – None available

- Post-cruise calibration - There was a post-cruise calibration showing the following drifts:

- primary conductivity  	+0.0006 units

- secondary conductivity 	+0.0001

- primary temperature 	+0.00047 °C/yr

- secondary temperature 	+0.00102 °C/yr

- There is no net effect on secondary salinity but the primary salinity should be low by 0.007 at the time of the post-cruise calibration. Assuming that the drift was linear, after 5 months the net effect of these errors on salinity is to produce primary values low by about 0.003 for the primary. This is close to what was found in COMPARE. Since there was a cracked conductivity cell it is possible that there was a sudden change in calibration, but it does not appear to have happened prior to cast #27, the latest cast included in COMPARE. By the middle of 2002-23 it looks as if most of the drift has occurred. 2002-21 sampling was done on the fly during downcasts so is not simple to compare with this cruise.

- Comparison of near-by stations – T-S plots were made with several nearby stations displayed together. For casts #24 and 27, at a depth of about 1000m, the temperature and salinity differences along a line of constant s t were on the order of 0.014C°and 0.0014 units. These stations were about 15km apart. Other casts were very shallow so not useful for this purpose.

##### Recalibration

- See the document JWACS-2002-sal-calibration.doc for an analysis of salinity calibration information from 2002-20, 2002-23 and 2002-21. Based on this analysis the secondary salinity will be archived and will not be recalibrated.

- See the document JWACS-2002-DOX-calibration.doc for an analysis of the dissolved oxygen calibration information from 2002-20, 2002-23 and 2002-21. Based on this analysis the dissolved oxygen data will be recalibrated using the results of cruise 2002-23. The rosette files (BOT) will only be recalibrated using 2223rcal1.ccf since they are not subject to the time-response problem. The CTD files will be recalibrated using 2223rcal1.ccf and 2223rcal2.ccf.

- The fluorescence data will be not be recalibrated.

- The surface pressure (as judged by upcast conductivity) is about –0.5db, -0.8db and –0.9db for 2002-20, -23 and –21, respectively. A recalibration was done to add 0.8db to all three cruises.

##### Final Plots

- THIN and DERIVE were run to obtain values for tables and page plots were prepared using the edited data. Profile plots of temperature, transmissivity, dissolved oxygen and fluorescence were prepared.

##### REMOVE and REORDER

The following channels were removed from final bottle and CTD casts: Scan_Number, Temperature:Secondary, Salinity:T1:C1, Conductivity:Primary, Conductivity:Secondary and Flag.

The channels were reordered and formats corrected as needed.

EDIT HEADERS was used to correct header entries and to add the following notes to the CTD files:

Transmissivity - The data are unedited.

Fluorescence:URU:Seapoint - The data are unedited. The data were converted

assuming a 30X gain. This is almost certainly wrong, but the correct gain is

unknown and may not even be constant. This data channel should be used with

great caution.

Oxygen:Dissolved:SBE -The quality of this data is limited by poor time-response,

significant pressure hysteresis below 1000db and problems with rosette bottles.

The anticipated errors in oxygen are:

·   ±0.4 ml/l  from 0 to 100m

·   ±0.15 ml/l  from 100 to 2500m

·   0 to -0.25 ml/l below 2500m

The Standard Check routine was run and no problems found.

The final files were named CTD and RAC.

##### 14. Producing final files

A cross-reference listing was produced.

The sensor history was updated.

Particulars

- Log note about pump possibly not being on, but trace ok.

- Lowered to 75m after 50m bottle to re-do missed bottle.

CTD not stopped for most bottles. Bottle #3 around 760db - bad salinity.

27. Some bottles on the fly, others while stopped.  Bottle #1 at bottom - bad salinity.

31. Short stop time for some bottles.

36. Pump not on – station redone as cast #37

38. Note about problem with bottle #12.

39. Short stop time for some bottles.

45,47. NMEA not recorded. Year wrong and time zone PDT. Corrected

47. Rosette dropped hard on deck, check if calibration changes. Data looks odd in top 10m. Upcast looks different but unclear which is right.

49. File needed repair to be converted probably due to DAT file being edited. Repaired file has temperature data that is bad. Salinity values way off from bottles. Other data looks ok. Pumps not on until about 4.2db. Delete cast.

50. Temperature data looks ok.

# Institute of Ocean Sciences

CRUISE SUMMARY

Cruise ID#: 2002-20

Dates: Start: 6 July 2002 End: 11 August 2002

Location: North-West Pacific

Vessel: Sir Wilfrid Laurier

Party Chief: van Hardenberg B.

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 911+ | 0443 | Yes | Yes |

Institute of Ocean Sciences

# CTD Calibration Information

Make/Model/Serial#:	SEABIRD/911+/	0443

Cruise ID#:		2002-20

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 4044 | 15/02/02 | Factory |  |  |
| Conductivity | 2232 | 07/03/02 | “ |  |  |
| Secondary Temp. | 4109 | 14/03/02 | “ |  |  |
| Secondary Cond. | 2676 | 14/03/02 | “ |  |  |
| Fluorometer –pumped | 2336 | 08/01 | IOS |  |  |
| Oxygen SBE43 | 0043 | 06/08/01 | Factory |  |  |
| Transmissometer | 139 | 02/08/01 | IOS |  |  |
| Pressure Sensor | 63507 | 11/01/96 | Factory |  |  |