File List for SeaBird Data     	Cruise Number: _2002-22____

[osapcommon\ctd\2002-22\combined]

*.ctd files from both the SBE911+ and the SBE25

2002-22-0005.rac – bottle file from SBE 911+

[osapcommon\ctd\2002-22\doc]

2002-22proc.doc - processing notes

2002-22_file.doc - this document

JWACS-2002-dox-calibration.doc – discussion of DOX calibration for JWACS cruises (SBE911+)

JWACS-2002-sal-calibration.doc – discussion of salinity calibration for JWACS cruises (SBE 911+)

2222rcal1.ccf – recalibration file for dissolved oxygen (SBE911+) – step 1

2222rcal2.ccf – recalibration file for dissolved oxygen (SBE911+) – step 2

JWACS-pr-cal.ccf – recalibration file for pressure (SBE911+)

2002-22-press.ccf – recalibration file for pressure (SBE25)

[osapcommon\ctd\2002-22\sbe911]

2002-22-0005.bl - original files from SeaSave

2002-22-0005.con - 		“

2002-22-0005.dat -      		“

2002-22-0005.hdr -		“

[osapcommon\ctd\2002-22\sbe911.convert]

2002-22-0005.cnv - CTD file after conversion using DATCNV, no other processing done.

2002-22-0005.ros - bottle file after conversion using DATCNV, no other processing done

[osapcommon\ctd\2002-22\sbe911.derive]

2002-22-0005.cnv - data after running ALIGNCTD, WILDEDIT, CELLTM and DERIVE

[osapcommon\ctd\2002-22\sbe911.ios]

2002-22-0005.avg – 2nd cast after metre-averaging using BINAVE

2002-22-0005.bot – bottle file after conversion to IOS HEADERS

2002-22-0005.ctd - final file containing 2nd cast

2002-22-0005.del – 2nd cast after DELETE on main file

2002-22-0005.edt – 2nd cast after editing has been done

2002-22-0005.ios – data after conversion to IOS HEADERS and removal of first cast

2002-22-9905.ios - data after conversion to IOS HEADERS and removal of second cast

2002-22-0005.log and lo&  - log file created by CTDEDIT

2002-22-0005.org - data after conversion to IOS HEADERS, includes 2 casts

2002-22-0005.rac – final bottle file averaged by bottle number

Delete.log - log from routine DELETE

See other side for SBE 25 files

[osapcommon\ctd\2002-22\sbe25]

*.con - original files from SeaSave

*.hex - original files from SeaSave

[osapcommon.ctd.2002-22.sbe25.convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[osapcommon.ctd.2002-22.sbe25.derive]

*.cnv - data after running WILDEDIT, WFILTER, CELLTM and DERIVE

[osapcommon.ctd.2002-22.sbe25.ios]

*.avg - data after metre-averaging using BINAVE

*.clf – files after removal of initial downcast

*.cor – files after calibration of pressure

*.ctd - final files

*.del – after DELETE on main files

*.edt - data after editing has been done

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT

Delete.log - log from routine DELETE