File List for SeaBird Data     	Cruise Number: _2002-23____

[osapcommon\ctd\2002-23\]

*.bl - original files from SeaSave

*.con - 		“

*.dat -      	“

*.hdr -		“

2223rcal1.ccf – recalibration file for dissolved oxygen – step 1

2223rcal2.ccf – recalibration file for dissolved oxygen – step 2

JWACS-pr-cal.ccf – recalibration file for pressure

[osapcommon\ctd\2002-23\doc]

2002-23proc.doc - processing notes

2002-23_file.doc - this document

JWACS-2002-dox-calibration.doc – discussion of DOX calibration for 3 JWACS cruises

JWACS-2002-sal-calibration.doc – discussion of salinity calibration for 3 JWACS cruises

[work2.ctd.2002-23.convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[work2.ctd.2002-23.derive]

*.cnv - data after running ALIGNCTD, WILDEDIT, CELLTM and DERIVE (for S0, S1)

[work2.ctd.2002-23.ios]

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del – after DELETE on main files

*.edt - data after editing has been done

*.ios - data after conversion to IOS HEADERS

*.log and *.lo& - log files created by CTDEDIT

Delete.log - log from routine DELETE

[work2.ctd.2002-23.hydro]

*.bot  - files created by converting *.ros files to IOS HEADERS

*.ger – files with bottles salinity, dissolved oxygen and chlorophyll

*.log -  log file for edited bot files

*.rac – edited, recalibrated rosette files averaged by bottle number

*.ros  - rosette files created by DATCNV, no other processing done.

*.sam – bot files with sample numbers added; input to COMPARE

2223comp.csv &. xls – comparison of bottle salinity vs CTD rosette files

2223comp-dn.xls -comparison of bottle salinity vs CTD rosette files –downcast sampling

2223comp-up.xls -comparison of bottle salinity vs CTD rosette files –downcast sampling

2002-23-bottle.xls – comparison of CTD-bottle salinity by bottle number

2223fl-all.xls – comparison of chlorophyll vs CTD rosette files

2223fl-dn.xls – comparison of chlorophyll vs CTD rosette files –downcast sampling

2223fl-up.xls – comparison of chlorophyll vs CTD rosette files –upcast sampling

2223flcomp.xls – more comparisons of chlorophyll vs CTD – up and down

DOXCOMP.csv & .xls – comparison of oxygen - bottles vs recalibrated CTD rosette files

DOXCOM2.csv & .xls – comparison of oxygen - bottles vs downcast CTD after 1st recal

DOXCOM3.csv & .xls – comparison of oxygen - bottles vs downcast CTD after 1st recal and shift

DOXCOM4.csv & .xls – comparison of oxygen - bottles vs downcast CTD after 2nd recal