## Sheet1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure:Nominal [db] | Pressure [dbars] | Pressure [dbars] | (S-P) | Chlorophyll_Extracted_raw [mg/m^3] | Fluorescence_URU_Seapoint [mg/m^3] | Fluorescence_URU_Seapoint [mg/m^3] | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | fl/chl | Fl-.09
2002-23-0001 | 2002-23-0001 | 121 | 5 | 5.9516 | 1.0643 | 0.95161 | 0.07 | 0.24928 | 0.012188 | 0.17928 | 2.2754 | 0.15928
2002-23-0001 | 2002-23-0001 | 121 | 10 | 11.5333 | 1.2443 | 1.5333 | 0.06 | 0.26795 | 0.011546 | 0.20795 | 2.9658 | 0.17795
2002-23-0001 | 2002-23-0001 | 121 | 50 | 50.9514 | 1.106 | 0.95144 | 0.26 | 1.244 | 0.067283 | 0.984 | 4.4385 | 1.154
2002-23-0001 | 2002-23-0001 | 121 | 75 | 76.4558 | 1.4228 | 1.4558 | 0.06 | 0.21204 | 0.013024 | 0.15204 | 2.034 | 0.12204
2002-23-0001 | 2002-23-0001 | 121 | 100 | 102.487 | 1.4477 | 2.487 | 0.02 | 0.15329 | 0.24796 | 0.13329 | 3.1644 | 0.063289
2002-23-0001 | 2002-23-0001 | 121 | 150 | 152.306 | 1.5261 | 2.3062 | 0.01 | 0.12267 | 0.0024269 | 0.11267 | 3.2669 | 0.032669
2002-23-0001 | 2002-23-0001 | 121 | 175 | 176.707 | 1.4835 | 1.7071 | 0.01 | 0.12197 | 0.0046992 | 0.11197 | 3.1967 | 0.031967
2002-23-0001 | 2002-23-0001 | 121 | 20 | 201.63 | 1.4562 | 181.63 | 0.02 | 0.11961 | 0.0034842 | 0.099612 | 1.4806 | 0.029612
2002-23-0003 | 2002-23-0003 | 121 | 25 | 25.9751 | 1.183 | 0.97514 | 0.03 | 0.15719 | 0.0088997 | 0.12719 | 2.2397 | 0.06719
2002-23-0003 | 2002-23-0003 | 121 | 50 | 51.2377 | 1.3956 | 1.2377 | 1.86 | 3.8994 | 0.84301 | 2.0394 | 2.048 | 3.8094
2002-23-0003 | 2002-23-0003 | 121 | 75 | 76.3527 | 1.3138 | 1.3527 | 0.02 | 0.39263 | 0.11698 | 0.37263 | 15.1314 | 0.30263
2002-23-0003 | 2002-23-0003 | 121 | 100 | 101.377 | 1.4524 | 1.3771 | 0.03 | 0.12363 | 0.0048238 | 0.093628 | 1.1209 | 0.033628
2002-23-0003 | 2002-23-0003 | 121 | 125 | 126.288 | 1.4324 | 1.2879 | 0.01 | 0.11501 | 0.0039676 | 0.10501 | 2.5008 | 0.025008
2002-23-0003 | 2002-23-0003 | 121 | 150 | 151.491 | 1.4284 | 1.4908 | 0.01 | 0.11312 | 0.0036459 | 0.10312 | 2.3124 | 0.023124
2002-23-0003 | 2002-23-0003 | 121 | 175 | 176.185 | 1.4465 | 1.1846 | 0.01 | 0.1151 | 0.0024577 | 0.1051 | 2.5099 | 0.025099
2002-23-0003 | 2002-23-0003 | 121 | 200 | 201.134 | 1.4478 | 1.1342 | 0.01 | 0.11385 | 0.0022385 | 0.10385 | 2.3851 | 0.023851
2002-23-0004 | 2002-23-0004 | 121 | 5 | 6.8272 | 1.5839 | 1.8272 | 0.03 | 0.19867 | 0.0081234 | 0.16867 | 3.6223 | 0.10867
2002-23-0004 | 2002-23-0004 | 121 | 10 | 12.5502 | 1.5463 | 2.5502 | 0.03 | 0.22521 | 0.010575 | 0.19521 | 4.5072 | 0.13522
2002-23-0004 | 2002-23-0004 | 121 | 25 | 26.0947 | 1.5505 | 1.0947 | 0.01 | 0.5685 | 0.34525 | 0.5585 | 47.8504 | 0.4785
2002-23-0004 | 2002-23-0004 | 121 | 50 | 52.2215 | 1.5236 | 2.2215 | 0.72 | 1.5859 | 0.49545 | 0.86595 | 2.0777 | 1.4959
2002-23-0004 | 2002-23-0004 | 121 | 75 | 76.1775 | 1.4813 | 1.1775 | 0.02 | 0.15125 | 0.0050138 | 0.13125 | 3.0624 | 0.061248
2002-23-0004 | 2002-23-0004 | 121 | 100 | 101.309 | 1.4482 | 1.3095 | 0.01 | 0.12426 | 0.0040733 | 0.11426 | 3.4256 | 0.034256
2002-23-0004 | 2002-23-0004 | 121 | 125 | 126.367 | 1.4652 | 1.3675 | 0.01 | 0.12066 | 0.0023754 | 0.11066 | 3.0661 | 0.030661
2002-23-0004 | 2002-23-0004 | 121 | 150 | 151.252 | 1.4539 | 1.2524 | 0.01 | 0.12283 | 0.0023641 | 0.11284 | 3.2835 | 0.032835
2002-23-0005 | 2002-23-0005 | 121 | 5 | 5.8166 | 1.1997 | 0.81655 | 0.02 | 0.095355 | 0.0021674 | 0.075355 | 0.26777 | 0.0053554
2002-23-0005 | 2002-23-0005 | 121 | 10 | 11.6908 | 1.542 | 1.6908 | 0.02 | 0.10465 | 0.0054233 | 0.084653 | 0.73265 | 0.014653
2002-23-0005 | 2002-23-0005 | 121 | 25 | 26.561 | 1.5263 | 1.561 | 0.01 | 0.15157 | 0.0092438 | 0.14157 | 6.157 | 0.06157
2002-23-0005 | 2002-23-0005 | 121 | 50 | 50.9968 | 1.5169 | 0.99675 | 0.87 | 2.9925 | 0.73128 | 2.1225 | 3.3362 | 2.9025
2002-23-0005 | 2002-23-0005 | 121 | 75 | 76.1102 | 1.4553 | 1.1102 | 0.15 | 0.71531 | 0.13333 | 0.56531 | 4.1687 | 0.62531
2002-23-0005 | 2002-23-0005 | 121 | 100 | 101.63 | 1.4383 | 1.6301 | 0.04 | 0.14896 | 0.010419 | 0.10896 | 1.474 | 0.058959
2002-23-0005 | 2002-23-0005 | 121 | 125 | 127.457 | 1.3677 | 2.4569 | 0.01 | 0.11527 | 0.0042856 | 0.10527 | 2.5273 | 0.025273
2002-23-0005 | 2002-23-0005 | 121 | 150 | 152.303 | 1.4667 | 2.3027 | 0.01 | 0.11613 | 0.003979 | 0.10613 | 2.6132 | 0.026132
2002-23-0005 | 2002-23-0005 | 121 | 175 | 178.359 | 1.4955 | 3.3586 | 0.01 | 0.12488 | 0.042788 | 0.11488 | 3.4876 | 0.034876
2002-23-0005 | 2002-23-0005 | 121 | 200 | 203.282 | 1.496 | 3.2818 | 0.01 | 0.11153 | 0.0025628 | 0.10153 | 2.1529 | 0.021529
2002-23-0008 | 2002-23-0008 | 121 | 5 | 5.176 | 1.244 | 0.17601 | 0.01 | 0.1127 | 0.0042518 | 0.1027 | 2.2702 | 0.022702
2002-23-0008 | 2002-23-0008 | 121 | 10 | 9.4999 | 1.1922 | -0.50011 | 0.01 | 0.12095 | 0.003877 | 0.11095 | 3.095 | 0.03095
2002-23-0008 | 2002-23-0008 | 121 | 25 | 25.8224 | 1.4378 | 0.82243 | 0.01 | 0.15542 | 0.0049896 | 0.14542 | 6.5421 | 0.065421
2002-23-0008 | 2002-23-0008 | 121 | 50 | 51.0448 | 1.4283 | 1.0448 | 1.31 | 3.4688 | 0.57813 | 2.1588 | 2.5793 | 3.3788
2002-23-0008 | 2002-23-0008 | 121 | 75 | 75.7234 | 1.4676 | 0.72341 | 0.03 | 0.36312 | 0.059289 | 0.33312 | 9.1041 | 0.27312
2002-23-0008 | 2002-23-0008 | 121 | 100 | 100.667 | 1.4778 | 0.66712 | 0.03 | 0.13945 | 0.0076952 | 0.10945 | 1.6482 | 0.049446
2002-23-0008 | 2002-23-0008 | 121 | 125 | 125.785 | 1.4896 | 0.78492 | 0.01 | 0.12217 | 0.0027039 | 0.11217 | 3.2174 | 0.032174
2002-23-0009 | 2002-23-0009 | 121 | 5 | 5.8112 | 1.5647 | 0.81124 | 0.01 | 0.10384 | 0.0033887 | 0.093843 | 1.3843 | 0.013843
2002-23-0009 | 2002-23-0009 | 121 | 10 | 11.3193 | 1.5901 | 1.3193 | 0.01 | 0.10648 | 0.0024498 | 0.096479 | 1.6479 | 0.016479
2002-23-0009 | 2002-23-0009 | 121 | 50 | 51.7361 | 1.5236 | 1.7361 | 0.07 | 0.50296 | 0.22497 | 0.43296 | 5.8994 | 0.41296
2002-23-0009 | 2002-23-0009 | 121 | 75 | 76.5447 | 1.4762 | 1.5447 | 0.04 | 0.52089 | 0.075478 | 0.48089 | 10.7723 | 0.43089
2002-23-0009 | 2002-23-0009 | 121 | 100 | 100.587 | 1.4352 | 0.587 | 0.04 | 0.15731 | 0.0046171 | 0.11731 | 1.6828 | 0.067314
2002-23-0009 | 2002-23-0009 | 121 | 125 | 126.056 | 1.52 | 1.0564 | 0.01 | 0.11198 | 0.0023995 | 0.10197 | 2.1975 | 0.021975
2002-23-0009 | 2002-23-0009 | 121 | 150 | 150.749 | 1.5219 | 0.74905 | 0.01 | 0.11235 | 0.0030706 | 0.10235 | 2.2347 | 0.022347
2002-23-0009 | 2002-23-0009 | 121 | 175 | 175.69 | 1.4699 | 0.69031 | 0.01 | 0.11265 | 0.0024211 | 0.10265 | 2.2653 | 0.022653
2002-23-0009 | 2002-23-0009 | 121 | 200 | 200.3 | 1.3828 | 0.29976 | 0.01 | 0.1163 | 0.0023897 | 0.1063 | 2.6298 | 0.026298
2002-23-0011 | 2002-23-0011 | 121 | 3 | 1.9692 | 0.78405 | -1.0308 | 0.01 | 0.11791 | 0.0184 | 0.10791 | 2.7909 | 0.027909
2002-23-0011 | 2002-23-0011 | 121 | 5 | 5.5984 | 1.2526 | 0.59836 | 0.02 | 0.11751 | 0.0034668 | 0.097512 | 1.3756 | 0.027512
2002-23-0011 | 2002-23-0011 | 121 | 50 | 51.0205 | 1.4296 | 1.0205 | 0.31 | 1.5242 | 0.14661 | 1.2142 | 4.6265 | 1.4342
2002-23-0011 | 2002-23-0011 | 121 | 75 | 76.2487 | 1.5076 | 1.2487 | 0.02 | 0.46607 | 0.081201 | 0.44607 | 18.8033 | 0.37607
2002-23-0011 | 2002-23-0011 | 121 | 100 | 100.46 | 1.4078 | 0.45985 | 0.03 | 0.152 | 0.0089107 | 0.122 | 2.0667 | 0.062