File List for SeaBird Data               Cruise Number: _2002-31____

[osapcommon\ctd\2002-31\]

*.bl - original files from SeaSave

*.con - 		“

*.dat -      	“

*.hdr -		“

2231rcal1.ccf – recalibration file

2231rcal2.ccf		“

2231header.hdr – header added to CTD files

[osapcommon\ctd\2002-31\doc]

2002-31proc.doc - processing notes

2002-31_file.doc - this document

oxygen processing.doc

[work2.ctd.2002-31.convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[work2.ctd.2002-31.derive]

*.cnv - data after running ALIGNCTD, WILDEDIT, CELLTM and DERIVE (for S0, S1)

[work2.ctd.2002-31.ios]

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del – after DELETE on main files

*.edt - data after editing has been done

*.ios - data after conversion to IOS HEADERS

*.log and *.lo& - log files created by CTDEDIT

Delete.log - log from routine DELETE

[work2.ctd.2002-31.hydro]

*.bot  - files created by converting *.ros files to IOS HEADERS

*.log -  log file for one edited bot file

*.oxy – files for oxygen titrations from hydro bottles

*.rac – edited, recalibrated rosette files averaged by bottle number

*.ros  - rosette files created by DATCNV, no other processing done.

*.sal – salinity calibration files provided by Bernard Minkley

*.sam – bot files with sample numbers added; input to COMPARE

*.sac – recalibrated *.sam files for COMPARE run after calibration

2231comp.csv &. xls – comparison of salinity – bottles vs CTD rosette files

2231oxy.csv & .xls – comparison of oxygen – bottles vs CTD rosette files

2231oxy1.csv & .xls – comparison of oxygen - bottles vs downcast CTD after 1st recal

2231oxy2.csv & .xls – comparison of oxygen - bottles vs downcast CTD after 2nd recal

2231oxy3.csv & .xls – comparison of oxygen - bottles vs downcast CTD after test recal

2231oxy4.csv & .xls – comparison of oxygen - bottles vs downcast CTD with no recal

2231oxy5.csv & .xls – comparison of oxygen - bottles vs recalibrated CTD rosette files

2231_comp-down_oxy.xls – detailed comparison of effects of various shifts on downcast/bottle differences

[work2.ctd.2002-31.patrick] – There is a separate document listing the contents of this folder.