## File List
Number of Files= |  | 8
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2002-31-0031 | 2002-31-0031 | 12 | 14 | 2002-31-0031 & 2002-31-0031
2 | 2002-31-0033 | 2002-31-0033 | 16 | 16 | 2002-31-0033 & 2002-31-0033
3 | 2002-31-0034 | 2002-31-0034 | 18 | 22 | 2002-31-0034 & 2002-31-0034
4 | 2002-31-0064 | 2002-31-0064 | 24 | 26 | 2002-31-0064 & 2002-31-0064
5 | 2002-31-0067 | 2002-31-0067 | 28 | 30 | 2002-31-0067 & 2002-31-0067
6 | 2002-31-0071 | 2002-31-0071 | 32 | 34 | 2002-31-0071 & 2002-31-0071
7 | 2002-31-0102 | 2002-31-0102 | 36 | 38 | 2002-31-0102 & 2002-31-0102
8 | 2002-31-0105 | 2002-31-0105 | 40 | 42 | 2002-31-0105 & 2002-31-0105

## (Sal0 - Sal_bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.063248 |  | X | CALC Y
m= | 3.8829e-06 | 4.1445e-06 |  | Std Dev of Resid |  | 0.0013774 |  | 175.136 | 0.00041332
b= | -0.00026672 | 0.0012064 |  | Resid Sum of Squares |  | 2.4665e-05 |  | 500.167 | 0.0016754
# of Values Extracted = |  |  | 24
# of Values Used in Fit = |  |  | 15
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 500.167 | 32.0705 | 0.00070801 | 0.0016327 | 0.0016754 | 4.2692e-05 |  | 500.167 | 0.0016327
1 | YES | 400.842 | 32.0137 | 0.0014049 | 0.00075531 | 0.0012897 | 0.0005344 |  | 400.842 | 0.00075531
1 | YES | 300.22 | 31.9889 | 0.0027412 | -0.0017662 | 0.00089901 | 0.0026652 |  | 300.22 | -0.0017662
2 | NO | 0 | 0 | 0 | -32.0192 | -0.00026672 | 32.0189 |  | 300.714 | 0.0011959
3 | NO | 0 | 0 | 0 | -31.7716 | -0.00026672 | 31.7713 |  | 250.155 | 0.0024834
3 | NO | 180.011 | 31.7931 | 0.0018085 | 0.019705 | 0.00043225 | -0.019273 |  | 349.682 | 0.0030022
3 | NO | 150.241 | 31.7026 | 0.0056251 | -0.053444 | 0.00031665 | 0.053761 |  | 299.928 | 0.0018616
3 | NO | 125.288 | 31.6581 | 0.029108 | -0.02284 | 0.00021976 | 0.02306 |  | 299.998 | 0.00042152
3 | NO | 100.165 | 31.5757 | 0.0086274 | 0.057348 | 0.00012221 | -0.057226 |  | 250.073 | 0.0014191
4 | NO | 346.176 | 31.296 | 0.0003516 | 0.0072727 | 0.0010774 | -0.0061953 |  | 219.908 | -0.00086975
4 | YES | 300.714 | 31.2198 | 0.00024236 | 0.0011959 | 0.00090092 | -0.00029499 |  | 200.365 | -0.0015793
4 | YES | 250.155 | 31.0652 | 0.00024712 | 0.0024834 | 0.00070461 | -0.0017788 |  | 175.136 | 0.0010796
5 | YES | 349.682 | 31.3315 | 0.00022983 | 0.0030022 | 0.0010911 | -0.0019111 |  | 248.969 | 4.1962e-05
5 | YES | 299.928 | 31.2294 | 0.00025378 | 0.0018616 | 0.00089787 | -0.0009637 |  | 200.701 | 0.001133
5 | NO | 249.556 | 31.1522 | 0.0043829 | -0.0057602 | 0.00070228 | 0.0064625 |  | 175.332 | 0.0013885
6 | NO | 310.431 | 31.2122 | 0.00078435 | 0.0094452 | 0.00093865 | -0.0085065
6 | YES | 299.998 | 31.1893 | 0.00090438 | 0.00042152 | 0.00089814 | 0.00047662 |  |  | 0.00081329
6 | YES | 250.073 | 31.0639 | 0.00031544 | 0.0014191 | 0.00070429 | -0.00071478
7 | YES | 219.908 | 33.8997 | 0.00026095 | -0.00086975 | 0.00058716 | 0.0014569
7 | YES | 200.365 | 33.8998 | 0.00027408 | -0.0015793 | 0.00051128 | 0.0020906
7 | YES | 175.136 | 33.8994 | 0.00031075 | 0.0010796 | 0.00041332 | -0.00066624
8 | YES | 248.969 | 33.9263 | 0.00026052 | 4.1962e-05 | 0.0007 | 0.00065804
8 | YES | 200.701 | 33.9206 | 0.00042205 | 0.001133 | 0.00051258 | -0.00062039
8 | YES | 175.332 | 33.8913 | 0.00031435 | 0.0013885 | 0.00041408 | -0.00097447
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.01172 |  | X | CALC Y
m= | 2.2244e-06 | 5.8964e-06 |  | Std Dev of Resid |  | 0.0014157 |  | 175.136 | 0.0035049
b= | 0.0031153 | 0.0015922 |  | Resid Sum of Squares |  | 2.4049e-05 |  | 400.842 | 0.004007
# of Values Extracted = |  |  | 24
# of Values Used in Fit = |  |  | 14
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 500.167 | 32.0695 | 0.0010404 | 0.00064468 | 0.0042279 | 0.0035832 |  | 400.842 | 0.0033073
1 | YES | 400.842 | 32.0162 | 0.0012989 | 0.0033073 | 0.004007 | 0.00069961 |  | 300.22 | 0.00082588
1 | YES | 300.22 | 31.9915 | 0.0027127 | 0.00082588 | 0.0037831 | 0.0029573 |  | 300.714 | 0.0043087
2 | NO | 0 | 0 | 0 | -32.0192 | 0.0031153 | 32.0223 |  | 250.155 | 0.0054913
3 | NO | 0 | 0 | 0 | -31.7716 | 0.0031153 | 31.7747 |  | 349.682 | 0.0058937
3 | NO | 180.011 | 31.7948 | 0.0022803 | 0.021353 | 0.0035157 | -0.017837 |  | 299.928 | 0.0047131
3 | NO | 150.241 | 31.7063 | 0.0031814 | -0.04966 | 0.0034495 | 0.053109 |  | 299.998 | 0.0034199
3 | NO | 125.288 | 31.6558 | 0.045736 | -0.02511 | 0.003394 | 0.028504 |  | 250.073 | 0.0041161
3 | NO | 100.165 | 31.5771 | 0.0095703 | 0.058657 | 0.0033381 | -0.055319 |  | 219.908 | 0.0025406
4 | NO | 346.176 | 31.2992 | 0.0010634 | 0.010525 | 0.0038854 | -0.0066393 |  | 200.365 | 0.0017204
4 | YES | 300.714 | 31.2229 | 0.00087926 | 0.0043087 | 0.0037842 | -0.00052447 |  | 175.136 | 0.004303
4 | YES | 250.155 | 31.0682 | 0.00051067 | 0.0054913 | 0.0036718 | -0.0018195 |  | 248.969 | 0.0030785
5 | YES | 349.682 | 31.3344 | 0.00097101 | 0.0058937 | 0.0038932 | -0.0020006 |  | 200.701 | 0.0039406
5 | YES | 299.928 | 31.2322 | 0.0010064 | 0.0047131 | 0.0037825 | -0.00093058 |  | 175.332 | 0.0041237
5 | NO | 249.556 | 31.1523 | 0.0034252 | -0.0057392 | 0.0036704 | 0.0094096
6 | NO | 310.431 | 31.216 | 0.0014239 | 0.013218 | 0.0038058 | -0.0094121 |  |  | 0.0036988
6 | YES | 299.998 | 31.1923 | 0.0012784 | 0.0034199 | 0.0037826 | 0.00036276
6 | YES | 250.073 | 31.0666 | 0.0011733 | 0.0041161 | 0.0036716 | -0.00044447
7 | YES | 219.908 | 33.9031 | 0.00095018 | 0.0025406 | 0.0036045 | 0.0010639
7 | YES | 200.365 | 33.9031 | 0.0012313 | 0.0017204 | 0.003561 | 0.0018406
7 | YES | 175.136 | 33.9026 | 0.0012476 | 0.004303 | 0.0035049 | -0.00079808
8 | YES | 248.969 | 33.9294 | 0.00089061 | 0.0030785 | 0.0036691 | 0.00059067
8 | YES | 200.701 | 33.9234 | 0.0012345 | 0.0039406 | 0.0035618 | -0.00037881
8 | YES | 175.332 | 33.894 | 0.0011924 | 0.0041237 | 0.0035053 | -0.00061835
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal_bot) (2)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0013828 |  | X | CALC Y
m= | -2.0069e-05 | 0.00014958 |  | Std Dev of Resid |  | 0.0014222 |  | 1 | 0.00089759
b= | 0.00091766 | 0.00086014 |  | Resid Sum of Squares |  | 2.6294e-05 |  | 8 | 0.0007571
# of Values Extracted = |  |  | 24
# of Values Used in Fit = |  |  | 15
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 500.167 | 32.0705 | 0.00070801 | 0.0016327 | 0.00089759 | -0.0007351 |  | 1 | 0.0016327
1 | YES | 400.842 | 32.0137 | 0.0014049 | 0.00075531 | 0.00089759 | 0.00014228 |  | 1 | 0.00075531
1 | YES | 300.22 | 31.9889 | 0.0027412 | -0.0017662 | 0.00089759 | 0.0026638 |  | 1 | -0.0017662
2 | NO | 0 | 0 | 0 | -32.0192 | 0.00087752 | 32.0201 |  | 4 | 0.0011959
3 | NO | 0 | 0 | 0 | -31.7716 | 0.00085745 | 31.7725 |  | 4 | 0.0024834
3 | NO | 180.011 | 31.7931 | 0.0018085 | 0.019705 | 0.00085745 | -0.018847 |  | 5 | 0.0030022
3 | NO | 150.241 | 31.7026 | 0.0056251 | -0.053444 | 0.00085745 | 0.054301 |  | 5 | 0.0018616
3 | NO | 125.288 | 31.6581 | 0.029108 | -0.02284 | 0.00085745 | 0.023698 |  | 6 | 0.00042152
3 | NO | 100.165 | 31.5757 | 0.0086274 | 0.057348 | 0.00085745 | -0.056491 |  | 6 | 0.0014191
4 | NO | 346.176 | 31.296 | 0.0003516 | 0.0072727 | 0.00083738 | -0.0064353 |  | 7 | -0.00086975
4 | YES | 300.714 | 31.2198 | 0.00024236 | 0.0011959 | 0.00083738 | -0.00035853 |  | 7 | -0.0015793
4 | YES | 250.155 | 31.0652 | 0.00024712 | 0.0024834 | 0.00083738 | -0.001646 |  | 7 | 0.0010796
5 | YES | 349.682 | 31.3315 | 0.00022983 | 0.0030022 | 0.00081731 | -0.0021849 |  | 8 | 4.1962e-05
5 | YES | 299.928 | 31.2294 | 0.00025378 | 0.0018616 | 0.00081731 | -0.0010443 |  | 8 | 0.001133
5 | NO | 249.556 | 31.1522 | 0.0043829 | -0.0057602 | 0.00081731 | 0.0065775 |  | 8 | 0.0013885
6 | NO | 310.431 | 31.2122 | 0.00078435 | 0.0094452 | 0.00079724 | -0.008648
6 | YES | 299.998 | 31.1893 | 0.00090438 | 0.00042152 | 0.00079724 | 0.00037572 |  |  | 0.00081329
6 | YES | 250.073 | 31.0639 | 0.00031544 | 0.0014191 | 0.00079724 | -0.00062183
7 | YES | 219.908 | 33.8997 | 0.00026095 | -0.00086975 | 0.00077717 | 0.0016469
7 | YES | 200.365 | 33.8998 | 0.00027408 | -0.0015793 | 0.00077717 | 0.0023565
7 | YES | 175.136 | 33.8994 | 0.00031075 | 0.0010796 | 0.00077717 | -0.00030239
8 | YES | 248.969 | 33.9263 | 0.00026052 | 4.1962e-05 | 0.0007571 | 0.00071514
8 | YES | 200.701 | 33.9206 | 0.00042205 | 0.001133 | 0.0007571 | -0.00037587
8 | YES | 175.332 | 33.8913 | 0.00031435 | 0.0013885 | 0.0007571 | -0.00063145
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_bot) (2)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.01979 |  | X | CALC Y
m= | 8.207e-05 | 0.00016673 |  | Std Dev of Resid |  | 0.0014099 |  | 1 | 0.0033294
b= | 0.0032474 | 0.00099143 |  | Resid Sum of Squares |  | 2.3853e-05 |  | 8 | 0.0039039
# of Values Extracted = |  |  | 24
# of Values Used in Fit = |  |  | 14
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 500.167 | 32.0695 | 0.0010404 | 0.00064468 | 0.0033294 | 0.0026848 |  | 1 | 0.0033073
1 | YES | 400.842 | 32.0162 | 0.0012989 | 0.0033073 | 0.0033294 | 2.2106e-05 |  | 1 | 0.00082588
1 | YES | 300.22 | 31.9915 | 0.0027127 | 0.00082588 | 0.0033294 | 0.0025036 |  | 4 | 0.0043087
2 | NO | 0 | 0 | 0 | -32.0192 | 0.0034115 | 32.0226 |  | 4 | 0.0054913
3 | NO | 0 | 0 | 0 | -31.7716 | 0.0034936 | 31.7751 |  | 5 | 0.0058937
3 | NO | 180.011 | 31.7948 | 0.0022803 | 0.021353 | 0.0034936 | -0.017859 |  | 5 | 0.0047131
3 | NO | 150.241 | 31.7063 | 0.0031814 | -0.04966 | 0.0034936 | 0.053153 |  | 6 | 0.0034199
3 | NO | 125.288 | 31.6558 | 0.045736 | -0.02511 | 0.0034936 | 0.028604 |  | 6 | 0.0041161
3 | NO | 100.165 | 31.5771 | 0.0095703 | 0.058657 | 0.0034936 | -0.055163 |  | 7 | 0.0025406
4 | NO | 346.176 | 31.2992 | 0.0010634 | 0.010525 | 0.0035757 | -0.006949 |  | 7 | 0.0017204
4 | YES | 300.714 | 31.2229 | 0.00087926 | 0.0043087 | 0.0035757 | -0.00073305 |  | 7 | 0.004303
4 | YES | 250.155 | 31.0682 | 0.00051067 | 0.0054913 | 0.0035757 | -0.0019156 |  | 8 | 0.0030785
5 | YES | 349.682 | 31.3344 | 0.00097101 | 0.0058937 | 0.0036577 | -0.002236 |  | 8 | 0.0039406
5 | YES | 299.928 | 31.2322 | 0.0010064 | 0.0047131 | 0.0036577 | -0.0010553 |  | 8 | 0.0041237
5 | NO | 249.556 | 31.1523 | 0.0034252 | -0.0057392 | 0.0036577 | 0.0093969
6 | NO | 310.431 | 31.216 | 0.0014239 | 0.013218 | 0.0037398 | -0.0094781 |  |  | 0.0036988
6 | YES | 299.998 | 31.1923 | 0.0012784 | 0.0034199 | 0.0037398 | 0.00031991
6 | YES | 250.073 | 31.0666 | 0.0011733 | 0.0041161 | 0.0037398 | -0.00037627
7 | YES | 219.908 | 33.9031 | 0.00095018 | 0.0025406 | 0.0038219 | 0.0012813
7 | YES | 200.365 | 33.9031 | 0.0012313 | 0.0017204 | 0.0038219 | 0.0021014
7 | YES | 175.136 | 33.9026 | 0.0012476 | 0.004303 | 0.0038219 | -0.00048112
8 | YES | 248.969 | 33.9294 | 0.00089061 | 0.0030785 | 0.0039039 | 0.00082547
8 | YES | 200.701 | 33.9234 | 0.0012345 | 0.0039406 | 0.0039039 | -3.6647e-05
8 | YES | 175.332 | 33.894 | 0.0011924 | 0.0041237 | 0.0039039 | -0.00021976
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3
| Primary | Secondary |  | Comparison Name
Ref | pressure | Pressure |  | Pressure - pressure
Comp 1 | Sal_bot | Sal0 |  | Sal0 - Sal_bot
Comp 2 | Sal_bot | Sal1 |  | Sal1 - Sal_bot
Average Size: | 5
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | pressure | Pressure | Pressure | (S-P) | Sal_bot | Sal0 | Sal0 | (S-P) | Sal_bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2002-31-0031 | 2002-31-0031 | 121 | 500 | 500.167 | 0.040166 | 0.16684 | 32.0689 | 32.0705 | 0.00070801 | 0.0016327 | 32.0689 | 32.0695 | 0.0010404 | 0.00064468
2002-31-0031 | 2002-31-0031 | 121 | 400 | 400.842 | 0.048999 | 0.84241 | 32.0129 | 32.0137 | 0.0014049 | 0.00075531 | 32.0129 | 32.0162 | 0.0012989 | 0.0033073
2002-31-0031 | 2002-31-0031 | 121 | 300 | 300.22 | 0.029322 | 0.21963 | 31.9907 | 31.9889 | 0.0027412 | -0.0017662 | 31.9907 | 31.9915 | 0.0027127 | 0.00082588
2002-31-0033 | 2002-31-0033 | 0 | 280 | 0 | 0 | -280 | 32.0192 | 0 | 0 | -32.0192 | 32.0192 | 0 | 0 | -32.0192
2002-31-0034 | 2002-31-0034 | 0 | 200 | 0 | 0 | -200 | 31.7716 | 0 | 0 | -31.7716 | 31.7716 | 0 | 0 | -31.7716
2002-31-0034 | 2002-31-0034 | 121 | 180 | 180.011 | 0.025297 | 0.010834 | 31.7734 | 31.7931 | 0.0018085 | 0.019705 | 31.7734 | 31.7948 | 0.0022803 | 0.021353
2002-31-0034 | 2002-31-0034 | 121 | 150 | 150.241 | 0.039161 | 0.2413 | 31.756 | 31.7026 | 0.0056251 | -0.053444 | 31.756 | 31.7063 | 0.0031814 | -0.04966
2002-31-0034 | 2002-31-0034 | 121 | 125 | 125.288 | 0.029461 | 0.28771 | 31.6809 | 31.6581 | 0.029108 | -0.02284 | 31.6809 | 31.6558 | 0.045736 | -0.02511
2002-31-0034 | 2002-31-0034 | 121 | 100 | 100.165 | 0.027295 | 0.16494 | 31.5184 | 31.5757 | 0.0086274 | 0.057348 | 31.5184 | 31.5771 | 0.0095703 | 0.058657
2002-31-0064 | 2002-31-0064 | 121 | 346 | 346.176 | 0.072749 | 0.17563 | 31.2887 | 31.296 | 0.0003516 | 0.0072727 | 31.2887 | 31.2992 | 0.0010634 | 0.010525
2002-31-0064 | 2002-31-0064 | 121 | 300 | 300.714 | 0.048191 | 0.71371 | 31.2186 | 31.2198 | 0.00024236 | 0.0011959 | 31.2186 | 31.2229 | 0.00087926 | 0.0043087
2002-31-0064 | 2002-31-0064 | 121 | 250 | 250.155 | 0.069215 | 0.15547 | 31.0627 | 31.0652 | 0.00024712 | 0.0024834 | 31.0627 | 31.0682 | 0.00051067 | 0.0054913
2002-31-0067 | 2002-31-0067 | 121 | 350 | 349.682 | 0.035544 | -0.31799 | 31.3285 | 31.3315 | 0.00022983 | 0.0030022 | 31.3285 | 31.3344 | 0.00097101 | 0.0058937
2002-31-0067 | 2002-31-0067 | 121 | 300 | 299.928 | 0.034946 | -0.071716 | 31.2275 | 31.2294 | 0.00025378 | 0.0018616 | 31.2275 | 31.2322 | 0.0010064 | 0.0047131
2002-31-0067 | 2002-31-0067 | 121 | 250 | 249.556 | 0.047454 | -0.4438 | 31.158 | 31.1522 | 0.0043829 | -0.0057602 | 31.158 | 31.1523 | 0.0034252 | -0.0057392
2002-31-0071 | 2002-31-0071 | 121 | 310 | 310.431 | 0.044865 | 0.43073 | 31.2028 | 31.2122 | 0.00078435 | 0.0094452 | 31.2028 | 31.216 | 0.0014239 | 0.013218
2002-31-0071 | 2002-31-0071 | 121 | 300 | 299.998 | 0.034085 | -0.0021973 | 31.1889 | 31.1893 | 0.00090438 | 0.00042152 | 31.1889 | 31.1923 | 0.0012784 | 0.0034199
2002-31-0071 | 2002-31-0071 | 121 | 250 | 250.073 | 0.031895 | 0.07338 | 31.0625 | 31.0639 | 0.00031544 | 0.0014191 | 31.0625 | 31.0666 | 0.0011733 | 0.0041161
2002-31-0102 | 2002-31-0102 | 121 | 220 | 219.908 | 0.25488 | -0.092163 | 33.9006 | 33.8997 | 0.00026095 | -0.00086975 | 33.9006 | 33.9031 | 0.00095018 | 0.0025406
2002-31-0102 | 2002-31-0102 | 121 | 200 | 200.365 | 0.4565 | 0.36494 | 33.9014 | 33.8998 | 0.00027408 | -0.0015793 | 33.9014 | 33.9031 | 0.0012313 | 0.0017204
2002-31-0102 | 2002-31-0102 | 121 | 175 | 175.136 | 0.16166 | 0.13634 | 33.8983 | 33.8994 | 0.00031075 | 0.0010796 | 33.8983 | 33.9026 | 0.0012476 | 0.004303
2002-31-0105 | 2002-31-0105 | 121 | 249 | 248.969 | 0.12676 | -0.031052 | 33.9263 | 33.9263 | 0.00026052 | 4.1962e-05 | 33.9263 | 33.9294 | 0.00089061 | 0.0030785
2002-31-0105 | 2002-31-0105 | 121 | 200 | 200.701 | 0.69375 | 0.70074 | 33.9195 | 33.9206 | 0.00042205 | 0.001133 | 33.9195 | 33.9234 | 0.0012345 | 0.0039406
2002-31-0105 | 2002-31-0105 | 121 | 175 | 175.332 | 0.22935 | 0.33214 | 33.8899 | 33.8913 | 0.00031435 | 0.0013885 | 33.8899 | 33.894 | 0.0011924 | 0.0041237
Create Fit Sheet