## File List
Number of Files= |  | 11
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2002-32-0003 | 2002-32-0003 | 12 | 12 | 2002-32-0003 & 2002-32-0003
2 | 2002-32-0007 | 2002-32-0007 | 14 | 14 | 2002-32-0007 & 2002-32-0007
3 | 2002-32-0012 | 2002-32-0012 | 16 | 16 | 2002-32-0012 & 2002-32-0012
4 | 2002-32-0039 | 2002-32-0039 | 18 | 18 | 2002-32-0039 & 2002-32-0039
5 | 2002-32-0054 | 2002-32-0054 | 20 | 21 | 2002-32-0054 & 2002-32-0054
6 | 2002-32-0061 | 2002-32-0061 | 23 | 23 | 2002-32-0061 & 2002-32-0061
7 | 2002-32-0062 | 2002-32-0062 | 25 | 25 | 2002-32-0062 & 2002-32-0062
8 | 2002-32-0067 | 2002-32-0067 | 27 | 27 | 2002-32-0067 & 2002-32-0067
9 | 2002-32-0069 | 2002-32-0069 | 29 | 31 | 2002-32-0069 & 2002-32-0069
10 | 2002-32-0074 | 2002-32-0074 | 33 | 35 | 2002-32-0074 & 2002-32-0074
11 | 2002-32-0079 | 2002-32-0079 | 37 | 37 | 2002-32-0079 & 2002-32-0079

## (Sal0 - SalB)
Calculation of Linear Least Squares Fit For
(Sal0 - SalB)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - SalB), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0015743 |  | X | CALC Y
m= | -2.1562e-07 | 1.5675e-06 |  | Std Dev of Resid |  | 0.003582 |  | 145.43 | 0.00016819
b= | 0.00019955 | 0.001922 |  | Resid Sum of Squares |  | 0.00015397 |  | 2049.66 | -0.00024241
# of Values Extracted = |  |  | 16
# of Values Used in Fit = |  |  | 14
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - SalB) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 2097.31 | 34.5946 | 0.00031784 | -0.01688 | -0.00025268 | 0.016627 |  | 2000.75 | 0.00011063
2 | YES | 2000.75 | 34.598 | 0.00030126 | 0.00011063 | -0.00023186 | -0.00034248 |  | 1868.42 | 0.00085068
3 | YES | 1868.42 | 34.576 | 0.00038142 | 0.00085068 | -0.00020333 | -0.001054 |  | 722.469 | -0.0042915
4 | YES | 722.469 | 34.1832 | 0.00031152 | -0.0042915 | 4.3767e-05 | 0.0043353 |  | 999.487 | 0.0012588
5 | NO | 1267.34 | 34.4621 | 0.0011403 | 0.13583 | -7.3719e-05 | -0.1359 |  | 2049.66 | 0.00052261
5 | YES | 999.487 | 34.3598 | 0.00033471 | 0.0012588 | -1.5964e-05 | -0.0012748 |  | 1401.31 | -0.00052261
6 | YES | 2049.66 | 34.5984 | 0.00026602 | 0.00052261 | -0.00024241 | -0.00076502 |  | 1541.08 | 0.002533
7 | YES | 1401.31 | 34.4821 | 0.00036463 | -0.00052261 | -0.00010261 | 0.00042001 |  | 1152.44 | -0.0092621
8 | YES | 1541.08 | 34.5302 | 0.00044434 | 0.002533 | -0.00013274 | -0.0026657 |  | 1000.65 | -0.00022507
9 | YES | 1152.44 | 34.4338 | 0.00028349 | -0.0092621 | -4.8944e-05 | 0.0092131 |  | 797.712 | 0.0025749
9 | YES | 1000.65 | 34.3847 | 0.00025628 | -0.00022507 | -1.6215e-05 | 0.00020885 |  | 506.011 | 0.0024719
9 | YES | 797.712 | 34.295 | 0.00028781 | 0.0025749 | 2.7543e-05 | -0.0025474 |  | 399.365 | 0.0031815
10 | YES | 506.011 | 34.0947 | 0.00065599 | 0.0024719 | 9.044e-05 | -0.0023815 |  | 299.844 | 0.00317
10 | YES | 399.365 | 34.0251 | 0.00060069 | 0.0031815 | 0.00011344 | -0.003068 |  | 145.43 | -0.0027885
10 | YES | 299.844 | 34.0048 | 0.00023129 | 0.00317 | 0.00013489 | -0.0030351
11 | YES | 145.43 | 33.954 | 0.00023619 | -0.0027885 | 0.00016819 | 0.0029567
-2.97e-05
NO
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - SalB)
Calculation of Linear Least Squares Fit For
(Sal1 - SalB)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - SalB), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0026284 |  | X | CALC Y
m= | -2.8063e-07 | 1.578e-06 |  | Std Dev of Resid |  | 0.003606 |  | 145.43 | 0.00059406
b= | 0.00063487 | 0.0019349 |  | Resid Sum of Squares |  | 0.00015604 |  | 2049.66 | 5.968e-05
# of Values Extracted = |  |  | 16
# of Values Used in Fit = |  |  | 14
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - SalB) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 2097.31 | 34.595 | 0.00025556 | -0.016468 | 4.6308e-05 | 0.016514 |  | 2000.75 | 0.00037384
2 | YES | 2000.75 | 34.5983 | 0.00023265 | 0.00037384 | 7.3405e-05 | -0.00030043 |  | 1868.42 | 0.0013237
3 | YES | 1868.42 | 34.5764 | 0.00028094 | 0.0013237 | 0.00011054 | -0.0012132 |  | 722.469 | -0.003624
4 | YES | 722.469 | 34.1839 | 0.0003395 | -0.003624 | 0.00043213 | 0.0040561 |  | 999.487 | 0.0022964
5 | NO | 1267.34 | 34.4629 | 0.0013062 | 0.13658 | 0.00027922 | -0.1363 |  | 2049.66 | 0.00077438
5 | YES | 999.487 | 34.3608 | 0.0003059 | 0.0022964 | 0.00035439 | -0.0019421 |  | 1401.31 | -0.00033951
6 | YES | 2049.66 | 34.5987 | 0.00026894 | 0.00077438 | 5.968e-05 | -0.0007147 |  | 1541.08 | 0.0026703
7 | YES | 1401.31 | 34.4823 | 0.00025933 | -0.00033951 | 0.00024163 | 0.00058113 |  | 1152.44 | -0.0091057
8 | YES | 1541.08 | 34.5304 | 0.00046697 | 0.0026703 | 0.0002024 | -0.0024679 |  | 1000.65 | 0.00010681
9 | YES | 1152.44 | 34.434 | 0.00024117 | -0.0091057 | 0.00031147 | 0.0094171 |  | 797.712 | 0.0028915
9 | YES | 1000.65 | 34.385 | 0.00024969 | 0.00010681 | 0.00035406 | 0.00024725 |  | 506.011 | 0.0027695
9 | YES | 797.712 | 34.2953 | 0.00029561 | 0.0028915 | 0.00041101 | -0.0024805 |  | 399.365 | 0.0034599
10 | YES | 506.011 | 34.095 | 0.00047408 | 0.0027695 | 0.00049287 | -0.0022766 |  | 299.844 | 0.0035858
10 | YES | 399.365 | 34.0254 | 0.00064477 | 0.0034599 | 0.0005228 | -0.0029371 |  | 145.43 | -0.0024719
10 | YES | 299.844 | 34.0052 | 0.00022838 | 0.0035858 | 0.00055073 | -0.0030351
11 | YES | 145.43 | 33.9543 | 0.00037774 | -0.0024719 | 0.00059406 | 0.003066
0.00033651
NO
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | SalB | Sal0 |  | Sal0 - SalB
Comp 2 | SalB | Sal1 |  | Sal1 - SalB
Average Size: | 6
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | SalB | Sal0 | Sal0 | (S-P) | SalB | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2002-32-0003 | 2002-32-0003 | 305 | 2096 | 2097.31 | 0.86656 | 1.3113 | 34.6115 | 34.5946 | 0.00031784 | -0.01688 | 34.6115 | 34.595 | 0.00025556 | -0.016468
2002-32-0007 | 2002-32-0007 | 121 | 2000 | 2000.75 | 0.33697 | 0.75415 | 34.5979 | 34.598 | 0.00030126 | 0.00011063 | 34.5979 | 34.5983 | 0.00023265 | 0.00037384
2002-32-0012 | 2002-32-0012 | 121 | 1869 | 1868.42 | 1.8967 | -0.58435 | 34.5751 | 34.576 | 0.00038142 | 0.00085068 | 34.5751 | 34.5764 | 0.00028094 | 0.0013237
2002-32-0039 | 2002-32-0039 | 121 | 722 | 722.469 | 1.5394 | 0.46875 | 34.1875 | 34.1832 | 0.00031152 | -0.0042915 | 34.1875 | 34.1839 | 0.0003395 | -0.003624
2002-32-0054 | 2002-32-0054 | 121 | 1266 | 1267.34 | 0.58929 | 1.3378 | 34.3263 | 34.4621 | 0.0011403 | 0.13583 | 34.3263 | 34.4629 | 0.0013062 | 0.13658
2002-32-0054 | 2002-32-0054 | 121 | 1000 | 999.487 | 0.65271 | -0.51251 | 34.3585 | 34.3598 | 0.00033471 | 0.0012588 | 34.3585 | 34.3608 | 0.0003059 | 0.0022964
2002-32-0061 | 2002-32-0061 | 121 | 2049 | 2049.66 | 0.27334 | 0.65967 | 34.5979 | 34.5984 | 0.00026602 | 0.00052261 | 34.5979 | 34.5987 | 0.00026894 | 0.00077438
2002-32-0062 | 2002-32-0062 | 121 | 1400 | 1401.31 | 0.62591 | 1.3108 | 34.4826 | 34.4821 | 0.00036463 | -0.00052261 | 34.4826 | 34.4823 | 0.00025933 | -0.00033951
2002-32-0067 | 2002-32-0067 | 121 | 1540 | 1541.08 | 0.24432 | 1.0807 | 34.5277 | 34.5302 | 0.00044434 | 0.002533 | 34.5277 | 34.5304 | 0.00046697 | 0.0026703
2002-32-0069 | 2002-32-0069 | 121 | 1152 | 1152.44 | 0.25661 | 0.43762 | 34.4431 | 34.4338 | 0.00028349 | -0.0092621 | 34.4431 | 34.434 | 0.00024117 | -0.0091057
2002-32-0069 | 2002-32-0069 | 121 | 1000 | 1000.65 | 0.35905 | 0.64789 | 34.3849 | 34.3847 | 0.00025628 | -0.00022507 | 34.3849 | 34.385 | 0.00024969 | 0.00010681
2002-32-0069 | 2002-32-0069 | 121 | 800 | 797.712 | 0.32123 | -2.2883 | 34.2924 | 34.295 | 0.00028781 | 0.0025749 | 34.2924 | 34.2953 | 0.00029561 | 0.0028915
2002-32-0074 | 2002-32-0074 | 121 | 506 | 506.011 | 0.31123 | 0.010742 | 34.0922 | 34.0947 | 0.00065599 | 0.0024719 | 34.0922 | 34.095 | 0.00047408 | 0.0027695
2002-32-0074 | 2002-32-0074 | 121 | 400 | 399.365 | 0.34374 | -0.6347 | 34.0219 | 34.0251 | 0.00060069 | 0.0031815 | 34.0219 | 34.0254 | 0.00064477 | 0.0034599
2002-32-0074 | 2002-32-0074 | 121 | 300 | 299.844 | 0.32382 | -0.15622 | 34.0016 | 34.0048 | 0.00023129 | 0.00317 | 34.0016 | 34.0052 | 0.00022838 | 0.0035858
2002-32-0079 | 2002-32-0079 | 121 | 145 | 145.43 | 0.15545 | 0.43007 | 33.9568 | 33.954 | 0.00023619 | -0.0027885 | 33.9568 | 33.9543 | 0.00037774 | -0.0024719
Create Fit Sheet