## File List
Number of Files= |  | 11
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2002-34-0004 | 2002-34-0004 | 12 | 13 | 2002-34-0004 & 2002-34-0004
2 | 2002-34-0009 | 2002-34-0009 | 15 | 16 | 2002-34-0009 & 2002-34-0009
3 | 2002-34-0021 | 2002-34-0021 | 18 | 19 | 2002-34-0021 & 2002-34-0021
4 | 2002-34-0024 | 2002-34-0024 | 21 | 23 | 2002-34-0024 & 2002-34-0024
5 | 2002-34-0025 | 2002-34-0025 | 25 | 26 | 2002-34-0025 & 2002-34-0025
6 | 2002-34-0026 | 2002-34-0026 | 28 | 29 | 2002-34-0026 & 2002-34-0026
7 | 2002-34-0029 | 2002-34-0029 | 31 | 31 | 2002-34-0029 & 2002-34-0029
8 | 2002-34-0033 | 2002-34-0033 | 33 | 34 | 2002-34-0033 & 2002-34-0033
9 | 2002-34-0034 | 2002-34-0034 | 36 | 37 | 2002-34-0034 & 2002-34-0034
10 | 2002-34-0038 | 2002-34-0038 | 39 | 40 | 2002-34-0038 & 2002-34-0038
11 | 2002-34-0039 | 2002-34-0039 | 42 | 43 | 2002-34-0039 & 2002-34-0039

## (Sal0 - Sal_bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.06798 |  | X | CALC Y
m= | 4.3962e-07 | 4.0695e-07 |  | Std Dev of Resid |  | 0.0011151 |  | 149.941 | -0.00038509
b= | -0.00045101 | 0.00036069 |  | Resid Sum of Squares |  | 1.9896e-05 |  | 2078.46 | 0.00046272
# of Values Extracted = |  |  | 22
# of Values Used in Fit = |  |  | 18
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 187.293 | 32.9348 | 0.00018835 | -0.0016518 | -0.00036867 | 0.0012831 |  | 187.293 | -0.0016518
1 | YES | 175.346 | 32.9345 | 0.00019159 | -0.0017242 | -0.00037392 | 0.0013503 |  | 175.346 | -0.0017242
2 | NO | 77.6047 | 32.881 | 0.0072013 | 0.044239 | -0.00041689 | -0.044656 |  | 2078.46 | -7.6294e-05
2 | NO | 75.1159 | 32.8739 | 0.00044866 | -0.010239 | -0.00041798 | 0.0098206 |  | 2001.21 | 0.00027084
3 | NO | 3.4325 | 31.9833 | 0.0012599 | -0.0027847 | -0.0004495 | 0.0023352 |  | 199.906 | 0.00087738
3 | NO | 3.4054 | 31.9833 | 0.0011554 | -0.00041962 | -0.00044951 | -2.9891e-05 |  | 1200.67 | 0.0004425
4 | YES | 2078.46 | 34.6076 | 0.0003728 | -7.6294e-05 | 0.00046272 | 0.00053901 |  | 997.486 | 0.0003128
4 | YES | 2001.21 | 34.5969 | 0.00030505 | 0.00027084 | 0.00042876 | 0.00015791 |  | 1235.54 | -0.00031662
4 | YES | 199.906 | 33.9672 | 0.00082535 | 0.00087738 | -0.00036312 | -0.0012405 |  | 1200.26 | 0.001194
5 | YES | 1200.67 | 34.4507 | 0.00023112 | 0.0004425 | 7.6828e-05 | -0.00036568 |  | 176.393 | 0.0017128
5 | YES | 997.486 | 34.3848 | 0.00038208 | 0.0003128 | -1.2494e-05 | -0.0003253 |  | 211.144 | -0.00083542
6 | YES | 1235.54 | 34.4428 | 0.00030955 | -0.00031662 | 9.2158e-05 | 0.00040878 |  | 198.692 | -3.0518e-05
6 | YES | 1200.26 | 34.4371 | 0.00085687 | 0.001194 | 7.6648e-05 | -0.0011174 |  | 202.165 | 0.00058746
7 | YES | 176.393 | 33.982 | 0.00027433 | 0.0017128 | -0.00037346 | -0.0020863 |  | 202.165 | -0.0029106
8 | YES | 211.144 | 33.9072 | 0.00022558 | -0.00083542 | -0.00035818 | 0.00047724 |  | 171.99 | 0.00035858
8 | YES | 198.692 | 33.9072 | 0.00020578 | -3.0518e-05 | -0.00036366 | -0.00033314 |  | 157.123 | -0.00016022
9 | YES | 202.165 | 33.8978 | 0.00023117 | 0.00058746 | -0.00036213 | -0.00094959 |  | 179.964 | -0.00084305
9 | YES | 202.165 | 33.8978 | 0.00023117 | -0.0029106 | -0.00036213 | 0.0025485 |  | 149.941 | -0.00052261
10 | YES | 171.99 | 33.8804 | 0.0002471 | 0.00035858 | -0.0003754 | -0.00073398
10 | YES | 157.123 | 33.8794 | 0.00026873 | -0.00016022 | -0.00038193 | -0.00022171 |  |  | -0.00018416
11 | YES | 179.964 | 33.891 | 0.00022888 | -0.00084305 | -0.00037189 | 0.00047116
11 | YES | 149.941 | 33.8913 | 0.00021331 | -0.00052261 | -0.00038509 | 0.00013753
YES
YES
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.056455 |  | X | CALC Y
m= | 3.6589e-07 | 3.7396e-07 |  | Std Dev of Resid |  | 0.0010247 |  | 149.941 | -0.00032342
b= | -0.00037828 | 0.00033145 |  | Resid Sum of Squares |  | 1.6801e-05 |  | 2078.46 | 0.00038221
# of Values Extracted = |  |  | 22
# of Values Used in Fit = |  |  | 18
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 187.293 | 32.935 | 0.0011852 | -0.0014915 | -0.00030975 | 0.0011818 |  | 187.293 | -0.0014915
1 | YES | 175.346 | 32.9347 | 0.00022253 | -0.0014915 | -0.00031412 | 0.0011774 |  | 175.346 | -0.0014915
2 | NO | 77.6047 | 32.8816 | 0.007313 | 0.044823 | -0.00034989 | -0.045173 |  | 2078.46 | -0.00025559
2 | NO | 75.1159 | 32.8743 | 0.00036858 | -0.0097656 | -0.0003508 | 0.0094148 |  | 2001.21 | 0.00020981
3 | NO | 3.4325 | 31.9834 | 0.0013222 | -0.0027256 | -0.00037703 | 0.0023486 |  | 199.906 | -0.00035858
3 | NO | 3.4054 | 31.9833 | 0.0011736 | -0.00036621 | -0.00037704 | -1.0824e-05 |  | 1200.67 | 0.00071716
4 | YES | 2078.46 | 34.6074 | 0.00028028 | -0.00025559 | 0.00038221 | 0.00063779 |  | 997.486 | 0.00071335
4 | YES | 2001.21 | 34.5968 | 0.00025557 | 0.00020981 | 0.00035394 | 0.00014413 |  | 1235.54 | -0.00047302
4 | YES | 199.906 | 33.9659 | 0.002325 | -0.00035858 | -0.00030514 | 5.3444e-05 |  | 1200.26 | 0.00087738
5 | YES | 1200.67 | 34.451 | 0.00021469 | 0.00071716 | 6.1032e-05 | -0.00065613 |  | 176.393 | 0.0015602
5 | YES | 997.486 | 34.3852 | 0.00034912 | 0.00071335 | -1.3311e-05 | -0.00072666 |  | 211.144 | -0.00050736
6 | YES | 1235.54 | 34.4426 | 0.00031913 | -0.00047302 | 7.379e-05 | 0.00054681 |  | 198.692 | 0.00023651
6 | YES | 1200.26 | 34.4368 | 0.0010764 | 0.00087738 | 6.0882e-05 | -0.0008165 |  | 202.165 | 0.00077057
7 | YES | 176.393 | 33.9819 | 0.00033498 | 0.0015602 | -0.00031374 | -0.001874 |  | 202.165 | -0.0027275
8 | YES | 211.144 | 33.9075 | 0.00021808 | -0.00050736 | -0.00030103 | 0.00020633 |  | 171.99 | 0.0004921
8 | YES | 198.692 | 33.9074 | 0.00025774 | 0.00023651 | -0.00030558 | -0.00054209 |  | 157.123 | -8.7738e-05
9 | YES | 202.165 | 33.898 | 0.00025133 | 0.00077057 | -0.00030431 | -0.0010749 |  | 179.964 | -0.00058365
9 | YES | 202.165 | 33.898 | 0.00025133 | -0.0027275 | -0.00030431 | 0.0024232 |  | 149.941 | -0.00041199
10 | YES | 171.99 | 33.8805 | 0.00025611 | 0.0004921 | -0.00031535 | -0.00080745
10 | YES | 157.123 | 33.8795 | 0.0003673 | -8.7738e-05 | -0.00032079 | -0.00023305 |  |  | -0.00015619
11 | YES | 179.964 | 33.8912 | 0.0002787 | -0.00058365 | -0.00031243 | 0.00027121
11 | YES | 149.941 | 33.8914 | 0.00021767 | -0.00041199 | -0.00032342 | 8.8568e-05
YES
YES
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_bot | Sal0 |  | Sal0 - Sal_bot
Comp 2 | Sal_bot | Sal1 |  | Sal1 - Sal_bot
Average Size: | 5
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_bot | Sal0 | Sal0 | (S-P) | Sal_bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2002-34-0004 | 2002-34-0004 | 121 | 187 | 187.293 | 0.024432 | 0.29306 | 32.9365 | 32.9348 | 0.00018835 | -0.0016518 | 32.9365 | 32.935 | 0.0011852 | -0.0014915
2002-34-0004 | 2002-34-0004 | 121 | 175 | 175.346 | 0.022446 | 0.34634 | 32.9362 | 32.9345 | 0.00019159 | -0.0017242 | 32.9362 | 32.9347 | 0.00022253 | -0.0014915
2002-34-0009 | 2002-34-0009 | 242 | 80 | 77.6047 | 2.494 | -2.3953 | 32.8368 | 32.881 | 0.0072013 | 0.044239 | 32.8368 | 32.8816 | 0.007313 | 0.044823
2002-34-0009 | 2002-34-0009 | 121 | 75 | 75.1159 | 0.019428 | 0.11592 | 32.8841 | 32.8739 | 0.00044866 | -0.010239 | 32.8841 | 32.8743 | 0.00036858 | -0.0097656
2002-34-0021 | 2002-34-0021 | 243 | 5 | 3.4325 | 2.0076 | -1.5675 | 31.9861 | 31.9833 | 0.0012599 | -0.0027847 | 31.9861 | 31.9834 | 0.0013222 | -0.0027256
2002-34-0021 | 2002-34-0021 | 242 | 1 | 3.4054 | 1.9668 | 2.4054 | 31.9837 | 31.9833 | 0.0011554 | -0.00041962 | 31.9837 | 31.9833 | 0.0011736 | -0.00036621
2002-34-0024 | 2002-34-0024 | 121 | 2078 | 2078.46 | 0.33562 | 0.45972 | 34.6077 | 34.6076 | 0.0003728 | -7.6294e-05 | 34.6077 | 34.6074 | 0.00028028 | -0.00025559
2002-34-0024 | 2002-34-0024 | 121 | 2000 | 2001.21 | 0.23817 | 1.2136 | 34.5966 | 34.5969 | 0.00030505 | 0.00027084 | 34.5966 | 34.5968 | 0.00025557 | 0.00020981
2002-34-0024 | 2002-34-0024 | 121 | 200 | 199.906 | 0.41305 | -0.093719 | 33.9663 | 33.9672 | 0.00082535 | 0.00087738 | 33.9663 | 33.9659 | 0.002325 | -0.00035858
2002-34-0025 | 2002-34-0025 | 121 | 1200 | 1200.67 | 0.17152 | 0.66699 | 34.4503 | 34.4507 | 0.00023112 | 0.0004425 | 34.4503 | 34.451 | 0.00021469 | 0.00071716
2002-34-0025 | 2002-34-0025 | 121 | 1000 | 997.486 | 0.66677 | -2.5138 | 34.3845 | 34.3848 | 0.00038208 | 0.0003128 | 34.3845 | 34.3852 | 0.00034912 | 0.00071335
2002-34-0026 | 2002-34-0026 | 121 | 1235 | 1235.54 | 0.29768 | 0.53919 | 34.4431 | 34.4428 | 0.00030955 | -0.00031662 | 34.4431 | 34.4426 | 0.00031913 | -0.00047302
2002-34-0026 | 2002-34-0026 | 121 | 1200 | 1200.26 | 0.47496 | 0.26477 | 34.4359 | 34.4371 | 0.00085687 | 0.001194 | 34.4359 | 34.4368 | 0.0010764 | 0.00087738
2002-34-0029 | 2002-34-0029 | 121 | 175 | 176.393 | 0.092156 | 1.3934 | 33.9803 | 33.982 | 0.00027433 | 0.0017128 | 33.9803 | 33.9819 | 0.00033498 | 0.0015602
2002-34-0033 | 2002-34-0033 | 121 | 211 | 211.144 | 0.049985 | 0.14416 | 33.908 | 33.9072 | 0.00022558 | -0.00083542 | 33.908 | 33.9075 | 0.00021808 | -0.00050736
2002-34-0033 | 2002-34-0033 | 121 | 200 | 198.692 | 1.3706 | -1.3083 | 33.9072 | 33.9072 | 0.00020578 | -3.0518e-05 | 33.9072 | 33.9074 | 0.00025774 | 0.00023651
2002-34-0034 | 2002-34-0034 | 242 | 204 | 202.165 | 2.0684 | -1.8351 | 33.8972 | 33.8978 | 0.00023117 | 0.00058746 | 33.8972 | 33.898 | 0.00025133 | 0.00077057
2002-34-0034 | 2002-34-0034 | 242 | 200 | 202.165 | 2.0684 | 2.1649 | 33.9007 | 33.8978 | 0.00023117 | -0.0029106 | 33.9007 | 33.898 | 0.00025133 | -0.0027275
2002-34-0038 | 2002-34-0038 | 121 | 172 | 171.99 | 0.11964 | -0.0096741 | 33.88 | 33.8804 | 0.0002471 | 0.00035858 | 33.88 | 33.8805 | 0.00025611 | 0.0004921
2002-34-0038 | 2002-34-0038 | 121 | 157 | 157.123 | 0.32088 | 0.12322 | 33.8796 | 33.8794 | 0.00026873 | -0.00016022 | 33.8796 | 33.8795 | 0.0003673 | -8.7738e-05
2002-34-0039 | 2002-34-0039 | 121 | 180 | 179.964 | 0.044867 | -0.036102 | 33.8918 | 33.891 | 0.00022888 | -0.00084305 | 33.8918 | 33.8912 | 0.0002787 | -0.00058365
2002-34-0039 | 2002-34-0039 | 121 | 150 | 149.941 | 0.078846 | -0.058609 | 33.8918 | 33.8913 | 0.00021331 | -0.00052261 | 33.8918 | 33.8914 | 0.00021767 | -0.00041199
Create Fit Sheet