## File List
Number of Files= |  | 11
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 2002-34-0004 | 2002-34-0004 | 12 | 13 | 2002-34-0004 & 2002-34-0004
2 | 2002-34-0009 | 2002-34-0009 | 15 | 16 | 2002-34-0009 & 2002-34-0009
3 | 2002-34-0021 | 2002-34-0021 | 18 | 19 | 2002-34-0021 & 2002-34-0021
4 | 2002-34-0024 | 2002-34-0024 | 21 | 23 | 2002-34-0024 & 2002-34-0024
5 | 2002-34-0025 | 2002-34-0025 | 25 | 26 | 2002-34-0025 & 2002-34-0025
6 | 2002-34-0026 | 2002-34-0026 | 28 | 29 | 2002-34-0026 & 2002-34-0026
7 | 2002-34-0029 | 2002-34-0029 | 31 | 31 | 2002-34-0029 & 2002-34-0029
8 | 2002-34-0033 | 2002-34-0033 | 33 | 34 | 2002-34-0033 & 2002-34-0033
9 | 2002-34-0034 | 2002-34-0034 | 36 | 37 | 2002-34-0034 & 2002-34-0034
10 | 2002-34-0038 | 2002-34-0038 | 39 | 40 | 2002-34-0038 & 2002-34-0038
11 | 2002-34-0039 | 2002-34-0039 | 42 | 43 | 2002-34-0039 & 2002-34-0039

## (Sal0 - Sal_bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.046031 |  | X | CALC Y
m= | 2.9072e-07 | 3.4172e-07 |  | Std Dev of Resid |  | 0.00092549 |  | 149.941 | 0.0024365
b= | 0.0023929 | 0.0003112 |  | Resid Sum of Squares |  | 1.2848e-05 |  | 2078.46 | 0.0029971
# of Values Extracted = |  |  | 22
# of Values Used in Fit = |  |  | 17
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 187.293 | 32.9375 | 0.00018818 | 0.00094986 | 0.0024473 | 0.0014975 |  | 187.293 | 0.00094986
1 | YES | 175.346 | 32.9371 | 0.00019143 | 0.00087357 | 0.0024439 | 0.0015703 |  | 175.346 | 0.00087357
2 | NO | 77.6047 | 32.8836 | 0.0072011 | 0.046841 | 0.0024154 | -0.044425 |  | 2078.46 | 0.0025253
2 | NO | 75.1159 | 32.8765 | 0.00044862 | -0.007637 | 0.0024147 | 0.010052 |  | 2001.21 | 0.0028725
3 | NO | 3.4325 | 31.9859 | 0.0012599 | -0.00018501 | 0.0023939 | 0.0025789 |  | 199.906 | 0.0034752
3 | NO | 3.4054 | 31.9859 | 0.0011554 | 0.002182 | 0.0023939 | 0.00021186 |  | 1200.67 | 0.0030403
4 | YES | 2078.46 | 34.6102 | 0.00037264 | 0.0025253 | 0.0029971 | 0.0004718 |  | 997.486 | 0.0029144
4 | YES | 2001.21 | 34.5995 | 0.00030526 | 0.0028725 | 0.0029747 | 0.0001022 |  | 1235.54 | 0.0022812
4 | YES | 199.906 | 33.9698 | 0.00082522 | 0.0034752 | 0.002451 | -0.0010242 |  | 1200.26 | 0.0037918
5 | YES | 1200.67 | 34.4533 | 0.00023139 | 0.0030403 | 0.0027419 | -0.00029837 |  | 176.393 | 0.0043144
5 | YES | 997.486 | 34.3874 | 0.00038196 | 0.0029144 | 0.0026829 | -0.00023156 |  | 211.144 | 0.0017662
6 | YES | 1235.54 | 34.4454 | 0.00030995 | 0.0022812 | 0.0027521 | 0.00047089 |  | 198.692 | 0.0025711
6 | YES | 1200.26 | 34.4397 | 0.00085674 | 0.0037918 | 0.0027418 | -0.00105 |  | 202.165 | 0.0031853
7 | YES | 176.393 | 33.9846 | 0.00027475 | 0.0043144 | 0.0024442 | -0.0018703 |  | 171.99 | 0.0029602
8 | YES | 211.144 | 33.9098 | 0.00022555 | 0.0017662 | 0.0024543 | 0.00068807 |  | 157.123 | 0.0024376
8 | YES | 198.692 | 33.9098 | 0.00020611 | 0.0025711 | 0.0024506 | -0.00012046 |  | 179.964 | 0.0017586
9 | YES | 202.165 | 33.9004 | 0.00023094 | 0.0031853 | 0.0024517 | -0.00073361 |  | 149.941 | 0.002079
9 | NO | 202.165 | 33.9004 | 0.00023094 | -0.0003128 | 0.0024517 | 0.0027645
10 | YES | 171.99 | 33.883 | 0.00024701 | 0.0029602 | 0.0024429 | -0.00051733 |  |  | 0.0025763
10 | YES | 157.123 | 33.882 | 0.00026892 | 0.0024376 | 0.0024386 | 9.7133e-07
11 | YES | 179.964 | 33.8936 | 0.00022884 | 0.0017586 | 0.0024452 | 0.00068662
11 | YES | 149.941 | 33.8939 | 0.00021346 | 0.002079 | 0.0024365 | 0.00035746
YES
YES
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.034218 |  | X | CALC Y
m= | 2.2458e-07 | 3.0807e-07 |  | Std Dev of Resid |  | 0.00083435 |  | 149.941 | 0.0054873
b= | 0.0054536 | 0.00028056 |  | Resid Sum of Squares |  | 1.0442e-05 |  | 2078.46 | 0.0059204
# of Values Extracted = |  |  | 22
# of Values Used in Fit = |  |  | 17
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 187.293 | 32.9406 | 0.0011853 | 0.0041084 | 0.0054957 | 0.0013872 |  | 187.293 | 0.0041084
1 | YES | 175.346 | 32.9403 | 0.00022253 | 0.0041084 | 0.005493 | 0.0013845 |  | 175.346 | 0.0041084
2 | NO | 77.6047 | 32.8872 | 0.0073129 | 0.050423 | 0.005471 | -0.044952 |  | 2078.46 | 0.0053444
2 | NO | 75.1159 | 32.8799 | 0.00036856 | -0.0041656 | 0.0054705 | 0.0096361 |  | 2001.21 | 0.0058098
3 | NO | 3.4325 | 31.989 | 0.0013222 | 0.0028744 | 0.0054544 | 0.00258 |  | 199.906 | 0.0052414
3 | NO | 3.4054 | 31.9889 | 0.0011736 | 0.0052338 | 0.0054544 | 0.0002206 |  | 1200.67 | 0.0063171
4 | YES | 2078.46 | 34.613 | 0.00028028 | 0.0053444 | 0.0059204 | 0.00057599 |  | 997.486 | 0.0063133
4 | YES | 2001.21 | 34.6024 | 0.00025557 | 0.0058098 | 0.005903 | 9.3254e-05 |  | 1235.54 | 0.0051269
4 | YES | 199.906 | 33.9715 | 0.002325 | 0.0052414 | 0.0054985 | 0.0002571 |  | 1200.26 | 0.0064812
5 | YES | 1200.67 | 34.4566 | 0.00021469 | 0.0063171 | 0.0057232 | -0.00059389 |  | 176.393 | 0.0071602
5 | YES | 997.486 | 34.3908 | 0.00034912 | 0.0063133 | 0.0056776 | -0.00063571 |  | 211.144 | 0.0050926
6 | YES | 1235.54 | 34.4482 | 0.00031913 | 0.0051269 | 0.0057311 | 0.00060413 |  | 198.692 | 0.0058365
6 | YES | 1200.26 | 34.4424 | 0.0010762 | 0.0064812 | 0.0057232 | -0.00075802 |  | 202.165 | 0.0063705
7 | YES | 176.393 | 33.9875 | 0.00033498 | 0.0071602 | 0.0054932 | -0.001667 |  | 171.99 | 0.0060921
8 | YES | 211.144 | 33.9131 | 0.00021808 | 0.0050926 | 0.005501 | 0.0004084 |  | 157.123 | 0.0055122
8 | YES | 198.692 | 33.913 | 0.00025774 | 0.0058365 | 0.0054982 | -0.00033827 |  | 179.964 | 0.0050163
9 | YES | 202.165 | 33.9036 | 0.00025133 | 0.0063705 | 0.005499 | -0.00087154 |  | 149.941 | 0.005188
9 | NO | 202.165 | 33.9036 | 0.00025133 | 0.0028725 | 0.005499 | 0.0026265
10 | YES | 171.99 | 33.8861 | 0.00025611 | 0.0060921 | 0.0054922 | -0.00059985 |  |  | 0.0055953
10 | YES | 157.123 | 33.8851 | 0.0003673 | 0.0055122 | 0.0054889 | -2.3357e-05
11 | YES | 179.964 | 33.8968 | 0.0002787 | 0.0050163 | 0.005494 | 0.00047768
11 | YES | 149.941 | 33.897 | 0.00021767 | 0.005188 | 0.0054873 | 0.00029928
YES
YES
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal_bot) (2)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.04538 |  | X | CALC Y
m= | 6.1759e-05 | 7.3138e-05 |  | Std Dev of Resid |  | 0.00092581 |  | 1 | 0.0022384
b= | 0.0021766 | 0.00052381 |  | Resid Sum of Squares |  | 1.2857e-05 |  | 11 | 0.002856
# of Values Extracted = |  |  | 22
# of Values Used in Fit = |  |  | 17
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 187.293 | 32.9375 | 0.00018818 | 0.00094986 | 0.0022384 | 0.0012885 |  | 1 | 0.00094986
1 | YES | 175.346 | 32.9371 | 0.00019143 | 0.00087357 | 0.0022384 | 0.0013648 |  | 1 | 0.00087357
2 | NO | 77.6047 | 32.8836 | 0.0072011 | 0.046841 | 0.0023002 | -0.044541 |  | 4 | 0.0025253
2 | NO | 75.1159 | 32.8765 | 0.00044862 | -0.007637 | 0.0023002 | 0.0099372 |  | 4 | 0.0028725
3 | NO | 3.4325 | 31.9859 | 0.0012599 | -0.00018501 | 0.0023619 | 0.0025469 |  | 4 | 0.0034752
3 | NO | 3.4054 | 31.9859 | 0.0011554 | 0.002182 | 0.0023619 | 0.00017992 |  | 5 | 0.0030403
4 | YES | 2078.46 | 34.6102 | 0.00037264 | 0.0025253 | 0.0024237 | -0.00010164 |  | 5 | 0.0029144
4 | YES | 2001.21 | 34.5995 | 0.00030526 | 0.0028725 | 0.0024237 | -0.00044878 |  | 6 | 0.0022812
4 | YES | 199.906 | 33.9698 | 0.00082522 | 0.0034752 | 0.0024237 | -0.0010515 |  | 6 | 0.0037918
5 | YES | 1200.67 | 34.4533 | 0.00023139 | 0.0030403 | 0.0024854 | -0.00055487 |  | 7 | 0.0043144
5 | YES | 997.486 | 34.3874 | 0.00038196 | 0.0029144 | 0.0024854 | -0.00042899 |  | 8 | 0.0017662
6 | YES | 1235.54 | 34.4454 | 0.00030995 | 0.0022812 | 0.0025472 | 0.00026601 |  | 8 | 0.0025711
6 | YES | 1200.26 | 34.4397 | 0.00085674 | 0.0037918 | 0.0025472 | -0.0012446 |  | 9 | 0.0031853
7 | YES | 176.393 | 33.9846 | 0.00027475 | 0.0043144 | 0.002609 | -0.0017055 |  | 10 | 0.0029602
8 | YES | 211.144 | 33.9098 | 0.00022555 | 0.0017662 | 0.0026707 | 0.00090452 |  | 10 | 0.0024376
8 | YES | 198.692 | 33.9098 | 0.00020611 | 0.0025711 | 0.0026707 | 9.9613e-05 |  | 11 | 0.0017586
9 | YES | 202.165 | 33.9004 | 0.00023094 | 0.0031853 | 0.0027325 | -0.00045279 |  | 11 | 0.002079
9 | NO | 202.165 | 33.9004 | 0.00023094 | -0.0003128 | 0.0027325 | 0.0030453
10 | YES | 171.99 | 33.883 | 0.00024701 | 0.0029602 | 0.0027942 | -0.00016597
10 | YES | 157.123 | 33.882 | 0.00026892 | 0.0024376 | 0.0027942 | 0.00035665
11 | YES | 179.964 | 33.8936 | 0.00022884 | 0.0017586 | 0.002856 | 0.0010974
11 | YES | 149.941 | 33.8939 | 0.00021346 | 0.002079 | 0.002856 | 0.00077699
YES
YES
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_bot | Sal0 |  | Sal0 - Sal_bot
Comp 2 | Sal_bot | Sal1 |  | Sal1 - Sal_bot
Average Size: | 5
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_bot | Sal0 | Sal0 | (S-P) | Sal_bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
2002-34-0004 | 2002-34-0004 | 121 | 187 | 187.293 | 0.024432 | 0.29306 | 32.9365 | 32.9375 | 0.00018818 | 0.00094986 | 32.9365 | 32.9406 | 0.0011853 | 0.0041084
2002-34-0004 | 2002-34-0004 | 121 | 175 | 175.346 | 0.022446 | 0.34634 | 32.9362 | 32.9371 | 0.00019143 | 0.00087357 | 32.9362 | 32.9403 | 0.00022253 | 0.0041084
2002-34-0009 | 2002-34-0009 | 242 | 80 | 77.6047 | 2.494 | -2.3953 | 32.8368 | 32.8836 | 0.0072011 | 0.046841 | 32.8368 | 32.8872 | 0.0073129 | 0.050423
2002-34-0009 | 2002-34-0009 | 121 | 75 | 75.1159 | 0.019428 | 0.11592 | 32.8841 | 32.8765 | 0.00044862 | -0.007637 | 32.8841 | 32.8799 | 0.00036856 | -0.0041656
2002-34-0021 | 2002-34-0021 | 243 | 5 | 3.4325 | 2.0076 | -1.5675 | 31.9861 | 31.9859 | 0.0012599 | -0.00018501 | 31.9861 | 31.989 | 0.0013222 | 0.0028744
2002-34-0021 | 2002-34-0021 | 242 | 1 | 3.4054 | 1.9668 | 2.4054 | 31.9837 | 31.9859 | 0.0011554 | 0.002182 | 31.9837 | 31.9889 | 0.0011736 | 0.0052338
2002-34-0024 | 2002-34-0024 | 121 | 2078 | 2078.46 | 0.33562 | 0.45972 | 34.6077 | 34.6102 | 0.00037264 | 0.0025253 | 34.6077 | 34.613 | 0.00028028 | 0.0053444
2002-34-0024 | 2002-34-0024 | 121 | 2000 | 2001.21 | 0.23817 | 1.2136 | 34.5966 | 34.5995 | 0.00030526 | 0.0028725 | 34.5966 | 34.6024 | 0.00025557 | 0.0058098
2002-34-0024 | 2002-34-0024 | 121 | 200 | 199.906 | 0.41305 | -0.093719 | 33.9663 | 33.9698 | 0.00082522 | 0.0034752 | 33.9663 | 33.9715 | 0.002325 | 0.0052414
2002-34-0025 | 2002-34-0025 | 121 | 1200 | 1200.67 | 0.17152 | 0.66699 | 34.4503 | 34.4533 | 0.00023139 | 0.0030403 | 34.4503 | 34.4566 | 0.00021469 | 0.0063171
2002-34-0025 | 2002-34-0025 | 121 | 1000 | 997.486 | 0.66677 | -2.5138 | 34.3845 | 34.3874 | 0.00038196 | 0.0029144 | 34.3845 | 34.3908 | 0.00034912 | 0.0063133
2002-34-0026 | 2002-34-0026 | 121 | 1235 | 1235.54 | 0.29768 | 0.53919 | 34.4431 | 34.4454 | 0.00030995 | 0.0022812 | 34.4431 | 34.4482 | 0.00031913 | 0.0051269
2002-34-0026 | 2002-34-0026 | 121 | 1200 | 1200.26 | 0.47496 | 0.26477 | 34.4359 | 34.4397 | 0.00085674 | 0.0037918 | 34.4359 | 34.4424 | 0.0010762 | 0.0064812
2002-34-0029 | 2002-34-0029 | 121 | 175 | 176.393 | 0.092156 | 1.3934 | 33.9803 | 33.9846 | 0.00027475 | 0.0043144 | 33.9803 | 33.9875 | 0.00033498 | 0.0071602
2002-34-0033 | 2002-34-0033 | 121 | 211 | 211.144 | 0.049985 | 0.14416 | 33.908 | 33.9098 | 0.00022555 | 0.0017662 | 33.908 | 33.9131 | 0.00021808 | 0.0050926
2002-34-0033 | 2002-34-0033 | 121 | 200 | 198.692 | 1.3706 | -1.3083 | 33.9072 | 33.9098 | 0.00020611 | 0.0025711 | 33.9072 | 33.913 | 0.00025774 | 0.0058365
2002-34-0034 | 2002-34-0034 | 242 | 204 | 202.165 | 2.0684 | -1.8351 | 33.8972 | 33.9004 | 0.00023094 | 0.0031853 | 33.8972 | 33.9036 | 0.00025133 | 0.0063705
2002-34-0034 | 2002-34-0034 | 242 | 200 | 202.165 | 2.0684 | 2.1649 | 33.9007 | 33.9004 | 0.00023094 | -0.0003128 | 33.9007 | 33.9036 | 0.00025133 | 0.0028725
2002-34-0038 | 2002-34-0038 | 121 | 172 | 171.99 | 0.11964 | -0.0096741 | 33.88 | 33.883 | 0.00024701 | 0.0029602 | 33.88 | 33.8861 | 0.00025611 | 0.0060921
2002-34-0038 | 2002-34-0038 | 121 | 157 | 157.123 | 0.32088 | 0.12322 | 33.8796 | 33.882 | 0.00026892 | 0.0024376 | 33.8796 | 33.8851 | 0.0003673 | 0.0055122
2002-34-0039 | 2002-34-0039 | 121 | 180 | 179.964 | 0.044867 | -0.036102 | 33.8918 | 33.8936 | 0.00022884 | 0.0017586 | 33.8918 | 33.8968 | 0.0002787 | 0.0050163
2002-34-0039 | 2002-34-0039 | 121 | 150 | 149.941 | 0.078846 | -0.058609 | 33.8918 | 33.8939 | 0.00021346 | 0.002079 | 33.8918 | 33.897 | 0.00021767 | 0.005188
Create Fit Sheet